## Foglio1
In the figure are shown two curve, one is the IRF (instrument response function) in RED and a secondo curve that rappresent the DTOF(Distribution time of flight) in green.
In the colums below are shown the data point that rappresent an example of instrument response function(second column) and a distribution time of flight (third column)
Time channel size | dt= | 1e-11
Time (x-axis) | Intensity IRF(y-axis) | Intensity DTOF(y-axis)
-5.95e-09 | 1 | 1
-5.94e-09 | 1 | 1
-5.93e-09 | 1 | 1
-5.92e-09 | 1 | 1
-5.91e-09 | 1 | 1
-5.9e-09 | 1 | 1
-5.89e-09 | 1 | 1
-5.88e-09 | 1 | 1
-5.87e-09 | 1 | 1
-5.86e-09 | 1 | 1
-5.85e-09 | 1 | 1
-5.84e-09 | 1 | 1
-5.83e-09 | 1 | 1
-5.82e-09 | 1 | 1
-5.81e-09 | 1 | 1
-5.8e-09 | 1 | 1
-5.79e-09 | 1 | 1
-5.78e-09 | 1 | 1
-5.77e-09 | 1 | 1.1
-5.76e-09 | 1 | 1.2
-5.75e-09 | 1.3 | 3.2
-5.74e-09 | 4.3 | 5.8
-5.73e-09 | 10.3 | 16.3
-5.72e-09 | 16 | 23.5
-5.71e-09 | 21.3 | 37.1
-5.7e-09 | 24.9 | 46
-5.69e-09 | 27.3 | 42.6
-5.68e-09 | 30.9 | 46.1
-5.67e-09 | 28.8 | 49.5
-5.66e-09 | 29.6 | 44.6
-5.65e-09 | 28.1 | 44.1
-5.64e-09 | 27.1 | 42
-5.63e-09 | 31 | 43.1
-5.62e-09 | 27.4 | 46
-5.61e-09 | 29.1 | 48.9
-5.6e-09 | 29.2 | 46.2
-5.59e-09 | 27.1 | 44.4
-5.58e-09 | 27.8 | 45.6
-5.57e-09 | 25.8 | 46.8
-5.56e-09 | 26.4 | 44.9
-5.55e-09 | 26.3 | 46.4
-5.54e-09 | 27.8 | 42.4
-5.53e-09 | 25.7 | 44.4
-5.52e-09 | 27.5 | 46.6
-5.51e-09 | 23.7 | 47.2
-5.5e-09 | 25.8 | 48.1
-5.49e-09 | 28.4 | 49.8
-5.48e-09 | 30.7 | 45.7
-5.47e-09 | 29.2 | 49
-5.46e-09 | 26 | 45.2
-5.45e-09 | 28.2 | 45.5
-5.44e-09 | 27.8 | 45.4
-5.43e-09 | 25.8 | 43.1
-5.42e-09 | 28.8 | 43.9
-5.41e-09 | 26.2 | 45.8
-5.4e-09 | 26.3 | 44.4
-5.39e-09 | 23.9 | 46.9
-5.38e-09 | 23.9 | 41.8
-5.37e-09 | 26.5 | 47.5
-5.36e-09 | 27.1 | 44.9
-5.35e-09 | 27.9 | 42.3
-5.34e-09 | 25.9 | 44.7
-5.33e-09 | 27.8 | 47.7
-5.32e-09 | 27.1 | 46.6
-5.31e-09 | 28 | 44
-5.3e-09 | 27.6 | 44
-5.29e-09 | 27.8 | 44.6
-5.28e-09 | 26.2 | 46.5
-5.27e-09 | 24.4 | 44.9
-5.26e-09 | 28.2 | 44.1
-5.25e-09 | 24.9 | 46
-5.24e-09 | 28.7 | 46
-5.23e-09 | 27 | 48
-5.22e-09 | 27.3 | 48.3
-5.21e-09 | 30.4 | 48.4
-5.2e-09 | 26.3 | 45.6
-5.19e-09 | 27.1 | 45.7
-5.18e-09 | 25.7 | 42.8
-5.17e-09 | 25.6 | 42.4
-5.16e-09 | 26.4 | 48.2
-5.15e-09 | 26.1 | 47.6
-5.14e-09 | 30.6 | 48.8
-5.13e-09 | 29.2 | 43.3
-5.12e-09 | 31.3 | 48.2
-5.11e-09 | 28.9 | 46.6
-5.1e-09 | 29.5 | 47.4
-5.09e-09 | 31.5 | 51.6
-5.08e-09 | 28.7 | 48.3
-5.07e-09 | 27.9 | 49.1
-5.06e-09 | 26.8 | 51.7
-5.05e-09 | 28.5 | 49
-5.04e-09 | 28.8 | 49.8
-5.03e-09 | 27.1 | 48.6
-5.02e-09 | 28 | 46.7
-5.01e-09 | 28.6 | 46.5
-5e-09 | 26.2 | 47.7
-4.99e-09 | 28.3 | 48
-4.98e-09 | 30.4 | 48.1
-4.97e-09 | 31.8 | 48.7
-4.96e-09 | 29.8 | 46.3
-4.95e-09 | 30.2 | 45
-4.94e-09 | 29 | 48.2
-4.93e-09 | 28.7 | 45.3
-4.92e-09 | 27.3 | 48.2
-4.91e-09 | 28.6 | 48.3
-4.9e-09 | 27 | 49.2
-4.89e-09 | 31.3 | 48.3
-4.88e-09 | 31 | 49.3
-4.87e-09 | 28.8 | 47.2
-4.86e-09 | 29.2 | 47.1
-4.85e-09 | 30.3 | 47.2
-4.84e-09 | 28.7 | 48
-4.83e-09 | 28.9 | 46.1
-4.82e-09 | 31 | 46.7
-4.81e-09 | 28.9 | 45.3
-4.8e-09 | 28.9 | 48.7
-4.79e-09 | 27.3 | 55.3
-4.78e-09 | 28.2 | 50.1
-4.77e-09 | 30.3 | 45.5
-4.76e-09 | 28.9 | 50.6
-4.75e-09 | 30.1 | 47.7
-4.74e-09 | 30 | 48.6
-4.73e-09 | 29.6 | 46.7
-4.72e-09 | 29.4 | 49.4
-4.71e-09 | 26.5 | 46.2
-4.7e-09 | 28.9 | 41.9
-4.69e-09 | 26.6 | 40.7
-4.68e-09 | 29.9 | 47.2
-4.67e-09 | 26.2 | 47
-4.66e-09 | 28.9 | 44
-4.65e-09 | 27.2 | 45
-4.64e-09 | 33.7 | 46.7
-4.63e-09 | 29.1 | 48
-4.62e-09 | 28.9 | 49.3
-4.61e-09 | 28.9 | 47.8
-4.6e-09 | 27.6 | 49.9
-4.59e-09 | 29 | 44.9
-4.58e-09 | 27.9 | 44.9
-4.57e-09 | 32.7 | 47.9
-4.56e-09 | 27.7 | 47.5
-4.55e-09 | 29.3 | 46.3
-4.54e-09 | 32.9 | 51
-4.53e-09 | 28.7 | 45.9
-4.52e-09 | 26.9 | 48.9
-4.51e-09 | 29.4 | 42.7
-4.5e-09 | 27 | 43.7
-4.49e-09 | 27.1 | 48.5
-4.48e-09 | 30.2 | 44.4
-4.47e-09 | 26.8 | 45
-4.46e-09 | 28 | 47.7
-4.45e-09 | 30.3 | 47.1
-4.44e-09 | 29 | 45.9
-4.43e-09 | 25.9 | 44.3
-4.42e-09 | 28.1 | 45
-4.41e-09 | 27 | 45.5
-4.4e-09 | 25.9 | 38.8
-4.39e-09 | 28.3 | 43.6
-4.38e-09 | 26.9 | 44.8
-4.37e-09 | 27 | 49.1
-4.36e-09 | 25.4 | 46
-4.35e-09 | 23.2 | 45.4
-4.34e-09 | 26.5 | 40.6
-4.33e-09 | 27.1 | 49
-4.32e-09 | 29.3 | 44.2
-4.31e-09 | 25.7 | 41.2
-4.3e-09 | 25.2 | 46.5
-4.29e-09 | 24.9 | 48.3
-4.28e-09 | 30 | 45.9
-4.27e-09 | 28.2 | 46.1
-4.26e-09 | 26.6 | 44.7
-4.25e-09 | 27 | 45.4
-4.24e-09 | 26.7 | 44.5
-4.23e-09 | 26.7 | 45.2
-4.22e-09 | 28.5 | 43.7
-4.21e-09 | 27.4 | 46.9
-4.2e-09 | 22 | 41.7
-4.19e-09 | 28.9 | 46.5
-4.18e-09 | 26.3 | 44.4
-4.17e-09 | 26.7 | 44.6
-4.16e-09 | 25.3 | 46.3
-4.15e-09 | 27.8 | 43.9
-4.14e-09 | 28.3 | 43.8
-4.13e-09 | 26.5 | 44.9
-4.12e-09 | 26.8 | 44.8
-4.11e-09 | 30.8 | 47.7
-4.1e-09 | 28.5 | 42.5
-4.09e-09 | 25.5 | 44.5
-4.08e-09 | 26.3 | 42.8
-4.07e-09 | 26.3 | 43.9
-4.06e-09 | 27.8 | 46.2
-4.05e-09 | 28.7 | 44.7
-4.04e-09 | 28.4 | 45.5
-4.03e-09 | 24.8 | 47.7
-4.02e-09 | 27 | 45.7
-4.01e-09 | 28.1 | 43.8
-4e-09 | 23.7 | 43.3
-3.99e-09 | 25.8 | 47.6
-3.98e-09 | 26.7 | 41.5
-3.97e-09 | 27.6 | 45.8
-3.96e-09 | 26.9 | 48
-3.95e-09 | 25.1 | 45.2
-3.94e-09 | 29.7 | 47.1
-3.93e-09 | 30.4 | 47.9
-3.92e-09 | 25.5 | 46.5
-3.91e-09 | 25.6 | 44.9
-3.9e-09 | 27.5 | 47
-3.89e-09 | 27.2 | 45.5
-3.88e-09 | 26.6 | 48.4
-3.87e-09 | 27.8 | 46.3
-3.86e-09 | 27.3 | 46.8
-3.85e-09 | 25.4 | 47.1
-3.84e-09 | 28.3 | 49.3
-3.83e-09 | 28.2 | 45.1
-3.82e-09 | 29.7 | 50.3
-3.81e-09 | 28.3 | 48.8
-3.8e-09 | 27.8 | 47.7
-3.79e-09 | 31 | 52.7
-3.78e-09 | 30.3 | 46.4
-3.77e-09 | 29.2 | 51.3
-3.76e-09 | 29.8 | 47
-3.75e-09 | 26.8 | 47.9
-3.74e-09 | 27.7 | 48
-3.73e-09 | 27.8 | 49.7
-3.72e-09 | 25.3 | 48.6
-3.71e-09 | 28.3 | 46.7
-3.7e-09 | 30.9 | 49.5
-3.69e-09 | 29.4 | 50.3
-3.68e-09 | 31.8 | 46.2
-3.67e-09 | 27.3 | 47.4
-3.66e-09 | 28.5 | 46
-3.65e-09 | 26.1 | 49.7
-3.64e-09 | 27 | 47.3
-3.63e-09 | 30.3 | 50.8
-3.62e-09 | 32.3 | 47.1
-3.61e-09 | 33.9 | 47.6
-3.6e-09 | 27.2 | 46.3
-3.59e-09 | 30.8 | 49
-3.58e-09 | 27.8 | 45.4
-3.57e-09 | 28.2 | 49.4
-3.56e-09 | 28.6 | 44.1
-3.55e-09 | 29.9 | 45.2
-3.54e-09 | 28.9 | 52
-3.53e-09 | 26.9 | 47.3
-3.52e-09 | 28.9 | 41.7
-3.51e-09 | 28.8 | 46.4
-3.5e-09 | 29.5 | 43.1
-3.49e-09 | 28.9 | 44.3
-3.48e-09 | 26.9 | 47
-3.47e-09 | 26.2 | 43.9
-3.46e-09 | 29.3 | 43
-3.45e-09 | 24.3 | 49.4
-3.44e-09 | 28.4 | 45
-3.43e-09 | 27.8 | 47.6
-3.42e-09 | 23.4 | 44
-3.41e-09 | 28.5 | 42.2
-3.4e-09 | 28.5 | 45.2
-3.39e-09 | 24.9 | 47.7
-3.38e-09 | 27.4 | 45.2
-3.37e-09 | 28.4 | 48.7
-3.36e-09 | 27.3 | 42
-3.35e-09 | 27 | 48.8
-3.34e-09 | 27.4 | 41.9
-3.33e-09 | 25.2 | 49.4
-3.32e-09 | 29.7 | 46.1
-3.31e-09 | 26.4 | 43.6
-3.3e-09 | 26.2 | 47.3
-3.29e-09 | 25.7 | 45.8
-3.28e-09 | 30.3 | 41.9
-3.27e-09 | 29.7 | 43.6
-3.26e-09 | 27 | 44.2
-3.25e-09 | 26.1 | 46.8
-3.24e-09 | 27.5 | 45.1
-3.23e-09 | 29 | 44.1
-3.22e-09 | 26 | 45.9
-3.21e-09 | 25.3 | 48.4
-3.2e-09 | 29 | 44.5
-3.19e-09 | 27.5 | 45.6
-3.18e-09 | 29 | 46
-3.17e-09 | 27.9 | 45.8
-3.16e-09 | 25.2 | 45.4
-3.15e-09 | 25.6 | 44.1
-3.14e-09 | 29.2 | 45.7
-3.13e-09 | 26.9 | 45.8
-3.12e-09 | 23.9 | 44.1
-3.11e-09 | 26.5 | 42.7
-3.1e-09 | 28 | 46.1
-3.09e-09 | 29.9 | 43
-3.08e-09 | 29.2 | 43.2
-3.07e-09 | 28.7 | 44.3
-3.06e-09 | 25.6 | 43.9
-3.05e-09 | 26 | 46.9
-3.04e-09 | 26.9 | 41
-3.03e-09 | 28.2 | 42.6
-3.02e-09 | 26.3 | 43.5
-3.01e-09 | 29 | 42.6
-3e-09 | 28.4 | 46.3
-2.99e-09 | 27.4 | 42.3
-2.98e-09 | 27.5 | 44.1
-2.97e-09 | 24.3 | 41.4
-2.96e-09 | 26.2 | 43.9
-2.95e-09 | 27 | 44.6
-2.94e-09 | 28 | 44
-2.93e-09 | 26.9 | 44.6
-2.92e-09 | 26.8 | 46
-2.91e-09 | 26.2 | 46.9
-2.9e-09 | 25.9 | 43
-2.89e-09 | 25.4 | 48.3
-2.88e-09 | 27.8 | 45.5
-2.87e-09 | 28.9 | 46.2
-2.86e-09 | 26.5 | 49.5
-2.85e-09 | 25.6 | 41.8
-2.84e-09 | 27.2 | 44.7
-2.83e-09 | 26.1 | 45.2
-2.82e-09 | 26.8 | 47.4
-2.81e-09 | 28.4 | 47.9
-2.8e-09 | 25.8 | 43.3
-2.79e-09 | 24.6 | 46.6
-2.78e-09 | 24.8 | 43.2
-2.77e-09 | 29.5 | 47.6
-2.76e-09 | 28.7 | 45.4
-2.75e-09 | 25.6 | 43.6
-2.74e-09 | 27.7 | 49.5
-2.73e-09 | 27.1 | 45.2
-2.72e-09 | 27 | 45.3
-2.71e-09 | 28.9 | 47.7
-2.7e-09 | 29 | 45.3
-2.69e-09 | 27.8 | 50.2
-2.68e-09 | 27.3 | 45.5
-2.67e-09 | 27.3 | 47.9
-2.66e-09 | 24 | 48.6
-2.65e-09 | 28.5 | 45.9
-2.64e-09 | 29.2 | 42.1
-2.63e-09 | 29.1 | 48
-2.62e-09 | 26.6 | 43.4
-2.61e-09 | 26.4 | 45.3
-2.6e-09 | 30.1 | 47.6
-2.59e-09 | 28.2 | 49.1
-2.58e-09 | 29.6 | 49.1
-2.57e-09 | 29.3 | 48.3
-2.56e-09 | 28 | 48.5
-2.55e-09 | 27.6 | 46.6
-2.54e-09 | 31.7 | 47.6
-2.53e-09 | 27.8 | 46.8
-2.52e-09 | 30.1 | 47.9
-2.51e-09 | 32.6 | 48.4
-2.5e-09 | 29.8 | 46.1
-2.49e-09 | 33.9 | 47.4
-2.48e-09 | 28.2 | 43.5
-2.47e-09 | 30.2 | 45.6
-2.46e-09 | 30.1 | 46.8
-2.45e-09 | 30.3 | 44.1
-2.44e-09 | 28.6 | 50.1
-2.43e-09 | 27.6 | 45.5
-2.42e-09 | 28.4 | 50.3
-2.41e-09 | 29.9 | 44.2
-2.4e-09 | 28.6 | 49.1
-2.39e-09 | 27.4 | 47.2
-2.38e-09 | 30.1 | 41.5
-2.37e-09 | 29.6 | 51.3
-2.36e-09 | 29.4 | 46.4
-2.35e-09 | 30.8 | 48.8
-2.34e-09 | 26.4 | 46.5
-2.33e-09 | 29.8 | 47.6
-2.32e-09 | 28.9 | 44.4
-2.31e-09 | 26.7 | 45.3
-2.3e-09 | 28.9 | 45.4
-2.29e-09 | 27.7 | 48.8
-2.28e-09 | 26.9 | 41.5
-2.27e-09 | 27.2 | 47.5
-2.26e-09 | 25.9 | 46.4
-2.25e-09 | 28 | 44.7
-2.24e-09 | 27.6 | 44.2
-2.23e-09 | 25 | 42.4
-2.22e-09 | 26.5 | 44.8
-2.21e-09 | 27.4 | 47.8
-2.2e-09 | 27.3 | 40.4
-2.19e-09 | 27.4 | 41.8
-2.18e-09 | 29.1 | 48.1
-2.17e-09 | 29.7 | 44.7
-2.16e-09 | 29.2 | 46.9
-2.15e-09 | 26.8 | 47
-2.14e-09 | 27.3 | 49.5
-2.13e-09 | 28.9 | 40
-2.12e-09 | 27.3 | 43.6
-2.11e-09 | 29.3 | 41.4
-2.1e-09 | 28.7 | 45.4
-2.09e-09 | 25.7 | 38.4
-2.08e-09 | 27 | 46
-2.07e-09 | 28.3 | 44.6
-2.06e-09 | 26.3 | 44.2
-2.05e-09 | 26 | 43.2
-2.04e-09 | 26.5 | 43.9
-2.03e-09 | 26.3 | 42.1
-2.02e-09 | 29.4 | 43.1
-2.01e-09 | 27.3 | 43.4
-2e-09 | 27.5 | 39.8
-1.99e-09 | 30.5 | 44.4
-1.98e-09 | 28.5 | 43.5
-1.97e-09 | 28.9 | 45.3
-1.96e-09 | 29.7 | 45.2
-1.95e-09 | 28.3 | 41.7
-1.94e-09 | 30.5 | 42.8
-1.93e-09 | 26.5 | 41.5
-1.92e-09 | 28 | 42.5
-1.91e-09 | 29.2 | 47
-1.9e-09 | 29.7 | 43.1
-1.89e-09 | 28.7 | 40.9
-1.88e-09 | 29.8 | 43
-1.87e-09 | 28.2 | 42
-1.86e-09 | 30.7 | 39.9
-1.85e-09 | 30.8 | 43.1
-1.84e-09 | 30 | 42.9
-1.83e-09 | 30.7 | 41.2
-1.82e-09 | 27.3 | 41.2
-1.81e-09 | 27.8 | 40
-1.8e-09 | 27.8 | 42.8
-1.79e-09 | 29.6 | 40.8
-1.78e-09 | 29.3 | 42.9
-1.77e-09 | 29.5 | 45.6
-1.76e-09 | 31.5 | 40.1
-1.75e-09 | 31.1 | 43.7
-1.74e-09 | 30.7 | 43.6
-1.73e-09 | 30.5 | 41.3
-1.72e-09 | 28.6 | 43.4
-1.71e-09 | 29 | 44.5
-1.7e-09 | 29.8 | 40.8
-1.69e-09 | 29.1 | 43.8
-1.68e-09 | 30.5 | 45.7
-1.67e-09 | 30.7 | 43.2
-1.66e-09 | 31 | 45.9
-1.65e-09 | 30.5 | 46.1
-1.64e-09 | 30.2 | 45.3
-1.63e-09 | 32 | 46.1
-1.62e-09 | 29.4 | 46.3
-1.61e-09 | 30.2 | 45.2
-1.6e-09 | 32.6 | 45.3
-1.59e-09 | 29.9 | 45.3
-1.58e-09 | 34.6 | 45.5
-1.57e-09 | 33.2 | 45.5
-1.56e-09 | 34.9 | 47
-1.55e-09 | 30.4 | 42.3
-1.54e-09 | 31.6 | 46.8
-1.53e-09 | 35.4 | 51.7
-1.52e-09 | 35 | 49.2
-1.51e-09 | 31.2 | 46.1
-1.5e-09 | 33 | 44.4
-1.49e-09 | 36 | 42.5
-1.48e-09 | 34.9 | 48.7
-1.47e-09 | 33 | 43.7
-1.46e-09 | 36.4 | 45.1
-1.45e-09 | 36.3 | 48.1
-1.44e-09 | 35.2 | 47.1
-1.43e-09 | 37.2 | 49.4
-1.42e-09 | 36.7 | 50.3
-1.41e-09 | 35.1 | 48.9
-1.4e-09 | 37.2 | 50.1
-1.39e-09 | 38.5 | 48.5
-1.38e-09 | 36.1 | 45.6
-1.37e-09 | 41.5 | 47.6
-1.36e-09 | 40.7 | 48.3
-1.35e-09 | 37.5 | 45.8
-1.34e-09 | 36.7 | 49.1
-1.33e-09 | 35.9 | 50.4
-1.32e-09 | 37.7 | 46.6
-1.31e-09 | 43.7 | 46.5
-1.3e-09 | 37.6 | 47.6
-1.29e-09 | 38.8 | 45.3
-1.28e-09 | 41.6 | 46.2
-1.27e-09 | 41.1 | 43.6
-1.26e-09 | 39.3 | 48
-1.25e-09 | 37.9 | 48.2
-1.24e-09 | 38 | 45.6
-1.23e-09 | 34.3 | 49
-1.22e-09 | 40.2 | 51.4
-1.21e-09 | 40.5 | 47.7
-1.2e-09 | 43 | 49.9
-1.19e-09 | 38.7 | 49.9
-1.18e-09 | 39.2 | 45.8
-1.17e-09 | 41.3 | 51.1
-1.16e-09 | 40.1 | 49.9
-1.15e-09 | 40.7 | 46.3
-1.14e-09 | 41 | 49.2
-1.13e-09 | 42 | 48.6
-1.12e-09 | 40.4 | 47.9
-1.11e-09 | 39.2 | 48.5
-1.1e-09 | 39.2 | 47.9
-1.09e-09 | 44.2 | 48.2
-1.08e-09 | 43.5 | 46.7
-1.07e-09 | 42.9 | 49.5
-1.06e-09 | 46.5 | 43.3
-1.05e-09 | 44.7 | 50.4
-1.04e-09 | 44.3 | 49
-1.03e-09 | 41.3 | 44.6
-1.02e-09 | 42.2 | 45
-1.01e-09 | 43 | 42.1
-1e-09 | 46.6 | 45.8
-9.9e-10 | 43.5 | 46.6
-9.8e-10 | 43.1 | 44.6
-9.7e-10 | 44.7 | 50.2
-9.6e-10 | 42.8 | 44.4
-9.5e-10 | 41.8 | 47.5
-9.4e-10 | 44.5 | 45.3
-9.3e-10 | 47.2 | 45.4
-9.2e-10 | 42.1 | 45.1
-9.1e-10 | 45.8 | 39.4
-9e-10 | 45.7 | 42
-8.9e-10 | 43.4 | 41.8
-8.8e-10 | 48.9 | 47.7
-8.7e-10 | 45.8 | 47.5
-8.6e-10 | 48 | 46.2
-8.5e-10 | 49.6 | 44
-8.4e-10 | 45.5 | 43.5
-8.3e-10 | 45.9 | 41.5
-8.2e-10 | 50.9 | 40.1
-8.1e-10 | 49.8 | 44
-8e-10 | 46.2 | 43.4
-7.9e-10 | 51 | 44.3
-7.8e-10 | 49.7 | 45
-7.7e-10 | 47.1 | 43.8
-7.6e-10 | 51.5 | 43.3
-7.5e-10 | 46.9 | 45.1
-7.4e-10 | 52.3 | 43.8
-7.3e-10 | 52.4 | 37.3
-7.2e-10 | 53 | 42.3
-7.1e-10 | 53 | 39.8
-7e-10 | 54.6 | 43.1
-6.9e-10 | 53 | 40.7
-6.8e-10 | 54.8 | 44.2
-6.7e-10 | 58.2 | 44.7
-6.6e-10 | 56.3 | 44.4
-6.5e-10 | 55.4 | 42.9
-6.4e-10 | 57 | 42.4
-6.3e-10 | 58.9 | 43.1
-6.2e-10 | 58.3 | 41.4
-6.1e-10 | 64.5 | 47.6
-6e-10 | 65.9 | 43.3
-5.9e-10 | 62.3 | 44.6
-5.8e-10 | 62.1 | 44.9
-5.7e-10 | 70.2 | 48.3
-5.6e-10 | 69.3 | 41.3
-5.5e-10 | 74 | 45.4
-5.4e-10 | 74 | 42.1
-5.3e-10 | 73.4 | 44.5
-5.2e-10 | 72.6 | 40.6
-5.1e-10 | 83.6 | 44
-5e-10 | 83.2 | 42.5
-4.9e-10 | 85.4 | 47.8
-4.8e-10 | 86.5 | 48.1
-4.7e-10 | 86.2 | 44.5
-4.6e-10 | 87.3 | 42.1
-4.5e-10 | 86.8 | 46.3
-4.4e-10 | 87.4 | 45.5
-4.3e-10 | 99 | 48.1
-4.2e-10 | 100.4 | 49
-4.1e-10 | 100.5 | 47.8
-4e-10 | 116 | 48
-3.9e-10 | 114.6 | 49.1
-3.8e-10 | 120.3 | 47.5
-3.7e-10 | 126.6 | 46.3
-3.6e-10 | 129.6 | 48.6
-3.5e-10 | 134.8 | 45
-3.4e-10 | 149.1 | 47.9
-3.3e-10 | 155.7 | 51.1
-3.2e-10 | 169.5 | 46.3
-3.1e-10 | 185.3 | 47.2
-3e-10 | 192.5 | 49.4
-2.9e-10 | 207.9 | 52.8
-2.8e-10 | 232.9 | 50.1
-2.7e-10 | 257.2 | 51.3
-2.6e-10 | 293 | 53.1
-2.5e-10 | 332 | 51.8
-2.4e-10 | 385.2 | 51.6
-2.3e-10 | 436.1 | 53.1
-2.2e-10 | 518.6 | 52.4
-2.1e-10 | 619.6 | 51.9
-2e-10 | 741.2 | 49
-1.9e-10 | 912.9 | 49.5
-1.8e-10 | 1088.1 | 54.7
-1.7e-10 | 1370.6 | 52.2
-1.6e-10 | 1667.1 | 52.3
-1.5e-10 | 2121 | 54.4
-1.4e-10 | 2625.5 | 51.3
-1.3e-10 | 3271.7 | 52.3
-1.2e-10 | 4044.6 | 54.4
-1.1e-10 | 5021.5 | 52.7
-1e-10 | 6100.9 | 55.6
-9e-11 | 7352 | 57.3
-8e-11 | 8688.8 | 59.3
-7e-11 | 10109.4 | 58.7
-6e-11 | 11456.4 | 53.4
-5e-11 | 12807.8 | 58.8
-4e-11 | 13932.6 | 56.9
-3e-11 | 14890.1 | 61.5
-2e-11 | 15609.5 | 52.7
-1e-11 | 16087.9 | 57.3
0 | 16175.7 | 60.2
1e-11 | 15974.5 | 62.5
2e-11 | 15580.4 | 59.8
3e-11 | 14978.9 | 58.2
4e-11 | 14072.2 | 62.1
5e-11 | 13246.8 | 62.5
6e-11 | 12186.1 | 61
7e-11 | 11165.1 | 60.1
8e-11 | 10211.4 | 62.3
9e-11 | 9308.3 | 60.3
1e-10 | 8447 | 63.2
1.1e-10 | 7625.2 | 57.2
1.2e-10 | 6847.1 | 61.6
1.3e-10 | 6209 | 60.6
1.4e-10 | 5604.6 | 63.4
1.5e-10 | 5034.3 | 63.2
1.6e-10 | 4574.8 | 67.2
1.7e-10 | 4132 | 66.4
1.8e-10 | 3798 | 65.2
1.9e-10 | 3455.5 | 68.1
2e-10 | 3163.2 | 63.5
2.1e-10 | 2881.6 | 69.6
2.2e-10 | 2645.3 | 71.6
2.3e-10 | 2462.6 | 68.8
2.4e-10 | 2267.6 | 70.9
2.5e-10 | 2093.4 | 70.2
2.6e-10 | 1957.3 | 74.2
2.7e-10 | 1850.4 | 78.8
2.8e-10 | 1702.3 | 73.8
2.9e-10 | 1627.3 | 84.5
3e-10 | 1522.1 | 85.3
3.1e-10 | 1459.7 | 92
3.2e-10 | 1395.9 | 100.3
3.3e-10 | 1329.4 | 105.8
3.4e-10 | 1264.5 | 113.7
3.5e-10 | 1225.2 | 118.2
3.6e-10 | 1175.3 | 135.9
3.7e-10 | 1122.9 | 151
3.8e-10 | 1123.3 | 170.4
3.9e-10 | 1091.1 | 188.7
4e-10 | 1037.4 | 200.9
4.1e-10 | 1031.6 | 221
4.2e-10 | 998.4 | 252.4
4.3e-10 | 962.8 | 272.2
4.4e-10 | 959.1 | 303.9
4.5e-10 | 931 | 341.5
4.6e-10 | 917.6 | 389.4
4.7e-10 | 891.5 | 413.5
4.8e-10 | 873.2 | 446.5
4.9e-10 | 853.9 | 502.7
5e-10 | 842 | 546.6
5.1e-10 | 800 | 610.3
5.2e-10 | 778.7 | 661.7
5.3e-10 | 728.4 | 715.5
5.4e-10 | 705.6 | 785.1
5.5e-10 | 704.5 | 856.6
5.6e-10 | 643.3 | 887.2
5.7e-10 | 623 | 1018
5.8e-10 | 596.2 | 1047
5.9e-10 | 561.6 | 1135.8
6e-10 | 523.4 | 1232
6.1e-10 | 517.3 | 1304.2
6.2e-10 | 490.1 | 1408
6.3e-10 | 457.2 | 1484.6
6.4e-10 | 441.8 | 1566
6.5e-10 | 409.3 | 1709
6.6e-10 | 396.8 | 1788.5
6.7e-10 | 373.6 | 1862.8
6.8e-10 | 360.5 | 2014.3
6.9e-10 | 340.1 | 2072.8
7e-10 | 333.4 | 2208.3
7.1e-10 | 311.5 | 2305.7
7.2e-10 | 303.2 | 2423.3
7.3e-10 | 290.9 | 2508.5
7.4e-10 | 279.5 | 2585.8
7.5e-10 | 270.4 | 2718.3
7.6e-10 | 246 | 2809.6
7.7e-10 | 246 | 2915.7
7.8e-10 | 250.2 | 2985.5
7.9e-10 | 235.8 | 3110.3
8e-10 | 229.1 | 3215.1
8.1e-10 | 219.6 | 3290.8
8.2e-10 | 216.5 | 3371.7
8.3e-10 | 216.1 | 3484.6
8.4e-10 | 209.3 | 3506.6
8.5e-10 | 202.3 | 3573.2
8.6e-10 | 198.4 | 3709.1
8.7e-10 | 193.7 | 3747.4
8.8e-10 | 194.4 | 3806.2
8.9e-10 | 191.8 | 3838.4
9e-10 | 194.4 | 3900.1
9.1e-10 | 183.7 | 3964.1
9.2e-10 | 181.8 | 3995
9.3e-10 | 190.1 | 4046
9.4e-10 | 186.1 | 4130.1
9.5e-10 | 188.9 | 4124.2
9.6e-10 | 186.7 | 4215.3
9.7e-10 | 192.1 | 4249.3
9.8e-10 | 184.2 | 4265.5
9.9e-10 | 188.3 | 4265.8
1e-09 | 186.3 | 4322.5
1.01e-09 | 179.5 | 4338.7
1.02e-09 | 188.8 | 4411.9
1.03e-09 | 179.3 | 4418.9
1.04e-09 | 179.8 | 4433.8
1.05e-09 | 171.4 | 4439.4
1.06e-09 | 170.6 | 4473.7
1.07e-09 | 173 | 4511.7
1.08e-09 | 169.3 | 4505.7
1.09e-09 | 162.4 | 4531.3
1.1e-09 | 163.5 | 4536.7
1.11e-09 | 153 | 4546.1
1.12e-09 | 158.3 | 4598.7
1.13e-09 | 157.4 | 4612
1.14e-09 | 145.8 | 4594.7
1.15e-09 | 143.3 | 4558.8
1.16e-09 | 137.5 | 4604.5
1.17e-09 | 144.5 | 4577
1.18e-09 | 137.1 | 4553.1
1.19e-09 | 138.4 | 4542.2
1.2e-09 | 136.1 | 4538.4
1.21e-09 | 132.7 | 4520.8
1.22e-09 | 129.6 | 4520.1
1.23e-09 | 123.2 | 4445.5
1.24e-09 | 129.3 | 4384.6
1.25e-09 | 125.2 | 4408.3
1.26e-09 | 120.5 | 4405.3
1.27e-09 | 121.9 | 4319
1.28e-09 | 119.9 | 4270.5
1.29e-09 | 121.5 | 4249.4
1.3e-09 | 114.6 | 4268.7
1.31e-09 | 118 | 4147.4
1.32e-09 | 123.3 | 4095.2
1.33e-09 | 111.3 | 4068.7
1.34e-09 | 108.1 | 4000.7
1.35e-09 | 115.5 | 3971.7
1.36e-09 | 112.6 | 3892
1.37e-09 | 112.7 | 3893.9
1.38e-09 | 107.1 | 3789.1
1.39e-09 | 107.5 | 3765.5
1.4e-09 | 112.2 | 3721.4
1.41e-09 | 109 | 3596.6
1.42e-09 | 101.9 | 3596.5
1.43e-09 | 103.4 | 3580.3
1.44e-09 | 102.7 | 3499.9
1.45e-09 | 102.1 | 3449.1
1.46e-09 | 104.5 | 3379.3
1.47e-09 | 103.3 | 3341.7
1.48e-09 | 103.9 | 3314.9
1.49e-09 | 99.1 | 3253.1
1.5e-09 | 96.8 | 3215
1.51e-09 | 94.9 | 3176.4
1.52e-09 | 100.4 | 3079
1.53e-09 | 98.9 | 3078.8
1.54e-09 | 89.5 | 3036.6
1.55e-09 | 92.1 | 3009.5
1.56e-09 | 95.6 | 2936.2
1.57e-09 | 96.4 | 2893.9
1.58e-09 | 99.5 | 2881.5
1.59e-09 | 94.4 | 2813.7
1.6e-09 | 91 | 2816.9
1.61e-09 | 92.7 | 2736.4
1.62e-09 | 88.9 | 2674.2
1.63e-09 | 91.7 | 2624.7
1.64e-09 | 93.3 | 2586.6
1.65e-09 | 92.6 | 2557.3
1.66e-09 | 90.5 | 2519.7
1.67e-09 | 89.7 | 2493.7
1.68e-09 | 86.3 | 2435.7
1.69e-09 | 87.3 | 2391.8
1.7e-09 | 85.9 | 2341.4
1.71e-09 | 85.7 | 2316.8
1.72e-09 | 88.9 | 2256.9
1.73e-09 | 81.8 | 2244.1
1.74e-09 | 80 | 2167.7
1.75e-09 | 85.3 | 2147
1.76e-09 | 84.9 | 2100.7
1.77e-09 | 88.2 | 2077.1
1.78e-09 | 87.6 | 2062.6
1.79e-09 | 84.1 | 2004.8
1.8e-09 | 79.2 | 2013.7
1.81e-09 | 81.1 | 1977.1
1.82e-09 | 84.1 | 1933.1
1.83e-09 | 82.6 | 1889.3
1.84e-09 | 81.1 | 1858.9
1.85e-09 | 83.5 | 1837.9
1.86e-09 | 84.4 | 1813.8
1.87e-09 | 76 | 1796
1.88e-09 | 78.1 | 1744.2
1.89e-09 | 85.1 | 1727
1.9e-09 | 81.8 | 1709.1
1.91e-09 | 84.3 | 1662.8
1.92e-09 | 84.7 | 1650.9
1.93e-09 | 85 | 1613.3
1.94e-09 | 79.4 | 1584
1.95e-09 | 81.2 | 1545.9
1.96e-09 | 78.8 | 1515.4
1.97e-09 | 82.4 | 1538.6
1.98e-09 | 78 | 1499.6
1.99e-09 | 76.3 | 1480.8
2e-09 | 77.1 | 1458.7
2.01e-09 | 82.3 | 1412.3
2.02e-09 | 82.6 | 1392.7
2.03e-09 | 74.6 | 1355.6
2.04e-09 | 81 | 1341.7
2.05e-09 | 80.3 | 1293.9
2.06e-09 | 80.3 | 1287.1
2.07e-09 | 79.1 | 1255.9
2.08e-09 | 79.3 | 1242.3
2.09e-09 | 77.5 | 1234
2.1e-09 | 77.2 | 1192
2.11e-09 | 77.4 | 1165.8
2.12e-09 | 77.6 | 1145.3
2.13e-09 | 76.1 | 1133.7
2.14e-09 | 69.7 | 1105.4
2.15e-09 | 73.2 | 1084
2.16e-09 | 76.3 | 1048
2.17e-09 | 70.9 | 1019.5
2.18e-09 | 73.2 | 1002.5
2.19e-09 | 70.1 | 1007.8
2.2e-09 | 75 | 966.9
2.21e-09 | 75 | 961.4
2.22e-09 | 72.6 | 920.5
2.23e-09 | 73.7 | 907.9
2.24e-09 | 72.3 | 912.5
2.25e-09 | 73.1 | 898.9
2.26e-09 | 68.3 | 870.5
2.27e-09 | 74.1 | 867.6
2.28e-09 | 69.4 | 849.7
2.29e-09 | 69.6 | 828.3
2.3e-09 | 68.2 | 824.5
2.31e-09 | 74 | 793.3
2.32e-09 | 72.7 | 793.5
2.33e-09 | 72 | 784.1
2.34e-09 | 71.8 | 754.1
2.35e-09 | 63.1 | 753.4
2.36e-09 | 71.4 | 748.9
2.37e-09 | 71 | 730.7
2.38e-09 | 68.6 | 706.6
2.39e-09 | 73.6 | 695.3
2.4e-09 | 67 | 696.6
2.41e-09 | 74 | 682.1
2.42e-09 | 66.6 | 673.8
2.43e-09 | 67 | 661
2.44e-09 | 65.2 | 654.1
2.45e-09 | 68.9 | 652.3
2.46e-09 | 66.8 | 620.2
2.47e-09 | 63.1 | 623.6
2.48e-09 | 71.1 | 599.2
2.49e-09 | 66.4 | 598
2.5e-09 | 63 | 590.6
2.51e-09 | 70.3 | 581.4
2.52e-09 | 67 | 566.4
2.53e-09 | 72.5 | 558.9
2.54e-09 | 69.6 | 545.1
2.55e-09 | 69.4 | 546.6
2.56e-09 | 66.6 | 539.5
2.57e-09 | 65.4 | 526
2.58e-09 | 67.3 | 522.3
2.59e-09 | 66.4 | 511.8
2.6e-09 | 60.2 | 482.5
2.61e-09 | 68.5 | 508.2
2.62e-09 | 66.4 | 491.1
2.63e-09 | 69.9 | 476.1
2.64e-09 | 66.1 | 466.1
2.65e-09 | 68.2 | 461.1
2.66e-09 | 65.5 | 462.3
2.67e-09 | 68.4 | 437.7
2.68e-09 | 65.5 | 433.2
2.69e-09 | 64.4 | 430.8
2.7e-09 | 65 | 430
2.71e-09 | 59.6 | 410.1
2.72e-09 | 66.6 | 403
2.73e-09 | 67.7 | 407
2.74e-09 | 63.2 | 388.8
2.75e-09 | 64.9 | 386.2
2.76e-09 | 64.6 | 379.6
2.77e-09 | 61.8 | 383.5
2.78e-09 | 63.1 | 368.9
2.79e-09 | 62.5 | 371.3
2.8e-09 | 66.9 | 356.9
2.81e-09 | 64.8 | 364.6
2.82e-09 | 63 | 350
2.83e-09 | 60.5 | 361.4
2.84e-09 | 64.8 | 337.5
2.85e-09 | 66.6 | 333.2
2.86e-09 | 64.9 | 324.2
2.87e-09 | 67.5 | 321.5
2.88e-09 | 67.5 | 310.6
2.89e-09 | 67.2 | 306.8
2.9e-09 | 60.8 | 299.3
2.91e-09 | 61.4 | 293.5
2.92e-09 | 63.8 | 301.9
2.93e-09 | 59.9 | 298.9
2.94e-09 | 58.7 | 292.1
2.95e-09 | 65.1 | 286.8
2.96e-09 | 65.9 | 274.4
2.97e-09 | 61.9 | 274.7
2.98e-09 | 60.9 | 267.5
2.99e-09 | 61.1 | 266.7
3e-09 | 62.2 | 263.9
3.01e-09 | 60.9 | 252.2
3.02e-09 | 60.5 | 253.1
3.03e-09 | 58.6 | 249.7
3.04e-09 | 59.7 | 244.3
3.05e-09 | 57.6 | 237.8
3.06e-09 | 58.9 | 242.5
3.07e-09 | 61 | 234.3
3.08e-09 | 59.1 | 224.1
3.09e-09 | 60.9 | 229.3
3.1e-09 | 58.1 | 221.8
3.11e-09 | 55.4 | 214.6
3.12e-09 | 60.6 | 223.5
3.13e-09 | 58.5 | 228.3
3.14e-09 | 62 | 223.3
3.15e-09 | 61.6 | 214
3.16e-09 | 53.2 | 209.3
3.17e-09 | 55.3 | 200.6
3.18e-09 | 56.3 | 204.3
3.19e-09 | 58.4 | 202.5
3.2e-09 | 59.4 | 199.8
3.21e-09 | 56.5 | 199.7
3.22e-09 | 54 | 198
3.23e-09 | 54.2 | 190.4
3.24e-09 | 57.1 | 191.4
3.25e-09 | 58.6 | 195
3.26e-09 | 56.3 | 182.9
3.27e-09 | 61.7 | 190.3
3.28e-09 | 52.1 | 182.4
3.29e-09 | 56 | 184.2
3.3e-09 | 60.1 | 170.7
3.31e-09 | 59.6 | 177.8
3.32e-09 | 54.5 | 173.4
3.33e-09 | 56.6 | 179.6
3.34e-09 | 57.6 | 160.1
3.35e-09 | 59.5 | 165.6
3.36e-09 | 53 | 164.1
3.37e-09 | 56.5 | 166.4
3.38e-09 | 58.9 | 158.9
3.39e-09 | 58.4 | 153
3.4e-09 | 55.4 | 153
3.41e-09 | 56.2 | 150.7
3.42e-09 | 52.3 | 152.8
3.43e-09 | 54 | 149.6
3.44e-09 | 56.4 | 153.7
3.45e-09 | 52.9 | 152.3
3.46e-09 | 55.5 | 144.4
3.47e-09 | 57.4 | 147.8
3.48e-09 | 53.2 | 141.6
3.49e-09 | 55.1 | 141
3.5e-09 | 54.1 | 143.2
3.51e-09 | 51.1 | 135.2
3.52e-09 | 53.8 | 141.8
3.53e-09 | 55.5 | 135.9
3.54e-09 | 53 | 147.1
3.55e-09 | 53.7 | 130.4
3.56e-09 | 49 | 135.1
3.57e-09 | 54.3 | 124.3
3.58e-09 | 50.8 | 134.4
3.59e-09 | 54.6 | 136.3
3.6e-09 | 54.7 | 133
3.61e-09 | 54 | 123.6
3.62e-09 | 54.3 | 131.3
3.63e-09 | 56.3 | 127.8
3.64e-09 | 55.5 | 127.6
3.65e-09 | 58.4 | 130.5
3.66e-09 | 55.6 | 125.3
3.67e-09 | 52.9 | 132.4
3.68e-09 | 55.9 | 127.6
3.69e-09 | 56.2 | 118.6
3.7e-09 | 56.5 | 123.6
3.71e-09 | 55.7 | 121.6
3.72e-09 | 57.6 | 119.5
3.73e-09 | 59.6 | 116.2
3.74e-09 | 54.2 | 115.2
3.75e-09 | 58.5 | 121.9
3.76e-09 | 58.1 | 123.9
3.77e-09 | 63.1 | 114.8
3.78e-09 | 63.4 | 120.6
3.79e-09 | 58.1 | 113.3
3.8e-09 | 62.2 | 115.1
3.81e-09 | 58.5 | 114.6
3.82e-09 | 60.3 | 110.8
3.83e-09 | 62.6 | 113.3
3.84e-09 | 57.9 | 111.3
3.85e-09 | 56.5 | 110.9
3.86e-09 | 58.1 | 113.2
3.87e-09 | 55.3 | 106.4
3.88e-09 | 54.8 | 105.5
3.89e-09 | 58.6 | 103.9
3.9e-09 | 56.3 | 107
3.91e-09 | 59.3 | 102.5
3.92e-09 | 53.6 | 102.6
3.93e-09 | 54.2 | 94.1
3.94e-09 | 52.7 | 101.2
3.95e-09 | 55.7 | 100.3
3.96e-09 | 48.8 | 103.3
3.97e-09 | 52.7 | 103.8
3.98e-09 | 50.4 | 97.3
3.99e-09 | 46.3 | 101.5
4e-09 | 55.5 | 100.4
4.01e-09 | 52.7 | 97.6
4.02e-09 | 50.5 | 98
4.03e-09 | 46.9 | 97.2
4.04e-09 | 51.7 | 102.3
4.05e-09 | 53.6 | 97.5
4.06e-09 | 53.8 | 87.6
4.07e-09 | 47.9 | 94
4.08e-09 | 51.7 | 92.4
4.09e-09 | 53.2 | 95.2
4.1e-09 | 49.4 | 98.3
4.11e-09 | 51.8 | 93
4.12e-09 | 52.3 | 92.2
4.13e-09 | 55.1 | 90.2
4.14e-09 | 51.2 | 95.9
4.15e-09 | 52.6 | 93.5
4.16e-09 | 49.7 | 87.3
4.17e-09 | 53.1 | 94.4
4.18e-09 | 54.2 | 91.7
4.19e-09 | 49.7 | 93.3
4.2e-09 | 50.3 | 92
4.21e-09 | 53.1 | 92.6
4.22e-09 | 51.9 | 89.9
4.23e-09 | 55.2 | 89.5
4.24e-09 | 49.5 | 90.9
4.25e-09 | 53.7 | 85.9
4.26e-09 | 51 | 89.1
4.27e-09 | 52.3 | 89.2
4.28e-09 | 54.8 | 92.4
4.29e-09 | 52 | 89.6
4.3e-09 | 52.1 | 91.7
4.31e-09 | 52.6 | 84.3
4.32e-09 | 49.8 | 88.9
4.33e-09 | 52.2 | 91.2
4.34e-09 | 52.8 | 86.5
4.35e-09 | 51.2 | 92
4.36e-09 | 54.6 | 99.2
4.37e-09 | 52.2 | 97.7
4.38e-09 | 50.3 | 92
4.39e-09 | 49.5 | 88.2
4.4e-09 | 51.5 | 92.1
4.41e-09 | 49.1 | 92.1
4.42e-09 | 50.1 | 89.9
4.43e-09 | 44.6 | 91.2
4.44e-09 | 56 | 88.8
4.45e-09 | 48.9 | 88.7
4.46e-09 | 46.7 | 90.9
4.47e-09 | 47.3 | 91.1
4.48e-09 | 50.2 | 91.8
4.49e-09 | 48.8 | 90.4
4.5e-09 | 51.3 | 94.3
4.51e-09 | 51.9 | 93.6
4.52e-09 | 52.6 | 92.5
4.53e-09 | 48.9 | 82.3
4.54e-09 | 45.3 | 88.4
4.55e-09 | 47.4 | 90.5
4.56e-09 | 54.1 | 92.4
4.57e-09 | 49.5 | 86.3
4.58e-09 | 51.2 | 87.1
4.59e-09 | 46 | 88.6
4.6e-09 | 47.7 | 85.9
4.61e-09 | 44.4 | 83.2
4.62e-09 | 47.4 | 85.7
4.63e-09 | 52.4 | 86.5
4.64e-09 | 47.7 | 93.4
4.65e-09 | 48.7 | 84.1
4.66e-09 | 49.7 | 88.7
4.67e-09 | 47.4 | 84.7
4.68e-09 | 51.1 | 81
4.69e-09 | 47.5 | 85.6
4.7e-09 | 49.6 | 80.5
4.71e-09 | 48.9 | 85.2
4.72e-09 | 45.9 | 83
4.73e-09 | 45.5 | 88.2
4.74e-09 | 44 | 83.3
4.75e-09 | 45.8 | 86
4.76e-09 | 47.5 | 86.2
4.77e-09 | 46.7 | 81.3
4.78e-09 | 45.6 | 82.5
4.79e-09 | 42.6 | 84.3
4.8e-09 | 44.4 | 82.3
4.81e-09 | 46.7 | 80.5
4.82e-09 | 45.6 | 82
4.83e-09 | 47.3 | 78.2
4.84e-09 | 47.5 | 81.2
4.85e-09 | 43.5 | 82.4
4.86e-09 | 47 | 82.6
4.87e-09 | 42.6 | 86.6
4.88e-09 | 45.6 | 80.3
4.89e-09 | 43.4 | 80.5
4.9e-09 | 43.9 | 81.9
4.91e-09 | 45.9 | 80.2
4.92e-09 | 44.4 | 79.9
4.93e-09 | 44.6 | 76.3
4.94e-09 | 44.4 | 86.6
4.95e-09 | 45.3 | 74.8
4.96e-09 | 45.7 | 80.6
4.97e-09 | 39.8 | 81.1
4.98e-09 | 46.2 | 77.3
4.99e-09 | 41.9 | 84.2
5e-09 | 40.7 | 74.1
5.01e-09 | 40.3 | 73.9
5.02e-09 | 43.8 | 73.9
5.03e-09 | 41.4 | 76.5
5.04e-09 | 43.9 | 77.2
5.05e-09 | 44.2 | 77.2
5.06e-09 | 40.2 | 73.3
5.07e-09 | 40 | 73.1
5.08e-09 | 39.6 | 71.9
5.09e-09 | 43 | 78.3
5.1e-09 | 44.4 | 73.6
5.11e-09 | 38.9 | 71.7
5.12e-09 | 41.4 | 69.4
5.13e-09 | 39 | 70.6
5.14e-09 | 40.6 | 75.9
5.15e-09 | 37.6 | 67.9
5.16e-09 | 41.8 | 71.5
5.17e-09 | 40.3 | 72.4
5.18e-09 | 40.9 | 68.8
5.19e-09 | 38.3 | 69.8
5.2e-09 | 39.5 | 68
5.21e-09 | 39.2 | 71
5.22e-09 | 39.2 | 67.2
5.23e-09 | 40.6 | 70.9
5.24e-09 | 38.7 | 69.8
5.25e-09 | 38 | 73.5
5.26e-09 | 39.5 | 73.2
5.27e-09 | 43.6 | 65.8
5.28e-09 | 41.8 | 66.7
5.29e-09 | 40.7 | 71.1
5.3e-09 | 40 | 71.1
5.31e-09 | 41.2 | 71.9
5.32e-09 | 42.3 | 70.3
5.33e-09 | 43.8 | 72.4
5.34e-09 | 44.4 | 69.3
5.35e-09 | 41.8 | 68.2
5.36e-09 | 39.1 | 73.4
5.37e-09 | 40.2 | 69.3
5.38e-09 | 45.7 | 72
5.39e-09 | 39.7 | 70.6
5.4e-09 | 42.1 | 70.6
5.41e-09 | 41 | 73.9
5.42e-09 | 44 | 69.5
5.43e-09 | 42.3 | 71.2
5.44e-09 | 42.9 | 71
5.45e-09 | 39.5 | 68.3
5.46e-09 | 36.1 | 71.6
5.47e-09 | 41.5 | 67.6
5.48e-09 | 42.5 | 66.5
5.49e-09 | 45.4 | 74.1
5.5e-09 | 43.7 | 76.1
5.51e-09 | 47.2 | 76.1
5.52e-09 | 46.1 | 75.8
5.53e-09 | 43.9 | 69.1
5.54e-09 | 41.8 | 72
5.55e-09 | 42.1 | 75.4
5.56e-09 | 43.1 | 73.6
5.57e-09 | 44.1 | 75.4
5.58e-09 | 44.1 | 75.8
5.59e-09 | 44.7 | 76.8
5.6e-09 | 45.4 | 75.7
5.61e-09 | 43.1 | 71.8
5.62e-09 | 42.5 | 75.3
5.63e-09 | 44.9 | 76.8
5.64e-09 | 43.1 | 77.5
5.65e-09 | 47.5 | 77
5.66e-09 | 45.6 | 76.5
5.67e-09 | 50.9 | 83.3
5.68e-09 | 45.9 | 80.3
5.69e-09 | 45.8 | 76.9
5.7e-09 | 41.9 | 77.9
5.71e-09 | 43.8 | 78.1
5.72e-09 | 41.9 | 80.3
5.73e-09 | 43.3 | 78.8
5.74e-09 | 41 | 76.8
5.75e-09 | 41.6 | 74.7
5.76e-09 | 43 | 77.7
5.77e-09 | 43.2 | 71.8
5.78e-09 | 43.9 | 75.1
5.79e-09 | 47.9 | 72.7
5.8e-09 | 45.5 | 73.3
5.81e-09 | 44.7 | 75.3
5.82e-09 | 41.6 | 74.2
5.83e-09 | 45.3 | 74.8
5.84e-09 | 42.2 | 68
5.85e-09 | 42.7 | 67.4
5.86e-09 | 41.8 | 68.4
5.87e-09 | 45.4 | 71.2
5.88e-09 | 38.7 | 71.8
5.89e-09 | 41 | 72.3
5.9e-09 | 41.2 | 73.5
5.91e-09 | 39.7 | 72.9
5.92e-09 | 41 | 71
5.93e-09 | 42.3 | 68.4
5.94e-09 | 37.7 | 73.6
5.95e-09 | 39.5 | 68.2
5.96e-09 | 38.7 | 68.3
5.97e-09 | 36.5 | 67.1
5.98e-09 | 39.2 | 68.9
5.99e-09 | 37.7 | 65
6e-09 | 41.4 | 65.2
6.01e-09 | 41.3 | 67.6
6.02e-09 | 38.6 | 60.5
6.03e-09 | 38.7 | 64.1
6.04e-09 | 41.3 | 68.8
6.05e-09 | 39.9 | 66.9
6.06e-09 | 38.6 | 62.2
6.07e-09 | 40.2 | 66.8
6.08e-09 | 38.5 | 67.8
6.09e-09 | 37.8 | 61.1
6.1e-09 | 41.1 | 61.7
6.11e-09 | 40.1 | 66.1
6.12e-09 | 38.2 | 68.8
6.13e-09 | 36.7 | 69.1
6.14e-09 | 41.4 | 67.9
6.15e-09 | 38.7 | 63.3
6.16e-09 | 37.6 | 63.9
6.17e-09 | 41.6 | 63.1
6.18e-09 | 34.9 | 66.6
6.19e-09 | 36.9 | 64.7
6.2e-09 | 39 | 59.7
6.21e-09 | 35.5 | 65.2
6.22e-09 | 37.1 | 63.7
6.23e-09 | 35 | 62.4
6.24e-09 | 35.5 | 58.8
6.25e-09 | 36.1 | 62.1
6.26e-09 | 33.4 | 56.5
6.27e-09 | 34.5 | 53.4
6.28e-09 | 33.1 | 58.3
6.29e-09 | 36.3 | 54.1
6.3e-09 | 30.1 | 56.1
6.31e-09 | 38.1 | 52.2
6.32e-09 | 34.6 | 61.5
6.33e-09 | 36.2 | 53
6.34e-09 | 37.5 | 60.3
6.35e-09 | 33.9 | 63.8
6.36e-09 | 37.5 | 59.2
6.37e-09 | 39.2 | 63.1
6.38e-09 | 37.3 | 62.9
6.39e-09 | 35.3 | 62.9
6.4e-09 | 35.8 | 56.8
6.41e-09 | 38.2 | 59.1
6.42e-09 | 35.9 | 59.2
6.43e-09 | 34.3 | 58.5
6.44e-09 | 35.9 | 59.9
6.45e-09 | 37.7 | 59.8
6.46e-09 | 40.7 | 63.4
6.47e-09 | 34.4 | 58.9
6.48e-09 | 34.5 | 58.9
6.49e-09 | 37.4 | 58.3
6.5e-09 | 38.1 | 60.9
6.51e-09 | 35.5 | 61.2
6.52e-09 | 41 | 63.3
6.53e-09 | 35.4 | 63.1
6.54e-09 | 38.2 | 59.2
6.55e-09 | 35.4 | 60.4
6.56e-09 | 36.5 | 59.4
6.57e-09 | 39.3 | 60.5
6.58e-09 | 36.3 | 60.1
6.59e-09 | 40.9 | 60.4
6.6e-09 | 38 | 61
6.61e-09 | 39.5 | 60.2
6.62e-09 | 36 | 65.5
6.63e-09 | 38.9 | 61.6
6.64e-09 | 38.5 | 67.1
6.65e-09 | 38.5 | 61.9
6.66e-09 | 38.6 | 69.2
6.67e-09 | 36.9 | 65.3
6.68e-09 | 40.3 | 63.5
6.69e-09 | 40.1 | 61.2
6.7e-09 | 43.4 | 66.4
6.71e-09 | 39.4 | 64.3
6.72e-09 | 38.2 | 63.5
6.73e-09 | 40.4 | 63.1
6.74e-09 | 40.6 | 64.9
6.75e-09 | 34.9 | 67.2
6.76e-09 | 37.3 | 66
6.77e-09 | 35.4 | 68.6
6.78e-09 | 41.5 | 63.6
6.79e-09 | 39.1 | 70.5
6.8e-09 | 41.8 | 64.3
6.81e-09 | 37.2 | 69.3
6.82e-09 | 41.8 | 66.4
6.83e-09 | 39.9 | 66.1
6.84e-09 | 38.6 | 64.7
6.85e-09 | 38 | 67.2
6.86e-09 | 40.2 | 63.8
6.87e-09 | 39.8 | 68.2
6.88e-09 | 39.3 | 65.2
6.89e-09 | 38.3 | 64.8
6.9e-09 | 41.1 | 65
6.91e-09 | 39.7 | 65.2
6.92e-09 | 40.2 | 63.2
6.93e-09 | 40.6 | 62.8
6.94e-09 | 37.9 | 60.5
6.95e-09 | 36.9 | 64.1
6.96e-09 | 39.9 | 66
6.97e-09 | 36.7 | 67
6.98e-09 | 38.5 | 61.4
6.99e-09 | 35.4 | 65.9
7e-09 | 39.6 | 62.7
7.01e-09 | 40.1 | 61.3
7.02e-09 | 35.9 | 61.1
7.03e-09 | 38.7 | 63.4
7.04e-09 | 35.6 | 60.9
7.05e-09 | 39.3 | 60.7
7.06e-09 | 37.6 | 61.7
7.07e-09 | 36.4 | 59.1
7.08e-09 | 38.6 | 64.7
7.09e-09 | 35.1 | 63.1
7.1e-09 | 37.1 | 64.9
7.11e-09 | 35.6 | 61.7
7.12e-09 | 35.5 | 61
7.13e-09 | 32.8 | 58.8
7.14e-09 | 35.4 | 57.9
7.15e-09 | 38.1 | 59.3
7.16e-09 | 37.1 | 61.5
7.17e-09 | 35.5 | 59
7.18e-09 | 36.4 | 57.2
7.19e-09 | 36.6 | 63.7
7.2e-09 | 36.6 | 59.1
7.21e-09 | 39.6 | 60.4
7.22e-09 | 39.2 | 62.7
7.23e-09 | 35.3 | 60
7.24e-09 | 33.6 | 60
7.25e-09 | 35.5 | 59.9
7.26e-09 | 35.3 | 62.5
7.27e-09 | 37.1 | 58.6
7.28e-09 | 39 | 61.2
7.29e-09 | 35.8 | 63
7.3e-09 | 34.8 | 57.6
7.31e-09 | 35.5 | 58.9
7.32e-09 | 38.5 | 66.8
7.33e-09 | 38.1 | 62.2
7.34e-09 | 35.3 | 56.4
7.35e-09 | 37.9 | 59.7
7.36e-09 | 36.7 | 62.1
7.37e-09 | 40.1 | 59.1
7.38e-09 | 38 | 65.4
7.39e-09 | 39.7 | 55.7
7.4e-09 | 34.5 | 59.6
7.41e-09 | 37.5 | 58.7
7.42e-09 | 37 | 60.6
7.43e-09 | 37.3 | 59.4
7.44e-09 | 35.5 | 63.2
7.45e-09 | 36.6 | 62.2
7.46e-09 | 37.9 | 59.7
7.47e-09 | 36.3 | 60
7.48e-09 | 35.7 | 58.4
7.49e-09 | 36.9 | 58.7
7.5e-09 | 36.8 | 65.9
7.51e-09 | 35.5 | 63.2
7.52e-09 | 34.7 | 58.5
7.53e-09 | 33.4 | 58.6
7.54e-09 | 36.5 | 59.9
7.55e-09 | 35.8 | 56.4
7.56e-09 | 36.9 | 57.8
7.57e-09 | 38.4 | 60.4
7.58e-09 | 38.5 | 57.1
7.59e-09 | 35.9 | 60
7.6e-09 | 35 | 59.3
7.61e-09 | 34.2 | 60.5
7.62e-09 | 36.2 | 58.3
7.63e-09 | 36.6 | 57.9
7.64e-09 | 35.5 | 54.3
7.65e-09 | 33.5 | 56.7
7.66e-09 | 33.4 | 54.3
7.67e-09 | 32.3 | 60.3
7.68e-09 | 33.9 | 55
7.69e-09 | 33.8 | 55.1
7.7e-09 | 36.5 | 56.8
7.71e-09 | 36.1 | 62.2
7.72e-09 | 39.1 | 61
7.73e-09 | 33.4 | 60.6
7.74e-09 | 33.4 | 56.2
7.75e-09 | 30.9 | 56.8
7.76e-09 | 39.3 | 56.1
7.77e-09 | 36.6 | 57.9
7.78e-09 | 35.4 | 58.6
7.79e-09 | 37.6 | 57.4
7.8e-09 | 30.7 | 55.7
7.81e-09 | 33.1 | 61.4
7.82e-09 | 38.2 | 58.9
7.83e-09 | 35.2 | 56.1
7.84e-09 | 35 | 60.3
7.85e-09 | 35.3 | 54
7.86e-09 | 34 | 59
7.87e-09 | 35.4 | 53.2
7.88e-09 | 33.3 | 59.1
7.89e-09 | 34.8 | 55
7.9e-09 | 36.5 | 58.7
7.91e-09 | 34.8 | 56.4
7.92e-09 | 32.4 | 56
7.93e-09 | 40 | 55.7
7.94e-09 | 37.9 | 59.8
7.95e-09 | 37.3 | 58
7.96e-09 | 32.8 | 62.2
7.97e-09 | 35.8 | 56.1
7.98e-09 | 36.4 | 55.2
7.99e-09 | 33.7 | 56
8e-09 | 34.8 | 59.9
8.01e-09 | 34.9 | 57.8
8.02e-09 | 31.4 | 57.2
8.03e-09 | 37 | 55.3
8.04e-09 | 32.6 | 55.4
8.05e-09 | 34.2 | 58.7
8.06e-09 | 38.6 | 61.1
8.07e-09 | 36.4 | 60.4
8.08e-09 | 30.5 | 50.9
8.09e-09 | 33.8 | 57.7
8.1e-09 | 35.6 | 53.1
8.11e-09 | 36.7 | 53.2
8.12e-09 | 37.6 | 55.5
8.13e-09 | 38.3 | 56.6
8.14e-09 | 32.3 | 56.9
8.15e-09 | 32.7 | 55.8
8.16e-09 | 34.8 | 63.6
8.17e-09 | 33.2 | 53.7
8.18e-09 | 33.7 | 51.9
8.19e-09 | 33.8 | 53.6
8.2e-09 | 32.7 | 57.3
8.21e-09 | 30.6 | 51.8
8.22e-09 | 33.8 | 55.8
8.23e-09 | 34.3 | 55.5
8.24e-09 | 32.4 | 52.9
8.25e-09 | 34.5 | 59.5
8.26e-09 | 36.7 | 58.9
8.27e-09 | 32.5 | 56
8.28e-09 | 33.4 | 53.5
8.29e-09 | 35.1 | 59.1
8.3e-09 | 30.4 | 52.8
8.31e-09 | 36.7 | 57
8.32e-09 | 35.5 | 48.9
8.33e-09 | 33.8 | 55.7
8.34e-09 | 30.8 | 54.2
8.35e-09 | 31.5 | 55.5
8.36e-09 | 31.4 | 53.2
8.37e-09 | 31.8 | 58.8
8.38e-09 | 33.6 | 55
8.39e-09 | 35.5 | 53.4
8.4e-09 | 35.4 | 59.1
8.41e-09 | 34.3 | 55.8
8.42e-09 | 34.5 | 56
8.43e-09 | 36.1 | 55.6
8.44e-09 | 35.2 | 54.9
8.45e-09 | 32.6 | 58.3
8.46e-09 | 36.1 | 55.4
8.47e-09 | 32.6 | 52.5
8.48e-09 | 36.7 | 57
8.49e-09 | 37 | 59.9
8.5e-09 | 32.7 | 58.1
8.51e-09 | 36.3 | 56.7
8.52e-09 | 34.9 | 54.7
8.53e-09 | 34.1 | 56
8.54e-09 | 34.2 | 56.6
8.55e-09 | 37.1 | 56
8.56e-09 | 37.1 | 57.4
8.57e-09 | 34.8 | 60.8
8.58e-09 | 35.4 | 55.2
8.59e-09 | 36.3 | 56.7
8.6e-09 | 37 | 58.3
8.61e-09 | 37.1 | 58.4
8.62e-09 | 33 | 55.7
8.63e-09 | 36.8 | 58.7
8.64e-09 | 35.9 | 61.5
8.65e-09 | 37.7 | 56.6
8.66e-09 | 34.1 | 56.1
8.67e-09 | 30 | 60.9
8.68e-09 | 37.8 | 62.7
8.69e-09 | 39 | 65.5
8.7e-09 | 36.8 | 62.2
8.71e-09 | 34.9 | 61.3
8.72e-09 | 37.3 | 56.5
8.73e-09 | 39.3 | 60.8
8.74e-09 | 33.7 | 59.8
8.75e-09 | 34.4 | 56.7
8.76e-09 | 35.8 | 57.1
8.77e-09 | 34.1 | 57.1
8.78e-09 | 34.5 | 60.1
8.79e-09 | 33.8 | 56.6
8.8e-09 | 36.5 | 55.6
8.81e-09 | 32.9 | 57.9
8.82e-09 | 32.8 | 54.4
8.83e-09 | 34.3 | 53.2
8.84e-09 | 32.5 | 55.6
8.85e-09 | 33.8 | 58.5
8.86e-09 | 34.9 | 56.4
8.87e-09 | 32.9 | 56.4
8.88e-09 | 34.6 | 55
8.89e-09 | 35.4 | 61.5
8.9e-09 | 34 | 56.2
8.91e-09 | 31.8 | 56.5
8.92e-09 | 33.2 | 56.1
8.93e-09 | 32.7 | 60
8.94e-09 | 32.9 | 58.4
8.95e-09 | 32.1 | 51.7
8.96e-09 | 33.4 | 52.2
8.97e-09 | 29.3 | 55.6
8.98e-09 | 32.1 | 51.7
8.99e-09 | 29.6 | 51.6
9e-09 | 32 | 47.8
9.01e-09 | 29.9 | 53.8
9.02e-09 | 31.3 | 49.4
9.03e-09 | 27.9 | 51
9.04e-09 | 34.2 | 52.8
9.05e-09 | 31.5 | 51.7
9.06e-09 | 31.3 | 52.6
9.07e-09 | 32.1 | 51.7
9.08e-09 | 32.4 | 51.4
9.09e-09 | 32.6 | 52.3
9.1e-09 | 31.7 | 53.8
9.11e-09 | 30.5 | 52.6
9.12e-09 | 31.2 | 51.5
9.13e-09 | 31.8 | 53.3
9.14e-09 | 30.2 | 51.7
9.15e-09 | 29.4 | 52.9
9.16e-09 | 32.6 | 55.5
9.17e-09 | 30.1 | 48.2
9.18e-09 | 34.2 | 50.7
9.19e-09 | 32.1 | 50.3
9.2e-09 | 29.5 | 51.2
9.21e-09 | 31.5 | 52.8
9.22e-09 | 33.3 | 49.7
9.23e-09 | 28.2 | 57.9
9.24e-09 | 30.9 | 51.8
9.25e-09 | 30.2 | 50
9.26e-09 | 30.5 | 50.2
9.27e-09 | 31 | 60.1
9.28e-09 | 33.2 | 53.8
9.29e-09 | 30.2 | 50
9.3e-09 | 31.1 | 49.7
9.31e-09 | 31.2 | 54.4
9.32e-09 | 30.1 | 53.7
9.33e-09 | 33.8 | 50.5
9.34e-09 | 29.2 | 50.7
9.35e-09 | 33 | 49.7
9.36e-09 | 33.4 | 47.2
9.37e-09 | 30.7 | 51.1
9.38e-09 | 29.4 | 55.1
9.39e-09 | 30 | 55.2
9.4e-09 | 31.9 | 53.6
9.41e-09 | 32.5 | 53.7
9.42e-09 | 29.3 | 50.3
9.43e-09 | 31.9 | 49.4
9.44e-09 | 30.9 | 54.1
9.45e-09 | 33.5 | 55.4
9.46e-09 | 32.5 | 56.4
9.47e-09 | 31.7 | 51.9
9.48e-09 | 27.7 | 47.5
9.49e-09 | 34.6 | 51.8
9.5e-09 | 31.1 | 54.2
9.51e-09 | 32.2 | 57.2
9.52e-09 | 31.9 | 53.3
9.53e-09 | 30.9 | 54.8
9.54e-09 | 32.5 | 50.6
9.55e-09 | 29.9 | 57.5
9.56e-09 | 30.6 | 51.9
9.57e-09 | 34 | 54
9.58e-09 | 34.9 | 54.6
9.59e-09 | 34 | 58.5
9.6e-09 | 34.4 | 54.6
9.61e-09 | 33.7 | 57.8
9.62e-09 | 34.1 | 57.3
9.63e-09 | 32.3 | 54.2
9.64e-09 | 30.7 | 57
9.65e-09 | 35.2 | 55.4
9.66e-09 | 34.8 | 50.6
9.67e-09 | 35.1 | 50.9
9.68e-09 | 34.3 | 58.8
9.69e-09 | 32.4 | 56.1
9.7e-09 | 36.7 | 55.2
9.71e-09 | 32.3 | 53.1
9.72e-09 | 36.4 | 54.6
9.73e-09 | 36.7 | 54.7
9.74e-09 | 34.5 | 57.2
9.75e-09 | 33 | 55.2
9.76e-09 | 35.3 | 55.3
9.77e-09 | 30.9 | 54.5
9.78e-09 | 37.1 | 57.8
9.79e-09 | 35.8 | 59.8
9.8e-09 | 33.5 | 58.3
9.81e-09 | 36.5 | 56.6
9.82e-09 | 35.6 | 52.4
9.83e-09 | 34 | 52.6
9.84e-09 | 33.8 | 55.7
9.85e-09 | 35.1 | 62
9.86e-09 | 37.4 | 58.6
9.87e-09 | 32.9 | 58
9.88e-09 | 32.3 | 53.2
9.89e-09 | 32.2 | 54.3
9.9e-09 | 38.8 | 55.8
9.91e-09 | 34.2 | 53.3
9.92e-09 | 33.3 | 55
9.93e-09 | 34.4 | 58.4
9.94e-09 | 34.3 | 54
9.95e-09 | 33.8 | 53.5
9.96e-09 | 31.2 | 54.5
9.97e-09 | 30.8 | 56
9.98e-09 | 33.9 | 55.2
9.99e-09 | 34 | 53.2
1e-08 | 37 | 52.3
1.001e-08 | 31.3 | 53.5
1.002e-08 | 34 | 55.5
1.003e-08 | 30.6 | 54.2
1.004e-08 | 29.2 | 53.9
1.005e-08 | 29 | 54
1.006e-08 | 30.1 | 52.1
1.007e-08 | 28.6 | 57.6
1.008e-08 | 29.7 | 55.9
1.009e-08 | 30.9 | 54.2
1.01e-08 | 32.5 | 54.6
1.011e-08 | 33.4 | 56.2
1.012e-08 | 28.4 | 54.6
1.013e-08 | 30.6 | 48.7
1.014e-08 | 30.9 | 54.1
1.015e-08 | 27 | 48.8
1.016e-08 | 27.9 | 47.8
1.017e-08 | 28.9 | 51.4
1.018e-08 | 31.5 | 49.1
1.019e-08 | 32.2 | 53.6
1.02e-08 | 29.9 | 52.7
1.021e-08 | 32.1 | 48.3
1.022e-08 | 26.7 | 49.3
1.023e-08 | 30.3 | 49.8
1.024e-08 | 30.7 | 47.6
1.025e-08 | 31.9 | 50.9
1.026e-08 | 29.8 | 46.8
1.027e-08 | 31.7 | 44.9
1.028e-08 | 30.4 | 50
1.029e-08 | 29.1 | 51.2
1.03e-08 | 30.3 | 48.9
1.031e-08 | 26.6 | 47.3
1.032e-08 | 29.8 | 48.6
1.033e-08 | 28.5 | 49.9
1.034e-08 | 29.8 | 46.6
1.035e-08 | 32.6 | 48.6
1.036e-08 | 31.7 | 50.4
1.037e-08 | 29.4 | 48.6
1.038e-08 | 32.1 | 49.6
1.039e-08 | 31.6 | 41.8
1.04e-08 | 33.2 | 49.6
1.041e-08 | 29.7 | 45.8
1.042e-08 | 30.8 | 45.9
1.043e-08 | 29.2 | 52.8
1.044e-08 | 30.3 | 49.7
1.045e-08 | 32.3 | 48
1.046e-08 | 31.9 | 49.4
1.047e-08 | 30.4 | 52.4
1.048e-08 | 30.7 | 49.1
1.049e-08 | 31.6 | 47.1
1.05e-08 | 36 | 48.5
1.051e-08 | 29.6 | 48.1
1.052e-08 | 32.3 | 46.8
1.053e-08 | 31.1 | 47.4
1.054e-08 | 32.2 | 45
1.055e-08 | 31.4 | 48.3
1.056e-08 | 32.6 | 50.6
1.057e-08 | 32.2 | 53.9
1.058e-08 | 30.4 | 49.1
1.059e-08 | 29.9 | 49.2
1.06e-08 | 32.5 | 52.2
1.061e-08 | 28.7 | 47.8
1.062e-08 | 28.6 | 48.4
1.063e-08 | 31.3 | 48.2
1.064e-08 | 29.5 | 50.5
1.065e-08 | 31.4 | 50.5
1.066e-08 | 30.4 | 47.3
1.067e-08 | 31.5 | 51.3
1.068e-08 | 31.3 | 52.9
1.069e-08 | 30.8 | 49.1
1.07e-08 | 29.8 | 47.2
1.071e-08 | 30.9 | 46.3
1.072e-08 | 32.1 | 53.4
1.073e-08 | 33.6 | 49.7
1.074e-08 | 33.4 | 48.9
1.075e-08 | 33.2 | 50.3
1.076e-08 | 34.8 | 50
1.077e-08 | 30.2 | 49.5
1.078e-08 | 32.3 | 49.6
1.079e-08 | 34.7 | 50.6
1.08e-08 | 30.3 | 52.3
1.081e-08 | 30.4 | 51.6
1.082e-08 | 29.2 | 51.6
1.083e-08 | 30.1 | 50.5
1.084e-08 | 33.8 | 54.6
1.085e-08 | 30.1 | 51.1
1.086e-08 | 32.8 | 54
1.087e-08 | 31.9 | 52.5
1.088e-08 | 34 | 49.1
1.089e-08 | 32.2 | 49.9
1.09e-08 | 31.1 | 49.4
1.091e-08 | 34.3 | 55
1.092e-08 | 32.5 | 47.3
1.093e-08 | 34.8 | 52.6
1.094e-08 | 29.4 | 51.1
1.095e-08 | 33.3 | 49.7
1.096e-08 | 33.2 | 53.5
1.097e-08 | 31.1 | 47.3
1.098e-08 | 30.5 | 49.4
1.099e-08 | 29.5 | 53.4
1.1e-08 | 33.4 | 52.9
1.101e-08 | 30.9 | 51.6
1.102e-08 | 31.9 | 52.2
1.103e-08 | 32.2 | 51.1
1.104e-08 | 31.2 | 53.2
1.105e-08 | 31.9 | 51.2
1.106e-08 | 30.3 | 49.3
1.107e-08 | 34.8 | 50.9
1.108e-08 | 34.8 | 53.6
1.109e-08 | 32.6 | 54.3
1.11e-08 | 35.7 | 53.5
1.111e-08 | 33.1 | 50.2
1.112e-08 | 32.1 | 48.8
1.113e-08 | 34.1 | 54
1.114e-08 | 29.5 | 48
1.115e-08 | 34.8 | 50.7
1.116e-08 | 32 | 52.7
1.117e-08 | 27.6 | 52.3
1.118e-08 | 30.8 | 51.3
1.119e-08 | 33.7 | 55.9
1.12e-08 | 29.4 | 49.3
1.121e-08 | 33.4 | 53.5
1.122e-08 | 29.3 | 53.7
1.123e-08 | 33.2 | 52.5
1.124e-08 | 32.4 | 50.2
1.125e-08 | 30.8 | 57.9
1.126e-08 | 30.6 | 52.8
1.127e-08 | 31.8 | 54.7
1.128e-08 | 31 | 49.4
1.129e-08 | 32.1 | 53.6
1.13e-08 | 31.5 | 51.5
1.131e-08 | 34.1 | 52.8
1.132e-08 | 30.3 | 47.8
1.133e-08 | 30.4 | 47
1.134e-08 | 29.4 | 49.7
1.135e-08 | 27.2 | 49.1
1.136e-08 | 31.9 | 50.2
1.137e-08 | 29.9 | 45.3
1.138e-08 | 31.7 | 49.4
1.139e-08 | 29.7 | 47.4
1.14e-08 | 28.2 | 50.7
1.141e-08 | 30.9 | 53.5
1.142e-08 | 30 | 45.1
1.143e-08 | 28.5 | 48.4
1.144e-08 | 29.4 | 51.6
1.145e-08 | 27.8 | 51.1
1.146e-08 | 31.6 | 50.2
1.147e-08 | 27.8 | 47.4
1.148e-08 | 28.6 | 49.1
1.149e-08 | 30.8 | 50.4
1.15e-08 | 27.8 | 49.1
1.151e-08 | 31 | 50
1.152e-08 | 27.9 | 47.5
1.153e-08 | 28.6 | 50.1
1.154e-08 | 30.5 | 52.1
1.155e-08 | 27.9 | 52.4
1.156e-08 | 30.4 | 51.9
1.157e-08 | 27.2 | 48.6
1.158e-08 | 29.1 | 50.8
1.159e-08 | 30.9 | 49.8
1.16e-08 | 33.7 | 50.7
1.161e-08 | 33.1 | 53.7
1.162e-08 | 34.6 | 48.8
1.163e-08 | 29.9 | 52.1
1.164e-08 | 32.9 | 51.1
1.165e-08 | 30.5 | 46.8
1.166e-08 | 32.8 | 51.8
1.167e-08 | 32.6 | 50
1.168e-08 | 31.4 | 49.9
1.169e-08 | 30.9 | 51.6
1.17e-08 | 32.3 | 50.1
1.171e-08 | 29.8 | 50.4
1.172e-08 | 33.2 | 52.4
1.173e-08 | 31.7 | 51.2
1.174e-08 | 33.7 | 51.9
1.175e-08 | 33.3 | 54.6
1.176e-08 | 30.1 | 50.4
1.177e-08 | 26 | 53.1
1.178e-08 | 31.4 | 50.1
1.179e-08 | 31.1 | 47.3
1.18e-08 | 30.6 | 52.3
1.181e-08 | 29.7 | 48.3
1.182e-08 | 30.5 | 49.3
1.183e-08 | 27.8 | 50.5
1.184e-08 | 29.3 | 49.4
1.185e-08 | 30 | 48.5
1.186e-08 | 30.8 | 51.8
1.187e-08 | 29.9 | 49.4
1.188e-08 | 28.5 | 51.9
1.189e-08 | 29.7 | 45.1
1.19e-08 | 28.8 | 50.2
1.191e-08 | 28.4 | 48
1.192e-08 | 29.9 | 47.3
1.193e-08 | 29.1 | 50.2
1.194e-08 | 28 | 48
1.195e-08 | 29 | 47.4
1.196e-08 | 30.7 | 53
1.197e-08 | 31.2 | 49.8
1.198e-08 | 29.1 | 53.2
1.199e-08 | 30.4 | 48.2
1.2e-08 | 28.4 | 50.1
1.201e-08 | 31.4 | 45.2
1.202e-08 | 28.6 | 47
1.203e-08 | 31.1 | 49.8
1.204e-08 | 29.3 | 51.3
1.205e-08 | 30.6 | 48.5
1.206e-08 | 29.1 | 50.3
1.207e-08 | 27.4 | 48.4
1.208e-08 | 26.7 | 48.2
1.209e-08 | 30.8 | 48.4
1.21e-08 | 30.4 | 53.1
1.211e-08 | 32.5 | 47.8
1.212e-08 | 27.7 | 52.1
1.213e-08 | 29.6 | 48.9
1.214e-08 | 31.6 | 44.8
1.215e-08 | 26.7 | 49.9
1.216e-08 | 29.7 | 47.5
1.217e-08 | 29.8 | 46
1.218e-08 | 31.7 | 55.6
1.219e-08 | 28.4 | 49.3
1.22e-08 | 29.7 | 49.7
1.221e-08 | 32.3 | 46.6
1.222e-08 | 30.8 | 50.6
1.223e-08 | 32.2 | 49.4
1.224e-08 | 31.2 | 52.1
1.225e-08 | 28.4 | 52
1.226e-08 | 29.9 | 49.4
1.227e-08 | 30 | 51.4
1.228e-08 | 30.6 | 50.5
1.229e-08 | 31.6 | 48.9
1.23e-08 | 34.9 | 52
1.231e-08 | 29.8 | 50.5
1.232e-08 | 30.4 | 51.4
1.233e-08 | 28 | 52.1
1.234e-08 | 28.2 | 51.4
1.235e-08 | 30.8 | 52
1.236e-08 | 27.9 | 52.1
1.237e-08 | 30 | 50.3
1.238e-08 | 31.9 | 54.3
1.239e-08 | 34.3 | 52.8
1.24e-08 | 29.9 | 50.5
1.241e-08 | 30.3 | 50.8
1.242e-08 | 30.4 | 50.3
1.243e-08 | 31.6 | 53.8
1.244e-08 | 33.7 | 52.8
1.245e-08 | 33 | 53.7
1.246e-08 | 29.6 | 56.3
1.247e-08 | 32 | 49.1
1.248e-08 | 30 | 51.8
1.249e-08 | 31.5 | 49.4
1.25e-08 | 32.3 | 52.7
1.251e-08 | 29 | 50.7
1.252e-08 | 29 | 52.3
1.253e-08 | 32.4 | 47.3
1.254e-08 | 31.4 | 51.5
1.255e-08 | 30.4 | 48.9
1.256e-08 | 31.5 | 48.7
1.257e-08 | 31.4 | 52.8
1.258e-08 | 33.2 | 46.3
1.259e-08 | 32.6 | 49.1
1.26e-08 | 29.3 | 53.4
1.261e-08 | 29.1 | 51.9
1.262e-08 | 28.4 | 51
1.263e-08 | 30 | 53.1
1.264e-08 | 30 | 51.9
1.265e-08 | 28.3 | 52.3
1.266e-08 | 31.5 | 49.8
1.267e-08 | 32.3 | 50.2
1.268e-08 | 29.8 | 46.2
1.269e-08 | 31.3 | 48.4
1.27e-08 | 31.4 | 50
1.271e-08 | 28.4 | 46
1.272e-08 | 31.9 | 51
1.273e-08 | 29.2 | 53.8
1.274e-08 | 30.5 | 49.6
1.275e-08 | 29.3 | 48.4
1.276e-08 | 30 | 48.3
1.277e-08 | 28.8 | 46.4
1.278e-08 | 28.2 | 45.4
1.279e-08 | 30 | 50.3
1.28e-08 | 30.4 | 48.3
1.281e-08 | 29 | 51.2
1.282e-08 | 29.4 | 53.3
1.283e-08 | 30.9 | 51.8
1.284e-08 | 27.3 | 51.2
1.285e-08 | 31.3 | 48.7
1.286e-08 | 30.9 | 50.3
1.287e-08 | 30.9 | 48.2
1.288e-08 | 31.1 | 49.1
1.289e-08 | 27.9 | 51.4
1.29e-08 | 32.8 | 49.7
1.291e-08 | 28.6 | 48.8
1.292e-08 | 31.2 | 48.4
1.293e-08 | 30.4 | 50.1
1.294e-08 | 32 | 49.4
1.295e-08 | 30.2 | 48.5
1.296e-08 | 28.4 | 47.8
1.297e-08 | 28.6 | 45.4
1.298e-08 | 26.7 | 48.3
1.299e-08 | 29 | 48.6
1.3e-08 | 29.5 | 52.2
1.301e-08 | 27.6 | 47.1
1.302e-08 | 24.1 | 50
1.303e-08 | 29.8 | 46.2
1.304e-08 | 31.2 | 51.4
1.305e-08 | 29.9 | 47.3
1.306e-08 | 29.6 | 50
1.307e-08 | 28.8 | 48.1
1.308e-08 | 24.6 | 43.9
1.309e-08 | 25.5 | 48.8
1.31e-08 | 25.9 | 43.6
1.311e-08 | 31.7 | 45.6
1.312e-08 | 31 | 43.3
1.313e-08 | 26.5 | 50.8
1.314e-08 | 28.7 | 50.6
1.315e-08 | 26.7 | 50.7
1.316e-08 | 28.2 | 47
1.317e-08 | 28.2 | 49.4
1.318e-08 | 26 | 47.1
1.319e-08 | 27 | 46.4
1.32e-08 | 26.4 | 44.5
1.321e-08 | 28.2 | 43.4
1.322e-08 | 29.4 | 45.3
1.323e-08 | 27.1 | 47.4
1.324e-08 | 26.6 | 48.8
1.325e-08 | 26.4 | 43.7
1.326e-08 | 28.4 | 49.8
1.327e-08 | 27.6 | 43.6
1.328e-08 | 27.7 | 47.8
1.329e-08 | 29.5 | 41.6
1.33e-08 | 26.8 | 46.1
1.331e-08 | 27.6 | 44.8
1.332e-08 | 28.4 | 44.8
1.333e-08 | 27.7 | 42.8
1.334e-08 | 29.8 | 44.9
1.335e-08 | 27.8 | 46.9
1.336e-08 | 28.6 | 49.8
1.337e-08 | 28.7 | 46.2
1.338e-08 | 27.5 | 48.1
1.339e-08 | 26.2 | 45
1.34e-08 | 28.7 | 43.6
1.341e-08 | 26.1 | 43.3
1.342e-08 | 25.1 | 47.2
1.343e-08 | 26.5 | 48.7
1.344e-08 | 29 | 43.5
1.345e-08 | 27.1 | 47
1.346e-08 | 28.1 | 45.4
1.347e-08 | 29.9 | 48
1.348e-08 | 25.6 | 44.3
1.349e-08 | 26.9 | 46.3
1.35e-08 | 28.5 | 47.1
1.351e-08 | 27.4 | 50
1.352e-08 | 27.4 | 44.3
1.353e-08 | 26.2 | 47.2
1.354e-08 | 29.4 | 46.5
1.355e-08 | 30.1 | 48.2
1.356e-08 | 30.4 | 43.7
1.357e-08 | 28.3 | 47.3
1.358e-08 | 28.8 | 50.1
1.359e-08 | 30 | 46.7
1.36e-08 | 30.9 | 48.6
1.361e-08 | 27.6 | 46.9
1.362e-08 | 30 | 49
1.363e-08 | 26.3 | 47.9
1.364e-08 | 29.8 | 44
1.365e-08 | 29.2 | 46.8
1.366e-08 | 31.7 | 52.8
1.367e-08 | 27.7 | 50.3
1.368e-08 | 29.2 | 48.3
1.369e-08 | 32.6 | 45.6
1.37e-08 | 27.1 | 51.2
1.371e-08 | 27.6 | 52.3
1.372e-08 | 31.4 | 45.9
1.373e-08 | 30.4 | 46.2
1.374e-08 | 31.6 | 49.4
1.375e-08 | 31.6 | 49
1.376e-08 | 31.1 | 52.9
1.377e-08 | 29.3 | 46.7
1.378e-08 | 27.6 | 45.1
1.379e-08 | 27.1 | 50.3
1.38e-08 | 28.7 | 45.6
1.381e-08 | 28.8 | 49.4
1.382e-08 | 28.8 | 51.8
1.383e-08 | 28.1 | 49.9
1.384e-08 | 30.5 | 46.6
1.385e-08 | 28.8 | 49.8
1.386e-08 | 29.3 | 43
1.387e-08 | 30.7 | 52.4
1.388e-08 | 29.3 | 47.1
1.389e-08 | 26.7 | 49.7
1.39e-08 | 27.6 | 44
1.391e-08 | 29.4 | 50.2
1.392e-08 | 29 | 49.1
1.393e-08 | 27.8 | 46.8
1.394e-08 | 28.9 | 50.3
1.395e-08 | 28.9 | 48.4
1.396e-08 | 28.6 | 49.1
1.397e-08 | 26.7 | 48
1.398e-08 | 25 | 50.6
1.399e-08 | 30.3 | 47
1.4e-08 | 27.1 | 49.3
1.401e-08 | 28.1 | 48.2
1.402e-08 | 28.3 | 49.3
1.403e-08 | 29 | 45
1.404e-08 | 30.4 | 50.9