## Sheet1
2024-01-16 | [8 empty] | 2024-04-19
Temperature Notes |  |  | Oscilloscope Setup Notes | [5 empty] | Temperature Notes |  |  | Oscilloscope Setup Notes
Lab air handling unit ON |  |  | Using the "channel RMS" measurement on oscilloscope | [5 empty] | Lab air handling unit ON |  |  | Using the "channel RMS" measurement on oscilloscope
Lab Temperature Setpoint: 23.0 deg C |  |  | Coupling DC | [5 empty] | Lab Temperature Setpoint: 23.0 deg C |  |  | Coupling DC
Lab Temperature Feedback: ~23.2 C |  |  | 10 mV/div | [5 empty] | Lab Temperature Feedback: ~23.2 C |  |  | 10 mV/div
|  |  | 1000 ns time scale | [8 empty] | 1000 ns time scale
General Notes |  |  | Averaging 2 | [5 empty] | General Notes |  |  | Averaging 2
Q314 n=200 sweep |  |  | 1 M.Ohm channel impedance | [5 empty] | Re-strung Q314 test wire. One day only. |  |  | 1 M.Ohm channel impedance
|  |  | Position Offset -~150 mV | [5 empty] | Finer resolution, repeat calibration trials |  |  | Position Offset -~150 mV
A Gate (X motion) |  |  |  | B-Gate (Y Motion) |  |  |  |  | A Gate (X motion) | [9 empty] | B-Gate (Y Motion)
Position |  | Trial 1 |  | Position |  | Trial 1 |  |  | Position |  | Trial 1 | [7 empty] | Position |  | Trial 1
Upstream | Downstream | Voltage |  | Upstream | Downstream | Voltage |  |  | Upstream | Downstream | Voltage | [7 empty] | Upstream | Downstream | Voltage
mm | mm | mV-RMS |  | mm | mm | mV-RMS |  |  | mm | mm | mV-RMS | [7 empty] | mm | mm | mV-RMS
8.3 | 6.44 |  |  |  | 4.48 |  |  |  | 8.3 | 6.44 | [9 empty] | 4.03
8.35 | [8 empty] | 8.35 | [10 empty] | changed 2024-01-16
8.4 | [8 empty] | 8.4
8.45 |  |  |  | 3 |  | 195.5 |  |  | 8.45 | [9 empty] | 3 |  | 195.7
8.5 |  |  |  | 3.05 |  | 195.6 | 0.1 |  | 8.5 | [9 empty] | 3.05 |  | 195.6
8.55 |  |  |  | 3.1 |  | 195.6 | 0 |  | 8.55 | [9 empty] | 3.1 |  | 195 |  | Position | Trial 2 | Trial 3 | Trial 4 | Trial 5 | JostleCable
8.6 |  |  |  | 3.15 |  | 195.1 | -0.5 |  | 8.6 |  | 205.3 | [7 empty] | 3.15 |  | 194.4 |  | 3.35 | 190.8 | 190.9 | 190.6 | 191 | 191.4
8.65 |  |  |  | 3.2 |  | 194.5 | -0.6 |  | 8.65 |  | 205.9 | [7 empty] | 3.2 |  | 193.7 |  | 3.36 | 190.6 | 190.7 | 190.5 | 190.8 | 191.3
8.7 |  |  |  | 3.25 |  | 193.7 | -0.8 |  | 8.7 |  | 206.5 | [7 empty] | 3.25 |  | 192.9 |  | 3.37 | 190.4 | 190.6 | 190.3 | 190.5 | 191.1
8.75 |  |  |  | 3.3 |  | 192.8 | -0.9 |  | 8.75 |  | 206.6 | [7 empty] | 3.3 |  | 192 |  | 3.38 | 190.2 | 190.4 | 190.2 | 190.3 | 190.9
8.8 |  |  |  | 3.35 |  | 191.9 | -0.9 |  | 8.8 |  | 206.6 | [7 empty] | 3.35 |  | 191 |  | 3.39 | 190 | 190.2 | 190 | 190.1 | 190.8
8.85 |  |  |  | 3.4 |  | 190.9 | -1 |  | 8.85 |  | 206.5 | [7 empty] | 3.4 |  | 190.1 |  | 3.4 | 189.8 | 190 | 189.9 | 190 | 190.6
8.9 |  |  |  | 3.45 |  | 190 | -0.9 |  | 8.9 |  | 206.5 | [7 empty] | 3.45 |  | 189.2 |  | 3.41 | 189.6 | 189.8 | 189.7 | 189.7 | 190.4
8.95 |  |  |  | 3.5 |  | 189.1 | -0.9 |  | 8.95 |  | 206.4 |  | Position | Trial 2 | Trial 3 | Trial 4 | Trial 5 |  | 3.5 |  | 188.7 |  | 3.42 | 189.4 | 189.6 | 189.5 | 189.5 | 190.2
9 |  | 205.7 |  | 3.55 |  | 188.4 | -0.7 |  | 9 |  | 206.2 |  | 9.2 | 202.3 | 202.6 | 202.3 | 202.6 |  | 3.55 |  | 188.5 |  | 3.43 | 189.3 | 189.4 | 189.3 | 189.4 | 190.1
9.05 |  | 205.5 |  | 3.6 |  | 188.2 | -0.2 |  | 9.05 |  | 205.7 |  | 9.21 | 202.3 | 202.3 | 202.2 | 202.4 |  | 3.6 |  | 188.5 |  | 3.44 | 189.3 | 189.3 | 189.2 | 189.2 | 189.9
9.1 |  | 204.9 |  | 3.65 |  | 188.2 | 0 |  | 9.1 |  | 204.6 |  | 9.22 | 202.1 | 202 | 202 | 202.1 |  | 3.65 |  |  |  | 3.45 | 189.2 | 189.2 | 189.1 | 189 | 189.7
9.15 |  | 204.1 |  | 3.7 |  |  |  |  | 9.15 |  | 203.5 |  | 9.23 | 201.8 | 201.9 | 201.7 | 202 |  | 3.7
9.2 |  | 202.9 |  | 3.75 |  |  |  |  | 9.2 |  | 202.5 |  | 9.24 | 201.7 | 201.8 | 201.6 | 201.8 |  | 3.75
9.25 |  | 201.8 |  | 3.8 |  |  |  |  | 9.25 |  | 201.6 |  | 9.25 | 201.4 | 201.6 | 201.5 | 201.6 | 201.4 | 3.8
9.3 |  | 200.9 |  | 3.85 |  |  |  |  | 9.3 |  | 200.8 |  | 9.26 | 201.3 | 201.3 | 201.3 | 201.4 |  | 3.85
9.35 |  | 200.2 |  | 3.9 |  |  |  |  | 9.35 |  | 200 |  | 9.27 | 201.2 | 201.2 | 201.1 | 201.2 |  | 3.9
9.4 |  | 199.5 |  | 3.95 |  |  |  |  | 9.4 |  |  |  | 9.28 | 201.1 | 201.1 | 201 | 201.1 |  | 3.95
9.45 |  | 198.7 |  | 4 |  |  |  |  | 9.45 |  |  |  | 9.29 | 200.9 | 200.9 | 200.9 | 200.9 |  | 4
9.5 |  | 198.2 |  | 4.05 |  |  |  |  | 9.5 |  |  |  | 9.3 | 200.8 | 200.7 | 200.7 | 200.8 |  | 4.05
9.55 |  | 197.9 |  | 4.1 |  |  |  |  | 9.55 | [9 empty] | 4.1
9.6 |  | 197.9 |  | 4.15 |  |  |  |  | 9.6 | [9 empty] | 4.15
9.65 | [8 empty] | 9.65
9.7 | [8 empty] | 9.7
[5 empty] | -18.6 |  | 0 | [6 empty] | SLOPES |  |  |  | AVG |  | -16.8 |  |  |  | SLOPES
ShoulderL | #DIV/0! | mV/mm |  | ShoulderL | -19 | mV/mm | 0 |  | ShoulderL | #DIV/0! | mV/mm |  | 100um | -16.0909 | -17.9091 | -16.0909 | -18.1818 | -17.0682 | ShoulderL | -18 | mV/mm |  | 100um | -16.8182 | -17.9091 | -15.8182 | -19.7273 | -17.1818
ShoulderR | -20 | mV/mm | 0 | ShoulderR | #DIV/0! | mV/mm |  |  | ShoulderR | -17 | mV/mm |  | 40 um | -16 | -19 | -15 | -20 | -17.5 | ShoulderR | #DIV/0! | mV/mm |  | 40 um | -20 | -20 | -17 | -20 | -18
| -19.6 |  | 0 | [6 empty] | -17.4
[14 empty] | RANGE/SPREAD (%) | [9 empty] | RANGE/SPREAD (%)
[14 empty] | 2.0909 | raw | 11.5 | % | [6 empty] | 3.9091 | raw | 19.8157 | %
Calibration Conversions | [13 empty] | 5 | raw | 25 | % | [6 empty] | 3 | raw | 15 | %
| -0.02 | mV/um |  |  | -0.019 | mV/um
| -20 | mV/mm |  |  | -19 | mV/mm
| -0.05 | mm/mV |  |  | -0.052632 | mm/mV | -105.2632 | um @ 2mV | Calibration Conversion | [9 empty] | Calibration Conversion
| -0.05 | um / uV |  |  | -0.052632 | um / uV |  |  |  | -0.017 | mV/um | [8 empty] | -0.018 | mV/um
[10 empty] | -17 | mV/mm | [8 empty] | -18 | mV/mm
| -2e-05 | V/um |  |  | -1.9e-05 | V/um |  |  |  | -0.058824 | mm/mV | -117.6471 | um @ 2mV | [6 empty] | -0.055556 | mm/mV | -111.1111 | um @ 2mV
[10 empty] | -0.058824 | um / uV | -17.6471 | um @ 300 uV | [6 empty] | -0.055556 | um / uV
-2.1765
[10 empty] | -1.7e-05 | V/um | [8 empty] | -1.8e-05 | V/um
[10 empty] | -1.7e-05 | [9 empty] | -1.8e-05