## Slide 1
RIA – IV AGN meeting IAC (La Laguna), October 27th-28th 2016
MEGARA the new GTC spectrograph
(including lessons learned both on technical and management ways)
Armando Gil de Paz (PI) on behalf of the
MEGARA Consortium & Instrument team

## Slide 2
Wavelength (micron)
1
2
3
10
20
30
0.3
100
300
imaging
100000
30000
10000
3000
1000
U
B
V
R
I
J
H
K
L
M
N
Q
Resolution
OSIRIS
OSIRIS
CanariCam
CanariCam
CIRCE
EMIR + CIRCE
EMIR
MEGARA
MIRADAS
MEGARA: a unique (but yet multi-purpose) facility instrument for GTC
(courtesy of A. Cabrera-Lavers)

## Slide 4: MEGARA Consortium
  Management
  Optical Bundles
  Spectrograph & CCD
  Control System-1
  Repres.: J. Gallego
  Optics manufac.
  Opto-mech. manuf.
  Cryostat
  Repres.: E. Carrasco
  Control System-2
  Repres.: J. Iglesias
  Control System-3
  Repres.: R. Cedazo
UCM
UCM
INAOE
UPM
PI: Armando Gil de Paz
Participating companies & associate partners:
IAA

## Slide 5
MEGARA Instrument Team
“Pre-Laboratory acceptance” review Madrid, February 25th-27th 2015
Missed the photo: J. M. de la Cruz, P. Gómez, S. E. San Román, F. M. Sánchez, J. M. Vílchez, I. Martínez-Delgado, M. Maldonado, J. L. Avilés, + INAOE & CIO technical personnel.
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 6
Manuel Peimbert
UNAM
Silvia Torres-Peimbert
UNAM
Guillermo Tenorio-Tagle
INAOE
Sergiy Silich
INAOE
Enrique Pérez Montero
IAA
Lino Rodríguez Merino
INAOE
Fco. M. Sánchez Moreno
UPM
Rafael Guzmán
UF
Victor Villar
UCM
Raquel Cedazo
UPM
Esteban González
UPM
Fernando Serena
UPM
Antonio Cava
UCM
Jorge Jiménez-Vicente
UGR
Jaime Zamorano
UCM
Jorge Sánchez-Almeida
IAC
José Guichard
INAOE
David Hughes
Roberto Terlevich
INAOE
INAOE
Elena Terlevich
INAOE
MEGARA Science Team
6
Pepa Masegosa
Isabel Márquez
Carolina Kehrig
IAA
IAA
IAA
UCL
UNAM
CAB
Rosa González-Delgado
IAA
José L. Avilés
INAOE
Raffella A. Marino
Lucía Rodr. Muñoz
Bologna
ETH

## Slide 7
MEGARA Driving Science

## Slide 8
MEGARA Driving (AGN) Science
The 2D spectroscopy obtained with CALIFA has allowed us to disentangle the contribution of the SFR from stars that will contribute to the growth of the nuclear regions, bulges, bars and disks of nearby galaxies (Catalán-Torrecilla et al. 2015, 2016).
2D photometric decomposition (Méndez-Abreu et al. 2016)
Bar
Disk
Bulge
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 9
The 2D spectroscopy obtained with CALIFA has allowed us to disentangle the contribution of the SFR from stars that will contribute to the growth of the nuclear regions, bulges, bars and disks of nearby galaxies (Catalán-Torrecilla et al. 2015, 2016).
Extinction & stellar-absortion corrected L(Ha)
Bar
Disk
Bulge
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
MEGARA Driving (AGN) Science

## Slide 10
The 2D spectroscopy obtained with CALIFA has allowed us to disentangle the contribution of the SFR from stars that will contribute to the growth of the nuclear regions, bulges, bars and disks of nearby galaxies (Catalán-Torrecilla et al. 2015, 2016).
Bar
Disk
Bulge
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
MEGARA Driving (AGN) Science

## Slide 11
MEGARA Driving (AGN) Science
Catalán-Torrecilla et al. (2016, to be submitted)

## Slide 12
MEGARA Driving (AGN) Science
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
Competition between SF quenching by AGN and the effects of the presence of a bar (left) and the environment (right).
Catalán-Torrecilla et al. (2016, to be submitted)

## Slide 13
MEGARA Driving (AGN) Science
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
The objectives of the exploitation of MEGARA regarding AGN include (among others):
Characterization of neutral winds in a sample of 40 CALIFA galaxies by simultaneously observing Mg I (stellar) and Na I D (interstellar) features where the SFR and sSFR of the different structural components have been measured. These galaxies have been selected as those showing interstellar absorption in the nuclear spectra of the CALIFA datacubes.
Neutral (Na I D) and ionized winds (Ha, [NII] 6583Å, [SII]6717,6731ÅÅ) for ~20 ULIRGs with 0.04<z<0.08 to be observed with the LR-R setup. Fe, Ca, TiO stellar features are also included in this setup, which will allow us to correct the interstellar absorption for stellar contamination.

## Slide 14: MEGARA factsheet
IFU bundle (LCB) | 12.5x11.3 arcsec2
MOS | 100× 7-fiber mini-IFUs in 3.5x3.5 arcmin2
Spaxel (fiber) size | 0.62 arcsec
Wavelength range | 3650-10000 ÅÅ
Spectral resolution | R=6000-20000
# of spectra | 1267 (623+644) fiber spectra (IFU + MOS)
GTC station | Folded-Cass F Spectrograph @ Nasmyth-A
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 15: MEGARA Folded-Cass: Folded-Cass adapter
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 16: MEGARA Folded-Cass: Focal plane cover & robotic positioners
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 17: MEGARA Folded-Cass: Integral Field Unit (LCB)
IFU glued & installed
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 18: MEGARA Folded-Cass Robotic positioners system
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 19: MEGARA Folded-Cass Robotic positioners system

## Slide 20: MEGARA Fiber bundles
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 21: MEGARA Spectrograph Main optics – Collimator
S-LAH55V
BAL15Y/CaF2
First (aspheric) and last lens of the collimator

## Slide 22: MEGARA Spectrograph Main optics – (f/1.5) Camera
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
CAM-D4/D5 doublet
Cryostat (left) – Camera (right)
Assembly (both INAOE built)
Specialized in large-format lenses & pupil elements

## Slide 23: MEGARA Spectrograph Pupil elements
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 24: MEGARA Spectral setups

## Slide 25: MEGARA Total throughput
LCB & MOS 5s Point Source sensitivity in 1h
MEGARA efficiency curves
compared with existing VLT instruments
24 mag AB
23 mag AB
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 26: MEGARA Spectrograph Wheel
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 27: MEGARA AIV Results Example (1): Image quality
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
Halogen lamp (LR-Z)
ThAr lamp (LR-Z)
Zoom x1

## Slide 28: MEGARA AIV Results Example (1): Image quality
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
Halogen lamp (LR-Z)
ThAr lamp (LR-Z)
Zoom x30

## Slide 29: MEGARA AIV Image quality
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
Variation of the spectral FWHM in pix: all lines & fibers
Requirement R~6500
Focus
FWHM

## Slide 30: MEGARA AIV l-coverage
ThAr lamp spectra (extracted from the MEGARA DRP RSS)
Four LR VPHs out of the 6 LR + 10 MR + 2 HR VPHs available with MEGARA that cover the range from 3650Å to 9700 Å.
LR-V
LR-R
LR-I
LR-Z
5200Å
9700Å

## Slide 31: MEGARA AIV Results Example (2): Repeatibility of pupil elements (wheel & insertion)
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016
Zoom x30
Zoom x60

## Slide 32: MEGARA AIV Doing AIV tests  ready for laboratory acceptance!
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 33
MEGARA calendar
2012 March PDR passed (Detailed design & construction funds not released)
2013 August Optics CDR passed (DD & construction funds not released)
Finally …
2014 April-May CDR + Construction + Commissioning contract is signed
2014 December System CDR passed
2015 July “Pre-Laboratory acceptance” passed
Coming soon …
2017 February Laboratory acceptance review
2017 March MEGARA is delivered to GTC
2017 July MEGARA is fully commissioned
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016

## Slide 34
In a few months, MEGARA, the first high-throughput R=6-20K IFU & MOS in a 10m class telescope, will be ready for your AGN science

## Slide 35: MEGARA AIV AIV of the MEGARA spectrograph in 1 minute
RIA – IV AGN meeting – IAC (La Laguna), Oct. 27-28th 2016