## Slide 1: A Study on the Possibility of Initiating Tungsten Alpha Decay Using Electric Explosions
Alabin K.A.
<number>
Notes: <number>

## Slide 2: Experiment of G.L. Wendt and C.E. Irion1
<number>
Notes: <number>

## Slide 3
<number>
Notes: <number>

## Slide 4: Experimental Setup and Procedure
<number>
Notes: <number>

## Slide 5
<number>
Notes: <number>

## Slide 6: Preparations for the electric explosion were carried out in the following order:
Setting the wire in the load node (coaxial assembly).
Setting the load node in explosion chamber.
Cleaning the chamber using glowing discharge in argon.
Vacuum pumping of the chamber up to the pressure about 1÷2 ∙ 10-5 Pa.
Degassing the wire by heating it.
Slowly turning off wire heating.
Cutting off vacuum chamber from pumping system.
Conducting electric explosion.
Analysis of the resulting gas medium.
The time interval t between chamber cutting off and electric explosion was less than 10 sec.
<number>
Notes: <number>

## Slide 7: The Dynamics of Electric Explosion
<number>
Notes: <number>

## Slide 8: Diagnostic Methods
<number>
Notes: <number>

## Slide 9: Experimental Results TOF Mass-spectrometer MS-200
The gas consists of about 40% hydrogen and the remaining 60% is a gas mixture that is similar in chemical composition to air.
The peaks m = 2 a.m.u. (hydrogen molecule H2) and m = 28 a.m.u. (molecules of nitrogen N2 or carbon monoxide CO) are prevalent in the spectrum.
Peaks of water and its “fragments” (H2O, OH, O), which are always present in any mass spectrometry equipment, are also visible in the spectrum. This is due to the fact that water molecules are adsorbed by the surface very easily.
<number>
Notes: <number>

## Slide 10: Magnified Fragment of Mass Spectrum and Time Dependence of Peaks m = 2 and m = 3
Due to the fact that the MS-200 mass-spectrometer does not have sufficient resolution, the m = 3 peak may be interpreted as: HD molecule, the hydrogen ion, hydrogen isotope 3H and helium isotope 3He.
Assuming that the presence of peak m = 3 is associated with the molecules of HD, time dependence of peaks m = 2 and m = 3 should correlate.
150
200
250
300
350
400
0
20
40
60
80
100
Explosion No.21
Values of ion currents (c.u.)
Time (sec)
m=3 a.m.u.
m=2 a.e.u. (divided by 100)
<number>
Notes: <number>

## Slide 11: The procedure for measuring the number of m = 4 particles
After the electric explosion all the gas located in the explosion chamber was pumped through a helium leak detector, which allow us to calculate the total number of m = 4 particles.
Then, for several hours the pressure in the chamber grew, due to the diffusion of gas from chamber walls and leakage of air through the seals.
Then the procedure of pumping gas through leak detector was repeated.
1
2
3
4
5
6
7
5.80E+012
5.90E+012
6.00E+012
6.10E+012
6.20E+012
6.30E+012
6.40E+012
6.50E+012
6.60E+012
6.70E+012
6.80E+012
Number of particles N (unit)
Measurement number
<number>
Notes: <number>

## Slide 12: Measurements of m = 4 a.m.u. particles
The rate of m = 4 particle formation after the electric explosion of tungsten wire decreases with time, and after the time T~70 hours it becomes constant.
4He atoms, formed during EEC, have high energy and are "hammered" into the surface of the quartz cylinder to a certain depth and then slowly diffuse out of the quartz chamber walls.
<number>
Notes: <number>

## Slide 13: Test Experiments with Iron Wire
In order to ensure that the m = 4 particles detected after the electric explosion are indeed 4He atoms and their formation is due to the electric explosion of tungsten wire, a series of test experiments was carried out in which iron wires.
In experiments with iron wire, the leakage rate was constant and determined completely by the gas leakage from atmosphere.
The number of m=4 particles, measured within 2 hours after the EEC of iron wire, was (6.2±0.9)·1011 U/Pa, which corresponds to the natural concentration of helium in the atmosphere (5.2±0.2)·1011 U/Pa.
0,00E+000
5,00E+011
1,00E+012
1,50E+012
2,00E+012
2,50E+012
The normalized number of particles per 1 Pa (units / Pa)
Tungsten wire
Iron wire
Atmospheric helium
<number>
Notes: <number>

## Slide 14: Optical Monochromator UM-2
The brightest lines in the examined spectrum were:
Hα line of atomic hydrogen (λHα = 6563 Å), and two lines in the red region, which could not be identified with the help of this diagnostic due to the low resolution of the UM-2 optical spectrometer.
The panoramic spectrum was a combination of discrete and continuous spectra.
Continuum spectrum was practically absent at small wire diameters (10 microns), and for large wire diameters (200 microns) a discrete component generally is not visible on the continuum spectrum background
<number>
Notes: <number>

## Slide 15: The Study of The Behavior of Time Dependence of Integral Light Intensity
For the wires with diameter larger than 100 microns, radiation intensity has two maxima.
The maximum intensity of the second peak occurs at approximately 200 µs from the beginning of EEC. By this time, the capacitor bank has discharged almost completely, energy input into the wire has stopped, so the observed behavior of light seems very unexpected.
The second peak does not appear for wires with a diameter of less than 100 microns.
0,0
2,0x10
-4
4,0x10
-4
6,0x10
-4
8,0x10
-4
1,0x10
-3
0,0
0,2
0,4
0,6
0,8
1,0
Relative Light Intensity
Time (seconds)
Run No141
d=200

м
Run No142
d=130

м
Run No143
d=70

м
<number>
Notes: <number>

## Slide 16: STE-1 Spectrometer with CCD Array
<number>
Notes: <number>

## Slide 17
For a more precise identification of the spectral lines of optical radiation, an STE-1 spectrometer combined with the CCD array was used as a recording instrument.
With the help of such diagnostic we could identify lines that were observed in the panoramic spectra.
They were:
Na spectral lines double in the yellow region λNa = 5889 \ 5895 Å
atomic oxygen line λO = 7771 \ 7774 \ 7775 Å
carbon ion line λC+ = 7231 \ 7236 Å
Comparing our results with the results of G.L. Wendt and C.E. Irion experiment we can assume that it was those lines that they observed, but were unable to decipher.
<number>
Notes: <number>

## Slide 18: The residual gas, which was formed within several hours after the EEC, was excited with the help of high-voltage pulses in a quartz chamber. Using aperiodic EEC regime hydrogen generation is less than during the EEC with high Q-value, the ratio of 4He:H2 at the moment of electric explosion is higher. This fact led to the registration of 4He line (λ1 = 5875,62 Å) directly at the moment of the EEC in some experiments.
<number>
Notes: <number>

## Slide 19: Conclusions
  The amount of gas formed as a result of EEC of tungsten wire is 1018 ÷ 19 atoms, but most of the gas is formed by desorption.
  Despite all measures taken we could not fully purge hydrogen from the system, which significantly complicated the diagnosis of He.
  In some experiments, the presence of particles with m = 3 a.m.u. was detected with confidence. It was not possible to identify it uniquely, but there are experimental arguments in favor of the hypothesis that the registered m = 3 particles could be 3He.
  The presence of atoms with m = 4 a.m.u. was reliably detected in the gas mixture formed after the electric explosion, but on the basis of available data it is impossible to be sure that these are helium atoms. Quantitative measurements show that the concentration of m = 4 atoms in the gas, formed after the electric explosion is higher than concentration of 4He atoms in air mixture.
  Contrary to expectations, the highest number of m = 4 atoms was detected not immediately after of EEC, but within 1-3 hours after it.
  Several bright lines in the red part of the optical spectrum were observed, which were identified with the help of modern techniques.
  No fast neutrons were observed during the EEC of tungsten wires.
<number>
Notes: <number>

## Slide 20: Thank you for your attention!
<number>