## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | Beta Attenuation Monitor | BAM-1022 | N/A | No | ['PM2.5 concentration'] | N/A | Air quality monitor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | N/A | Yes | Electricity | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Regular service, quality control checks | Every 6 months
0_SI | Beta Attenuation Monitor | BAM 1022 | N/A | fixed | PM2.5 | N/A | Air quality monitor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | outdoor | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Regular service, quality control | Every 6 months
[22 empty] | Not explicitly stated, but "The BAM-1022 has an internal working environment that maintains a steady Flow Rate … Relative Humidity … Temperature … Barometric Pressure.", "The BAM-1022 has an internal working environment that maintains a steady Flow Rate … Relative Humidity … Temperature … Barometric Pressure." | Not explicitly stated, but likely electrical mains or a backup power system
Ram | Correct | Correct | Correct | Correct. Here No implies no mobility = fixed. | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Inferred | Inferred | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
0_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP