## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | MicroAeth | AE51 | N/A | Yes | ['Black Carbon'] | N/A | Personal exposure monitor | Aethlabs | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Both | Yes | No | N/A | Yes | Battery | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | MicroAeth | AE51 | N/A | Mobile | black carbon (BC) | N/A | Personal black carbon exposure monitor | Aethlabs | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor, Outdoor | Yes | Yes | N/A | Yes | Battery | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
The article clearly states it is wearable - “When away from home, they were instructed to carry the instrument with the inlet positioned close to the breathing zone.”
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Wearable | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
0_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
1 | Aethalometer | AE33 | N/A | No | ['Black Carbon'] | N/A | Fixed-site monitor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_SI | Aethalometer | AE33 | N/A | Stationary | black carbon (BC) | N/A | fixed-site black carbon monitor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
1_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
This paper also discusses using a dispersion model to estimate black carbon. The extraction was able to differentiate this model from AE33. We could use the same approach to extract metadata form computational models like this disperson model in the future.