## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | Model 4199 air flowmeter | N/A | N/A | Yes | ['Air flow rate'] | N/A | Air Flow Meter | TSI Incorporated | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor | No | No | N/A | Yes | Electricity | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | Model 4199 air flowmeter | N/A | N/A | Mobile | Air flow rate | N/A | Air Flow Meter | TSI Incorporated | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
0_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
1 | Purple Air Monitor | N/A | N/A | Yes | ['Room air temperature', 'Relative humidity'] | N/A | Air Quality Monitor | Purple Air | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor | No | No | N/A | Yes | Electricity | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_SI | Purple Air Monitor | N/A | N/A | Mobile | room air temperature, relative humidity | N/A | Air Quality Monitor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Inferred | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Inferred | Inferred | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
1_F | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
This article uses collected air samples for analysis of VOCs using chromotography and other methods. But it doesn’t describe the sample collection tool or methods - which are relevant metadata we want to capture for sensors that collect sample. The extraction is correct here. The two above sensor are adjuvant measurements.