## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | pDR-1200 | N/A | N/A | Yes | ['PM2.5 concentrations'] | N/A | Portable real-time air monitor | Thermo Scientific | N/A | N/A | N/A | N/A | N/A | N/A | Light scattering nephelometer with size-selective inlet | N/A | N/A | Indoor | No | No | N/A | Yes | Sampling pump (Gilian GilAir-5) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | pDR 1200 | pDR 1200 | N/A | Yes | PM2.5 | N/A | Portable real-time air monitors | Thermo Scientific | N/A | N/A | N/A | N/A | N/A | N/A | Light scattering nephelometer, size-selective inlet | N/A | N/A | Indoor | Yes | No | N/A | yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
Seems like the model name and model_id are interchangeable here. The full name of the sensor is https://www.artisantg.com/67123-6/Thermo-Fisher-Scientific-pDR-1200?srsltid=AfmBOorF8MOqG3W0pgJr0064zJCr6iYtOZOZUqax0-1IcklZcxzUW0JN.
[23 empty] | States "The pDR 1200 is a light scattering nephelometer with a size-selective inlet that requires sampling at 4 liters per minute (L/min) to collect the desired size fraction (PM2.5)" -> but not a power source | [7 empty] | no indication that the instrument had a display in the article
0_F | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP
1 | Gilian GilAir-5 | N/A | N/A | Yes | ['Airflow rate'] | N/A | Personal Sampling Pump | Sensidyne | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Both | No | No | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_SI | Gilian GilAir-5 | Gilian GilAir-5 | N/A | Yes | Air Flow | N/A | Personal sampling pump | Sensidyne | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Indoor | Yes | No | N/A | yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
no indication that the instrument was for indoor or outdoor however in this study, the instruments were used to measure indoor air quality
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct
1_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
Nice find of pump!

## Sheet2
model_name | pDR 1200 | Gilian GilAir-5
model_id | pDR 1200 | Gilian GilAir-5
version_number | N/A | N/A
mobility | Yes | Yes
measured_entities | PM2.5 | Air Flow
firmware_software_version | N/A | N/A
instrument_type | Portable real-time air monitors | Personal sampling pump
manufacturer | Thermo Scientific | Sensidyne
patent_number | N/A | N/A
patent_issued_country | N/A | N/A
dimensions | N/A | N/A
dimension_depth | N/A | N/A
dimension_height | N/A | N/A
dimension_length | N/A | N/A
composition | N/A | N/A
price | N/A | N/A
price_type | N/A | N/A
indoor_outdoor_use | Indoor | Indoor
is_personal_device | Yes | Yes
is_wearable_device | No | No
is_water_or_splash_proof | N/A | N/A
needs_power_source | yes | yes
power_source | N/A | N/A
battery_operation_time_limit | N/A | N/A
battery_capacity | N/A | N/A
output_voltage | N/A | N/A
is_rechargeable | N/A | N/A
battery_type | N/A | N/A
charger | N/A | N/A
time_to_full_charge | N/A | N/A
has_display | N/A | N/A
number_of_displays | N/A | N/A
display_type | N/A | N/A
warranty_time | N/A | N/A
warranty_condition | N/A | N/A
lifetime_of_device | N/A | N/A
recommended_maintenance_method | N/A | N/A
recommended_maintenance_frequency | N/A | N/A