## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | Alphasense | NO2-B43F | N/A | Yes | ['NO', 'NO2', 'O3'] | N/A | Air pollution sensor | Alphasense Ltd. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | N/A | Yes | Battery | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | Alphasense | NO2-B43F | N/A | Yes | NO2 | N/A | Air pollution sensor | Alphasense Ltd | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | N/A | N/A | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
[5 empty] | "Described in detail elsewhere [43], NO2 was measured with an electrochemical sensor (Alphasense Ltd., Great Notley, UK;model NO2-B43F),with data transmittedwirelessly every five minutes to a secure server" | [13 empty] | Not explicitly mentioned, but implied as not personal—"deployed at homes and fixed community/agency sites." | Not specified in the article but metions that it was deloyed at home |  |  | Not specified in the article | [7 empty] | no mention of real-time display in the article
Ram | Correct | Correct | Correct | Correct | NO2 only | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | No | No | Correct | Correct | Could not find. Inferred? | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Could not find. Inferred? | Correct | Correct | Correct | Correct | Correct | Correct | Correct
0_F | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP
1 | Ogawa Passive Sampler | N/A | N/A | Yes | ['NO2'] | N/A | Air pollution sensor | Ogawa & Co., USA, Inc. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_SI | Ogawa Passive Sampler | N/A | N/A | Yes | NO2 | N/A | Air pollution sensor | Ogawa & Co., USA, Inc. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
[19 empty] | Not explicitly mentioned, but clearly implied no—it was “deployed on telephone poles.” | Not specified in the article but metions that it was mounted on telephone poles |  | not specified in the article but does mention that this sensor does "passive sampling", which can indicate that it does not need any power source | [8 empty] | no mention of real-time display in the article
Ram | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | No | No | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Correct | Could not find. Inferred? | Correct | Correct | Correct | Correct | Correct | Correct | Correct
1_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP
There is a third sensor in this article - 'In the PS, NO2 data are measured by chemiluminescent FRM/FEM instruments (e.g., Teledyne API, San Diego, CA; model 200 EU) with a limit of detection of 1 part per billion (ppb) and a data quality objective that requires that the bias and percentage coefficient of variation be within (±) 15% [33].' Page 2