## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0_SI | Tracking Air Pollution in China (TAP) | N/A | N/A | N/A | Ambient O₃ (MDA8) | N/A | combines sensor-measured data (satellite-measured data, model-estimated data) and produces gridded ozone estimates | Developed by Tsinghua University with Peking University, Nanjing University, Fudan University, and Chinese Academy of Meteorological Sciences | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
I would consider TAP some sort of instrument, because it includes 'in situ observations...' but it seems unclear "Ambient daily Maximum 8 h average (MDA8) O3 concentrations with a spatial resolution of 10 km × 10 km in China between 2013 and 2021 were obtained from the Tracking Air Pollution in China (TAP) [11], which was developed and maintained by Tsinghua University in collaboration with Peking University, Nanjing University, Fudan University, Chinese Academy of Meteorological Sciences, etc. The TAP database used a data-fusion algorithm for ambient O3 estimation that combined in situ observations, satellite remote sensing measurements, and model results from the community multiscale air quality model [11]. Five-fold cross-validation coefficient of determination (R2) was 0.70, and..."
Ram
0_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP