## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | PurpleAir | PA-II | N/A | No | ['PM1', 'PM2.5', 'PM10'] | N/A | Air Quality Sensor | Plantower | N/A | N/A | N/A | N/A | N/A | N/A | Incorporates a pair of Plantower PMS 5003 laser particulate sensors | ~$250 | Actual price | Outdoor | No | No | N/A | Yes | Electricity | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | PurpleAir PM2.5 sensing platform | N/A | N/A | No | PM1, PM2.5, PM10 | N/A | Low cost, laser particulate sensors | Plantower | N/A | N/A | N/A | N/A | N/A | N/A | A pair of Plantower PMS 5003 laser particulate sensors | ~$250 | N/A | Both | No | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
1 | EPA monitors | N/A | N/A | No | ['PM2.5'] | N/A | Regulatory Air Monitor | Various state, local, and tribal governments | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | Yes | Yes | Electric | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | Multiple | Various | N/A | N/A | N/A | N/A | N/A
1_SI | EPA monitors | N/A | N/A | No | PM2.5 | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | no | no | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
Ram | [17 empty] | Was this from the paper or miscellanous sources? If latter, then LLM is obtaining additional information beyond the paper
Round 2
| PurpleAir | N/A | N/A | Yes | ['PM1', 'PM2.5', 'PM10'] | N/A | Air Quality Sensor | PurpleAir | N/A | N/A | N/A | N/A | N/A | N/A | N/A | ~$250 | Actual | Both | Yes | No | No | Yes | Electric | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | 1 | LED | N/A | N/A | N/A | N/A | N/A
| EPA monitors | N/A | N/A | No | ['PM2.5'] | N/A | Regulatory Air Monitor | Various state, local, and tribal governments | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | Yes | Yes | Electric | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Yes | Multiple | Various | N/A | N/A | N/A | N/A | N/A