## Sheet1
| model_name | model_id | version_number | mobility | measured_entities | firmware_software_version | instrument_type | manufacturer | patent_number | patent_issued_country | dimensions | dimension_depth | dimension_height | dimension_length | composition | price | price_type | indoor_outdoor_use | is_personal_device | is_wearable_device | is_water_or_splash_proof | needs_power_source | power_source | battery_operation_time_limit | battery_capacity | output_voltage | is_rechargeable | battery_type | charger | time_to_full_charge | has_display | number_of_displays | display_type | warranty_time | warranty_condition | lifetime_of_device | recommended_maintenance_method | recommended_maintenance_frequency
0 | AS-LUNG-P | N/A | P | Yes | ['PM2.5', 'PM1', 'Temperature', 'Humidity', 'Location', 'Motion'] | N/A | Personal Pollution Sensor | Academia Sinica | N/A | N/A | N/A | 40mm | 70mm | 135mm | N/A | N/A | N/A | Both | Yes | No | N/A | Yes | Battery | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_SI | AS-LUNG-P | N/A | N/A | Yes | PM2.5, PM1, temperature, humidity, GPS location, motion | N/A | Personal PM sensor | Academia Sinica | N/A | N/A | 135 × 70 × 40 mm | N/A | N/A | N/A | PMS3003 PM, SHT31 temp, u-blox GPS, ADXL345B accelerometer | N/A | N/A | Both | Yes | N/A | N/A | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
0_F | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP
1 | AS-LUNG-O | N/A | O | No | ['PM2.5', 'PM1', 'Temperature', 'Humidity'] | N/A | Outdoor Pollution Sensor | Academia Sinica | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Outdoor | No | No | Yes | Yes | Solar panels | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_SI | AS-LUNG-O | N/A | N/A | No | PM2.5, PM1, temperature, humidity, GPS location, motion | N/A | Outdoor ambient particulate matter sensor | Academia Sinica | N/A | N/A | N/A | N/A | N/A | N/A | PMS3003 PM, SHT31 temp, u-blox GPS, ADXL345B accelerometer | N/A | N/A | Outdoor | No | No | Yes | Yes | Solar panels | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
1_F | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP
2 | RootiRx | N/A | N/A | Yes | ['Heart rate variability (HRV)'] | N/A | Medical Device for HRV Monitoring | RootiCare®, RootiLabs Ltd | N/A | N/A | N/A | 8.45mm | 22.5mm | 62mm | N/A | N/A | N/A | Both | Yes | Yes | Yes | Yes | Battery | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2_SI | RootiRx | N/A | N/A | Yes | ECG, HRV indices (SDNN, RMSSD, HF, LF, VLF, LF/HF), heart rate | N/A | Wearable ECG/HRV sensor | RootiCare®, Rooti Labs Ltd | N/A | N/A | 62 × 22.5 × 8.45 mm | N/A | N/A | N/A | Single-lead ECG patch with 500 Hz sampling | N/A | N/A | Both | Yes | Yes | Yes | Yes | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | No | N/A | N/A | N/A | N/A | N/A | N/A | N/A
2_F | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | FP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP | TP
Ram | Agree. I guess the mismatch here is due the LLM able to break down each dimension to its corresponding field which is great!