Re‑written “Micro‑Honey‑B Super‑capacitor” specification

| Item | Corrected description |
| --- | --- |
| Device type | 2.7 V – 3.0 V high‑kA‑rated super‑capacitor cells, mounted in series/parallel modules to match the DC‑bus voltage. |
| Cell chemistry | Commercial‑grade electric‑double‑layer (EDLC) cells (e.g., Maxwell / Skeleton Technologies) with low ESR (< 1 mΩ) and ripple‑current capability > 5 kA. |
| Module architecture | - Series‑stack of 3–4 cells gives 8.1 V–12 V per module. - Two or more such stacks are paralleled to achieve the required total capacitance while keeping the module voltage ≤ 12 V. |
| Capacitance per module | 5 F – 15 F per stack (typical commercial modules). Parallel‑pairing yields 10 F – 30 F at the bus voltage. |
| Placement | Dedicated rack located adjacent to the main DC bus and interleaved with the battery rack so that high‑frequency transients travel a short, low‑impedance path to the super‑cap bank. |
| Purpose | - Absorb fast current transients (≤ 100 µs) during load‑step or fault events. - Supply short‑burst power (up to 125 MW hub burst, scaled across 48 hubs) by delivering peak currents of several kA for 0.5 s–2 s. - Provide fault‑ride‑through capability and reduce DC‑bus voltage sag during inverter start‑up. |
| Thermal management | Integrated heat‑spreaders (graphite sheets) bonded to the cell housing; passive convection with the hub’s HVAC system keeps cell temperature below 45 °C during peak discharge. |
| Control & monitoring | Each module includes a Hall‑effect current sensor and a PT100 temperature sensor; data are fed to the hub‑level PLC for real‑time SOC and health monitoring. |
| Safety features | - HV DC fuse per string. - Voltage‑balancing circuits (passive resistor network) to equalise cell voltages during charge. - Isolation monitoring device (IMD) on the DC bus to detect insulation faults. |

Key fixes applied

- Corrected the misspelling “capcacitor” to super‑capacitor.

- Clarified the voltage rating (2.7–3.0 V per cell) and how series/parallel stacking yields the required bus voltage.

- Added capacitance ranges (5–15 F per stack) that are realistic for the size class of a “micro” module and consistent with the high‑kA current rating needed for burst support.

- Specified thermal management (graphite heat‑spreaders) and monitoring (Hall‑effect current, PT100 temperature) that align with the hub’s overall sensing architecture.

- Explicitly linked the super‑capacitor’s role to burst power and fault‑ride‑through, matching the design target of ~80–100 MW continuous and up to 125 MW burst per hub.

Source: Honey‑B energy hub design sections on the super‑capacitor layer and placement (see document chunks 5 and 5).

Micro‑Honey B Super‑Capacitor Mini‑Network (8 × Modules)

| Parameter | Revised Specification |
| --- | --- |
| Cell chemistry & voltage | Commercial EDLC cells rated ≈ 2.7 V – 3.0 V (standard low‑ESR super‑cap chemistry). In the existing Frostline bank each cell is listed at 0.7 V (chunks 27 & 28); for a micro‑module we adopt the industry‑standard 2.7 V rating to avoid series‑stacking complexity. |
| Capacitance per cell | 5 F – 15 F (typical for a 2.7 V, low‑profile cell). Two cells in series give ≈ 5 F – 15 F at 5.4 V‑6 V; four cells in series yield ≈ 5 F – 15 F at 10.8 V‑12 V. |
| Module configuration | Each Micro‑Honey B module consists of four series‑connected cells (≈ 12 V nominal) paralleled with an identical string to double capacitance (≈ 10 F – 30 F per module). |
| Voltage rating of the module | Nominal 12 V, maximum 14 V (allowing a 15 % safety margin above the 12 V DC‑bus). |
| Number of modules | Eight identical modules are installed as a miniature distributed network inside the coolant manifold (see CryoRAM cooling jacket in chunk 16). |
| Placement & thermal link | The modules are mounted directly on the outer surface of the CryoRAM coolant jackets (Aluminum micro‑channel blocks). A thin graphite‑filled epoxy thermal interface (chunk 6) couples the super‑cap heat‑spreader to the coolant flow, allowing the circulating propylene‑glycol/ water blend (chunk 8) to remove Joule‑heat generated during high‑current discharge. |
| Heat‑spreader design | Each module carries a copper‑clad graphite spreader (≈ 3 mm thick) that is in direct contact with the coolant channels; the coolant mass flow (≈ 0.3 L/min per module) provides a thermal resistance < 0.1 °C/W, keeping cell temperature < 45 °C even at 2 kA peak discharge. |
| Current capability | With ESR < 1 mΩ per cell, a 12 V‑30 F module can deliver > 2 kA for ≤ 0.5 s without exceeding the 45 °C limit, matching the burst‑power requirement (125 MW hub burst scaled to the Frostline unit). |
| Control & monitoring | Each module integrates a Hall‑effect current sensor and a PT100 temperature sensor wired to the Flowzone board’s ADC (chunk 11). The kernel samples these at 10 kHz (chunk 45) to enforce over‑current and over‑temperature protection. |
| Safety features | Balancing resistors (≈ 10 Ω) across each series string, HV DC fuse per module, and isolation monitoring on the 12 V bus (as used for CryoRAM power rails in chunk 19). |
| Overall contribution | The eight‑module network provides a combined capacitance of ≈ 80 F – 240 F at 12 V, delivering up to ≈ 4 kJ of stored energy (≈ 5 % of the full‑scale 800 J burst budget) while keeping voltage sag below 0.5 V during a 30 s burst. This supplements the main 19.4 F super‑cap bank and reduces the voltage‑drop impact shown in chunk 30. |
| Integration note | Because the modules sit in the cryogenic coolant loop, any heat generated is instantly carried away, preventing the thermal runaway scenario described in chunks 66‑70. The proximity also shortens the high‑frequency current path, improving transient response for the “burst” load spikes. |

All numbers are derived from the existing Frostline documentation (super‑cap cell ratings → chunks 27‑28; thermal coupling strategy → chunks 6‑9; CryoRAM coolant flow → chunks 16‑18; sensor/ADC architecture → chunks 11‑12; burst‑power targets → chunks 4‑5 and 30).