IJESRT

International Journal of Engineering Sciences & Research Technology

EFFICIENCY IMPROVEMENT OF TRANSMISSION LINES WITH SIMULTANEOUS AC-DC TRANSMISSION

Kiran Soni*, Dr. Dharmendra Singh

* M.Tech. Scholar (C.V. Raman University, Bilaspur)

Professor, Electrical&Electronics Deptt, (C.V. Raman University, Bilaspur)

DOI: 10.5281/zenodo.199607

ABSTRACT

The power system is dependent on a stable and reliable control of active and reactive power to keep its integrity.  Loosing this command may lead to a system collapse. It is difficult to load the long extra high voltage ac lines against their thermal limits because of volatility incident in the power system. The  aim  of  this  paper  is  to  enhance  the  transient steadiness of power scheme by establishing simultaneous AC– DC  power  transmission  through  a  transmission line. With  the  scheme  suggested  in  this  paper,  it  is  more likely  to  load  these  lines  very  close  to  their  thermal limits.  The  benefit  of  simultaneous  ac-dc  transmission is  for  up  gradation  of  transient  steadiness  and  dynamic steadiness. Damp out oscillations have been established. Simulations have been done in MATLAB software package (Simulink Model).

KEYWORDS: EHV, simultaneous AC–DC power transmission.

INTRODUCTION

In latest years, environmental, right-of-way (Row), and financial anxieties have delayed the building of a new transmission line. The demand of electric power has shown stable development but geographically it is proposed through a single circuit ac transmission line.

In these proposals Mono-polar dc transmission with the growing load centers but at isolated locations. The ground as return path was used [1]-[4]. There were  certain regulatory  policies,  ecological  acceptability,  and  the limitations  due  to  use  of  ground    as  return  path economic  anxieties  involving  the accessibility of Moreover, the instantaneous  value  of  each  conductor power  are  some  of  the  factors  that  work  out  the voltage with respect to ground becomes higher by the location. amount  of  the  dc  voltage,  and  more  discs  are  to  be added. Now  due  to  steadiness  concerns, the  transmission added  in  each  insulator  string  to  withstand  this of  the available power through the  living ac lines has increased  voltage.  However, there was no change in an upper limit. the conductor  separation  distance,  as  the  line-to-line[5] and [6]. Therefore,  it  is  tough  to  load  long  extra  high voltage  remains  unchanged.  In  this  paper,  the voltage  (EHV)  ac  lines  to  their  thermal  bounds  as  a feasibility  study  of  conversion  of a  double circuit  ac sufficient  margin  is  kept  against  transient  in- line  to  composite  ac–dc  line  without  altering  the steadiness &  dynamic  steadiness as  well as to  damp original  line  conductors,  tower  structures,  and out oscillations in power system. Insulator strings has been presented.  In  this  scheme, In  order  to  efficiently utilize  the  available  energy, the  dc  power  flow  is  point-to  point  bipolar new  concepts  come  into  existence  considering the transmission system.  Clericiet et. al.  [7] Suggested the system availability and security. conversion of  ac  line to dc line for substantial power The  improvement  of  effective  ways  to  use upgrading  of  existing  ac  line.  However,  this  would transmission  scheme  close  to  its  thermal  limit  has require major  changes  in  the  tower  structure  as  well captivated much attention in recent years. as  replacement  of  ac  insulator  strings  with  high The  progress  in the area  of  power  electronics  has creep age dc insulators. Already started to leverage the power industry.

PROPOSED   METHODOLOGY

Figure 1 : Basic model for simultaneous AC-DC transmission

The  novelty  of  our  proposed  scheme  is  that  the transformer which is obtained by the rectifier bridge, power  transfer  enhancement is  achieved  without  any again it is reconverted  to  ac  by the  inverter bridge at alteration  in  the  existing  EHV  ac  line. The  inverter  bridge  is  again object  is  to  gain  the  advantage  of  parallel  ac–dc attached to the neutral of zigzag connected winding of transmission and to load the  line  close to  its  thermal the  receiving  end  transformer.  But for higher supply limit voltage. We can also use Star connected primary A. High Voltage AC Transmission windings in place of delta-connected windings.  Both Industrial-minded countries  of  the  world  require  a 3  –phase  ac  and  dc  power  is  carried  out  by  single vast  amount  of  energy  of  which  electrical  energy circuit transmission  line. A part of the total ac power forms a major fraction. The  world  has  already is converted into dc by the winding of the transformer consumed major portion of its natural resources and is connected  to  rectified  bridge,  at  the  sending  end. looking  for  sources  of  energy  other  than  Hydro  and Then  at  the  receiver  end,  the  tertiary  winding Thermal  to  cater  for  the  rapid  rate  of  consumption connected  to  the  inverter  bridge,  again  convert  the which  is  outpacing  the  discovery  of  new  resources. Same dc power into ac.  Each  conductor  of  the  line This will not slow down with time and therefore there carries one  third of the total  dc  current along  with ac exists a need to reduce  the rate  of annual increase in current  Ia.  But  the  return  path  of  the  dc  current  is energy  consumption  by  any  intelligent  society  if ground.  The  saturation  of  transformer  due  to  dc resources  have  to  be  preserved  for  posterity.  This current flow id handled by Zigzag connected winding requires very high voltages for transmission. The very A  high  value  of  reactor,  X  d  is  used  to  reduce rapid stride taken by development of  dc transmission harmonics in dc current. since  1950  is  playing  a  major  role in extra-long-distance transmisson,  complementing  or supplementing  E.H.V.  ac transmission.  They have their roles to play and a country must make intelligent assessment of both in order   to decide which is best suited for the country's economy. B. Problems posed in using HVAC a. Increased  Current  Density  because  of increase  in  line  loading  by  using  series capacitors’ [8] . Use of bundled conductors. High surface voltage gradient on conductors’. Corona  problems:  Audible  Noise,  Radio Interference, Corona Energy  Loss, Carrier The  ac  current  flow  will  be  restricted  between  the Interference, and TV Interference[9]. Zigzag connected windings and the three conductors. High electrostatic field under the line. of the transmission line in the nonappearance  of zero. Switching  Surge  Over  voltage’s  which sequence  and  third  harmonics  or  its  multiple because  more  havoc  to  air-gap  insulation harmonic  voltages.  If this these components of than lightning or power frequency voltages are present then they only be able to produce voltages. A negligible current through the ground due to high of g. Increased Short-Circuit currents and Xd possibility of Ferro resonance conditions. h. Use of gapless metal-oxide arresters [10]-[11]. The  expressions  for  ac  voltage  and  current  and  the replacing  the  conventional  gap-type power  equations  in  terms  of  A,B,C  and  D Silicon  Carbide  arresters,  for  both considerations of each line when  the resistive drop in lightning and switching-surge duty. transformer winding and in the line conductors due to i. Shunt  reactor  compensation  and  use  of dc current are neglected can be written as: series capacitors, resulting in possible sub synchronous  resonance  conditions  and Sending end voltage

VS  = AVR + BIR                             (1)

high short circuit currents.

The  DC  power  is  injected  to  the  neutral  point  of Sending end current: the  zigzag  connected  secondary  of  sending  end

Total transmission line loss is

PL  =  (PS + Pdr) – (PR + Pdi)               (2)

Sending end power

PS+JQS = (-VSVR*) / B* + (D*/B*)VS2   (10)

being the rms ac current per conductor at any point of  the  line,  the  total   current  for  each  conductor becomes

I  =  sqrt (I2α + (Id / 3)2)  and  PL  = 3I2R

Receiving end power

PS+JQS = (VSVR*) / B* - (A*/B*)VR2     (11)

If  the  rated  conductor  current  corresponding  to  its (4)

allowable  temperature  rise  is  I-th  and

The expressions for dc current and the dc power at the being less than unity, the dc current as

Iα  =  3 x ( sqrt (1 – x2) Ith

time  when  the  ac  resistive  drop  in  the  line  and transformer are neglected

Dc current

Id = (VdrCosα – VdiCosϒ) / (Rer + (R/3) – Rci)

The total current I in any conductor is asymmetrical but two natural zero-crossings in each cycle in current wave are obtained for

The  instant  worth  of  each  conductor  voltage  with respect  to  the ground becomes the  dc voltage with Power in inverter

Pid = Vdi x Id

a superimposed  sinusoid  ally  varying  ac  voltage  having rms value and the peak value being

Emax  =  V + 1.414 Eph                       (6)

Power in rectifier

Pdr  =  Vdr x Id

The electric  field produced  by  any conductor voltage possesses  a  dc  component  superimposed  with sinusoid  ally  varying  ac  component.  However,  the instant electric field polarity changes its sign twice  in Where R  is the line resistance per  conductor,   and cycle  if. Therefore,  the  higher commutating  resistances, and  firing  and creep  age  distance  requirement  for  insulator  discs extinction  angles  of  a  rectifier  and  inverter used for HVDC lines are not required. respectively and are  the  maximum  dc Each  conductor  is  to  be  insulated  for but  the voltages  of  a  rectifier  and  inverter  side respectively. line  to  line  voltage  has  no  dc  component  and Values  of and are  1.35  times  line  to  line.  Therefore, conductor to tertiary winding ac voltages of the respective sides. Reactive powers vital by the converters are

Qdi  =  Pdi tan Ɵ1

Qdr  =  Pdr tan Ɵr

Cos Ɵ1  =  (Cos ϒ + Cos (ϒ +µi )) / 2

Cos Ɵr  =  (Cos α + Cos (α+µr )) / 2

conductor  separation  distance  is  determined  only  by rated ac voltage of the line. Assuming

Vd/Eph  =  k

Pdc/Pac  =  (Vd *Id) / (3 * Eph * Iα * CosƟ)

= (k * sqrt(1 – x2) / (x * CosƟ)

Pt  =  Pdc / Pac  =  (1 + [k * sqrt (1 – x2)] / (x * CosƟ)) * Pac                              (8)

Where and are commutation angles of inverter (14) and rectifier respectively and total active and reactive powers at the two ends are

Pst  =  Ps + Pdr and Prt  =  Ps + Pdi

Qst  =  Qs + Qdr  and  Qrt  =  Qs + Qdi

In  case  of  faults  in  the  transmission  scheme,  gate signals to all the SCRs are jammed that to the by passs  are  released  to  protect  rectifier  and  inverter bridges.  CBs  are  then  tripped  at  both  terminals  to isolate  the  complete  system.

Table 1 :- Rating of Equipments used in Simulation

| S.No. | Name of Equipments | Ratings |
| --- | --- | --- |
| 1 | Genarator | 500KV ,50Hz |
| 2 | Zigzag Transformer | 100MVA,50 Hz |
| 3 | AC Harmonic Filter | 600 MVAR , 50Hz |
| 4 | Three phase rectifier | 500 KV, with internal barrier of 0.0025 and 0.01oh |
| 5 | Three Phase Bridge Inverter | 500 KV, internal barrier of 0.0025 and 0.01 ohm |
| 6 | Load | 500KV,50Hz |
| 7 | Length of line | 600 km |
| 8 | HVDC link | Monopolar |

RESULTS

Figure 2: Three Phase AC sending and receiving end  line voltage (RMS)

Figure 3: Sending and receiving end line voltages in case of simultaneous AC-DC Power supply (RMS)

Figure 4: Sending and receiving end line voltages in case of simultaneous AC-DC Power supply (line to ground fault condition)(RMS)

Figure 5: Three Phase AC  sending and receiving end phase voltages

Figure 6: Sending and Receiving end phase voltages in case of simultaneous AC-DC Power supply

Figure 7: Sending and receiving end phase voltage in case of simultaneous AC-DC Power supply (in case of line to ground fault)

Figure 8: Three Phase AC Sending and receiving end phase currents

Figure 9: Sending and receiving end line currents in case of simultaneous AC-DC Power supply (RMS)

Figure 10: Sending and receiving end line currents in case of simultaneous AC-DC Power supply (Line to ground Fault)(RMS)

CBs connected at the two ends of the  transmission  line  interrupt  current   at  natural current zeroes  and no  special  dc  CB  is  essential.  To double-check  proper  procedure  of  transmission  line CBs tripping signals to these CBs may only be given after  feeling  the  zero  crossing  of  current  by  zero crossing  indicators.  Otherwise  CB’s  attached  to  the delta  edge of transformers may be utilized to separate the  fault.  Saturation  of  transformer  core,  if  any, because  of  irregular  fault  current  decreases line  side current  however  rises  the  primary  current  of  the transformer.  Delta  edge  CBs,  planned  to  clear transformers  terminal  faults  and  winding  faults,  treat these faults easily. Suitable  values  of  ac  and  dc  filters  as  utilized in the  HVDC  system may  be attached  to  the  delta  side and  zigzag  neutral  correspondingly  to  filter  out  the upper harmonics  from  dc and ac  supplies.  However, filters may be omitted for low values of At neutral  terminals  of  zigzag  winding  dc  current  and voltages  may  be  measured  by  adopting  common methods  used  in  HVDC  scheme.  Accepted  cvts  as utilised  in  EHV  ac  lines  are  utilised  to  assess  ac component  of transmission  line voltage. The  overlaid dc voltage on the transmission line does not touch the working  of  cvts.  Linear  couplers  with  high  air-gap core  may  be  engaged  for  the  estimation  of  ac constituent  of  line  current  as  a  dc  constituent of  line current  is  not  adept  to  saturate  high  air-gap  cores. Electric  signal  handling  circuits  may  be  utilized  to develop  a  composite  line  voltage  and  current waveforms  from  the  signals  gained  for  dc  and  ac components  of voltage and current. Those signals are used for protection and control purposes.

Figure 11: Sending end receiving end phase current case of simultaneous AC-DC Power supply

CONCLUSION

The  EHV  ac  lines,  because  of  integral  transient stability  difficulty  cannot  be  loaded  to their  supreme thermal  boundary.  With the  present  simultaneous ac-dc  transmission  it  is  practicable  to  load  these  lines close  to  thermal  edges  specified  in  the  data  sheets. For the specific system researched, there is a substantial increase in the load-ability of the line. The line is laden to its thermal limit with the superimposed dc current.

REFERENCES

- H. Rahman, B.H. Khan, Enhanced power transfer by simultaneous transmission of AC–DC: a new FACTS concept, in: IEE Conference on Power Electronics, Machines and Drives (PEMD 2004), vol. 1, 31 March, 2 April 2004, Edinburgh, 2004, pp. 186–191.

- H. Rahman, B.H. Khan, Power upgrading of double circuit ac transmission line by simultaneous ac–dc power transmission, in: Proceedings the IEEE, PES, PowerIndia,2006,doi:10.1109/POWERI.2006.163262.

- H. Rahman, B.H. Khan, Power upgrading of transmission line by combining ac-dc transmission, IEEE Trans. Power Syst. 22 (1) (2007)459466,doi:10.1109/TPWRS.2006.887895 (Paper ID No. TPWRS-0864-2005)

- T. Vijay Muni, T. Vinoditha and D. Kumar Swamy,“ Improvement of Power System Stability by Simultaneous AC-DC Power Transmission” International Journal of Scientific & Engineering Research Volume 2, Issue 4, April-2011.

- N.G. Hingorani, L.K. Gyugyi, Understanding FACTS Concept and Technology of Flexible A.C. Transmission Systems, IEEE Press, 2000.

- L.K. Gyugyi, Unified power flow concept for flexible A.C. transmission system, in: IEE Proceedings, July 1992, p. 323.

- A. Clerici, L. Paris, and P. Danfors, HVDC conversion of HVAC line to provide substantial power upgrading,‖ IEEE Trans. Power Del., vol. 6, no. 1, pp. 324–333, Jan. 1991.

- Prabha Kundur-power system stability and control Tata Mcgraw Hill edition, New Delhi 1993, 11th reprint 2011.

- N.A.Vovos, G.D. Galanos, Transient stability of ac–dc system, IEEE Trans. Power Apparatus Syst. PAS-98 (4)(1979) 1375–1383.

- K. P.Basu and B. H. Khan, “Simultaneous ac-dc power transmission,” Inst. Eng. (India) J.-EL, vol. 82, pp. 32– 35, Jun. 2001.

- Sriram  Kondiparthi,  M.  Pravee,  Ramu  M.,  I.E.S Naidu, “Power Transfer Enhancement in Transmission Line by Combining AC – DC Transmission”, International Journal of Engineering Research and Applications (IJERA), ISSN: 2248-9622, Vol. 1, Issue 2, pp.194-201, July 2011.