## QueryTag
|  | Job Number | Submitter | Contact | # of Samples | Entered by | Date Approved | Analyses completed by Minerals Analytical Chemistry contract laboratory: AGAT Lab
|  | MRP-17346 | ROSEN_M |  | 11 |  | 2018-08-28
mrosen@usgs.gov
[5 empty] | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49
Lab No. | Field No. | Sample Description | Rep | Test Comment | Al | Ca | Fe | K | Mg | Na | S | Ti | Ag | As | Ba | Be | Bi | Cd | Ce | Co | Cs | Cu | Ga | In | La | Li | Mn | Mo | Nb | Ni | P | Pb | Rb | Sb | Sc | Sn | Sr | Ta | Tb | Te | Th | Tl | U | V | W | Zn
[5 empty] | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
C-466330 | DH-2 50-55 feet | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 4.67 | 4.81 | 2.41 | 1.97 | 1.34 | 10.3 | 1.02 | 0.25 | 0.18 | 13.6 | 354 | 1.49 | 0.15 | 0.11 | 61.7 | 11.3 | 6.16 | 24.4 | 14 | 0.051 | 31 | 150 | 978 | 9.58 | 10.6 | 18.2 | 728 | 15.9 | 98.6 | 1.78 | 8.4 | 1.2 | 617 | 0.7 | 0.51 | 0.02 | 10.4 | 0.27 | 2.42 | 59.2 | 8.2 | 64.2
C-466331 | DH-2 350-355 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 5.6 | 4.92 | 2.76 | 2.46 | 1.78 | 6.7 | 0.64 | 0.26 | 0.23 | 14.3 | 308 | 2.02 | 0.22 | 0.17 | 73 | 12.9 | 6.13 | 20.6 | 15.6 | 0.066 | 34.6 | 194 | 1040 | 8.01 | 15.5 | 23 | 813 | 10.7 | 117 | 1.38 | 9.8 | 1.8 | 697 | 1.03 | 0.63 | 0.03 | 12.7 | 0.4 | 4.15 | 67.3 | 6.3 | 86
C-466332 | DH-2 650-655 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 5.26 | 3.11 | 2.65 | 2.18 | 1.46 | 13.6 | 0.12 | 0.24 | 0.18 | 9.1 | 273 | 1.84 | 0.21 | 0.17 | 70.4 | 10.4 | 4.74 | 18.1 | 13.8 | 0.064 | 35.1 | 116 | 675 | 3.17 | 13.1 | 18.1 | 752 | 7.4 | 97.5 | 1.06 | 9.5 | 1.5 | 429 | 0.81 | 0.61 | 0.02 | 12.5 | 0.31 | 2.59 | 55.7 | 5.1 | 77.8
C-466333 | DH-5 40-45 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 5.72 | 5.44 | 2.74 | 2.56 | 1.24 | 6.78 | 1.19 | 0.33 | 0.54 | 9.6 | 526 | 1.75 | 0.19 | 0.22 | 70.9 | 13.4 | 5.06 | 22.2 | 14.8 | 0.066 | 35.5 | 131 | 365 | 32.2 | 14.5 | 21.4 | 945 | 18.2 | 122 | 1.22 | 10.5 | 1.5 | 749 | 0.94 | 0.67 | 0.02 | 11.4 | 0.44 | 2.59 | 70 | 5.1 | 73.9
C-466334 | DH-5 770-775 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 3.93 | 5.95 | 1.76 | 1.82 | 0.91 | 12.8 | 2.35 | 0.22 | 0.2 | 5.5 | 328 | 1.25 | 0.14 | 0.15 | 52.2 | 6.96 | 5.17 | 18.2 | 10.1 | 0.043 | 25.6 | 111 | 311 | 8.87 | 10 | 13.5 | 687 | 7.3 | 110 | 0.83 | 6.7 | 0.8 | 633 | 0.63 | 0.48 | 0.01 | 8.4 | 0.27 | 2.29 | 45.6 | 3.4 | 48.3
C-466335 | DH-5 985-990 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 3.64 | 4.83 | 1.65 | 1.65 | 0.87 | 14.8 | 1.74 | 0.2 | 0.18 | 5.3 | 269 | 1.17 | 0.1 | 0.15 | 45.2 | 6.14 | 3.87 | 10.5 | 8.91 | 0.036 | 22.9 | 106 | 289 | 13.7 | 9.4 | 11.7 | 629 | 6.7 | 90.7 | 0.69 | 6.2 | 0.7 | 495 | 0.57 | 0.45 | 0.01 | 8.5 | 0.19 | 1.82 | 43.7 | 3 | 40
C-466336 | DH-5A 985-990 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 0.87 | 1.03 | 0.33 | 0.39 | 0.14 | 32.7 | 0.33 | 0.05 | 0.11 | 1.3 | 89 | 0.24 | 0.03 | 0.16 | 9.03 | 1.17 | 0.63 | 3.1 | 2.02 | 0.008 | 4.7 | 17.8 | 55 | 1.32 | 2.2 | 2.5 | 123 | 3.7 | 16.7 | 0.19 | 1 | <0.2 | 182 | <0.05 | 0.08 | <0.01 | 1.4 | <0.01 | 0.356 | 8.3 | 1.7 | 9.6
C-466337 | DH-6A 50-55 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 6.37 | 5.12 | 3.21 | 2.65 | 1.49 | 4.06 | 0.54 | 0.39 | 0.29 | 8.8 | 1000 | 2.02 | 0.15 | 0.12 | 74.1 | 12.6 | 5.69 | 13.9 | 15.9 | 0.065 | 39.4 | 172 | 509 | 8.5 | 18.4 | 23.8 | 972 | 10.4 | 119 | 1.31 | 10.6 | 1.9 | 2610 | 1.18 | 0.72 | 0.02 | 13.5 | 0.32 | 2.8 | 76.1 | 3 | 69.5
C-466338 | 9-DH-6 320-325 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 1.34 | 2.48 | 0.67 | 0.62 | 0.32 | 28.1 | 0.99 | 0.07 | 0.11 | 1.7 | 113 | 0.42 | 0.04 | 0.11 | 14.7 | 2.51 | 1.93 | 9.7 | 3.18 | 0.014 | 7.3 | 45 | 134 | 3.95 | 3.8 | 5 | 220 | 3.1 | 36.8 | 0.27 | 2.1 | <0.2 | 250 | 0.12 | 0.14 | <0.01 | 2.2 | <0.01 | 0.685 | 15.9 | 1.7 | 16.3
C-466339 | 10-DH-6A 985-990 | Wet brine in clay with halite in some samples. Only interested in analyses of clay. particularly lithium | 1 |  | 5.86 | 5.03 | 2.75 | 2.66 | 1.47 | 7.26 | 1.32 | 0.28 | 0.21 | 9.9 | 356 | 1.96 | 0.2 | 0.24 | 66.9 | 10.3 | 6.74 | 23.9 | 14.4 | 0.061 | 35.2 | 157 | 405 | 5.23 | 13.6 | 20.4 | 750 | 8.9 | 118 | 1.27 | 10.1 | 1.6 | 737 | 0.9 | 0.63 | 0.02 | 11.5 | 0.44 | 3.07 | 78.8 | 3.3 | 76.9

## QAQC
|  |  | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49 | C_ICPOES_MS-49
|  |  | Al | Ca | Fe | K | Mg | Na | S | Ti | Ag | As | Ba | Be | Bi | Cd | Ce | Co | Cs | Cu | Ga | In | La | Li | Mn | Mo | Nb | Ni | P | Pb | Rb | Sb | Sc | Sn | Sr | Ta | Tb | Te | Th | Tl | U | V | W | Zn
|  |  | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
MRP-17346 | C-466340 | SAR-L.1 | 5.78 | 1.08 | 2.62 | 3.26 | 0.54 | 1.53 | 0.08 | 0.28 | 3.46 | 17 | 894 | 5.01 | 0.92 | 3.25 | 147 | 7.72 | 4.24 | 355 | 16.2 | 0.354 | 66.8 | 28.3 | 2160 | 15 | 43.3 | 54.8 | 781 | 548 | 143 | 5.39 | 7.6 | 5.6 | 156 | 2.07 | 1.38 | 0.57 | 17.2 | 1.08 | 3.69 | 139 | 4.2 | 449
|  | Comparison to Preferred Value | 99.6552 | 101.8868 | 98.1273 | 105.1613 | 98.1818 | 101.3245 | 102.5641 | 93.3333 | 115.3333 | 104.2945 | 101.7065 | 137.2603 | 83.6364 | 108.3333 | 98 | 102.9333 | 106 | 95.9459 | 95.2941 | 118 | 89.0667 | 101.0714 | 103.3493 | 109.4891 | 103.0952 | 92.8814 | 97.625 | 94.8097 | 102.1429 | 105.6863 | 108.5714 | 112 | 98.7342 | 98.5714 | 81.1765 | 98.2759 | 90.5263 | 90 | 80.2174 | 106.1069 | 113.5135 | 106.9048
|  | Comparison to Mean | Be: 112.7824; Bi: 88.3795; In: 121.6997; U: 91.1716
|  | Preferred Value | 5.8 | 1.06 | 2.67 | 3.1 | 0.55 | 1.51 | 0.078 | 0.3 | 3 | 16.3 | 879 | 3.65 | 1.1 | 3 | 150 | 7.5 | 4 | 370 | 17 | 0.3 | 75 | 28 | 2090 | 13.7 | 42 | 59 | 800 | 578 | 140 | 5.1 | 7 | 5 | 158 | 2.1 | 1.7 | 0.58 | 19 | 1.2 | 4.6 | 131 | 3.7 | 420
|  | Mean (n=467) | 5.6791 | 1.0304 | 2.6042 | 2.9677 | 0.52236 | 1.5013 | 0.076466 | 0.24651 | 2.8884 | 16.8219 | 899.9979 | 4.4422 | 1.041 | 2.865 | 145.8174 | 7.3015 | <5 | 362.3041 | 16.8863 | 0.29088 | 67.4672 | 27.3255 | 2085.6167 | 13.784 | 36.6318 | 51.5762 | 759.7554 | 560.3734 | 137.3742 | 5.1808 | 7.5799 | 4.4592 | 148.3704 |  |  | 0.57318 | 18.3103 | 1.1762 | 4.0473 | 126.06 | 3.7099 | 441.454
Low concentration, near detection limit or rounding value so error is greater
Value is greater than +/- 15% of preferred value but when compared to the mean over time the value is acceptable.
Value is greater than +/-15%. Value also off from average over time. These values are assessed below
The mean "n=" is the number of analyses completed for this reference material 2006-2017 via the previous contract laboratory's analogous method(s).
Summary
|  |  | C_ICPOES_MS-49 | C_ICPOES_MS-49
|  |  | In | Tb
|  |  | ppm | ppm
MRP-17346 | C-466340 | SAR-L.1 | Al: 0.354; Ca: 1.38
|  | Comparison to Preferred Value | Al: 118; Ca: 81.1765
|  | Comparison to Mean | Al: 121.6997
|  | Preferred Value | Al: 0.3; Ca: 1.7
|  | Mean (n=467) | Al: 0.29088
|  | Tb: | Al: The Tb value returned is not uncommon compared to the values returned overtime by this method. The contract laboratory's CRM performed well.
|  | In: | Al: The In value returned is similar to values returned overtime via this method and the previous contract laboratory's analogous method.