IMPART WP1 – Draft for pre-ring trial

## Matrix

Meat samples: pig/turkey

Caecum samples: pig/turkey

## Sample preparation for the trial

### 2.1 Strains available to spike the samples for this pre-ring trial:

| N°ANSES | Species/origin | Colistin MIC (µg/ml) | mcr gene | Reference | Matrix |
| --- | --- | --- | --- | --- | --- |
| 15Q003582 | Salmonella pig | <=1 | - | Rebelo et al, 2018, Eurosurveillance | Pig |
| 15Q004074 | Salmonella 4,12:i:- calf 2015 | 4 | mcr-4 | Rebelo et al, 2018, Eurosurveillance | Pig |
| 15F001211 | E. coli calf 2015 | 4 | mcr-3 | Rebelo et al, 2018, Eurosurveillance | Pig |
| 15F001188 | E. coli pig 2015 | <=1 | - | Rebelo et al, 2018, Eurosurveillance | Turkey |
| 15F001279 | E. coli calf 2015 | 4 | mcr-1 | Rebelo et al, 2018, Eurosurveillance | Turkey |
| S12LNR3592 | Salmonella Schwarzengrund broilers 2012 | 8 | mcr-5 | Webb et al, to be published Genbank: LKJL00000000 | Turkey |

### 2.2 Spiking the samples

Each matrix will be checked for the presence of colistin resistant determinant by a multiplex PCR (Rebelo et al, 2018, Eurosurveillance) and by plating on MacConkey + 2mg/l colistin agar. Non-contaminated sampled will be frozen (-20°C).

Strains are inoculated on blood agar and incubated O/N at 37°C. Prior to spiking, a 0.5 McFarland ( 108 CFU/ml) target bacterial suspension in ultrapure sterile water using fresh colonies isolated on blood agar will be prepared and diluted to obtain the target concentrations in the pooled samples of minced meat or caecal content (102 CFU/g sample). The bacterial suspension will be added to the samples and the samples will be homogenized. The samples will allocate according to the number needful for each participant (1g of caecal content/strain x 4 participant; 10g of minced meat/strain x 4 participant). The aliquots will be stored at 4°C until shipping.

Artificial contaminated aliquots are distributed at 4°C to the participants and should be tested/processed at arrival.

## Performing the pre-ring trial: Protocol

### List of consumables and reagents

See Annexe 1.

### Detection

#### Pre-enrichment in glass tubes

Prepare a stock solution of colistin in a glass bottle (using the CLSI conversion calculation to adjust for the amount of active units).

Add enough for 2 mg/L in BPW final solution (9ml for 10ml final, 2.22 mg/L for BPW stock).
The BPW with colistin can be kept in the fridge (for a maximum of 1 month).

| 1g of caecal content |  | 10 g of meat |  |
| --- | --- | --- | --- |
| 9 ml BPW without colistin | 9 ml BPW with 2mg/L colistin | 90 ml BPW without colistin | 90 ml BPW with 2mg/L colistin |
| Incubation 18-24H, 37°C |  | Incubation 18-24H, 37°C |  |

#### Isolation

List of colistin resistance selective agars, on the market in France as off September 2018.

| Name | Producer | Ready to use | In-house |
| --- | --- | --- | --- |
| Mc Conkey Agar + 2mg/L colistin |  | NO | YES |
| CHROMagar col-apse + anti-swarming supplement | Mastgroup/ CHROMagar | YES | YES |
| CHROMID COLR | Biomérieux | YES | NO |
| Colistigram - SuperPolymyxin | Kitvia | YES | YES |

We need 48 plates of each media. See protocol for in-house media preparation in Annexe 1.

##### Plate inoculation

Each pre-enrichment broth sample must be streaked on each of the selective media:

1_ by using a 10 microliter loop for the first streak

2_ and 3_ and after that use a second loop (1 microliter) to streak the second (turn the loop) and streak third part of the plate as depicted beneath.

##### Plate incubation

- ChromID COLR : 18-24h at 37°C

- CHROMagar : 24h at 37°C

- Colistigram : 24-48h at 37°C

- Mac Conkey + colistin : 18-24h at 37°C

##### Plate Reading

|  | MacConkey + colistin | ChromID® COLR | Colistigram | CHROMagar COL-APSE |
| --- | --- | --- | --- | --- |
| Escherichia coli | Pink to reddish with halo | pink to burgundy | Dark purple | Dark pink to reddish |
| Klebsiella spp | Pink to reddish with halo | blue-green | brownish | Metallic blue |
| Enterobacter spp | Pink to reddish with halo | blue-green | bluish | Metallic blue |
| Citrobacter |  |  | violet | Metallic blue |
| Salmonella | colorless | white or colorless | amber | Blue with red halo |
| Proteus species | colorless |  |  |  |
| Yersinia | colorless |  |  |  |
| Pseudomonas | colorless |  | colorless or lavender | Translucent cream to green |
| Shigella | colorless |  | amber |  |
| Acinetobacter |  |  | colorless or lavender | cream, opaque |

Mac Conkey + 2mg/L colistin:

- Lactose positive (E. coli, Enterobacter and Klebsiella): Pink to reddish colonies with halo.

- Lactose negative (Salmonella, Proteus species, Yersinia, Pseudomonas aeruginosa and Shigella) : colorless colonies

CHROMagar COL-APSE:

- E.coli : Dark pink to reddish

- Klebsiella, Enterobacter, Citrobacter : Metallic blue

- Pseudomonas : translucent cream to green

- Acinetobacter : cream, opaque

ChromID COLR:

- E. coli : pink to burgundy colonies

- K. pneumoniae and Enterobacter spp : blue-green colonies

- Salmonella spp : white or colorless colonies

Colistigram ( = Ready-to-use «SuperPolymyxin» media from Nordmann and Poirel):

- E. coli: Dark purple colonies, convex, weakly confluent, 2 to 3 mm in diameter, with a black center extended to more than 3/4 of the diameter and which have a greenish metallic luster in reflected light

- Klebsiella spp: brownish colonies, mucous membranes

- Enterobacter aerogenes: bluish colonies with dark brown centers, flattened, rather confluent, 4-6 mm in diameter, occasionally showing a metallic luster

- Citrobacter spp: violet colonies with slight metallic reflection

- Salmonella spp and Shigella spp: amber colonies, transparent

- Acinetobacter baumanii, Pseudomonas aeuginosa, S. Maltophila:  colorless or lavender colonies

### Confirmation of colonies

The plates should be read according to the plate reading scheme in 3.2.2.1.3. Species identification and confirmation should be performed on at least one colony from each plate, but a maximum of five colonies should be selected/marked from each plate in case there is a need to go back to the original selective agar. It should be taken into consideration the growth on all plates.

### Species identification

Presumptive positive colony/-ies should be subcultured on blood agar and respective selective agar or gram-negative agar plate like; MacConkey agar, Brilliance E. coli coliform selective agar (BECSA, Oxoid), or other gram-negative plate used in-house.

Species identification should be performed as usually done in each lab: PCR, MALDI-TOF, other (please specify in the reporting scheme).

### Phenotypic confirmation

Testing the isolates sensitivity should be performed by broth microdilution method on isolates from each positive sample.

Sensititre : (ref FRCOL) 96 well plate, 8 strains per plate,  0,12-128 mg/L colistin

or

Sensititre (ref EUVSEC) 96 well plate, 1 strain per plate, 1-16 mg/L colistin

or

UMIC : colistin Strips (REF UM-COL-040) : 11 wells (0.064 -64 mg/L )+ 1 growth control well

### PCR confirmation (optional)

After purification, see protocol Rebelo

## Performing the pre-ring trial: the parcel

### Participants should prepare in advance

See Annexe 1

### Participants will receive

See Annexe 1

## Performing the pre-ring trial: sending results

Send results to Agnes at ANSES. The reporting scheme for the pre-ring trial is an excel file where one sheet is available to report all information around the general testing (some cells have fixed values/answers). It also contains one sheet per sample and a sheet per quality control strain (altogether two).

## Additional information

  - APPENDIX 1 – LIST OF WHAT IS NEEDED for WP1

  - APPENDIX 2 – Flow chart

# Annexe 1:

You need to have:

For meat: Sacs stomacher (x24)

For caeca: glass tubes (x24)

2376ml of BPW minimum (plan extra)

10ul loops (x192)

1ul loops (x192)

Petri dish (x170)

McConkey agar (1.5L)
EMB agar (1.5L)

Colistin Sulphate (Sigma, C4461)

Amphotericin B (Sigma, A9528)

Purification: McConkey

Verification step: PCR, sensititre,…

We will send you:

| Media | Ready or not | Quantity |
| --- | --- | --- |
| Mc Conkey Agar + 2mg/L colistin | In-house | N/A |
| CHROMagar col-apse | In-house | Powder + supplement |
| CHROMID COLR | Ready-to-use | 55 plates |
| SuperPolymyxin | In-house | Only Daptomycin sent |

For In-house media preparation, please see protocol from suppliers.

| Strain |  | Caeca | Meat |
| --- | --- | --- | --- |
| Salmonella pig | 15Q003582 | 6gr to distribute: 4x1gr | 4x10gr |
| E. coli calf 2015 15F001279 | 15F001279 | 6gr to distribute: 4x1gr | 4x10gr |
| E. coli calf 2015 15F001211 | 15F001211 | 6gr to distribute: 4x1gr | 4x10gr |
| E. coli pig 2015 15F001188 | 15F001188 | 6gr to distribute: 4x1gr | 4x10gr |
| Salmonella calf 2015 15Q004074 | 15Q004074 | 6gr to distribute: 4x1gr | 4x10gr |
| Salmonella broilers 2012 S12LNR3592 | S12LNR3592 | 6gr to distribute: 4x1gr | 4x10gr |

Daptomycin

Positive control: E. coli calf 2015 15F001279

1.5L of media should allow you to make around 75 plates, you will need a minimum of 48 plates.

## ChromAGAR COL-APSE (you have enough to make 1.5l)

Disperse slowly 42.5 gr of Powder into 1l of purified water (you received 70gr).
Add 2 ml of Supplement (you will receive a bit more than 3.3ml for 1.5L of media). 
Stir until well thickened.
Heat and bring to boil (100°C) while or stirring regularly.
DO NOT HEAT MORE THAN 100°C. DO NOT AUTOCLAVE.
Cool in water bath to 45-50°C, swirling or stirring gently to homogenize.

Pour into petri dishes.

## MacConkey + 2mg/L colistin

## Colistigram – SuperPolymyxin

See protocol from Poirel

EMB agar

Colistin sulfate

Daptomycin (cubicin) (you received 50mg)

Amphotericin B

# Annexe 2

FLOW CHART WP1