IMPART WP2 – Detection of carbapenemase producing Enterobacteriaceae: draft for pre-ring trial

- Matrix

In total 16 samples from pig, both meat and caeca, will be included in the WP2 pre-ring trial; eight meat and eight caeca samples.

- Sample preparation for the pre-ring trial

  - Strains available to use for spiking the samples for the pre-ring trial:

| # | Species/origin | Meropenem MIC (g/mL) | CPE gene | Reference, if any | Owner |
| --- | --- | --- | --- | --- | --- |
| 2014LSAL00827 | Salmonella Kentucky |  | NDM |  | Anses Sophie |
| ATCC BAA-2469 | E. coli | >16 | NDM-1 |  | WUR |
| ATCC BAA-1705 | K. pneumoniae | >16 | KPC-2 |  | WUR |
| NCTC 13476 | E. coli | 2 | IMP |  | WUR |
| NCTC 13440 | K. pneumoniae | >16 | VIM-1 |  | WUR |
| NCTC 13442 | K. pneumoniae | 4 | OXA-48 |  | WUR |
| ATCC25922 | E. coli | S | - |  |  |

  - Spiking the samples, combination of matrix and strain

| Sample # | Sample type | Animal | Species | Gene | Concentration |
| --- | --- | --- | --- | --- | --- |
| M-1 | Meat | pig | E. coli | NDM-1 | 100 CFU/g |
| M-2 | Meat | pig | K. pneumoniae | KPC-2 | 100 CFU/g |
| M-3 | Meat | pig | E. coli | IMP | 100 CFU/g |
| M-4 | Meat | pig | K. pneumoniae | OXA-48 | 100 CFU/g |
| M-5 | Meat | pig | K. pneumoniae | OXA-48 | 1000 CFU/g |
| M-6 | Meat | pig | K. pneumoniae | VIM-1 | 100 CFU/g |
| M-7 | Meat | pig | Salmonella Kentucky | NDM | 100 CFU/g |
| M-8 | Meat | pig | E. coli ATCC25922 | - | 100 CFU/g |
| C-1 | Caecal | pig | E. coli | NDM-1 | 100 CFU/g |
| C-2 | Caecal | pig | K. pneumoniae | KPC-2 | 100 CFU/g |
| C-3 | Caecal | pig | E. coli | IMP | 100 CFU/g |
| C-4 | Caecal | pig | K. pneumoniae | OXA-48 | 100 CFU/g |
| C-5 | Caecal | pig | K. pneumoniae | OXA-48 | 1000 CFU/g |
| C-6 | Caecal | pig | K. pneumoniae | VIM-1 | 100 CFU/g |
| C-7 | Caecal | pig | Salmonella Kentucky | NDM | 100 CFU/g |
| C-8 | Caecal | pig | E. coli ATCC25922 | - | 100 CFU/g |

- Performing the pre-ring trial: List of consumables and reagents needed (see also appendix 2)

Buffered peptone water (BPW-ISO)

Stomacher bags

50 mL falcon tubes

Sterile loops

Cation Adjusted Mueller Hinton Broth with TES (CAMHBT)

EUVSEC/EUVSEC2

- Performing the pre-ring trial: Protocol

  - Detection

    - Pre-enrichment

| MATRIX - CAECA | MATRIX - MEAT |
| --- | --- |
| 1 g of caecal content | 10 g of meat |
| 9 ml BPW-ISO | 90 ml BPW-ISO |
| Incubation 18-24H, 37°C | Incubation 18-24H, 37°C |

Reference strains used for validating the plates:

Escherichia coli ATCC 25922

Escherichia coli TZ 3638 (GES-5 +)

Escherichia coli 16874 (OXA-48 +)

    - PCR screening

Direct PCR screening should be performed on the overnight broth in the WP2 pre-ring trial (Kees protocol, see appendix 1). If there are challenges in implementing the PCR before the pre-ring trial it will be a good idea to isolate DNA from the overnight broth or store pellets from each of the overnight broth at minus 20°C.

It is of great importance to implement a PCR protocol for direct screening on the overnight broth. If a PCR protocol is not implemented at the time of the pre-ring trial, at least DNA extraction should be performed on each pre-enriched sample (DO NOT POOL THE SAMPLES!). This extraction step will be performed at least during the pre-ring trial and as a volunteer step in the final ring trial. This step will not be evaluated!

    - Selective agar plates

      - Selective agars used in WP2 ring trial

| NAME | PRODUCER | Ready-to-use | In-house | Order number |
| --- | --- | --- | --- | --- |
| Brilliance™ CRE Agar | Oxoid | Yes | No | PO1226 |
| chromID® CARBA Agar | bioMerieux | Yes | No | 43861/20plt 47.25€ |
| chromID® OXA-48 Agar | bioMerieux | Yes | No | 414011/20plt 53.50€ |
| Chromatic™ CRE | Liofilchem | Yes | Yes | R-to-use: 11619/20plt 40€ In-house: 611619 630€ (500g/~1500plt) 621619 152€ (100g(~300plt) Supplement 140€ |
| Chromatic™ OXA-48 | Liofilchem | Yes | No | 11631/20plt 60€ |
| CHROMagar™ mSuperCARBA™ | CHROMagar | No | Yes | SC172/250plt 302€ SC173-25/1250plt 1139€ |
| ChromArt CRE / CRE-ESBL | BioLife | Yes | Yes | R-to-use: 548015/20plt In-house : CRE-ESBL Base 4080252/500g or 4080254/1000g + CRE Suppl. 4240082 (10x5mL) |

Ansès sends out the ready-to-use agar plates together with the samples to provide the same batch and make sure all labs gets the plate in time. Remember to order the plates no later than 4 weeks before the start of the pre-ring trial.

      - Inoculation of the plates

Each pre-enrichment broth sample must be streaked on each of the selective media by using the following method:

1_ by using a 10 µL loop for the first streak

2_ and 3_ and after that use a second loop (1 µL) to streak the second (turn the loop) and streak third part of the plate as depicted beneath.

      - Plate incubation

| Selective agar | Temperature#1 recommended | Temperature#2 to test |
| --- | --- | --- |
| Brilliance™ CRE Agar | 37°C for 18-24 hours | 44°C |
| chromID® CARBA Agar | 35±2°C for 18-24 hours = 37°C | 44°C |
| chromID® OXA-48 Agar | 35±2°C for 18-24 hours = 37°C | 44°C |
| Chromatic™ CRE | 35±2°C for 24-48 hours = 37°C | 44°C |
| Chromatic™ OXA-48 | 35±2°C for 24-48 hours = 37°C | 44°C |
| CHROMagar™ mSuperCARBA™ | 37°C for 18-24 hours | 44°C |
| ChromArt CRE / CRE-ESBL | 35‐37°C for 18‐24 hours (up to 48 hours) = 37°C | 44°C |

      - Plate reading scheme

|  | Brilliance™ CRE Agar | ChromID® CARBA | ChromID® OXA-48 | Chromatic™ CRE | Chromatic™ OXA-48 | CHROMagar™ mSuperCARBA™ | ChromArt CRE-ESBL medium |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Escherichia coli | 1–2mm, pale pink | pink to burgundy | pink to burgundy | Red | Red | dark pink to reddish | Large pink |
| Klebsiella spp | 2mm, blue |  |  | Blue-violet | Blue-violet |  |  |
| Enterobacter spp |  |  |  | Blue-green | Blue-green |  |  |
| Citrobacter |  |  |  | Blue with red halo | Blue with red halo |  |  |
| CPE coliforms |  |  |  |  |  | metallic blue |  |
| CPE Pseudomonas |  |  |  |  |  | translucent, +/- natural pigment cream to green |  |
| KESC-group |  | spontaneous bluish-green to bluish-grey coloration | spontaneous bluish-green to bluish-grey coloration |  |  |  | Blue, blue‐green, purple-blue, grey‐purple |
| Acinetobacter | 1–2mm, colorless to cream |  |  |  |  | cream | White |
| CR / OXA-48 non-Enterobacteriaceae |  |  |  | White to natural pigmented | White to natural pigmented | colourless, natural pigmentation |  |
| CR Proteus‐Morganella‐Providencia |  |  |  |  |  |  | Brown colonies with brown halo |

    - Confirmation of colonies

The plates should be read according to the plate reading scheme in 4.1.3.4. Species identification and confirmation should be performed on at least one colony from one of the 37°C agar plates, but a maximum of five colonies should be selected/marked from each plate in case there is a need to go back to the original selective agar. It should be taken into consideration the growth on all plates; duplicate plates and two incubation temperatures (37 and 44 °C).

      - Species identification

Presumptive positive colony/-ies should be subcultured on blood agar and respective selective agar or gram-negative agar plate like; MacConkey agar, Brilliance E. coli coliform selective agar (BECSA, Oxoid), or other gram-negative plate used in-house.

Species identification should be performed as usually done in each lab: PCR, MALDI-TOF, other (please specify in the reporting scheme).

    - Phenotypic confirmation

Testing the isolates sensitivity should be performed by broth microdilution method or disk diffusion on isolates from each positive sample by reporting meropenem as the compulsory agent. Ertapenem and imipenem may be reported on a voluntary basis (disk content 10 mg).

Sensititre EUVSEC: 96 well, 1 strain per plate, meropenem 0.03 – 16 mg/L

or

Sensititre EUVSEC2: 96 well, 1 strain per plate, meropenem 0.03 – 16 mg/L

or

Meropenem 10 mg disk content

    - PCR confirmation

      - Protocol Kees, see appendix 1

      - Other in-house methods

- Performing the pre-ring trial: Sending the samples

  - Spiking the samples (Ansés Fougéres)

Strains are inoculated on blood agar and incubated O/N at 37°C. Prior to spiking, a 0.5 McFarland ( 108 CFU/ml) target bacterial suspension in ultrapure sterile water using fresh colonies isolated on blood agar will be prepared and diluted to obtain the target concentrations in the pooled samples of minced meat or caecal content (102 CFU/g sample). The bacterial suspension will be added to the samples and the samples will be homogenized. The samples will allocate according to the number needful for each participant (1 g of caecal content per strain x 4 participant; 10 g of minced meat per strain x 4 participant). The aliquots will be stored at 4°C until shipping.

  - Sending the samples

Artificial contaminated aliquots are distributed at 4°C to the participants and should be tested/processed at arrival within 48 hours.

- Performing the pre-ring trial: Reporting the results

  - Reporting scheme

The reporting scheme for the pre-ring trial is an excel file where one sheet is available to report all information around the general testing (some cells have fixed values/answers). It also contains one sheet per sample and a sheet per quality control strain (altogether three).

- Additional information

  - APPENDIX 1 – PCR protocol – developed from a protocol from Kees (with modifications). Screening for the presence of carbapenemase producing E. coli in caecal samples from livestock

  - APPENDIX 2 - LIST OF WHAT IS NEEDED for WP2: Carbapenemase producing Enterobacteriaceae

  - APPENDIX 3 – Flow chart

  - APPENDIX 4 – Experimental design - Calculation of amount of media / selective plates

APPENDIX 1

PCR PROTOCOL – developed from a protocol from Kees (with modifications)

Screening for the presence of carbapenemase producing E. coli in caecal samples from livestock

- Primers

| Target | Primer name | Sequence (5’-3’) | Product size (bp) | References |
| --- | --- | --- | --- | --- |
| NDM | NDM-F | GGG CAG TCG CTT CCA ACG GT | 475 | S. Mushtaq et. al. |
|  | NDM-R | GTA GTG CTC AGT GTC GGC AT |  |  |
| KPC | KPC-forward | ATG TCA CTG TAT CGC CGT CT | 950 | V. Schechner et.al. |
|  | KPC-reverse | TTT TCA GAG CCT TAC TGC CC |  |  |
| VIM | VIM-F | GAT GGT GTT TGG TCG CAT A | 390 | M.J. Ellington |
|  | VIM-R | CGA ATG CGC AGC ACC AG |  |  |
| IMP | IMP-F | GGA ATA GAG TGG CTT AAY TCT C | 188 | M.J. Ellington |
|  | IMP-R | CCA AAC YAC TAS GTT ATC T |  |  |
| OXA | OXA48-A | TTG GTG GCA TCG ATT ATC GG | 810 | L. Poirel, et.al. |
|  | OXA-48B | GAG CAC TTC TTT TGT GAT GGC |  |  |

- Reference materials

| Name | Source | Requirements |
| --- | --- | --- |
| Internal control Check MDR Carba | Check MDR Carba-kit |  |
| Positive control Check MDR Carba | Check MDR Carba-kit |  |
| Negative control | H2O |  |
| PCR positive control NDM | DNA of a NDM positive isolate |  |
| PCR positive control KPC | DNA of a KPC positive isolate |  |
| PCR positive control VIM | DNA of a VIM positive isolate |  |
| PCR positive control IMP | DNA of a IMP positive isolate |  |
| PCR positive control OXA | DNA of a OXA positive isolate |  |

- DNA isolation

  - From each enrichment add 200 µl to a 1,5 ml tube, pool up to 5 samples in one tube (COMMENT: depends on the extraction procedure used, please consider for the pre-ring trial not to pool samples)

  - Centrifuge 5 minutes at 20 800 rcf (14 000 rpm)

  - Remove supernatant, use pellet for DNA isolation

  - For each (pooled) sample, add 5 µL internal control (IC) from the Check MDR Carba kit to the pellet before starting with the DNA isolation

  - For DNA-isolation use the ‘DNeasy (96) Blood & Tissue Kit’ from Qiagen

  - Resuspend the pellet in 180 µl ATL-buffer (provided in the kit)

  - Use ‘Protocol: Purification of Total DNA from Animal Tissues’, starting with step 2

  - Store the DNA at 4°C

- PCR protocol using Check MDR Carba multiplex PCR

  - Use the Check MDR Carba-kit from Check Points and test the pooled samples according to the protocol for the presence of NDM, KPC, VIM, IMP and OXA-48.

  - In case of a positive pool sample test individual samples with conventional PCR’s to confirm the positive result of the RT-PCR

- Conventional PCR protocol

  - Isolate DNA from individual samples as described

  - For each sample a set of 5 PCR’s should be run, use primers as described

  - For each primer set prepare enough PCR-mix for all samples plus 2 extra for control samples according to the following schedule:

| PCR-mix for 1 sample, in µl | BioMix Red |
| --- | --- |
| Buffer 2x | 12.5 |
| Primer F | 01 |
| Primer R | 01 |
| H2O | 9.5 |
| Total | 24 |
| DNA | 01 |

  - Apply the following run protocols, use the right annealing temperature for each primer set:

| PCR run protocol |  |  |  | * Tann. = annealing temperature of the primers |  |
| --- | --- | --- | --- | --- | --- |
| 94∘C | 5 min |  |  | NDM | 62∘C |
| 94∘C | 1 min | 30x |  | KPC | 62∘C |
| Tann.* | 30 sec |  |  | VIM | 52∘C |
| 72∘C | 1 min |  |  | IMP | 52∘C |
| 72∘C | 7 min |  |  | OXA | 58∘C |
| 4∘C | ∞ |  |  |  |  |

  - Check PCR products on gel: If positive controls show bands at the right position (NDM 475 bp; KPC 950 bp; VIM 390 bp; IMP188 bp; OXA 810 bp) and the negative controls show no bands, the PCRs are considered valid.

  - For each individual sample with visible band on the gel; culture the carbapenemase producing isolate from the enrichment.

- References

  - S. Mushtaq et. al. Phylogenetic diversity of Escherichia coli strains producing NDM-type carbapenemases. J. Antimicrob. Chemother. (2011) 66 (9): 2002-2005. doi: 10.1093/jac/dkr226

  - V. Schechner et.al. Evaluation of PCR-based testing for surveillance of KPC-producing carbapenem-resistant members of the Enterobacteriaceae family. J Clin Microbiol. 2009 Oct;47(10):3261-5. doi: 10.1128/JCM.02368-08

  - M.J. Ellington Multiplex PCR for rapid detection of genes encoding acquired metallo-β-lactamases. J. Antimicrob. Chemother. (2007)   59  (2):  321-322. doi: 10.1093/jac/dkl481

  - L. Poirel, et.al. Emergence of Oxacillinase-Mediated Resistance to Imipenem in Klebsiella pneumoniae. ANTIMICROBIAL AGENTS AND CHEMOTHERAPY, Jan. 2004, p. 15–22 DOI: 10.1128/AAC.48.1.15–22.2004

APPENDIX 2

LIST OF WHAT IS NEEDED for WP2: Carbapenemase-producing Enterobacteriaceae

- Each participant need to have:

  - For meat: Sacs stomacher (18 bags)

  - 1783 mL of BPW minimum (plan extra)

  - 10 µL loops (648 loops)

  - 1 µL loops (648 loops)

  - Petri dish (about 300)

  - Purification: MacConkey agar, Brilliance E. coli Coliform selective agar, other gram-negative agar of choice, blood agar

  - Verification: CAMBHT broth, Sensititre panels, meropenem disk diffusion material

- Ansés will send you:

| Media | Ready or not | Quantity |
| --- | --- | --- |
| Brilliance™ CRE Agar | Ready-to-use | 80 plates |
| chromID® CARBA Agar | Ready-to-use | 80 plates |
| chromID® OXA-48 Agar | Ready-to-use | 80 plates |
| Chromatic™ CRE | Ready-to-use | 80 plates |
| Chromatic™ CRE | In-house | 2x 56.8gr powder + 4 vials supplement |
| Chromatic™ OXA-48 | Ready-to-use | 80 plates |
| CHROMagar™ mSuperCARBA™ | In-house | 2x 42.5gr powder + 4.3 ml S1 + 2x 250mg S2 |
| ChromArt CRE | Ready-to-use | 80 plates |
| ChromArt CRE | In-house | 2x 49.4gr powder + 2x 2 vials supplement |

For In-house media preparation, please see protocol from suppliers.

| Strain | (CFU/g) | Caeca | Meat |
| --- | --- | --- | --- |
| Salmonella Kentucky 2014LSAL00827 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| K. pneumoniae ATCC BAA-1705 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| E. coli NCTC 13476 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| K. pneumoniae NCTC 13440 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| K. pneumoniae NCTC 13442 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| K. pneumoniae NCTC 13442 | 1000 | 2x1gr | 25gr to distribute: 2x10gr |
| E. coli ATCC BAA-2469 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| E. coli ATCC25922 | 100 | 2x1gr | 25gr to distribute: 2x10gr |
| Control | N.A. | 2x1gr | 25gr to distribute: 2x10gr |

YOU WILL HAVE TO MAKE TWO LITERS OF EACH MEDIA; YOU WILL RECEIVE THE EXACT WEIGHT OF POWDER NEEDED FOR 1L OF MEDIA x2
WE DID THE SAME FOR THE SUPPLEMENTS, SEE BELOW.

(2L of media should allow you to make around 100 plates, you will need a minimum of 72 plates).

ChromART CRE (2.5 L final for at least 85 plates)

Suspend 49.4 g of CRE‐ESBL Base (REF 408025) in 1000 mL of cold purified water. Heat to boiling to dissolve completely. Sterilize by autoclaving at 121°C for 15 minutes and cool to 45‐50°C.

Dissolve the contents of 1 vial (2 vials for 1L) of CRE Supplement (REF 4240082) with 5 mL of sterile purified water. Add to 500 mL of CRE‐ESBL Base (REF 408025), autoclaved and cooled to 45‐50°C. Mix well and distribute into sterile Petri dishes.

CHROMagar™ mSuperCARBA™ (2.2 L final for at least 85 plates)

Disperse slowly 42.5 g of Powder into 1 L of purified water.
Add 2 mL of Supplement 1. 
Stir until well thickened.
Heat and bring to boil (100°C) while or stirring regularly.
DO NOT HEAT MORE THAN 100°C. DO NOT AUTOCLAVE.
Cool in water bath to 45-50°C, swirling or stirring gently to homogenize.

Add 250 mg of supplement 2 in 2 mL of purified water.
Swirl well until complete dissolution.
Filter to sterilize at 0.45 µm.

Add the 2 mL of the supplement solution to the melted base at 45-50°C.
Swirl gently to homogenize. 
Pour into petri dishes.

Chromatic™ CRE (2.5 L final for at least 85 plates)

Suspend 56.8 g of powder in 1 L of deionized or distilled water. Bring to boil and shake until completely dissolved. Sterilize at 121°C for 15 minutes. Cool up to 45-50°C. Aseptically, add the contents of 2 vials (10 mL) of Chromatic™ CRE Supplement (ref. 81088) reconstituted as directed in the instructions for use that accompany the product. Pour in Petri dishes.

APPENDIX 3

FLOW CHART WP2

APPENDIX 4

Experimental design - Calculation of media / selective plates

BPW-ISO (one temperature): 90 mL * 8 + 1 mL * 11 = 731 mL, running parallels: (90 *8)*2 + (8*1)*2 + (3*1) = 1459 mL

MacConkey agar?

Blood agar?