## CNL Calibration
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
0GyCNLBCIPall_CalibrationSegment | C_B500 | 500 | 39 | 0.078 | 0.39 | 38.61 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 0.39 | 35.61 | 0.00078 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 11.39 | 38.61 | 0.02278 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 0.39 | 33.61 | 0.00078 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 0.39 | 36.61 | 0.00078 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 22.39 | 38.61 | 0.04478 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 35.39 | 38.61 | 0.07078 | 2.5
3GyCNLBCIPall_CalibrationSegment | C_B500 | 500 | 85 | 0.17 | 46.39 | 38.61 | 0.09278 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 65.39 | 38.61 | 0.13078 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 76.39 | 38.61 | 0.15278 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 122.39 | 38.61 | 0.24478 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 113.39 | 38.61 | 0.22678 | 5
0GyCNLBCIPall_CalibrationSegment | C_B500 | 500 | 29.827 | 0.059654 | 0.39 | 29.437 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 6.563 | 29.437 | 0.013126 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 20.563 | 29.437 | 0.041126 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 4.563 | 29.437 | 0.009126 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 7.563 | 29.437 | 0.015126 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 31.563 | 29.437 | 0.063126 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 44.563 | 29.437 | 0.089126 | 2.5
3GyCNLBCIPall_CalibrationSegment | C_B500 | 500 | 85 | 0.17 | 55.563 | 29.437 | 0.11113 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 74.563 | 29.437 | 0.14913 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 85.563 | 29.437 | 0.17113 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 131.563 | 29.437 | 0.26313 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 122.563 | 29.437 | 0.24513 | 5
0GyCNLBCIPall_TestSegment | C_B500 | 500 | 24 | 0.048 | 0.39 | 23.61 | 0.00078 | 0 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 12.39 | 23.61 | 0.02478 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 26.39 | 23.61 | 0.05278 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 10.39 | 23.61 | 0.02078 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 13.39 | 23.61 | 0.02678 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 37.39 | 23.61 | 0.07478 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 50.39 | 23.61 | 0.10078 | 2.5
3GyCNLBCIPall_TestSegment | C_B500 | 500 | 73 | 0.146 | 49.39 | 23.61 | 0.09878 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 80.39 | 23.61 | 0.16078 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 91.39 | 23.61 | 0.18278 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 137.39 | 23.61 | 0.27478 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 128.39 | 23.61 | 0.25678 | 5
0GyCNLBCIPall_TestSegment | C_B500 | 500 | 15.94 | 0.03188 | 0.39 | 15.55 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 20.45 | 15.55 | 0.0409 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 34.45 | 15.55 | 0.0689 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 18.45 | 15.55 | 0.0369 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 21.45 | 15.55 | 0.0429 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 45.45 | 15.55 | 0.0909 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 58.45 | 15.55 | 0.1169 | 2.5
3GyCNLBCIPall_TestSegment | C_B500 | 500 | 73 | 0.146 | 57.45 | 15.55 | 0.1149 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 88.45 | 15.55 | 0.1769 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 99.45 | 15.55 | 0.1989 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 145.45 | 15.55 | 0.2909 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 136.45 | 15.55 | 0.2729 | 5
0GyCNLBCIPall | C_B500 | 500 | 23 | 0.046 | 0.39 | 22.61 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 13.39 | 22.61 | 0.02678 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 27.39 | 22.61 | 0.05478 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 11.39 | 22.61 | 0.02278 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 14.39 | 22.61 | 0.02878 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 38.39 | 22.61 | 0.07678 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 51.39 | 22.61 | 0.10278 | 2.5
3GyCNLBCIPall | C_B500 | 500 | 77 | 0.154 | 54.39 | 22.61 | 0.10878 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 81.39 | 22.61 | 0.16278 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 92.39 | 22.61 | 0.18478 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 138.39 | 22.61 | 0.27678 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 129.39 | 22.61 | 0.25878 | 5
0GyCNLBCIPall | C_B500 | 500 | 12.5754 | 0.025151 | 0.39 | 12.1854 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
0.5GyCNLBCIPall | C_B500 | 500 | 36 | 0.072 | 23.8146 | 12.1854 | 0.047629 | 0.5
0.75GyCNLBCIPall | C_B500 | 500 | 50 | 0.1 | 37.8146 | 12.1854 | 0.075629 | 0.75
1GyCNLBCIPall | C_B500 | 500 | 34 | 0.068 | 21.8146 | 12.1854 | 0.043629 | 1
1.5GyCNLBCIPall | C_B500 | 500 | 37 | 0.074 | 24.8146 | 12.1854 | 0.049629 | 1.5
2GyCNLBCIPall | C_B500 | 500 | 61 | 0.122 | 48.8146 | 12.1854 | 0.097629 | 2
2.5GyCNLBCIPall | C_B500 | 500 | 74 | 0.148 | 61.8146 | 12.1854 | 0.12363 | 2.5
3GyCNLBCIPall | C_B500 | 500 | 77 | 0.154 | 64.8146 | 12.1854 | 0.12963 | 3
3.5GyCNLBCIPall | C_B500 | 500 | 104 | 0.208 | 91.8146 | 12.1854 | 0.18363 | 3.5
4GyCNLBCIPall | C_B500 | 500 | 115 | 0.23 | 102.8146 | 12.1854 | 0.20563 | 4
4.5GyCNLBCIPall | C_B500 | 500 | 161 | 0.322 | 148.8146 | 12.1854 | 0.29763 | 4.5
5GyCNLBCIPall | C_B500 | 500 | 152 | 0.304 | 139.8146 | 12.1854 | 0.27963 | 5

## CNL WholeBody
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
CNL_S01BCIP | C_B500 | 500 | 459:37:4 | 45 | 0.09 | 22.39 | 22.61 | 0.04478 | 1.2Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
CNL_S02BCIP | C_B500 | 500 | 417:66:15:2 | 102 | 0.204 | 79.39 | 22.61 | 0.15878 | 3.1Gy WholeBody
CNL_S03BCIP | C_B500 | 500 | 474:23:2:1 | 30 | 0.06 | 7.39 | 22.61 | 0.01478 | 0Gy WholeBody
CNL_S04BCIP | C_B500 | 500 | 462:31:6:1 | 46 | 0.092 | 23.39 | 22.61 | 0.04678 | 0.9Gy WholeBody
CNL_S05BCIP | C_B500 | 500 | 380:87:25:4:4 | 165 | 0.33 | 142.39 | 22.61 | 0.28478 | 4Gy WholeBody
CNL_S06BCIP | C_B500 | 500 | 425:63:12 | 87 | 0.174 | 64.39 | 22.61 | 0.12878 | 2.8Gy WholeBody
CNL_S07BCIP | C_B500 | 500 | 428:68:4 | 76 | 0.152 | 53.39 | 22.61 | 0.10678 | 1.7Gy WholeBody
CNL_S08BCIP | C_B500 | 500 | 400:85:14:1 | 116 | 0.232 | 93.39 | 22.61 | 0.18678 | 3.6Gy WholeBody
CNL_S09BCIP | C_B500 | 500 | 418:74:7:0:1 | 92 | 0.184 | 69.39 | 22.61 | 0.13878 | 2.3Gy WholeBody
CNL_S01BCIP | C_B500 | 500 | 459:37:4 | 45 | 0.09 | 32.8146 | 12.1854 | 0.065629 | 1.2Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
CNL_S02BCIP | C_B500 | 500 | 417:66:15:2 | 102 | 0.204 | 89.8146 | 12.1854 | 0.17963 | 3.1Gy WholeBody
CNL_S03BCIP | C_B500 | 500 | 474:23:2:1 | 30 | 0.06 | 17.8146 | 12.1854 | 0.035629 | 0Gy WholeBody
CNL_S04BCIP | C_B500 | 500 | 462:31:6:1 | 46 | 0.092 | 33.8146 | 12.1854 | 0.067629 | 0.9Gy WholeBody
CNL_S05BCIP | C_B500 | 500 | 380:87:25:4:4 | 165 | 0.33 | 152.8146 | 12.1854 | 0.30563 | 4Gy WholeBody
CNL_S06BCIP | C_B500 | 500 | 425:63:12 | 87 | 0.174 | 74.8146 | 12.1854 | 0.14963 | 2.8Gy WholeBody
CNL_S07BCIP | C_B500 | 500 | 428:68:4 | 76 | 0.152 | 63.8146 | 12.1854 | 0.12763 | 1.7Gy WholeBody
CNL_S08BCIP | C_B500 | 500 | 400:85:14:1 | 116 | 0.232 | 103.8146 | 12.1854 | 0.20763 | 3.6Gy WholeBody
CNL_S09BCIP | C_B500 | 500 | 418:74:7:0:1 | 92 | 0.184 | 79.8146 | 12.1854 | 0.15963 | 2.3Gy WholeBody

## CNL Synthetic
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Base Image Count | Notes
CNL 0and3 | C_B500 | 1000 | 913:80:4:3 | 97 | 0.097 | 19.78 | 77.22 | 0.01978 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = No adjustment from ADCI
CNL 0and3x2 | C_B500 | 1500 | 1349:138:7:6 | 170 | 0.11333 | 54.17 | 115.83 | 0.036113 | 3Gy 66.7% partial-body | 500
CNL 0x2and3 | C_B500 | 1500 | 1390:102:5:3 | 121 | 0.080667 | 5.17 | 115.83 | 0.0034467 | 3Gy 33.3% partial-body | 500
CNL 0x3and3 | C_B500 | 2000 | 1867:124:6:3 | 145 | 0.0725 | 1.56 | 143.44 | 0.00078 | 3Gy 25% partial-body | 500
CNL 0x5and3 | C_B500 | 3000 | 2821:168:8:3 | 193 | 0.064333 | 2.34 | 190.66 | 0.00078 | 3Gy 16.7% partial-body | 500
CNL 0x10and3 | C_B500 | 5500 | 5206:278:13:3 | 313 | 0.056909 | 4.29 | 308.71 | 0.00078 | 3Gy 9.1% partial-body | 500
CNL 0and3 | C_B500 | 1000 | 913:80:4:3 | 97 | 0.097 | 38.126 | 58.874 | 0.038126 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
CNL 0and3x2 | C_B500 | 1500 | 1349:138:7:6 | 170 | 0.11333 | 81.689 | 88.311 | 0.054459 | 3Gy 66.7% partial-body | 500
CNL 0x2and3 | C_B500 | 1500 | 1390:102:5:3 | 121 | 0.080667 | 32.689 | 88.311 | 0.021793 | 3Gy 33.3% partial-body | 500
CNL 0x3and3 | C_B500 | 2000 | 1867:124:6:3 | 145 | 0.0725 | 27.252 | 117.748 | 0.013626 | 3Gy 25% partial-body | 500
CNL 0x5and3 | C_B500 | 3000 | 2821:168:8:3 | 193 | 0.064333 | 16.378 | 176.622 | 0.0054593 | 3Gy 16.7% partial-body | 500
CNL 0x10and3 | C_B500 | 5500 | 5206:278:13:3 | 313 | 0.056909 | 4.29 | 308.71 | 0.00078 | 3Gy 9.1% partial-body | 500
CNL 0and3 | C_B500 | 1000 | 887:104:8:0:1 | 124 | 0.124 | 76.78 | 47.22 | 0.07678 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
CNL 0and3x2 | C_B500 | 1500 | 1307:179:13:0:1 | 209 | 0.13933 | 138.17 | 70.83 | 0.092113 | 3Gy 66.7% partial-body | 500
CNL 0x2and3 | C_B500 | 1500 | 1354:133:11:0:2 | 163 | 0.10867 | 92.17 | 70.83 | 0.061447 | 3Gy 33.3% partial-body | 500
CNL 0x3and3 | C_B500 | 2000 | 1821:162:14:0:3 | 202 | 0.101 | 107.56 | 94.44 | 0.05378 | 3Gy 25% partial-body | 500
CNL 0x5and3 | C_B500 | 3000 | 2755:220:20:0:5 | 280 | 0.093333 | 138.34 | 141.66 | 0.046113 | 3Gy 16.7% partial-body | 500
CNL 0x10and3 | C_B500 | 5500 | 5090:365:35:0:10 | 475 | 0.086364 | 215.29 | 259.71 | 0.039144 | 3Gy 9.1% partial-body | 500
CNL 0and3 | C_B500 | 1000 | 887:104:8:0:1 | 124 | 0.124 | 92.9 | 31.1 | 0.0929 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
CNL 0and3x2 | C_B500 | 1500 | 1307:179:13:0:1 | 209 | 0.13933 | 162.35 | 46.65 | 0.10823 | 3Gy 66.7% partial-body | 500
CNL 0x2and3 | C_B500 | 1500 | 1354:133:11:0:2 | 163 | 0.10867 | 116.35 | 46.65 | 0.077567 | 3Gy 33.3% partial-body | 500
CNL 0x3and3 | C_B500 | 2000 | 1821:162:14:0:3 | 202 | 0.101 | 139.8 | 62.2 | 0.0699 | 3Gy 25% partial-body | 500
CNL 0x5and3 | C_B500 | 3000 | 2755:220:20:0:5 | 280 | 0.093333 | 186.7 | 93.3 | 0.062233 | 3Gy 16.7% partial-body | 500
CNL 0x10and3 | C_B500 | 5500 | 5090:365:35:0:10 | 475 | 0.086364 | 303.95 | 171.05 | 0.055264 | 3Gy 9.1% partial-body | 500

## HC Calibration
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
Dose 0 Gy full metaphases only_CalibrationSegment | CurveFit500 | 500 | 80 | 0.16 | 0.39 | 79.61 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 0.39 | 66.61 | 0.00078 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 0.32604 | 62.674 | 0.00078 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 5.39 | 79.61 | 0.01078 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 20.39 | 79.61 | 0.04078 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 32.5744 | 76.4256 | 0.067863 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 69.39 | 79.61 | 0.13878 | 1.96
Dose 2.92 Gy full metaphases only_CalibrationSegment | CurveFit500 | 500 | 224 | 0.448 | 144.39 | 79.61 | 0.28878 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 157.39 | 79.61 | 0.31478 | 3.9
Dose 0 Gy full metaphases only_CalibrationSegment | CurveFit500 | 500 | 65.4223 | 0.13084 | 0.39 | 65.0323 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 1.9677 | 65.0323 | 0.0039354 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 8.633 | 54.367 | 0.020653 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 19.9677 | 65.0323 | 0.039935 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 34.9677 | 65.0323 | 0.069935 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 46.569 | 62.431 | 0.097019 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 83.9677 | 65.0323 | 0.16794 | 1.96
Dose 2.92 Gy full metaphases only_CalibrationSegment | CurveFit500 | 500 | 224 | 0.448 | 158.9677 | 65.0323 | 0.31794 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 171.9677 | 65.0323 | 0.34394 | 3.9
Dose 0 Gy full metaphases only_TestSegment | CurveFit500 | 500 | 72 | 0.144 | 0.39 | 71.61 | 0.00078 | 0 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 0.39 | 66.61 | 0.00078 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 3.134 | 59.866 | 0.0074977 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 13.39 | 71.61 | 0.02678 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 28.39 | 71.61 | 0.05678 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 40.2544 | 68.7456 | 0.083863 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 77.39 | 71.61 | 0.15478 | 1.96
Dose 2.92 Gy full metaphases only_TestSegment | CurveFit500 | 500 | 233 | 0.466 | 161.39 | 71.61 | 0.32278 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 165.39 | 71.61 | 0.33078 | 3.9
Dose 0 Gy full metaphases only_TestSegment | CurveFit500 | 500 | 58.096 | 0.11619 | 0.39 | 57.706 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 9.294 | 57.706 | 0.018588 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 14.7578 | 48.2422 | 0.035306 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 27.294 | 57.706 | 0.054588 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 42.294 | 57.706 | 0.084588 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 53.6022 | 55.3978 | 0.11167 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 91.294 | 57.706 | 0.18259 | 1.96
Dose 2.92 Gy full metaphases only_TestSegment | CurveFit500 | 500 | 233 | 0.466 | 175.294 | 57.706 | 0.35059 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 179.294 | 57.706 | 0.35859 | 3.9
Dose 0 Gy full metaphases only | CurveFit500 | 500 | 68 | 0.136 | 0.39 | 67.61 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 0.39 | 66.61 | 0.00078 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 6.478 | 56.522 | 0.015498 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 17.39 | 67.61 | 0.03478 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 32.39 | 67.61 | 0.06478 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 44.0944 | 64.9056 | 0.091863 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 81.39 | 67.61 | 0.16278 | 1.96
Dose 2.92 Gy full metaphases only | CurveFit500 | 500 | 199 | 0.398 | 131.39 | 67.61 | 0.26278 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 169.39 | 67.61 | 0.33878 | 3.9
Dose 0 Gy full metaphases only | CurveFit500 | 500 | 53 | 0.106 | 0.39 | 52.61 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
Dose 0.1 Gy full metaphases only | CurveFit500 | 500 | 51 | 0.102 | 0.39 | 50.61 | 0.00078 | 0.1
Dose 0.25 Gy full metaphases only | CurveFit500 | 500 | 67 | 0.134 | 14.39 | 52.61 | 0.02878 | 0.25
Dose 0.5 Gy full metaphases only | CurveFit500 | 418 | 63 | 0.15072 | 19.018 | 43.982 | 0.045498 | 0.5
Dose 0.74 Gy full metaphases only | CurveFit500 | 500 | 85 | 0.17 | 32.39 | 52.61 | 0.06478 | 0.74
Dose 0.98 Gy full metaphases only | CurveFit500 | 500 | 100 | 0.2 | 47.39 | 52.61 | 0.09478 | 0.98
Dose 1.46 Gy full metaphases only | CurveFit500 | 480 | 109 | 0.22708 | 58.4944 | 50.5056 | 0.12186 | 1.46
Dose 1.96 Gy full metaphases only | CurveFit500 | 500 | 149 | 0.298 | 96.39 | 52.61 | 0.19278 | 1.96
Dose 2.92 Gy full metaphases only | CurveFit500 | 500 | 199 | 0.398 | 146.39 | 52.61 | 0.29278 | 2.92
Dose 3.9 Gy full metaphases only | CurveFit500 | 500 | 237 | 0.474 | 184.39 | 52.61 | 0.36878 | 3.9

## HC WholeBody
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose
HC_INTC03S01 | AutoCurveFit500 | 257 | 179:60:14:4 | 100 | 0.38911 | 65.2485 | 34.7515 | 0.25389 | 3.1Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
HC_INTC03S04 | AutoCurveFit500 | 199 | 157:37:5 | 47 | 0.23618 | 20.0912 | 26.9088 | 0.10096 | 1.8Gy WholeBody
HC_INTC03S05 | AutoCurveFit500 | 500 | 344:130:22:3:1 | 187 | 0.374 | 119.39 | 67.61 | 0.23878 | 2.8Gy WholeBody
HC_INTC03S07 | AutoCurveFit500 | 180 | 135:38:5:1:1 | 55 | 0.30556 | 30.6604 | 24.3396 | 0.17034 | 3.4Gy WholeBody
HC_INTC03S08 | AutoCurveFit500 | 311 | 242:58:10:1 | 81 | 0.26045 | 38.9466 | 42.0534 | 0.12523 | 2.3Gy WholeBody
HC_INTC03S10 | AutoCurveFit500 | 365 | 311:51:3 | 57 | 0.15616 | 7.6447 | 49.3553 | 0.020944 | 1.4Gy WholeBody
HC_INTC03S01 | AutoCurveFit500 | 257 | 179:60:14:4 | 100 | 0.38911 | 72.9585 | 27.0415 | 0.28389 | 3.1Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
HC_INTC03S04 | AutoCurveFit500 | 199 | 157:37:5 | 47 | 0.23618 | 26.0612 | 20.9388 | 0.13096 | 1.8Gy WholeBody
HC_INTC03S05 | AutoCurveFit500 | 500 | 344:130:22:3:1 | 187 | 0.374 | 134.39 | 52.61 | 0.26878 | 2.8Gy WholeBody
HC_INTC03S07 | AutoCurveFit500 | 180 | 135:38:5:1:1 | 55 | 0.30556 | 36.0604 | 18.9396 | 0.20034 | 3.4Gy WholeBody
HC_INTC03S08 | AutoCurveFit500 | 311 | 242:58:10:1 | 81 | 0.26045 | 48.2766 | 32.7234 | 0.15523 | 2.3Gy WholeBody
HC_INTC03S10 | AutoCurveFit500 | 365 | 311:51:3 | 57 | 0.15616 | 18.5947 | 38.4053 | 0.050944 | 1.4Gy WholeBody

## HC Synthetic
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Base Image Count | Notes
HC 0and3 | AutoCurveFit500 | 1000 | 756:192:44:7:1 | 305 | 0.305 | 145.78 | 159.22 | 0.14578 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = No adjustment from ADCI
HC 0and3x2 | AutoCurveFit500 | 1500 | 1073:332:81:12:2 | 538 | 0.35867 | 299.17 | 238.83 | 0.19945 | 3Gy 66.7% partial-body | 500
HC 0x2and3 | AutoCurveFit500 | 1500 | 1195:244:51:9:1 | 377 | 0.25133 | 138.17 | 238.83 | 0.092113 | 3Gy 33.3% partial-body | 500
HC 0x3and3 | AutoCurveFit500 | 2000 | 1634:296:58:11:1 | 449 | 0.2245 | 130.56 | 318.44 | 0.06528 | 3Gy 25% partial-body | 500
HC 0x5and3 | AutoCurveFit500 | 3000 | 2512:400:72:15:1 | 593 | 0.19767 | 115.34 | 477.66 | 0.038447 | 3Gy 16.7% partial-body | 500
HC 0x10and3 | AutoCurveFit500 | 5500 | 4707:660:107:25:1 | 953 | 0.17327 | 77.29 | 875.71 | 0.014053 | 3Gy 9.1% partial-body | 500
HC 0and3 | AutoCurveFit500 | 1000 | 756:192:44:7:1 | 305 | 0.305 | 174.9354 | 130.0646 | 0.17494 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
HC 0and3x2 | AutoCurveFit500 | 1500 | 1073:332:81:12:2 | 538 | 0.35867 | 342.9031 | 195.0969 | 0.2286 | 3Gy 66.7% partial-body | 500
HC 0x2and3 | AutoCurveFit500 | 1500 | 1195:244:51:9:1 | 377 | 0.25133 | 181.9031 | 195.0969 | 0.12127 | 3Gy 33.3% partial-body | 500
HC 0x3and3 | AutoCurveFit500 | 2000 | 1634:296:58:11:1 | 449 | 0.2245 | 188.8708 | 260.1292 | 0.094435 | 3Gy 25% partial-body | 500
HC 0x5and3 | AutoCurveFit500 | 3000 | 2512:400:72:15:1 | 593 | 0.19767 | 202.8062 | 390.1938 | 0.067602 | 3Gy 16.7% partial-body | 500
HC 0x10and3 | AutoCurveFit500 | 5500 | 4707:660:107:25:1 | 953 | 0.17327 | 237.6446 | 715.3554 | 0.043208 | 3Gy 9.1% partial-body | 500
HC 0and3 | AutoCurveFit500 | 1000 | 749:205:39:7 | 304 | 0.304 | 160.78 | 143.22 | 0.16078 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
HC 0and3x2 | AutoCurveFit500 | 1500 | 1067:351:69:13 | 528 | 0.352 | 313.17 | 214.83 | 0.20878 | 3Gy 66.7% partial-body | 500
HC 0x2and3 | AutoCurveFit500 | 1500 | 1180:264:48:8 | 384 | 0.256 | 169.17 | 214.83 | 0.11278 | 3Gy 33.3% partial-body | 500
HC 0x3and3 | AutoCurveFit500 | 2000 | 1611:323:57:9 | 464 | 0.232 | 177.56 | 286.44 | 0.08878 | 3Gy 25% partial-body | 500
HC 0x5and3 | AutoCurveFit500 | 3000 | 2473:441:75:11 | 624 | 0.208 | 194.34 | 429.66 | 0.06478 | 3Gy 16.7% partial-body | 500
HC 0x10and3 | AutoCurveFit500 | 5500 | 4628:736:120:16 | 1024 | 0.18618 | 236.29 | 787.71 | 0.042962 | 3Gy 9.1% partial-body | 500
HC 0and3 | AutoCurveFit500 | 1000 | 749:205:39:7 | 304 | 0.304 | 188.588 | 115.412 | 0.18859 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
HC 0and3x2 | AutoCurveFit500 | 1500 | 1067:351:69:13 | 528 | 0.352 | 354.882 | 173.118 | 0.23659 | 3Gy 66.7% partial-body | 500
HC 0x2and3 | AutoCurveFit500 | 1500 | 1180:264:48:8 | 384 | 0.256 | 210.882 | 173.118 | 0.14059 | 3Gy 33.3% partial-body | 500
HC 0x3and3 | AutoCurveFit500 | 2000 | 1611:323:57:9 | 464 | 0.232 | 233.176 | 230.824 | 0.11659 | 3Gy 25% partial-body | 500
HC 0x5and3 | AutoCurveFit500 | 3000 | 2473:441:75:11 | 624 | 0.208 | 277.764 | 346.236 | 0.092588 | 3Gy 16.7% partial-body | 500
HC 0x10and3 | AutoCurveFit500 | 5500 | 4628:736:120:16 | 1024 | 0.18618 | 389.234 | 634.766 | 0.07077 | 3Gy 9.1% partial-body | 500

## PHE StandardCalibration
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
Calibration_PHE_0.0Gy | C_B750 | 750 | 23 | 0.030667 | 0.585 | 22.415 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
Calibration_PHE_0.25Gy | C_B750 | 750 | 33 | 0.044 | 10.585 | 22.415 | 0.014113 | 0.25
Calibration_PHE_0.75Gy | C_B750 | 750 | 41 | 0.054667 | 18.585 | 22.415 | 0.02478 | 0.75
Calibration_PHE_1.0Gy | C_B750 | 750 | 39 | 0.052 | 16.585 | 22.415 | 0.022113 | 1
Calibration_PHE_1.5Gy | C_B750 | 750 | 72 | 0.096 | 49.585 | 22.415 | 0.066113 | 1.5
Calibration_PHE_2.5Gy | C_B750 | 750 | 67 | 0.089333 | 44.585 | 22.415 | 0.059447 | 2.5
Calibration_PHE_3.0Gy | C_B750 | 750 | 168 | 0.224 | 145.585 | 22.415 | 0.19411 | 3
Calibration_PHE_4.5Gy | C_B750 | 750 | 251 | 0.33467 | 228.585 | 22.415 | 0.30478 | 4.5
Calibration_PHE_0.0Gy | C_B750 | 750 | 16.3302 | 0.021774 | 0.585 | 15.7452 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
Calibration_PHE_0.25Gy | C_B750 | 750 | 33 | 0.044 | 17.2548 | 15.7452 | 0.023006 | 0.25
Calibration_PHE_0.75Gy | C_B750 | 750 | 41 | 0.054667 | 25.2548 | 15.7452 | 0.033673 | 0.75
Calibration_PHE_1.0Gy | C_B750 | 750 | 39 | 0.052 | 23.2548 | 15.7452 | 0.031006 | 1
Calibration_PHE_1.5Gy | C_B750 | 750 | 72 | 0.096 | 56.2548 | 15.7452 | 0.075006 | 1.5
Calibration_PHE_2.5Gy | C_B750 | 750 | 67 | 0.089333 | 51.2548 | 15.7452 | 0.06834 | 2.5
Calibration_PHE_3.0Gy | C_B750 | 750 | 168 | 0.224 | 152.2548 | 15.7452 | 0.20301 | 3
Calibration_PHE_4.5Gy | C_B750 | 750 | 251 | 0.33467 | 235.2548 | 15.7452 | 0.31367 | 4.5

## PHE StandardTest
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
PHE_E | C_B750 | 750 | 696:45:7:2 | 65 | 0.086667 | 42.585 | 22.415 | 0.05678 | 4Gy 50% partial body | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
PHE_F | C_B750 | 750 | 696:51:3 | 57 | 0.076 | 34.585 | 22.415 | 0.046113 | 2Gy 50% partial body
PHE_G | C_B750 | 750 | 695:49:6 | 61 | 0.081333 | 38.585 | 22.415 | 0.051447 | 6Gy 50% partial body
PHE_E | C_B750 | 750 | 696:45:7:2 | 65 | 0.086667 | 49.2548 | 15.7452 | 0.065673 | 4Gy 50% partial body | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
PHE_F | C_B750 | 750 | 696:51:3 | 57 | 0.076 | 41.2548 | 15.7452 | 0.055006 | 2Gy 50% partial body
PHE_G | C_B750 | 750 | 695:49:6 | 61 | 0.081333 | 45.2548 | 15.7452 | 0.06034 | 6Gy 50% partial body
PHE_A | C_B750 | 750 | 668:65:4 | 73 | 0.097333 | 50.585 | 22.415 | 0.067447 | 2Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
PHE_B | C_B750 | 750 | 583:144:22:1 | 191 | 0.25467 | 168.585 | 22.415 | 0.22478 | 4Gy WholeBody
PHE_C | C_B750 | 750 | 690:30:1 | 32 | 0.042667 | 9.585 | 22.415 | 0.01278 | 0.5Gy WholeBody
PHE_D | C_B750 | 750 | 726:22:2 | 26 | 0.034667 | 3.585 | 22.415 | 0.00478 | 0Gy WholeBody
PHE_A | C_B750 | 750 | 668:65:4 | 73 | 0.097333 | 57.2548 | 15.7452 | 0.07634 | 2Gy WholeBody | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
PHE_B | C_B750 | 750 | 583:144:22:1 | 191 | 0.25467 | 175.2548 | 15.7452 | 0.23367 | 4Gy WholeBody
PHE_C | C_B750 | 750 | 690:30:1 | 32 | 0.042667 | 16.2548 | 15.7452 | 0.021673 | 0.5Gy WholeBody
PHE_D | C_B750 | 750 | 726:22:2 | 26 | 0.034667 | 10.2548 | 15.7452 | 0.013673 | 0Gy WholeBody

## PHE Calibration
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
CalibrationSegment_PHE_0.0Gy | C_B500 | 500 | 12 | 0.024 | 0.39 | 11.61 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
Calibration_PHE_0.25Gy | C_B500 | 500 | 17 | 0.034 | 5.39 | 11.61 | 0.01078 | 0.25
Calibration_PHE_0.75Gy | C_B500 | 500 | 24 | 0.048 | 12.39 | 11.61 | 0.02478 | 0.75
Calibration_PHE_1.0Gy | C_B500 | 500 | 27 | 0.054 | 15.39 | 11.61 | 0.03078 | 1
Calibration_PHE_1.5Gy | C_B500 | 500 | 44 | 0.088 | 32.39 | 11.61 | 0.06478 | 1.5
Calibration_PHE_2.5Gy | C_B500 | 500 | 43 | 0.086 | 31.39 | 11.61 | 0.06278 | 2.5
CalibrationSegment_PHE_3.0Gy | C_B500 | 500 | 117 | 0.234 | 105.39 | 11.61 | 0.21078 | 3
Calibration_PHE_4.5Gy | C_B500 | 500 | 167 | 0.334 | 155.39 | 11.61 | 0.31078 | 4.5
CalibrationSegment_PHE_0.0Gy | C_B500 | 500 | 5.6225 | 0.011245 | 0.39 | 5.2325 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
Calibration_PHE_0.25Gy | C_B500 | 500 | 17 | 0.034 | 11.7675 | 5.2325 | 0.023535 | 0.25
Calibration_PHE_0.75Gy | C_B500 | 500 | 24 | 0.048 | 18.7675 | 5.2325 | 0.037535 | 0.75
Calibration_PHE_1.0Gy | C_B500 | 500 | 27 | 0.054 | 21.7675 | 5.2325 | 0.043535 | 1
Calibration_PHE_1.5Gy | C_B500 | 500 | 44 | 0.088 | 38.7675 | 5.2325 | 0.077535 | 1.5
Calibration_PHE_2.5Gy | C_B500 | 500 | 43 | 0.086 | 37.7675 | 5.2325 | 0.075535 | 2.5
CalibrationSegment_PHE_3.0Gy | C_B500 | 500 | 117 | 0.234 | 111.7675 | 5.2325 | 0.22354 | 3
Calibration_PHE_4.5Gy | C_B500 | 500 | 167 | 0.334 | 161.7675 | 5.2325 | 0.32354 | 4.5
TestSegment_PHE_0.0Gy | C_B500 | 500 | 16 | 0.032 | 0.39 | 15.61 | 0.00078 | 0 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
Calibration_PHE_0.25Gy | C_B500 | 500 | 17 | 0.034 | 1.39 | 15.61 | 0.00278 | 0.25
Calibration_PHE_0.75Gy | C_B500 | 500 | 24 | 0.048 | 8.39 | 15.61 | 0.01678 | 0.75
Calibration_PHE_1.0Gy | C_B500 | 500 | 27 | 0.054 | 11.39 | 15.61 | 0.02278 | 1
Calibration_PHE_1.5Gy | C_B500 | 500 | 44 | 0.088 | 28.39 | 15.61 | 0.05678 | 1.5
Calibration_PHE_2.5Gy | C_B500 | 500 | 43 | 0.086 | 27.39 | 15.61 | 0.05478 | 2.5
TestSegment_PHE_3.0Gy | C_B500 | 500 | 116 | 0.232 | 100.39 | 15.61 | 0.20078 | 3
Calibration_PHE_4.5Gy | C_B500 | 500 | 167 | 0.334 | 151.39 | 15.61 | 0.30278 | 4.5
TestSegment_PHE_0.0Gy | C_B500 | 500 | 11.1515 | 0.022303 | 0.39 | 10.7615 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
Calibration_PHE_0.25Gy | C_B500 | 500 | 17 | 0.034 | 6.2385 | 10.7615 | 0.012477 | 0.25
Calibration_PHE_0.75Gy | C_B500 | 500 | 24 | 0.048 | 13.2385 | 10.7615 | 0.026477 | 0.75
Calibration_PHE_1.0Gy | C_B500 | 500 | 27 | 0.054 | 16.2385 | 10.7615 | 0.032477 | 1
Calibration_PHE_1.5Gy | C_B500 | 500 | 44 | 0.088 | 33.2385 | 10.7615 | 0.066477 | 1.5
Calibration_PHE_2.5Gy | C_B500 | 500 | 43 | 0.086 | 32.2385 | 10.7615 | 0.064477 | 2.5
TestSegment_PHE_3.0Gy | C_B500 | 500 | 116 | 0.232 | 105.2385 | 10.7615 | 0.21048 | 3
Calibration_PHE_4.5Gy | C_B500 | 500 | 167 | 0.334 | 156.2385 | 10.7615 | 0.31248 | 4.5

## PHE Synthetic
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Base Image Count | Notes
0and3 | C_B500 | 1000 | 882:106:10:2 | 132 | 0.132 | 108.78 | 23.22 | 0.10878 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = No adjustment from ADCI
0and3x2 | C_B500 | 1500 | 1280:196:20:4 | 248 | 0.16533 | 213.17 | 34.83 | 0.14211 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1366:122:10:2 | 148 | 0.098667 | 113.17 | 34.83 | 0.075447 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1850:138:10:2 | 164 | 0.082 | 117.56 | 46.44 | 0.05878 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2818:170:10:2 | 196 | 0.065333 | 126.34 | 69.66 | 0.042113 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5238:250:10:2 | 276 | 0.050182 | 148.29 | 127.71 | 0.026962 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 882:106:10:2 | 132 | 0.132 | 121.5351 | 10.4649 | 0.12154 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
0and3x2 | C_B500 | 1500 | 1280:196:20:4 | 248 | 0.16533 | 232.3026 | 15.6974 | 0.15487 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1366:122:10:2 | 148 | 0.098667 | 132.3026 | 15.6974 | 0.088202 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1850:138:10:2 | 164 | 0.082 | 143.0701 | 20.9299 | 0.071535 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2818:170:10:2 | 196 | 0.065333 | 164.6052 | 31.3948 | 0.054868 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5238:250:10:2 | 276 | 0.050182 | 218.4428 | 57.5572 | 0.039717 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 888:96:15:1 | 129 | 0.129 | 97.78 | 31.22 | 0.09778 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
0and3x2 | C_B500 | 1500 | 1288:180:30:2 | 246 | 0.164 | 199.17 | 46.83 | 0.13278 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1376:108:15:1 | 141 | 0.094 | 94.17 | 46.83 | 0.06278 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1864:120:15:1 | 153 | 0.0765 | 90.56 | 62.44 | 0.04528 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2840:144:15:1 | 177 | 0.059 | 83.34 | 93.66 | 0.02778 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5280:204:15:1 | 237 | 0.043091 | 65.29 | 171.71 | 0.011871 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 888:96:15:1 | 129 | 0.129 | 107.4771 | 21.5229 | 0.10748 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
0and3x2 | C_B500 | 1500 | 1288:180:30:2 | 246 | 0.164 | 213.7156 | 32.2844 | 0.14248 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1376:108:15:1 | 141 | 0.094 | 108.7156 | 32.2844 | 0.072477 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1864:120:15:1 | 153 | 0.0765 | 109.9542 | 43.0458 | 0.054977 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2840:144:15:1 | 177 | 0.059 | 112.4313 | 64.5687 | 0.037477 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5280:204:15:1 | 237 | 0.043091 | 118.624 | 118.376 | 0.021568 | 3Gy 9.1% partial-body | 500

## LT Calibration Sigma15 (hidden)
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
CalibrationSegment_LT_0.0Gy | Minimal | 1044 | 234 | 0.22414 | 0.81432 | 233.1857 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
LT-RPC 0.1 Gy | Minimal | 3127 | 607 | 0.19412 | 2.4391 | 604.5609 | 0.00078 | 0.1 | DC Count of 0Gy CalibrationSegment: 234
LT-RPC 0.25 Gy | Minimal | 2234 | 634 | 0.2838 | 135.0184 | 498.9816 | 0.060438 | 0.25 | DC Count of 0Gy TestSegment: 261
LT-RPC 0.5 Gy | Minimal | 1950 | 363 | 0.18615 | 1.521 | 361.479 | 0.00078 | 0.5 | DC Count of 3Gy CalibrationSegment: 382
LT-RPC 0.75 Gy | Minimal | 2100 | 470 | 0.22381 | 1.638 | 468.362 | 0.00078 | 0.75 | DC Count of 3Gy TestSegment: 406
LT-RPC 1 Gy | Minimal | 2145 | 513 | 0.23916 | 33.8972 | 479.1028 | 0.015803 | 1
LT-RPC 2 Gy | Minimal | 2187 | 622 | 0.28441 | 133.5162 | 488.4838 | 0.06105 | 2
CalibrationSegment_LT_3.0Gy | Minimal | 1104 | 382 | 0.34601 | 135.4128 | 246.5872 | 0.12266 | 3
LT-RPC 4 Gy | Minimal | 1426 | 483 | 0.33871 | 164.4916 | 318.5084 | 0.11535 | 4
LT-RPC 5 Gy | Minimal | 3738 | 1700 | 0.45479 | 865.0881 | 834.9119 | 0.23143 | 5
CalibrationSegment_LT_0.0Gy | Minimal | 1044 | 214.5558 | 0.20551 | 0.81432 | 213.7415 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 522 images 500 samples SD
LT-RPC 0.1 Gy | Minimal | 3127 | 607 | 0.19412 | 2.4391 | 604.5609 | 0.00078 | 0.1
LT-RPC 0.25 Gy | Minimal | 2234 | 634 | 0.2838 | 176.6261 | 457.3739 | 0.079063 | 0.25
LT-RPC 0.5 Gy | Minimal | 1950 | 363 | 0.18615 | 1.521 | 361.479 | 0.00078 | 0.5
LT-RPC 0.75 Gy | Minimal | 2100 | 470 | 0.22381 | 40.0603 | 429.9397 | 0.019076 | 0.75
LT-RPC 1 Gy | Minimal | 2145 | 513 | 0.23916 | 73.8473 | 439.1527 | 0.034428 | 1
LT-RPC 2 Gy | Minimal | 2187 | 622 | 0.28441 | 174.2485 | 447.7515 | 0.079675 | 2
CalibrationSegment_LT_3.0Gy | Minimal | 1104 | 382 | 0.34601 | 155.9746 | 226.0254 | 0.14128 | 3
LT-RPC 4 Gy | Minimal | 1426 | 483 | 0.33871 | 191.0505 | 291.9495 | 0.13398 | 4
LT-RPC 5 Gy | Minimal | 3738 | 1700 | 0.45479 | 934.7073 | 765.2927 | 0.25006 | 5
CalibrationSegment_LT_0.0Gy | Minimal | 1044 | 195.1094 | 0.18689 | 0.81432 | 194.2951 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 522 images 500 samples 2SDs
LT-RPC 0.1 Gy | Minimal | 3127 | 607 | 0.19412 | 25.0453 | 581.9547 | 0.0080094 | 0.1
LT-RPC 0.25 Gy | Minimal | 2234 | 634 | 0.2838 | 218.2383 | 415.7617 | 0.09769 | 0.25
LT-RPC 0.5 Gy | Minimal | 1950 | 363 | 0.18615 | 1.521 | 361.479 | 0.00078 | 0.5
LT-RPC 0.75 Gy | Minimal | 2100 | 470 | 0.22381 | 79.1766 | 390.8234 | 0.037703 | 0.75
LT-RPC 1 Gy | Minimal | 2145 | 513 | 0.23916 | 113.8018 | 399.1982 | 0.053054 | 1
LT-RPC 2 Gy | Minimal | 2187 | 622 | 0.28441 | 214.9853 | 407.0147 | 0.098301 | 2
CalibrationSegment_LT_3.0Gy | Minimal | 1104 | 382 | 0.34601 | 176.5386 | 205.4614 | 0.15991 | 3
LT-RPC 4 Gy | Minimal | 1426 | 483 | 0.33871 | 217.6123 | 265.3877 | 0.1526 | 4
LT-RPC 5 Gy | Minimal | 3738 | 1700 | 0.45479 | 1004.3344 | 695.6656 | 0.26868 | 5
CalibrationSegment_LT_0.0Gy | B_C500 | 500 | 34 | 0.068 | 0.39 | 33.61 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
LT-RPC 0.1 Gy | B_C500 | 500 | 27 | 0.054 | 0.39 | 26.61 | 0.00078 | 0.1 | DC Count of 0Gy CalibrationSegment: 34
LT-RPC 0.25 Gy | B_C500 | 500 | 45 | 0.09 | 11.39 | 33.61 | 0.02278 | 0.25 | DC Count of 0Gy TestSegment: 55
LT-RPC 0.5 Gy | B_C500 | 500 | 31 | 0.062 | 0.39 | 30.61 | 0.00078 | 0.5 | DC Count of 3Gy CalibrationSegment: 111
LT-RPC 0.75 Gy | B_C500 | 500 | 26 | 0.052 | 0.39 | 25.61 | 0.00078 | 0.75 | DC Count of 3Gy TestSegment: 138
LT-RPC 1 Gy | B_C500 | 500 | 41 | 0.082 | 7.39 | 33.61 | 0.01478 | 1
LT-RPC 2 Gy | B_C500 | 500 | 66 | 0.132 | 32.39 | 33.61 | 0.06478 | 2
CalibrationSegment_LT_3.0Gy | B_C500 | 500 | 111 | 0.222 | 77.39 | 33.61 | 0.15478 | 3
LT-RPC 4 Gy | B_C500 | 500 | 102 | 0.204 | 68.39 | 33.61 | 0.13678 | 4
LT-RPC 5 Gy | B_C500 | 500 | 129 | 0.258 | 95.39 | 33.61 | 0.19078 | 5
CalibrationSegment_LT_0.0Gy | B_C500 | 500 | 24.4815 | 0.048963 | 0.39 | 24.0915 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 522 images 500 samples SD
LT-RPC 0.1 Gy | B_C500 | 500 | 27 | 0.054 | 2.9085 | 24.0915 | 0.005817 | 0.1
LT-RPC 0.25 Gy | B_C500 | 500 | 45 | 0.09 | 20.9085 | 24.0915 | 0.041817 | 0.25
LT-RPC 0.5 Gy | B_C500 | 500 | 31 | 0.062 | 6.9085 | 24.0915 | 0.013817 | 0.5
LT-RPC 0.75 Gy | B_C500 | 500 | 26 | 0.052 | 1.9085 | 24.0915 | 0.003817 | 0.75
LT-RPC 1 Gy | B_C500 | 500 | 41 | 0.082 | 16.9085 | 24.0915 | 0.033817 | 1
LT-RPC 2 Gy | B_C500 | 500 | 66 | 0.132 | 41.9085 | 24.0915 | 0.083817 | 2
CalibrationSegment_LT_3.0Gy | B_C500 | 500 | 111 | 0.222 | 86.9085 | 24.0915 | 0.17382 | 3
LT-RPC 4 Gy | B_C500 | 500 | 102 | 0.204 | 77.9085 | 24.0915 | 0.15582 | 4
LT-RPC 5 Gy | B_C500 | 500 | 129 | 0.258 | 104.9085 | 24.0915 | 0.20982 | 5
LT_0.0Gy_TestSegment | B_C500 | 500 | 14.963 | 0.029926 | 0.39 | 14.573 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 522 images 500 samples 2SDs
LT-RPC 0.1 Gy | B_C500 | 500 | 27 | 0.054 | 12.427 | 14.573 | 0.024854 | 0.1
LT-RPC 0.25 Gy | B_C500 | 500 | 45 | 0.09 | 30.427 | 14.573 | 0.060854 | 0.25
LT-RPC 0.5 Gy | B_C500 | 500 | 31 | 0.062 | 16.427 | 14.573 | 0.032854 | 0.5
LT-RPC 0.75 Gy | B_C500 | 500 | 26 | 0.052 | 11.427 | 14.573 | 0.022854 | 0.75
LT-RPC 1 Gy | B_C500 | 500 | 41 | 0.082 | 26.427 | 14.573 | 0.052854 | 1
LT-RPC 2 Gy | B_C500 | 500 | 66 | 0.132 | 51.427 | 14.573 | 0.10285 | 2
LT_3.0Gy_TestSegment | B_C500 | 500 | 111 | 0.222 | 96.427 | 14.573 | 0.19285 | 3
LT-RPC 4 Gy | B_C500 | 500 | 102 | 0.204 | 87.427 | 14.573 | 0.17485 | 4
LT-RPC 5 Gy | B_C500 | 500 | 129 | 0.258 | 114.427 | 14.573 | 0.22885 | 5

## LT Synthetic Sigma15 (hidden)
[10 empty] | Adjusted For FPs | [5 empty] | Not Adjusted For FPs
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | PB Dose | PB Dose Lower | PB Dose Upper | PB Frac | PB Frac Lower | PB Frac Upper | PB Dose | PB Dose Lower | PB Dose Upper | PB Frac | PB Frac Lower | PB Frac Upper | Base Image Count | Notes
0and3 | Minimal | 2149 | 1649:376:90:25:9 | 667 | 0.31038 | 187.0038 | 479.9962 | 0.087019 | 3Gy 50% partial-body | 8.2305 | 7.6246 | 8.7945 | 63.7372 | 55.9592 | 71.1667 | 6.8479 | 6.3685 | 7.3014 | 88.1004 | 84.8615 | 90.8547
0and3x2 | Minimal | 3254 | 2442:618:142:37:15 | 1073 | 0.32975 | 346.1933 | 726.8067 | 0.10639 | 3Gy 66.7% partial-body | 8.0849 | 7.6447 | 8.5022 | 69.0874 | 63.6049 | 74.2697 | 6.6275 | 6.2489 | 6.9893 | 89.5284 | 87.1067 | 91.6457
0x2and3 | Minimal | 3193 | 2505:510:128:38:12 | 928 | 0.29064 | 214.8181 | 713.1819 | 0.067278 | 3Gy 33.3% partial-body | 8.3981 | 7.8336 | 8.9267 | 56.7738 | 49.4292 | 64.0759 | 7.0994 | 6.6981 | 7.4828 | 86.6299 | 83.8311 | 89.0864
0x3and3 | Minimal | 4237 | 3361:644:166:51:15 | 1189 | 0.28062 | 242.6324 | 946.3676 | 0.057265 | 3Gy 25% partial-body | 8.4918 | 7.9614 | 8.9907 | 52.4128 | 45.556 | 59.3816 | 7.239 | 6.8869 | 7.5774 | 85.8805 | 83.3908 | 88.106
0x5and3 | Minimal | 6325 | 5073:912:242:77:21 | 1711 | 0.27051 | 298.2611 | 1412.7389 | 0.047156 | 3Gy 16.7% partial-body | 8.5931 | 8.1159 | 9.045 | 47.2278 | 41.1895 | 53.4988 | 7.3893 | 7.0981 | 7.6712 | 85.1232 | 83.0386 | 87.0264
0x10and3 | Minimal | 11545 | 9353:1582:432:142:36 | 3016 | 0.26124 | 437.3327 | 2578.6673 | 0.037881 | 3Gy 9.1% partial-body | 8.6928 | 8.3004 | 9.0681 | 41.5635 | 36.7895 | 46.5931 | 7.5364 | 7.3188 | 7.7489 | 84.4291 | 82.8582 | 85.8986
0and3 | Minimal | 2149 | 1649:376:90:25:9 | 667 | 0.31038 | 227.0284 | 439.9716 | 0.10564 | 3Gy 50% partial-body | 8.8681 | 8.1797 | 9.5139 | 72.6423 | 65.4034 | 79.0519
0and3x2 | Minimal | 3254 | 2442:618:142:37:15 | 1073 | 0.32975 | 406.7982 | 666.2018 | 0.12501 | 3Gy 66.7% partial-body | 8.685 | 8.1761 | 9.17 | 76.4336 | 71.414 | 80.9364
0x2and3 | Minimal | 3193 | 2505:510:128:38:12 | 928 | 0.29064 | 274.2869 | 653.7131 | 0.085903 | 3Gy 33.3% partial-body | 9.0788 | 8.4535 | 9.6694 | 67.8099 | 60.8954 | 74.1676
0x3and3 | Minimal | 4237 | 3361:644:166:51:15 | 1189 | 0.28062 | 321.5455 | 867.4545 | 0.07589 | 3Gy 25% partial-body | 9.1966 | 8.6199 | 9.744 | 64.8334 | 58.314 | 70.9581
0x5and3 | Minimal | 6325 | 5073:912:242:77:21 | 1711 | 0.27051 | 416.0626 | 1294.9374 | 0.065781 | 3Gy 16.7% partial-body | 9.3241 | 8.8183 | 9.8076 | 61.3377 | 55.5117 | 66.9386
0x10and3 | Minimal | 11545 | 9353:1582:432:142:36 | 3016 | 0.26124 | 652.3553 | 2363.6447 | 0.056505 | 3Gy 9.1% partial-body | 9.4496 | 9.0471 | 9.8379 | 57.5665 | 52.87 | 62.1785
0and3 | Minimal | 2149 | 1649:376:90:25:9 | 667 | 0.31038 | 267.0574 | 399.9426 | 0.12427 | 3Gy 50% partial-body | 9.2451 | 8.4987 | 9.951 | 78.3217 | 71.7859 | 83.8286
0and3x2 | Minimal | 3254 | 2442:618:142:37:15 | 1073 | 0.32975 | 467.4098 | 605.5902 | 0.14364 | 3Gy 66.7% partial-body | 9.029 | 8.4703 | 9.5643 | 81.0766 | 76.5455 | 85.0026
0x2and3 | Minimal | 3193 | 2505:510:128:38:12 | 928 | 0.29064 | 333.7623 | 594.2377 | 0.10453 | 3Gy 33.3% partial-body | 9.4941 | 8.8267 | 10.1296 | 74.9264 | 68.7335 | 80.3435
0x3and3 | Minimal | 4237 | 3361:644:166:51:15 | 1189 | 0.28062 | 400.4673 | 788.5327 | 0.094517 | 3Gy 25% partial-body | 9.6335 | 9.0246 | 10.2159 | 72.8944 | 67.0804 | 78.0937
0x5and3 | Minimal | 6325 | 5073:912:242:77:21 | 1711 | 0.27051 | 533.8771 | 1177.1229 | 0.084407 | 3Gy 16.7% partial-body | 9.7844 | 9.2578 | 10.2914 | 70.561 | 65.389 | 75.3044
0x10and3 | Minimal | 11545 | 9353:1582:432:142:36 | 3016 | 0.26124 | 867.4018 | 2148.5982 | 0.075132 | 3Gy 9.1% partial-body | 9.9329 | 9.5208 | 10.333 | 68.1036 | 63.9548 | 72.013
0and3 | B_C500 | 1000 | 836:143:14:6:1 | 193 | 0.193 | 125.78 | 67.22 | 0.12578 | 3Gy 50% partial-body | 6.5901 | 5.6331 | 7.449 | 79.804 | 68.8672 | 88.7375 | 6.1321 | 5.0596 | 7.1239 | 88.6851 | 80.1697 | 94.7809 | 500
0and3x2 | B_C500 | 1500 | 1219:244:26:9:2 | 331 | 0.22067 | 230.17 | 100.83 | 0.15345 | 3Gy 66.7% partial-body | 6.614 | 5.9179 | 7.257 | 84.6924 | 77.6737 | 90.5168 | 6.1659 | 5.3548 | 6.93 | 91.6982 | 86.2277 | 95.8114 | 500
0x2and3 | B_C500 | 1500 | 1289:185:16:9:1 | 248 | 0.16533 | 147.17 | 100.83 | 0.098113 | 3Gy 33.3% partial-body | 6.5582 | 5.6779 | 7.3545 | 73.1769 | 62.0916 | 82.9344 | 6.087 | 5.1464 | 6.9648 | 84.9297 | 76.5579 | 91.404 | 500
0x3and3 | B_C500 | 2000 | 1742:227:18:12:1 | 303 | 0.1515 | 168.56 | 134.44 | 0.08428 | 3Gy 25% partial-body | 6.5378 | 5.7185 | 7.2838 | 68.8959 | 58.148 | 78.7776 | 6.0582 | 5.2107 | 6.8543 | 82.6826 | 74.7155 | 89.1201 | 500
0x5and3 | B_C500 | 3000 | 2648:311:22:18:1 | 413 | 0.13767 | 211.34 | 201.66 | 0.070447 | 3Gy 16.7% partial-body | 6.5133 | 5.7859 | 7.1822 | 63.6949 | 53.8352 | 73.194 | 6.0236 | 5.3017 | 6.7079 | 80.1202 | 72.9662 | 86.1907 | 500
0x10and3 | B_C500 | 5500 | 4913:521:32:33:1 | 668 | 0.12145 | 298.29 | 369.71 | 0.054235 | 3Gy 9.1% partial-body | 6.4862 | 5.8787 | 7.0523 | 55.9745 | 47.5965 | 64.4825 | 5.9855 | 5.4216 | 6.526 | 76.6194 | 70.6852 | 81.9356 | 500
0and3 | B_C500 | 1000 | 836:143:14:6:1 | 193 | 0.193 | 144.817 | 48.183 | 0.14482 | 3Gy 50% partial-body | 7.1806 | 5.872 | 8.4156 | 85.5588 | 74.8733 | 93.0277 | [6 empty] | 500
0and3x2 | B_C500 | 1500 | 1219:244:26:9:2 | 331 | 0.22067 | 258.7254 | 72.2746 | 0.17248 | 3Gy 66.7% partial-body | 7.2166 | 6.2439 | 8.1483 | 89.1804 | 82.5524 | 94.0487 | [6 empty] | 500
0x2and3 | B_C500 | 1500 | 1289:185:16:9:1 | 248 | 0.16533 | 175.7254 | 72.2746 | 0.11715 | 3Gy 33.3% partial-body | 7.1324 | 5.9503 | 8.254 | 80.6866 | 69.7256 | 89.0753 | [6 empty] | 500
0x3and3 | B_C500 | 2000 | 1742:227:18:12:1 | 303 | 0.1515 | 206.6339 | 96.3661 | 0.10332 | 3Gy 25% partial-body | 7.1017 | 6.0154 | 8.1367 | 77.564 | 66.8665 | 86.1982 | [6 empty] | 500
0x5and3 | B_C500 | 3000 | 2648:311:22:18:1 | 413 | 0.13767 | 268.4509 | 144.5491 | 0.089484 | 3Gy 16.7% partial-body | 7.0648 | 6.1163 | 7.9739 | 73.7983 | 63.9125 | 82.2671 | [6 empty] | 500
0x10and3 | B_C500 | 5500 | 4913:521:32:33:1 | 668 | 0.12145 | 402.9933 | 265.0067 | 0.073272 | 3Gy 9.1% partial-body | 7.0241 | 6.2545 | 7.7676 | 68.2911 | 59.7691 | 76.0993 | [6 empty] | 500
0and3 | B_C500 | 1000 | 836:143:14:6:1 | 193 | 0.193 | 163.8539 | 29.1461 | 0.16385 | 3Gy 50% partial-body | 8.1258 | 6.0531 | 10.6776 | 90.7053 | 79.5862 | 97.0476 | [6 empty] | 500
0and3x2 | B_C500 | 1500 | 1219:244:26:9:2 | 331 | 0.22067 | 287.2809 | 43.7191 | 0.19152 | 3Gy 66.7% partial-body | 8.1945 | 6.585 | 10.0777 | 93.1908 | 86.5508 | 97.2724 | [6 empty] | 500
0x2and3 | B_C500 | 1500 | 1289:185:16:9:1 | 248 | 0.16533 | 204.2809 | 43.7191 | 0.13619 | 3Gy 33.3% partial-body | 8.0349 | 6.1834 | 10.2536 | 87.3343 | 75.7699 | 94.884 | [6 empty] | 500
0x3and3 | B_C500 | 2000 | 1742:227:18:12:1 | 303 | 0.1515 | 244.7078 | 58.2922 | 0.12235 | 3Gy 25% partial-body | 7.9775 | 6.2872 | 9.9657 | 85.1604 | 73.8037 | 93.163 | [6 empty] | 500
0x5and3 | B_C500 | 3000 | 2648:311:22:18:1 | 413 | 0.13767 | 325.5618 | 87.4382 | 0.10852 | 3Gy 16.7% partial-body | 7.9089 | 6.4431 | 9.5914 | 82.528 | 71.9732 | 90.6269 | [6 empty] | 500
0x10and3 | B_C500 | 5500 | 4913:521:32:33:1 | 668 | 0.12145 | 507.6965 | 160.3035 | 0.092308 | 3Gy 9.1% partial-body | 7.8341 | 6.6577 | 9.1444 | 78.7135 | 69.5372 | 86.4541 | [6 empty] | 500

## DNRI Calibration
Sample Name | Img Selection Model | Image Count | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
CalibrationSegment_VN-DNRI 0 Gy | C_B500 | 500 | 29 | 0.058 | 0.39 | 28.61 | 0.00078 | 0 | Calibration sample DC Frequency = No adjustment from ADCI
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 1.39 | 28.61 | 0.00278 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 7.39 | 28.61 | 0.01478 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 10.39 | 28.61 | 0.02078 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 24.39 | 28.61 | 0.04878 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 23.39 | 28.61 | 0.04678 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 66.39 | 28.61 | 0.13278 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 66.39 | 28.61 | 0.13278 | 2
CalibrationSegment_VN-DNRI 3 Gy | C_B500 | 500 | 260 | 0.52 | 231.39 | 28.61 | 0.46278 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 280.39 | 28.61 | 0.56078 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 271.6024 | 19.3976 | 0.80119 | 5
CalibrationSegment_VN-DNRI 0 Gy | C_B500 | 500 | 19.51 | 0.03902 | 0.39 | 19.12 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 10.88 | 19.12 | 0.02176 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 16.88 | 19.12 | 0.03376 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 19.88 | 19.12 | 0.03976 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 33.88 | 19.12 | 0.06776 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 32.88 | 19.12 | 0.06576 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 75.88 | 19.12 | 0.15176 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 75.88 | 19.12 | 0.15176 | 2
CalibrationSegment_VN-DNRI 3 Gy | C_B500 | 500 | 260 | 0.52 | 240.88 | 19.12 | 0.48176 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 289.88 | 19.12 | 0.57976 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 278.0366 | 12.9634 | 0.82017 | 5
VN-DNRI 0 Gy | C_B500 | 500 | 23 | 0.046 | 0.39 | 22.61 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 7.39 | 22.61 | 0.01478 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 13.39 | 22.61 | 0.02678 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 16.39 | 22.61 | 0.03278 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 30.39 | 22.61 | 0.06078 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 29.39 | 22.61 | 0.05878 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 72.39 | 22.61 | 0.14478 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 72.39 | 22.61 | 0.14478 | 2
VN-DNRI 3 Gy | C_B500 | 500 | 235 | 0.47 | 212.39 | 22.61 | 0.42478 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 286.39 | 22.61 | 0.57278 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 275.6704 | 15.3296 | 0.81319 | 5
VN-DNRI 0 Gy | C_B500 | 500 | 13.6891 | 0.027378 | 0.39 | 13.2991 | 0.00078 | 0 | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 16.7009 | 13.2991 | 0.033402 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 22.7009 | 13.2991 | 0.045402 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 25.7009 | 13.2991 | 0.051402 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 39.7009 | 13.2991 | 0.079402 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 38.7009 | 13.2991 | 0.077402 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 81.7009 | 13.2991 | 0.1634 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 81.7009 | 13.2991 | 0.1634 | 2
VN-DNRI 3 Gy | C_B500 | 500 | 235 | 0.47 | 221.7009 | 13.2991 | 0.4434 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 295.7009 | 13.2991 | 0.5914 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 281.9832 | 9.0168 | 0.83181 | 5
TestSegment_VN-DNRI 0 Gy | C_B500 | 500 | 41 | 0.082 | 0.39 | 40.61 | 0.00078 | 0 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 0.39 | 29.61 | 0.00078 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 0.39 | 35.61 | 0.00078 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 0.39 | 38.61 | 0.00078 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 12.39 | 40.61 | 0.02478 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 11.39 | 40.61 | 0.02278 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 54.39 | 40.61 | 0.10878 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 54.39 | 40.61 | 0.10878 | 2
TestSegment_VN-DNRI 3 Gy | C_B500 | 500 | 250 | 0.5 | 209.39 | 40.61 | 0.41878 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 268.39 | 40.61 | 0.53678 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 263.4664 | 27.5336 | 0.77719 | 5
TestSegment_VN-DNRI 0 Gy | C_B500 | 500 | 31.7206 | 0.063441 | 0.39 | 31.3306 | 0.00078 | 0 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
VN-DNRI0.1Gy | C_B500 | 500 | 30 | 0.06 | 0.39 | 29.61 | 0.00078 | 0.1
VN-DNRI0.25Gy | C_B500 | 500 | 36 | 0.072 | 4.6694 | 31.3306 | 0.0093387 | 0.25
VN-DNRI0.5Gy | C_B500 | 500 | 39 | 0.078 | 7.6694 | 31.3306 | 0.015339 | 0.5
VN-DNRI0.75Gy | C_B500 | 500 | 53 | 0.106 | 21.6694 | 31.3306 | 0.043339 | 0.75
VN-DNRI1.0Gy | C_B500 | 500 | 52 | 0.104 | 20.6694 | 31.3306 | 0.041339 | 1
VN-DNRI1.5Gy | C_B500 | 500 | 95 | 0.19 | 63.6694 | 31.3306 | 0.12734 | 1.5
VN-DNRI2Gy | C_B500 | 500 | 95 | 0.19 | 63.6694 | 31.3306 | 0.12734 | 2
TestSegment_VN-DNRI 3 Gy | C_B500 | 500 | 250 | 0.5 | 218.6694 | 31.3306 | 0.43734 | 3
VN-DNRI4Gy | C_B500 | 500 | 309 | 0.618 | 277.6694 | 31.3306 | 0.55534 | 4
VN-DNRI5Gy | C_B500 | 339 | 291 | 0.85841 | 269.7578 | 21.2422 | 0.79575 | 5

## DNRI WholeBody
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Notes
VN-DNRI-Exercise-2.3Gy | C_B500 | 500 | 348:120:29:3 | 187 | 0.374 | 164.39 | 22.61 | 0.32878 | 2.3 | Not Jackknifed ¦ Calibration sample DC Frequency = No adjustment from ADCI
VN-DNRI-Exercise-1.8Gy | C_B500 | 500 | 397:92:9:1:1 | 117 | 0.234 | 94.39 | 22.61 | 0.18878 | 1.8
VN-DNRI-Exercise-0.2Gy | C_B500 | 500 | 455:40:3:2 | 52 | 0.104 | 29.39 | 22.61 | 0.05878 | 0.2
VN-DNRI-Exercise-2.3Gy | C_B500 | 500 | 348:120:29:3 | 187 | 0.374 | 173.7009 | 13.2991 | 0.3474 | 2.3 | Not Jackknifed ¦ Calibration sample DC Frequency = ADCI DC Freq - 2SD
VN-DNRI-Exercise-1.8Gy | C_B500 | 500 | 397:92:9:1:1 | 117 | 0.234 | 103.7009 | 13.2991 | 0.2074 | 1.8
VN-DNRI-Exercise-0.2Gy | C_B500 | 500 | 455:40:3:2 | 52 | 0.104 | 38.7009 | 13.2991 | 0.077402 | 0.2

## DNRI Synthetic
Sample Name | Img Selection Model | Img Count | Bins | DC Count | DC Frequency | TP DC Count | FP DC Count | Adjusted DC Frequency | Actual Dose | Base Image Count | Notes
0and3 | C_B500 | 1000 | 765:190:36:7:2 | 291 | 0.291 | 233.78 | 57.22 | 0.23378 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = No adjustment from ADCI
0and3x2 | C_B500 | 1500 | 1070:341:71:14:4 | 541 | 0.36067 | 455.17 | 85.83 | 0.30345 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1225:229:37:7:2 | 332 | 0.22133 | 246.17 | 85.83 | 0.16411 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1685:268:38:7:2 | 373 | 0.1865 | 258.56 | 114.44 | 0.12928 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2605:346:40:7:2 | 455 | 0.15167 | 283.34 | 171.66 | 0.094447 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 4905:541:45:7:2 | 660 | 0.12 | 345.29 | 314.71 | 0.06278 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 765:190:36:7:2 | 291 | 0.291 | 252.76 | 38.24 | 0.25276 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq - 2SD
0and3x2 | C_B500 | 1500 | 1070:341:71:14:4 | 541 | 0.36067 | 483.64 | 57.36 | 0.32243 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1225:229:37:7:2 | 332 | 0.22133 | 274.64 | 57.36 | 0.18309 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1685:268:38:7:2 | 373 | 0.1865 | 296.52 | 76.48 | 0.14826 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2605:346:40:7:2 | 455 | 0.15167 | 340.28 | 114.72 | 0.11343 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 4905:541:45:7:2 | 660 | 0.12 | 449.68 | 210.32 | 0.08176 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 783:157:50:8:2 | 289 | 0.289 | 207.78 | 81.22 | 0.20778 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = DC Freq of test sample (No adjustments from ADCI)
0and3x2 | C_B500 | 1500 | 1089:296:96:15:4 | 549 | 0.366 | 427.17 | 121.83 | 0.28478 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1260:175:54:9:2 | 318 | 0.212 | 196.17 | 121.83 | 0.13078 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1737:193:58:10:2 | 347 | 0.1735 | 184.56 | 162.44 | 0.09228 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2691:229:66:12:2 | 405 | 0.135 | 161.34 | 243.66 | 0.05378 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5076:319:86:17:2 | 550 | 0.1 | 103.29 | 446.71 | 0.01878 | 3Gy 9.1% partial-body | 500
0and3 | C_B500 | 1000 | 783:157:50:8:2 | 289 | 0.289 | 226.3387 | 62.6613 | 0.22634 | 3Gy 50% partial-body | 500 | Calibration sample DC Frequency = ADCI DC Freq of test sample - 2SD
0and3x2 | C_B500 | 1500 | 1089:296:96:15:4 | 549 | 0.366 | 455.0081 | 93.9919 | 0.30334 | 3Gy 66.7% partial-body | 500
0x2and3 | C_B500 | 1500 | 1260:175:54:9:2 | 318 | 0.212 | 224.0081 | 93.9919 | 0.14934 | 3Gy 33.3% partial-body | 500
0x3and3 | C_B500 | 2000 | 1737:193:58:10:2 | 347 | 0.1735 | 221.6775 | 125.3225 | 0.11084 | 3Gy 25% partial-body | 500
0x5and3 | C_B500 | 3000 | 2691:229:66:12:2 | 405 | 0.135 | 217.0162 | 187.9838 | 0.072339 | 3Gy 16.7% partial-body | 500
0x10and3 | C_B500 | 5500 | 5076:319:86:17:2 | 550 | 0.1 | 205.363 | 344.637 | 0.037339 | 3Gy 9.1% partial-body | 500