FBXW11 interaction with β-catenin NanoBRET assay

Magdalena Szewczyk, Aidan Levinsky, Matthieu Schapira

Methods

HEK293T cells were plated in 96-well plates (2 x 104/well) and 4 h later transfected with 0.03 µg/well C-terminally HT-tagged FBXW11 (WT or R447E mutant) or HT and 0.001 µg/well C-terminally NL-tagged B-catenin using Xtreme gene HP transfection reagent (Roche), following manufacturer’s instructions. Next day media was replaced with 40 µl of DMEM/F12 (no phenol red) +/- HaloTag® NanoBRET™ 618 Ligand (1 µl/ml, Promega) and 4 h later 10 µl of NanoBRET™ Nano-Glo Substrate (10 µl/ml in DMEMF12 no phenol red, Promega) was added, and the signal was read. Donor emission at 450 nm (filter: 450 nm/BP 80nm) and acceptor emission at 618 nm (filter: 610nm/LP) was measured within 10 minutes of substrate addition using CLARIOstar microplate reader (Mandel). Mean corrected NanoBRET ratios were determined by subtracting the mean of 618/460 signal from cells without NanoBRET™ 618 Ligand x 1000 from the mean of 618/460 signal from cells with NanoBRET™ 618 Ligand x 1000.

Constructs:

B-catenin was cloned into pNLF1-C vector and FBXW11 was cloned into pHTC – HaloTag vector (Promega).  R447E mutant was made using Q5® Site-Directed Mutagenesis kit (NEB), following the manufacturer’s instructions.

FBXW11(Q9UKB1)

MEPDSVIEDKTIELMCSVPRSLWLGCANLVESMCALSCLQSMPSVRCLQISNGTSSVIVSRKRPSEGNYQKEKDLCIKYFDQWSESDQVEFVEHLISRMCHYQHGHINSYLKPMLQRDFITALPEQGLDHIAENILSYLDARSLCAAELVCKEWQRVISEGMLWKKLIERMVRTDPLWKGLSERRGWDQYLFKNRPTDGPPNSFYRSLYPKIIQDIETIESNWRCGRHNLQRIQCRSENSKGVYCLQYDDEKIISGLRDNSIKIWDKTSLECLKVLTGHTGSVLCLQYDERVIVTGSSDSTVRVWDVNTGEVLNTLIHHNEAVLHLRFSNGLMVTCSKDRSIAVWDMASATDITLRRVLVGHRAAVNVVDFDDKYIVSASGDRTIKVWSTSTCEFVRTLNGHKRGIACLQYRDRLVVSGSSDNTIRLWDIECGACLRVLEGHEELVRCIRFDNKRIVSGAYDGKIKVWDLQAALDPRAPASTLCLRTLVEHSGRVFRLQFDEFQIISSSHDDTILIWDFLNVPPSAQNETRSPSRTYTYISR

FBXW11(R447E)

MEPDSVIEDKTIELMCSVPRSLWLGCANLVESMCALSCLQSMPSVRCLQISNGTSSVIVSRKRPSEGNYQKEKDLCIKYFDQWSESDQVEFVEHLISRMCHYQHGHINSYLKPMLQRDFITALPEQGLDHIAENILSYLDARSLCAAELVCKEWQRVISEGMLWKKLIERMVRTDPLWKGLSERRGWDQYLFKNRPTDGPPNSFYRSLYPKIIQDIETIESNWRCGRHNLQRIQCRSENSKGVYCLQYDDEKIISGLRDNSIKIWDKTSLECLKVLTGHTGSVLCLQYDERVIVTGSSDSTVRVWDVNTGEVLNTLIHHNEAVLHLRFSNGLMVTCSKDRSIAVWDMASATDITLRRVLVGHRAAVNVVDFDDKYIVSASGDRTIKVWSTSTCEFVRTLNGHKRGIACLQYRDRLVVSGSSDNTIRLWDIECGACLRVLEGHEELVECIRFDNKRIVSGAYDGKIKVWDLQAALDPRAPASTLCLRTLVEHSGRVFRLQFDEFQIISSSHDDTILIWDFLNVPPSAQNETRSPSRTYTYISR

B-catenin (P35222)

MATQADLMELDMAMEPDRKAAVSHWQQQSYLDSGIHSGATTTAPSLSGKGNPEEEDVDTSQVLYEWEQGFSQSFTQEQVADIDGQYAMTRAQRVRAAMFPETLDEGMQIPSTQFDAAHPTNVQRLAEPSQMLKHAVVNLINYQDDAELATRAIPELTKLLNDEDQVVVNKAAVMVHQLSKKEASRHAIMRSPQMVSAIVRTMQNTNDVETARCTAGTLHNLSHHREGLLAIFKSGGIPALVKMLGSPVDSVLFYAITTLHNLLLHQEGAKMAVRLAGGLQKMVALLNKTNVKFLAITTDCLQILAYGNQESKLIILASGGPQALVNIMRTYTYEKLLWTTSRVLKVLSVCSSNKPAIVEAGGMQALGLHLTDPSQRLVQNCLWTLRNLSDAATKQEGMEGLLGTLVQLLGSDDINVVTCAAGILSNLTCNNYKNKMMVCQVGGIEALVRTVLRAGDREDITEPAICALRHLTSRHQEAEMAQNAVRLHYGLPVVVKLLHPPSHWPLIKATVGLIRNLALCPANHAPLREQGAIPRLVQLLVRAHQDTQRRTSMGGTQQQFVEGVRMEEIVEGCTGALHILARDVHNRIVIRGLNTIPLFVQLLYSPIENIQRVAAGVLCELAQDKEAAEAIEAEGATAPLTELLHSRNEGVATYAAAVLFRMSEDKPQDYKKRLSVELTSSLFRTEPMAWNETADLGLDIGAQGEPLGYRQDDPSYRSFHSGGYGQDALGMDPMMEHEMGGHHPGADYPVDGLPDLGHAQDLMDGLPPGDSNQLAWFDTDL

Fig.1. FBXW11 interaction with B-catenin - NanoBRET assay. HEK293T cells were co-transfected with C- or N-terminally NanoLuc (NL)-tagged B-catenin or NL alone and C- or N-terminally Halo-tagged (HT) FBXW11 or HT alone for 24 h. The interaction was measured using NanoBRET assay. The results are MEAN of 2 technical replicates.

Fig.2. R447E mutation decreases the interaction of FBXW11 with B-catenin. HEK293T cells were co-transfected with C-terminally Halo-tagged (HT) FBXW11 or HT and C-terminally NanoLuc (NL)-tagged B-catenin for 24 h. The interaction was measured using NanoBRET assay. The results are MEAN of 2 technical replicates.