Waveform Data File Information Sheet

Upload link: https://zenodo.org/communities/supraemi/
(Log-in to Zenodo first, otherwise the link above won’t go to the SupraEMI  site)

Details of Waveform Data

| Waveform Filename: | LedLampe_rawVoltagePhase_Data_V1.csv |
| --- | --- |
| Waveform Description: | The LED lamp is screwed in a socket with power cable. The voltage is recorded at the output of a LISN for 10 seconds with 500 kSa/s sampling frequency. In the csv file, one column is the time, the other is the voltage value. |
| Date of Waveform Recording/Synthesis: | 12th of March 2021 |
| Author/Owner: | LNE, Laboratoire National de Métrologie et d’Essais |
| Funding Source Acknowledgement: | JRP 18NRM05 SupraEMI – EMPIR project |

Details of Data file (All data files should be plain ASCII text or CSV files)

| Data file column format: Time, Amplitude |  |
| --- | --- |
| (e.g.: dd/mm/yy, hh:mm:ss:nn, VLine0, VLine1, VLine2, ILine0, Iline1, ILine2) |  |
| Column Delimiter: (e.g. comma) | comma |
| End of line Delimiter: (if known, e.g. carriage return, line-feed) | CR LF |
| Sampling rate (samples per second): | 500 kSa/s |
| Y-axis units (e.g. kV): | V |
| Y-axis scaling factor (for each column): | 1; 1 |
| Y-axis resolution: | 12 bit (double precision) |

Detail of Recording Instrumentation (if applicable)

| 3dB Bandwidth of recording instrument and associated transducer(s): | 9 kHz to 150 kHz |
| --- | --- |
| Was an anti-aliasing filter used with the recording instrument?: |  |
| Manufacturer and model number(s) | Teledyne LeCroy HDO8108A |

Details of public power grid or laboratory power source (if applicable)

| Supply source: (public power grid or steady frequency power amplifier etc.): | LISN (Line impedance stabilization network) ESH3-Z5 |
| --- | --- |
| Nominal frequency of supply source (Hz): | 50 Hz |
| Nominal voltage level of supply source (V rms): | 230 V |

When Uploading please note: It is the responsibility of the person uploading the data to ensure that they have full permission to publish the data.  The specific-location, times and details of the recording site should not be disclosed without the site/equipment/data-owner’s permission.  Trade-names should not be disclosed if they are likely to be detrimental to a manufacturer in any way. Ensure that all international data-protection and copyright laws are complied with.

When Downloading and using the data please note: This data is supplied for research purposes. If this data is used the support any form of public-domain publication, the source should be fully acknowledged and cited using the associated DOI and data owners details.  The publishers and data owners take no responsibility for any conclusions/decisions made from using the data.