## Result sheet1
Method name: Real-time Glo assay
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1708003802
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2
Date: |  |  |  | 2019-04-25
Time: |  |  |  | 2:38 PM
System |  |  |  | IBMMPC127
User |  |  |  | BIOMOLNT\grppeinelt
Plate |  |  |  | [COS96fw] - Costar 96 Flat White Cat. No.: 3600/3362/3917/3912/3922/3596
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | Humidity cassette -Small
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Gas
Temperature
Kinetic
|  | Luminescence |  |  |  | real-time glo
Name |  |  |  | COS96fw
Plate layout
Plate area |  |  |  | B2-E10
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | SM1_1 | SM1_2 | SM1_3 | SM2_1 | SM2_2 | SM2_3 | SM3_1 | SM3_2 | SM3_3 | None | None
C | None | SM4_1 | SM4_2 | SM4_3 | SM5_1 | SM5_2 | SM5_3 | SM6_1 | SM6_2 | SM6_3 | None | None
D | None | SM7_1 | SM7_2 | SM7_3 | SM8_1 | SM8_2 | SM8_3 | SM9_1 | SM9_2 | SM9_3 | None | None
E | None | SM10_1 | SM10_2 | SM10_3 | SM11_1 | SM11_2 | SM11_3 | BL1_1 | BL1_2 | BL1_3 | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2019-04-22 14:38:09
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 73
Interval time |  |  |  | 01:00:00 | hh:mm:ss
Mode | Luminescence
Name | real-time glo
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 500 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-E10
Start Time |  |  |  | 2019-04-22 14:38:16
real-time glo
Cycle Nr. | Time [s] | CO2 % | O2 % | Temp. [°C] | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10
1 | 0 | 5.7 |  | 37.4 | 202924 | 293710 | 269886 | 224563 | 303156 | 297322 | 233603 | 250053 | 236910 | 463728 | 447991 | 428785 | 449110 | 415473 | 424893 | 658725 | 682061 | 660297 | 200429 | 300513 | 357336 | 403209 | 351076 | 397371 | 343608 | 308288 | 316075 | 356453 | 380871 | 280166 | 606495 | 591832 | 533287 | 863 | 597 | 519
2 | 3599.072 | 5.1 |  | 37 | 247873 | 361323 | 334154 | 281664 | 376085 | 366740 | 285989 | 304749 | 284537 | 544425 | 528359 | 510784 | 539116 | 502604 | 513476 | 789625 | 813619 | 763606 | 217444 | 315303 | 372552 | 480911 | 426736 | 480149 | 416921 | 372292 | 373379 | 374507 | 403156 | 318281 | 696303 | 684338 | 616011 | 956 | 738 | 692
3 | 7198.849 | 5.1 |  | 37 | 280641 | 398770 | 372757 | 319963 | 419217 | 410178 | 316317 | 331420 | 315592 | 587159 | 574911 | 552960 | 582921 | 545637 | 556748 | 846207 | 867526 | 809382 | 233351 | 348386 | 410021 | 523713 | 466456 | 521716 | 464511 | 418294 | 414378 | 412934 | 445073 | 352570 | 746570 | 732551 | 665256 | 1030 | 818 | 706
4 | 10798.628 | 4.9 |  | 37 | 302284 | 427818 | 399087 | 345482 | 448642 | 438527 | 336071 | 351455 | 334442 | 618165 | 604751 | 582370 | 613928 | 577695 | 587773 | 883014 | 903860 | 847883 | 251213 | 371358 | 435456 | 551817 | 493920 | 549011 | 497710 | 448084 | 444690 | 441469 | 472688 | 377605 | 778612 | 769185 | 699301 | 1068 | 910 | 722
5 | 14398.411 | 5 |  | 37 | 320981 | 450113 | 422370 | 368729 | 474339 | 465752 | 353094 | 369774 | 353536 | 644572 | 633450 | 608451 | 639248 | 603390 | 615967 | 918355 | 936766 | 882282 | 266410 | 390889 | 458131 | 578755 | 521591 | 579024 | 523760 | 470541 | 467685 | 464472 | 499903 | 401222 | 811255 | 799607 | 729474 | 1191 | 971 | 853
6 | 17998.188 | 5 |  | 37 | 337629 | 476781 | 443851 | 388261 | 499909 | 490776 | 373479 | 388030 | 370530 | 670954 | 663535 | 635787 | 663606 | 630495 | 639600 | 945188 | 964202 | 911825 | 279795 | 410585 | 479653 | 607846 | 544908 | 602988 | 550343 | 494807 | 491804 | 485493 | 523958 | 420356 | 838635 | 828018 | 757975 | 1297 | 1006 | 896
7 | 21597.965 | 4.9 |  | 37 | 354835 | 494464 | 464932 | 408965 | 521019 | 511200 | 388133 | 404689 | 385554 | 696129 | 682370 | 660049 | 690526 | 651328 | 661355 | 973863 | 994681 | 937877 | 293632 | 428881 | 497655 | 629561 | 567884 | 626684 | 572450 | 516273 | 514729 | 504915 | 543597 | 438247 | 863346 | 851140 | 780696 | 1385 | 1181 | 937
8 | 25197.744 | 5 |  | 37 | 370939 | 517913 | 487074 | 429695 | 541704 | 531204 | 405151 | 418504 | 402193 | 722470 | 708996 | 685368 | 710886 | 674301 | 684374 | 998847 | 1017954 | 958420 | 307674 | 448221 | 516743 | 649871 | 589063 | 647817 | 595362 | 539330 | 533468 | 524733 | 565576 | 459374 | 885107 | 874429 | 803123 | 1493 | 1117 | 1056
9 | 28797.525 | 5 |  | 37 | 388257 | 539163 | 507484 | 449061 | 567061 | 553089 | 423234 | 438573 | 421694 | 746833 | 734816 | 710731 | 735357 | 696742 | 708656 | 1024161 | 1044058 | 984141 | 323195 | 465733 | 537742 | 676608 | 612203 | 671782 | 618627 | 558630 | 556265 | 546257 | 584812 | 474987 | 904211 | 896599 | 825258 | 1507 | 1163 | 1121
10 | 32397.305 | 5 |  | 37 | 405220 | 563310 | 528790 | 466566 | 588183 | 573897 | 441262 | 456413 | 438311 | 772441 | 760380 | 736574 | 757441 | 722780 | 729246 | 1047003 | 1066343 | 1007925 | 337848 | 482698 | 558357 | 698042 | 635323 | 693806 | 642489 | 581609 | 576248 | 568125 | 603909 | 493744 | 924124 | 915659 | 840206 | 1474 | 1262 | 1070
11 | 35997.081 | 5 |  | 37 | 424469 | 582234 | 549770 | 485694 | 608153 | 595092 | 462872 | 474652 | 455754 | 799855 | 785553 | 758907 | 782050 | 743075 | 754050 | 1074323 | 1091319 | 1030517 | 349956 | 503565 | 577927 | 722361 | 655551 | 717132 | 665775 | 604567 | 596478 | 586865 | 622381 | 513241 | 935513 | 931247 | 860176 | 1531 | 1303 | 1081
12 | 39596.86 | 5 |  | 37 | 439180 | 604558 | 571018 | 505184 | 628238 | 614252 | 479659 | 493305 | 474116 | 821140 | 810308 | 780991 | 804675 | 766335 | 778327 | 1098068 | 1112516 | 1050651 | 368060 | 521126 | 598679 | 746517 | 678435 | 741435 | 686511 | 622850 | 617671 | 608267 | 648863 | 530706 | 955884 | 944908 | 873467 | 1585 | 1259 | 1259
13 | 43196.639 | 4.9 |  | 37 | 456457 | 626930 | 591540 | 525825 | 649546 | 632882 | 497407 | 512278 | 493863 | 845717 | 833700 | 806044 | 823612 | 790190 | 794301 | 1121902 | 1135684 | 1073883 | 382276 | 539249 | 619429 | 769583 | 698989 | 762220 | 707880 | 643768 | 637596 | 626081 | 666416 | 548165 | 967221 | 955815 | 885658 | 1744 | 1356 | 1364
14 | 46796.421 | 5 |  | 37 | 474960 | 645827 | 610544 | 542340 | 666302 | 649717 | 519111 | 531296 | 513463 | 868609 | 852657 | 827756 | 844980 | 811563 | 819032 | 1142043 | 1157536 | 1092921 | 397462 | 557330 | 637364 | 790706 | 717964 | 781037 | 725984 | 660818 | 656760 | 645522 | 687210 | 565914 | 982401 | 970262 | 901418 | 1690 | 1354 | 1300
15 | 50396.196 | 4.9 |  | 37 | 490344 | 666224 | 631054 | 563204 | 689371 | 671727 | 535765 | 549276 | 530621 | 891225 | 878570 | 848542 | 869182 | 831687 | 837616 | 1158809 | 1174339 | 1115990 | 411344 | 575075 | 655952 | 811214 | 738569 | 806064 | 745025 | 682129 | 675012 | 667183 | 705397 | 584044 | 994117 | 985283 | 912946 | 1734 | 1522 | 1282
16 | 53995.974 | 5 |  | 37 | 506441 | 688777 | 654196 | 579626 | 707399 | 694753 | 556769 | 572525 | 550776 | 911968 | 896710 | 873284 | 887904 | 856083 | 861976 | 1180653 | 1196198 | 1133083 | 424097 | 592133 | 675768 | 832512 | 761585 | 823247 | 768041 | 701811 | 697125 | 683158 | 724375 | 601917 | 1006789 | 995506 | 929135 | 1698 | 1426 | 1312
17 | 57595.753 | 4.9 |  | 37 | 526661 | 708868 | 670872 | 597047 | 729303 | 711705 | 574470 | 589374 | 567446 | 935848 | 918145 | 890870 | 907943 | 870291 | 879680 | 1198114 | 1213243 | 1151762 | 441240 | 610929 | 697170 | 851187 | 780231 | 846152 | 784139 | 719905 | 713918 | 701442 | 745875 | 618388 | 1019024 | 1007300 | 938523 | 1762 | 1466 | 1354
18 | 61195.533 | 5 |  | 37 | 539819 | 726420 | 692709 | 617908 | 745246 | 728175 | 593230 | 610037 | 588216 | 956814 | 937622 | 913129 | 928038 | 891287 | 898215 | 1218747 | 1230059 | 1168283 | 453488 | 625884 | 710706 | 875194 | 802355 | 864632 | 806234 | 738804 | 732890 | 720145 | 763453 | 635352 | 1031431 | 1019433 | 952781 | 1959 | 1539 | 1479
19 | 64795.309 | 5 |  | 37 | 558303 | 750825 | 716421 | 636770 | 768774 | 752093 | 616462 | 630899 | 609505 | 977751 | 965552 | 936009 | 953737 | 916723 | 918884 | 1243104 | 1257266 | 1188093 | 472565 | 648939 | 732777 | 895369 | 823873 | 884325 | 831175 | 759930 | 752730 | 742783 | 785056 | 655986 | 1045916 | 1031085 | 964804 | 1978 | 1574 | 1422
20 | 68395.089 | 5 |  | 37 | 577662 | 772996 | 735811 | 661367 | 793409 | 777161 | 642325 | 656639 | 630741 | 1004777 | 988348 | 962244 | 977098 | 940164 | 945853 | 1268510 | 1281162 | 1217599 | 488322 | 667196 | 755859 | 920049 | 844473 | 909498 | 854781 | 786275 | 777626 | 765769 | 808247 | 677593 | 1066275 | 1052293 | 985264 | 2023 | 1688 | 1536
21 | 71994.867 | 5 |  | 37 | 596812 | 795673 | 759411 | 684476 | 816423 | 799287 | 663592 | 675868 | 655136 | 1025145 | 1016798 | 985941 | 999546 | 961372 | 972732 | 1289434 | 1301980 | 1238938 | 504245 | 685223 | 778356 | 942299 | 869795 | 932798 | 877002 | 806902 | 798257 | 786345 | 830110 | 696542 | 1076211 | 1064592 | 1001257 | 1956 | 1816 | 1512
22 | 75594.651 | 5 |  | 37 | 611252 | 813756 | 776210 | 699895 | 835226 | 820129 | 686344 | 696158 | 673607 | 1049026 | 1033671 | 1007258 | 1011793 | 980383 | 981830 | 1307762 | 1319828 | 1256825 | 520063 | 703528 | 797211 | 960657 | 890578 | 952163 | 895804 | 824387 | 816236 | 801103 | 847957 | 712079 | 1077377 | 1073120 | 1007255 | 1978 | 1782 | 1726
23 | 79194.429 | 5 |  | 37 | 625803 | 834108 | 794069 | 715322 | 849408 | 832273 | 702303 | 716796 | 690481 | 1058930 | 1046981 | 1020653 | 1026504 | 995117 | 999129 | 1318886 | 1331372 | 1263057 | 530515 | 718160 | 808990 | 978513 | 902066 | 966600 | 909401 | 838592 | 827315 | 813562 | 859809 | 726712 | 1083795 | 1077646 | 1010427 | 2206 | 1842 | 1588
24 | 82794.213 | 5 |  | 37 | 648194 | 862253 | 821504 | 741259 | 879654 | 858730 | 729551 | 743665 | 717716 | 1088896 | 1074479 | 1048137 | 1058905 | 1021484 | 1024965 | 1349164 | 1361898 | 1294796 | 551632 | 743173 | 835612 | 1005542 | 929464 | 997586 | 936416 | 867903 | 855919 | 842622 | 888565 | 751421 | 1102977 | 1098461 | 1030243 | 2143 | 2011 | 1667
25 | 86393.984 | 5 |  | 37 | 665736 | 878860 | 841542 | 762210 | 897339 | 878464 | 750571 | 764421 | 739018 | 1105738 | 1091623 | 1068093 | 1071310 | 1038206 | 1045050 | 1359444 | 1375477 | 1315503 | 566587 | 758347 | 849721 | 1026025 | 949139 | 1015438 | 954752 | 886758 | 871260 | 857197 | 901803 | 767057 | 1107062 | 1105174 | 1038720 | 2342 | 1996 | 1688
26 | 89993.768 | 5 |  | 37 | 677264 | 894204 | 854855 | 773234 | 909366 | 891762 | 766791 | 780960 | 754657 | 1115208 | 1103488 | 1077526 | 1089569 | 1052405 | 1052174 | 1366633 | 1380299 | 1316109 | 574375 | 771526 | 862848 | 1034077 | 964044 | 1022628 | 964598 | 899774 | 883272 | 871105 | 916402 | 777290 | 1107490 | 1101957 | 1044418 | 2294 | 1992 | 1784
27 | 93593.547 | 5 |  | 37 | 687478 | 905687 | 867237 | 788661 | 919615 | 903141 | 780823 | 794513 | 769704 | 1128468 | 1110513 | 1085656 | 1095152 | 1058891 | 1060804 | 1372243 | 1382128 | 1314596 | 587277 | 778311 | 871694 | 1046329 | 972037 | 1037256 | 973913 | 909045 | 893555 | 880339 | 923427 | 783299 | 1098725 | 1097846 | 1040234 | 2326 | 2026 | 1746
28 | 97193.324 | 5 |  | 37 | 699019 | 917347 | 880842 | 800268 | 931385 | 911631 | 796205 | 811417 | 784334 | 1138596 | 1123083 | 1098419 | 1101586 | 1070129 | 1067533 | 1370828 | 1384731 | 1319224 | 594778 | 791523 | 883209 | 1057927 | 986083 | 1042443 | 986412 | 917123 | 899595 | 885527 | 932985 | 795600 | 1091108 | 1089534 | 1034957 | 2291 | 2075 | 1871
29 | 100793.104 | 5 |  | 37 | 709660 | 929862 | 892596 | 816620 | 943477 | 921690 | 812063 | 826349 | 800534 | 1149251 | 1138060 | 1108631 | 1114837 | 1075701 | 1078950 | 1377218 | 1392031 | 1327511 | 606238 | 802563 | 892511 | 1066838 | 996471 | 1056643 | 995962 | 924454 | 913400 | 894896 | 943794 | 807339 | 1091808 | 1086969 | 1035857 | 2414 | 2078 | 1816
30 | 104392.882 | 5 |  | 37 | 723606 | 946530 | 904424 | 827654 | 952435 | 936425 | 827066 | 841663 | 812603 | 1159216 | 1145860 | 1119075 | 1121555 | 1084464 | 1090905 | 1382252 | 1390056 | 1331566 | 618403 | 813562 | 904345 | 1082504 | 1008951 | 1063804 | 1001102 | 936080 | 920280 | 907080 | 952975 | 817760 | 1087937 | 1086093 | 1032703 | 2415 | 1965 | 1827
31 | 107992.663 | 5 |  | 37 | 733476 | 958178 | 917713 | 840070 | 965560 | 950554 | 846456 | 857774 | 831229 | 1169901 | 1160387 | 1132306 | 1132645 | 1095469 | 1098407 | 1385060 | 1392247 | 1336458 | 629020 | 823209 | 913584 | 1093203 | 1020109 | 1080289 | 1014907 | 947572 | 931339 | 918157 | 963154 | 826300 | 1088524 | 1080940 | 1033185 | 2295 | 1995 | 1841
32 | 111592.45 | 5.1 |  | 37 | 746075 | 968121 | 930125 | 850628 | 976522 | 960020 | 856883 | 869626 | 842297 | 1180778 | 1166192 | 1141457 | 1140406 | 1103654 | 1109248 | 1392727 | 1394427 | 1339118 | 639509 | 837007 | 924892 | 1102457 | 1028529 | 1089040 | 1020454 | 958430 | 940730 | 927487 | 975707 | 832572 | 1085021 | 1078967 | 1027308 | 2435 | 2075 | 1945
33 | 115192.221 | 5.1 |  | 37 | 758112 | 980049 | 940822 | 863857 | 988023 | 969498 | 875962 | 883933 | 852039 | 1188488 | 1173430 | 1148262 | 1146303 | 1110603 | 1115733 | 1390887 | 1400615 | 1341878 | 648622 | 842063 | 938573 | 1112761 | 1041686 | 1098500 | 1028681 | 964007 | 944449 | 937601 | 982829 | 844064 | 1071800 | 1072527 | 1023533 | 2520 | 2165 | 1887
34 | 118792.004 | 5 |  | 37 | 768755 | 992934 | 952976 | 874956 | 995511 | 978971 | 887388 | 897337 | 870644 | 1201836 | 1189430 | 1159149 | 1155186 | 1119170 | 1124883 | 1393023 | 1402364 | 1344192 | 657300 | 852584 | 944535 | 1121719 | 1050500 | 1104093 | 1038952 | 968187 | 954965 | 947764 | 992991 | 853788 | 1072426 | 1065555 | 1019990 | 2369 | 2139 | 1839
35 | 122391.778 | 5.1 |  | 37 | 779951 | 1003886 | 966190 | 886258 | 1005186 | 990233 | 900198 | 911213 | 881913 | 1209671 | 1196847 | 1170885 | 1165203 | 1129251 | 1127160 | 1396343 | 1406159 | 1352340 | 666352 | 866100 | 954899 | 1132690 | 1061408 | 1115986 | 1047324 | 982642 | 960453 | 957405 | 1000204 | 858927 | 1068062 | 1057945 | 1015755 | 2325 | 2181 | 1925
36 | 125991.558 | 5 |  | 37 | 791330 | 1015162 | 974339 | 897412 | 1014200 | 999537 | 910872 | 923994 | 897645 | 1222264 | 1205365 | 1184510 | 1174496 | 1137229 | 1141417 | 1402209 | 1408010 | 1354021 | 676252 | 872564 | 962490 | 1138798 | 1073863 | 1126280 | 1052623 | 989642 | 966063 | 962148 | 1008687 | 867621 | 1066205 | 1053311 | 1012578 | 2380 | 2154 | 1720
37 | 129591.342 | 5 |  | 37 | 799474 | 1019212 | 985737 | 904610 | 1023298 | 1009477 | 926790 | 936972 | 905675 | 1229609 | 1215051 | 1191357 | 1179365 | 1143331 | 1142343 | 1398196 | 1407397 | 1354701 | 683395 | 882946 | 971963 | 1146580 | 1079409 | 1133626 | 1060656 | 989825 | 971038 | 964911 | 1011843 | 875210 | 1053346 | 1047727 | 1007703 | 2421 | 2279 | 1803
38 | 133191.116 | 5 |  | 37 | 809251 | 1033784 | 997771 | 917535 | 1033320 | 1016895 | 939152 | 949276 | 916172 | 1241196 | 1221951 | 1196478 | 1187145 | 1151587 | 1155038 | 1400502 | 1405920 | 1357787 | 692373 | 893171 | 983381 | 1160296 | 1088207 | 1144438 | 1065848 | 1000579 | 980723 | 978101 | 1018561 | 883885 | 1053422 | 1044988 | 1005061 | 2474 | 2222 | 2032
39 | 136790.902 | 5 |  | 37 | 814771 | 1041186 | 1006598 | 922902 | 1038489 | 1029119 | 947516 | 953873 | 926366 | 1249259 | 1227276 | 1204389 | 1195682 | 1157153 | 1157895 | 1398238 | 1402591 | 1357493 | 703182 | 903172 | 991278 | 1168836 | 1098036 | 1146382 | 1069952 | 998944 | 981788 | 986140 | 1027155 | 887601 | 1046053 | 1036891 | 1002474 | 2489 | 2269 | 2055
40 | 140390.672 | 5 |  | 37 | 824177 | 1047171 | 1008606 | 931116 | 1048383 | 1032673 | 958966 | 963462 | 934357 | 1252035 | 1234265 | 1214151 | 1199559 | 1159284 | 1160386 | 1397956 | 1403223 | 1356619 | 714262 | 909582 | 997843 | 1170222 | 1104695 | 1154586 | 1067320 | 1005656 | 985226 | 991466 | 1029856 | 895385 | 1039235 | 1033257 | 989391 | 2442 | 2250 | 2042
41 | 143990.434 | 5 |  | 37 | 835058 | 1060747 | 1021392 | 942274 | 1057049 | 1042935 | 971391 | 975634 | 945807 | 1263157 | 1250783 | 1226558 | 1207401 | 1169940 | 1172218 | 1399089 | 1405538 | 1357658 | 723728 | 925346 | 1009847 | 1181378 | 1114524 | 1167611 | 1073311 | 1010465 | 992766 | 998872 | 1040317 | 904947 | 1033506 | 1027514 | 992036 | 2473 | 2068 | 1996
42 | 147590.22 | 4.9 |  | 37 | 841717 | 1068230 | 1027561 | 952463 | 1063759 | 1050376 | 980366 | 987314 | 955154 | 1269329 | 1259068 | 1231328 | 1214631 | 1177036 | 1179892 | 1401437 | 1407929 | 1360644 | 729650 | 933058 | 1015563 | 1188387 | 1126903 | 1176196 | 1078381 | 1015350 | 999889 | 1007118 | 1049756 | 909185 | 1028289 | 1024987 | 989664 | 2359 | 2333 | 2062
43 | 151189.993 | 4.9 |  | 37 | 853884 | 1080403 | 1041694 | 965197 | 1074825 | 1063577 | 993048 | 1001273 | 969111 | 1280709 | 1267921 | 1246199 | 1227832 | 1189053 | 1188986 | 1409269 | 1409370 | 1369075 | 746584 | 941757 | 1027968 | 1208033 | 1142690 | 1184046 | 1082936 | 1021387 | 1003634 | 1018203 | 1062042 | 923925 | 1025154 | 1023433 | 988665 | 2535 | 2323 | 2039
44 | 154789.775 | 5 |  | 37 | 868759 | 1095962 | 1061137 | 983856 | 1098301 | 1084541 | 1016531 | 1020401 | 985200 | 1299799 | 1293302 | 1267138 | 1242341 | 1207282 | 1212633 | 1421755 | 1428230 | 1383381 | 760729 | 963506 | 1049459 | 1222453 | 1156220 | 1205249 | 1097626 | 1035900 | 1016452 | 1035816 | 1076924 | 941669 | 1032500 | 1028670 | 993321 | 2491 | 2407 | 2155
45 | 158389.553 | 4.9 |  | 37 | 883104 | 1112476 | 1075204 | 1000317 | 1110798 | 1093575 | 1032710 | 1036422 | 999686 | 1316503 | 1306923 | 1282134 | 1261697 | 1222754 | 1229319 | 1431926 | 1434034 | 1398424 | 774546 | 978233 | 1064283 | 1238617 | 1170481 | 1221161 | 1111145 | 1045976 | 1024009 | 1050130 | 1091759 | 958533 | 1034018 | 1031747 | 997849 | 2617 | 2345 | 2291
46 | 161989.331 | 5 |  | 37 | 893730 | 1127110 | 1088413 | 1014890 | 1125165 | 1112693 | 1047136 | 1051133 | 1014486 | 1325541 | 1315838 | 1296350 | 1275214 | 1234634 | 1240053 | 1435685 | 1444609 | 1403246 | 784848 | 991064 | 1076818 | 1249978 | 1187342 | 1236170 | 1116398 | 1054615 | 1033132 | 1064180 | 1103433 | 966558 | 1033541 | 1030152 | 1000419 | 2692 | 2396 | 2174
47 | 165589.11 | 5 |  | 37 | 901360 | 1130063 | 1097485 | 1019502 | 1131906 | 1114327 | 1058495 | 1058397 | 1020305 | 1331738 | 1323930 | 1306612 | 1282980 | 1245317 | 1246809 | 1433629 | 1437075 | 1404667 | 793774 | 999191 | 1086933 | 1260695 | 1197193 | 1244301 | 1120577 | 1055510 | 1036268 | 1069951 | 1115030 | 975819 | 1029744 | 1026834 | 993995 | 2720 | 2482 | 2422
48 | 169188.894 | 5.1 |  | 37 | 904402 | 1135137 | 1102166 | 1021174 | 1134229 | 1117954 | 1066789 | 1062474 | 1023829 | 1333403 | 1328012 | 1311442 | 1280386 | 1246018 | 1253560 | 1424634 | 1423995 | 1397036 | 801509 | 1005535 | 1093445 | 1264515 | 1200181 | 1244625 | 1115518 | 1053271 | 1034653 | 1072751 | 1114784 | 979558 | 1019326 | 1015389 | 983435 | 2741 | 2353 | 2297
49 | 172788.673 | 5 |  | 37 | 905449 | 1139400 | 1102291 | 1026978 | 1140316 | 1121923 | 1072987 | 1068688 | 1027065 | 1334604 | 1328700 | 1312645 | 1286392 | 1248140 | 1252519 | 1414291 | 1417110 | 1393997 | 808948 | 1013715 | 1100082 | 1271596 | 1208217 | 1251250 | 1112946 | 1050520 | 1029515 | 1080278 | 1118626 | 986050 | 1010048 | 1006258 | 977062 | 2795 | 2477 | 2203
50 | 176388.447 | 5.1 |  | 37 | 904404 | 1138459 | 1100343 | 1023789 | 1134652 | 1119122 | 1074235 | 1068235 | 1023105 | 1332721 | 1326338 | 1310355 | 1280645 | 1245391 | 1246724 | 1394175 | 1397199 | 1373452 | 813318 | 1010785 | 1097229 | 1265603 | 1204816 | 1244223 | 1102628 | 1040378 | 1016587 | 1077487 | 1115184 | 979957 | 992065 | 994857 | 959187 | 2722 | 2492 | 2260
51 | 179988.227 | 4.9 |  | 37 | 905876 | 1132574 | 1100625 | 1023413 | 1128686 | 1110663 | 1073750 | 1063936 | 1021815 | 1328924 | 1322043 | 1305464 | 1277201 | 1238394 | 1243920 | 1381204 | 1381312 | 1357080 | 815210 | 1012390 | 1095027 | 1265394 | 1207414 | 1239446 | 1089898 | 1025733 | 1004409 | 1074528 | 1104909 | 974503 | 977350 | 981080 | 945575 | 2685 | 2523 | 2359
52 | 183588.01 | 4.9 |  | 37 | 901723 | 1128255 | 1093382 | 1016477 | 1121232 | 1104242 | 1068624 | 1064331 | 1016678 | 1320261 | 1315851 | 1302855 | 1267143 | 1233455 | 1232615 | 1355819 | 1361896 | 1336524 | 816165 | 1017477 | 1094876 | 1260431 | 1197944 | 1237716 | 1073925 | 1011603 | 992634 | 1072003 | 1099256 | 975820 | 962893 | 964058 | 929237 | 2734 | 2428 | 2296
53 | 187187.785 | 5 |  | 37 | 903973 | 1128427 | 1092821 | 1016756 | 1117557 | 1098919 | 1072483 | 1063046 | 1017355 | 1315079 | 1316220 | 1303645 | 1264627 | 1230486 | 1231562 | 1345175 | 1339757 | 1323716 | 823047 | 1017306 | 1094016 | 1259738 | 1198311 | 1233448 | 1064035 | 1004341 | 987016 | 1071901 | 1101407 | 975664 | 951834 | 956073 | 917865 | 2724 | 2371 | 2309
54 | 190787.565 | 5 |  | 37 | 905954 | 1122703 | 1091538 | 1016813 | 1113929 | 1097233 | 1074613 | 1067126 | 1015869 | 1313275 | 1314439 | 1303408 | 1260164 | 1225119 | 1233368 | 1327258 | 1329704 | 1309172 | 826602 | 1021588 | 1094174 | 1256384 | 1198875 | 1232152 | 1054565 | 996604 | 978099 | 1071149 | 1102164 | 977441 | 942063 | 939427 | 901652 | 2647 | 2357 | 2201
55 | 194387.348 | 5 |  | 37 | 906539 | 1122127 | 1087996 | 1015168 | 1107815 | 1091618 | 1073226 | 1066335 | 1012976 | 1310714 | 1307570 | 1301918 | 1257146 | 1223602 | 1228980 | 1311542 | 1312786 | 1301271 | 833821 | 1023362 | 1097597 | 1255292 | 1196649 | 1234577 | 1046632 | 988832 | 968522 | 1070594 | 1098343 | 977931 | 928665 | 930192 | 893002 | 2625 | 2481 | 2285
56 | 197987.123 | 5 |  | 37 | 908006 | 1123258 | 1085543 | 1016595 | 1105169 | 1091138 | 1072736 | 1063243 | 1012683 | 1311193 | 1304897 | 1299725 | 1257496 | 1224967 | 1225111 | 1296608 | 1300003 | 1283736 | 837325 | 1029556 | 1101978 | 1254890 | 1199680 | 1234813 | 1035471 | 982868 | 957916 | 1071978 | 1098495 | 979494 | 922475 | 917440 | 884164 | 2621 | 2439 | 2089
57 | 201586.903 | 5 |  | 37 | 908150 | 1120513 | 1090340 | 1014382 | 1099205 | 1086500 | 1074653 | 1064895 | 1011346 | 1301407 | 1303484 | 1296812 | 1253419 | 1221131 | 1223529 | 1283052 | 1283958 | 1269249 | 843804 | 1029220 | 1098376 | 1252863 | 1200907 | 1232524 | 1028452 | 972977 | 952680 | 1070281 | 1095936 | 980174 | 910908 | 910296 | 873260 | 2534 | 2398 | 2370
58 | 205186.682 | 5 |  | 37 | 913474 | 1119095 | 1084824 | 1014711 | 1097754 | 1079206 | 1072919 | 1065012 | 1005406 | 1301472 | 1298390 | 1291559 | 1250350 | 1220616 | 1219456 | 1267958 | 1266270 | 1256205 | 849989 | 1036365 | 1104181 | 1252158 | 1202130 | 1232451 | 1017505 | 964042 | 939601 | 1067175 | 1096744 | 980403 | 898650 | 903697 | 862296 | 2733 | 2399 | 2239
59 | 208786.461 | 4.9 |  | 37 | 912111 | 1118200 | 1083862 | 1011856 | 1094622 | 1086659 | 1075777 | 1065428 | 1011608 | 1303715 | 1291187 | 1288097 | 1251030 | 1219211 | 1217194 | 1247779 | 1250349 | 1242120 | 856389 | 1042730 | 1108401 | 1250347 | 1199420 | 1232550 | 1009658 | 955060 | 928968 | 1073028 | 1100221 | 984370 | 889027 | 894870 | 851827 | 2599 | 2411 | 2289
60 | 212386.24 | 5 |  | 37 | 915597 | 1117028 | 1084164 | 1010711 | 1089196 | 1075720 | 1071094 | 1065055 | 1007842 | 1292598 | 1290275 | 1288467 | 1245145 | 1221440 | 1216948 | 1233649 | 1233491 | 1228448 | 861248 | 1046502 | 1109950 | 1253141 | 1203045 | 1233790 | 1000697 | 948637 | 919996 | 1072438 | 1096710 | 982785 | 883686 | 887102 | 844127 | 2634 | 2282 | 2278
61 | 215986.022 | 5 |  | 37 | 914966 | 1114329 | 1080791 | 1010163 | 1086353 | 1074495 | 1082123 | 1063944 | 1009897 | 1296101 | 1286758 | 1287762 | 1242215 | 1219071 | 1213301 | 1218505 | 1214994 | 1210607 | 868144 | 1051309 | 1111948 | 1254472 | 1206183 | 1235426 | 990505 | 940452 | 911064 | 1074098 | 1099018 | 985480 | 876987 | 876751 | 835349 | 2712 | 2346 | 2098
62 | 219585.797 | 5 |  | 37 | 910646 | 1106135 | 1080376 | 1012066 | 1081946 | 1063478 | 1076626 | 1064169 | 1008299 | 1285292 | 1284072 | 1281072 | 1237979 | 1221199 | 1214785 | 1195123 | 1196071 | 1196693 | 873648 | 1053106 | 1117761 | 1252264 | 1200725 | 1229445 | 979535 | 927725 | 897356 | 1072592 | 1094850 | 987719 | 867414 | 864365 | 828927 | 2551 | 2353 | 2197
63 | 223185.581 | 5 |  | 37 | 916171 | 1105706 | 1080798 | 1011081 | 1076383 | 1060479 | 1079354 | 1057169 | 1005686 | 1278445 | 1279382 | 1274404 | 1232731 | 1211929 | 1203660 | 1182205 | 1183528 | 1184880 | 881348 | 1053795 | 1121094 | 1244791 | 1204426 | 1229695 | 973382 | 917901 | 886729 | 1075498 | 1099130 | 987483 | 858015 | 856293 | 820803 | 2483 | 2241 | 2121
64 | 226785.355 | 5 |  | 37 | 917962 | 1100775 | 1080590 | 1006317 | 1074452 | 1054991 | 1079024 | 1060828 | 1003162 | 1271554 | 1268988 | 1269218 | 1225817 | 1213750 | 1204150 | 1154471 | 1163725 | 1169708 | 887541 | 1060176 | 1122229 | 1240939 | 1202050 | 1224737 | 962879 | 909973 | 879939 | 1073486 | 1099152 | 986773 | 849051 | 845386 | 810453 | 2643 | 2339 | 2165
65 | 230385.136 | 5 |  | 37 | 915389 | 1098850 | 1070234 | 1004052 | 1068833 | 1049092 | 1075458 | 1056817 | 1000660 | 1261112 | 1259377 | 1259718 | 1220613 | 1207222 | 1199102 | 1134646 | 1138956 | 1148257 | 896778 | 1061673 | 1122201 | 1228257 | 1197759 | 1220265 | 952475 | 896984 | 869084 | 1070809 | 1095941 | 987637 | 837597 | 837575 | 804682 | 2571 | 2203 | 2239
66 | 233984.916 | 5 |  | 37 | 921003 | 1097075 | 1071096 | 1005145 | 1066548 | 1047872 | 1080050 | 1059387 | 1003285 | 1259704 | 1258371 | 1261952 | 1217525 | 1204461 | 1200054 | 1119084 | 1120961 | 1134603 | 904391 | 1071036 | 1127997 | 1230326 | 1198783 | 1212102 | 946841 | 892644 | 861249 | 1071063 | 1097779 | 989189 | 832181 | 829184 | 799982 | 2643 | 2259 | 2247
67 | 237584.692 | 5 |  | 37 | 925280 | 1097064 | 1074452 | 1004076 | 1067894 | 1049836 | 1083719 | 1064218 | 1005560 | 1246856 | 1255906 | 1261425 | 1217673 | 1205245 | 1200032 | 1104283 | 1101077 | 1115271 | 911013 | 1075799 | 1132786 | 1226808 | 1201711 | 1216156 | 938971 | 886076 | 857209 | 1071728 | 1099527 | 994951 | 830727 | 827341 | 794395 | 2613 | 2329 | 2103
68 | 241184.474 | 5 |  | 37 | 928883 | 1099447 | 1080536 | 1006060 | 1068259 | 1050764 | 1087140 | 1069674 | 1011355 | 1246325 | 1254195 | 1253680 | 1219584 | 1207558 | 1203102 | 1079947 | 1084138 | 1108835 | 921178 | 1085207 | 1141754 | 1229309 | 1204945 | 1222404 | 937934 | 883146 | 854429 | 1077986 | 1100728 | 1001098 | 829434 | 824543 | 792408 | 2642 | 2402 | 2188
69 | 244784.254 | 5.1 |  | 37 | 934349 | 1097627 | 1078586 | 1006895 | 1062797 | 1044299 | 1091452 | 1064060 | 1009234 | 1237025 | 1247255 | 1249133 | 1217627 | 1206137 | 1197418 | 1059906 | 1064447 | 1087995 | 925923 | 1082861 | 1138926 | 1221585 | 1205570 | 1214315 | 928714 | 877697 | 844043 | 1077230 | 1104084 | 1007602 | 820595 | 817747 | 784326 | 2652 | 2300 | 2158
70 | 248384.035 | 5.1 |  | 37 | 934577 | 1097964 | 1076612 | 1007976 | 1062667 | 1041896 | 1093020 | 1065797 | 1006901 | 1227208 | 1231958 | 1235090 | 1210807 | 1202731 | 1193378 | 1032019 | 1034148 | 1066124 | 934747 | 1091599 | 1148640 | 1220312 | 1203829 | 1212581 | 922617 | 868501 | 835912 | 1077263 | 1102634 | 1007506 | 815009 | 813546 | 778653 | 2616 | 2352 | 2148
71 | 251983.817 | 4.9 |  | 37 | 937377 | 1096512 | 1079468 | 1010327 | 1060180 | 1038965 | 1092355 | 1069117 | 1009318 | 1213461 | 1227290 | 1235027 | 1204814 | 1202364 | 1195980 | 1004875 | 1014557 | 1053049 | 941148 | 1100891 | 1151927 | 1211237 | 1206964 | 1207165 | 917628 | 865599 | 833961 | 1076880 | 1101935 | 1013245 | 809884 | 808090 | 775728 | 2647 | 2547 | 2361
72 | 255583.597 | 5 |  | 37.1 | 940767 | 1095881 | 1081129 | 1009442 | 1060643 | 1038371 | 1097955 | 1072933 | 1010173 | 1196348 | 1213465 | 1229766 | 1196052 | 1199796 | 1189316 | 983781 | 984442 | 1027570 | 953545 | 1107917 | 1155603 | 1207467 | 1202490 | 1205907 | 915287 | 858755 | 826119 | 1081366 | 1102001 | 1017592 | 804502 | 805436 | 769826 | 2568 | 2522 | 2408
End Time |  |  |  | 2019-04-25 14:38:38

## ++
HCT 116
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 233603 | 250053 | 236910 | 240188.6667 | 7104.5932 | 1 | 0.63652
3599.067 | 2 | 285989 | 304749 | 284537 | 291758.3333 | 9204.8951 | 1.2147 | 0.77318
7198.845 | 3 | 316317 | 331420 | 315592 | 321109.6667 | 7296.5122 | 1.3369 | 0.85097
10798.602 | 4 | 336071 | 351455 | 334442 | 340656 | 7664.951 | 1.4183 | 0.90277
14398.381 | 5 | 353094 | 369774 | 353536 | 358801.3333 | 7760.945 | 1.4938 | 0.95085
17998.154 | 6 | 373479 | 388030 | 370530 | 377346.3333 | 7649.8235 | 1.571 | 1
21597.933 | 7 | 388133 | 404689 | 385554 | 392792 | 8478.0802 | 1.6353 | 1.0409
25197.705 | 8 | 405151 | 418504 | 402193 | 408616 | 7095.3905 | 1.7012 | 1.0829
28797.478 | 9 | 423234 | 438573 | 421694 | 427833.6667 | 7619.8364 | 1.7812 | 1.1338
32397.257 | 10 | 441262 | 456413 | 438311 | 445328.6667 | 7929.8564 | 1.8541 | 1.1802
35997.03 | 11 | 462872 | 474652 | 455754 | 464426 | 7792.9365 | 1.9336 | 1.2308
39596.805 | 12 | 479659 | 493305 | 474116 | 482360 | 8063.3319 | 2.0083 | 1.2783
43196.582 | 13 | 497407 | 512278 | 493863 | 501182.6667 | 7977.8778 | 2.0866 | 1.3282
46796.355 | 14 | 519111 | 531296 | 513463 | 521290 | 7441.5502 | 2.1703 | 1.3815
50396.13 | 15 | 535765 | 549276 | 530621 | 538554 | 7867.0684 | 2.2422 | 1.4272
53995.903 | 16 | 556769 | 572525 | 550776 | 560023.3333 | 9172.3412 | 2.3316 | 1.4841
57595.68 | 17 | 574470 | 589374 | 567446 | 577096.6667 | 9142.714 | 2.4027 | 1.5294
61195.457 | 18 | 593230 | 610037 | 588216 | 597161 | 9331.973 | 2.4862 | 1.5825
64795.233 | 19 | 616462 | 630899 | 609505 | 618955.3333 | 8910.2317 | 2.577 | 1.6403
68395.007 | 20 | 642325 | 656639 | 630741 | 643235 | 10592.377 | 2.678 | 1.7046
71994.782 | 21 | 663592 | 675868 | 655136 | 664865.3333 | 8511.5603 | 2.7681 | 1.7619
75594.561 | 22 | 686344 | 696158 | 673607 | 685369.6667 | 9232.1501 | 2.8535 | 1.8163
79194.332 | 23 | 702303 | 716796 | 690481 | 703193.3333 | 10761.4846 | 2.9277 | 1.8635
82794.108 | 24 | 729551 | 743665 | 717716 | 730310.6667 | 10607.245 | 3.0406 | 1.9354
86393.885 | 25 | 750571 | 764421 | 739018 | 751336.6667 | 10384.8539 | 3.1281 | 1.9911
89993.662 | 26 | 766791 | 780960 | 754657 | 767469.3333 | 10748.8621 | 3.1953 | 2.0339
93593.435 | 27 | 780823 | 794513 | 769704 | 781680 | 10146.3444 | 3.2544 | 2.0715
97193.21 | 28 | 796205 | 811417 | 784334 | 797318.6667 | 11084.5963 | 3.3196 | 2.113
100792.988 | 29 | 812063 | 826349 | 800534 | 812982 | 10558.9449 | 3.3848 | 2.1545
104392.762 | 30 | 827066 | 841663 | 812603 | 827110.6667 | 11863.7374 | 3.4436 | 2.1919
107992.537 | 31 | 846456 | 857774 | 831229 | 845153 | 10876.0475 | 3.5187 | 2.2397
111592.308 | 32 | 856883 | 869626 | 842297 | 856268.6667 | 11165.471 | 3.565 | 2.2692
115192.085 | 33 | 875962 | 883933 | 852039 | 870644.6667 | 13552.6709 | 3.6248 | 2.3073
118791.863 | 34 | 887388 | 897337 | 870644 | 885123 | 11014.4369 | 3.6851 | 2.3457
122391.637 | 35 | 900198 | 911213 | 881913 | 897774.6667 | 12083.7883 | 3.7378 | 2.3792
125991.412 | 36 | 910872 | 923994 | 897645 | 910837 | 10756.9627 | 3.7922 | 2.4138
129591.187 | 37 | 926790 | 936972 | 905675 | 923145.6667 | 13034.2223 | 3.8434 | 2.4464
133190.963 | 38 | 939152 | 949276 | 916172 | 934866.6667 | 13850.1929 | 3.8922 | 2.4775
136790.738 | 39 | 947516 | 953873 | 926366 | 942585 | 11758.5383 | 3.9244 | 2.4979
140390.513 | 40 | 958966 | 963462 | 934357 | 952261.6667 | 12792.8709 | 3.9646 | 2.5236
143990.289 | 41 | 971391 | 975634 | 945807 | 964277.3333 | 13174.8668 | 4.0147 | 2.5554
147590.064 | 42 | 980366 | 987314 | 955154 | 974278 | 13816.9994 | 4.0563 | 2.5819
151189.839 | 43 | 993048 | 1001273 | 969111 | 987810.6667 | 13642.3558 | 4.1126 | 2.6178
154789.617 | 44 | 1016531 | 1020401 | 985200 | 1007377.3333 | 15761.1296 | 4.1941 | 2.6696
158389.392 | 45 | 1032710 | 1036422 | 999686 | 1022939.3333 | 16512.2756 | 4.2589 | 2.7109
161989.167 | 46 | 1047136 | 1051133 | 1014486 | 1037585 | 16414.7668 | 4.3199 | 2.7497
165588.943 | 47 | 1058495 | 1058397 | 1020305 | 1045732.3333 | 17979.8843 | 4.3538 | 2.7713
169188.718 | 48 | 1066789 | 1062474 | 1023829 | 1051030.6667 | 19314.9822 | 4.3759 | 2.7853
172788.5 | 49 | 1072987 | 1068688 | 1027065 | 1056246.6667 | 20709.0576 | 4.3976 | 2.7991
176388.269 | 50 | 1074235 | 1068235 | 1023105 | 1055191.6667 | 22820.5409 | 4.3932 | 2.7963
179988.044 | 51 | 1073750 | 1063936 | 1021815 | 1053167 | 22528.3462 | 4.3847 | 2.791
183587.82 | 52 | 1068624 | 1064331 | 1016678 | 1049877.6667 | 23541.0402 | 4.3711 | 2.7823
187187.595 | 53 | 1072483 | 1063046 | 1017355 | 1050961.3333 | 24073.5466 | 4.3756 | 2.7851
190787.372 | 54 | 1074613 | 1067126 | 1015869 | 1052536 | 26107.0292 | 4.3821 | 2.7893
194387.148 | 55 | 1073226 | 1066335 | 1012976 | 1050845.6667 | 26925.2695 | 4.3751 | 2.7848
197986.931 | 56 | 1072736 | 1063243 | 1012683 | 1049554 | 26358.2023 | 4.3697 | 2.7814
201586.701 | 57 | 1074653 | 1064895 | 1011346 | 1050298 | 27829.8206 | 4.3728 | 2.7834
205186.474 | 58 | 1072919 | 1065012 | 1005406 | 1047779 | 30135.6213 | 4.3623 | 2.7767
208786.238 | 59 | 1075777 | 1065428 | 1011608 | 1050937.6667 | 28129.3733 | 4.3755 | 2.7851
212386.014 | 60 | 1071094 | 1065055 | 1007842 | 1047997 | 28500.7064 | 4.3632 | 2.7773
215985.793 | 61 | 1082123 | 1063944 | 1009897 | 1051988 | 30674.1826 | 4.3798 | 2.7879
219585.565 | 62 | 1076626 | 1064169 | 1008299 | 1049698 | 29711.9742 | 4.3703 | 2.7818
223185.342 | 63 | 1079354 | 1057169 | 1005686 | 1047403 | 30857.464 | 4.3608 | 2.7757
223185.342 | 64 | 1079024 | 1060828 | 1003162 | 1047671.3333 | 32337.6372 | 4.3619 | 2.7764
223185.342 | 65 | 1075458 | 1056817 | 1000660 | 1044311.6667 | 31790.698 | 4.3479 | 2.7675
223185.342 | 66 | 1080050 | 1059387 | 1003285 | 1047574 | 32433.2806 | 4.3615 | 2.7762
223185.342 | 67 | 1083719 | 1064218 | 1005560 | 1051165.6667 | 33216.2598 | 4.3764 | 2.7857
223185.342 | 68 | 1087140 | 1069674 | 1011355 | 1056056.3333 | 32402.9031 | 4.3968 | 2.7986
223185.342 | 69 | 1091452 | 1064060 | 1009234 | 1054915.3333 | 34182.5353 | 4.392 | 2.7956
223185.342 | 70 | 1093020 | 1065797 | 1006901 | 1055239.3333 | 35941.7935 | 4.3934 | 2.7965
223185.342 | 71 | 1092355 | 1069117 | 1009318 | 1056930 | 34977.8794 | 4.4004 | 2.801
223185.342 | 72 | 1097955 | 1072933 | 1010173 | 1060353.6667 | 36924.2432 | 4.4147 | 2.81
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01
HCT 116 M4KO 1
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 658725 | 682061 | 660297 | 667027.6667 | 10649.5267 | 1 | 0.7093
3599.067 | 2 | 789625 | 813619 | 763606 | 788950 | 20423.2998 | 1.1828 | 0.83895
7198.845 | 3 | 846207 | 867526 | 809382 | 841038.3333 | 24016.9041 | 1.2609 | 0.89434
10798.602 | 4 | 883014 | 903860 | 847883 | 878252.3333 | 23099.2241 | 1.3167 | 0.93391
14398.381 | 5 | 918355 | 936766 | 882282 | 912467.6667 | 22629.2154 | 1.368 | 0.97029
17998.154 | 6 | 945188 | 964202 | 911825 | 940405 | 21648.6389 | 1.4098 | 1
21597.933 | 7 | 973863 | 994681 | 937877 | 968807 | 23464.0996 | 1.4524 | 1.0302
25197.705 | 8 | 998847 | 1017954 | 958420 | 991740.3333 | 24818.7137 | 1.4868 | 1.0546
28797.478 | 9 | 1024161 | 1044058 | 984141 | 1017453.3333 | 24916.6118 | 1.5254 | 1.0819
32397.257 | 10 | 1047003 | 1066343 | 1007925 | 1040423.6667 | 24298.5789 | 1.5598 | 1.1064
35997.03 | 11 | 1074323 | 1091319 | 1030517 | 1065386.3333 | 25614.0431 | 1.5972 | 1.1329
39596.805 | 12 | 1098068 | 1112516 | 1050651 | 1087078.3333 | 26424.725 | 1.6297 | 1.156
43196.582 | 13 | 1121902 | 1135684 | 1073883 | 1110489.6667 | 26489.2672 | 1.6648 | 1.1809
46796.355 | 14 | 1142043 | 1157536 | 1092921 | 1130833.3333 | 27544.1104 | 1.6953 | 1.2025
50396.13 | 15 | 1158809 | 1174339 | 1115990 | 1149712.6667 | 24673.9932 | 1.7236 | 1.2226
53995.903 | 16 | 1180653 | 1196198 | 1133083 | 1169978 | 26849.4882 | 1.754 | 1.2441
57595.68 | 17 | 1198114 | 1213243 | 1151762 | 1187706.3333 | 26156.1718 | 1.7806 | 1.263
61195.457 | 18 | 1218747 | 1230059 | 1168283 | 1205696.3333 | 26855.2722 | 1.8076 | 1.2821
64795.233 | 19 | 1243104 | 1257266 | 1188093 | 1229487.6667 | 29835.9893 | 1.8432 | 1.3074
68395.007 | 20 | 1268510 | 1281162 | 1217599 | 1255757 | 27471.7188 | 1.8826 | 1.3353
71994.782 | 21 | 1289434 | 1301980 | 1238938 | 1276784 | 27246.8997 | 1.9141 | 1.3577
75594.561 | 22 | 1307762 | 1319828 | 1256825 | 1294805 | 27303.9361 | 1.9412 | 1.3769
79194.332 | 23 | 1318886 | 1331372 | 1263057 | 1304438.3333 | 29701.6959 | 1.9556 | 1.3871
82794.108 | 24 | 1349164 | 1361898 | 1294796 | 1335286 | 29098.8976 | 2.0018 | 1.4199
86393.885 | 25 | 1359444 | 1375477 | 1315503 | 1350141.3333 | 25352.513 | 2.0241 | 1.4357
89993.662 | 26 | 1366633 | 1380299 | 1316109 | 1354347 | 27607.9502 | 2.0304 | 1.4402
93593.435 | 27 | 1372243 | 1382128 | 1314596 | 1356322.3333 | 29779.674 | 2.0334 | 1.4423
97193.21 | 28 | 1370828 | 1384731 | 1319224 | 1358261 | 28180.8313 | 2.0363 | 1.4443
100792.988 | 29 | 1377218 | 1392031 | 1327511 | 1365586.6667 | 27594.3658 | 2.0473 | 1.4521
104392.762 | 30 | 1382252 | 1390056 | 1331566 | 1367958 | 25929.5051 | 2.0508 | 1.4546
107992.537 | 31 | 1385060 | 1392247 | 1336458 | 1371255 | 24779.5164 | 2.0558 | 1.4582
111592.308 | 32 | 1392727 | 1394427 | 1339118 | 1375424 | 25681.5982 | 2.062 | 1.4626
115192.085 | 33 | 1390887 | 1400615 | 1341878 | 1377793.3333 | 25704.6283 | 2.0656 | 1.4651
118791.863 | 34 | 1393023 | 1402364 | 1344192 | 1379859.6667 | 25507.5205 | 2.0687 | 1.4673
122391.637 | 35 | 1396343 | 1406159 | 1352340 | 1384947.3333 | 23402.5227 | 2.0763 | 1.4727
125991.412 | 36 | 1402209 | 1408010 | 1354021 | 1388080 | 24199.5112 | 2.081 | 1.476
129591.187 | 37 | 1398196 | 1407397 | 1354701 | 1386764.6667 | 22981.4946 | 2.079 | 1.4746
133190.963 | 38 | 1400502 | 1405920 | 1357787 | 1388069.6667 | 21527.0157 | 2.081 | 1.476
136790.738 | 39 | 1398238 | 1402591 | 1357493 | 1386107.3333 | 20311.281 | 2.078 | 1.4739
140390.513 | 40 | 1397956 | 1403223 | 1356619 | 1385932.6667 | 20839.1237 | 2.0778 | 1.4738
143990.289 | 41 | 1399089 | 1405538 | 1357658 | 1387428.3333 | 21214.8055 | 2.08 | 1.4754
147590.064 | 42 | 1401437 | 1407929 | 1360644 | 1390003.3333 | 20928.6782 | 2.0839 | 1.4781
151189.839 | 43 | 1409269 | 1409370 | 1369075 | 1395904.6667 | 18971.484 | 2.0927 | 1.4844
154789.617 | 44 | 1421755 | 1428230 | 1383381 | 1411122 | 19793.159 | 2.1155 | 1.5005
158389.392 | 45 | 1431926 | 1434034 | 1398424 | 1421461.3333 | 16312.571 | 2.131 | 1.5115
161989.167 | 46 | 1435685 | 1444609 | 1403246 | 1427846.6667 | 17772.714 | 2.1406 | 1.5183
165588.943 | 47 | 1433629 | 1437075 | 1404667 | 1425123.6667 | 14533.2983 | 2.1365 | 1.5154
169188.718 | 48 | 1424634 | 1423995 | 1397036 | 1415221.6667 | 12861.854 | 2.1217 | 1.5049
172788.5 | 49 | 1414291 | 1417110 | 1393997 | 1408466 | 10295.6515 | 2.1116 | 1.4977
176388.269 | 50 | 1394175 | 1397199 | 1373452 | 1388275.3333 | 10554.132 | 2.0813 | 1.4763
179988.044 | 51 | 1381204 | 1381312 | 1357080 | 1373198.6667 | 11397.7038 | 2.0587 | 1.4602
183587.82 | 52 | 1355819 | 1361896 | 1336524 | 1351413 | 10816.4758 | 2.026 | 1.4371
187187.595 | 53 | 1345175 | 1339757 | 1323716 | 1336216 | 9111.3914 | 2.0032 | 1.4209
190787.372 | 54 | 1327258 | 1329704 | 1309172 | 1322044.6667 | 9156.9605 | 1.982 | 1.4058
194387.148 | 55 | 1311542 | 1312786 | 1301271 | 1308533 | 5160.0625 | 1.9617 | 1.3915
197986.931 | 56 | 1296608 | 1300003 | 1283736 | 1293449 | 7006.5818 | 1.9391 | 1.3754
201586.701 | 57 | 1283052 | 1283958 | 1269249 | 1278753 | 6730.5137 | 1.9171 | 1.3598
205186.474 | 58 | 1267958 | 1266270 | 1256205 | 1263477.6667 | 5188.5191 | 1.8942 | 1.3435
208786.238 | 59 | 1247779 | 1250349 | 1242120 | 1246749.3333 | 3437.4671 | 1.8691 | 1.3258
212386.014 | 60 | 1233649 | 1233491 | 1228448 | 1231862.6667 | 2415.3954 | 1.8468 | 1.3099
215985.793 | 61 | 1218505 | 1214994 | 1210607 | 1214702 | 3230.9492 | 1.8211 | 1.2917
219585.565 | 62 | 1195123 | 1196071 | 1196693 | 1195962.3333 | 645.5392 | 1.793 | 1.2718
223185.342 | 63 | 1182205 | 1183528 | 1184880 | 1183537.6667 | 1092.0856 | 1.7743 | 1.2585
223185.342 | 64 | 1154471 | 1163725 | 1169708 | 1162634.6667 | 6268.0759 | 1.743 | 1.2363
223185.342 | 65 | 1134646 | 1138956 | 1148257 | 1140619.6667 | 5679.8281 | 1.71 | 1.2129
223185.342 | 66 | 1119084 | 1120961 | 1134603 | 1124882.6667 | 6915.8968 | 1.6864 | 1.1962
223185.342 | 67 | 1104283 | 1101077 | 1115271 | 1106877 | 6078.0499 | 1.6594 | 1.177
223185.342 | 68 | 1079947 | 1084138 | 1108835 | 1090973.3333 | 12745.4691 | 1.6356 | 1.1601
223185.342 | 69 | 1059906 | 1064447 | 1087995 | 1070782.6667 | 12311.3358 | 1.6053 | 1.1386
223185.342 | 70 | 1032019 | 1034148 | 1066124 | 1044097 | 15599.6732 | 1.5653 | 1.1103
223185.342 | 71 | 1004875 | 1014557 | 1053049 | 1024160.3333 | 20806.2743 | 1.5354 | 1.0891
223185.342 | 72 | 983781 | 984442 | 1027570 | 998597.6667 | 20488.3106 | 1.4971 | 1.0619
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 WT
HCT 116 M4KO 1 + PB M4 WT
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 202924 | 293710 | 269886 | 255506.6667 | 38432.6109 | 1 | 0.60919
3599.067 | 2 | 247873 | 361323 | 334154 | 314450 | 48366.0441 | 1.2307 | 0.74973
7198.845 | 3 | 280641 | 398770 | 372757 | 350722.6667 | 50680.3647 | 1.3727 | 0.83621
10798.602 | 4 | 302284 | 427818 | 399087 | 376396.3333 | 53701.9308 | 1.4731 | 0.89742
14398.381 | 5 | 320981 | 450113 | 422370 | 397821.3333 | 55502.229 | 1.557 | 0.9485
17998.154 | 6 | 337629 | 476781 | 443851 | 419420.3333 | 59377.1161 | 1.6415 | 1
21597.933 | 7 | 354835 | 494464 | 464932 | 438077 | 60083.0408 | 1.7145 | 1.0445
25197.705 | 8 | 370939 | 517913 | 487074 | 458642 | 63280.4506 | 1.795 | 1.0935
28797.478 | 9 | 388257 | 539163 | 507484 | 478301.3333 | 64971.1538 | 1.872 | 1.1404
32397.257 | 10 | 405220 | 563310 | 528790 | 499106.6667 | 67867.2097 | 1.9534 | 1.19
35997.03 | 11 | 424469 | 582234 | 549770 | 518824.3333 | 68022.9105 | 2.0306 | 1.237
39596.805 | 12 | 439180 | 604558 | 571018 | 538252 | 71380.1036 | 2.1066 | 1.2833
43196.582 | 13 | 456457 | 626930 | 591540 | 558309 | 73455.1358 | 2.1851 | 1.3311
46796.355 | 14 | 474960 | 645827 | 610544 | 577110.3333 | 73653.4248 | 2.2587 | 1.376
50396.13 | 15 | 490344 | 666224 | 631054 | 595874 | 75989.7708 | 2.3321 | 1.4207
53995.903 | 16 | 506441 | 688777 | 654196 | 616471.3333 | 79073.6664 | 2.4127 | 1.4698
57595.68 | 17 | 526661 | 708868 | 670872 | 635467 | 78485.5963 | 2.4871 | 1.5151
61195.457 | 18 | 539819 | 726420 | 692709 | 652982.6667 | 81193.6757 | 2.5556 | 1.5569
64795.233 | 19 | 558303 | 750825 | 716421 | 675183 | 83831.6154 | 2.6425 | 1.6098
68395.007 | 20 | 577662 | 772996 | 735811 | 695489.6667 | 84688.4499 | 2.722 | 1.6582
71994.782 | 21 | 596812 | 795673 | 759411 | 717298.6667 | 86473.5443 | 2.8074 | 1.7102
75594.561 | 22 | 611252 | 813756 | 776210 | 733739.3333 | 87957.5111 | 2.8717 | 1.7494
79194.332 | 23 | 625803 | 834108 | 794069 | 751326.6667 | 90251.2181 | 2.9405 | 1.7913
82794.108 | 24 | 648194 | 862253 | 821504 | 777317 | 92806.9038 | 3.0423 | 1.8533
86393.885 | 25 | 665736 | 878860 | 841542 | 795379.3333 | 92929.0184 | 3.1129 | 1.8964
89993.662 | 26 | 677264 | 894204 | 854855 | 808774.3333 | 94369.175 | 3.1654 | 1.9283
93593.435 | 27 | 687478 | 905687 | 867237 | 820134 | 95106.2962 | 3.2098 | 1.9554
97193.21 | 28 | 699019 | 917347 | 880842 | 832402.6667 | 95486.668 | 3.2579 | 1.9847
100792.988 | 29 | 709660 | 929862 | 892596 | 844039.3333 | 96230.7734 | 3.3034 | 2.0124
104392.762 | 30 | 723606 | 946530 | 904424 | 858186.6667 | 96702.9668 | 3.3588 | 2.0461
107992.537 | 31 | 733476 | 958178 | 917713 | 869789 | 97793.2497 | 3.4042 | 2.0738
111592.308 | 32 | 746075 | 968121 | 930125 | 881440.3333 | 96966.5032 | 3.4498 | 2.1016
115192.085 | 33 | 758112 | 980049 | 940822 | 892994.3333 | 96711.3308 | 3.495 | 2.1291
118791.863 | 34 | 768755 | 992934 | 952976 | 904888.3333 | 97633.2381 | 3.5415 | 2.1575
122391.637 | 35 | 779951 | 1003886 | 966190 | 916675.6667 | 97896.1115 | 3.5877 | 2.1856
125991.412 | 36 | 791330 | 1015162 | 974339 | 926943.6667 | 97330.808 | 3.6279 | 2.2101
129591.187 | 37 | 799474 | 1019212 | 985737 | 934807.6667 | 96666.2468 | 3.6586 | 2.2288
133190.963 | 38 | 809251 | 1033784 | 997771 | 946935.3333 | 98461.3825 | 3.7061 | 2.2577
136790.738 | 39 | 814771 | 1041186 | 1006598 | 954185 | 99586.746 | 3.7345 | 2.275
140390.513 | 40 | 824177 | 1047171 | 1008606 | 959984.6667 | 97312.5773 | 3.7572 | 2.2888
143990.289 | 41 | 835058 | 1060747 | 1021392 | 972399 | 98434.8066 | 3.8058 | 2.3184
147590.064 | 42 | 841717 | 1068230 | 1027561 | 979169.3333 | 98601.3855 | 3.8323 | 2.3346
151189.839 | 43 | 853884 | 1080403 | 1041694 | 991993.6667 | 98928.6163 | 3.8825 | 2.3652
154789.617 | 44 | 868759 | 1095962 | 1061137 | 1008619.3333 | 99912.8947 | 3.9475 | 2.4048
158389.392 | 45 | 883104 | 1112476 | 1075204 | 1023594.6667 | 100500.4844 | 4.0061 | 2.4405
161989.167 | 46 | 893730 | 1127110 | 1088413 | 1036417.6667 | 102124.7346 | 4.0563 | 2.4711
165588.943 | 47 | 901360 | 1130063 | 1097485 | 1042969.3333 | 101012.3226 | 4.082 | 2.4867
169188.718 | 48 | 904402 | 1135137 | 1102166 | 1047235 | 101891.1875 | 4.0987 | 2.4969
172788.5 | 49 | 905449 | 1139400 | 1102291 | 1049046.6667 | 102662.8361 | 4.1058 | 2.5012
176388.269 | 50 | 904404 | 1138459 | 1100343 | 1047735.3333 | 102538.1578 | 4.1006 | 2.4981
179988.044 | 51 | 905876 | 1132574 | 1100625 | 1046358.3333 | 100188.6525 | 4.0952 | 2.4948
183587.82 | 52 | 901723 | 1128255 | 1093382 | 1041120 | 99591.4127 | 4.0747 | 2.4823
187187.595 | 53 | 903973 | 1128427 | 1092821 | 1041740.3333 | 98494.7559 | 4.0772 | 2.4838
190787.372 | 54 | 905954 | 1122703 | 1091538 | 1040065 | 95680.491 | 4.0706 | 2.4798
194387.148 | 55 | 906539 | 1122127 | 1087996 | 1038887.3333 | 94616.0391 | 4.066 | 2.477
197986.931 | 56 | 908006 | 1123258 | 1085543 | 1038935.6667 | 93852.8583 | 4.0662 | 2.4771
201586.701 | 57 | 908150 | 1120513 | 1090340 | 1039667.6667 | 93809.2922 | 4.069 | 2.4788
205186.474 | 58 | 913474 | 1119095 | 1084824 | 1039131 | 89947.7129 | 4.0669 | 2.4775
208786.238 | 59 | 912111 | 1118200 | 1083862 | 1038057.6667 | 90154.2999 | 4.0627 | 2.475
212386.014 | 60 | 915597 | 1117028 | 1084164 | 1038929.6667 | 88235.3694 | 4.0662 | 2.4771
215985.793 | 61 | 914966 | 1114329 | 1080791 | 1036695.3333 | 87157.7968 | 4.0574 | 2.4717
219585.565 | 62 | 910646 | 1106135 | 1080376 | 1032385.6667 | 86722.8972 | 4.0405 | 2.4615
223185.342 | 63 | 916171 | 1105706 | 1080798 | 1034225 | 84093.8456 | 4.0477 | 2.4658
223185.342 | 64 | 917962 | 1100775 | 1080590 | 1033109 | 81837.1646 | 4.0434 | 2.4632
223185.342 | 65 | 915389 | 1098850 | 1070234 | 1028157.6667 | 80590.7273 | 4.024 | 2.4514
223185.342 | 66 | 921003 | 1097075 | 1071096 | 1029724.6667 | 77605.9607 | 4.0301 | 2.4551
223185.342 | 67 | 925280 | 1097064 | 1074452 | 1032265.3333 | 76211.2056 | 4.0401 | 2.4612
223185.342 | 68 | 928883 | 1099447 | 1080536 | 1036288.6667 | 76338.6726 | 4.0558 | 2.4708
223185.342 | 69 | 934349 | 1097627 | 1078586 | 1036854 | 72897.6277 | 4.058 | 2.4721
223185.342 | 70 | 934577 | 1097964 | 1076612 | 1036384.3333 | 72514.4897 | 4.0562 | 2.471
223185.342 | 71 | 937377 | 1096512 | 1079468 | 1037785.6667 | 71339.796 | 4.0617 | 2.4743
223185.342 | 72 | 940767 | 1095881 | 1081129 | 1039259 | 69904.2723 | 4.0674 | 2.4778
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 D984A
HCT 116 M4KO 1 + PB M4 D984A
15,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 463728 | 447991 | 428785 | 446834.6667 | 14288.8335 | 1 | 0.68036
3599.067 | 2 | 544425 | 528359 | 510784 | 527856 | 13738.4855 | 1.1813 | 0.80373
7198.845 | 3 | 587159 | 574911 | 552960 | 571676.6667 | 14147.758 | 1.2794 | 0.87045
10798.602 | 4 | 618165 | 604751 | 582370 | 601762 | 14765.2993 | 1.3467 | 0.91626
14398.381 | 5 | 644572 | 633450 | 608451 | 628824.3333 | 15104.7289 | 1.4073 | 0.95747
17998.154 | 6 | 670954 | 663535 | 635787 | 656758.6667 | 15135.3558 | 1.4698 | 1
21597.933 | 7 | 696129 | 682370 | 660049 | 679516 | 14867.203 | 1.5207 | 1.0347
25197.705 | 8 | 722470 | 708996 | 685368 | 705611.3333 | 15334.7444 | 1.5791 | 1.0744
28797.478 | 9 | 746833 | 734816 | 710731 | 730793.3333 | 15010.5515 | 1.6355 | 1.1127
32397.257 | 10 | 772441 | 760380 | 736574 | 756465 | 14902.0321 | 1.6929 | 1.1518
35997.03 | 11 | 799855 | 785553 | 758907 | 781438.3333 | 16968.2554 | 1.7488 | 1.1898
39596.805 | 12 | 821140 | 810308 | 780991 | 804146.3333 | 16959.9558 | 1.7997 | 1.2244
43196.582 | 13 | 845717 | 833700 | 806044 | 828487 | 16610.6042 | 1.8541 | 1.2615
46796.355 | 14 | 868609 | 852657 | 827756 | 849674 | 16811.0206 | 1.9015 | 1.2937
50396.13 | 15 | 891225 | 878570 | 848542 | 872779 | 17899.9326 | 1.9532 | 1.3289
53995.903 | 16 | 911968 | 896710 | 873284 | 893987.3333 | 15909.5914 | 2.0007 | 1.3612
57595.68 | 17 | 935848 | 918145 | 890870 | 914954.3333 | 18500.2772 | 2.0476 | 1.3931
61195.457 | 18 | 956814 | 937622 | 913129 | 935855 | 17878.041 | 2.0944 | 1.425
64795.233 | 19 | 977751 | 965552 | 936009 | 959770.6667 | 17524.5828 | 2.1479 | 1.4614
68395.007 | 20 | 1004777 | 988348 | 962244 | 985123 | 17513.1282 | 2.2047 | 1.5
71994.782 | 21 | 1025145 | 1016798 | 985941 | 1009294.6667 | 16861.4632 | 2.2588 | 1.5368
75594.561 | 22 | 1049026 | 1033671 | 1007258 | 1029985 | 17249.7614 | 2.3051 | 1.5683
79194.332 | 23 | 1058930 | 1046981 | 1020653 | 1042188 | 15989.8263 | 2.3324 | 1.5869
82794.108 | 24 | 1088896 | 1074479 | 1048137 | 1070504 | 16875.5146 | 2.3957 | 1.63
86393.885 | 25 | 1105738 | 1091623 | 1068093 | 1088484.6667 | 15527.8966 | 2.436 | 1.6574
89993.662 | 26 | 1115208 | 1103488 | 1077526 | 1098740.6667 | 15745.606 | 2.4589 | 1.673
93593.435 | 27 | 1128468 | 1110513 | 1085656 | 1108212.3333 | 17553.4733 | 2.4801 | 1.6874
97193.21 | 28 | 1138596 | 1123083 | 1098419 | 1120032.6667 | 16543.4022 | 2.5066 | 1.7054
100792.988 | 29 | 1149251 | 1138060 | 1108631 | 1131980.6667 | 17131.1572 | 2.5333 | 1.7236
104392.762 | 30 | 1159216 | 1145860 | 1119075 | 1141383.6667 | 16690.3793 | 2.5544 | 1.7379
107992.537 | 31 | 1169901 | 1160387 | 1132306 | 1154198 | 15959.8203 | 2.5831 | 1.7574
111592.308 | 32 | 1180778 | 1166192 | 1141457 | 1162809 | 16229.9882 | 2.6023 | 1.7705
115192.085 | 33 | 1188488 | 1173430 | 1148262 | 1170060 | 16594.1846 | 2.6186 | 1.7816
118791.863 | 34 | 1201836 | 1189430 | 1159149 | 1183471.6667 | 17928.9578 | 2.6486 | 1.802
122391.637 | 35 | 1209671 | 1196847 | 1170885 | 1192467.6667 | 16134.2776 | 2.6687 | 1.8157
125991.412 | 36 | 1222264 | 1205365 | 1184510 | 1204046.3333 | 15441.185 | 2.6946 | 1.8333
129591.187 | 37 | 1229609 | 1215051 | 1191357 | 1212005.6667 | 15764.0819 | 2.7124 | 1.8454
133190.963 | 38 | 1241196 | 1221951 | 1196478 | 1219875 | 18314.9704 | 2.73 | 1.8574
136790.738 | 39 | 1249259 | 1227276 | 1204389 | 1226974.6667 | 18319.34 | 2.7459 | 1.8682
140390.513 | 40 | 1252035 | 1234265 | 1214151 | 1233483.6667 | 15475.9432 | 2.7605 | 1.8781
143990.289 | 41 | 1263157 | 1250783 | 1226558 | 1246832.6667 | 15200.341 | 2.7904 | 1.8985
147590.064 | 42 | 1269329 | 1259068 | 1231328 | 1253241.6667 | 16051.5549 | 2.8047 | 1.9082
151189.839 | 43 | 1280709 | 1267921 | 1246199 | 1264943 | 14245.1486 | 2.8309 | 1.926
154789.617 | 44 | 1299799 | 1293302 | 1267138 | 1286746.3333 | 14116.605 | 2.8797 | 1.9592
158389.392 | 45 | 1316503 | 1306923 | 1282134 | 1301853.3333 | 14481.7858 | 2.9135 | 1.9822
161989.167 | 46 | 1325541 | 1315838 | 1296350 | 1312576.3333 | 12138.2995 | 2.9375 | 1.9986
165588.943 | 47 | 1331738 | 1323930 | 1306612 | 1320760 | 10499.703 | 2.9558 | 2.011
169188.718 | 48 | 1333403 | 1328012 | 1311442 | 1324285.6667 | 9344.7151 | 2.9637 | 2.0164
172788.5 | 49 | 1334604 | 1328700 | 1312645 | 1325316.3333 | 9278.5171 | 2.966 | 2.018
176388.269 | 50 | 1332721 | 1326338 | 1310355 | 1323138 | 9407.0714 | 2.9611 | 2.0146
179988.044 | 51 | 1328924 | 1322043 | 1305464 | 1318810.3333 | 9846.5053 | 2.9515 | 2.0081
183587.82 | 52 | 1320261 | 1315851 | 1302855 | 1312989 | 7388.5268 | 2.9384 | 1.9992
187187.595 | 53 | 1315079 | 1316220 | 1303645 | 1311648 | 5678.1145 | 2.9354 | 1.9972
190787.372 | 54 | 1313275 | 1314439 | 1303408 | 1310374 | 4948.5749 | 2.9326 | 1.9952
194387.148 | 55 | 1310714 | 1307570 | 1301918 | 1306734 | 3639.2834 | 2.9244 | 1.9897
197986.931 | 56 | 1311193 | 1304897 | 1299725 | 1305271.6667 | 4689.2812 | 2.9212 | 1.9874
201586.701 | 57 | 1301407 | 1303484 | 1296812 | 1300567.6667 | 2787.7418 | 2.9106 | 1.9803
205186.474 | 58 | 1301472 | 1298390 | 1291559 | 1297140.3333 | 4142.3136 | 2.903 | 1.9751
208786.238 | 59 | 1303715 | 1291187 | 1288097 | 1294333 | 6752.9484 | 2.8967 | 1.9708
212386.014 | 60 | 1292598 | 1290275 | 1288467 | 1290446.6667 | 1690.8365 | 2.888 | 1.9649
215985.793 | 61 | 1296101 | 1286758 | 1287762 | 1290207 | 4187.7942 | 2.8874 | 1.9645
219585.565 | 62 | 1285292 | 1284072 | 1281072 | 1283478.6667 | 1773.1579 | 2.8724 | 1.9543
223185.342 | 63 | 1278445 | 1279382 | 1274404 | 1277410.3333 | 2159.9417 | 2.8588 | 1.945
223185.342 | 64 | 1271554 | 1268988 | 1269218 | 1269920 | 1159.2216 | 2.842 | 1.9336
223185.342 | 65 | 1261112 | 1259377 | 1259718 | 1260069 | 750.5363 | 2.82 | 1.9186
223185.342 | 66 | 1259704 | 1258371 | 1261952 | 1260009 | 1477.7593 | 2.8199 | 1.9185
223185.342 | 67 | 1246856 | 1255906 | 1261425 | 1254729 | 6005.716 | 2.808 | 1.9105
223185.342 | 68 | 1246325 | 1254195 | 1253680 | 1251400 | 3594.7207 | 2.8006 | 1.9054
223185.342 | 69 | 1237025 | 1247255 | 1249133 | 1244471 | 5320.6458 | 2.7851 | 1.8949
223185.342 | 70 | 1227208 | 1231958 | 1235090 | 1231418.6667 | 3240.3335 | 2.7559 | 1.875
223185.342 | 71 | 1213461 | 1227290 | 1235027 | 1225259.3333 | 8920.6051 | 2.7421 | 1.8656
223185.342 | 72 | 1196348 | 1213465 | 1229766 | 1213193 | 13644.197 | 2.7151 | 1.8472
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 V6
HCT 116 M4KO 1 + PB M4 V6
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 200429 | 300513 | 357336 | 286092.6667 | 64863.5037 | 1 | 0.73355
3599.067 | 2 | 217444 | 315303 | 372552 | 301766.3333 | 64041.9338 | 1.0548 | 0.77374
7198.845 | 3 | 233351 | 348386 | 410021 | 330586 | 73215.218 | 1.1555 | 0.84763
10798.602 | 4 | 251213 | 371358 | 435456 | 352675.6667 | 76368.1563 | 1.2327 | 0.90427
14398.381 | 5 | 266410 | 390889 | 458131 | 371810 | 79423.9328 | 1.2996 | 0.95333
17998.154 | 6 | 279795 | 410585 | 479653 | 390011 | 82878.5141 | 1.3632 | 1
21597.933 | 7 | 293632 | 428881 | 497655 | 406722.6667 | 84752.9348 | 1.4216 | 1.0428
25197.705 | 8 | 307674 | 448221 | 516743 | 424212.6667 | 87023.988 | 1.4828 | 1.0877
28797.478 | 9 | 323195 | 465733 | 537742 | 442223.3333 | 89152.0503 | 1.5457 | 1.1339
32397.257 | 10 | 337848 | 482698 | 558357 | 459634.3333 | 91487.7198 | 1.6066 | 1.1785
35997.03 | 11 | 349956 | 503565 | 577927 | 477149.3333 | 94924.6536 | 1.6678 | 1.2234
39596.805 | 12 | 368060 | 521126 | 598679 | 495955 | 95817.4139 | 1.7335 | 1.2716
43196.582 | 13 | 382276 | 539249 | 619429 | 513651.3333 | 98494.7266 | 1.7954 | 1.317
46796.355 | 14 | 397462 | 557330 | 637364 | 530718.6667 | 99730.8535 | 1.8551 | 1.3608
50396.13 | 15 | 411344 | 575075 | 655952 | 547457 | 101752.4246 | 1.9136 | 1.4037
53995.903 | 16 | 424097 | 592133 | 675768 | 563999.3333 | 104652.4421 | 1.9714 | 1.4461
57595.68 | 17 | 441240 | 610929 | 697170 | 583113 | 106318.1973 | 2.0382 | 1.4951
61195.457 | 18 | 453488 | 625884 | 710706 | 596692.6667 | 107018.3017 | 2.0857 | 1.5299
64795.233 | 19 | 472565 | 648939 | 732777 | 618093.6667 | 108447.0598 | 2.1605 | 1.5848
68395.007 | 20 | 488322 | 667196 | 755859 | 637125.6667 | 111271.98 | 2.227 | 1.6336
71994.782 | 21 | 504245 | 685223 | 778356 | 655941.3333 | 113804.7219 | 2.2928 | 1.6819
75594.561 | 22 | 520063 | 703528 | 797211 | 673600.6667 | 115107.16 | 2.3545 | 1.7271
79194.332 | 23 | 530515 | 718160 | 808990 | 685888.3333 | 115954.522 | 2.3974 | 1.7586
82794.108 | 24 | 551632 | 743173 | 835612 | 710139 | 118264.0942 | 2.4822 | 1.8208
86393.885 | 25 | 566587 | 758347 | 849721 | 724885 | 117985.8595 | 2.5337 | 1.8586
89993.662 | 26 | 574375 | 771526 | 862848 | 736249.6667 | 120381.2906 | 2.5735 | 1.8878
93593.435 | 27 | 587277 | 778311 | 871694 | 745760.6667 | 118372.0142 | 2.6067 | 1.9122
97193.21 | 28 | 594778 | 791523 | 883209 | 756503.3333 | 120327.0356 | 2.6443 | 1.9397
100792.988 | 29 | 606238 | 802563 | 892511 | 767104 | 119529.8098 | 2.6813 | 1.9669
104392.762 | 30 | 618403 | 813562 | 904345 | 778770 | 119299.537 | 2.7221 | 1.9968
107992.537 | 31 | 629020 | 823209 | 913584 | 788604.3333 | 118721.7468 | 2.7565 | 2.022
111592.308 | 32 | 639509 | 837007 | 924892 | 800469.3333 | 119337.3789 | 2.7979 | 2.0524
115192.085 | 33 | 648622 | 842063 | 938573 | 809752.6667 | 120556.6639 | 2.8304 | 2.0762
118791.863 | 34 | 657300 | 852584 | 944535 | 818139.6667 | 119765.8699 | 2.8597 | 2.0977
122391.637 | 35 | 666352 | 866100 | 954899 | 829117 | 120666.6193 | 2.8981 | 2.1259
125991.412 | 36 | 676252 | 872564 | 962490 | 837102 | 119516.2841 | 2.926 | 2.1464
129591.187 | 37 | 683395 | 882946 | 971963 | 846101.3333 | 120653.8292 | 2.9574 | 2.1694
133190.963 | 38 | 692373 | 893171 | 983381 | 856308.3333 | 121629.3719 | 2.9931 | 2.1956
136790.738 | 39 | 703182 | 903172 | 991278 | 865877.3333 | 120534.9062 | 3.0266 | 2.2201
140390.513 | 40 | 714262 | 909582 | 997843 | 873895.6667 | 118489.6105 | 3.0546 | 2.2407
143990.289 | 41 | 723728 | 925346 | 1009847 | 886307 | 120025.1451 | 3.098 | 2.2725
147590.064 | 42 | 729650 | 933058 | 1015563 | 892757 | 120151.8174 | 3.1205 | 2.2891
151189.839 | 43 | 746584 | 941757 | 1027968 | 905436.3333 | 117710.4696 | 3.1648 | 2.3216
154789.617 | 44 | 760729 | 963506 | 1049459 | 924564.6667 | 121047.0261 | 3.2317 | 2.3706
158389.392 | 45 | 774546 | 978233 | 1064283 | 939020.6667 | 121490.9808 | 3.2822 | 2.4077
161989.167 | 46 | 784848 | 991064 | 1076818 | 950910 | 122531.2967 | 3.3238 | 2.4382
165588.943 | 47 | 793774 | 999191 | 1086933 | 959966 | 122853.5722 | 3.3554 | 2.4614
169188.718 | 48 | 801509 | 1005535 | 1093445 | 966829.6667 | 122284.4611 | 3.3794 | 2.479
172788.5 | 49 | 808948 | 1013715 | 1100082 | 974248.3333 | 122087.3043 | 3.4054 | 2.498
176388.269 | 50 | 813318 | 1010785 | 1097229 | 973777.3333 | 118823.5092 | 3.4037 | 2.4968
179988.044 | 51 | 815210 | 1012390 | 1095027 | 974209 | 117381.7985 | 3.4052 | 2.4979
183587.82 | 52 | 816165 | 1017477 | 1094876 | 976172.6667 | 117471.9579 | 3.4121 | 2.5029
187187.595 | 53 | 823047 | 1017306 | 1094016 | 978123 | 114039.5556 | 3.4189 | 2.5079
190787.372 | 54 | 826602 | 1021588 | 1094174 | 980788 | 112981.3371 | 3.4282 | 2.5148
194387.148 | 55 | 833821 | 1023362 | 1097597 | 984926.6667 | 111062.7471 | 3.4427 | 2.5254
197986.931 | 56 | 837325 | 1029556 | 1101978 | 989619.6667 | 111673.5888 | 3.4591 | 2.5374
201586.701 | 57 | 843804 | 1029220 | 1098376 | 990466.6667 | 107480.5143 | 3.462 | 2.5396
205186.474 | 58 | 849989 | 1036365 | 1104181 | 996845 | 107470.2006 | 3.4843 | 2.5559
208786.238 | 59 | 856389 | 1042730 | 1108401 | 1002506.6667 | 106742.5234 | 3.5041 | 2.5705
212386.014 | 60 | 861248 | 1046502 | 1109950 | 1005900 | 105513.2314 | 3.516 | 2.5792
215985.793 | 61 | 868144 | 1051309 | 1111948 | 1010467 | 103637.6679 | 3.532 | 2.5909
219585.565 | 62 | 873648 | 1053106 | 1117761 | 1014838.3333 | 103266.9677 | 3.5472 | 2.6021
223185.342 | 63 | 881348 | 1053795 | 1121094 | 1018745.6667 | 100964.9377 | 3.5609 | 2.6121
223185.342 | 64 | 887541 | 1060176 | 1122229 | 1023315.3333 | 99292.987 | 3.5769 | 2.6238
223185.342 | 65 | 896778 | 1061673 | 1122201 | 1026884 | 95259.6036 | 3.5893 | 2.633
223185.342 | 66 | 904391 | 1071036 | 1127997 | 1034474.6667 | 94876.9699 | 3.6159 | 2.6524
223185.342 | 67 | 911013 | 1075799 | 1132786 | 1039866 | 94036.1677 | 3.6347 | 2.6662
223185.342 | 68 | 921178 | 1085207 | 1141754 | 1049379.6667 | 93545.5016 | 3.668 | 2.6906
223185.342 | 69 | 925923 | 1082861 | 1138926 | 1049236.6667 | 90149.9356 | 3.6675 | 2.6903
223185.342 | 70 | 934747 | 1091599 | 1148640 | 1058328.6667 | 90435.0233 | 3.6993 | 2.7136
223185.342 | 71 | 941148 | 1100891 | 1151927 | 1064655.3333 | 89783.8678 | 3.7214 | 2.7298
223185.342 | 72 | 953545 | 1107917 | 1155603 | 1072355 | 86237.4657 | 3.7483 | 2.7496
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 empty
HCT 116 M4KO 1 + PB empty
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 356453 | 380871 | 280166 | 339163.3333 | 42891.9082 | 1 | 0.71163
3599.067 | 2 | 374507 | 403156 | 318281 | 365314.6667 | 35254.4621 | 1.0771 | 0.7665
7198.845 | 3 | 412934 | 445073 | 352570 | 403525.6667 | 38345.6978 | 1.1898 | 0.84667
10798.602 | 4 | 441469 | 472688 | 377605 | 430587.3333 | 39572.7366 | 1.2696 | 0.90345
14398.381 | 5 | 464472 | 499903 | 401222 | 455199 | 40816.47 | 1.3421 | 0.95509
17998.154 | 6 | 485493 | 523958 | 420356 | 476602.3333 | 42760.0013 | 1.4052 | 1
21597.933 | 7 | 504915 | 543597 | 438247 | 495586.3333 | 43511.8654 | 1.4612 | 1.0398
25197.705 | 8 | 524733 | 565576 | 459374 | 516561 | 43740.16 | 1.523 | 1.0838
28797.478 | 9 | 546257 | 584812 | 474987 | 535352 | 45494.1163 | 1.5784 | 1.1233
32397.257 | 10 | 568125 | 603909 | 493744 | 555259.3333 | 45885.5521 | 1.6371 | 1.165
35997.03 | 11 | 586865 | 622381 | 513241 | 574162.3333 | 45452.5629 | 1.6929 | 1.2047
39596.805 | 12 | 608267 | 648863 | 530706 | 595945.3333 | 49017.9339 | 1.7571 | 1.2504
43196.582 | 13 | 626081 | 666416 | 548165 | 613554 | 49081.6941 | 1.809 | 1.2873
46796.355 | 14 | 645522 | 687210 | 565914 | 632882 | 50319.0296 | 1.866 | 1.3279
50396.13 | 15 | 667183 | 705397 | 584044 | 652208 | 50661.1332 | 1.923 | 1.3685
53995.903 | 16 | 683158 | 724375 | 601917 | 669816.6667 | 50875.5594 | 1.9749 | 1.4054
57595.68 | 17 | 701442 | 745875 | 618388 | 688568.3333 | 52836.4285 | 2.0302 | 1.4447
61195.457 | 18 | 720145 | 763453 | 635352 | 706316.6667 | 53203.2809 | 2.0825 | 1.482
64795.233 | 19 | 742783 | 785056 | 655986 | 727941.6667 | 53727.4921 | 2.1463 | 1.5274
68395.007 | 20 | 765769 | 808247 | 677593 | 750536.3333 | 54415.9445 | 2.2129 | 1.5748
71994.782 | 21 | 786345 | 830110 | 696542 | 770999 | 55598.1261 | 2.2732 | 1.6177
75594.561 | 22 | 801103 | 847957 | 712079 | 787046.3333 | 56355.4205 | 2.3206 | 1.6514
79194.332 | 23 | 813562 | 859809 | 726712 | 800027.6667 | 55172.9794 | 2.3588 | 1.6786
82794.108 | 24 | 842622 | 888565 | 751421 | 827536 | 56995.9632 | 2.4399 | 1.7363
86393.885 | 25 | 857197 | 901803 | 767057 | 842019 | 56047.0034 | 2.4826 | 1.7667
89993.662 | 26 | 871105 | 916402 | 777290 | 854932.3333 | 57932.1643 | 2.5207 | 1.7938
93593.435 | 27 | 880339 | 923427 | 783299 | 862355 | 58603.369 | 2.5426 | 1.8094
97193.21 | 28 | 885527 | 932985 | 795600 | 871370.6667 | 56973.4493 | 2.5692 | 1.8283
100792.988 | 29 | 894896 | 943794 | 807339 | 882009.6667 | 56447.8222 | 2.6005 | 1.8506
104392.762 | 30 | 907080 | 952975 | 817760 | 892605 | 56142.1902 | 2.6318 | 1.8729
107992.537 | 31 | 918157 | 963154 | 826300 | 902537 | 56951.6908 | 2.6611 | 1.8937
111592.308 | 32 | 927487 | 975707 | 832572 | 911922 | 59462.083 | 2.6887 | 1.9134
115192.085 | 33 | 937601 | 982829 | 844064 | 921498 | 57783.569 | 2.717 | 1.9335
118791.863 | 34 | 947764 | 992991 | 853788 | 931514.3333 | 57979.3501 | 2.7465 | 1.9545
122391.637 | 35 | 957405 | 1000204 | 858927 | 938845.3333 | 59150.3373 | 2.7681 | 1.9699
125991.412 | 36 | 962148 | 1008687 | 867621 | 946152 | 58690.1928 | 2.7897 | 1.9852
129591.187 | 37 | 964911 | 1011843 | 875210 | 950654.6667 | 56683.7805 | 2.8029 | 1.9946
133190.963 | 38 | 978101 | 1018561 | 883885 | 960182.3333 | 56422.3077 | 2.831 | 2.0146
136790.738 | 39 | 986140 | 1027155 | 887601 | 966965.3333 | 58563.8148 | 2.851 | 2.0289
140390.513 | 40 | 991466 | 1029856 | 895385 | 972235.6667 | 56556.5602 | 2.8666 | 2.0399
143990.289 | 41 | 998872 | 1040317 | 904947 | 981378.6667 | 56631.9801 | 2.8935 | 2.0591
147590.064 | 42 | 1007118 | 1049756 | 909185 | 988686.3333 | 58849.2212 | 2.9151 | 2.0744
151189.839 | 43 | 1018203 | 1062042 | 923925 | 1001390 | 57625.7127 | 2.9525 | 2.1011
154789.617 | 44 | 1035816 | 1076924 | 941669 | 1018136.3333 | 56615.1141 | 3.0019 | 2.1362
158389.392 | 45 | 1050130 | 1091759 | 958533 | 1033474 | 55649.8489 | 3.0471 | 2.1684
161989.167 | 46 | 1064180 | 1103433 | 966558 | 1044723.6667 | 57547.6793 | 3.0803 | 2.192
165588.943 | 47 | 1069951 | 1115030 | 975819 | 1053600 | 57996.7932 | 3.1065 | 2.2106
169188.718 | 48 | 1072751 | 1114784 | 979558 | 1055697.6667 | 56507.4031 | 3.1127 | 2.215
172788.5 | 49 | 1080278 | 1118626 | 986050 | 1061651.3333 | 55703.4618 | 3.1302 | 2.2275
176388.269 | 50 | 1077487 | 1115184 | 979957 | 1057542.6667 | 56979.0471 | 3.1181 | 2.2189
179988.044 | 51 | 1074528 | 1104909 | 974503 | 1051313.3333 | 55711.2901 | 3.0997 | 2.2059
183587.82 | 52 | 1072003 | 1099256 | 975820 | 1049026.3333 | 52946.8723 | 3.093 | 2.2011
187187.595 | 53 | 1071901 | 1101407 | 975664 | 1049657.3333 | 53689.9186 | 3.0948 | 2.2024
190787.372 | 54 | 1071149 | 1102164 | 977441 | 1050251.3333 | 53018.8082 | 3.0966 | 2.2036
194387.148 | 55 | 1070594 | 1098343 | 977931 | 1048956 | 51484.0734 | 3.0928 | 2.2009
197986.931 | 56 | 1071978 | 1098495 | 979494 | 1049989 | 51009.454 | 3.0958 | 2.2031
201586.701 | 57 | 1070281 | 1095936 | 980174 | 1048797 | 49641.2587 | 3.0923 | 2.2006
205186.474 | 58 | 1067175 | 1096744 | 980403 | 1048107.3333 | 49372.6578 | 3.0903 | 2.1991
208786.238 | 59 | 1073028 | 1100221 | 984370 | 1052539.6667 | 49465.088 | 3.1033 | 2.2084
212386.014 | 60 | 1072438 | 1096710 | 982785 | 1050644.3333 | 48996.2538 | 3.0978 | 2.2044
215985.793 | 61 | 1074098 | 1099018 | 985480 | 1052865.3333 | 48722.6091 | 3.1043 | 2.2091
219585.565 | 62 | 1072592 | 1094850 | 987719 | 1051720.3333 | 46159.0196 | 3.1009 | 2.2067
223185.342 | 63 | 1075498 | 1099130 | 987483 | 1054037 | 48039.5257 | 3.1078 | 2.2116
223185.342 | 64 | 1073486 | 1099152 | 986773 | 1053137 | 48082.022 | 3.1051 | 2.2097
223185.342 | 65 | 1070809 | 1095941 | 987637 | 1051462.3333 | 46282.8927 | 3.1002 | 2.2062
223185.342 | 66 | 1071063 | 1097779 | 989189 | 1052677 | 46198.7069 | 3.1037 | 2.2087
223185.342 | 67 | 1071728 | 1099527 | 994951 | 1055402 | 44226.2264 | 3.1118 | 2.2144
223185.342 | 68 | 1077986 | 1100728 | 1001098 | 1059937.3333 | 42629.0199 | 3.1252 | 2.2239
223185.342 | 69 | 1077230 | 1104084 | 1007602 | 1062972 | 40658.4309 | 3.1341 | 2.2303
223185.342 | 70 | 1077263 | 1102634 | 1007506 | 1062467.6667 | 40220.3142 | 3.1326 | 2.2293
223185.342 | 71 | 1076880 | 1101935 | 1013245 | 1064020 | 37331.9678 | 3.1372 | 2.2325
223185.342 | 72 | 1081366 | 1102001 | 1017592 | 1066986.3333 | 35928.6416 | 3.1459 | 2.2387
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sheet5
1304