## Result sheet1
Method name: Real-time Glo assay
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1708003802
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2
Date: |  |  |  | 2019-04-28
Time: |  |  |  | 5:55 PM
System |  |  |  | IBMMPC127
User |  |  |  | BIOMOLNT\grppeinelt
Plate |  |  |  | [COS96fw] - Costar 96 Flat White Cat. No.: 3600/3362/3917/3912/3922/3596
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | Humidity cassette -Small
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Gas
Temperature
Kinetic
|  | Luminescence |  |  |  | real-time glo
Name |  |  |  | COS96fw
Plate layout
Plate area |  |  |  | B2-E10
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | SM1_1 | SM1_2 | SM1_3 | SM2_1 | SM2_2 | SM2_3 | SM3_1 | SM3_2 | SM3_3 | None | None
C | None | SM4_1 | SM4_2 | SM4_3 | SM5_1 | SM5_2 | SM5_3 | SM6_1 | SM6_2 | SM6_3 | None | None
D | None | SM7_1 | SM7_2 | SM7_3 | SM8_1 | SM8_2 | SM8_3 | SM9_1 | SM9_2 | SM9_3 | None | None
E | None | SM10_1 | SM10_2 | SM10_3 | SM11_1 | SM11_2 | SM11_3 | BL1_1 | BL1_2 | BL1_3 | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2019-04-25 17:55:07
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 73
Interval time |  |  |  | 01:00:00 | hh:mm:ss
Mode | Luminescence
Name | real-time glo
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 500 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-E10
Start Time |  |  |  | 2019-04-25 17:55:13
real-time glo
Cycle Nr. | Time [s] | CO2 % | O2 % | Temp. [°C] | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10
1 | 0 | 4.7 |  | 36.9 | 231516 | 287116 | 257593 | 184254 | 235325 | 243718 | 365888 | 245736 | 83697 | 361731 | 422325 | 276135 | 305477 | 351338 | 323482 | 231516 | 287116 | 257593 | 463777 | 328899 | 291233 | 507690 | 241411 | 380462 | 281094 | 240369 | 276053 | 359187 | 264548 | 244750 | 319667 | 281376 | 274330 | 553 | 463 | 319
2 | 3599.065 | 5 |  | 37 | 304389 | 370704 | 332452 | 247981 | 311584 | 319845 | 454340 | 314047 | 110498 | 458551 | 530730 | 368801 | 402146 | 449764 | 418852 | 304389 | 370704 | 332452 | 575132 | 422068 | 377890 | 617818 | 314084 | 474617 | 359880 | 311450 | 347542 | 450629 | 339716 | 322758 | 393674 | 351465 | 348898 | 627 | 567 | 411
3 | 7198.849 | 5 |  | 37 | 345650 | 413754 | 376765 | 281720 | 349033 | 360590 | 486464 | 346823 | 128215 | 506747 | 580369 | 412905 | 447097 | 496120 | 465777 | 345650 | 413754 | 376765 | 627818 | 469997 | 418963 | 673255 | 352766 | 524570 | 399925 | 349917 | 390045 | 500864 | 382514 | 360374 | 434862 | 390851 | 388611 | 811 | 735 | 481
4 | 10798.626 | 5 |  | 37 | 375075 | 449432 | 408332 | 307466 | 380904 | 390460 | 516665 | 370634 | 141930 | 544697 | 619549 | 447156 | 479134 | 532351 | 502899 | 375075 | 449432 | 408332 | 666922 | 505519 | 453036 | 720970 | 382004 | 562910 | 430072 | 379689 | 420014 | 536490 | 412981 | 390731 | 465181 | 419573 | 422382 | 830 | 702 | 492
5 | 14398.405 | 5 |  | 37 | 398465 | 476893 | 435120 | 327638 | 401472 | 414855 | 539980 | 391243 | 153000 | 574588 | 656517 | 474875 | 511264 | 564610 | 530051 | 398465 | 476893 | 435120 | 698688 | 532438 | 480282 | 757503 | 404839 | 594988 | 457408 | 402838 | 448823 | 565034 | 436846 | 415435 | 492869 | 442732 | 446963 | 885 | 767 | 501
6 | 17998.183 | 4.9 |  | 37 | 422386 | 502791 | 460413 | 346284 | 424071 | 436121 | 563253 | 409911 | 162497 | 605649 | 687463 | 498984 | 540298 | 595895 | 557472 | 422386 | 502791 | 460413 | 733137 | 562108 | 507354 | 791751 | 426867 | 627431 | 483971 | 428136 | 472186 | 593066 | 460717 | 439475 | 516603 | 468714 | 474202 | 880 | 882 | 552
7 | 21597.96 | 5 |  | 37 | 445258 | 527361 | 484621 | 366159 | 447690 | 458013 | 585966 | 430415 | 172107 | 639931 | 721503 | 525797 | 566754 | 623937 | 587617 | 445258 | 527361 | 484621 | 765217 | 588358 | 531483 | 829432 | 448877 | 657332 | 509895 | 446827 | 496025 | 618149 | 485037 | 460531 | 540002 | 489970 | 498545 | 1013 | 791 | 565
8 | 25197.736 | 5 |  | 37 | 470364 | 553813 | 508590 | 384122 | 471378 | 483145 | 614196 | 451310 | 182045 | 668308 | 752092 | 552293 | 597177 | 656606 | 617673 | 470364 | 553813 | 508590 | 796179 | 615385 | 558797 | 861089 | 472455 | 686789 | 534002 | 472264 | 523151 | 648996 | 510851 | 482962 | 563854 | 511149 | 518073 | 1074 | 974 | 604
9 | 28797.514 | 5 |  | 37 | 493771 | 579595 | 532731 | 405844 | 493771 | 507354 | 639109 | 471330 | 195344 | 705212 | 788517 | 581925 | 625116 | 685713 | 646219 | 493771 | 579595 | 532731 | 830688 | 645155 | 584392 | 895106 | 494371 | 715881 | 560643 | 495522 | 545790 | 677912 | 532025 | 507131 | 584235 | 532710 | 534763 | 1105 | 870 | 648
10 | 32397.295 | 5 |  | 37 | 513583 | 605796 | 558283 | 425663 | 516000 | 530126 | 665955 | 493630 | 205641 | 730323 | 818708 | 606819 | 653636 | 714999 | 676488 | 513583 | 605796 | 558283 | 860474 | 672796 | 611794 | 929905 | 517851 | 746844 | 585596 | 516725 | 571615 | 704015 | 555384 | 526619 | 605136 | 549819 | 556430 | 1046 | 1058 | 666
11 | 35997.073 | 4.9 |  | 37 | 539674 | 633123 | 581069 | 446897 | 541572 | 555528 | 693416 | 516236 | 216600 | 761688 | 848727 | 634565 | 682767 | 743655 | 706194 | 539674 | 633123 | 581069 | 897916 | 700162 | 637154 | 958964 | 534710 | 771171 | 611709 | 539744 | 593454 | 732521 | 579428 | 547331 | 626295 | 567930 | 573927 | 1134 | 1016 | 696
12 | 39596.849 | 5 |  | 37 | 561127 | 657502 | 606968 | 466160 | 566579 | 577698 | 721569 | 540620 | 228594 | 789609 | 876833 | 659932 | 715652 | 776535 | 735674 | 561127 | 657502 | 606968 | 927551 | 725180 | 664399 | 987424 | 557939 | 797153 | 634121 | 563563 | 615636 | 760237 | 603320 | 571040 | 642042 | 588208 | 591611 | 1295 | 1049 | 739
13 | 43196.628 | 5 |  | 37 | 585738 | 682480 | 626962 | 487503 | 592473 | 604832 | 751335 | 562986 | 240859 | 820904 | 905479 | 683883 | 742837 | 802812 | 763860 | 585738 | 682480 | 626962 | 957104 | 754391 | 688521 | 1013560 | 577020 | 823575 | 658234 | 585872 | 641611 | 785108 | 624930 | 591959 | 660235 | 601879 | 606758 | 1198 | 1078 | 726
14 | 46796.41 | 5 |  | 37 | 611507 | 706759 | 652609 | 509469 | 614141 | 627845 | 780076 | 587907 | 255353 | 848415 | 938732 | 710821 | 773851 | 837667 | 792709 | 611507 | 706759 | 652609 | 989241 | 784254 | 714742 | 1041317 | 599033 | 847968 | 685049 | 605645 | 663421 | 810806 | 648063 | 614982 | 678766 | 620890 | 624026 | 1303 | 1127 | 751
15 | 50396.188 | 5 |  | 37 | 636825 | 738017 | 680875 | 536258 | 641721 | 654781 | 813165 | 617559 | 269640 | 880664 | 969186 | 744159 | 804370 | 870150 | 827872 | 636825 | 738017 | 680875 | 1025325 | 816773 | 748197 | 1078447 | 622275 | 878744 | 712216 | 632798 | 691615 | 843534 | 675983 | 643814 | 702211 | 642246 | 645154 | 1335 | 1183 | 749
16 | 53995.965 | 5 |  | 37 | 671371 | 773822 | 716081 | 565100 | 676465 | 687851 | 855109 | 648443 | 288453 | 921446 | 1012092 | 781371 | 843167 | 913812 | 865096 | 671371 | 773822 | 716081 | 1069502 | 851270 | 783834 | 1117890 | 651835 | 917540 | 745830 | 664005 | 723378 | 880713 | 704887 | 673282 | 727337 | 667904 | 667197 | 1434 | 1264 | 844
17 | 57595.742 | 5 |  | 37 | 697842 | 801792 | 742170 | 589368 | 699975 | 717389 | 889611 | 679365 | 303473 | 954182 | 1043923 | 812156 | 873908 | 943200 | 897042 | 697842 | 801792 | 742170 | 1108676 | 885741 | 812929 | 1148997 | 678833 | 948294 | 770009 | 687821 | 747772 | 908749 | 731838 | 699273 | 746102 | 691515 | 687478 | 1482 | 1358 | 808
18 | 61195.52 | 5 |  | 37 | 723351 | 830344 | 768664 | 613111 | 730729 | 743414 | 922976 | 707827 | 318657 | 986088 | 1077631 | 844828 | 903476 | 975054 | 929322 | 723351 | 830344 | 768664 | 1137592 | 917905 | 846409 | 1184498 | 704858 | 976085 | 799178 | 716839 | 776255 | 937398 | 757602 | 727908 | 767161 | 710824 | 701334 | 1614 | 1352 | 865
19 | 64795.299 | 5 |  | 37 | 749075 | 859110 | 796741 | 638948 | 759350 | 774707 | 957200 | 734690 | 335872 | 1023067 | 1115019 | 876137 | 934714 | 1009095 | 960231 | 749075 | 859110 | 796741 | 1173889 | 950178 | 874991 | 1212130 | 728153 | 1002746 | 829045 | 741047 | 801022 | 969365 | 785945 | 752227 | 789707 | 725907 | 721671 | 1582 | 1444 | 880
20 | 68395.078 | 5 |  | 37 | 776185 | 886759 | 824741 | 662606 | 787255 | 801007 | 992670 | 765283 | 352344 | 1053732 | 1144711 | 905731 | 968621 | 1037154 | 991739 | 776185 | 886759 | 824741 | 1211945 | 980068 | 900985 | 1242279 | 749197 | 1030234 | 858558 | 765798 | 830550 | 995882 | 809289 | 775092 | 810084 | 745970 | 741154 | 1589 | 1399 | 1023
21 | 71994.859 | 5 |  | 37 | 796787 | 908539 | 845475 | 683920 | 813760 | 824957 | 1023080 | 792896 | 369032 | 1085380 | 1171932 | 931665 | 990598 | 1061361 | 1013339 | 796787 | 908539 | 845475 | 1238279 | 1003096 | 928400 | 1269523 | 771024 | 1057282 | 878570 | 787017 | 852281 | 1022281 | 833283 | 798705 | 826958 | 759683 | 750754 | 1706 | 1536 | 976
22 | 75594.634 | 5 |  | 37.1 | 818837 | 930572 | 865768 | 704652 | 835959 | 849415 | 1051933 | 817144 | 383594 | 1107144 | 1197049 | 960917 | 1014099 | 1087722 | 1038795 | 818837 | 930572 | 865768 | 1260745 | 1024817 | 948700 | 1286554 | 789306 | 1082844 | 901700 | 806940 | 872003 | 1038926 | 848386 | 820420 | 836425 | 777314 | 763645 | 1736 | 1526 | 964
23 | 79194.413 | 5 |  | 37 | 837044 | 948454 | 886237 | 724708 | 860390 | 869565 | 1078744 | 844761 | 400596 | 1131886 | 1220406 | 988631 | 1037127 | 1107941 | 1059191 | 837044 | 948454 | 886237 | 1283614 | 1046695 | 972682 | 1309222 | 811581 | 1102596 | 923650 | 826950 | 889800 | 1055687 | 868874 | 838830 | 848783 | 788682 | 774335 | 1648 | 1524 | 951
24 | 82794.191 | 5 |  | 37 | 854687 | 966095 | 899708 | 740780 | 876642 | 888984 | 1107623 | 866253 | 411976 | 1150946 | 1238574 | 1006026 | 1055776 | 1128063 | 1078434 | 854687 | 966095 | 899708 | 1297586 | 1066393 | 986201 | 1317613 | 827195 | 1116980 | 937653 | 839049 | 902200 | 1067592 | 880441 | 854305 | 858862 | 795453 | 777262 | 1737 | 1537 | 957
25 | 86393.968 | 5 |  | 37 | 871871 | 982123 | 916359 | 759879 | 894048 | 907757 | 1129208 | 887043 | 426738 | 1169203 | 1257318 | 1031200 | 1074454 | 1147290 | 1093322 | 871871 | 982123 | 916359 | 1313561 | 1086093 | 1009582 | 1331367 | 845375 | 1130811 | 952215 | 857994 | 913668 | 1085156 | 896771 | 870783 | 866505 | 806179 | 786672 | 1809 | 1506 | 1026
26 | 89993.747 | 5 |  | 37 | 887176 | 994868 | 930195 | 778928 | 913676 | 924363 | 1152371 | 910266 | 440744 | 1187481 | 1273555 | 1052472 | 1095046 | 1163515 | 1111553 | 887176 | 994868 | 930195 | 1330200 | 1101878 | 1024754 | 1340135 | 861552 | 1146825 | 964931 | 872246 | 932549 | 1095794 | 907772 | 887577 | 874695 | 813883 | 788147 | 1841 | 1509 | 1166
27 | 93593.525 | 5 |  | 37 | 902379 | 1015305 | 945791 | 796854 | 933173 | 942602 | 1176605 | 927201 | 454265 | 1206667 | 1295267 | 1078016 | 1113523 | 1181299 | 1129016 | 902379 | 1015305 | 945791 | 1347807 | 1121755 | 1042190 | 1357011 | 881005 | 1162808 | 984726 | 887668 | 939796 | 1110809 | 924182 | 904876 | 885103 | 823130 | 796863 | 1810 | 1522 | 1132
28 | 97193.305 | 5 |  | 37 | 921277 | 1029694 | 967181 | 816486 | 953714 | 963464 | 1206067 | 955173 | 472095 | 1228077 | 1312832 | 1100315 | 1133104 | 1198688 | 1148311 | 921277 | 1029694 | 967181 | 1364457 | 1139713 | 1062074 | 1374496 | 900916 | 1181539 | 996669 | 901096 | 961649 | 1124512 | 936466 | 918147 | 891395 | 829100 | 804885 | 1816 | 1502 | 1118
29 | 100793.086 | 5 |  | 37 | 937894 | 1044999 | 981071 | 833080 | 974467 | 977499 | 1226284 | 975392 | 485422 | 1248046 | 1332873 | 1124279 | 1148114 | 1216322 | 1164163 | 937894 | 1044999 | 981071 | 1383569 | 1159381 | 1081384 | 1384146 | 918949 | 1192237 | 1014878 | 920897 | 969937 | 1141684 | 953166 | 933566 | 897548 | 838121 | 809156 | 1975 | 1651 | 1007
30 | 104392.86 | 5 |  | 37 | 955314 | 1061072 | 995582 | 853928 | 992045 | 1002412 | 1253669 | 1001447 | 500698 | 1272399 | 1355702 | 1147426 | 1165471 | 1234992 | 1182084 | 955314 | 1061072 | 995582 | 1400847 | 1175623 | 1102193 | 1396656 | 934616 | 1211364 | 1027525 | 934374 | 985987 | 1153694 | 967818 | 951073 | 905160 | 844637 | 816754 | 1877 | 1699 | 1135
31 | 107992.639 | 5 |  | 37 | 971330 | 1079927 | 1012613 | 876584 | 1013491 | 1018124 | 1275021 | 1020570 | 518383 | 1292195 | 1374551 | 1173563 | 1184379 | 1250457 | 1196648 | 971330 | 1079927 | 1012613 | 1418040 | 1192514 | 1118002 | 1410344 | 954572 | 1224943 | 1046146 | 949637 | 1001109 | 1169977 | 980401 | 967519 | 916771 | 853303 | 817417 | 1862 | 1588 | 1158
32 | 111592.418 | 5 |  | 37 | 986563 | 1095085 | 1032734 | 893827 | 1032688 | 1032230 | 1304873 | 1048415 | 531734 | 1305965 | 1384710 | 1194475 | 1198957 | 1267131 | 1218523 | 986563 | 1095085 | 1032734 | 1436175 | 1212993 | 1135785 | 1422318 | 971713 | 1239449 | 1057462 | 966019 | 1013103 | 1183462 | 995026 | 983822 | 922139 | 853408 | 828433 | 2056 | 1780 | 1194
33 | 115192.199 | 5 |  | 37 | 1005764 | 1108497 | 1047079 | 913293 | 1051147 | 1056135 | 1321033 | 1066461 | 547931 | 1327520 | 1402066 | 1217652 | 1215810 | 1281719 | 1230631 | 1005764 | 1108497 | 1047079 | 1443232 | 1227148 | 1151331 | 1433000 | 981964 | 1253353 | 1069686 | 979392 | 1026379 | 1192716 | 1006800 | 999414 | 929985 | 861208 | 829935 | 2019 | 1607 | 1237
34 | 118791.973 | 5 |  | 37 | 1017707 | 1120140 | 1056806 | 931116 | 1068091 | 1068474 | 1346793 | 1084342 | 563779 | 1340823 | 1418554 | 1235962 | 1231029 | 1295361 | 1244286 | 1017707 | 1120140 | 1056806 | 1462849 | 1242055 | 1166322 | 1442797 | 999384 | 1260752 | 1083791 | 991742 | 1035345 | 1204049 | 1021086 | 1013362 | 934746 | 867002 | 833357 | 2035 | 1741 | 1187
35 | 122391.753 | 5.1 |  | 37 | 1031683 | 1134992 | 1071818 | 944843 | 1085335 | 1085146 | 1360833 | 1104248 | 577686 | 1357892 | 1430136 | 1261449 | 1242692 | 1310454 | 1257237 | 1031683 | 1134992 | 1071818 | 1469963 | 1252444 | 1182683 | 1450025 | 1014796 | 1278826 | 1091831 | 1003032 | 1043931 | 1213776 | 1032542 | 1025435 | 939136 | 869801 | 837009 | 1902 | 1686 | 1086
36 | 125991.536 | 5.1 |  | 37 | 1045711 | 1149278 | 1087788 | 968764 | 1101517 | 1107790 | 1382040 | 1123117 | 590433 | 1377586 | 1442121 | 1282049 | 1261273 | 1324044 | 1269066 | 1045711 | 1149278 | 1087788 | 1484640 | 1271457 | 1198779 | 1460701 | 1035055 | 1293235 | 1107484 | 1020659 | 1055501 | 1225303 | 1043292 | 1041381 | 947427 | 877164 | 839890 | 2039 | 1641 | 1181
37 | 129591.31 | 5 |  | 37 | 1061127 | 1165315 | 1100068 | 982448 | 1122913 | 1118088 | 1397650 | 1139840 | 604698 | 1384849 | 1451759 | 1303309 | 1273644 | 1336870 | 1281494 | 1061127 | 1165315 | 1100068 | 1495291 | 1285042 | 1212462 | 1468725 | 1050457 | 1309086 | 1116682 | 1026008 | 1064557 | 1239735 | 1056046 | 1054531 | 953012 | 881941 | 848658 | 1958 | 1812 | 1192
38 | 133191.09 | 5 |  | 37 | 1073507 | 1177143 | 1113076 | 1000794 | 1134290 | 1136093 | 1408610 | 1157492 | 616842 | 1399507 | 1463770 | 1321399 | 1285529 | 1349786 | 1293989 | 1073507 | 1177143 | 1113076 | 1509760 | 1298599 | 1230358 | 1472728 | 1068162 | 1315961 | 1128525 | 1034374 | 1071443 | 1245553 | 1069350 | 1069546 | 961437 | 885180 | 848626 | 2197 | 1931 | 1265
39 | 136790.871 | 5 |  | 37 | 1086175 | 1184910 | 1125206 | 1018241 | 1150782 | 1147254 | 1423298 | 1173196 | 628600 | 1406588 | 1466849 | 1334815 | 1295232 | 1358408 | 1303668 | 1086175 | 1184910 | 1125206 | 1515183 | 1309774 | 1238753 | 1478024 | 1080953 | 1325288 | 1134326 | 1046153 | 1074774 | 1253300 | 1077624 | 1080913 | 959572 | 885653 | 851712 | 1992 | 1758 | 1210
40 | 140390.649 | 5 |  | 37 | 1098431 | 1194962 | 1133422 | 1032976 | 1167006 | 1159882 | 1432269 | 1187758 | 640496 | 1415998 | 1481902 | 1349798 | 1308820 | 1369764 | 1313982 | 1098431 | 1194962 | 1133422 | 1525941 | 1317747 | 1254314 | 1482998 | 1091722 | 1332059 | 1137691 | 1047333 | 1078735 | 1262010 | 1090654 | 1096496 | 961447 | 890848 | 850278 | 2231 | 1795 | 1249
41 | 143990.423 | 4.9 |  | 37 | 1109262 | 1203583 | 1145137 | 1044948 | 1177158 | 1176879 | 1444751 | 1200065 | 655272 | 1422939 | 1489521 | 1370747 | 1317189 | 1377434 | 1321304 | 1109262 | 1203583 | 1145137 | 1531278 | 1326511 | 1265202 | 1483690 | 1105284 | 1344536 | 1139556 | 1055583 | 1081920 | 1268929 | 1101313 | 1101765 | 964367 | 887801 | 853041 | 2155 | 1714 | 1188
42 | 147590.206 | 5 |  | 37 | 1121106 | 1212506 | 1153809 | 1064806 | 1195294 | 1189539 | 1457255 | 1212411 | 666629 | 1434606 | 1502222 | 1384489 | 1328300 | 1391283 | 1331112 | 1121106 | 1212506 | 1153809 | 1537983 | 1338427 | 1275007 | 1484397 | 1118175 | 1347774 | 1149138 | 1060302 | 1088169 | 1273757 | 1106221 | 1116113 | 965878 | 892894 | 854999 | 2160 | 1918 | 1142
43 | 151189.984 | 5 |  | 37 | 1127175 | 1219127 | 1160199 | 1077867 | 1202504 | 1195146 | 1460947 | 1221475 | 676481 | 1438442 | 1503327 | 1392544 | 1337465 | 1395551 | 1335617 | 1127175 | 1219127 | 1160199 | 1544649 | 1348501 | 1285153 | 1484636 | 1132390 | 1357666 | 1148535 | 1063074 | 1081554 | 1277535 | 1111885 | 1128791 | 966872 | 893074 | 851609 | 2112 | 1820 | 1318
44 | 154789.766 | 5 |  | 37 | 1141421 | 1228717 | 1168626 | 1091621 | 1225705 | 1214088 | 1466787 | 1235982 | 689234 | 1444332 | 1508557 | 1406551 | 1344627 | 1403818 | 1347107 | 1141421 | 1228717 | 1168626 | 1547177 | 1355611 | 1295815 | 1483899 | 1141769 | 1362980 | 1152218 | 1070041 | 1086987 | 1283345 | 1124083 | 1137994 | 966281 | 894601 | 851151 | 2071 | 1810 | 1220
45 | 158389.54 | 5 |  | 37 | 1148571 | 1235510 | 1177145 | 1108844 | 1231007 | 1222076 | 1471390 | 1245720 | 698419 | 1450785 | 1513876 | 1416039 | 1352104 | 1406815 | 1347685 | 1148571 | 1235510 | 1177145 | 1546797 | 1367014 | 1306401 | 1485654 | 1153417 | 1366824 | 1152596 | 1073411 | 1087958 | 1290223 | 1129540 | 1146060 | 965759 | 897985 | 852062 | 2117 | 1865 | 1273
46 | 161989.319 | 5 |  | 37 | 1153612 | 1242983 | 1183696 | 1119483 | 1245073 | 1233281 | 1471603 | 1252161 | 704733 | 1453822 | 1511965 | 1425897 | 1357017 | 1408381 | 1359291 | 1153612 | 1242983 | 1183696 | 1553399 | 1365896 | 1311623 | 1485206 | 1161372 | 1372852 | 1152189 | 1070800 | 1090733 | 1295046 | 1134163 | 1156205 | 961072 | 895553 | 851336 | 2179 | 1947 | 1270
47 | 165589.096 | 5 |  | 37 | 1162718 | 1241261 | 1190576 | 1133297 | 1255621 | 1244081 | 1476217 | 1256409 | 713336 | 1450140 | 1513481 | 1431895 | 1366769 | 1417817 | 1359148 | 1162718 | 1241261 | 1190576 | 1555444 | 1376288 | 1320328 | 1482325 | 1171613 | 1375273 | 1151031 | 1072953 | 1084499 | 1295837 | 1140547 | 1164623 | 964631 | 892037 | 849514 | 2178 | 1910 | 1173
48 | 169188.875 | 5 |  | 37 | 1171063 | 1251747 | 1195753 | 1145823 | 1267798 | 1251064 | 1475853 | 1265926 | 723377 | 1451294 | 1508646 | 1440499 | 1373407 | 1421090 | 1367099 | 1171063 | 1251747 | 1195753 | 1556178 | 1379796 | 1325278 | 1479780 | 1174758 | 1374332 | 1150400 | 1075108 | 1081331 | 1298893 | 1146604 | 1174058 | 966441 | 888393 | 848221 | 2228 | 1868 | 1230
49 | 172788.656 | 4.9 |  | 37 | 1179214 | 1258854 | 1199945 | 1156252 | 1276544 | 1262362 | 1477268 | 1273218 | 730002 | 1455022 | 1512399 | 1447483 | 1375203 | 1424791 | 1370634 | 1179214 | 1258854 | 1199945 | 1561089 | 1385169 | 1333522 | 1471593 | 1190861 | 1378880 | 1144984 | 1070160 | 1076418 | 1307896 | 1149010 | 1180998 | 961268 | 887608 | 847642 | 2040 | 1984 | 1250
50 | 176388.435 | 4.9 |  | 37 | 1185079 | 1262114 | 1203717 | 1168587 | 1287220 | 1268764 | 1476057 | 1276159 | 738317 | 1454903 | 1506118 | 1453371 | 1380811 | 1427582 | 1376029 | 1185079 | 1262114 | 1203717 | 1562180 | 1392179 | 1339453 | 1471868 | 1191974 | 1381914 | 1143550 | 1070865 | 1073244 | 1307209 | 1151139 | 1190977 | 953464 | 879014 | 845096 | 2199 | 1935 | 1263
51 | 179988.212 | 4.9 |  | 37 | 1190013 | 1261200 | 1203953 | 1184627 | 1294232 | 1278904 | 1467964 | 1276122 | 743349 | 1450009 | 1505172 | 1453881 | 1380440 | 1427399 | 1375263 | 1190013 | 1261200 | 1203953 | 1559770 | 1395078 | 1341622 | 1460788 | 1198165 | 1377107 | 1131950 | 1064291 | 1067604 | 1305208 | 1153176 | 1196242 | 950435 | 877490 | 839681 | 2201 | 1979 | 1247
52 | 183587.991 | 5.1 |  | 37 | 1188636 | 1259450 | 1205223 | 1190195 | 1295452 | 1282363 | 1459734 | 1277044 | 745285 | 1442683 | 1492032 | 1457090 | 1379580 | 1422093 | 1370870 | 1188636 | 1259450 | 1205223 | 1553359 | 1392715 | 1341957 | 1449256 | 1196983 | 1375126 | 1126429 | 1056192 | 1059170 | 1303402 | 1154712 | 1198335 | 945811 | 870882 | 832439 | 2104 | 1906 | 1328
53 | 187187.769 | 5 |  | 37 | 1192982 | 1261114 | 1206402 | 1199120 | 1302335 | 1283635 | 1452251 | 1274453 | 751700 | 1436102 | 1491707 | 1462255 | 1377434 | 1421073 | 1365089 | 1192982 | 1261114 | 1206402 | 1545083 | 1392174 | 1346458 | 1439491 | 1197285 | 1373335 | 1117985 | 1047392 | 1046961 | 1305108 | 1155203 | 1203854 | 940691 | 867681 | 821642 | 2205 | 1771 | 1223
54 | 190787.55 | 5 |  | 37 | 1194010 | 1262262 | 1205104 | 1208088 | 1311919 | 1292145 | 1442771 | 1273104 | 756052 | 1431221 | 1479641 | 1458376 | 1379918 | 1423399 | 1368449 | 1194010 | 1262262 | 1205104 | 1544526 | 1393610 | 1346697 | 1428804 | 1204318 | 1366726 | 1108127 | 1037887 | 1038538 | 1300257 | 1156695 | 1204910 | 935545 | 863251 | 820278 | 2166 | 1964 | 1254
55 | 194387.333 | 5 |  | 37 | 1196472 | 1257388 | 1201394 | 1215560 | 1315878 | 1295954 | 1430005 | 1275951 | 756657 | 1422978 | 1477964 | 1458230 | 1377330 | 1415211 | 1359506 | 1196472 | 1257388 | 1201394 | 1536323 | 1393475 | 1343609 | 1419619 | 1203393 | 1359504 | 1099243 | 1025269 | 1028132 | 1296326 | 1155279 | 1210023 | 927340 | 857942 | 815943 | 2109 | 1777 | 1223
56 | 197987.108 | 5 |  | 37 | 1194838 | 1254927 | 1203526 | 1226728 | 1320239 | 1298319 | 1422698 | 1270224 | 763261 | 1413360 | 1465114 | 1464491 | 1366485 | 1410313 | 1359964 | 1194838 | 1254927 | 1203526 | 1527485 | 1391059 | 1347054 | 1409834 | 1209091 | 1354458 | 1090810 | 1018421 | 1020344 | 1296968 | 1154881 | 1208070 | 924576 | 848912 | 811480 | 2158 | 1950 | 1188
57 | 201586.886 | 5 |  | 37 | 1199906 | 1258652 | 1202236 | 1243204 | 1324006 | 1305091 | 1415794 | 1271869 | 770279 | 1410447 | 1461911 | 1456475 | 1373793 | 1415572 | 1360767 | 1199906 | 1258652 | 1202236 | 1522857 | 1385996 | 1349287 | 1399616 | 1211604 | 1354346 | 1084979 | 1014146 | 1010754 | 1290721 | 1156661 | 1212020 | 916562 | 844178 | 805831 | 2115 | 1883 | 1137
58 | 205186.665 | 5 |  | 37 | 1197394 | 1250866 | 1201188 | 1242433 | 1331212 | 1301606 | 1401698 | 1262813 | 771559 | 1403582 | 1445628 | 1456113 | 1360470 | 1403704 | 1352482 | 1197394 | 1250866 | 1201188 | 1510846 | 1386361 | 1349513 | 1380763 | 1212003 | 1346614 | 1075826 | 1002456 | 999211 | 1288955 | 1154880 | 1215971 | 908129 | 834936 | 798962 | 2239 | 1889 | 1194
59 | 208786.443 | 5 |  | 37 | 1198169 | 1255200 | 1197084 | 1247931 | 1336295 | 1306784 | 1388917 | 1260630 | 772753 | 1391474 | 1440232 | 1448399 | 1362240 | 1395718 | 1348251 | 1198169 | 1255200 | 1197084 | 1500983 | 1381642 | 1346959 | 1372024 | 1214200 | 1342694 | 1062639 | 996185 | 988152 | 1285562 | 1151785 | 1213375 | 898092 | 832329 | 792801 | 2112 | 1866 | 1192
60 | 212386.22 | 5 |  | 37 | 1199476 | 1252047 | 1201546 | 1262360 | 1343096 | 1313095 | 1384833 | 1261667 | 775339 | 1387638 | 1427115 | 1457017 | 1359469 | 1390530 | 1343158 | 1199476 | 1252047 | 1201546 | 1496809 | 1381958 | 1348087 | 1365084 | 1214531 | 1335695 | 1054223 | 990091 | 979462 | 1284608 | 1153636 | 1220234 | 892832 | 831602 | 791471 | 2195 | 1793 | 1161
61 | 215986 | 5.1 |  | 37 | 1201635 | 1252763 | 1203337 | 1269166 | 1349646 | 1315554 | 1376575 | 1262273 | 781621 | 1385756 | 1420439 | 1447836 | 1361885 | 1397346 | 1349341 | 1201635 | 1252763 | 1203337 | 1490471 | 1388067 | 1347143 | 1355470 | 1219095 | 1332282 | 1043957 | 984583 | 973848 | 1282559 | 1151417 | 1224224 | 891604 | 829243 | 788387 | 1984 | 1808 | 1211
62 | 219585.775 | 5 |  | 37 | 1202898 | 1247056 | 1199996 | 1278284 | 1357951 | 1319304 | 1356777 | 1255866 | 782447 | 1377007 | 1414938 | 1446694 | 1345620 | 1386111 | 1339957 | 1202898 | 1247056 | 1199996 | 1469495 | 1383560 | 1345506 | 1345838 | 1222675 | 1327719 | 1034961 | 977779 | 965035 | 1281688 | 1152108 | 1227504 | 881741 | 822887 | 784531 | 2094 | 1916 | 1213
63 | 223185.554 | 5 |  | 37 | 1202788 | 1244593 | 1199984 | 1281379 | 1351419 | 1323319 | 1350876 | 1252470 | 784686 | 1365300 | 1403712 | 1445174 | 1349769 | 1381295 | 1335470 | 1202788 | 1244593 | 1199984 | 1461458 | 1375608 | 1342845 | 1338114 | 1219857 | 1324345 | 1026831 | 970538 | 953858 | 1276013 | 1152153 | 1226686 | 872470 | 817474 | 775800 | 2133 | 1831 | 1102
64 | 226785.333 | 5 |  | 37 | 1200630 | 1247532 | 1195960 | 1288650 | 1360158 | 1324162 | 1339089 | 1245144 | 786965 | 1361087 | 1395879 | 1441374 | 1342996 | 1368542 | 1331939 | 1200630 | 1247532 | 1195960 | 1448941 | 1373541 | 1345111 | 1323157 | 1222771 | 1318132 | 1017969 | 966580 | 941957 | 1269897 | 1150545 | 1230126 | 869243 | 810634 | 775143 | 2120 | 1869 | 1065
65 | 230385.111 | 5 |  | 37 | 1197725 | 1244266 | 1197698 | 1293150 | 1360598 | 1323045 | 1331445 | 1248151 | 790893 | 1349586 | 1385921 | 1432663 | 1336783 | 1374092 | 1328911 | 1197725 | 1244266 | 1197698 | 1431776 | 1373394 | 1337966 | 1311635 | 1221687 | 1312548 | 1008072 | 957680 | 934712 | 1261982 | 1148456 | 1230853 | 863179 | 804185 | 764588 | 2198 | 1989 | 1043
66 | 233984.888 | 5 |  | 37 | 1195288 | 1240620 | 1191379 | 1298077 | 1363551 | 1323747 | 1314003 | 1242111 | 791535 | 1340706 | 1371655 | 1431498 | 1329838 | 1357784 | 1318233 | 1195288 | 1240620 | 1191379 | 1415897 | 1366056 | 1339898 | 1298583 | 1223611 | 1307515 | 1003311 | 948841 | 924362 | 1258127 | 1143986 | 1234292 | 857976 | 796052 | 762497 | 2115 | 1889 | 1097
67 | 237584.669 | 5.1 |  | 37 | 1191680 | 1235202 | 1188868 | 1301222 | 1360958 | 1323146 | 1300983 | 1235471 | 794466 | 1329561 | 1359851 | 1426578 | 1323061 | 1348340 | 1310918 | 1191680 | 1235202 | 1188868 | 1400959 | 1363208 | 1333535 | 1286642 | 1223590 | 1297097 | 989264 | 937796 | 913888 | 1251256 | 1140149 | 1232454 | 853469 | 792569 | 751296 | 2179 | 1909 | 1077
68 | 241184.445 | 5 |  | 37 | 1189391 | 1234316 | 1182950 | 1303092 | 1362834 | 1322586 | 1290699 | 1228163 | 794253 | 1317728 | 1344168 | 1420762 | 1315953 | 1336144 | 1299809 | 1189391 | 1234316 | 1182950 | 1378695 | 1353838 | 1329778 | 1270974 | 1223112 | 1289620 | 980569 | 931341 | 902462 | 1239819 | 1135049 | 1227417 | 844729 | 788226 | 746300 | 2115 | 1807 | 1099
69 | 244784.227 | 5 |  | 37 | 1188529 | 1221564 | 1175493 | 1305262 | 1359130 | 1319821 | 1270949 | 1224965 | 794794 | 1306307 | 1330726 | 1411302 | 1306692 | 1328575 | 1294952 | 1188529 | 1221564 | 1175493 | 1356120 | 1345797 | 1320981 | 1259338 | 1220029 | 1278264 | 970097 | 921071 | 894777 | 1231677 | 1132615 | 1226708 | 835959 | 786155 | 739969 | 2032 | 1836 | 1106
70 | 248384.005 | 5 |  | 37 | 1182262 | 1219818 | 1179266 | 1306448 | 1360967 | 1316378 | 1262210 | 1217037 | 795570 | 1292389 | 1317174 | 1402068 | 1291377 | 1316478 | 1283522 | 1182262 | 1219818 | 1179266 | 1338221 | 1338196 | 1316985 | 1245529 | 1218269 | 1269088 | 963853 | 912035 | 881765 | 1224370 | 1127026 | 1224347 | 828541 | 777740 | 731973 | 2035 | 1885 | 1045
71 | 251983.781 | 5 |  | 37 | 1178056 | 1208177 | 1166350 | 1311091 | 1353694 | 1312367 | 1248144 | 1210174 | 793799 | 1283168 | 1295344 | 1391874 | 1281673 | 1301749 | 1275369 | 1178056 | 1208177 | 1166350 | 1314743 | 1323449 | 1310986 | 1227611 | 1212689 | 1258291 | 954909 | 905482 | 871460 | 1212970 | 1118477 | 1219529 | 822487 | 770398 | 728598 | 2092 | 1730 | 978
72 | 255583.564 | 5 |  | 37 | 1169831 | 1205475 | 1159120 | 1310703 | 1351725 | 1304231 | 1230044 | 1199868 | 793852 | 1266401 | 1275362 | 1375972 | 1263750 | 1287451 | 1260802 | 1169831 | 1205475 | 1159120 | 1284801 | 1319040 | 1297558 | 1206561 | 1207252 | 1246104 | 942310 | 897073 | 854935 | 1199548 | 1110351 | 1212203 | 812462 | 762187 | 719505 | 2160 | 1884 | 1006
End Time |  |  |  | 2019-04-28 17:55:35

## ++
HCT 116
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 365888 | 245736 | 83697 | 231773.6667 | 115626.2663 | 1 | 0.61226
3599.067 | 2 | 454340 | 314047 | 110498 | 292961.6667 | 141162.492 | 1.264 | 0.7739
7198.845 | 3 | 486464 | 346823 | 128215 | 320500.6667 | 147434.1331 | 1.3828 | 0.84665
10798.602 | 4 | 516665 | 370634 | 141930 | 343076.3333 | 154220.9428 | 1.4802 | 0.90628
14398.381 | 5 | 539980 | 391243 | 153000 | 361407.6667 | 159386.3031 | 1.5593 | 0.95471
17998.154 | 6 | 563253 | 409911 | 162497 | 378553.6667 | 165103.6132 | 1.6333 | 1
21597.933 | 7 | 585966 | 430415 | 172107 | 396162.6667 | 170684.3768 | 1.7093 | 1.0465
25197.705 | 8 | 614196 | 451310 | 182045 | 415850.3333 | 178197.7603 | 1.7942 | 1.0985
28797.478 | 9 | 639109 | 471330 | 195344 | 435261 | 182952.7687 | 1.878 | 1.1498
32397.257 | 10 | 665955 | 493630 | 205641 | 455075.3333 | 189889.6019 | 1.9634 | 1.2021
35997.03 | 11 | 693416 | 516236 | 216600 | 475417.3333 | 196787.5286 | 2.0512 | 1.2559
39596.805 | 12 | 721569 | 540620 | 228594 | 496927.6667 | 203613.7727 | 2.144 | 1.3127
43196.582 | 13 | 751335 | 562986 | 240859 | 518393.3333 | 210772.889 | 2.2366 | 1.3694
46796.355 | 14 | 780076 | 587907 | 255353 | 541112 | 216757.7537 | 2.3347 | 1.4294
50396.13 | 15 | 813165 | 617559 | 269640 | 566788 | 224778.5981 | 2.4454 | 1.4972
53995.903 | 16 | 855109 | 648443 | 288453 | 597335 | 234142.0884 | 2.5772 | 1.5779
57595.68 | 17 | 889611 | 679365 | 303473 | 624149.6667 | 242454.1036 | 2.6929 | 1.6488
61195.457 | 18 | 922976 | 707827 | 318657 | 649820 | 250098.6105 | 2.8037 | 1.7166
64795.233 | 19 | 957200 | 734690 | 335872 | 675920.6667 | 257037.6066 | 2.9163 | 1.7855
68395.007 | 20 | 992670 | 765283 | 352344 | 703432.3333 | 265045.2481 | 3.035 | 1.8582
71994.782 | 21 | 1023080 | 792896 | 369032 | 728336 | 270888.2817 | 3.1424 | 1.924
75594.561 | 22 | 1051933 | 817144 | 383594 | 750890.3333 | 276841.0085 | 3.2398 | 1.9836
79194.332 | 23 | 1078744 | 844761 | 400596 | 774700.3333 | 281250.2447 | 3.3425 | 2.0465
82794.108 | 24 | 1107623 | 866253 | 411976 | 795284 | 288396.2972 | 3.4313 | 2.1008
86393.885 | 25 | 1129208 | 887043 | 426738 | 814329.6667 | 291354.8202 | 3.5135 | 2.1512
89993.662 | 26 | 1152371 | 910266 | 440744 | 834460.3333 | 295424.1257 | 3.6003 | 2.2043
93593.435 | 27 | 1176605 | 927201 | 454265 | 852690.3333 | 299563.7367 | 3.679 | 2.2525
97193.21 | 28 | 1206067 | 955173 | 472095 | 877778.3333 | 304599.3817 | 3.7872 | 2.3188
100792.988 | 29 | 1226284 | 975392 | 485422 | 895699.3333 | 307660.3285 | 3.8645 | 2.3661
104392.762 | 30 | 1253669 | 1001447 | 500698 | 918604.6667 | 312930.7387 | 3.9634 | 2.4266
107992.537 | 31 | 1275021 | 1020570 | 518383 | 937991.3333 | 314366.7634 | 4.047 | 2.4778
111592.308 | 32 | 1304873 | 1048415 | 531734 | 961674 | 321536.9125 | 4.1492 | 2.5404
115192.085 | 33 | 1321033 | 1066461 | 547931 | 978475 | 321691.185 | 4.2217 | 2.5848
118791.863 | 34 | 1346793 | 1084342 | 563779 | 998304.6667 | 325401.8522 | 4.3072 | 2.6372
122391.637 | 35 | 1360833 | 1104248 | 577686 | 1014255.6667 | 325989.5407 | 4.3761 | 2.6793
125991.412 | 36 | 1382040 | 1123117 | 590433 | 1031863.3333 | 329551.0425 | 4.452 | 2.7258
129591.187 | 37 | 1397650 | 1139840 | 604698 | 1047396 | 330255.0917 | 4.519 | 2.7668
133190.963 | 38 | 1408610 | 1157492 | 616842 | 1060981.3333 | 330363.3081 | 4.5777 | 2.8027
136790.738 | 39 | 1423298 | 1173196 | 628600 | 1075031.3333 | 331776.4851 | 4.6383 | 2.8398
140390.513 | 40 | 1432269 | 1187758 | 640496 | 1086841 | 331022.9615 | 4.6892 | 2.871
143990.289 | 41 | 1444751 | 1200065 | 655272 | 1100029.3333 | 329974.3665 | 4.7461 | 2.9059
147590.064 | 42 | 1457255 | 1212411 | 666629 | 1112098.3333 | 330473.7421 | 4.7982 | 2.9378
151189.839 | 43 | 1460947 | 1221475 | 676481 | 1119634.3333 | 328253.3243 | 4.8307 | 2.9577
154789.617 | 44 | 1466787 | 1235982 | 689234 | 1130667.6667 | 326052.6528 | 4.8783 | 2.9868
158389.392 | 45 | 1471390 | 1245720 | 698419 | 1138509.6667 | 324542.3274 | 4.9122 | 3.0075
161989.167 | 46 | 1471603 | 1252161 | 704733 | 1142832.3333 | 322476.8387 | 4.9308 | 3.0189
165588.943 | 47 | 1476217 | 1256409 | 713336 | 1148654 | 320629.8074 | 4.9559 | 3.0343
169188.718 | 48 | 1475853 | 1265926 | 723377 | 1155052 | 317043.4413 | 4.9835 | 3.0512
172788.5 | 49 | 1477268 | 1273218 | 730002 | 1160162.6667 | 315370.4171 | 5.0056 | 3.0647
176388.269 | 50 | 1476057 | 1276159 | 738317 | 1163511 | 311536.2535 | 5.02 | 3.0736
179988.044 | 51 | 1467964 | 1276122 | 743349 | 1162478.3333 | 306542.9679 | 5.0156 | 3.0708
183587.82 | 52 | 1459734 | 1277044 | 745285 | 1160687.6667 | 303054.9352 | 5.0078 | 3.0661
187187.595 | 53 | 1452251 | 1274453 | 751700 | 1159468 | 297331.5642 | 5.0026 | 3.0629
190787.372 | 54 | 1442771 | 1273104 | 756052 | 1157309 | 292064.0429 | 4.9933 | 3.0572
194387.148 | 55 | 1430005 | 1275951 | 756657 | 1154204.3333 | 288057.946 | 4.9799 | 3.049
197986.931 | 56 | 1422698 | 1270224 | 763261 | 1152061 | 281881.9613 | 4.9706 | 3.0433
201586.701 | 57 | 1415794 | 1271869 | 770279 | 1152647.3333 | 276686.0533 | 4.9732 | 3.0449
205186.474 | 58 | 1401698 | 1262813 | 771559 | 1145356.6667 | 270327.9274 | 4.9417 | 3.0256
208786.238 | 59 | 1388917 | 1260630 | 772753 | 1140766.6667 | 265442.9414 | 4.9219 | 3.0135
212386.014 | 60 | 1384833 | 1261667 | 775339 | 1140613 | 263136.577 | 4.9212 | 3.0131
215985.793 | 61 | 1376575 | 1262273 | 781621 | 1140156.3333 | 257781.4652 | 4.9193 | 3.0119
219585.565 | 62 | 1356777 | 1255866 | 782447 | 1131696.6667 | 250369.4001 | 4.8828 | 2.9895
223185.342 | 63 | 1350876 | 1252470 | 784686 | 1129344 | 246999.039 | 4.8726 | 2.9833
223185.342 | 64 | 1339089 | 1245144 | 786965 | 1123732.6667 | 241199.4496 | 4.8484 | 2.9685
223185.342 | 65 | 1331445 | 1248151 | 790893 | 1123496.3333 | 237631.6556 | 4.8474 | 2.9679
223185.342 | 66 | 1314003 | 1242111 | 791535 | 1115883 | 231218.9925 | 4.8145 | 2.9478
223185.342 | 67 | 1300983 | 1235471 | 794466 | 1110306.6667 | 224928.8044 | 4.7905 | 2.933
223185.342 | 68 | 1290699 | 1228163 | 794253 | 1104371.6667 | 220768.1716 | 4.7649 | 2.9173
223185.342 | 69 | 1270949 | 1224965 | 794794 | 1096902.6667 | 214446.3677 | 4.7326 | 2.8976
223185.342 | 70 | 1262210 | 1217037 | 795570 | 1091605.6667 | 210139.6154 | 4.7098 | 2.8836
223185.342 | 71 | 1248144 | 1210174 | 793799 | 1084039 | 205815.2463 | 4.6771 | 2.8636
223185.342 | 72 | 1230044 | 1199868 | 793852 | 1074588 | 198892.2221 | 4.6364 | 2.8387
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01
HCT 116 M4KO
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 231516 | 287116 | 257593 | 258741.6667 | 22713.1324 | 1 | 0.56021
3599.067 | 2 | 304389 | 370704 | 332452 | 335848.3333 | 27179.295 | 1.298 | 0.72716
7198.845 | 3 | 345650 | 413754 | 376765 | 378723 | 27837.7924 | 1.4637 | 0.81999
10798.602 | 4 | 375075 | 449432 | 408332 | 410946.3333 | 30412.354 | 1.5882 | 0.88976
14398.381 | 5 | 398465 | 476893 | 435120 | 436826 | 32040.8138 | 1.6883 | 0.94579
17998.154 | 6 | 422386 | 502791 | 460413 | 461863.3333 | 32841.2201 | 1.785 | 1
21597.933 | 7 | 445258 | 527361 | 484621 | 485746.6667 | 33527.859 | 1.8773 | 1.0517
25197.705 | 8 | 470364 | 553813 | 508590 | 510922.3333 | 34107.8069 | 1.9746 | 1.1062
28797.478 | 9 | 493771 | 579595 | 532731 | 535365.6667 | 35086.9952 | 2.0691 | 1.1591
32397.257 | 10 | 513583 | 605796 | 558283 | 559220.6667 | 37651.6379 | 2.1613 | 1.2108
35997.03 | 11 | 539674 | 633123 | 581069 | 584622 | 38233.029 | 2.2595 | 1.2658
39596.805 | 12 | 561127 | 657502 | 606968 | 608532.3333 | 39360.4752 | 2.3519 | 1.3176
43196.582 | 13 | 585738 | 682480 | 626962 | 631726.6667 | 39638.1986 | 2.4415 | 1.3678
46796.355 | 14 | 611507 | 706759 | 652609 | 656958.3333 | 39007.8915 | 2.5391 | 1.4224
50396.13 | 15 | 636825 | 738017 | 680875 | 685239 | 41426.5502 | 2.6484 | 1.4836
53995.903 | 16 | 671371 | 773822 | 716081 | 720424.6667 | 41938.0689 | 2.7843 | 1.5598
57595.68 | 17 | 697842 | 801792 | 742170 | 747268 | 42590.2401 | 2.8881 | 1.6179
61195.457 | 18 | 723351 | 830344 | 768664 | 774119.6667 | 43849.7338 | 2.9919 | 1.6761
64795.233 | 19 | 749075 | 859110 | 796741 | 801642 | 45055.0786 | 3.0982 | 1.7357
68395.007 | 20 | 776185 | 886759 | 824741 | 829228.3333 | 45253.0256 | 3.2049 | 1.7954
71994.782 | 21 | 796787 | 908539 | 845475 | 850267 | 45748.2227 | 3.2862 | 1.8409
75594.561 | 22 | 818837 | 930572 | 865768 | 871725.6667 | 45809.7362 | 3.3691 | 1.8874
79194.332 | 23 | 837044 | 948454 | 886237 | 890578.3333 | 45586.4191 | 3.442 | 1.9282
82794.108 | 24 | 854687 | 966095 | 899708 | 906830 | 45760.0829 | 3.5048 | 1.9634
86393.885 | 25 | 871871 | 982123 | 916359 | 923451 | 45288.6904 | 3.569 | 1.9994
89993.662 | 26 | 887176 | 994868 | 930195 | 937413 | 44260.3386 | 3.623 | 2.0296
93593.435 | 27 | 902379 | 1015305 | 945791 | 954491.6667 | 46510.5477 | 3.689 | 2.0666
97193.21 | 28 | 921277 | 1029694 | 967181 | 972717.3333 | 44433.8438 | 3.7594 | 2.1061
100792.988 | 29 | 937894 | 1044999 | 981071 | 987988 | 43998.1357 | 3.8184 | 2.1391
104392.762 | 30 | 955314 | 1061072 | 995582 | 1003989.3333 | 43582.8795 | 3.8803 | 2.1738
107992.537 | 31 | 971330 | 1079927 | 1012613 | 1021290 | 44757.084 | 3.9471 | 2.2112
111592.308 | 32 | 986563 | 1095085 | 1032734 | 1038127.3333 | 44467.7573 | 4.0122 | 2.2477
115192.085 | 33 | 1005764 | 1108497 | 1047079 | 1053780 | 42207.3838 | 4.0727 | 2.2816
118791.863 | 34 | 1017707 | 1120140 | 1056806 | 1064884.3333 | 42206.433 | 4.1156 | 2.3056
122391.637 | 35 | 1031683 | 1134992 | 1071818 | 1079497.6667 | 42523.8782 | 4.1721 | 2.3373
125991.412 | 36 | 1045711 | 1149278 | 1087788 | 1094259 | 42527.9222 | 4.2292 | 2.3692
129591.187 | 37 | 1061127 | 1165315 | 1100068 | 1108836.6667 | 42984.1209 | 4.2855 | 2.4008
133190.963 | 38 | 1073507 | 1177143 | 1113076 | 1121242 | 42701.4269 | 4.3334 | 2.4276
136790.738 | 39 | 1086175 | 1184910 | 1125206 | 1132097 | 40601.8429 | 4.3754 | 2.4512
140390.513 | 40 | 1098431 | 1194962 | 1133422 | 1142271.6667 | 39902.347 | 4.4147 | 2.4732
143990.289 | 41 | 1109262 | 1203583 | 1145137 | 1152660.6667 | 38872.1574 | 4.4549 | 2.4957
147590.064 | 42 | 1121106 | 1212506 | 1153809 | 1162473.6667 | 37813.5543 | 4.4928 | 2.5169
151189.839 | 43 | 1127175 | 1219127 | 1160199 | 1168833.6667 | 38032.5359 | 4.5174 | 2.5307
154789.617 | 44 | 1141421 | 1228717 | 1168626 | 1179588 | 36471.651 | 4.5589 | 2.554
158389.392 | 45 | 1148571 | 1235510 | 1177145 | 1187075.3333 | 36180.6216 | 4.5879 | 2.5702
161989.167 | 46 | 1153612 | 1242983 | 1183696 | 1193430.3333 | 37129.1605 | 4.6124 | 2.5839
165588.943 | 47 | 1162718 | 1241261 | 1190576 | 1198185 | 32513.3139 | 4.6308 | 2.5942
169188.718 | 48 | 1171063 | 1251747 | 1195753 | 1206187.6667 | 33755.3815 | 4.6617 | 2.6116
172788.5 | 49 | 1179214 | 1258854 | 1199945 | 1212671 | 33735.2013 | 4.6868 | 2.6256
176388.269 | 50 | 1185079 | 1262114 | 1203717 | 1216970 | 32815.9444 | 4.7034 | 2.6349
179988.044 | 51 | 1190013 | 1261200 | 1203953 | 1218388.6667 | 30802.4739 | 4.7089 | 2.638
183587.82 | 52 | 1188636 | 1259450 | 1205223 | 1217769.6667 | 30240.368 | 4.7065 | 2.6366
187187.595 | 53 | 1192982 | 1261114 | 1206402 | 1220166 | 29468.38 | 4.7158 | 2.6418
190787.372 | 54 | 1194010 | 1262262 | 1205104 | 1220458.6667 | 29904.3834 | 4.7169 | 2.6425
194387.148 | 55 | 1196472 | 1257388 | 1201394 | 1218418 | 27629.1174 | 4.709 | 2.638
197986.931 | 56 | 1194838 | 1254927 | 1203526 | 1217763.6667 | 26516.7286 | 4.7065 | 2.6366
201586.701 | 57 | 1199906 | 1258652 | 1202236 | 1220264.6667 | 27160.6056 | 4.7162 | 2.642
205186.474 | 58 | 1197394 | 1250866 | 1201188 | 1216482.6667 | 24361.9761 | 4.7015 | 2.6339
208786.238 | 59 | 1198169 | 1255200 | 1197084 | 1216817.6667 | 27144.0226 | 4.7028 | 2.6346
212386.014 | 60 | 1199476 | 1252047 | 1201546 | 1217689.6667 | 24308.9968 | 4.7062 | 2.6365
215985.793 | 61 | 1201635 | 1252763 | 1203337 | 1219245 | 23710.9882 | 4.7122 | 2.6398
219585.565 | 62 | 1202898 | 1247056 | 1199996 | 1216650 | 21532.9055 | 4.7022 | 2.6342
223185.342 | 63 | 1202788 | 1244593 | 1199984 | 1215788.3333 | 20400.118 | 4.6989 | 2.6324
223185.342 | 64 | 1200630 | 1247532 | 1195960 | 1214707.3333 | 23288.7137 | 4.6947 | 2.63
223185.342 | 65 | 1197725 | 1244266 | 1197698 | 1213229.6667 | 21946.0045 | 4.689 | 2.6268
223185.342 | 66 | 1195288 | 1240620 | 1191379 | 1209095.6667 | 22348.1209 | 4.673 | 2.6179
223185.342 | 67 | 1191680 | 1235202 | 1188868 | 1205250 | 21210.3523 | 4.6581 | 2.6095
223185.342 | 68 | 1189391 | 1234316 | 1182950 | 1202219 | 22847.8252 | 4.6464 | 2.603
223185.342 | 69 | 1188529 | 1221564 | 1175493 | 1195195.3333 | 19390.105 | 4.6193 | 2.5878
223185.342 | 70 | 1182262 | 1219818 | 1179266 | 1193782 | 18450.8171 | 4.6138 | 2.5847
223185.342 | 71 | 1178056 | 1208177 | 1166350 | 1184194.3333 | 17618.8126 | 4.5767 | 2.5639
223185.342 | 72 | 1169831 | 1205475 | 1159120 | 1178142 | 19815.8362 | 4.5534 | 2.5508
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 WT
HCT 116 M4KO 1 + PB M4 WT
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 231516 | 287116 | 257593 | 258741.6667 | 22713.1324 | 1 | 0.56021
3599.067 | 2 | 304389 | 370704 | 332452 | 335848.3333 | 27179.295 | 1.298 | 0.72716
7198.845 | 3 | 345650 | 413754 | 376765 | 378723 | 27837.7924 | 1.4637 | 0.81999
10798.602 | 4 | 375075 | 449432 | 408332 | 410946.3333 | 30412.354 | 1.5882 | 0.88976
14398.381 | 5 | 398465 | 476893 | 435120 | 436826 | 32040.8138 | 1.6883 | 0.94579
17998.154 | 6 | 422386 | 502791 | 460413 | 461863.3333 | 32841.2201 | 1.785 | 1
21597.933 | 7 | 445258 | 527361 | 484621 | 485746.6667 | 33527.859 | 1.8773 | 1.0517
25197.705 | 8 | 470364 | 553813 | 508590 | 510922.3333 | 34107.8069 | 1.9746 | 1.1062
28797.478 | 9 | 493771 | 579595 | 532731 | 535365.6667 | 35086.9952 | 2.0691 | 1.1591
32397.257 | 10 | 513583 | 605796 | 558283 | 559220.6667 | 37651.6379 | 2.1613 | 1.2108
35997.03 | 11 | 539674 | 633123 | 581069 | 584622 | 38233.029 | 2.2595 | 1.2658
39596.805 | 12 | 561127 | 657502 | 606968 | 608532.3333 | 39360.4752 | 2.3519 | 1.3176
43196.582 | 13 | 585738 | 682480 | 626962 | 631726.6667 | 39638.1986 | 2.4415 | 1.3678
46796.355 | 14 | 611507 | 706759 | 652609 | 656958.3333 | 39007.8915 | 2.5391 | 1.4224
50396.13 | 15 | 636825 | 738017 | 680875 | 685239 | 41426.5502 | 2.6484 | 1.4836
53995.903 | 16 | 671371 | 773822 | 716081 | 720424.6667 | 41938.0689 | 2.7843 | 1.5598
57595.68 | 17 | 697842 | 801792 | 742170 | 747268 | 42590.2401 | 2.8881 | 1.6179
61195.457 | 18 | 723351 | 830344 | 768664 | 774119.6667 | 43849.7338 | 2.9919 | 1.6761
64795.233 | 19 | 749075 | 859110 | 796741 | 801642 | 45055.0786 | 3.0982 | 1.7357
68395.007 | 20 | 776185 | 886759 | 824741 | 829228.3333 | 45253.0256 | 3.2049 | 1.7954
71994.782 | 21 | 796787 | 908539 | 845475 | 850267 | 45748.2227 | 3.2862 | 1.8409
75594.561 | 22 | 818837 | 930572 | 865768 | 871725.6667 | 45809.7362 | 3.3691 | 1.8874
79194.332 | 23 | 837044 | 948454 | 886237 | 890578.3333 | 45586.4191 | 3.442 | 1.9282
82794.108 | 24 | 854687 | 966095 | 899708 | 906830 | 45760.0829 | 3.5048 | 1.9634
86393.885 | 25 | 871871 | 982123 | 916359 | 923451 | 45288.6904 | 3.569 | 1.9994
89993.662 | 26 | 887176 | 994868 | 930195 | 937413 | 44260.3386 | 3.623 | 2.0296
93593.435 | 27 | 902379 | 1015305 | 945791 | 954491.6667 | 46510.5477 | 3.689 | 2.0666
97193.21 | 28 | 921277 | 1029694 | 967181 | 972717.3333 | 44433.8438 | 3.7594 | 2.1061
100792.988 | 29 | 937894 | 1044999 | 981071 | 987988 | 43998.1357 | 3.8184 | 2.1391
104392.762 | 30 | 955314 | 1061072 | 995582 | 1003989.3333 | 43582.8795 | 3.8803 | 2.1738
107992.537 | 31 | 971330 | 1079927 | 1012613 | 1021290 | 44757.084 | 3.9471 | 2.2112
111592.308 | 32 | 986563 | 1095085 | 1032734 | 1038127.3333 | 44467.7573 | 4.0122 | 2.2477
115192.085 | 33 | 1005764 | 1108497 | 1047079 | 1053780 | 42207.3838 | 4.0727 | 2.2816
118791.863 | 34 | 1017707 | 1120140 | 1056806 | 1064884.3333 | 42206.433 | 4.1156 | 2.3056
122391.637 | 35 | 1031683 | 1134992 | 1071818 | 1079497.6667 | 42523.8782 | 4.1721 | 2.3373
125991.412 | 36 | 1045711 | 1149278 | 1087788 | 1094259 | 42527.9222 | 4.2292 | 2.3692
129591.187 | 37 | 1061127 | 1165315 | 1100068 | 1108836.6667 | 42984.1209 | 4.2855 | 2.4008
133190.963 | 38 | 1073507 | 1177143 | 1113076 | 1121242 | 42701.4269 | 4.3334 | 2.4276
136790.738 | 39 | 1086175 | 1184910 | 1125206 | 1132097 | 40601.8429 | 4.3754 | 2.4512
140390.513 | 40 | 1098431 | 1194962 | 1133422 | 1142271.6667 | 39902.347 | 4.4147 | 2.4732
143990.289 | 41 | 1109262 | 1203583 | 1145137 | 1152660.6667 | 38872.1574 | 4.4549 | 2.4957
147590.064 | 42 | 1121106 | 1212506 | 1153809 | 1162473.6667 | 37813.5543 | 4.4928 | 2.5169
151189.839 | 43 | 1127175 | 1219127 | 1160199 | 1168833.6667 | 38032.5359 | 4.5174 | 2.5307
154789.617 | 44 | 1141421 | 1228717 | 1168626 | 1179588 | 36471.651 | 4.5589 | 2.554
158389.392 | 45 | 1148571 | 1235510 | 1177145 | 1187075.3333 | 36180.6216 | 4.5879 | 2.5702
161989.167 | 46 | 1153612 | 1242983 | 1183696 | 1193430.3333 | 37129.1605 | 4.6124 | 2.5839
165588.943 | 47 | 1162718 | 1241261 | 1190576 | 1198185 | 32513.3139 | 4.6308 | 2.5942
169188.718 | 48 | 1171063 | 1251747 | 1195753 | 1206187.6667 | 33755.3815 | 4.6617 | 2.6116
172788.5 | 49 | 1179214 | 1258854 | 1199945 | 1212671 | 33735.2013 | 4.6868 | 2.6256
176388.269 | 50 | 1185079 | 1262114 | 1203717 | 1216970 | 32815.9444 | 4.7034 | 2.6349
179988.044 | 51 | 1190013 | 1261200 | 1203953 | 1218388.6667 | 30802.4739 | 4.7089 | 2.638
183587.82 | 52 | 1188636 | 1259450 | 1205223 | 1217769.6667 | 30240.368 | 4.7065 | 2.6366
187187.595 | 53 | 1192982 | 1261114 | 1206402 | 1220166 | 29468.38 | 4.7158 | 2.6418
190787.372 | 54 | 1194010 | 1262262 | 1205104 | 1220458.6667 | 29904.3834 | 4.7169 | 2.6425
194387.148 | 55 | 1196472 | 1257388 | 1201394 | 1218418 | 27629.1174 | 4.709 | 2.638
197986.931 | 56 | 1194838 | 1254927 | 1203526 | 1217763.6667 | 26516.7286 | 4.7065 | 2.6366
201586.701 | 57 | 1199906 | 1258652 | 1202236 | 1220264.6667 | 27160.6056 | 4.7162 | 2.642
205186.474 | 58 | 1197394 | 1250866 | 1201188 | 1216482.6667 | 24361.9761 | 4.7015 | 2.6339
208786.238 | 59 | 1198169 | 1255200 | 1197084 | 1216817.6667 | 27144.0226 | 4.7028 | 2.6346
212386.014 | 60 | 1199476 | 1252047 | 1201546 | 1217689.6667 | 24308.9968 | 4.7062 | 2.6365
215985.793 | 61 | 1201635 | 1252763 | 1203337 | 1219245 | 23710.9882 | 4.7122 | 2.6398
219585.565 | 62 | 1202898 | 1247056 | 1199996 | 1216650 | 21532.9055 | 4.7022 | 2.6342
223185.342 | 63 | 1202788 | 1244593 | 1199984 | 1215788.3333 | 20400.118 | 4.6989 | 2.6324
223185.342 | 64 | 1200630 | 1247532 | 1195960 | 1214707.3333 | 23288.7137 | 4.6947 | 2.63
223185.342 | 65 | 1197725 | 1244266 | 1197698 | 1213229.6667 | 21946.0045 | 4.689 | 2.6268
223185.342 | 66 | 1195288 | 1240620 | 1191379 | 1209095.6667 | 22348.1209 | 4.673 | 2.6179
223185.342 | 67 | 1191680 | 1235202 | 1188868 | 1205250 | 21210.3523 | 4.6581 | 2.6095
223185.342 | 68 | 1189391 | 1234316 | 1182950 | 1202219 | 22847.8252 | 4.6464 | 2.603
223185.342 | 69 | 1188529 | 1221564 | 1175493 | 1195195.3333 | 19390.105 | 4.6193 | 2.5878
223185.342 | 70 | 1182262 | 1219818 | 1179266 | 1193782 | 18450.8171 | 4.6138 | 2.5847
223185.342 | 71 | 1178056 | 1208177 | 1166350 | 1184194.3333 | 17618.8126 | 4.5767 | 2.5639
223185.342 | 72 | 1169831 | 1205475 | 1159120 | 1178142 | 19815.8362 | 4.5534 | 2.5508
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 D984A
HCT 116 M4KO 1 + PB M4 D984A
15,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 361731 | 422325 | 276135 | 353397 | 59972.0529 | 1 | 0.59159
3599.067 | 2 | 458551 | 530730 | 368801 | 452694 | 66236.8407 | 1.281 | 0.75782
7198.845 | 3 | 506747 | 580369 | 412905 | 500007 | 68532.8073 | 1.4149 | 0.83702
10798.602 | 4 | 544697 | 619549 | 447156 | 537134 | 70582.0366 | 1.5199 | 0.89917
14398.381 | 5 | 574588 | 656517 | 474875 | 568660 | 74273.4135 | 1.6091 | 0.95195
17998.154 | 6 | 605649 | 687463 | 498984 | 597365.3333 | 77168.8526 | 1.6904 | 1
21597.933 | 7 | 639931 | 721503 | 525797 | 629077 | 80264.4238 | 1.7801 | 1.0531
25197.705 | 8 | 668308 | 752092 | 552293 | 657564.3333 | 81920.6115 | 1.8607 | 1.1008
28797.478 | 9 | 705212 | 788517 | 581925 | 691884.6667 | 84865.6859 | 1.9578 | 1.1582
32397.257 | 10 | 730323 | 818708 | 606819 | 718616.6667 | 86898.4686 | 2.0335 | 1.203
35997.03 | 11 | 761688 | 848727 | 634565 | 748326.6667 | 87940.2619 | 2.1175 | 1.2527
39596.805 | 12 | 789609 | 876833 | 659932 | 775458 | 89113.0333 | 2.1943 | 1.2981
43196.582 | 13 | 820904 | 905479 | 683883 | 803422 | 91306.8528 | 2.2734 | 1.3449
46796.355 | 14 | 848415 | 938732 | 710821 | 832656 | 93709.1797 | 2.3561 | 1.3939
50396.13 | 15 | 880664 | 969186 | 744159 | 864669.6667 | 92560.4369 | 2.4467 | 1.4475
53995.903 | 16 | 921446 | 1012092 | 781371 | 904969.6667 | 94909.2448 | 2.5608 | 1.5149
57595.68 | 17 | 954182 | 1043923 | 812156 | 936753.6667 | 95417.6632 | 2.6507 | 1.5681
61195.457 | 18 | 986088 | 1077631 | 844828 | 969515.6667 | 95761.1295 | 2.7434 | 1.623
64795.233 | 19 | 1023067 | 1115019 | 876137 | 1004741 | 98380.3306 | 2.8431 | 1.682
68395.007 | 20 | 1053732 | 1144711 | 905731 | 1034724.6667 | 98484.5813 | 2.9279 | 1.7321
71994.782 | 21 | 1085380 | 1171932 | 931665 | 1062992.3333 | 99357.8165 | 3.0079 | 1.7795
75594.561 | 22 | 1107144 | 1197049 | 960917 | 1088370 | 97310.2518 | 3.0797 | 1.822
79194.332 | 23 | 1131886 | 1220406 | 988631 | 1113641 | 95497.1995 | 3.1512 | 1.8643
82794.108 | 24 | 1150946 | 1238574 | 1006026 | 1131848.6667 | 95892.9062 | 3.2028 | 1.8947
86393.885 | 25 | 1169203 | 1257318 | 1031200 | 1152573.6667 | 93058.1844 | 3.2614 | 1.9294
89993.662 | 26 | 1187481 | 1273555 | 1052472 | 1171169.3333 | 90990.7544 | 3.314 | 1.9606
93593.435 | 27 | 1206667 | 1295267 | 1078016 | 1193316.6667 | 89193.3211 | 3.3767 | 1.9976
97193.21 | 28 | 1228077 | 1312832 | 1100315 | 1213741.3333 | 87349.8801 | 3.4345 | 2.0318
100792.988 | 29 | 1248046 | 1332873 | 1124279 | 1235066 | 85651.3262 | 3.4948 | 2.0675
104392.762 | 30 | 1272399 | 1355702 | 1147426 | 1258509 | 85593.6996 | 3.5612 | 2.1068
107992.537 | 31 | 1292195 | 1374551 | 1173563 | 1280103 | 82497.2985 | 3.6223 | 2.1429
111592.308 | 32 | 1305965 | 1384710 | 1194475 | 1295050 | 78045.6778 | 3.6646 | 2.1679
115192.085 | 33 | 1327520 | 1402066 | 1217652 | 1315746 | 75745.632 | 3.7231 | 2.2026
118791.863 | 34 | 1340823 | 1418554 | 1235962 | 1331779.6667 | 74816.6471 | 3.7685 | 2.2294
122391.637 | 35 | 1357892 | 1430136 | 1261449 | 1349825.6667 | 69101.9792 | 3.8196 | 2.2596
125991.412 | 36 | 1377586 | 1442121 | 1282049 | 1367252 | 65756.3937 | 3.8689 | 2.2888
129591.187 | 37 | 1384849 | 1451759 | 1303309 | 1379972.3333 | 60702.4823 | 3.9049 | 2.3101
133190.963 | 38 | 1399507 | 1463770 | 1321399 | 1394892 | 58214.2541 | 3.9471 | 2.3351
136790.738 | 39 | 1406588 | 1466849 | 1334815 | 1402750.6667 | 53970.9066 | 3.9693 | 2.3482
140390.513 | 40 | 1415998 | 1481902 | 1349798 | 1415899.3333 | 53931.2773 | 4.0065 | 2.3702
143990.289 | 41 | 1422939 | 1489521 | 1370747 | 1427735.6667 | 48607.7619 | 4.04 | 2.3901
147590.064 | 42 | 1434606 | 1502222 | 1384489 | 1440439 | 48240.9421 | 4.076 | 2.4113
151189.839 | 43 | 1438442 | 1503327 | 1392544 | 1444771 | 45447.8489 | 4.0882 | 2.4186
154789.617 | 44 | 1444332 | 1508557 | 1406551 | 1453146.6667 | 42107.638 | 4.1119 | 2.4326
158389.392 | 45 | 1450785 | 1513876 | 1416039 | 1460233.3333 | 40496.6904 | 4.132 | 2.4445
161989.167 | 46 | 1453822 | 1511965 | 1425897 | 1463894.6667 | 35851.7235 | 4.1424 | 2.4506
165588.943 | 47 | 1450140 | 1513481 | 1431895 | 1465172 | 34962.2617 | 4.146 | 2.4527
169188.718 | 48 | 1451294 | 1508646 | 1440499 | 1466813 | 29906.888 | 4.1506 | 2.4555
172788.5 | 49 | 1455022 | 1512399 | 1447483 | 1471634.6667 | 28988.5872 | 4.1643 | 2.4635
176388.269 | 50 | 1454903 | 1506118 | 1453371 | 1471464 | 24512.0588 | 4.1638 | 2.4633
179988.044 | 51 | 1450009 | 1505172 | 1453881 | 1469687.3333 | 25141.1916 | 4.1587 | 2.4603
183587.82 | 52 | 1442683 | 1492032 | 1457090 | 1463935 | 20719.9014 | 4.1425 | 2.4507
187187.595 | 53 | 1436102 | 1491707 | 1462255 | 1463354.6667 | 22713.9598 | 4.1408 | 2.4497
190787.372 | 54 | 1431221 | 1479641 | 1458376 | 1456412.6667 | 19816.0727 | 4.1212 | 2.4381
194387.148 | 55 | 1422978 | 1477964 | 1458230 | 1453057.3333 | 22743.9722 | 4.1117 | 2.4324
197986.931 | 56 | 1413360 | 1465114 | 1464491 | 1447655 | 24251.5608 | 4.0964 | 2.4234
201586.701 | 57 | 1410447 | 1461911 | 1456475 | 1442944.3333 | 23085.9991 | 4.0831 | 2.4155
205186.474 | 58 | 1403582 | 1445628 | 1456113 | 1435107.6667 | 22699.2592 | 4.0609 | 2.4024
208786.238 | 59 | 1391474 | 1440232 | 1448399 | 1426701.6667 | 25131.8702 | 4.0371 | 2.3883
212386.014 | 60 | 1387638 | 1427115 | 1457017 | 1423923.3333 | 28413.6289 | 4.0292 | 2.3837
215985.793 | 61 | 1385756 | 1420439 | 1447836 | 1418010.3333 | 25402.1707 | 4.0125 | 2.3738
219585.565 | 62 | 1377007 | 1414938 | 1446694 | 1412879.6667 | 28486.8045 | 3.998 | 2.3652
223185.342 | 63 | 1365300 | 1403712 | 1445174 | 1404728.6667 | 32616.3474 | 3.9749 | 2.3515
223185.342 | 64 | 1361087 | 1395879 | 1441374 | 1399446.6667 | 32873.9692 | 3.96 | 2.3427
223185.342 | 65 | 1349586 | 1385921 | 1432663 | 1389390 | 34004.6316 | 3.9315 | 2.3259
223185.342 | 66 | 1340706 | 1371655 | 1431498 | 1381286.3333 | 37686.1491 | 3.9086 | 2.3123
223185.342 | 67 | 1329561 | 1359851 | 1426578 | 1371996.6667 | 40527.4597 | 3.8823 | 2.2967
223185.342 | 68 | 1317728 | 1344168 | 1420762 | 1360886 | 43693.0195 | 3.8509 | 2.2781
223185.342 | 69 | 1306307 | 1330726 | 1411302 | 1349445 | 44861.1802 | 3.8185 | 2.259
223185.342 | 70 | 1292389 | 1317174 | 1402068 | 1337210.3333 | 46964.2541 | 3.7839 | 2.2385
223185.342 | 71 | 1283168 | 1295344 | 1391874 | 1323462 | 48629.3125 | 3.745 | 2.2155
223185.342 | 72 | 1266401 | 1275362 | 1375972 | 1305911.6667 | 49675.028 | 3.6953 | 2.1861
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 V6
HCT 116 M4KO 1 + PB M4 V6
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 463777 | 328899 | 291233 | 361303 | 74073.7128 | 1 | 0.6013
3599.067 | 2 | 575132 | 422068 | 377890 | 458363.3333 | 84514.7524 | 1.2686 | 0.76284
7198.845 | 3 | 627818 | 469997 | 418963 | 505592.6667 | 88902.1611 | 1.3994 | 0.84144
10798.602 | 4 | 666922 | 505519 | 453036 | 541825.6667 | 91014.4156 | 1.4996 | 0.90174
14398.381 | 5 | 698688 | 532438 | 480282 | 570469.3333 | 93131.0258 | 1.5789 | 0.94941
17998.154 | 6 | 733137 | 562108 | 507354 | 600866.3333 | 96163.5658 | 1.6631 | 1
21597.933 | 7 | 765217 | 588358 | 531483 | 628352.6667 | 99524.1201 | 1.7391 | 1.0457
25197.705 | 8 | 796179 | 615385 | 558797 | 656787 | 101236.1848 | 1.8178 | 1.0931
28797.478 | 9 | 830688 | 645155 | 584392 | 686745 | 104762.3532 | 1.9007 | 1.1429
32397.257 | 10 | 860474 | 672796 | 611794 | 715021.3333 | 105822.7124 | 1.979 | 1.19
35997.03 | 11 | 897916 | 700162 | 637154 | 745077.3333 | 111092.2906 | 2.0622 | 1.24
39596.805 | 12 | 927551 | 725180 | 664399 | 772376.6667 | 112495.5933 | 2.1378 | 1.2854
43196.582 | 13 | 957104 | 754391 | 688521 | 800005.3333 | 114294.0871 | 2.2142 | 1.3314
46796.355 | 14 | 989241 | 784254 | 714742 | 829412.3333 | 116524.3367 | 2.2956 | 1.3804
50396.13 | 15 | 1025325 | 816773 | 748197 | 863431.6667 | 117849.4958 | 2.3898 | 1.437
53995.903 | 16 | 1069502 | 851270 | 783834 | 901535.3333 | 121919.3842 | 2.4952 | 1.5004
57595.68 | 17 | 1108676 | 885741 | 812929 | 935782 | 125816.396 | 2.59 | 1.5574
61195.457 | 18 | 1137592 | 917905 | 846409 | 967302 | 123900.3163 | 2.6773 | 1.6098
64795.233 | 19 | 1173889 | 950178 | 874991 | 999686 | 126946.9316 | 2.7669 | 1.6637
68395.007 | 20 | 1211945 | 980068 | 900985 | 1030999.3333 | 131958.4049 | 2.8536 | 1.7159
71994.782 | 21 | 1238279 | 1003096 | 928400 | 1056591.6667 | 132041.8833 | 2.9244 | 1.7584
75594.561 | 22 | 1260745 | 1024817 | 948700 | 1078087.3333 | 132844.061 | 2.9839 | 1.7942
79194.332 | 23 | 1283614 | 1046695 | 972682 | 1100997 | 132617.7654 | 3.0473 | 1.8323
82794.108 | 24 | 1297586 | 1066393 | 986201 | 1116726.6667 | 132010.7649 | 3.0908 | 1.8585
86393.885 | 25 | 1313561 | 1086093 | 1009582 | 1136412 | 129098.9528 | 3.1453 | 1.8913
89993.662 | 26 | 1330200 | 1101878 | 1024754 | 1152277.3333 | 129690.3603 | 3.1892 | 1.9177
93593.435 | 27 | 1347807 | 1121755 | 1042190 | 1170584 | 129456.9197 | 3.2399 | 1.9482
97193.21 | 28 | 1364457 | 1139713 | 1062074 | 1188748 | 128224.2647 | 3.2902 | 1.9784
100792.988 | 29 | 1383569 | 1159381 | 1081384 | 1208111.3333 | 128088.3226 | 3.3438 | 2.0106
104392.762 | 30 | 1400847 | 1175623 | 1102193 | 1226221 | 127066.0488 | 3.3939 | 2.0408
107992.537 | 31 | 1418040 | 1192514 | 1118002 | 1242852 | 127556.8789 | 3.4399 | 2.0684
111592.308 | 32 | 1436175 | 1212993 | 1135785 | 1261651 | 127368.8574 | 3.4919 | 2.0997
115192.085 | 33 | 1443232 | 1227148 | 1151331 | 1273903.6667 | 123669.2301 | 3.5259 | 2.1201
118791.863 | 34 | 1462849 | 1242055 | 1166322 | 1290408.6667 | 125792.4832 | 3.5715 | 2.1476
122391.637 | 35 | 1469963 | 1252444 | 1182683 | 1301696.6667 | 122343.2834 | 3.6028 | 2.1664
125991.412 | 36 | 1484640 | 1271457 | 1198779 | 1318292 | 121310.2517 | 3.6487 | 2.194
129591.187 | 37 | 1495291 | 1285042 | 1212462 | 1330931.6667 | 119937.364 | 3.6837 | 2.215
133190.963 | 38 | 1509760 | 1298599 | 1230358 | 1346239 | 118935.6874 | 3.7261 | 2.2405
136790.738 | 39 | 1515183 | 1309774 | 1238753 | 1354570 | 117213.1888 | 3.7491 | 2.2544
140390.513 | 40 | 1525941 | 1317747 | 1254314 | 1366000.6667 | 116021.8917 | 3.7808 | 2.2734
143990.289 | 41 | 1531278 | 1326511 | 1265202 | 1374330.3333 | 113766.2103 | 3.8038 | 2.2872
147590.064 | 42 | 1537983 | 1338427 | 1275007 | 1383805.6667 | 112052.106 | 3.83 | 2.303
151189.839 | 43 | 1544649 | 1348501 | 1285153 | 1392767.6667 | 110466.2749 | 3.8548 | 2.3179
154789.617 | 44 | 1547177 | 1355611 | 1295815 | 1399534.3333 | 107215.2295 | 3.8736 | 2.3292
158389.392 | 45 | 1546797 | 1367014 | 1306401 | 1406737.3333 | 102081.7209 | 3.8935 | 2.3412
161989.167 | 46 | 1553399 | 1365896 | 1311623 | 1410306 | 103579.5817 | 3.9034 | 2.3471
165588.943 | 47 | 1555444 | 1376288 | 1320328 | 1417353.3333 | 100281.7849 | 3.9229 | 2.3588
169188.718 | 48 | 1556178 | 1379796 | 1325278 | 1420417.3333 | 98543.6351 | 3.9314 | 2.3639
172788.5 | 49 | 1561089 | 1385169 | 1333522 | 1426593.3333 | 97412.0678 | 3.9485 | 2.3742
176388.269 | 50 | 1562180 | 1392179 | 1339453 | 1431270.6667 | 95036.6523 | 3.9614 | 2.382
179988.044 | 51 | 1559770 | 1395078 | 1341622 | 1432156.6667 | 92837.7011 | 3.9639 | 2.3835
183587.82 | 52 | 1553359 | 1392715 | 1341957 | 1429343.6667 | 90107.143 | 3.9561 | 2.3788
187187.595 | 53 | 1545083 | 1392174 | 1346458 | 1427905 | 84933.3108 | 3.9521 | 2.3764
190787.372 | 54 | 1544526 | 1393610 | 1346697 | 1428277.6667 | 84401.6731 | 3.9531 | 2.377
194387.148 | 55 | 1536323 | 1393475 | 1343609 | 1424469 | 81670.6495 | 3.9426 | 2.3707
197986.931 | 56 | 1527485 | 1391059 | 1347054 | 1421866 | 76814.2343 | 3.9354 | 2.3664
201586.701 | 57 | 1522857 | 1385996 | 1349287 | 1419380 | 74688.2624 | 3.9285 | 2.3622
205186.474 | 58 | 1510846 | 1386361 | 1349513 | 1415573.3333 | 69027.0697 | 3.918 | 2.3559
208786.238 | 59 | 1500983 | 1381642 | 1346959 | 1409861.3333 | 65970.1762 | 3.9022 | 2.3464
212386.014 | 60 | 1496809 | 1381958 | 1348087 | 1408951.3333 | 63645.0488 | 3.8996 | 2.3449
215985.793 | 61 | 1490471 | 1388067 | 1347143 | 1408560.3333 | 60281.0718 | 3.8986 | 2.3442
219585.565 | 62 | 1469495 | 1383560 | 1345506 | 1399520.3333 | 51861.1429 | 3.8735 | 2.3292
223185.342 | 63 | 1461458 | 1375608 | 1342845 | 1393303.6667 | 50014.0874 | 3.8563 | 2.3188
223185.342 | 64 | 1448941 | 1373541 | 1345111 | 1389197.6667 | 43810.3156 | 3.845 | 2.312
223185.342 | 65 | 1431776 | 1373394 | 1337966 | 1381045.3333 | 38678.0403 | 3.8224 | 2.2984
223185.342 | 66 | 1415897 | 1366056 | 1339898 | 1373950.3333 | 31524.6187 | 3.8028 | 2.2866
223185.342 | 67 | 1400959 | 1363208 | 1333535 | 1365900.6667 | 27591.5058 | 3.7805 | 2.2732
223185.342 | 68 | 1378695 | 1353838 | 1329778 | 1354103.6667 | 19971.1652 | 3.7478 | 2.2536
223185.342 | 69 | 1356120 | 1345797 | 1320981 | 1340966 | 14746.5533 | 3.7115 | 2.2317
223185.342 | 70 | 1338221 | 1338196 | 1316985 | 1331134 | 10004.8591 | 3.6843 | 2.2154
223185.342 | 71 | 1314743 | 1323449 | 1310986 | 1316392.6667 | 5220.0027 | 3.6435 | 2.1908
223185.342 | 72 | 1284801 | 1319040 | 1297558 | 1300466.3333 | 14128.4838 | 3.5994 | 2.1643
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 01 empty
HCT 116 M4KO 1 + PB empty
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 359187 | 264548 | 244750 | 289495 | 49938.104 | 1 | 0.5816
3599.067 | 2 | 450629 | 339716 | 322758 | 371034.3333 | 56706.1235 | 1.2817 | 0.74542
7198.845 | 3 | 500864 | 382514 | 360374 | 414584 | 61675.0825 | 1.4321 | 0.83291
10798.602 | 4 | 536490 | 412981 | 390731 | 446734 | 64113.8065 | 1.5431 | 0.8975
14398.381 | 5 | 565034 | 436846 | 415435 | 472438.3333 | 66055.9149 | 1.6319 | 0.94914
17998.154 | 6 | 593066 | 460717 | 439475 | 497752.6667 | 67952.3327 | 1.7194 | 1
21597.933 | 7 | 618149 | 485037 | 460531 | 521239 | 69252.1821 | 1.8005 | 1.0472
25197.705 | 8 | 648996 | 510851 | 482962 | 547603 | 72594.0972 | 1.8916 | 1.1002
28797.478 | 9 | 677912 | 532025 | 507131 | 572356 | 75328.0809 | 1.9771 | 1.1499
32397.257 | 10 | 704015 | 555384 | 526619 | 595339.3333 | 77737.4071 | 2.0565 | 1.1961
35997.03 | 11 | 732521 | 579428 | 547331 | 619760 | 80803.6166 | 2.1408 | 1.2451
39596.805 | 12 | 760237 | 603320 | 571040 | 644865.6667 | 82637.3927 | 2.2276 | 1.2956
43196.582 | 13 | 785108 | 624930 | 591959 | 667332.3333 | 84360.7431 | 2.3052 | 1.3407
46796.355 | 14 | 810806 | 648063 | 614982 | 691283.6667 | 85587.3015 | 2.3879 | 1.3888
50396.13 | 15 | 843534 | 675983 | 643814 | 721110.3333 | 87557.1309 | 2.4909 | 1.4487
53995.903 | 16 | 880713 | 704887 | 673282 | 752960.6667 | 91251.3489 | 2.6009 | 1.5127
57595.68 | 17 | 908749 | 731838 | 699273 | 779953.3333 | 92037.5381 | 2.6942 | 1.5669
61195.457 | 18 | 937398 | 757602 | 727908 | 807636 | 92552.925 | 2.7898 | 1.6226
64795.233 | 19 | 969365 | 785945 | 752227 | 835845.6667 | 95410.6394 | 2.8873 | 1.6792
68395.007 | 20 | 995882 | 809289 | 775092 | 860087.6667 | 97030.6976 | 2.971 | 1.7279
71994.782 | 21 | 1022281 | 833283 | 798705 | 884756.3333 | 98263.8793 | 3.0562 | 1.7775
75594.561 | 22 | 1038926 | 848386 | 820420 | 902577.3333 | 97086.7085 | 3.1178 | 1.8133
79194.332 | 23 | 1055687 | 868874 | 838830 | 921130.3333 | 95933.2507 | 3.1819 | 1.8506
82794.108 | 24 | 1067592 | 880441 | 854305 | 934112.6667 | 94985.339 | 3.2267 | 1.8767
86393.885 | 25 | 1085156 | 896771 | 870783 | 950903.3333 | 95521.9972 | 3.2847 | 1.9104
89993.662 | 26 | 1095794 | 907772 | 887577 | 963714.3333 | 93757.6246 | 3.3289 | 1.9361
93593.435 | 27 | 1110809 | 924182 | 904876 | 979955.6667 | 92862.3589 | 3.3851 | 1.9688
97193.21 | 28 | 1124512 | 936466 | 918147 | 993041.6667 | 93263.901 | 3.4303 | 1.9951
100792.988 | 29 | 1141684 | 953166 | 933566 | 1009472 | 93829.8094 | 3.487 | 2.0281
104392.762 | 30 | 1153694 | 967818 | 951073 | 1024195 | 91824.4412 | 3.5379 | 2.0576
107992.537 | 31 | 1169977 | 980401 | 967519 | 1039299 | 92552.8362 | 3.59 | 2.088
111592.308 | 32 | 1183462 | 995026 | 983822 | 1054103.3333 | 91584.6817 | 3.6412 | 2.1177
115192.085 | 33 | 1192716 | 1006800 | 999414 | 1066310 | 89433.3863 | 3.6833 | 2.1422
118791.863 | 34 | 1204049 | 1021086 | 1013362 | 1079499 | 88126.5829 | 3.7289 | 2.1687
122391.637 | 35 | 1213776 | 1032542 | 1025435 | 1090584.3333 | 87157.9693 | 3.7672 | 2.191
125991.412 | 36 | 1225303 | 1043292 | 1041381 | 1103325.3333 | 86254.7636 | 3.8112 | 2.2166
129591.187 | 37 | 1239735 | 1056046 | 1054531 | 1116770.6667 | 86951.1137 | 3.8577 | 2.2436
133190.963 | 38 | 1245553 | 1069350 | 1069546 | 1128149.6667 | 83016.7317 | 3.897 | 2.2665
136790.738 | 39 | 1253300 | 1077624 | 1080913 | 1137279 | 82050.2233 | 3.9285 | 2.2848
140390.513 | 40 | 1262010 | 1090654 | 1096496 | 1149720 | 79436.8316 | 3.9715 | 2.3098
143990.289 | 41 | 1268929 | 1101313 | 1101765 | 1157335.6667 | 78908.6185 | 3.9978 | 2.3251
147590.064 | 42 | 1273757 | 1106221 | 1116113 | 1165363.6667 | 76751.977 | 4.0255 | 2.3413
151189.839 | 43 | 1277535 | 1111885 | 1128791 | 1172737 | 74424.0947 | 4.051 | 2.3561
154789.617 | 44 | 1283345 | 1124083 | 1137994 | 1181807.3333 | 72022.2294 | 4.0823 | 2.3743
158389.392 | 45 | 1290223 | 1129540 | 1146060 | 1188607.6667 | 72168.7124 | 4.1058 | 2.3879
161989.167 | 46 | 1295046 | 1134163 | 1156205 | 1195138 | 71216.425 | 4.1284 | 2.4011
165588.943 | 47 | 1295837 | 1140547 | 1164623 | 1200335.6667 | 68241.1994 | 4.1463 | 2.4115
169188.718 | 48 | 1298893 | 1146604 | 1174058 | 1206518.3333 | 66273.3723 | 4.1677 | 2.4239
172788.5 | 49 | 1307896 | 1149010 | 1180998 | 1212634.6667 | 68614.1349 | 4.1888 | 2.4362
176388.269 | 50 | 1307209 | 1151139 | 1190977 | 1216441.6667 | 66210.7653 | 4.2019 | 2.4439
179988.044 | 51 | 1305208 | 1153176 | 1196242 | 1218208.6667 | 63980.8987 | 4.208 | 2.4474
183587.82 | 52 | 1303402 | 1154712 | 1198335 | 1218816.3333 | 62406.1577 | 4.2101 | 2.4486
187187.595 | 53 | 1305108 | 1155203 | 1203854 | 1221388.3333 | 62441.7963 | 4.219 | 2.4538
190787.372 | 54 | 1300257 | 1156695 | 1204910 | 1220620.6667 | 59652.4978 | 4.2164 | 2.4523
194387.148 | 55 | 1296326 | 1155279 | 1210023 | 1220542.6667 | 58060.6671 | 4.2161 | 2.4521
197986.931 | 56 | 1296968 | 1154881 | 1208070 | 1219973 | 58614.2187 | 4.2141 | 2.451
201586.701 | 57 | 1290721 | 1156661 | 1212020 | 1219800.6667 | 55005.6057 | 4.2135 | 2.4506
205186.474 | 58 | 1288955 | 1154880 | 1215971 | 1219935.3333 | 54807.6233 | 4.214 | 2.4509
208786.238 | 59 | 1285562 | 1151785 | 1213375 | 1216907.3333 | 54671.3177 | 4.2036 | 2.4448
212386.014 | 60 | 1284608 | 1153636 | 1220234 | 1219492.6667 | 53471.6646 | 4.2125 | 2.45
215985.793 | 61 | 1282559 | 1151417 | 1224224 | 1219400 | 53647.0519 | 4.2122 | 2.4498
219585.565 | 62 | 1281688 | 1152108 | 1227504 | 1220433.3333 | 53136.5527 | 4.2157 | 2.4519
223185.342 | 63 | 1276013 | 1152153 | 1226686 | 1218284 | 50913.4567 | 4.2083 | 2.4476
223185.342 | 64 | 1269897 | 1150545 | 1230126 | 1216856 | 49620.5243 | 4.2034 | 2.4447
223185.342 | 65 | 1261982 | 1148456 | 1230853 | 1213763.6667 | 47896.2222 | 4.1927 | 2.4385
223185.342 | 66 | 1258127 | 1143986 | 1234292 | 1212135 | 49161.2412 | 4.1871 | 2.4352
223185.342 | 67 | 1251256 | 1140149 | 1232454 | 1207953 | 48555.2305 | 4.1726 | 2.4268
223185.342 | 68 | 1239819 | 1135049 | 1227417 | 1200761.6667 | 46740.9051 | 4.1478 | 2.4124
223185.342 | 69 | 1231677 | 1132615 | 1226708 | 1197000 | 45572.2423 | 4.1348 | 2.4048
223185.342 | 70 | 1224370 | 1127026 | 1224347 | 1191914.3333 | 45882.9815 | 4.1172 | 2.3946
223185.342 | 71 | 1212970 | 1118477 | 1219529 | 1183658.6667 | 46168.1158 | 4.0887 | 2.378
223185.342 | 72 | 1199548 | 1110351 | 1212203 | 1174034 | 45326.0824 | 4.0555 | 2.3587
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sheet5
1304