## Result sheet1
Method name: Real-time Glo assay
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1708003802
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2
Date: |  |  |  | 2019-04-21
Time: |  |  |  | 7:48 PM
System |  |  |  | IBMMPC127
User |  |  |  | BIOMOLNT\grppeinelt
Plate |  |  |  | [COS96fw] - Costar 96 Flat White Cat. No.: 3600/3362/3917/3912/3922/3596
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | Humidity cassette -Small
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Gas
Temperature
Kinetic
|  | Luminescence |  |  |  | real-time glo
Name |  |  |  | COS96fw
Plate layout
Plate area |  |  |  | B2-E10
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | SM1_1 | SM1_2 | SM1_3 | SM2_1 | SM2_2 | SM2_3 | SM3_1 | SM3_2 | SM3_3 | None | None
C | None | SM4_1 | SM4_2 | SM4_3 | SM5_1 | SM5_2 | SM5_3 | SM6_1 | SM6_2 | SM6_3 | None | None
D | None | SM7_1 | SM7_2 | SM7_3 | SM8_1 | SM8_2 | SM8_3 | SM9_1 | SM9_2 | SM9_3 | None | None
E | None | SM10_1 | SM10_2 | SM10_3 | SM11_1 | SM11_2 | SM11_3 | BL1_1 | BL1_2 | BL1_3 | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2019-04-18 19:48:03
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 73
Interval time |  |  |  | 01:00:00 | hh:mm:ss
Mode | Luminescence
Name | real-time glo
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 500 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-E10
Start Time |  |  |  | 2019-04-18 19:48:09
real-time glo
Cycle Nr. | Time [s] | CO2 % | O2 % | Temp. [°C] | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | G6 | G7 | G8 | G9 | G10 | G11
1 | 0 | 5 |  | 36.6 | 323242 | 297413 | 287842 | 287964 | 221839 | 217806 | 283242 | 267413 | 287842 | 412854 | 405264 | 363204 | 312866 | 313203 | 300235 | 301496 | 283959 | 277762 | 367545 | 376687 | 373324 | 262375 | 258260 | 256078 | 302573 | 285177 | 282473 | 313360 | 315033 | 333679 | 329557 | 318262 | 322089 | 695 | 579 | 455 | 81 | 71 | 77 | 65 | 67 | 37
2 | 3599.07 | 5.1 |  | 37 | 641577 | 644044 | 653510 | 437443 | 332545 | 326224 | 490487 | 481087 | 425394 | 497504 | 468773 | 499830 | 442754 | 442335 | 423983 | 424192 | 409601 | 411295 | 543803 | 538359 | 527375 | 367261 | 361021 | 357738 | 424994 | 410659 | 414534 | 464249 | 462112 | 480182 | 480858 | 488872 | 479453 | 746 | 664 | 604 | 153 | 111 | 87 | 59 | 91 | 47
3 | 7198.845 | 5 |  | 37 | 706698 | 699044 | 709325 | 485731 | 377607 | 369609 | 542767 | 528883 | 468311 | 551889 | 522903 | 554313 | 496275 | 493260 | 474679 | 475907 | 457136 | 457214 | 601930 | 595160 | 582630 | 414361 | 408004 | 405453 | 476462 | 458126 | 465143 | 519229 | 510734 | 527538 | 531425 | 534281 | 523645 | 845 | 769 | 663 | 93 | 131 | 115 | 65 | 77 | 43
4 | 10798.629 | 5 |  | 37 | 736266 | 737327 | 750770 | 517508 | 410309 | 401782 | 575996 | 559760 | 504373 | 590954 | 564467 | 591932 | 531829 | 529286 | 510939 | 510047 | 494512 | 493264 | 637619 | 636551 | 621584 | 450301 | 444383 | 445074 | 517686 | 492858 | 500090 | 555738 | 542442 | 569411 | 572814 | 577929 | 562692 | 978 | 770 | 748 | 99 | 113 | 145 | 77 | 61 | 53
5 | 14398.408 | 5 |  | 37 | 766379 | 769989 | 784243 | 543807 | 433230 | 424217 | 604561 | 594034 | 530311 | 624471 | 596192 | 628254 | 562711 | 561383 | 543403 | 541071 | 520741 | 517659 | 671255 | 664456 | 655093 | 481318 | 481595 | 475650 | 550140 | 520249 | 527505 | 584748 | 569507 | 599007 | 602542 | 604350 | 591771 | 1041 | 883 | 815 | 87 | 93 | 105 | 81 | 43 | 35
6 | 17998.183 | 5 |  | 37 | 795349 | 799407 | 812939 | 570053 | 460731 | 453654 | 627165 | 619069 | 553560 | 654087 | 628622 | 658438 | 589747 | 590954 | 571578 | 569326 | 543091 | 540529 | 701142 | 695805 | 683422 | 512960 | 509518 | 502299 | 578018 | 542573 | 550472 | 611989 | 593587 | 625553 | 627530 | 629810 | 615354 | 1195 | 905 | 777 | 103 | 149 | 111 | 83 | 69 | 49
7 | 21597.962 | 5 |  | 37 | 825114 | 829207 | 844884 | 595981 | 486506 | 474562 | 661268 | 646295 | 580661 | 685092 | 657955 | 686536 | 617204 | 617611 | 597903 | 592980 | 567826 | 561710 | 730622 | 723925 | 713264 | 541462 | 534635 | 528008 | 601770 | 569445 | 575615 | 637060 | 617819 | 651876 | 655374 | 656922 | 639989 | 1199 | 913 | 795 | 128 | 96 | 104 | 120 | 86 | 50
8 | 25197.747 | 5 |  | 37 | 854171 | 861651 | 874435 | 619938 | 510769 | 494991 | 689787 | 672592 | 603719 | 715003 | 684786 | 714609 | 647956 | 650978 | 627180 | 617174 | 591049 | 583003 | 760168 | 753436 | 742675 | 567832 | 560668 | 555170 | 626651 | 596095 | 599722 | 662627 | 642059 | 679313 | 678595 | 679999 | 665249 | 1148 | 1014 | 940 | 121 | 139 | 97 | 89 | 91 | 51
9 | 28797.524 | 5 |  | 37 | 885063 | 890512 | 906284 | 643653 | 533405 | 520191 | 716411 | 701598 | 631146 | 741435 | 713758 | 746226 | 677142 | 681486 | 651353 | 639019 | 612649 | 605815 | 790674 | 782979 | 768398 | 593976 | 585059 | 576864 | 651524 | 616580 | 621622 | 688824 | 666870 | 702634 | 701748 | 703929 | 690416 | 1356 | 1096 | 806 | 71 | 105 | 105 | 111 | 59 | 39
10 | 32397.298 | 5 |  | 37 | 916345 | 922027 | 937821 | 671420 | 556179 | 541664 | 744213 | 730177 | 656680 | 771912 | 744137 | 774277 | 710932 | 711721 | 684862 | 667314 | 635121 | 628087 | 818283 | 808617 | 797603 | 619504 | 608525 | 604305 | 680448 | 639547 | 647128 | 718004 | 696426 | 731367 | 724815 | 724260 | 708287 | 1398 | 1004 | 886 | 85 | 91 | 87 | 103 | 77 | 29
11 | 35997.078 | 5 |  | 37 | 945464 | 954750 | 969573 | 699165 | 583362 | 564805 | 773196 | 756319 | 682077 | 800719 | 771272 | 798272 | 738628 | 737250 | 709602 | 690031 | 661163 | 649481 | 844297 | 835411 | 824871 | 643208 | 631655 | 628175 | 702792 | 662954 | 669713 | 743825 | 719145 | 756959 | 744960 | 743991 | 730492 | 1430 | 1174 | 892 | 103 | 161 | 119 | 69 | 59 | 41
12 | 39596.855 | 5 |  | 37 | 980372 | 985912 | 1002437 | 726005 | 608917 | 588845 | 805214 | 786258 | 713298 | 823063 | 797504 | 828005 | 767177 | 769420 | 741492 | 717214 | 686387 | 672422 | 876564 | 867059 | 857505 | 667224 | 656131 | 652012 | 732089 | 687679 | 692619 | 770739 | 745434 | 785959 | 766072 | 766796 | 750593 | 1411 | 1258 | 1076 | 135 | 139 | 125 | 129 | 113 | 63
13 | 43196.638 | 5 |  | 37 | 1009284 | 1014665 | 1035520 | 754307 | 633228 | 611804 | 832155 | 815873 | 740247 | 850442 | 826904 | 853688 | 798306 | 800239 | 768935 | 741177 | 709046 | 696535 | 906728 | 898481 | 885160 | 690239 | 679960 | 675891 | 755552 | 710857 | 714266 | 802596 | 772600 | 811927 | 788446 | 787126 | 770428 | 1463 | 1181 | 999 | 111 | 149 | 85 | 115 | 77 | 59
14 | 46796.416 | 5 |  | 37 | 1035949 | 1047027 | 1065973 | 780173 | 655868 | 635391 | 864373 | 844149 | 766344 | 876472 | 851163 | 879892 | 825049 | 827849 | 796873 | 766827 | 733005 | 719515 | 931406 | 922794 | 910176 | 713159 | 702538 | 698327 | 778090 | 733400 | 736635 | 827240 | 796037 | 838519 | 801197 | 804676 | 788403 | 1555 | 1157 | 1063 | 132 | 114 | 98 | 112 | 74 | 46
15 | 50396.192 | 5 |  | 37 | 1068846 | 1081048 | 1100697 | 810601 | 684046 | 664320 | 896418 | 877820 | 799501 | 907085 | 881740 | 908197 | 857347 | 864339 | 828485 | 793996 | 760573 | 744192 | 966880 | 956598 | 945417 | 740117 | 730015 | 722780 | 804193 | 762116 | 764464 | 859597 | 823875 | 868786 | 826075 | 825711 | 808381 | 1469 | 1325 | 1093 | 93 | 149 | 121 | 105 | 83 | 41
16 | 53995.973 | 4.9 |  | 37 | 1095922 | 1110750 | 1131275 | 837271 | 708146 | 685650 | 925380 | 906264 | 826903 | 934819 | 907042 | 934593 | 886297 | 889396 | 858356 | 817808 | 784722 | 766556 | 991466 | 986076 | 973091 | 763903 | 750959 | 748908 | 831656 | 782131 | 784044 | 879597 | 852860 | 894849 | 844313 | 844853 | 825641 | 1605 | 1319 | 1065 | 105 | 87 | 133 | 57 | 89 | 47
17 | 57595.755 | 5 |  | 37 | 1118501 | 1134541 | 1153386 | 862664 | 731060 | 705202 | 949845 | 931139 | 848865 | 955353 | 924931 | 958381 | 911171 | 913708 | 880965 | 837686 | 801821 | 782734 | 1016604 | 1004327 | 997597 | 781486 | 770762 | 768588 | 845909 | 798761 | 802392 | 906912 | 873542 | 919273 | 856888 | 855461 | 840757 | 1419 | 1269 | 1129 | 145 | 169 | 165 | 125 | 55 | 29
18 | 61195.53 | 5 |  | 37 | 1143688 | 1160011 | 1179806 | 883815 | 754129 | 732007 | 978499 | 959925 | 878626 | 975630 | 948936 | 979471 | 936844 | 936380 | 903893 | 857655 | 825823 | 804396 | 1039978 | 1030393 | 1024712 | 805538 | 795448 | 789543 | 872179 | 820303 | 826428 | 932697 | 895554 | 943778 | 870079 | 865338 | 852705 | 1727 | 1413 | 1097 | 128 | 146 | 128 | 124 | 112 | 30
19 | 64795.31 | 5 |  | 37 | 1166966 | 1188633 | 1207393 | 904965 | 776134 | 750910 | 1004987 | 986555 | 904949 | 1004597 | 974846 | 1005643 | 965504 | 964463 | 930142 | 881417 | 849801 | 822891 | 1065926 | 1053655 | 1045061 | 823313 | 813543 | 811032 | 891668 | 839141 | 848748 | 954373 | 919508 | 965716 | 885491 | 882541 | 869580 | 1538 | 1356 | 1114 | 191 | 123 | 125 | 131 | 75 | 47
20 | 68395.09 | 4.9 |  | 37 | 1194340 | 1211515 | 1234262 | 933164 | 800673 | 773915 | 1036584 | 1012795 | 931396 | 1027491 | 999124 | 1028734 | 988267 | 989474 | 957874 | 902495 | 865269 | 844878 | 1090630 | 1080561 | 1070357 | 850677 | 834787 | 833624 | 914500 | 859839 | 866831 | 980822 | 942361 | 990438 | 900961 | 895428 | 886917 | 1705 | 1467 | 1265 | 121 | 159 | 109 | 135 | 97 | 47
21 | 71994.865 | 5 |  | 37 | 1220669 | 1238922 | 1259890 | 956888 | 822598 | 794036 | 1062162 | 1039420 | 961271 | 1049869 | 1021977 | 1053990 | 1015127 | 1016162 | 980527 | 926240 | 890003 | 864273 | 1114591 | 1104960 | 1094278 | 872584 | 860186 | 852993 | 934292 | 880798 | 887652 | 1003863 | 965450 | 1012573 | 914807 | 909012 | 900064 | 1795 | 1435 | 1293 | 134 | 174 | 136 | 124 | 100 | 76
22 | 75594.645 | 5 |  | 37 | 1244975 | 1266801 | 1283793 | 979852 | 844769 | 816522 | 1088867 | 1069343 | 983801 | 1073817 | 1045905 | 1077490 | 1036991 | 1039077 | 1003962 | 945719 | 911659 | 882407 | 1141885 | 1128184 | 1118382 | 893037 | 878262 | 877197 | 957059 | 900146 | 903844 | 1027975 | 986853 | 1040204 | 928069 | 919749 | 917868 | 1860 | 1441 | 1235 | 153 | 149 | 119 | 115 | 69 | 77
23 | 79194.426 | 5 |  | 37 | 1262360 | 1286727 | 1308975 | 999587 | 865725 | 835208 | 1116307 | 1092266 | 1012739 | 1094531 | 1060976 | 1100697 | 1061526 | 1058124 | 1023808 | 964560 | 929874 | 897556 | 1161987 | 1151532 | 1137942 | 913889 | 898707 | 894400 | 975018 | 921355 | 921342 | 1050169 | 1004792 | 1058269 | 938193 | 932589 | 922989 | 1844 | 1476 | 1260 | 183 | 133 | 135 | 173 | 73 | 55
24 | 82794.2 | 5.1 |  | 37 | 1292977 | 1313853 | 1335646 | 1025811 | 888087 | 858479 | 1146336 | 1121920 | 1038505 | 1117785 | 1089203 | 1123520 | 1087488 | 1085872 | 1050790 | 989545 | 949668 | 918420 | 1187161 | 1172951 | 1165970 | 938249 | 919156 | 915156 | 992557 | 939705 | 939749 | 1072137 | 1031189 | 1083388 | 948481 | 943193 | 936854 | 1862 | 1638 | 1370 | 81 | 159 | 137 | 93 | 115 | 25
25 | 86393.984 | 5 |  | 37 | 1309778 | 1338472 | 1352428 | 1045960 | 905202 | 877299 | 1167559 | 1146439 | 1059176 | 1140008 | 1107009 | 1139754 | 1102507 | 1105728 | 1067914 | 1007520 | 967592 | 935178 | 1206027 | 1194970 | 1185353 | 950338 | 936381 | 933091 | 1012261 | 957023 | 955678 | 1092209 | 1049898 | 1098501 | 959487 | 953389 | 941773 | 1834 | 1544 | 1306 | 144 | 196 | 166 | 116 | 82 | 46
26 | 89993.759 | 4.9 |  | 37 | 1335127 | 1353181 | 1372348 | 1065766 | 925009 | 895734 | 1194525 | 1170111 | 1084116 | 1157327 | 1131903 | 1162445 | 1127430 | 1124965 | 1087308 | 1024248 | 986978 | 953395 | 1228632 | 1217817 | 1205421 | 972103 | 952173 | 951118 | 1029593 | 972906 | 971812 | 1114351 | 1067094 | 1119438 | 967230 | 961185 | 951217 | 1975 | 1597 | 1369 | 122 | 170 | 138 | 126 | 80 | 88
27 | 93593.537 | 5 |  | 37 | 1348803 | 1372942 | 1389133 | 1081440 | 945234 | 913325 | 1217569 | 1194581 | 1107383 | 1173019 | 1149242 | 1177196 | 1140014 | 1141828 | 1104949 | 1038709 | 1000817 | 966275 | 1244026 | 1234028 | 1224715 | 988992 | 971288 | 968722 | 1044715 | 986222 | 984617 | 1128235 | 1083018 | 1136413 | 976441 | 968373 | 952812 | 1952 | 1550 | 1308 | 148 | 140 | 114 | 132 | 86 | 94
28 | 97193.32 | 5 |  | 37 | 1366811 | 1391528 | 1413747 | 1099025 | 961263 | 927060 | 1241916 | 1219908 | 1130350 | 1191370 | 1167278 | 1197552 | 1162864 | 1161094 | 1122134 | 1058814 | 1016396 | 978655 | 1266637 | 1253708 | 1237917 | 1003441 | 987333 | 984994 | 1059460 | 1000785 | 1000298 | 1148994 | 1102767 | 1153213 | 984899 | 975515 | 963691 | 1945 | 1541 | 1255 | 172 | 206 | 112 | 106 | 144 | 88
29 | 100793.1 | 5 |  | 37 | 1382549 | 1409804 | 1428401 | 1118130 | 979288 | 944993 | 1268688 | 1242114 | 1155308 | 1207117 | 1186175 | 1213424 | 1176367 | 1176682 | 1137081 | 1073858 | 1032867 | 995634 | 1283866 | 1270131 | 1256330 | 1018794 | 1004033 | 998820 | 1077036 | 1017492 | 1013726 | 1165625 | 1115987 | 1174950 | 991340 | 980920 | 967135 | 2146 | 1750 | 1410 | 151 | 141 | 87 | 117 | 135 | 49
30 | 104392.874 | 5 |  | 37 | 1402379 | 1424987 | 1440810 | 1134896 | 1000145 | 962043 | 1293710 | 1263657 | 1176634 | 1222822 | 1202044 | 1229763 | 1196063 | 1199383 | 1157007 | 1091089 | 1046926 | 1010095 | 1299589 | 1282940 | 1269189 | 1036353 | 1018957 | 1015768 | 1091699 | 1030801 | 1027427 | 1182478 | 1135712 | 1190500 | 993903 | 987817 | 974994 | 2004 | 1609 | 1439 | 183 | 165 | 155 | 159 | 111 | 71
31 | 107992.653 | 5 |  | 37 | 1417549 | 1440939 | 1459066 | 1153052 | 1015514 | 976803 | 1318234 | 1282253 | 1199715 | 1235412 | 1217398 | 1246114 | 1209492 | 1215343 | 1169910 | 1105454 | 1060182 | 1022677 | 1315791 | 1301894 | 1284966 | 1051902 | 1040104 | 1029985 | 1104132 | 1044945 | 1036634 | 1195711 | 1149055 | 1202625 | 998005 | 990546 | 978077 | 1925 | 1707 | 1317 | 163 | 147 | 213 | 125 | 69 | 71
32 | 111592.443 | 5 |  | 37 | 1425650 | 1448485 | 1469965 | 1165954 | 1028420 | 995579 | 1338037 | 1307906 | 1217426 | 1250154 | 1230086 | 1262699 | 1227942 | 1229579 | 1183807 | 1118742 | 1076405 | 1035268 | 1328861 | 1314104 | 1305441 | 1065735 | 1052281 | 1045608 | 1112992 | 1055648 | 1049462 | 1209183 | 1163711 | 1218168 | 1004038 | 995194 | 977837 | 1916 | 1704 | 1484 | 159 | 191 | 169 | 111 | 109 | 59
33 | 115192.218 | 5 |  | 37 | 1440704 | 1463647 | 1483289 | 1180531 | 1041312 | 1006381 | 1355262 | 1325285 | 1232674 | 1258415 | 1244278 | 1268957 | 1241247 | 1241195 | 1199804 | 1132874 | 1084676 | 1044110 | 1343722 | 1322547 | 1315280 | 1084841 | 1064639 | 1056485 | 1123056 | 1063637 | 1051305 | 1219873 | 1181815 | 1230666 | 1009268 | 993223 | 986465 | 2097 | 1791 | 1505 | 191 | 161 | 131 | 127 | 91 | 67
34 | 118791.99 | 5 |  | 37 | 1447144 | 1477339 | 1496861 | 1194444 | 1057731 | 1018031 | 1374575 | 1343477 | 1256689 | 1272216 | 1252391 | 1278720 | 1251801 | 1255597 | 1211906 | 1147288 | 1098901 | 1057843 | 1356504 | 1336314 | 1331166 | 1098323 | 1081429 | 1072664 | 1134258 | 1076263 | 1067165 | 1233636 | 1186742 | 1242849 | 1012217 | 993115 | 985694 | 2104 | 1681 | 1505 | 155 | 159 | 131 | 143 | 63 | 31
35 | 122391.767 | 5 |  | 37 | 1467130 | 1487736 | 1509576 | 1213399 | 1076835 | 1037134 | 1390414 | 1362040 | 1271724 | 1282644 | 1269190 | 1295483 | 1267670 | 1273393 | 1226509 | 1161144 | 1110487 | 1067989 | 1365123 | 1351998 | 1342586 | 1111058 | 1091673 | 1085452 | 1143075 | 1082225 | 1071256 | 1250722 | 1206428 | 1252281 | 1012012 | 999238 | 992654 | 2167 | 1805 | 1495 | 160 | 170 | 160 | 128 | 116 | 80
36 | 125991.546 | 5 |  | 36.9 | 1478369 | 1494615 | 1513641 | 1219163 | 1087044 | 1049345 | 1410010 | 1372345 | 1287033 | 1290276 | 1277548 | 1301142 | 1275342 | 1280924 | 1232029 | 1171367 | 1120802 | 1076720 | 1378249 | 1357824 | 1352053 | 1118825 | 1102785 | 1091682 | 1150114 | 1092453 | 1079512 | 1257867 | 1211637 | 1260953 | 1013456 | 996873 | 988267 | 2169 | 1721 | 1405 | 138 | 142 | 170 | 150 | 100 | 44
37 | 129591.331 | 5.1 |  | 37 | 1479775 | 1500352 | 1522060 | 1230872 | 1099286 | 1057707 | 1420453 | 1387147 | 1298599 | 1301243 | 1285661 | 1310613 | 1287662 | 1295331 | 1245793 | 1178357 | 1130757 | 1083770 | 1386191 | 1367820 | 1360019 | 1128103 | 1110446 | 1101023 | 1152862 | 1095156 | 1083221 | 1271202 | 1224389 | 1271541 | 1013077 | 995112 | 981217 | 2316 | 1946 | 1502 | 179 | 175 | 163 | 145 | 177 | 97
38 | 133191.107 | 5 |  | 37 | 1488388 | 1508503 | 1530867 | 1249182 | 1107561 | 1073910 | 1433570 | 1399313 | 1314499 | 1303048 | 1291571 | 1315654 | 1295278 | 1302289 | 1252883 | 1192729 | 1140739 | 1094050 | 1393126 | 1375362 | 1366006 | 1137254 | 1117427 | 1113840 | 1162508 | 1104108 | 1085774 | 1278133 | 1228677 | 1281118 | 1005422 | 991141 | 976280 | 2214 | 1716 | 1489 | 143 | 181 | 125 | 149 | 89 | 53
39 | 136790.889 | 5 |  | 37 | 1497175 | 1515918 | 1534374 | 1253510 | 1122678 | 1083454 | 1446733 | 1411547 | 1324556 | 1310697 | 1303291 | 1319562 | 1305900 | 1314258 | 1261664 | 1199387 | 1148987 | 1101106 | 1400775 | 1381261 | 1375523 | 1144619 | 1126658 | 1121419 | 1166335 | 1107039 | 1090850 | 1285643 | 1242573 | 1289472 | 1008431 | 994799 | 971488 | 2120 | 1776 | 1486 | 157 | 167 | 151 | 121 | 101 | 51
40 | 140390.662 | 5.1 |  | 37 | 1504447 | 1521796 | 1545466 | 1266636 | 1134060 | 1096695 | 1459444 | 1421712 | 1339673 | 1316415 | 1309716 | 1324066 | 1317584 | 1320267 | 1274307 | 1212204 | 1157833 | 1111600 | 1410316 | 1397695 | 1388170 | 1154210 | 1135170 | 1130241 | 1173665 | 1111602 | 1093451 | 1294002 | 1250578 | 1297926 | 1007054 | 991225 | 973160 | 2165 | 1833 | 1510 | 173 | 249 | 175 | 137 | 131 | 87
41 | 143990.443 | 5 |  | 37 | 1506104 | 1526035 | 1548742 | 1271060 | 1144783 | 1103796 | 1465809 | 1436444 | 1353990 | 1321006 | 1316025 | 1328133 | 1320490 | 1329034 | 1282111 | 1221962 | 1163728 | 1117455 | 1417204 | 1396865 | 1390249 | 1161038 | 1144662 | 1134797 | 1171793 | 1114515 | 1098303 | 1298506 | 1257360 | 1303530 | 1002607 | 989791 | 970453 | 2163 | 1747 | 1573 | 193 | 203 | 131 | 103 | 127 | 79
42 | 147590.221 | 5 |  | 37 | 1512490 | 1529957 | 1548955 | 1282871 | 1153108 | 1114621 | 1476874 | 1441332 | 1358268 | 1323199 | 1320657 | 1334382 | 1332308 | 1333724 | 1287447 | 1225010 | 1169506 | 1123160 | 1420514 | 1403944 | 1397540 | 1168145 | 1150030 | 1138234 | 1173964 | 1117769 | 1096431 | 1306658 | 1260698 | 1309715 | 1003635 | 985826 | 964827 | 2182 | 2016 | 1486 | 152 | 220 | 162 | 152 | 140 | 64
43 | 151189.999 | 5 |  | 37 | 1514128 | 1526892 | 1553131 | 1287483 | 1162389 | 1126785 | 1483750 | 1449876 | 1369371 | 1325303 | 1324195 | 1333563 | 1336486 | 1343837 | 1299208 | 1232944 | 1181897 | 1135248 | 1422511 | 1407942 | 1396870 | 1174245 | 1152224 | 1145432 | 1174080 | 1122532 | 1097664 | 1312056 | 1270623 | 1316509 | 997635 | 983761 | 964123 | 2359 | 1929 | 1679 | 178 | 194 | 150 | 126 | 110 | 26
44 | 154789.786 | 5 |  | 37 | 1522089 | 1532778 | 1557625 | 1298324 | 1171429 | 1134030 | 1488863 | 1456899 | 1374312 | 1331725 | 1326168 | 1336004 | 1345793 | 1348057 | 1300157 | 1240527 | 1185485 | 1139881 | 1425402 | 1416884 | 1406655 | 1179250 | 1155805 | 1150742 | 1172048 | 1116417 | 1091456 | 1317576 | 1277188 | 1317339 | 994558 | 977282 | 959886 | 2116 | 1900 | 1504 | 145 | 207 | 141 | 175 | 125 | 69
45 | 158389.556 | 5 |  | 37 | 1524200 | 1540065 | 1561270 | 1303037 | 1179432 | 1140157 | 1497486 | 1464464 | 1384926 | 1329160 | 1326936 | 1336840 | 1344222 | 1349533 | 1308654 | 1244130 | 1193629 | 1144844 | 1437293 | 1420849 | 1412076 | 1177536 | 1159370 | 1152223 | 1173192 | 1117106 | 1095553 | 1320472 | 1278758 | 1321466 | 991260 | 971025 | 957077 | 2323 | 1921 | 1499 | 144 | 210 | 140 | 180 | 66 | 66
46 | 161989.336 | 5 |  | 37 | 1527581 | 1539995 | 1562233 | 1307653 | 1190868 | 1148020 | 1501409 | 1468954 | 1388933 | 1331024 | 1328614 | 1337849 | 1352660 | 1357700 | 1311689 | 1249979 | 1194414 | 1145810 | 1442481 | 1422072 | 1422092 | 1184172 | 1164433 | 1155257 | 1168143 | 1117340 | 1090362 | 1330011 | 1286799 | 1326575 | 982631 | 966802 | 953631 | 2141 | 1795 | 1546 | 168 | 228 | 208 | 132 | 84 | 64
47 | 165589.118 | 5 |  | 37 | 1529186 | 1539598 | 1562019 | 1317884 | 1195575 | 1155843 | 1507207 | 1471831 | 1398582 | 1328732 | 1331780 | 1336475 | 1353665 | 1361980 | 1319161 | 1249234 | 1201787 | 1156184 | 1440529 | 1425824 | 1419245 | 1182089 | 1168404 | 1154798 | 1165274 | 1112110 | 1085148 | 1332656 | 1285933 | 1328343 | 975310 | 963295 | 944645 | 2201 | 1945 | 1579 | 184 | 210 | 220 | 180 | 144 | 100
48 | 169188.894 | 5 |  | 37 | 1533382 | 1542503 | 1562901 | 1321991 | 1206933 | 1160881 | 1507825 | 1476415 | 1401121 | 1331329 | 1325432 | 1335210 | 1363645 | 1367614 | 1325898 | 1257355 | 1209118 | 1158497 | 1447980 | 1429621 | 1423411 | 1187811 | 1171507 | 1157933 | 1163766 | 1110896 | 1082896 | 1336384 | 1294958 | 1330174 | 970916 | 959775 | 943201 | 2143 | 1943 | 1663 | 168 | 218 | 150 | 132 | 90 | 88
49 | 172788.672 | 5 |  | 37 | 1529496 | 1543222 | 1571772 | 1325787 | 1211065 | 1172983 | 1514846 | 1480864 | 1403042 | 1328031 | 1325554 | 1330576 | 1364297 | 1365917 | 1323714 | 1261879 | 1209424 | 1160535 | 1450999 | 1434429 | 1424480 | 1186034 | 1168188 | 1160068 | 1161158 | 1108984 | 1079133 | 1340711 | 1297206 | 1335488 | 967270 | 950882 | 933784 | 2271 | 1923 | 1571 | 184 | 208 | 114 | 140 | 128 | 50
50 | 176388.455 | 5 |  | 37 | 1528845 | 1539497 | 1562208 | 1327810 | 1216253 | 1175870 | 1513735 | 1482874 | 1411817 | 1325902 | 1324986 | 1324999 | 1365627 | 1373368 | 1326224 | 1264495 | 1215078 | 1164657 | 1451234 | 1435985 | 1424666 | 1186495 | 1170253 | 1159309 | 1151186 | 1103376 | 1070801 | 1342088 | 1300828 | 1333334 | 962174 | 943192 | 926078 | 2310 | 1822 | 1670 | 169 | 229 | 185 | 117 | 93 | 61
51 | 179988.229 | 5 |  | 37 | 1526221 | 1536469 | 1559695 | 1337275 | 1218491 | 1183404 | 1514109 | 1479543 | 1404772 | 1321517 | 1322954 | 1326491 | 1366209 | 1370892 | 1327883 | 1263467 | 1212939 | 1164969 | 1450243 | 1433813 | 1423145 | 1187711 | 1169064 | 1157006 | 1153520 | 1097308 | 1067620 | 1341403 | 1301817 | 1329399 | 955214 | 935222 | 921969 | 2229 | 1819 | 1587 | 179 | 197 | 161 | 127 | 103 | 77
52 | 183588.009 | 5 |  | 37 | 1528978 | 1536980 | 1559487 | 1338854 | 1227736 | 1188870 | 1515734 | 1483406 | 1412626 | 1316842 | 1321462 | 1319064 | 1366420 | 1374306 | 1336138 | 1267759 | 1222590 | 1170538 | 1449201 | 1432904 | 1427864 | 1185540 | 1166584 | 1163376 | 1142176 | 1091801 | 1060361 | 1349128 | 1304472 | 1339794 | 948483 | 927934 | 918359 | 2279 | 1785 | 1615 | 178 | 210 | 154 | 136 | 150 | 94
53 | 187187.79 | 5 |  | 37 | 1520592 | 1530532 | 1556478 | 1345040 | 1229099 | 1194559 | 1512251 | 1479640 | 1407559 | 1319765 | 1315230 | 1323845 | 1367498 | 1372405 | 1333784 | 1263138 | 1218575 | 1167844 | 1453204 | 1434753 | 1424146 | 1186643 | 1166161 | 1157413 | 1137605 | 1086660 | 1054141 | 1347527 | 1307028 | 1336003 | 944928 | 923210 | 909394 | 2272 | 1919 | 1593 | 218 | 238 | 162 | 148 | 108 | 64
54 | 190787.569 | 5 |  | 37 | 1514454 | 1530561 | 1551288 | 1346244 | 1235341 | 1195453 | 1509724 | 1474660 | 1407779 | 1316841 | 1312309 | 1320929 | 1373345 | 1378253 | 1335796 | 1273665 | 1226083 | 1177033 | 1450691 | 1434131 | 1428684 | 1186229 | 1165697 | 1151753 | 1130361 | 1081080 | 1048845 | 1345914 | 1305919 | 1334115 | 938483 | 913347 | 905072 | 2155 | 1973 | 1575 | 144 | 200 | 120 | 174 | 64 | 70
55 | 194387.346 | 5.1 |  | 37 | 1510398 | 1521052 | 1545058 | 1346836 | 1236915 | 1200368 | 1506274 | 1471119 | 1401505 | 1316452 | 1307277 | 1315087 | 1374226 | 1374068 | 1335994 | 1271766 | 1222428 | 1174969 | 1452404 | 1430768 | 1427873 | 1185236 | 1161757 | 1153579 | 1122944 | 1072067 | 1037295 | 1347411 | 1308877 | 1334109 | 927295 | 902439 | 896806 | 2109 | 1841 | 1635 | 195 | 141 | 151 | 125 | 129 | 59
56 | 197987.127 | 4.9 |  | 37 | 1503080 | 1513219 | 1541848 | 1348113 | 1241011 | 1202296 | 1502090 | 1472022 | 1397294 | 1307493 | 1298352 | 1314266 | 1373672 | 1375897 | 1334817 | 1270390 | 1221963 | 1171893 | 1445673 | 1431707 | 1423762 | 1181776 | 1160672 | 1150383 | 1116536 | 1067744 | 1033280 | 1344174 | 1303858 | 1331785 | 915505 | 896615 | 885032 | 2078 | 1972 | 1600 | 208 | 198 | 144 | 168 | 142 | 46
57 | 201586.905 | 5 |  | 37 | 1494226 | 1505167 | 1530100 | 1346131 | 1240878 | 1207751 | 1490623 | 1467093 | 1394816 | 1303009 | 1293826 | 1308054 | 1368922 | 1373731 | 1333863 | 1272478 | 1220802 | 1174035 | 1442258 | 1424694 | 1416713 | 1175483 | 1154546 | 1142819 | 1105102 | 1059974 | 1025712 | 1344643 | 1304737 | 1331604 | 908743 | 883864 | 876815 | 2361 | 1968 | 1618 | 158 | 180 | 152 | 140 | 102 | 80
58 | 205186.681 | 5 |  | 37 | 1480465 | 1492812 | 1522618 | 1341423 | 1243790 | 1205783 | 1487629 | 1460136 | 1390596 | 1292264 | 1291790 | 1297329 | 1367071 | 1372687 | 1336659 | 1274128 | 1223395 | 1174638 | 1440239 | 1423922 | 1416297 | 1172123 | 1154376 | 1141965 | 1097540 | 1053491 | 1019998 | 1341483 | 1301856 | 1328813 | 900329 | 879836 | 871467 | 2263 | 1925 | 1738 | 172 | 200 | 112 | 146 | 132 | 64
59 | 208786.461 | 5.1 |  | 37 | 1469313 | 1486230 | 1513522 | 1343580 | 1241718 | 1204197 | 1476534 | 1450259 | 1385988 | 1296595 | 1283123 | 1295802 | 1364357 | 1372231 | 1329389 | 1268127 | 1221859 | 1170684 | 1431506 | 1412141 | 1412529 | 1167878 | 1142492 | 1134074 | 1085350 | 1048095 | 1013988 | 1334575 | 1302230 | 1321323 | 890524 | 868921 | 861666 | 2234 | 1870 | 1690 | 163 | 195 | 137 | 145 | 139 | 49
60 | 212386.242 | 5.1 |  | 37 | 1462497 | 1472982 | 1501574 | 1343428 | 1249962 | 1207022 | 1473503 | 1445010 | 1381331 | 1285960 | 1279918 | 1293626 | 1364324 | 1366396 | 1330008 | 1270049 | 1223404 | 1173117 | 1424927 | 1414420 | 1407574 | 1165958 | 1141452 | 1132028 | 1079525 | 1034590 | 1004480 | 1331156 | 1303002 | 1323481 | 879711 | 860849 | 855890 | 2312 | 1861 | 1577 | 215 | 191 | 165 | 161 | 137 | 99
61 | 215986.017 | 4.9 |  | 37 | 1442971 | 1463503 | 1484631 | 1335875 | 1240778 | 1205013 | 1462380 | 1431755 | 1374908 | 1276068 | 1270947 | 1283890 | 1361788 | 1363855 | 1326491 | 1261900 | 1219005 | 1170910 | 1414993 | 1407326 | 1400531 | 1154466 | 1137674 | 1125353 | 1064223 | 1026914 | 992829 | 1329421 | 1295251 | 1316607 | 875299 | 847021 | 844436 | 2207 | 1941 | 1711 | 208 | 158 | 138 | 124 | 92 | 36
62 | 219585.797 | 5 |  | 37 | 1432504 | 1449952 | 1478580 | 1337888 | 1244557 | 1204238 | 1445517 | 1424420 | 1368271 | 1276377 | 1266259 | 1279882 | 1362144 | 1359704 | 1322618 | 1260478 | 1214238 | 1170158 | 1409759 | 1399663 | 1397348 | 1152682 | 1137427 | 1122119 | 1055875 | 1021316 | 985727 | 1322152 | 1291838 | 1311432 | 868687 | 838970 | 839430 | 2218 | 2012 | 1646 | 146 | 184 | 162 | 140 | 108 | 50
63 | 223185.579 | 5 |  | 37 | 1414371 | 1432539 | 1457945 | 1331000 | 1240271 | 1202229 | 1434985 | 1410101 | 1359682 | 1263045 | 1259743 | 1271785 | 1353358 | 1352799 | 1315614 | 1257503 | 1214113 | 1165577 | 1399719 | 1390824 | 1389861 | 1148949 | 1131778 | 1116351 | 1046141 | 1009751 | 978209 | 1315050 | 1288594 | 1307483 | 860187 | 831135 | 829002 | 2269 | 1839 | 1581 | 184 | 184 | 138 | 80 | 102 | 72
64 | 226785.354 | 4.9 |  | 37 | 1396099 | 1415405 | 1448373 | 1330190 | 1236024 | 1203093 | 1417386 | 1406235 | 1345590 | 1255375 | 1261166 | 1261852 | 1347253 | 1348139 | 1313904 | 1252965 | 1209115 | 1160347 | 1395289 | 1379998 | 1380740 | 1140795 | 1125873 | 1110314 | 1034515 | 998320 | 966273 | 1307090 | 1284336 | 1298138 | 851883 | 822372 | 818406 | 2163 | 1937 | 1797 | 192 | 210 | 142 | 114 | 114 | 62
65 | 230385.134 | 5 |  | 37 | 1379561 | 1397325 | 1429867 | 1324574 | 1228569 | 1197842 | 1413926 | 1384014 | 1339389 | 1255697 | 1251059 | 1255625 | 1340215 | 1343227 | 1309077 | 1250374 | 1203818 | 1159843 | 1384513 | 1372747 | 1370461 | 1137582 | 1121627 | 1106307 | 1027456 | 986510 | 958134 | 1302445 | 1273201 | 1294574 | 848857 | 815853 | 814288 | 2252 | 1940 | 1736 | 161 | 171 | 99 | 135 | 133 | 75
66 | 233984.913 | 5 |  | 37 | 1359979 | 1386296 | 1411964 | 1321261 | 1230883 | 1197761 | 1392445 | 1372720 | 1325248 | 1242308 | 1239502 | 1250521 | 1333922 | 1337517 | 1305434 | 1250086 | 1204681 | 1155347 | 1374490 | 1365046 | 1360968 | 1136932 | 1117340 | 1103326 | 1019595 | 980850 | 949625 | 1297233 | 1268218 | 1289588 | 835451 | 807865 | 808245 | 2165 | 1845 | 1607 | 154 | 192 | 142 | 166 | 116 | 66
67 | 237584.691 | 5.1 |  | 37 | 1342824 | 1368751 | 1396296 | 1307972 | 1226486 | 1197054 | 1382887 | 1359236 | 1315127 | 1240480 | 1234796 | 1244824 | 1328436 | 1334360 | 1297962 | 1242931 | 1199803 | 1154398 | 1366266 | 1355960 | 1352291 | 1127187 | 1110868 | 1095274 | 1009770 | 971160 | 939678 | 1289521 | 1263698 | 1280296 | 828258 | 800207 | 796953 | 2237 | 1727 | 1593 | 168 | 170 | 164 | 126 | 96 | 82
68 | 241184.475 | 5 |  | 37 | 1324889 | 1347032 | 1375631 | 1301646 | 1224685 | 1196066 | 1360719 | 1344017 | 1305611 | 1226036 | 1228281 | 1236968 | 1320393 | 1326977 | 1293549 | 1237410 | 1194622 | 1153953 | 1353256 | 1341785 | 1345013 | 1123593 | 1103710 | 1089922 | 999298 | 965887 | 930257 | 1282057 | 1255926 | 1273825 | 820298 | 793995 | 785849 | 2179 | 1835 | 1597 | 184 | 156 | 186 | 168 | 114 | 76
69 | 244784.249 | 5 |  | 37 | 1302374 | 1327876 | 1358320 | 1292012 | 1219937 | 1194758 | 1345879 | 1326464 | 1292822 | 1220738 | 1219475 | 1230500 | 1310433 | 1317778 | 1286005 | 1233338 | 1192820 | 1148717 | 1342447 | 1334256 | 1336122 | 1120202 | 1101063 | 1086855 | 990123 | 957510 | 919859 | 1270536 | 1249873 | 1268332 | 811210 | 783818 | 780458 | 2202 | 1934 | 1592 | 181 | 203 | 181 | 151 | 131 | 83
70 | 248384.03 | 5 |  | 37 | 1283023 | 1305305 | 1336646 | 1285113 | 1210191 | 1187236 | 1325975 | 1311948 | 1274392 | 1212024 | 1207911 | 1218309 | 1301765 | 1305610 | 1272837 | 1228735 | 1182967 | 1141802 | 1325235 | 1321362 | 1321303 | 1110750 | 1089438 | 1079359 | 977721 | 945060 | 909032 | 1265717 | 1237862 | 1255192 | 803661 | 773286 | 767061 | 2128 | 1858 | 1550 | 171 | 161 | 149 | 161 | 97 | 57
71 | 251983.806 | 5 |  | 37 | 1259616 | 1282361 | 1313491 | 1278707 | 1204302 | 1184540 | 1306819 | 1302657 | 1263625 | 1205052 | 1199450 | 1212643 | 1293208 | 1299003 | 1269521 | 1221340 | 1177751 | 1134720 | 1315870 | 1310052 | 1311392 | 1101558 | 1090021 | 1075066 | 971042 | 937257 | 905153 | 1255412 | 1231635 | 1249721 | 797135 | 765851 | 757097 | 2175 | 1887 | 1605 | 179 | 183 | 139 | 171 | 105 | 61
72 | 255583.585 | 5 |  | 37 | 1241468 | 1255492 | 1294136 | 1268587 | 1197841 | 1176087 | 1293890 | 1287160 | 1254956 | 1188439 | 1190037 | 1201701 | 1287850 | 1291687 | 1262517 | 1210447 | 1171073 | 1128658 | 1303098 | 1296396 | 1296688 | 1100159 | 1083349 | 1070086 | 960284 | 929540 | 894005 | 1244830 | 1223290 | 1238268 | 788143 | 757699 | 747575 | 2095 | 1814 | 1620 | 129 | 129 | 193 | 121 | 133 | 57
73 | 259183.366 | 5 |  | 37 | 1219355 | 1230649 | 1273168 | 1258176 | 1195053 | 1175435 | 1273311 | 1273500 | 1239726 | 1183570 | 1186904 | 1191971 | 1277917 | 1283507 | 1253071 | 1201413 | 1162179 | 1125843 | 1283104 | 1278770 | 1286286 | 1087267 | 1075272 | 1057219 | 950677 | 920265 | 884708 | 1233344 | 1213598 | 1231270 | 782017 | 752490 | 740117 | 2157 | 1899 | 1615 | 149 | 187 | 123 | 125 | 127 | 55
End Time |  |  |  | 2019-04-21 19:48:31

## ++
HCT 116
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 283242 | 267413 | 287842 | 279499 | 8749.9923 | 1 | 0.46588
3599.067 | 2 | 490487 | 481087 | 425394 | 465656 | 28727.008 | 1.666 | 0.77618
7198.845 | 3 | 542767 | 528883 | 468311 | 513320.3333 | 32327.1963 | 1.8366 | 0.85563
10798.602 | 4 | 575996 | 559760 | 504373 | 546709.6667 | 30661.5604 | 1.956 | 0.91129
14398.381 | 5 | 604561 | 594034 | 530311 | 576302 | 32803.2874 | 2.0619 | 0.96061
17998.154 | 6 | 627165 | 619069 | 553560 | 599931.3333 | 32955.6441 | 2.1465 | 1
21597.933 | 7 | 661268 | 646295 | 580661 | 629408 | 35007.1439 | 2.2519 | 1.0491
25197.705 | 8 | 689787 | 672592 | 603719 | 655366 | 37188.497 | 2.3448 | 1.0924
28797.478 | 9 | 716411 | 701598 | 631146 | 683051.6667 | 37197.7142 | 2.4438 | 1.1385
32397.257 | 10 | 744213 | 730177 | 656680 | 710356.6667 | 38385.2466 | 2.5415 | 1.1841
35997.03 | 11 | 773196 | 756319 | 682077 | 737197.3333 | 39580.2699 | 2.6376 | 1.2288
39596.805 | 12 | 805214 | 786258 | 713298 | 768256.6667 | 39624.6873 | 2.7487 | 1.2806
43196.582 | 13 | 832155 | 815873 | 740247 | 796091.6667 | 40043.6926 | 2.8483 | 1.327
46796.355 | 14 | 864373 | 844149 | 766344 | 824955.3333 | 42258.8755 | 2.9516 | 1.3751
50396.13 | 15 | 896418 | 877820 | 799501 | 857913 | 41995.5768 | 3.0695 | 1.43
53995.903 | 16 | 925380 | 906264 | 826903 | 886182.3333 | 42637.1113 | 3.1706 | 1.4771
57595.68 | 17 | 949845 | 931139 | 848865 | 909949.6667 | 43863.2799 | 3.2556 | 1.5168
61195.457 | 18 | 978499 | 959925 | 878626 | 939016.6667 | 43370.6724 | 3.3596 | 1.5652
64795.233 | 19 | 1004987 | 986555 | 904949 | 965497 | 43470.1421 | 3.4544 | 1.6093
68395.007 | 20 | 1036584 | 1012795 | 931396 | 993591.6667 | 45038.5379 | 3.5549 | 1.6562
71994.782 | 21 | 1062162 | 1039420 | 961271 | 1020951 | 43209.3851 | 3.6528 | 1.7018
75594.561 | 22 | 1088867 | 1069343 | 983801 | 1047337 | 45628.3108 | 3.7472 | 1.7458
79194.332 | 23 | 1116307 | 1092266 | 1012739 | 1073770.6667 | 44257.8857 | 3.8418 | 1.7898
82794.108 | 24 | 1146336 | 1121920 | 1038505 | 1102253.6667 | 46166.0383 | 3.9437 | 1.8373
86393.885 | 25 | 1167559 | 1146439 | 1059176 | 1124391.3333 | 46913.3483 | 4.0229 | 1.8742
89993.662 | 26 | 1194525 | 1170111 | 1084116 | 1149584 | 47353.6702 | 4.113 | 1.9162
93593.435 | 27 | 1217569 | 1194581 | 1107383 | 1173177.6667 | 47460.971 | 4.1974 | 1.9555
97193.21 | 28 | 1241916 | 1219908 | 1130350 | 1197391.3333 | 48249.306 | 4.2841 | 1.9959
100792.988 | 29 | 1268688 | 1242114 | 1155308 | 1222036.6667 | 48415.4286 | 4.3722 | 2.037
104392.762 | 30 | 1293710 | 1263657 | 1176634 | 1244667 | 49646.5005 | 4.4532 | 2.0747
107992.537 | 31 | 1318234 | 1282253 | 1199715 | 1266734 | 49613.9622 | 4.5322 | 2.1115
111592.308 | 32 | 1338037 | 1307906 | 1217426 | 1287789.6667 | 51252.6648 | 4.6075 | 2.1466
115192.085 | 33 | 1355262 | 1325285 | 1232674 | 1304407 | 52178.3646 | 4.6669 | 2.1743
118791.863 | 34 | 1374575 | 1343477 | 1256689 | 1324913.6667 | 49884.7021 | 4.7403 | 2.2084
122391.637 | 35 | 1390414 | 1362040 | 1271724 | 1341392.6667 | 50606.7407 | 4.7993 | 2.2359
125991.412 | 36 | 1410010 | 1372345 | 1287033 | 1356462.6667 | 51445.907 | 4.8532 | 2.261
129591.187 | 37 | 1420453 | 1387147 | 1298599 | 1368733 | 51422.4716 | 4.8971 | 2.2815
133190.963 | 38 | 1433570 | 1399313 | 1314499 | 1382460.6667 | 50049.8193 | 4.9462 | 2.3044
136790.738 | 39 | 1446733 | 1411547 | 1324556 | 1394278.6667 | 51351.4124 | 4.9885 | 2.3241
140390.513 | 40 | 1459444 | 1421712 | 1339673 | 1406943 | 49999.1042 | 5.0338 | 2.3452
143990.289 | 41 | 1465809 | 1436444 | 1353990 | 1418747.6667 | 47333.8663 | 5.076 | 2.3649
147590.064 | 42 | 1476874 | 1441332 | 1358268 | 1425491.3333 | 49699.3685 | 5.1002 | 2.3761
151189.839 | 43 | 1483750 | 1449876 | 1369371 | 1434332.3333 | 47971.1239 | 5.1318 | 2.3908
154789.617 | 44 | 1488863 | 1456899 | 1374312 | 1440024.6667 | 48263.4454 | 5.1522 | 2.4003
158389.392 | 45 | 1497486 | 1464464 | 1384926 | 1448958.6667 | 47242.2828 | 5.1841 | 2.4152
161989.167 | 46 | 1501409 | 1468954 | 1388933 | 1453098.6667 | 47267.017 | 5.1989 | 2.4221
165588.943 | 47 | 1507207 | 1471831 | 1398582 | 1459206.6667 | 45235.517 | 5.2208 | 2.4323
169188.718 | 48 | 1507825 | 1476415 | 1401121 | 1461787 | 44772.9062 | 5.23 | 2.4366
172788.5 | 49 | 1514846 | 1480864 | 1403042 | 1466250.6667 | 46798.83 | 5.246 | 2.444
176388.269 | 50 | 1513735 | 1482874 | 1411817 | 1469475.3333 | 42672.8866 | 5.2575 | 2.4494
179988.044 | 51 | 1514109 | 1479543 | 1404772 | 1466141.3333 | 45631.4832 | 5.2456 | 2.4438
183587.82 | 52 | 1515734 | 1483406 | 1412626 | 1470588.6667 | 43058.3166 | 5.2615 | 2.4513
187187.595 | 53 | 1512251 | 1479640 | 1407559 | 1466483.3333 | 43741.1105 | 5.2468 | 2.4444
190787.372 | 54 | 1509724 | 1474660 | 1407779 | 1464054.3333 | 42289.1308 | 5.2381 | 2.4404
194387.148 | 55 | 1506274 | 1471119 | 1401505 | 1459632.6667 | 43536.0979 | 5.2223 | 2.433
197986.931 | 56 | 1502090 | 1472022 | 1397294 | 1457135.3333 | 44058.7489 | 5.2134 | 2.4288
201586.701 | 57 | 1490623 | 1467093 | 1394816 | 1450844 | 40765.7357 | 5.1909 | 2.4184
205186.474 | 58 | 1487629 | 1460136 | 1390596 | 1446120.3333 | 40834.4622 | 5.174 | 2.4105
208786.238 | 59 | 1476534 | 1450259 | 1385988 | 1437593.6667 | 38034.6555 | 5.1435 | 2.3963
212386.014 | 60 | 1473503 | 1445010 | 1381331 | 1433281.3333 | 38532.1564 | 5.128 | 2.3891
215985.793 | 61 | 1462380 | 1431755 | 1374908 | 1423014.3333 | 36241.2025 | 5.0913 | 2.372
219585.565 | 62 | 1445517 | 1424420 | 1368271 | 1412736 | 32599.8264 | 5.0545 | 2.3548
223185.342 | 63 | 1434985 | 1410101 | 1359682 | 1401589.3333 | 31325.9403 | 5.0146 | 2.3362
223185.342 | 64 | 1417386 | 1406235 | 1345590 | 1389737 | 31546.8372 | 4.9722 | 2.3165
223185.342 | 65 | 1413926 | 1384014 | 1339389 | 1379109.6667 | 30626.573 | 4.9342 | 2.2988
223185.342 | 66 | 1392445 | 1372720 | 1325248 | 1363471 | 28201.8581 | 4.8783 | 2.2727
223185.342 | 67 | 1382887 | 1359236 | 1315127 | 1352416.6667 | 28080.0271 | 4.8387 | 2.2543
223185.342 | 68 | 1360719 | 1344017 | 1305611 | 1336782.3333 | 23072.0353 | 4.7828 | 2.2282
223185.342 | 69 | 1345879 | 1326464 | 1292822 | 1321721.6667 | 21918.4642 | 4.7289 | 2.2031
223185.342 | 70 | 1325975 | 1311948 | 1274392 | 1304105 | 21776.6842 | 4.6659 | 2.1738
223185.342 | 71 | 1306819 | 1302657 | 1263625 | 1291033.6667 | 19455.1933 | 4.6191 | 2.152
223185.342 | 72 | 1293890 | 1287160 | 1254956 | 1278668.6667 | 16991.0005 | 4.5749 | 2.1314
223185.342 | 73 | 1273311 | 1273500 | 1239726 | 1262179 | 15876.856 | 4.5159 | 2.1039

## KO 02
HCT 116 M4KO 02
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 302573 | 285177 | 282473 | 290074.3333 | 8906.5671 | 1 | 0.52076
3599.067 | 2 | 424994 | 410659 | 414534 | 416729 | 6054.5616 | 1.4366 | 0.74814
7198.845 | 3 | 476462 | 458126 | 465143 | 466577 | 7554.0052 | 1.6085 | 0.83763
10798.602 | 4 | 517686 | 492858 | 500090 | 503544.6667 | 10426.199 | 1.7359 | 0.904
14398.381 | 5 | 550140 | 520249 | 527505 | 532631.3333 | 12729.95 | 1.8362 | 0.95621
17998.154 | 6 | 578018 | 542573 | 550472 | 557021 | 15193.2892 | 1.9203 | 1
21597.933 | 7 | 601770 | 569445 | 575615 | 582276.6667 | 14012.1318 | 2.0073 | 1.0453
25197.705 | 8 | 626651 | 596095 | 599722 | 607489.3333 | 13630.0131 | 2.0943 | 1.0906
28797.478 | 9 | 651524 | 616580 | 621622 | 629908.6667 | 15422.3305 | 2.1715 | 1.1309
32397.257 | 10 | 680448 | 639547 | 647128 | 655707.6667 | 17765.7153 | 2.2605 | 1.1772
35997.03 | 11 | 702792 | 662954 | 669713 | 678486.3333 | 17406.8012 | 2.339 | 1.2181
39596.805 | 12 | 732089 | 687679 | 692619 | 704129 | 19873.3003 | 2.4274 | 1.2641
43196.582 | 13 | 755552 | 710857 | 714266 | 726891.6667 | 20313.6465 | 2.5059 | 1.305
46796.355 | 14 | 778090 | 733400 | 736635 | 749375 | 20347.4769 | 2.5834 | 1.3453
50396.13 | 15 | 804193 | 762116 | 764464 | 776924.3333 | 19305.6712 | 2.6784 | 1.3948
53995.903 | 16 | 831656 | 782131 | 784044 | 799277 | 22908.7265 | 2.7554 | 1.4349
57595.68 | 17 | 845909 | 798761 | 802392 | 815687.3333 | 21421.2961 | 2.812 | 1.4644
61195.457 | 18 | 872179 | 820303 | 826428 | 839636.6667 | 23146.3676 | 2.8946 | 1.5074
64795.233 | 19 | 891668 | 839141 | 848748 | 859852.3333 | 22836.3905 | 2.9642 | 1.5437
68395.007 | 20 | 914500 | 859839 | 866831 | 880390 | 24287.7348 | 3.035 | 1.5805
71994.782 | 21 | 934292 | 880798 | 887652 | 900914 | 23767.099 | 3.1058 | 1.6174
75594.561 | 22 | 957059 | 900146 | 903844 | 920349.6667 | 26001.2842 | 3.1728 | 1.6523
79194.332 | 23 | 975018 | 921355 | 921342 | 939238.3333 | 25300.0455 | 3.2379 | 1.6862
82794.108 | 24 | 992557 | 939705 | 939749 | 957337 | 24904.3073 | 3.3003 | 1.7187
86393.885 | 25 | 1012261 | 957023 | 955678 | 974987.3333 | 26362.1816 | 3.3612 | 1.7504
89993.662 | 26 | 1029593 | 972906 | 971812 | 991437 | 26984.0627 | 3.4179 | 1.7799
93593.435 | 27 | 1044715 | 986222 | 984617 | 1005184.6667 | 27959.8456 | 3.4653 | 1.8046
97193.21 | 28 | 1059460 | 1000785 | 1000298 | 1020181 | 27775.1588 | 3.517 | 1.8315
100792.988 | 29 | 1077036 | 1017492 | 1013726 | 1036084.6667 | 28997.7524 | 3.5718 | 1.86
104392.762 | 30 | 1091699 | 1030801 | 1027427 | 1049975.6667 | 29534.9892 | 3.6197 | 1.885
107992.537 | 31 | 1104132 | 1044945 | 1036634 | 1061903.6667 | 30052.0912 | 3.6608 | 1.9064
111592.308 | 32 | 1112992 | 1055648 | 1049462 | 1072700.6667 | 28601.9848 | 3.698 | 1.9258
115192.085 | 33 | 1123056 | 1063637 | 1051305 | 1079332.6667 | 31324.2926 | 3.7209 | 1.9377
118791.863 | 34 | 1134258 | 1076263 | 1067165 | 1092562 | 29716.5578 | 3.7665 | 1.9614
122391.637 | 35 | 1143075 | 1082225 | 1071256 | 1098852 | 31589.3973 | 3.7882 | 1.9727
125991.412 | 36 | 1150114 | 1092453 | 1079512 | 1107359.6667 | 30690.0324 | 3.8175 | 1.988
129591.187 | 37 | 1152862 | 1095156 | 1083221 | 1110413 | 30408.8721 | 3.828 | 1.9935
133190.963 | 38 | 1162508 | 1104108 | 1085774 | 1117463.3333 | 32719.0096 | 3.8523 | 2.0061
136790.738 | 39 | 1166335 | 1107039 | 1090850 | 1121408 | 32448.3942 | 3.8659 | 2.0132
140390.513 | 40 | 1173665 | 1111602 | 1093451 | 1126239.3333 | 34343.9475 | 3.8826 | 2.0219
143990.289 | 41 | 1171793 | 1114515 | 1098303 | 1128203.6667 | 31524.9078 | 3.8894 | 2.0254
147590.064 | 42 | 1173964 | 1117769 | 1096431 | 1129388 | 32701.6044 | 3.8934 | 2.0276
151189.839 | 43 | 1174080 | 1122532 | 1097664 | 1131425.3333 | 31824.2025 | 3.9005 | 2.0312
154789.617 | 44 | 1172048 | 1116417 | 1091456 | 1126640.3333 | 33686.3476 | 3.884 | 2.0226
158389.392 | 45 | 1173192 | 1117106 | 1095553 | 1128617 | 32724.4141 | 3.8908 | 2.0262
161989.167 | 46 | 1168143 | 1117340 | 1090362 | 1125281.6667 | 32246.6902 | 3.8793 | 2.0202
165588.943 | 47 | 1165274 | 1112110 | 1085148 | 1120844 | 33289.1978 | 3.864 | 2.0122
169188.718 | 48 | 1163766 | 1110896 | 1082896 | 1119186 | 33531.4012 | 3.8583 | 2.0092
172788.5 | 49 | 1161158 | 1108984 | 1079133 | 1116425 | 33897.4091 | 3.8488 | 2.0043
176388.269 | 50 | 1151186 | 1103376 | 1070801 | 1108454.3333 | 33012.9183 | 3.8213 | 1.99
179988.044 | 51 | 1153520 | 1097308 | 1067620 | 1106149.3333 | 35621.4297 | 3.8133 | 1.9858
183587.82 | 52 | 1142176 | 1091801 | 1060361 | 1098112.6667 | 33697.6894 | 3.7856 | 1.9714
187187.595 | 53 | 1137605 | 1086660 | 1054141 | 1092802 | 34349.7011 | 3.7673 | 1.9619
190787.372 | 54 | 1130361 | 1081080 | 1048845 | 1086762 | 33520.4257 | 3.7465 | 1.951
194387.148 | 55 | 1122944 | 1072067 | 1037295 | 1077435.3333 | 35171.5041 | 3.7143 | 1.9343
197986.931 | 56 | 1116536 | 1067744 | 1033280 | 1072520 | 34156.4832 | 3.6974 | 1.9255
201586.701 | 57 | 1105102 | 1059974 | 1025712 | 1063596 | 32511.8664 | 3.6666 | 1.9094
205186.474 | 58 | 1097540 | 1053491 | 1019998 | 1057009.6667 | 31754.015 | 3.6439 | 1.8976
208786.238 | 59 | 1085350 | 1048095 | 1013988 | 1049144.3333 | 29142.8617 | 3.6168 | 1.8835
212386.014 | 60 | 1079525 | 1034590 | 1004480 | 1039531.6667 | 30835.6186 | 3.5837 | 1.8662
215985.793 | 61 | 1064223 | 1026914 | 992829 | 1027988.6667 | 29156.3828 | 3.5439 | 1.8455
219585.565 | 62 | 1055875 | 1021316 | 985727 | 1020972.6667 | 28638.8301 | 3.5197 | 1.8329
223185.342 | 63 | 1046141 | 1009751 | 978209 | 1011367 | 27756.6538 | 3.4866 | 1.8157
223185.342 | 64 | 1034515 | 998320 | 966273 | 999702.6667 | 27876.8299 | 3.4464 | 1.7947
223185.342 | 65 | 1027456 | 986510 | 958134 | 990700 | 28455.2514 | 3.4153 | 1.7786
223185.342 | 66 | 1019595 | 980850 | 949625 | 983356.6667 | 28620.0717 | 3.39 | 1.7654
223185.342 | 67 | 1009770 | 971160 | 939678 | 973536 | 28664.2187 | 3.3562 | 1.7478
223185.342 | 68 | 999298 | 965887 | 930257 | 965147.3333 | 28190.7225 | 3.3272 | 1.7327
223185.342 | 69 | 990123 | 957510 | 919859 | 955830.6667 | 28709.7259 | 3.2951 | 1.716
223185.342 | 70 | 977721 | 945060 | 909032 | 943937.6667 | 28053.3944 | 3.2541 | 1.6946
223185.342 | 71 | 971042 | 937257 | 905153 | 937817.3333 | 26901.9895 | 3.233 | 1.6836
223185.342 | 72 | 960284 | 929540 | 894005 | 927943 | 27081.8422 | 3.199 | 1.6659
223185.342 | 73 | 950677 | 920265 | 884708 | 918550 | 26959.0202 | 3.1666 | 1.649

## KO 02 WT
HCT 116 M4KO 02 + PB M4 WT
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 287964 | 221839 | 217806 | 242536.3333 | 32164.3793 | 1 | 0.49016
3599.067 | 2 | 437443 | 332545 | 326224 | 365404 | 51004.5874 | 1.5066 | 0.73847
7198.845 | 3 | 485731 | 377607 | 369609 | 410982.3333 | 52956.047 | 1.6945 | 0.83058
10798.602 | 4 | 517508 | 410309 | 401782 | 443199.6667 | 52659.1159 | 1.8274 | 0.89569
14398.381 | 5 | 543807 | 433230 | 424217 | 467084.6667 | 54375.5206 | 1.9258 | 0.94396
17998.154 | 6 | 570053 | 460731 | 453654 | 494812.6667 | 53281.3401 | 2.0402 | 1
21597.933 | 7 | 595981 | 486506 | 474562 | 519016.3333 | 54640.246 | 2.14 | 1.0489
25197.705 | 8 | 619938 | 510769 | 494991 | 541899.3333 | 55556.3464 | 2.2343 | 1.0952
28797.478 | 9 | 643653 | 533405 | 520191 | 565749.6667 | 55349.4924 | 2.3326 | 1.1434
32397.257 | 10 | 671420 | 556179 | 541664 | 589754.3333 | 58049.5888 | 2.4316 | 1.1919
35997.03 | 11 | 699165 | 583362 | 564805 | 615777.3333 | 59448.6769 | 2.5389 | 1.2445
39596.805 | 12 | 726005 | 608917 | 588845 | 641255.6667 | 60484.4797 | 2.644 | 1.296
43196.582 | 13 | 754307 | 633228 | 611804 | 666446.3333 | 62739.5118 | 2.7478 | 1.3469
46796.355 | 14 | 780173 | 655868 | 635391 | 690477.3333 | 63972.9701 | 2.8469 | 1.3954
50396.13 | 15 | 810601 | 684046 | 664320 | 719655.6667 | 64810.3336 | 2.9672 | 1.4544
53995.903 | 16 | 837271 | 708146 | 685650 | 743689 | 66806.7389 | 3.0663 | 1.503
57595.68 | 17 | 862664 | 731060 | 705202 | 766308.6667 | 68946.4611 | 3.1596 | 1.5487
61195.457 | 18 | 883815 | 754129 | 732007 | 789983.6667 | 66960.6106 | 3.2572 | 1.5965
64795.233 | 19 | 904965 | 776134 | 750910 | 810669.6667 | 67467.3746 | 3.3425 | 1.6383
68395.007 | 20 | 933164 | 800673 | 773915 | 835917.3333 | 69626.0644 | 3.4466 | 1.6894
71994.782 | 21 | 956888 | 822598 | 794036 | 857840.6667 | 71001.0687 | 3.537 | 1.7337
75594.561 | 22 | 979852 | 844769 | 816522 | 880381 | 71275.6767 | 3.6299 | 1.7792
79194.332 | 23 | 999587 | 865725 | 835208 | 900173.3333 | 71391.5479 | 3.7115 | 1.8192
82794.108 | 24 | 1025811 | 888087 | 858479 | 924125.6667 | 72911.3099 | 3.8103 | 1.8676
86393.885 | 25 | 1045960 | 905202 | 877299 | 942820.3333 | 73815.0277 | 3.8873 | 1.9054
89993.662 | 26 | 1065766 | 925009 | 895734 | 962169.6667 | 74222.2187 | 3.9671 | 1.9445
93593.435 | 27 | 1081440 | 945234 | 913325 | 979999.6667 | 72902.4553 | 4.0406 | 1.9805
97193.21 | 28 | 1099025 | 961263 | 927060 | 995782.6667 | 74326.7374 | 4.1057 | 2.0124
100792.988 | 29 | 1118130 | 979288 | 944993 | 1014137 | 74855.1704 | 4.1814 | 2.0495
104392.762 | 30 | 1134896 | 1000145 | 962043 | 1032361.3333 | 74152.8107 | 4.2565 | 2.0864
107992.537 | 31 | 1153052 | 1015514 | 976803 | 1048456.3333 | 75629.9125 | 4.3229 | 2.1189
111592.308 | 32 | 1165954 | 1028420 | 995579 | 1063317.6667 | 73802.8704 | 4.3842 | 2.1489
115192.085 | 33 | 1180531 | 1041312 | 1006381 | 1076074.6667 | 75225.8283 | 4.4368 | 2.1747
118791.863 | 34 | 1194444 | 1057731 | 1018031 | 1090068.6667 | 75563.131 | 4.4945 | 2.203
122391.637 | 35 | 1213399 | 1076835 | 1037134 | 1109122.6667 | 75494.8458 | 4.573 | 2.2415
125991.412 | 36 | 1219163 | 1087044 | 1049345 | 1118517.3333 | 72812.3905 | 4.6118 | 2.2605
129591.187 | 37 | 1230872 | 1099286 | 1057707 | 1129288.3333 | 73808.9169 | 4.6562 | 2.2823
133190.963 | 38 | 1249182 | 1107561 | 1073910 | 1143551 | 75945.2811 | 4.715 | 2.3111
136790.738 | 39 | 1253510 | 1122678 | 1083454 | 1153214 | 72705.3242 | 4.7548 | 2.3306
140390.513 | 40 | 1266636 | 1134060 | 1096695 | 1165797 | 72917.3676 | 4.8067 | 2.356
143990.289 | 41 | 1271060 | 1144783 | 1103796 | 1173213 | 71182.9104 | 4.8373 | 2.371
147590.064 | 42 | 1282871 | 1153108 | 1114621 | 1183533.3333 | 71978.1972 | 4.8798 | 2.3919
151189.839 | 43 | 1287483 | 1162389 | 1126785 | 1192219 | 68912.1831 | 4.9156 | 2.4094
154789.617 | 44 | 1298324 | 1171429 | 1134030 | 1201261 | 70311.6433 | 4.9529 | 2.4277
158389.392 | 45 | 1303037 | 1179432 | 1140157 | 1207542 | 69402.7025 | 4.9788 | 2.4404
161989.167 | 46 | 1307653 | 1190868 | 1148020 | 1215513.6667 | 67459.7674 | 5.0117 | 2.4565
165588.943 | 47 | 1317884 | 1195575 | 1155843 | 1223100.6667 | 68956.8375 | 5.043 | 2.4718
169188.718 | 48 | 1321991 | 1206933 | 1160881 | 1229935 | 67754.0996 | 5.0711 | 2.4857
172788.5 | 49 | 1325787 | 1211065 | 1172983 | 1236611.6667 | 64944.7957 | 5.0987 | 2.4992
176388.269 | 50 | 1327810 | 1216253 | 1175870 | 1239977.6667 | 64257.7402 | 5.1125 | 2.506
179988.044 | 51 | 1337275 | 1218491 | 1183404 | 1246390 | 65842.422 | 5.139 | 2.5189
183587.82 | 52 | 1338854 | 1227736 | 1188870 | 1251820 | 63554.8548 | 5.1614 | 2.5299
187187.595 | 53 | 1345040 | 1229099 | 1194559 | 1256232.6667 | 64359.9759 | 5.1796 | 2.5388
190787.372 | 54 | 1346244 | 1235341 | 1195453 | 1259012.6667 | 63795.205 | 5.191 | 2.5444
194387.148 | 55 | 1346836 | 1236915 | 1200368 | 1261373 | 62246.0927 | 5.2008 | 2.5492
197986.931 | 56 | 1348113 | 1241011 | 1202296 | 1263806.6667 | 61673.2313 | 5.2108 | 2.5541
201586.701 | 57 | 1346131 | 1240878 | 1207751 | 1264920 | 58995.8723 | 5.2154 | 2.5564
205186.474 | 58 | 1341423 | 1243790 | 1205783 | 1263665.3333 | 57130.4009 | 5.2102 | 2.5538
208786.238 | 59 | 1343580 | 1241718 | 1204197 | 1263165 | 58889.0795 | 5.2081 | 2.5528
212386.014 | 60 | 1343428 | 1249962 | 1207022 | 1266804 | 56946.694 | 5.2232 | 2.5602
215985.793 | 61 | 1335875 | 1240778 | 1205013 | 1260555.3333 | 55224.2275 | 5.1974 | 2.5475
219585.565 | 62 | 1337888 | 1244557 | 1204238 | 1262227.6667 | 55974.8156 | 5.2043 | 2.5509
223185.342 | 63 | 1331000 | 1240271 | 1202229 | 1257833.3333 | 54017.4001 | 5.1862 | 2.542
223185.342 | 64 | 1330190 | 1236024 | 1203093 | 1256435.6667 | 53857.1503 | 5.1804 | 2.5392
223185.342 | 65 | 1324574 | 1228569 | 1197842 | 1250328.3333 | 53977.4731 | 5.1552 | 2.5269
223185.342 | 66 | 1321261 | 1230883 | 1197761 | 1249968.3333 | 52193.5498 | 5.1537 | 2.5261
223185.342 | 67 | 1307972 | 1226486 | 1197054 | 1243837.3333 | 46914.8325 | 5.1285 | 2.5138
223185.342 | 68 | 1301646 | 1224685 | 1196066 | 1240799 | 44583.4786 | 5.1159 | 2.5076
223185.342 | 69 | 1292012 | 1219937 | 1194758 | 1235569 | 41213.7089 | 5.0944 | 2.497
223185.342 | 70 | 1285113 | 1210191 | 1187236 | 1227513.3333 | 41793.3344 | 5.0612 | 2.4808
223185.342 | 71 | 1278707 | 1204302 | 1184540 | 1222516.3333 | 40543.6179 | 5.0405 | 2.4707
223185.342 | 72 | 1268587 | 1197841 | 1176087 | 1214171.6667 | 39489.0745 | 5.0061 | 2.4538
223185.342 | 73 | 1258176 | 1195053 | 1175435 | 1209554.6667 | 35301.0106 | 4.9871 | 2.4445

## KO 02 D984A
HCT 116 M4KO 02 + PB M4 D984A
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 312866 | 313203 | 300235 | 308768 | 6035.3105 | 1 | 0.52863
3599.067 | 2 | 442754 | 442335 | 423983 | 436357.3333 | 8751.6469 | 1.4132 | 0.74707
7198.845 | 3 | 496275 | 493260 | 474679 | 488071.3333 | 9549.4677 | 1.5807 | 0.83561
10798.602 | 4 | 531829 | 529286 | 510939 | 524018 | 9306.3381 | 1.6971 | 0.89715
14398.381 | 5 | 562711 | 561383 | 543403 | 555832.3333 | 8805.5718 | 1.8002 | 0.95162
17998.154 | 6 | 589747 | 590954 | 571578 | 584093 | 8863.1496 | 1.8917 | 1
21597.933 | 7 | 617204 | 617611 | 597903 | 610906 | 9196.0107 | 1.9785 | 1.0459
25197.705 | 8 | 647956 | 650978 | 627180 | 642038 | 10578.3819 | 2.0794 | 1.0992
28797.478 | 9 | 677142 | 681486 | 651353 | 669993.6667 | 13299.7099 | 2.1699 | 1.1471
32397.257 | 10 | 710932 | 711721 | 684862 | 702505 | 12479.6425 | 2.2752 | 1.2027
35997.03 | 11 | 738628 | 737250 | 709602 | 728493.3333 | 13370.0306 | 2.3594 | 1.2472
39596.805 | 12 | 767177 | 769420 | 741492 | 759363 | 12669.8393 | 2.4593 | 1.3001
43196.582 | 13 | 798306 | 800239 | 768935 | 789160 | 14322.9906 | 2.5558 | 1.3511
46796.355 | 14 | 825049 | 827849 | 796873 | 816590.3333 | 13989.0416 | 2.6447 | 1.398
50396.13 | 15 | 857347 | 864339 | 828485 | 850057 | 15518.4923 | 2.7531 | 1.4553
53995.903 | 16 | 886297 | 889396 | 858356 | 878016.3333 | 13959.405 | 2.8436 | 1.5032
57595.68 | 17 | 911171 | 913708 | 880965 | 901948 | 14873.3276 | 2.9211 | 1.5442
61195.457 | 18 | 936844 | 936380 | 903893 | 925705.6667 | 15425.0477 | 2.9981 | 1.5849
64795.233 | 19 | 965504 | 964463 | 930142 | 953369.6667 | 16429.938 | 3.0877 | 1.6322
68395.007 | 20 | 988267 | 989474 | 957874 | 978538.3333 | 14620.1964 | 3.1692 | 1.6753
71994.782 | 21 | 1015127 | 1016162 | 980527 | 1003938.6667 | 16559.9398 | 3.2514 | 1.7188
75594.561 | 22 | 1036991 | 1039077 | 1003962 | 1026676.6667 | 16084.2555 | 3.3251 | 1.7577
79194.332 | 23 | 1061526 | 1058124 | 1023808 | 1047819.3333 | 17035.2869 | 3.3935 | 1.7939
82794.108 | 24 | 1087488 | 1085872 | 1050790 | 1074716.6667 | 16931.5661 | 3.4807 | 1.84
86393.885 | 25 | 1102507 | 1105728 | 1067914 | 1092049.6667 | 17117.0775 | 3.5368 | 1.8697
89993.662 | 26 | 1127430 | 1124965 | 1087308 | 1113234.3333 | 18360.2855 | 3.6054 | 1.9059
93593.435 | 27 | 1140014 | 1141828 | 1104949 | 1128930.3333 | 16973.5266 | 3.6562 | 1.9328
97193.21 | 28 | 1162864 | 1161094 | 1122134 | 1148697.3333 | 18797.0074 | 3.7203 | 1.9666
100792.988 | 29 | 1176367 | 1176682 | 1137081 | 1163376.6667 | 18594.2889 | 3.7678 | 1.9918
104392.762 | 30 | 1196063 | 1199383 | 1157007 | 1184151 | 19241.5029 | 3.8351 | 2.0273
107992.537 | 31 | 1209492 | 1215343 | 1169910 | 1198248.3333 | 20180.0958 | 3.8807 | 2.0515
111592.308 | 32 | 1227942 | 1229579 | 1183807 | 1213776 | 21201.8185 | 3.931 | 2.0781
115192.085 | 33 | 1241247 | 1241195 | 1199804 | 1227415.3333 | 19524.1726 | 3.9752 | 2.1014
118791.863 | 34 | 1251801 | 1255597 | 1211906 | 1239768 | 19762.2652 | 4.0152 | 2.1226
122391.637 | 35 | 1267670 | 1273393 | 1226509 | 1255857.3333 | 20883.5132 | 4.0673 | 2.1501
125991.412 | 36 | 1275342 | 1280924 | 1232029 | 1262765 | 21852.7794 | 4.0897 | 2.1619
129591.187 | 37 | 1287662 | 1295331 | 1245793 | 1276262 | 21771.1332 | 4.1334 | 2.185
133190.963 | 38 | 1295278 | 1302289 | 1252883 | 1283483.3333 | 21826.1896 | 4.1568 | 2.1974
136790.738 | 39 | 1305900 | 1314258 | 1261664 | 1293940.6667 | 23076.7047 | 4.1907 | 2.2153
140390.513 | 40 | 1317584 | 1320267 | 1274307 | 1304052.6667 | 21061.8634 | 4.2234 | 2.2326
143990.289 | 41 | 1320490 | 1329034 | 1282111 | 1310545 | 20406.196 | 4.2444 | 2.2437
147590.064 | 42 | 1332308 | 1333724 | 1287447 | 1317826.3333 | 21489.2095 | 4.268 | 2.2562
151189.839 | 43 | 1336486 | 1343837 | 1299208 | 1326510.3333 | 19537.5255 | 4.2961 | 2.2711
154789.617 | 44 | 1345793 | 1348057 | 1300157 | 1331335.6667 | 22066.0126 | 4.3118 | 2.2793
158389.392 | 45 | 1344222 | 1349533 | 1308654 | 1334136.3333 | 18148.7128 | 4.3208 | 2.2841
161989.167 | 46 | 1352660 | 1357700 | 1311689 | 1340683 | 20604.8445 | 4.342 | 2.2953
165588.943 | 47 | 1353665 | 1361980 | 1319161 | 1344935.3333 | 18538.6443 | 4.3558 | 2.3026
169188.718 | 48 | 1363645 | 1367614 | 1325898 | 1352385.6667 | 18799.5674 | 4.3799 | 2.3154
172788.5 | 49 | 1364297 | 1365917 | 1323714 | 1351309.3333 | 19524.0521 | 4.3765 | 2.3135
176388.269 | 50 | 1365627 | 1373368 | 1326224 | 1355073 | 20642.6641 | 4.3886 | 2.32
179988.044 | 51 | 1366209 | 1370892 | 1327883 | 1354994.6667 | 19265.9367 | 4.3884 | 2.3198
183587.82 | 52 | 1366420 | 1374306 | 1336138 | 1358954.6667 | 16451.8987 | 4.4012 | 2.3266
187187.595 | 53 | 1367498 | 1372405 | 1333784 | 1357895.6667 | 17166.8093 | 4.3978 | 2.3248
190787.372 | 54 | 1373345 | 1378253 | 1335796 | 1362464.6667 | 18963.7453 | 4.4126 | 2.3326
194387.148 | 55 | 1374226 | 1374068 | 1335994 | 1361429.3333 | 17985.6123 | 4.4092 | 2.3308
197986.931 | 56 | 1373672 | 1375897 | 1334817 | 1361462 | 18862.7441 | 4.4093 | 2.3309
201586.701 | 57 | 1368922 | 1373731 | 1333863 | 1358838.6667 | 17769.2537 | 4.4008 | 2.3264
205186.474 | 58 | 1367071 | 1372687 | 1336659 | 1358805.6667 | 15827.0022 | 4.4007 | 2.3264
208786.238 | 59 | 1364357 | 1372231 | 1329389 | 1355325.6667 | 18619.5771 | 4.3895 | 2.3204
212386.014 | 60 | 1364324 | 1366396 | 1330008 | 1353576 | 16686.5468 | 4.3838 | 2.3174
215985.793 | 61 | 1361788 | 1363855 | 1326491 | 1350711.3333 | 17147.1384 | 4.3745 | 2.3125
219585.565 | 62 | 1362144 | 1359704 | 1322618 | 1348155.3333 | 18085.0757 | 4.3662 | 2.3081
223185.342 | 63 | 1353358 | 1352799 | 1315614 | 1340590.3333 | 17662.4091 | 4.3417 | 2.2952
223185.342 | 64 | 1347253 | 1348139 | 1313904 | 1336432 | 15933.8076 | 4.3283 | 2.288
223185.342 | 65 | 1340215 | 1343227 | 1309077 | 1330839.6667 | 15437.5793 | 4.3102 | 2.2785
223185.342 | 66 | 1333922 | 1337517 | 1305434 | 1325624.3333 | 14351.961 | 4.2933 | 2.2695
223185.342 | 67 | 1328436 | 1334360 | 1297962 | 1320252.6667 | 15946.3436 | 4.2759 | 2.2603
223185.342 | 68 | 1320393 | 1326977 | 1293549 | 1313639.6667 | 14458.2947 | 4.2545 | 2.249
223185.342 | 69 | 1310433 | 1317778 | 1286005 | 1304738.6667 | 13581.8496 | 4.2256 | 2.2338
223185.342 | 70 | 1301765 | 1305610 | 1272837 | 1293404 | 14627.5339 | 4.1889 | 2.2144
223185.342 | 71 | 1293208 | 1299003 | 1269521 | 1287244 | 12753.4062 | 4.169 | 2.2038
223185.342 | 72 | 1287850 | 1291687 | 1262517 | 1280684.6667 | 12941.6312 | 4.1477 | 2.1926
223185.342 | 73 | 1277917 | 1283507 | 1253071 | 1271498.3333 | 13228.4286 | 4.118 | 2.1769

## KO 02 V6
HCT 116 M4KO 02 + PB M4 V6
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 262375 | 258260 | 256078 | 258904.3333 | 2610.8015 | 1 | 0.50939
3599.067 | 2 | 367261 | 361021 | 357738 | 362006.6667 | 3949.7288 | 1.3982 | 0.71225
7198.845 | 3 | 414361 | 408004 | 405453 | 409272.6667 | 3745.6866 | 1.5808 | 0.80524
10798.602 | 4 | 450301 | 444383 | 445074 | 446586 | 2642.0054 | 1.7249 | 0.87866
14398.381 | 5 | 481318 | 481595 | 475650 | 479521 | 2739.5453 | 1.8521 | 0.94346
17998.154 | 6 | 512960 | 509518 | 502299 | 508259 | 4442.4498 | 1.9631 | 1
21597.933 | 7 | 541462 | 534635 | 528008 | 534701.6667 | 5492.7748 | 2.0652 | 1.052
25197.705 | 8 | 567832 | 560668 | 555170 | 561223.3333 | 5184.1333 | 2.1677 | 1.1042
28797.478 | 9 | 593976 | 585059 | 576864 | 585299.6667 | 6988.0172 | 2.2607 | 1.1516
32397.257 | 10 | 619504 | 608525 | 604305 | 610778 | 6406.2161 | 2.3591 | 1.2017
35997.03 | 11 | 643208 | 631655 | 628175 | 634346 | 6425.4122 | 2.4501 | 1.2481
39596.805 | 12 | 667224 | 656131 | 652012 | 658455.6667 | 6424.1364 | 2.5432 | 1.2955
43196.582 | 13 | 690239 | 679960 | 675891 | 682030 | 6037.6569 | 2.6343 | 1.3419
46796.355 | 14 | 713159 | 702538 | 698327 | 704674.6667 | 6240.7833 | 2.7218 | 1.3864
50396.13 | 15 | 740117 | 730015 | 722780 | 730970.6667 | 7109.9867 | 2.8233 | 1.4382
53995.903 | 16 | 763903 | 750959 | 748908 | 754590 | 6638.3044 | 2.9146 | 1.4847
57595.68 | 17 | 781486 | 770762 | 768588 | 773612 | 5638.0538 | 2.988 | 1.5221
61195.457 | 18 | 805538 | 795448 | 789543 | 796843 | 6604.0152 | 3.0778 | 1.5678
64795.233 | 19 | 823313 | 813543 | 811032 | 815962.6667 | 5297.5988 | 3.1516 | 1.6054
68395.007 | 20 | 850677 | 834787 | 833624 | 839696 | 7779.2422 | 3.2433 | 1.6521
71994.782 | 21 | 872584 | 860186 | 852993 | 861921 | 8091.5383 | 3.3291 | 1.6958
75594.561 | 22 | 893037 | 878262 | 877197 | 882832 | 7229.1113 | 3.4099 | 1.737
79194.332 | 23 | 913889 | 898707 | 894400 | 902332 | 8359.0569 | 3.4852 | 1.7753
82794.108 | 24 | 938249 | 919156 | 915156 | 924187 | 10076.5365 | 3.5696 | 1.8183
86393.885 | 25 | 950338 | 936381 | 933091 | 939936.6667 | 7476.4888 | 3.6304 | 1.8493
89993.662 | 26 | 972103 | 952173 | 951118 | 958464.6667 | 9653.371 | 3.702 | 1.8858
93593.435 | 27 | 988992 | 971288 | 968722 | 976334 | 9011.6522 | 3.771 | 1.9209
97193.21 | 28 | 1003441 | 987333 | 984994 | 991922.6667 | 8200.4769 | 3.8312 | 1.9516
100792.988 | 29 | 1018794 | 1004033 | 998820 | 1007215.6667 | 8459.2038 | 3.8903 | 1.9817
104392.762 | 30 | 1036353 | 1018957 | 1015768 | 1023692.6667 | 9046.379 | 3.9539 | 2.0141
107992.537 | 31 | 1051902 | 1040104 | 1029985 | 1040663.6667 | 8956.3252 | 4.0195 | 2.0475
111592.308 | 32 | 1065735 | 1052281 | 1045608 | 1054541.3333 | 8370.8169 | 4.0731 | 2.0748
115192.085 | 33 | 1084841 | 1064639 | 1056485 | 1068655 | 11919.5044 | 4.1276 | 2.1026
118791.863 | 34 | 1098323 | 1081429 | 1072664 | 1084138.6667 | 10649.031 | 4.1874 | 2.133
122391.637 | 35 | 1111058 | 1091673 | 1085452 | 1096061 | 10904.3636 | 4.2335 | 2.1565
125991.412 | 36 | 1118825 | 1102785 | 1091682 | 1104430.6667 | 11142.0159 | 4.2658 | 2.173
129591.187 | 37 | 1128103 | 1110446 | 1101023 | 1113190.6667 | 11224.4227 | 4.2996 | 2.1902
133190.963 | 38 | 1137254 | 1117427 | 1113840 | 1122840.3333 | 10296.6656 | 4.3369 | 2.2092
136790.738 | 39 | 1144619 | 1126658 | 1121419 | 1130898.6667 | 9934.7015 | 4.368 | 2.225
140390.513 | 40 | 1154210 | 1135170 | 1130241 | 1139873.6667 | 10335.1052 | 4.4027 | 2.2427
143990.289 | 41 | 1161038 | 1144662 | 1134797 | 1146832.3333 | 10822.208 | 4.4296 | 2.2564
147590.064 | 42 | 1168145 | 1150030 | 1138234 | 1152136.3333 | 12301.6113 | 4.45 | 2.2668
151189.839 | 43 | 1174245 | 1152224 | 1145432 | 1157300.3333 | 12298.3498 | 4.47 | 2.277
154789.617 | 44 | 1179250 | 1155805 | 1150742 | 1161932.3333 | 12418.6601 | 4.4879 | 2.2861
158389.392 | 45 | 1177536 | 1159370 | 1152223 | 1163043 | 10655.3645 | 4.4922 | 2.2883
161989.167 | 46 | 1184172 | 1164433 | 1155257 | 1167954 | 12064.2001 | 4.5111 | 2.298
165588.943 | 47 | 1182089 | 1168404 | 1154798 | 1168430.3333 | 11141.5197 | 4.513 | 2.2989
169188.718 | 48 | 1187811 | 1171507 | 1157933 | 1172417 | 12214.6032 | 4.5284 | 2.3067
172788.5 | 49 | 1186034 | 1168188 | 1160068 | 1171430 | 10845.6201 | 4.5246 | 2.3048
176388.269 | 50 | 1186495 | 1170253 | 1159309 | 1172019 | 11168.668 | 4.5268 | 2.3059
179988.044 | 51 | 1187711 | 1169064 | 1157006 | 1171260.3333 | 12631.1036 | 4.5239 | 2.3045
183587.82 | 52 | 1185540 | 1166584 | 1163376 | 1171833.3333 | 9780.1619 | 4.5261 | 2.3056
187187.595 | 53 | 1186643 | 1166161 | 1157413 | 1170072.3333 | 12249.4115 | 4.5193 | 2.3021
190787.372 | 54 | 1186229 | 1165697 | 1151753 | 1167893 | 14160.1661 | 4.5109 | 2.2978
194387.148 | 55 | 1185236 | 1161757 | 1153579 | 1166857.3333 | 13417.6864 | 4.5069 | 2.2958
197986.931 | 56 | 1181776 | 1160672 | 1150383 | 1164277 | 13067.1887 | 4.4969 | 2.2907
201586.701 | 57 | 1175483 | 1154546 | 1142819 | 1157616 | 13510.5613 | 4.4712 | 2.2776
205186.474 | 58 | 1172123 | 1154376 | 1141965 | 1156154.6667 | 12376.0247 | 4.4656 | 2.2747
208786.238 | 59 | 1167878 | 1142492 | 1134074 | 1148148 | 14368.2603 | 4.4346 | 2.259
212386.014 | 60 | 1165958 | 1141452 | 1132028 | 1146479.3333 | 14300.7409 | 4.4282 | 2.2557
215985.793 | 61 | 1154466 | 1137674 | 1125353 | 1139164.3333 | 11931.9602 | 4.3999 | 2.2413
219585.565 | 62 | 1152682 | 1137427 | 1122119 | 1137409.3333 | 12477.2988 | 4.3932 | 2.2379
223185.342 | 63 | 1148949 | 1131778 | 1116351 | 1132359.3333 | 13314.4248 | 4.3737 | 2.2279
223185.342 | 64 | 1140795 | 1125873 | 1110314 | 1125660.6667 | 12444.7219 | 4.3478 | 2.2147
223185.342 | 65 | 1137582 | 1121627 | 1106307 | 1121838.6667 | 12768.8425 | 4.333 | 2.2072
223185.342 | 66 | 1136932 | 1117340 | 1103326 | 1119199.3333 | 13782.4441 | 4.3228 | 2.202
223185.342 | 67 | 1127187 | 1110868 | 1095274 | 1111109.6667 | 13029.5483 | 4.2916 | 2.1861
223185.342 | 68 | 1123593 | 1103710 | 1089922 | 1105741.6667 | 13820.994 | 4.2709 | 2.1755
223185.342 | 69 | 1120202 | 1101063 | 1086855 | 1102706.6667 | 13663.3776 | 4.2591 | 2.1696
223185.342 | 70 | 1110750 | 1089438 | 1079359 | 1093182.3333 | 13085.9656 | 4.2223 | 2.1508
223185.342 | 71 | 1101558 | 1090021 | 1075066 | 1088881.6667 | 10845.2778 | 4.2057 | 2.1424
223185.342 | 72 | 1100159 | 1083349 | 1070086 | 1084531.3333 | 12305.6834 | 4.1889 | 2.1338
223185.342 | 73 | 1087267 | 1075272 | 1057219 | 1073252.6667 | 12349.8679 | 4.1454 | 2.1116

## KO 02 empty
HCT 116 M4KO 02 + PB empty
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 329557 | 318262 | 322089 | 323302.6667 | 4690.3444 | 1 | 0.51792
3599.067 | 2 | 480858 | 488872 | 479453 | 483061 | 4148.839 | 1.4941 | 0.77385
7198.845 | 3 | 531425 | 534281 | 523645 | 529783.6667 | 4494.5601 | 1.6387 | 0.8487
10798.602 | 4 | 572814 | 577929 | 562692 | 571145 | 6331.4408 | 1.7666 | 0.91496
14398.381 | 5 | 602542 | 604350 | 591771 | 599554.3333 | 5552.9226 | 1.8545 | 0.96047
17998.154 | 6 | 627530 | 629810 | 615354 | 624231.3333 | 6345.8588 | 1.9308 | 1
21597.933 | 7 | 655374 | 656922 | 639989 | 650761.6667 | 7643.5959 | 2.0129 | 1.0425
25197.705 | 8 | 678595 | 679999 | 665249 | 674614.3333 | 6647.0497 | 2.0866 | 1.0807
28797.478 | 9 | 701748 | 703929 | 690416 | 698697.6667 | 5923.3263 | 2.1611 | 1.1193
32397.257 | 10 | 724815 | 724260 | 708287 | 719120.6667 | 7663.9092 | 2.2243 | 1.152
35997.03 | 11 | 744960 | 743991 | 730492 | 739814.3333 | 6603.7446 | 2.2883 | 1.1852
39596.805 | 12 | 766072 | 766796 | 750593 | 761153.6667 | 7473.3662 | 2.3543 | 1.2193
43196.582 | 13 | 788446 | 787126 | 770428 | 782000 | 8200.3654 | 2.4188 | 1.2527
46796.355 | 14 | 801197 | 804676 | 788403 | 798092 | 6996.8279 | 2.4686 | 1.2785
50396.13 | 15 | 826075 | 825711 | 808381 | 820055.6667 | 8256.5734 | 2.5365 | 1.3137
53995.903 | 16 | 844313 | 844853 | 825641 | 838269 | 8932.0654 | 2.5928 | 1.3429
57595.68 | 17 | 856888 | 855461 | 840757 | 851035.3333 | 7291.1903 | 2.6323 | 1.3633
61195.457 | 18 | 870079 | 865338 | 852705 | 862707.3333 | 7332.77 | 2.6684 | 1.382
64795.233 | 19 | 885491 | 882541 | 869580 | 879204 | 6910.9409 | 2.7194 | 1.4085
68395.007 | 20 | 900961 | 895428 | 886917 | 894435.3333 | 5776.2459 | 2.7666 | 1.4329
71994.782 | 21 | 914807 | 909012 | 900064 | 907961 | 6064.5122 | 2.8084 | 1.4545
75594.561 | 22 | 928069 | 919749 | 917868 | 921895.3333 | 4432.4681 | 2.8515 | 1.4768
79194.332 | 23 | 938193 | 932589 | 922989 | 931257 | 6278.0608 | 2.8804 | 1.4918
82794.108 | 24 | 948481 | 943193 | 936854 | 942842.6667 | 4753.1626 | 2.9163 | 1.5104
86393.885 | 25 | 959487 | 953389 | 941773 | 951549.6667 | 7347.7348 | 2.9432 | 1.5244
89993.662 | 26 | 967230 | 961185 | 951217 | 959877.3333 | 6602.3499 | 2.969 | 1.5377
93593.435 | 27 | 976441 | 968373 | 952812 | 965875.3333 | 9806.8399 | 2.9875 | 1.5473
97193.21 | 28 | 984899 | 975515 | 963691 | 974701.6667 | 8677.2096 | 3.0148 | 1.5614
100792.988 | 29 | 991340 | 980920 | 967135 | 979798.3333 | 9913.4289 | 3.0306 | 1.5696
104392.762 | 30 | 993903 | 987817 | 974994 | 985571.3333 | 7881.1943 | 3.0484 | 1.5789
107992.537 | 31 | 998005 | 990546 | 978077 | 988876 | 8220.826 | 3.0587 | 1.5841
111592.308 | 32 | 1004038 | 995194 | 977837 | 992356.3333 | 10883.0867 | 3.0694 | 1.5897
115192.085 | 33 | 1009268 | 993223 | 986465 | 996318.6667 | 9563.1782 | 3.0817 | 1.5961
118791.863 | 34 | 1012217 | 993115 | 985694 | 997008.6667 | 11172.5217 | 3.0838 | 1.5972
122391.637 | 35 | 1012012 | 999238 | 992654 | 1001301.3333 | 8036.4192 | 3.0971 | 1.6041
125991.412 | 36 | 1013456 | 996873 | 988267 | 999532 | 10453.8395 | 3.0916 | 1.6012
129591.187 | 37 | 1013077 | 995112 | 981217 | 996468.6667 | 13042.1192 | 3.0822 | 1.5963
133190.963 | 38 | 1005422 | 991141 | 976280 | 990947.6667 | 11897.9571 | 3.0651 | 1.5875
136790.738 | 39 | 1008431 | 994799 | 971488 | 991572.6667 | 15253.4856 | 3.067 | 1.5885
140390.513 | 40 | 1007054 | 991225 | 973160 | 990479.6667 | 13847.2007 | 3.0636 | 1.5867
143990.289 | 41 | 1002607 | 989791 | 970453 | 987617 | 13216.5209 | 3.0548 | 1.5821
147590.064 | 42 | 1003635 | 985826 | 964827 | 984762.6667 | 15861.1312 | 3.0459 | 1.5776
151189.839 | 43 | 997635 | 983761 | 964123 | 981839.6667 | 13748.5072 | 3.0369 | 1.5729
154789.617 | 44 | 994558 | 977282 | 959886 | 977242 | 14154.813 | 3.0227 | 1.5655
158389.392 | 45 | 991260 | 971025 | 957077 | 973120.6667 | 14033.6081 | 3.0099 | 1.5589
161989.167 | 46 | 982631 | 966802 | 953631 | 967688 | 11855.765 | 2.9931 | 1.5502
165588.943 | 47 | 975310 | 963295 | 944645 | 961083.3333 | 12616.2371 | 2.9727 | 1.5396
169188.718 | 48 | 970916 | 959775 | 943201 | 957964 | 11386.8373 | 2.9631 | 1.5346
172788.5 | 49 | 967270 | 950882 | 933784 | 950645.3333 | 13671.6265 | 2.9404 | 1.5229
176388.269 | 50 | 962174 | 943192 | 926078 | 943814.6667 | 14742.7064 | 2.9193 | 1.512
179988.044 | 51 | 955214 | 935222 | 921969 | 937468.3333 | 13664.8458 | 2.8997 | 1.5018
183587.82 | 52 | 948483 | 927934 | 918359 | 931592 | 12567.1415 | 2.8815 | 1.4924
187187.595 | 53 | 944928 | 923210 | 909394 | 925844 | 14625.7708 | 2.8637 | 1.4832
190787.372 | 54 | 938483 | 913347 | 905072 | 918967.3333 | 14207.1541 | 2.8424 | 1.4722
194387.148 | 55 | 927295 | 902439 | 896806 | 908846.6667 | 13246.0919 | 2.8111 | 1.4559
197986.931 | 56 | 915505 | 896615 | 885032 | 899050.6667 | 12559.2008 | 2.7808 | 1.4403
201586.701 | 57 | 908743 | 883864 | 876815 | 889807.3333 | 13695.2961 | 2.7522 | 1.4254
205186.474 | 58 | 900329 | 879836 | 871467 | 883877.3333 | 12124.4393 | 2.7339 | 1.4159
208786.238 | 59 | 890524 | 868921 | 861666 | 873703.6667 | 12257.0107 | 2.7024 | 1.3996
212386.014 | 60 | 879711 | 860849 | 855890 | 865483.3333 | 10262.1568 | 2.677 | 1.3865
215985.793 | 61 | 875299 | 847021 | 844436 | 855585.3333 | 13979.5576 | 2.6464 | 1.3706
219585.565 | 62 | 868687 | 838970 | 839430 | 849029 | 13901.5736 | 2.6261 | 1.3601
223185.342 | 63 | 860187 | 831135 | 829002 | 840108 | 14224.6758 | 2.5985 | 1.3458
223185.342 | 64 | 851883 | 822372 | 818406 | 830887 | 14934.4412 | 2.57 | 1.3311
223185.342 | 65 | 848857 | 815853 | 814288 | 826332.6667 | 15939.9185 | 2.5559 | 1.3238
223185.342 | 66 | 835451 | 807865 | 808245 | 817187 | 12915.53 | 2.5276 | 1.3091
223185.342 | 67 | 828258 | 800207 | 796953 | 808472.6667 | 14053.2722 | 2.5007 | 1.2951
223185.342 | 68 | 820298 | 793995 | 785849 | 800047.3333 | 14700.4865 | 2.4746 | 1.2817
223185.342 | 69 | 811210 | 783818 | 780458 | 791828.6667 | 13773.1493 | 2.4492 | 1.2685
223185.342 | 70 | 803661 | 773286 | 767061 | 781336 | 15989.4106 | 2.4167 | 1.2517
223185.342 | 71 | 797135 | 765851 | 757097 | 773361 | 17186.4372 | 2.3921 | 1.2389
223185.342 | 72 | 788143 | 757699 | 747575 | 764472.3333 | 17240.4406 | 2.3646 | 1.2247
223185.342 | 73 | 782017 | 752490 | 740117 | 758208 | 17576.9573 | 2.3452 | 1.2146

## Sheet5
1304