## Result sheet1
Method name: Real-time Glo assay
Application: SparkControl |  |  |  | V2.3
Device: Spark |  |  |  | Serial number: 1708003802
Firmware: |  |  |  | LUM:V5.2.3¦ABS:V4.3.2¦ABS_MEX:V5.0.7¦MTP:V12.4.0¦FLUOR:V5.1.3¦FLUOR_BOTTOM:V5.0.2¦GCM:V3.0.2
Date: |  |  |  | 2019-04-25
Time: |  |  |  | 2:38 PM
System |  |  |  | IBMMPC127
User |  |  |  | BIOMOLNT\grppeinelt
Plate |  |  |  | [COS96fw] - Costar 96 Flat White Cat. No.: 3600/3362/3917/3912/3922/3596
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | Humidity cassette -Small
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Gas
Temperature
Kinetic
|  | Luminescence |  |  |  | real-time glo
Name |  |  |  | COS96fw
Plate layout
Plate area |  |  |  | B2-E10
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | SM1_1 | SM1_2 | SM1_3 | SM2_1 | SM2_2 | SM2_3 | SM3_1 | SM3_2 | SM3_3 | None | None
C | None | SM4_1 | SM4_2 | SM4_3 | SM5_1 | SM5_2 | SM5_3 | SM6_1 | SM6_2 | SM6_3 | None | None
D | None | SM7_1 | SM7_2 | SM7_3 | SM8_1 | SM8_2 | SM8_3 | SM9_1 | SM9_2 | SM9_3 | None | None
E | None | SM10_1 | SM10_2 | SM10_3 | SM11_1 | SM11_2 | SM11_3 | BL1_1 | BL1_2 | BL1_3 | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2019-04-22 14:38:09
Gas control |  |  |  | CO2
CO2 target value |  |  |  | 5 | %
CO2 wait minimum |  |  |  | 4.5 | %
CO2 wait maximum |  |  |  | 5.5 | %
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Wait minimum |  |  |  | 36.5 | °C
Wait maximum |  |  |  | 37.5 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 73
Interval time |  |  |  | 01:00:00 | hh:mm:ss
Mode | Luminescence
Name | real-time glo
Attenuation |  |  |  | None
Settle time |  |  |  | 0 | ms
Integration time |  |  |  | 500 | ms
Output |  |  |  | Counts / s
Part of Plate |  |  |  | B2-E10
Start Time |  |  |  | 2019-04-22 14:38:16
real-time glo
Cycle Nr. | Time [s] | CO2 % | O2 % | Temp. [°C] | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10
1 | 0 | 5.7 |  | 37.4 | 202924 | 293710 | 269886 | 224563 | 303156 | 297322 | 233603 | 250053 | 236910 | 463728 | 447991 | 428785 | 449110 | 415473 | 424893 | 658725 | 682061 | 660297 | 200429 | 300513 | 357336 | 403209 | 351076 | 397371 | 343608 | 308288 | 316075 | 356453 | 380871 | 280166 | 606495 | 591832 | 533287 | 863 | 597 | 519
2 | 3599.072 | 5.1 |  | 37 | 247873 | 361323 | 334154 | 281664 | 376085 | 366740 | 285989 | 304749 | 284537 | 544425 | 528359 | 510784 | 539116 | 502604 | 513476 | 789625 | 813619 | 763606 | 217444 | 315303 | 372552 | 480911 | 426736 | 480149 | 416921 | 372292 | 373379 | 374507 | 403156 | 318281 | 696303 | 684338 | 616011 | 956 | 738 | 692
3 | 7198.849 | 5.1 |  | 37 | 280641 | 398770 | 372757 | 319963 | 419217 | 410178 | 316317 | 331420 | 315592 | 587159 | 574911 | 552960 | 582921 | 545637 | 556748 | 846207 | 867526 | 809382 | 233351 | 348386 | 410021 | 523713 | 466456 | 521716 | 464511 | 418294 | 414378 | 412934 | 445073 | 352570 | 746570 | 732551 | 665256 | 1030 | 818 | 706
4 | 10798.628 | 4.9 |  | 37 | 302284 | 427818 | 399087 | 345482 | 448642 | 438527 | 336071 | 351455 | 334442 | 618165 | 604751 | 582370 | 613928 | 577695 | 587773 | 883014 | 903860 | 847883 | 251213 | 371358 | 435456 | 551817 | 493920 | 549011 | 497710 | 448084 | 444690 | 441469 | 472688 | 377605 | 778612 | 769185 | 699301 | 1068 | 910 | 722
5 | 14398.411 | 5 |  | 37 | 320981 | 450113 | 422370 | 368729 | 474339 | 465752 | 353094 | 369774 | 353536 | 644572 | 633450 | 608451 | 639248 | 603390 | 615967 | 918355 | 936766 | 882282 | 266410 | 390889 | 458131 | 578755 | 521591 | 579024 | 523760 | 470541 | 467685 | 464472 | 499903 | 401222 | 811255 | 799607 | 729474 | 1191 | 971 | 853
6 | 17998.188 | 5 |  | 37 | 337629 | 476781 | 443851 | 388261 | 499909 | 490776 | 373479 | 388030 | 370530 | 670954 | 663535 | 635787 | 663606 | 630495 | 639600 | 945188 | 964202 | 911825 | 279795 | 410585 | 479653 | 607846 | 544908 | 602988 | 550343 | 494807 | 491804 | 485493 | 523958 | 420356 | 838635 | 828018 | 757975 | 1297 | 1006 | 896
7 | 21597.965 | 4.9 |  | 37 | 354835 | 494464 | 464932 | 408965 | 521019 | 511200 | 388133 | 404689 | 385554 | 696129 | 682370 | 660049 | 690526 | 651328 | 661355 | 973863 | 994681 | 937877 | 293632 | 428881 | 497655 | 629561 | 567884 | 626684 | 572450 | 516273 | 514729 | 504915 | 543597 | 438247 | 863346 | 851140 | 780696 | 1385 | 1181 | 937
8 | 25197.744 | 5 |  | 37 | 370939 | 517913 | 487074 | 429695 | 541704 | 531204 | 405151 | 418504 | 402193 | 722470 | 708996 | 685368 | 710886 | 674301 | 684374 | 998847 | 1017954 | 958420 | 307674 | 448221 | 516743 | 649871 | 589063 | 647817 | 595362 | 539330 | 533468 | 524733 | 565576 | 459374 | 885107 | 874429 | 803123 | 1493 | 1117 | 1056
9 | 28797.525 | 5 |  | 37 | 388257 | 539163 | 507484 | 449061 | 567061 | 553089 | 423234 | 438573 | 421694 | 746833 | 734816 | 710731 | 735357 | 696742 | 708656 | 1024161 | 1044058 | 984141 | 323195 | 465733 | 537742 | 676608 | 612203 | 671782 | 618627 | 558630 | 556265 | 546257 | 584812 | 474987 | 904211 | 896599 | 825258 | 1507 | 1163 | 1121
10 | 32397.305 | 5 |  | 37 | 405220 | 563310 | 528790 | 466566 | 588183 | 573897 | 441262 | 456413 | 438311 | 772441 | 760380 | 736574 | 757441 | 722780 | 729246 | 1047003 | 1066343 | 1007925 | 337848 | 482698 | 558357 | 698042 | 635323 | 693806 | 642489 | 581609 | 576248 | 568125 | 603909 | 493744 | 924124 | 915659 | 840206 | 1474 | 1262 | 1070
11 | 35997.081 | 5 |  | 37 | 424469 | 582234 | 549770 | 485694 | 608153 | 595092 | 462872 | 474652 | 455754 | 799855 | 785553 | 758907 | 782050 | 743075 | 754050 | 1074323 | 1091319 | 1030517 | 349956 | 503565 | 577927 | 722361 | 655551 | 717132 | 665775 | 604567 | 596478 | 586865 | 622381 | 513241 | 935513 | 931247 | 860176 | 1531 | 1303 | 1081
12 | 39596.86 | 5 |  | 37 | 439180 | 604558 | 571018 | 505184 | 628238 | 614252 | 479659 | 493305 | 474116 | 821140 | 810308 | 780991 | 804675 | 766335 | 778327 | 1098068 | 1112516 | 1050651 | 368060 | 521126 | 598679 | 746517 | 678435 | 741435 | 686511 | 622850 | 617671 | 608267 | 648863 | 530706 | 955884 | 944908 | 873467 | 1585 | 1259 | 1259
13 | 43196.639 | 4.9 |  | 37 | 456457 | 626930 | 591540 | 525825 | 649546 | 632882 | 497407 | 512278 | 493863 | 845717 | 833700 | 806044 | 823612 | 790190 | 794301 | 1121902 | 1135684 | 1073883 | 382276 | 539249 | 619429 | 769583 | 698989 | 762220 | 707880 | 643768 | 637596 | 626081 | 666416 | 548165 | 967221 | 955815 | 885658 | 1744 | 1356 | 1364
14 | 46796.421 | 5 |  | 37 | 474960 | 645827 | 610544 | 542340 | 666302 | 649717 | 519111 | 531296 | 513463 | 868609 | 852657 | 827756 | 844980 | 811563 | 819032 | 1142043 | 1157536 | 1092921 | 397462 | 557330 | 637364 | 790706 | 717964 | 781037 | 725984 | 660818 | 656760 | 645522 | 687210 | 565914 | 982401 | 970262 | 901418 | 1690 | 1354 | 1300
15 | 50396.196 | 4.9 |  | 37 | 490344 | 666224 | 631054 | 563204 | 689371 | 671727 | 535765 | 549276 | 530621 | 891225 | 878570 | 848542 | 869182 | 831687 | 837616 | 1158809 | 1174339 | 1115990 | 411344 | 575075 | 655952 | 811214 | 738569 | 806064 | 745025 | 682129 | 675012 | 667183 | 705397 | 584044 | 994117 | 985283 | 912946 | 1734 | 1522 | 1282
16 | 53995.974 | 5 |  | 37 | 506441 | 688777 | 654196 | 579626 | 707399 | 694753 | 556769 | 572525 | 550776 | 911968 | 896710 | 873284 | 887904 | 856083 | 861976 | 1180653 | 1196198 | 1133083 | 424097 | 592133 | 675768 | 832512 | 761585 | 823247 | 768041 | 701811 | 697125 | 683158 | 724375 | 601917 | 1006789 | 995506 | 929135 | 1698 | 1426 | 1312
17 | 57595.753 | 4.9 |  | 37 | 526661 | 708868 | 670872 | 597047 | 729303 | 711705 | 574470 | 589374 | 567446 | 935848 | 918145 | 890870 | 907943 | 870291 | 879680 | 1198114 | 1213243 | 1151762 | 441240 | 610929 | 697170 | 851187 | 780231 | 846152 | 784139 | 719905 | 713918 | 701442 | 745875 | 618388 | 1019024 | 1007300 | 938523 | 1762 | 1466 | 1354
18 | 61195.533 | 5 |  | 37 | 539819 | 726420 | 692709 | 617908 | 745246 | 728175 | 593230 | 610037 | 588216 | 956814 | 937622 | 913129 | 928038 | 891287 | 898215 | 1218747 | 1230059 | 1168283 | 453488 | 625884 | 710706 | 875194 | 802355 | 864632 | 806234 | 738804 | 732890 | 720145 | 763453 | 635352 | 1031431 | 1019433 | 952781 | 1959 | 1539 | 1479
19 | 64795.309 | 5 |  | 37 | 558303 | 750825 | 716421 | 636770 | 768774 | 752093 | 616462 | 630899 | 609505 | 977751 | 965552 | 936009 | 953737 | 916723 | 918884 | 1243104 | 1257266 | 1188093 | 472565 | 648939 | 732777 | 895369 | 823873 | 884325 | 831175 | 759930 | 752730 | 742783 | 785056 | 655986 | 1045916 | 1031085 | 964804 | 1978 | 1574 | 1422
20 | 68395.089 | 5 |  | 37 | 577662 | 772996 | 735811 | 661367 | 793409 | 777161 | 642325 | 656639 | 630741 | 1004777 | 988348 | 962244 | 977098 | 940164 | 945853 | 1268510 | 1281162 | 1217599 | 488322 | 667196 | 755859 | 920049 | 844473 | 909498 | 854781 | 786275 | 777626 | 765769 | 808247 | 677593 | 1066275 | 1052293 | 985264 | 2023 | 1688 | 1536
21 | 71994.867 | 5 |  | 37 | 596812 | 795673 | 759411 | 684476 | 816423 | 799287 | 663592 | 675868 | 655136 | 1025145 | 1016798 | 985941 | 999546 | 961372 | 972732 | 1289434 | 1301980 | 1238938 | 504245 | 685223 | 778356 | 942299 | 869795 | 932798 | 877002 | 806902 | 798257 | 786345 | 830110 | 696542 | 1076211 | 1064592 | 1001257 | 1956 | 1816 | 1512
22 | 75594.651 | 5 |  | 37 | 611252 | 813756 | 776210 | 699895 | 835226 | 820129 | 686344 | 696158 | 673607 | 1049026 | 1033671 | 1007258 | 1011793 | 980383 | 981830 | 1307762 | 1319828 | 1256825 | 520063 | 703528 | 797211 | 960657 | 890578 | 952163 | 895804 | 824387 | 816236 | 801103 | 847957 | 712079 | 1077377 | 1073120 | 1007255 | 1978 | 1782 | 1726
23 | 79194.429 | 5 |  | 37 | 625803 | 834108 | 794069 | 715322 | 849408 | 832273 | 702303 | 716796 | 690481 | 1058930 | 1046981 | 1020653 | 1026504 | 995117 | 999129 | 1318886 | 1331372 | 1263057 | 530515 | 718160 | 808990 | 978513 | 902066 | 966600 | 909401 | 838592 | 827315 | 813562 | 859809 | 726712 | 1083795 | 1077646 | 1010427 | 2206 | 1842 | 1588
24 | 82794.213 | 5 |  | 37 | 648194 | 862253 | 821504 | 741259 | 879654 | 858730 | 729551 | 743665 | 717716 | 1088896 | 1074479 | 1048137 | 1058905 | 1021484 | 1024965 | 1349164 | 1361898 | 1294796 | 551632 | 743173 | 835612 | 1005542 | 929464 | 997586 | 936416 | 867903 | 855919 | 842622 | 888565 | 751421 | 1102977 | 1098461 | 1030243 | 2143 | 2011 | 1667
25 | 86393.984 | 5 |  | 37 | 665736 | 878860 | 841542 | 762210 | 897339 | 878464 | 750571 | 764421 | 739018 | 1105738 | 1091623 | 1068093 | 1071310 | 1038206 | 1045050 | 1359444 | 1375477 | 1315503 | 566587 | 758347 | 849721 | 1026025 | 949139 | 1015438 | 954752 | 886758 | 871260 | 857197 | 901803 | 767057 | 1107062 | 1105174 | 1038720 | 2342 | 1996 | 1688
26 | 89993.768 | 5 |  | 37 | 677264 | 894204 | 854855 | 773234 | 909366 | 891762 | 766791 | 780960 | 754657 | 1115208 | 1103488 | 1077526 | 1089569 | 1052405 | 1052174 | 1366633 | 1380299 | 1316109 | 574375 | 771526 | 862848 | 1034077 | 964044 | 1022628 | 964598 | 899774 | 883272 | 871105 | 916402 | 777290 | 1107490 | 1101957 | 1044418 | 2294 | 1992 | 1784
27 | 93593.547 | 5 |  | 37 | 687478 | 905687 | 867237 | 788661 | 919615 | 903141 | 780823 | 794513 | 769704 | 1128468 | 1110513 | 1085656 | 1095152 | 1058891 | 1060804 | 1372243 | 1382128 | 1314596 | 587277 | 778311 | 871694 | 1046329 | 972037 | 1037256 | 973913 | 909045 | 893555 | 880339 | 923427 | 783299 | 1098725 | 1097846 | 1040234 | 2326 | 2026 | 1746
28 | 97193.324 | 5 |  | 37 | 699019 | 917347 | 880842 | 800268 | 931385 | 911631 | 796205 | 811417 | 784334 | 1138596 | 1123083 | 1098419 | 1101586 | 1070129 | 1067533 | 1370828 | 1384731 | 1319224 | 594778 | 791523 | 883209 | 1057927 | 986083 | 1042443 | 986412 | 917123 | 899595 | 885527 | 932985 | 795600 | 1091108 | 1089534 | 1034957 | 2291 | 2075 | 1871
29 | 100793.104 | 5 |  | 37 | 709660 | 929862 | 892596 | 816620 | 943477 | 921690 | 812063 | 826349 | 800534 | 1149251 | 1138060 | 1108631 | 1114837 | 1075701 | 1078950 | 1377218 | 1392031 | 1327511 | 606238 | 802563 | 892511 | 1066838 | 996471 | 1056643 | 995962 | 924454 | 913400 | 894896 | 943794 | 807339 | 1091808 | 1086969 | 1035857 | 2414 | 2078 | 1816
30 | 104392.882 | 5 |  | 37 | 723606 | 946530 | 904424 | 827654 | 952435 | 936425 | 827066 | 841663 | 812603 | 1159216 | 1145860 | 1119075 | 1121555 | 1084464 | 1090905 | 1382252 | 1390056 | 1331566 | 618403 | 813562 | 904345 | 1082504 | 1008951 | 1063804 | 1001102 | 936080 | 920280 | 907080 | 952975 | 817760 | 1087937 | 1086093 | 1032703 | 2415 | 1965 | 1827
31 | 107992.663 | 5 |  | 37 | 733476 | 958178 | 917713 | 840070 | 965560 | 950554 | 846456 | 857774 | 831229 | 1169901 | 1160387 | 1132306 | 1132645 | 1095469 | 1098407 | 1385060 | 1392247 | 1336458 | 629020 | 823209 | 913584 | 1093203 | 1020109 | 1080289 | 1014907 | 947572 | 931339 | 918157 | 963154 | 826300 | 1088524 | 1080940 | 1033185 | 2295 | 1995 | 1841
32 | 111592.45 | 5.1 |  | 37 | 746075 | 968121 | 930125 | 850628 | 976522 | 960020 | 856883 | 869626 | 842297 | 1180778 | 1166192 | 1141457 | 1140406 | 1103654 | 1109248 | 1392727 | 1394427 | 1339118 | 639509 | 837007 | 924892 | 1102457 | 1028529 | 1089040 | 1020454 | 958430 | 940730 | 927487 | 975707 | 832572 | 1085021 | 1078967 | 1027308 | 2435 | 2075 | 1945
33 | 115192.221 | 5.1 |  | 37 | 758112 | 980049 | 940822 | 863857 | 988023 | 969498 | 875962 | 883933 | 852039 | 1188488 | 1173430 | 1148262 | 1146303 | 1110603 | 1115733 | 1390887 | 1400615 | 1341878 | 648622 | 842063 | 938573 | 1112761 | 1041686 | 1098500 | 1028681 | 964007 | 944449 | 937601 | 982829 | 844064 | 1071800 | 1072527 | 1023533 | 2520 | 2165 | 1887
34 | 118792.004 | 5 |  | 37 | 768755 | 992934 | 952976 | 874956 | 995511 | 978971 | 887388 | 897337 | 870644 | 1201836 | 1189430 | 1159149 | 1155186 | 1119170 | 1124883 | 1393023 | 1402364 | 1344192 | 657300 | 852584 | 944535 | 1121719 | 1050500 | 1104093 | 1038952 | 968187 | 954965 | 947764 | 992991 | 853788 | 1072426 | 1065555 | 1019990 | 2369 | 2139 | 1839
35 | 122391.778 | 5.1 |  | 37 | 779951 | 1003886 | 966190 | 886258 | 1005186 | 990233 | 900198 | 911213 | 881913 | 1209671 | 1196847 | 1170885 | 1165203 | 1129251 | 1127160 | 1396343 | 1406159 | 1352340 | 666352 | 866100 | 954899 | 1132690 | 1061408 | 1115986 | 1047324 | 982642 | 960453 | 957405 | 1000204 | 858927 | 1068062 | 1057945 | 1015755 | 2325 | 2181 | 1925
36 | 125991.558 | 5 |  | 37 | 791330 | 1015162 | 974339 | 897412 | 1014200 | 999537 | 910872 | 923994 | 897645 | 1222264 | 1205365 | 1184510 | 1174496 | 1137229 | 1141417 | 1402209 | 1408010 | 1354021 | 676252 | 872564 | 962490 | 1138798 | 1073863 | 1126280 | 1052623 | 989642 | 966063 | 962148 | 1008687 | 867621 | 1066205 | 1053311 | 1012578 | 2380 | 2154 | 1720
37 | 129591.342 | 5 |  | 37 | 799474 | 1019212 | 985737 | 904610 | 1023298 | 1009477 | 926790 | 936972 | 905675 | 1229609 | 1215051 | 1191357 | 1179365 | 1143331 | 1142343 | 1398196 | 1407397 | 1354701 | 683395 | 882946 | 971963 | 1146580 | 1079409 | 1133626 | 1060656 | 989825 | 971038 | 964911 | 1011843 | 875210 | 1053346 | 1047727 | 1007703 | 2421 | 2279 | 1803
38 | 133191.116 | 5 |  | 37 | 809251 | 1033784 | 997771 | 917535 | 1033320 | 1016895 | 939152 | 949276 | 916172 | 1241196 | 1221951 | 1196478 | 1187145 | 1151587 | 1155038 | 1400502 | 1405920 | 1357787 | 692373 | 893171 | 983381 | 1160296 | 1088207 | 1144438 | 1065848 | 1000579 | 980723 | 978101 | 1018561 | 883885 | 1053422 | 1044988 | 1005061 | 2474 | 2222 | 2032
39 | 136790.902 | 5 |  | 37 | 814771 | 1041186 | 1006598 | 922902 | 1038489 | 1029119 | 947516 | 953873 | 926366 | 1249259 | 1227276 | 1204389 | 1195682 | 1157153 | 1157895 | 1398238 | 1402591 | 1357493 | 703182 | 903172 | 991278 | 1168836 | 1098036 | 1146382 | 1069952 | 998944 | 981788 | 986140 | 1027155 | 887601 | 1046053 | 1036891 | 1002474 | 2489 | 2269 | 2055
40 | 140390.672 | 5 |  | 37 | 824177 | 1047171 | 1008606 | 931116 | 1048383 | 1032673 | 958966 | 963462 | 934357 | 1252035 | 1234265 | 1214151 | 1199559 | 1159284 | 1160386 | 1397956 | 1403223 | 1356619 | 714262 | 909582 | 997843 | 1170222 | 1104695 | 1154586 | 1067320 | 1005656 | 985226 | 991466 | 1029856 | 895385 | 1039235 | 1033257 | 989391 | 2442 | 2250 | 2042
41 | 143990.434 | 5 |  | 37 | 835058 | 1060747 | 1021392 | 942274 | 1057049 | 1042935 | 971391 | 975634 | 945807 | 1263157 | 1250783 | 1226558 | 1207401 | 1169940 | 1172218 | 1399089 | 1405538 | 1357658 | 723728 | 925346 | 1009847 | 1181378 | 1114524 | 1167611 | 1073311 | 1010465 | 992766 | 998872 | 1040317 | 904947 | 1033506 | 1027514 | 992036 | 2473 | 2068 | 1996
42 | 147590.22 | 4.9 |  | 37 | 841717 | 1068230 | 1027561 | 952463 | 1063759 | 1050376 | 980366 | 987314 | 955154 | 1269329 | 1259068 | 1231328 | 1214631 | 1177036 | 1179892 | 1401437 | 1407929 | 1360644 | 729650 | 933058 | 1015563 | 1188387 | 1126903 | 1176196 | 1078381 | 1015350 | 999889 | 1007118 | 1049756 | 909185 | 1028289 | 1024987 | 989664 | 2359 | 2333 | 2062
43 | 151189.993 | 4.9 |  | 37 | 853884 | 1080403 | 1041694 | 965197 | 1074825 | 1063577 | 993048 | 1001273 | 969111 | 1280709 | 1267921 | 1246199 | 1227832 | 1189053 | 1188986 | 1409269 | 1409370 | 1369075 | 746584 | 941757 | 1027968 | 1208033 | 1142690 | 1184046 | 1082936 | 1021387 | 1003634 | 1018203 | 1062042 | 923925 | 1025154 | 1023433 | 988665 | 2535 | 2323 | 2039
44 | 154789.775 | 5 |  | 37 | 868759 | 1095962 | 1061137 | 983856 | 1098301 | 1084541 | 1016531 | 1020401 | 985200 | 1299799 | 1293302 | 1267138 | 1242341 | 1207282 | 1212633 | 1421755 | 1428230 | 1383381 | 760729 | 963506 | 1049459 | 1222453 | 1156220 | 1205249 | 1097626 | 1035900 | 1016452 | 1035816 | 1076924 | 941669 | 1032500 | 1028670 | 993321 | 2491 | 2407 | 2155
45 | 158389.553 | 4.9 |  | 37 | 883104 | 1112476 | 1075204 | 1000317 | 1110798 | 1093575 | 1032710 | 1036422 | 999686 | 1316503 | 1306923 | 1282134 | 1261697 | 1222754 | 1229319 | 1431926 | 1434034 | 1398424 | 774546 | 978233 | 1064283 | 1238617 | 1170481 | 1221161 | 1111145 | 1045976 | 1024009 | 1050130 | 1091759 | 958533 | 1034018 | 1031747 | 997849 | 2617 | 2345 | 2291
46 | 161989.331 | 5 |  | 37 | 893730 | 1127110 | 1088413 | 1014890 | 1125165 | 1112693 | 1047136 | 1051133 | 1014486 | 1325541 | 1315838 | 1296350 | 1275214 | 1234634 | 1240053 | 1435685 | 1444609 | 1403246 | 784848 | 991064 | 1076818 | 1249978 | 1187342 | 1236170 | 1116398 | 1054615 | 1033132 | 1064180 | 1103433 | 966558 | 1033541 | 1030152 | 1000419 | 2692 | 2396 | 2174
47 | 165589.11 | 5 |  | 37 | 901360 | 1130063 | 1097485 | 1019502 | 1131906 | 1114327 | 1058495 | 1058397 | 1020305 | 1331738 | 1323930 | 1306612 | 1282980 | 1245317 | 1246809 | 1433629 | 1437075 | 1404667 | 793774 | 999191 | 1086933 | 1260695 | 1197193 | 1244301 | 1120577 | 1055510 | 1036268 | 1069951 | 1115030 | 975819 | 1029744 | 1026834 | 993995 | 2720 | 2482 | 2422
48 | 169188.894 | 5.1 |  | 37 | 904402 | 1135137 | 1102166 | 1021174 | 1134229 | 1117954 | 1066789 | 1062474 | 1023829 | 1333403 | 1328012 | 1311442 | 1280386 | 1246018 | 1253560 | 1424634 | 1423995 | 1397036 | 801509 | 1005535 | 1093445 | 1264515 | 1200181 | 1244625 | 1115518 | 1053271 | 1034653 | 1072751 | 1114784 | 979558 | 1019326 | 1015389 | 983435 | 2741 | 2353 | 2297
49 | 172788.673 | 5 |  | 37 | 905449 | 1139400 | 1102291 | 1026978 | 1140316 | 1121923 | 1072987 | 1068688 | 1027065 | 1334604 | 1328700 | 1312645 | 1286392 | 1248140 | 1252519 | 1414291 | 1417110 | 1393997 | 808948 | 1013715 | 1100082 | 1271596 | 1208217 | 1251250 | 1112946 | 1050520 | 1029515 | 1080278 | 1118626 | 986050 | 1010048 | 1006258 | 977062 | 2795 | 2477 | 2203
50 | 176388.447 | 5.1 |  | 37 | 904404 | 1138459 | 1100343 | 1023789 | 1134652 | 1119122 | 1074235 | 1068235 | 1023105 | 1332721 | 1326338 | 1310355 | 1280645 | 1245391 | 1246724 | 1394175 | 1397199 | 1373452 | 813318 | 1010785 | 1097229 | 1265603 | 1204816 | 1244223 | 1102628 | 1040378 | 1016587 | 1077487 | 1115184 | 979957 | 992065 | 994857 | 959187 | 2722 | 2492 | 2260
51 | 179988.227 | 4.9 |  | 37 | 905876 | 1132574 | 1100625 | 1023413 | 1128686 | 1110663 | 1073750 | 1063936 | 1021815 | 1328924 | 1322043 | 1305464 | 1277201 | 1238394 | 1243920 | 1381204 | 1381312 | 1357080 | 815210 | 1012390 | 1095027 | 1265394 | 1207414 | 1239446 | 1089898 | 1025733 | 1004409 | 1074528 | 1104909 | 974503 | 977350 | 981080 | 945575 | 2685 | 2523 | 2359
52 | 183588.01 | 4.9 |  | 37 | 901723 | 1128255 | 1093382 | 1016477 | 1121232 | 1104242 | 1068624 | 1064331 | 1016678 | 1320261 | 1315851 | 1302855 | 1267143 | 1233455 | 1232615 | 1355819 | 1361896 | 1336524 | 816165 | 1017477 | 1094876 | 1260431 | 1197944 | 1237716 | 1073925 | 1011603 | 992634 | 1072003 | 1099256 | 975820 | 962893 | 964058 | 929237 | 2734 | 2428 | 2296
53 | 187187.785 | 5 |  | 37 | 903973 | 1128427 | 1092821 | 1016756 | 1117557 | 1098919 | 1072483 | 1063046 | 1017355 | 1315079 | 1316220 | 1303645 | 1264627 | 1230486 | 1231562 | 1345175 | 1339757 | 1323716 | 823047 | 1017306 | 1094016 | 1259738 | 1198311 | 1233448 | 1064035 | 1004341 | 987016 | 1071901 | 1101407 | 975664 | 951834 | 956073 | 917865 | 2724 | 2371 | 2309
54 | 190787.565 | 5 |  | 37 | 905954 | 1122703 | 1091538 | 1016813 | 1113929 | 1097233 | 1074613 | 1067126 | 1015869 | 1313275 | 1314439 | 1303408 | 1260164 | 1225119 | 1233368 | 1327258 | 1329704 | 1309172 | 826602 | 1021588 | 1094174 | 1256384 | 1198875 | 1232152 | 1054565 | 996604 | 978099 | 1071149 | 1102164 | 977441 | 942063 | 939427 | 901652 | 2647 | 2357 | 2201
55 | 194387.348 | 5 |  | 37 | 906539 | 1122127 | 1087996 | 1015168 | 1107815 | 1091618 | 1073226 | 1066335 | 1012976 | 1310714 | 1307570 | 1301918 | 1257146 | 1223602 | 1228980 | 1311542 | 1312786 | 1301271 | 833821 | 1023362 | 1097597 | 1255292 | 1196649 | 1234577 | 1046632 | 988832 | 968522 | 1070594 | 1098343 | 977931 | 928665 | 930192 | 893002 | 2625 | 2481 | 2285
56 | 197987.123 | 5 |  | 37 | 908006 | 1123258 | 1085543 | 1016595 | 1105169 | 1091138 | 1072736 | 1063243 | 1012683 | 1311193 | 1304897 | 1299725 | 1257496 | 1224967 | 1225111 | 1296608 | 1300003 | 1283736 | 837325 | 1029556 | 1101978 | 1254890 | 1199680 | 1234813 | 1035471 | 982868 | 957916 | 1071978 | 1098495 | 979494 | 922475 | 917440 | 884164 | 2621 | 2439 | 2089
57 | 201586.903 | 5 |  | 37 | 908150 | 1120513 | 1090340 | 1014382 | 1099205 | 1086500 | 1074653 | 1064895 | 1011346 | 1301407 | 1303484 | 1296812 | 1253419 | 1221131 | 1223529 | 1283052 | 1283958 | 1269249 | 843804 | 1029220 | 1098376 | 1252863 | 1200907 | 1232524 | 1028452 | 972977 | 952680 | 1070281 | 1095936 | 980174 | 910908 | 910296 | 873260 | 2534 | 2398 | 2370
58 | 205186.682 | 5 |  | 37 | 913474 | 1119095 | 1084824 | 1014711 | 1097754 | 1079206 | 1072919 | 1065012 | 1005406 | 1301472 | 1298390 | 1291559 | 1250350 | 1220616 | 1219456 | 1267958 | 1266270 | 1256205 | 849989 | 1036365 | 1104181 | 1252158 | 1202130 | 1232451 | 1017505 | 964042 | 939601 | 1067175 | 1096744 | 980403 | 898650 | 903697 | 862296 | 2733 | 2399 | 2239
59 | 208786.461 | 4.9 |  | 37 | 912111 | 1118200 | 1083862 | 1011856 | 1094622 | 1086659 | 1075777 | 1065428 | 1011608 | 1303715 | 1291187 | 1288097 | 1251030 | 1219211 | 1217194 | 1247779 | 1250349 | 1242120 | 856389 | 1042730 | 1108401 | 1250347 | 1199420 | 1232550 | 1009658 | 955060 | 928968 | 1073028 | 1100221 | 984370 | 889027 | 894870 | 851827 | 2599 | 2411 | 2289
60 | 212386.24 | 5 |  | 37 | 915597 | 1117028 | 1084164 | 1010711 | 1089196 | 1075720 | 1071094 | 1065055 | 1007842 | 1292598 | 1290275 | 1288467 | 1245145 | 1221440 | 1216948 | 1233649 | 1233491 | 1228448 | 861248 | 1046502 | 1109950 | 1253141 | 1203045 | 1233790 | 1000697 | 948637 | 919996 | 1072438 | 1096710 | 982785 | 883686 | 887102 | 844127 | 2634 | 2282 | 2278
61 | 215986.022 | 5 |  | 37 | 914966 | 1114329 | 1080791 | 1010163 | 1086353 | 1074495 | 1082123 | 1063944 | 1009897 | 1296101 | 1286758 | 1287762 | 1242215 | 1219071 | 1213301 | 1218505 | 1214994 | 1210607 | 868144 | 1051309 | 1111948 | 1254472 | 1206183 | 1235426 | 990505 | 940452 | 911064 | 1074098 | 1099018 | 985480 | 876987 | 876751 | 835349 | 2712 | 2346 | 2098
62 | 219585.797 | 5 |  | 37 | 910646 | 1106135 | 1080376 | 1012066 | 1081946 | 1063478 | 1076626 | 1064169 | 1008299 | 1285292 | 1284072 | 1281072 | 1237979 | 1221199 | 1214785 | 1195123 | 1196071 | 1196693 | 873648 | 1053106 | 1117761 | 1252264 | 1200725 | 1229445 | 979535 | 927725 | 897356 | 1072592 | 1094850 | 987719 | 867414 | 864365 | 828927 | 2551 | 2353 | 2197
63 | 223185.581 | 5 |  | 37 | 916171 | 1105706 | 1080798 | 1011081 | 1076383 | 1060479 | 1079354 | 1057169 | 1005686 | 1278445 | 1279382 | 1274404 | 1232731 | 1211929 | 1203660 | 1182205 | 1183528 | 1184880 | 881348 | 1053795 | 1121094 | 1244791 | 1204426 | 1229695 | 973382 | 917901 | 886729 | 1075498 | 1099130 | 987483 | 858015 | 856293 | 820803 | 2483 | 2241 | 2121
64 | 226785.355 | 5 |  | 37 | 917962 | 1100775 | 1080590 | 1006317 | 1074452 | 1054991 | 1079024 | 1060828 | 1003162 | 1271554 | 1268988 | 1269218 | 1225817 | 1213750 | 1204150 | 1154471 | 1163725 | 1169708 | 887541 | 1060176 | 1122229 | 1240939 | 1202050 | 1224737 | 962879 | 909973 | 879939 | 1073486 | 1099152 | 986773 | 849051 | 845386 | 810453 | 2643 | 2339 | 2165
65 | 230385.136 | 5 |  | 37 | 915389 | 1098850 | 1070234 | 1004052 | 1068833 | 1049092 | 1075458 | 1056817 | 1000660 | 1261112 | 1259377 | 1259718 | 1220613 | 1207222 | 1199102 | 1134646 | 1138956 | 1148257 | 896778 | 1061673 | 1122201 | 1228257 | 1197759 | 1220265 | 952475 | 896984 | 869084 | 1070809 | 1095941 | 987637 | 837597 | 837575 | 804682 | 2571 | 2203 | 2239
66 | 233984.916 | 5 |  | 37 | 921003 | 1097075 | 1071096 | 1005145 | 1066548 | 1047872 | 1080050 | 1059387 | 1003285 | 1259704 | 1258371 | 1261952 | 1217525 | 1204461 | 1200054 | 1119084 | 1120961 | 1134603 | 904391 | 1071036 | 1127997 | 1230326 | 1198783 | 1212102 | 946841 | 892644 | 861249 | 1071063 | 1097779 | 989189 | 832181 | 829184 | 799982 | 2643 | 2259 | 2247
67 | 237584.692 | 5 |  | 37 | 925280 | 1097064 | 1074452 | 1004076 | 1067894 | 1049836 | 1083719 | 1064218 | 1005560 | 1246856 | 1255906 | 1261425 | 1217673 | 1205245 | 1200032 | 1104283 | 1101077 | 1115271 | 911013 | 1075799 | 1132786 | 1226808 | 1201711 | 1216156 | 938971 | 886076 | 857209 | 1071728 | 1099527 | 994951 | 830727 | 827341 | 794395 | 2613 | 2329 | 2103
68 | 241184.474 | 5 |  | 37 | 928883 | 1099447 | 1080536 | 1006060 | 1068259 | 1050764 | 1087140 | 1069674 | 1011355 | 1246325 | 1254195 | 1253680 | 1219584 | 1207558 | 1203102 | 1079947 | 1084138 | 1108835 | 921178 | 1085207 | 1141754 | 1229309 | 1204945 | 1222404 | 937934 | 883146 | 854429 | 1077986 | 1100728 | 1001098 | 829434 | 824543 | 792408 | 2642 | 2402 | 2188
69 | 244784.254 | 5.1 |  | 37 | 934349 | 1097627 | 1078586 | 1006895 | 1062797 | 1044299 | 1091452 | 1064060 | 1009234 | 1237025 | 1247255 | 1249133 | 1217627 | 1206137 | 1197418 | 1059906 | 1064447 | 1087995 | 925923 | 1082861 | 1138926 | 1221585 | 1205570 | 1214315 | 928714 | 877697 | 844043 | 1077230 | 1104084 | 1007602 | 820595 | 817747 | 784326 | 2652 | 2300 | 2158
70 | 248384.035 | 5.1 |  | 37 | 934577 | 1097964 | 1076612 | 1007976 | 1062667 | 1041896 | 1093020 | 1065797 | 1006901 | 1227208 | 1231958 | 1235090 | 1210807 | 1202731 | 1193378 | 1032019 | 1034148 | 1066124 | 934747 | 1091599 | 1148640 | 1220312 | 1203829 | 1212581 | 922617 | 868501 | 835912 | 1077263 | 1102634 | 1007506 | 815009 | 813546 | 778653 | 2616 | 2352 | 2148
71 | 251983.817 | 4.9 |  | 37 | 937377 | 1096512 | 1079468 | 1010327 | 1060180 | 1038965 | 1092355 | 1069117 | 1009318 | 1213461 | 1227290 | 1235027 | 1204814 | 1202364 | 1195980 | 1004875 | 1014557 | 1053049 | 941148 | 1100891 | 1151927 | 1211237 | 1206964 | 1207165 | 917628 | 865599 | 833961 | 1076880 | 1101935 | 1013245 | 809884 | 808090 | 775728 | 2647 | 2547 | 2361
72 | 255583.597 | 5 |  | 37.1 | 940767 | 1095881 | 1081129 | 1009442 | 1060643 | 1038371 | 1097955 | 1072933 | 1010173 | 1196348 | 1213465 | 1229766 | 1196052 | 1199796 | 1189316 | 983781 | 984442 | 1027570 | 953545 | 1107917 | 1155603 | 1207467 | 1202490 | 1205907 | 915287 | 858755 | 826119 | 1081366 | 1102001 | 1017592 | 804502 | 805436 | 769826 | 2568 | 2522 | 2408
End Time |  |  |  | 2019-04-25 14:38:38

## ++
HCT 116
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 233603 | 250053 | 236910 | 240188.6667 | 7104.5932 | 1 | 0.63652
3599.067 | 2 | 285989 | 304749 | 284537 | 291758.3333 | 9204.8951 | 1.2147 | 0.77318
7198.845 | 3 | 316317 | 331420 | 315592 | 321109.6667 | 7296.5122 | 1.3369 | 0.85097
10798.602 | 4 | 336071 | 351455 | 334442 | 340656 | 7664.951 | 1.4183 | 0.90277
14398.381 | 5 | 353094 | 369774 | 353536 | 358801.3333 | 7760.945 | 1.4938 | 0.95085
17998.154 | 6 | 373479 | 388030 | 370530 | 377346.3333 | 7649.8235 | 1.571 | 1
21597.933 | 7 | 388133 | 404689 | 385554 | 392792 | 8478.0802 | 1.6353 | 1.0409
25197.705 | 8 | 405151 | 418504 | 402193 | 408616 | 7095.3905 | 1.7012 | 1.0829
28797.478 | 9 | 423234 | 438573 | 421694 | 427833.6667 | 7619.8364 | 1.7812 | 1.1338
32397.257 | 10 | 441262 | 456413 | 438311 | 445328.6667 | 7929.8564 | 1.8541 | 1.1802
35997.03 | 11 | 462872 | 474652 | 455754 | 464426 | 7792.9365 | 1.9336 | 1.2308
39596.805 | 12 | 479659 | 493305 | 474116 | 482360 | 8063.3319 | 2.0083 | 1.2783
43196.582 | 13 | 497407 | 512278 | 493863 | 501182.6667 | 7977.8778 | 2.0866 | 1.3282
46796.355 | 14 | 519111 | 531296 | 513463 | 521290 | 7441.5502 | 2.1703 | 1.3815
50396.13 | 15 | 535765 | 549276 | 530621 | 538554 | 7867.0684 | 2.2422 | 1.4272
53995.903 | 16 | 556769 | 572525 | 550776 | 560023.3333 | 9172.3412 | 2.3316 | 1.4841
57595.68 | 17 | 574470 | 589374 | 567446 | 577096.6667 | 9142.714 | 2.4027 | 1.5294
61195.457 | 18 | 593230 | 610037 | 588216 | 597161 | 9331.973 | 2.4862 | 1.5825
64795.233 | 19 | 616462 | 630899 | 609505 | 618955.3333 | 8910.2317 | 2.577 | 1.6403
68395.007 | 20 | 642325 | 656639 | 630741 | 643235 | 10592.377 | 2.678 | 1.7046
71994.782 | 21 | 663592 | 675868 | 655136 | 664865.3333 | 8511.5603 | 2.7681 | 1.7619
75594.561 | 22 | 686344 | 696158 | 673607 | 685369.6667 | 9232.1501 | 2.8535 | 1.8163
79194.332 | 23 | 702303 | 716796 | 690481 | 703193.3333 | 10761.4846 | 2.9277 | 1.8635
82794.108 | 24 | 729551 | 743665 | 717716 | 730310.6667 | 10607.245 | 3.0406 | 1.9354
86393.885 | 25 | 750571 | 764421 | 739018 | 751336.6667 | 10384.8539 | 3.1281 | 1.9911
89993.662 | 26 | 766791 | 780960 | 754657 | 767469.3333 | 10748.8621 | 3.1953 | 2.0339
93593.435 | 27 | 780823 | 794513 | 769704 | 781680 | 10146.3444 | 3.2544 | 2.0715
97193.21 | 28 | 796205 | 811417 | 784334 | 797318.6667 | 11084.5963 | 3.3196 | 2.113
100792.988 | 29 | 812063 | 826349 | 800534 | 812982 | 10558.9449 | 3.3848 | 2.1545
104392.762 | 30 | 827066 | 841663 | 812603 | 827110.6667 | 11863.7374 | 3.4436 | 2.1919
107992.537 | 31 | 846456 | 857774 | 831229 | 845153 | 10876.0475 | 3.5187 | 2.2397
111592.308 | 32 | 856883 | 869626 | 842297 | 856268.6667 | 11165.471 | 3.565 | 2.2692
115192.085 | 33 | 875962 | 883933 | 852039 | 870644.6667 | 13552.6709 | 3.6248 | 2.3073
118791.863 | 34 | 887388 | 897337 | 870644 | 885123 | 11014.4369 | 3.6851 | 2.3457
122391.637 | 35 | 900198 | 911213 | 881913 | 897774.6667 | 12083.7883 | 3.7378 | 2.3792
125991.412 | 36 | 910872 | 923994 | 897645 | 910837 | 10756.9627 | 3.7922 | 2.4138
129591.187 | 37 | 926790 | 936972 | 905675 | 923145.6667 | 13034.2223 | 3.8434 | 2.4464
133190.963 | 38 | 939152 | 949276 | 916172 | 934866.6667 | 13850.1929 | 3.8922 | 2.4775
136790.738 | 39 | 947516 | 953873 | 926366 | 942585 | 11758.5383 | 3.9244 | 2.4979
140390.513 | 40 | 958966 | 963462 | 934357 | 952261.6667 | 12792.8709 | 3.9646 | 2.5236
143990.289 | 41 | 971391 | 975634 | 945807 | 964277.3333 | 13174.8668 | 4.0147 | 2.5554
147590.064 | 42 | 980366 | 987314 | 955154 | 974278 | 13816.9994 | 4.0563 | 2.5819
151189.839 | 43 | 993048 | 1001273 | 969111 | 987810.6667 | 13642.3558 | 4.1126 | 2.6178
154789.617 | 44 | 1016531 | 1020401 | 985200 | 1007377.3333 | 15761.1296 | 4.1941 | 2.6696
158389.392 | 45 | 1032710 | 1036422 | 999686 | 1022939.3333 | 16512.2756 | 4.2589 | 2.7109
161989.167 | 46 | 1047136 | 1051133 | 1014486 | 1037585 | 16414.7668 | 4.3199 | 2.7497
165588.943 | 47 | 1058495 | 1058397 | 1020305 | 1045732.3333 | 17979.8843 | 4.3538 | 2.7713
169188.718 | 48 | 1066789 | 1062474 | 1023829 | 1051030.6667 | 19314.9822 | 4.3759 | 2.7853
172788.5 | 49 | 1072987 | 1068688 | 1027065 | 1056246.6667 | 20709.0576 | 4.3976 | 2.7991
176388.269 | 50 | 1074235 | 1068235 | 1023105 | 1055191.6667 | 22820.5409 | 4.3932 | 2.7963
179988.044 | 51 | 1073750 | 1063936 | 1021815 | 1053167 | 22528.3462 | 4.3847 | 2.791
183587.82 | 52 | 1068624 | 1064331 | 1016678 | 1049877.6667 | 23541.0402 | 4.3711 | 2.7823
187187.595 | 53 | 1072483 | 1063046 | 1017355 | 1050961.3333 | 24073.5466 | 4.3756 | 2.7851
190787.372 | 54 | 1074613 | 1067126 | 1015869 | 1052536 | 26107.0292 | 4.3821 | 2.7893
194387.148 | 55 | 1073226 | 1066335 | 1012976 | 1050845.6667 | 26925.2695 | 4.3751 | 2.7848
197986.931 | 56 | 1072736 | 1063243 | 1012683 | 1049554 | 26358.2023 | 4.3697 | 2.7814
201586.701 | 57 | 1074653 | 1064895 | 1011346 | 1050298 | 27829.8206 | 4.3728 | 2.7834
205186.474 | 58 | 1072919 | 1065012 | 1005406 | 1047779 | 30135.6213 | 4.3623 | 2.7767
208786.238 | 59 | 1075777 | 1065428 | 1011608 | 1050937.6667 | 28129.3733 | 4.3755 | 2.7851
212386.014 | 60 | 1071094 | 1065055 | 1007842 | 1047997 | 28500.7064 | 4.3632 | 2.7773
215985.793 | 61 | 1082123 | 1063944 | 1009897 | 1051988 | 30674.1826 | 4.3798 | 2.7879
219585.565 | 62 | 1076626 | 1064169 | 1008299 | 1049698 | 29711.9742 | 4.3703 | 2.7818
223185.342 | 63 | 1079354 | 1057169 | 1005686 | 1047403 | 30857.464 | 4.3608 | 2.7757
223185.342 | 64 | 1079024 | 1060828 | 1003162 | 1047671.3333 | 32337.6372 | 4.3619 | 2.7764
223185.342 | 65 | 1075458 | 1056817 | 1000660 | 1044311.6667 | 31790.698 | 4.3479 | 2.7675
223185.342 | 66 | 1080050 | 1059387 | 1003285 | 1047574 | 32433.2806 | 4.3615 | 2.7762
223185.342 | 67 | 1083719 | 1064218 | 1005560 | 1051165.6667 | 33216.2598 | 4.3764 | 2.7857
223185.342 | 68 | 1087140 | 1069674 | 1011355 | 1056056.3333 | 32402.9031 | 4.3968 | 2.7986
223185.342 | 69 | 1091452 | 1064060 | 1009234 | 1054915.3333 | 34182.5353 | 4.392 | 2.7956
223185.342 | 70 | 1093020 | 1065797 | 1006901 | 1055239.3333 | 35941.7935 | 4.3934 | 2.7965
223185.342 | 71 | 1092355 | 1069117 | 1009318 | 1056930 | 34977.8794 | 4.4004 | 2.801
223185.342 | 72 | 1097955 | 1072933 | 1010173 | 1060353.6667 | 36924.2432 | 4.4147 | 2.81
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 02
HCT 116 M4KO 02
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 343608 | 308288 | 316075 | 322657 | 15151.8457 | 1 | 0.6298
3599.067 | 2 | 416921 | 372292 | 373379 | 387530.6667 | 20786.8414 | 1.2011 | 0.75643
7198.845 | 3 | 464511 | 418294 | 414378 | 432394.3333 | 22766.1148 | 1.3401 | 0.844
10798.602 | 4 | 497710 | 448084 | 444690 | 463494.6667 | 24233.5385 | 1.4365 | 0.9047
14398.381 | 5 | 523760 | 470541 | 467685 | 487328.6667 | 25787.2154 | 1.5104 | 0.95122
17998.154 | 6 | 550343 | 494807 | 491804 | 512318 | 26915.6704 | 1.5878 | 1
21597.933 | 7 | 572450 | 516273 | 514729 | 534484 | 26853.4151 | 1.6565 | 1.0433
25197.705 | 8 | 595362 | 539330 | 533468 | 556053.3333 | 27898.2582 | 1.7234 | 1.0854
28797.478 | 9 | 618627 | 558630 | 556265 | 577840.6667 | 28856.4498 | 1.7909 | 1.1279
32397.257 | 10 | 642489 | 581609 | 576248 | 600115.3333 | 30042.5343 | 1.8599 | 1.1714
35997.03 | 11 | 665775 | 604567 | 596478 | 622273.3333 | 30937.0784 | 1.9286 | 1.2146
39596.805 | 12 | 686511 | 622850 | 617671 | 642344 | 31302.2728 | 1.9908 | 1.2538
43196.582 | 13 | 707880 | 643768 | 637596 | 663081.3333 | 31777.4952 | 2.0551 | 1.2943
46796.355 | 14 | 725984 | 660818 | 656760 | 681187.3333 | 31719.3196 | 2.1112 | 1.3296
50396.13 | 15 | 745025 | 682129 | 675012 | 700722 | 31461.4026 | 2.1717 | 1.3677
53995.903 | 16 | 768041 | 701811 | 697125 | 722325.6667 | 32382.1805 | 2.2387 | 1.4099
57595.68 | 17 | 784139 | 719905 | 713918 | 739320.6667 | 31785.461 | 2.2914 | 1.4431
61195.457 | 18 | 806234 | 738804 | 732890 | 759309.3333 | 33268.4746 | 2.3533 | 1.4821
64795.233 | 19 | 831175 | 759930 | 752730 | 781278.3333 | 35404.5007 | 2.4214 | 1.525
68395.007 | 20 | 854781 | 786275 | 777626 | 806227.3333 | 34513.7191 | 2.4987 | 1.5737
71994.782 | 21 | 877002 | 806902 | 798257 | 827387 | 35260.1775 | 2.5643 | 1.615
75594.561 | 22 | 895804 | 824387 | 816236 | 845475.6667 | 35742.7433 | 2.6204 | 1.6503
79194.332 | 23 | 909401 | 838592 | 827315 | 858436 | 36330.5757 | 2.6605 | 1.6756
82794.108 | 24 | 936416 | 867903 | 855919 | 886746 | 35461.1124 | 2.7483 | 1.7309
86393.885 | 25 | 954752 | 886758 | 871260 | 904256.6667 | 36261.835 | 2.8025 | 1.765
89993.662 | 26 | 964598 | 899774 | 883272 | 915881.3333 | 35100.4673 | 2.8386 | 1.7877
93593.435 | 27 | 973913 | 909045 | 893555 | 925504.3333 | 34809.3309 | 2.8684 | 1.8065
97193.21 | 28 | 986412 | 917123 | 899595 | 934376.6667 | 37483.9044 | 2.8959 | 1.8238
100792.988 | 29 | 995962 | 924454 | 913400 | 944605.3333 | 36593.9716 | 2.9276 | 1.8438
104392.762 | 30 | 1001102 | 936080 | 920280 | 952487.3333 | 34975.6998 | 2.952 | 1.8592
107992.537 | 31 | 1014907 | 947572 | 931339 | 964606 | 36180.2941 | 2.9896 | 1.8828
111592.308 | 32 | 1020454 | 958430 | 940730 | 973204.6667 | 34182.8137 | 3.0162 | 1.8996
115192.085 | 33 | 1028681 | 964007 | 944449 | 979045.6667 | 35994.2456 | 3.0343 | 1.911
118791.863 | 34 | 1038952 | 968187 | 954965 | 987368 | 36872.6377 | 3.0601 | 1.9273
122391.637 | 35 | 1047324 | 982642 | 960453 | 996806.3333 | 36852.0819 | 3.0894 | 1.9457
125991.412 | 36 | 1052623 | 989642 | 966063 | 1002776 | 36537.9699 | 3.1079 | 1.9573
129591.187 | 37 | 1060656 | 989825 | 971038 | 1007173 | 38588.0924 | 3.1215 | 1.9659
133190.963 | 38 | 1065848 | 1000579 | 980723 | 1015716.6667 | 36363.2426 | 3.148 | 1.9826
136790.738 | 39 | 1069952 | 998944 | 981788 | 1016894.6667 | 38165.3643 | 3.1516 | 1.9849
140390.513 | 40 | 1067320 | 1005656 | 985226 | 1019400.6667 | 34895.4926 | 3.1594 | 1.9898
143990.289 | 41 | 1073311 | 1010465 | 992766 | 1025514 | 34561.3325 | 3.1783 | 2.0017
147590.064 | 42 | 1078381 | 1015350 | 999889 | 1031206.6667 | 33949.2162 | 3.196 | 2.0128
151189.839 | 43 | 1082936 | 1021387 | 1003634 | 1035985.6667 | 33980.8044 | 3.2108 | 2.0222
154789.617 | 44 | 1097626 | 1035900 | 1016452 | 1049992.6667 | 34604.9805 | 3.2542 | 2.0495
158389.392 | 45 | 1111145 | 1045976 | 1024009 | 1060376.6667 | 37001.847 | 3.2864 | 2.0698
161989.167 | 46 | 1116398 | 1054615 | 1033132 | 1068048.3333 | 35295.3965 | 3.3102 | 2.0847
165588.943 | 47 | 1120577 | 1055510 | 1036268 | 1070785 | 36073.9619 | 3.3186 | 2.0901
169188.718 | 48 | 1115518 | 1053271 | 1034653 | 1067814 | 34577.5572 | 3.3094 | 2.0843
172788.5 | 49 | 1112946 | 1050520 | 1029515 | 1064327 | 35432.1688 | 3.2986 | 2.0775
176388.269 | 50 | 1102628 | 1040378 | 1016587 | 1053197.6667 | 36276.9101 | 3.2641 | 2.0557
179988.044 | 51 | 1089898 | 1025733 | 1004409 | 1040013.3333 | 36332.1549 | 3.2233 | 2.03
183587.82 | 52 | 1073925 | 1011603 | 992634 | 1026054 | 34724.4412 | 3.18 | 2.0028
187187.595 | 53 | 1064035 | 1004341 | 987016 | 1018464 | 32990.6647 | 3.1565 | 1.988
190787.372 | 54 | 1054565 | 996604 | 978099 | 1009756 | 32572.9296 | 3.1295 | 1.971
194387.148 | 55 | 1046632 | 988832 | 968522 | 1001328.6667 | 33089.9585 | 3.1034 | 1.9545
197986.931 | 56 | 1035471 | 982868 | 957916 | 992085 | 32325.5247 | 3.0747 | 1.9365
201586.701 | 57 | 1028452 | 972977 | 952680 | 984703 | 32025.7532 | 3.0519 | 1.9221
205186.474 | 58 | 1017505 | 964042 | 939601 | 973716 | 32531.5028 | 3.0178 | 1.9006
208786.238 | 59 | 1009658 | 955060 | 928968 | 964562 | 33619.7861 | 2.9894 | 1.8827
212386.014 | 60 | 1000697 | 948637 | 919996 | 956443.3333 | 33405.2589 | 2.9643 | 1.8669
215985.793 | 61 | 990505 | 940452 | 911064 | 947340.3333 | 32795.3754 | 2.9361 | 1.8491
219585.565 | 62 | 979535 | 927725 | 897356 | 934872 | 33927.9306 | 2.8974 | 1.8248
223185.342 | 63 | 973382 | 917901 | 886729 | 926004 | 35836.9415 | 2.8699 | 1.8075
223185.342 | 64 | 962879 | 909973 | 879939 | 917597 | 34286.5856 | 2.8439 | 1.7911
223185.342 | 65 | 952475 | 896984 | 869084 | 906181 | 34659.807 | 2.8085 | 1.7688
223185.342 | 66 | 946841 | 892644 | 861249 | 900244.6667 | 35353.6911 | 2.7901 | 1.7572
223185.342 | 67 | 938971 | 886076 | 857209 | 894085.3333 | 33856.2473 | 2.771 | 1.7452
223185.342 | 68 | 937934 | 883146 | 854429 | 891836.3333 | 34640.1759 | 2.764 | 1.7408
223185.342 | 69 | 928714 | 877697 | 844043 | 883484.6667 | 34808.2114 | 2.7382 | 1.7245
223185.342 | 70 | 922617 | 868501 | 835912 | 875676.6667 | 35758.9793 | 2.714 | 1.7092
223185.342 | 71 | 917628 | 865599 | 833961 | 872396 | 34493.3919 | 2.7038 | 1.7028
223185.342 | 72 | 915287 | 858755 | 826119 | 866720.3333 | 36835.8336 | 2.6862 | 1.6918
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 02 WT
HCT 116 M4KO 02 + PB M4 WT
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 224563 | 303156 | 297322 | 275013.6667 | 35753.4261 | 1 | 0.59831
3599.067 | 2 | 281664 | 376085 | 366740 | 341496.3333 | 42479.5115 | 1.2417 | 0.74295
7198.845 | 3 | 319963 | 419217 | 410178 | 383119.3333 | 44810.4728 | 1.3931 | 0.8335
10798.602 | 4 | 345482 | 448642 | 438527 | 410883.6667 | 46429.9602 | 1.494 | 0.89391
14398.381 | 5 | 368729 | 474339 | 465752 | 436273.3333 | 47889.5386 | 1.5864 | 0.94915
17998.154 | 6 | 388261 | 499909 | 490776 | 459648.6667 | 50616.217 | 1.6714 | 1
21597.933 | 7 | 408965 | 521019 | 511200 | 480394.6667 | 50667.2225 | 1.7468 | 1.0451
25197.705 | 8 | 429695 | 541704 | 531204 | 500867.6667 | 50508.9026 | 1.8212 | 1.0897
28797.478 | 9 | 449061 | 567061 | 553089 | 523070.3333 | 52642.4433 | 1.902 | 1.138
32397.257 | 10 | 466566 | 588183 | 573897 | 542882 | 54277.8122 | 1.974 | 1.1811
35997.03 | 11 | 485694 | 608153 | 595092 | 562979.6667 | 54908.7311 | 2.0471 | 1.2248
39596.805 | 12 | 505184 | 628238 | 614252 | 582558 | 55008.8111 | 2.1183 | 1.2674
43196.582 | 13 | 525825 | 649546 | 632882 | 602751 | 54818.6667 | 2.1917 | 1.3113
46796.355 | 14 | 542340 | 666302 | 649717 | 619453 | 54945.8924 | 2.2524 | 1.3477
50396.13 | 15 | 563204 | 689371 | 671727 | 641434 | 55783.9724 | 2.3324 | 1.3955
53995.903 | 16 | 579626 | 707399 | 694753 | 660592.6667 | 57484.3814 | 2.402 | 1.4372
57595.68 | 17 | 597047 | 729303 | 711705 | 679351.6667 | 58639.9523 | 2.4702 | 1.478
61195.457 | 18 | 617908 | 745246 | 728175 | 697109.6667 | 56435.9977 | 2.5348 | 1.5166
64795.233 | 19 | 636770 | 768774 | 752093 | 719212.3333 | 58691.9511 | 2.6152 | 1.5647
68395.007 | 20 | 661367 | 793409 | 777161 | 743979 | 58790.9079 | 2.7052 | 1.6186
71994.782 | 21 | 684476 | 816423 | 799287 | 766728.6667 | 58580.6368 | 2.788 | 1.6681
75594.561 | 22 | 699895 | 835226 | 820129 | 785083.3333 | 60551.7352 | 2.8547 | 1.708
79194.332 | 23 | 715322 | 849408 | 832273 | 799001 | 59582.0629 | 2.9053 | 1.7383
82794.108 | 24 | 741259 | 879654 | 858730 | 826547.6667 | 60910.1576 | 3.0055 | 1.7982
86393.885 | 25 | 762210 | 897339 | 878464 | 846004.3333 | 59750.5042 | 3.0762 | 1.8405
89993.662 | 26 | 773234 | 909366 | 891762 | 858120.6667 | 60452.6528 | 3.1203 | 1.8669
93593.435 | 27 | 788661 | 919615 | 903141 | 870472.3333 | 58238.9839 | 3.1652 | 1.8938
97193.21 | 28 | 800268 | 931385 | 911631 | 881094.6667 | 57719.2496 | 3.2038 | 1.9169
100792.988 | 29 | 816620 | 943477 | 921690 | 893929 | 55384.5914 | 3.2505 | 1.9448
104392.762 | 30 | 827654 | 952435 | 936425 | 905504.6667 | 55435.3963 | 3.2926 | 1.97
107992.537 | 31 | 840070 | 965560 | 950554 | 918728 | 55955.9692 | 3.3407 | 1.9988
111592.308 | 32 | 850628 | 976522 | 960020 | 929056.6667 | 55865.1401 | 3.3782 | 2.0212
115192.085 | 33 | 863857 | 988023 | 969498 | 940459.3333 | 54691.4497 | 3.4197 | 2.046
118791.863 | 34 | 874956 | 995511 | 978971 | 949812.6667 | 53360.6179 | 3.4537 | 2.0664
122391.637 | 35 | 886258 | 1005186 | 990233 | 960559 | 52892.1986 | 3.4928 | 2.0898
125991.412 | 36 | 897412 | 1014200 | 999537 | 970383 | 51944.3678 | 3.5285 | 2.1111
129591.187 | 37 | 904610 | 1023298 | 1009477 | 979128.3333 | 52993.6569 | 3.5603 | 2.1302
133190.963 | 38 | 917535 | 1033320 | 1016895 | 989250 | 51151.5792 | 3.5971 | 2.1522
136790.738 | 39 | 922902 | 1038489 | 1029119 | 996836.6667 | 52419.4647 | 3.6247 | 2.1687
140390.513 | 40 | 931116 | 1048383 | 1032673 | 1004057.3333 | 51974.5425 | 3.6509 | 2.1844
143990.289 | 41 | 942274 | 1057049 | 1042935 | 1014086 | 51104.6231 | 3.6874 | 2.2062
147590.064 | 42 | 952463 | 1063759 | 1050376 | 1022199.3333 | 49612.7894 | 3.7169 | 2.2239
151189.839 | 43 | 965197 | 1074825 | 1063577 | 1034533 | 49242.5294 | 3.7618 | 2.2507
154789.617 | 44 | 983856 | 1098301 | 1084541 | 1055566 | 51016.8435 | 3.8382 | 2.2965
158389.392 | 45 | 1000317 | 1110798 | 1093575 | 1068230 | 48533.7656 | 3.8843 | 2.324
161989.167 | 46 | 1014890 | 1125165 | 1112693 | 1084249.3333 | 49308.0489 | 3.9425 | 2.3589
165588.943 | 47 | 1019502 | 1131906 | 1114327 | 1088578.3333 | 49368.7498 | 3.9583 | 2.3683
169188.718 | 48 | 1021174 | 1134229 | 1117954 | 1091119 | 49902.8802 | 3.9675 | 2.3738
172788.5 | 49 | 1026978 | 1140316 | 1121923 | 1096405.6667 | 49663.711 | 3.9867 | 2.3853
176388.269 | 50 | 1023789 | 1134652 | 1119122 | 1092521 | 49012.6589 | 3.9726 | 2.3769
179988.044 | 51 | 1023413 | 1128686 | 1110663 | 1087587.3333 | 45970.7583 | 3.9547 | 2.3661
183587.82 | 52 | 1016477 | 1121232 | 1104242 | 1080650.3333 | 45904.4483 | 3.9294 | 2.351
187187.595 | 53 | 1016756 | 1117557 | 1098919 | 1077744 | 43791.1397 | 3.9189 | 2.3447
190787.372 | 54 | 1016813 | 1113929 | 1097233 | 1075991.6667 | 42397.1308 | 3.9125 | 2.3409
194387.148 | 55 | 1015168 | 1107815 | 1091618 | 1071533.6667 | 40401.3365 | 3.8963 | 2.3312
197986.931 | 56 | 1016595 | 1105169 | 1091138 | 1070967.3333 | 38871.4138 | 3.8942 | 2.33
201586.701 | 57 | 1014382 | 1099205 | 1086500 | 1066695.6667 | 37353.2154 | 3.8787 | 2.3207
205186.474 | 58 | 1014711 | 1097754 | 1079206 | 1063890.3333 | 35589.9068 | 3.8685 | 2.3146
208786.238 | 59 | 1011856 | 1094622 | 1086659 | 1064379 | 37281.3759 | 3.8703 | 2.3156
212386.014 | 60 | 1010711 | 1089196 | 1075720 | 1058542.3333 | 34266.3876 | 3.8491 | 2.3029
215985.793 | 61 | 1010163 | 1086353 | 1074495 | 1057003.6667 | 33473.2638 | 3.8435 | 2.2996
219585.565 | 62 | 1012066 | 1081946 | 1063478 | 1052496.6667 | 29566.263 | 3.8271 | 2.2898
223185.342 | 63 | 1011081 | 1076383 | 1060479 | 1049314.3333 | 27803.7784 | 3.8155 | 2.2829
223185.342 | 64 | 1006317 | 1074452 | 1054991 | 1045253.3333 | 28655.5541 | 3.8007 | 2.274
223185.342 | 65 | 1004052 | 1068833 | 1049092 | 1040659 | 27110.6511 | 3.784 | 2.264
223185.342 | 66 | 1005145 | 1066548 | 1047872 | 1039855 | 25700.6656 | 3.7811 | 2.2623
223185.342 | 67 | 1004076 | 1067894 | 1049836 | 1040602 | 26859.3168 | 3.7838 | 2.2639
223185.342 | 68 | 1006060 | 1068259 | 1050764 | 1041694.3333 | 26189.9859 | 3.7878 | 2.2663
223185.342 | 69 | 1006895 | 1062797 | 1044299 | 1037997 | 23252.8823 | 3.7743 | 2.2582
223185.342 | 70 | 1007976 | 1062667 | 1041896 | 1037513 | 22541.5821 | 3.7726 | 2.2572
223185.342 | 71 | 1010327 | 1060180 | 1038965 | 1036490.6667 | 20427.4676 | 3.7689 | 2.255
223185.342 | 72 | 1009442 | 1060643 | 1038371 | 1036152 | 20961.5294 | 3.7676 | 2.2542
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 02 D984A
HCT 116 M4KO 02 + PB M4 D984A
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 449110 | 415473 | 424893 | 429825.3333 | 14168.2245 | 1 | 0.66684
3599.067 | 2 | 539116 | 502604 | 513476 | 518398.6667 | 15306.9923 | 1.2061 | 0.80426
7198.845 | 3 | 582921 | 545637 | 556748 | 561768.6667 | 15629.6616 | 1.307 | 0.87154
10798.602 | 4 | 613928 | 577695 | 587773 | 593132 | 15269.7246 | 1.3799 | 0.9202
14398.381 | 5 | 639248 | 603390 | 615967 | 619535 | 14854.7862 | 1.4414 | 0.96116
17998.154 | 6 | 663606 | 630495 | 639600 | 644567 | 13966.338 | 1.4996 | 1
21597.933 | 7 | 690526 | 651328 | 661355 | 667736.3333 | 16626.5222 | 1.5535 | 1.0359
25197.705 | 8 | 710886 | 674301 | 684374 | 689853.6667 | 15430.1786 | 1.605 | 1.0703
28797.478 | 9 | 735357 | 696742 | 708656 | 713585 | 16145.192 | 1.6602 | 1.1071
32397.257 | 10 | 757441 | 722780 | 729246 | 736489 | 15048.6327 | 1.7135 | 1.1426
35997.03 | 11 | 782050 | 743075 | 754050 | 759725 | 16409.6897 | 1.7675 | 1.1787
39596.805 | 12 | 804675 | 766335 | 778327 | 783112.3333 | 16013.8161 | 1.8219 | 1.2149
43196.582 | 13 | 823612 | 790190 | 794301 | 802701 | 14881.2527 | 1.8675 | 1.2453
46796.355 | 14 | 844980 | 811563 | 819032 | 825191.6667 | 14320.8494 | 1.9198 | 1.2802
50396.13 | 15 | 869182 | 831687 | 837616 | 846161.6667 | 16456.8136 | 1.9686 | 1.3128
53995.903 | 16 | 887904 | 856083 | 861976 | 868654.3333 | 13822.5447 | 2.0209 | 1.3477
57595.68 | 17 | 907943 | 870291 | 879680 | 885971.3333 | 16002.1651 | 2.0612 | 1.3745
61195.457 | 18 | 928038 | 891287 | 898215 | 905846.6667 | 15944.5028 | 2.1075 | 1.4054
64795.233 | 19 | 953737 | 916723 | 918884 | 929781.3333 | 16962.1727 | 2.1632 | 1.4425
68395.007 | 20 | 977098 | 940164 | 945853 | 954371.6667 | 16236.9096 | 2.2204 | 1.4806
71994.782 | 21 | 999546 | 961372 | 972732 | 977883.3333 | 16004.4941 | 2.2751 | 1.5171
75594.561 | 22 | 1011793 | 980383 | 981830 | 991335.3333 | 14477.8117 | 2.3064 | 1.538
79194.332 | 23 | 1026504 | 995117 | 999129 | 1006916.6667 | 13946.8457 | 2.3426 | 1.5622
82794.108 | 24 | 1058905 | 1021484 | 1024965 | 1035118 | 16879.8769 | 2.4082 | 1.6059
86393.885 | 25 | 1071310 | 1038206 | 1045050 | 1051522 | 14268.4685 | 2.4464 | 1.6314
89993.662 | 26 | 1089569 | 1052405 | 1052174 | 1064716 | 17573.9779 | 2.4771 | 1.6518
93593.435 | 27 | 1095152 | 1058891 | 1060804 | 1071615.6667 | 16661.015 | 2.4931 | 1.6625
97193.21 | 28 | 1101586 | 1070129 | 1067533 | 1079749.3333 | 15477.1835 | 2.5121 | 1.6752
100792.988 | 29 | 1114837 | 1075701 | 1078950 | 1089829.3333 | 17732.7671 | 2.5355 | 1.6908
104392.762 | 30 | 1121555 | 1084464 | 1090905 | 1098974.6667 | 16181.7842 | 2.5568 | 1.705
107992.537 | 31 | 1132645 | 1095469 | 1098407 | 1108840.3333 | 16875.1213 | 2.5797 | 1.7203
111592.308 | 32 | 1140406 | 1103654 | 1109248 | 1117769.3333 | 16168.6367 | 2.6005 | 1.7341
115192.085 | 33 | 1146303 | 1110603 | 1115733 | 1124213 | 15759.7652 | 2.6155 | 1.7441
118791.863 | 34 | 1155186 | 1119170 | 1124883 | 1133079.6667 | 15804.5789 | 2.6361 | 1.7579
122391.637 | 35 | 1165203 | 1129251 | 1127160 | 1140538 | 17461.6673 | 2.6535 | 1.7695
125991.412 | 36 | 1174496 | 1137229 | 1141417 | 1151047.3333 | 16668.6295 | 2.6779 | 1.7858
129591.187 | 37 | 1179365 | 1143331 | 1142343 | 1155013 | 17224.1877 | 2.6872 | 1.7919
133190.963 | 38 | 1187145 | 1151587 | 1155038 | 1164590 | 16010.8998 | 2.7094 | 1.8068
136790.738 | 39 | 1195682 | 1157153 | 1157895 | 1170243.3333 | 17990.4042 | 2.7226 | 1.8155
140390.513 | 40 | 1199559 | 1159284 | 1160386 | 1173076.3333 | 18731.4767 | 2.7292 | 1.8199
143990.289 | 41 | 1207401 | 1169940 | 1172218 | 1183186.3333 | 17147.5923 | 2.7527 | 1.8356
147590.064 | 42 | 1214631 | 1177036 | 1179892 | 1190519.6667 | 17089.1092 | 2.7698 | 1.847
151189.839 | 43 | 1227832 | 1189053 | 1188986 | 1201957 | 18296.4084 | 2.7964 | 1.8648
154789.617 | 44 | 1242341 | 1207282 | 1212633 | 1220752 | 15421.2406 | 2.8401 | 1.8939
158389.392 | 45 | 1261697 | 1222754 | 1229319 | 1237923.3333 | 17022.8322 | 2.8801 | 1.9206
161989.167 | 46 | 1275214 | 1234634 | 1240053 | 1249967 | 17988.8789 | 2.9081 | 1.9392
165588.943 | 47 | 1282980 | 1245317 | 1246809 | 1258368.6667 | 17413.4969 | 2.9276 | 1.9523
169188.718 | 48 | 1280386 | 1246018 | 1253560 | 1259988 | 14748.5422 | 2.9314 | 1.9548
172788.5 | 49 | 1286392 | 1248140 | 1252519 | 1262350.3333 | 17093.7652 | 2.9369 | 1.9584
176388.269 | 50 | 1280645 | 1245391 | 1246724 | 1257586.6667 | 16313.783 | 2.9258 | 1.9511
179988.044 | 51 | 1277201 | 1238394 | 1243920 | 1253171.6667 | 17140.4165 | 2.9155 | 1.9442
183587.82 | 52 | 1267143 | 1233455 | 1232615 | 1244404.3333 | 16082.322 | 2.8951 | 1.9306
187187.595 | 53 | 1264627 | 1230486 | 1231562 | 1242225 | 15846.6957 | 2.8901 | 1.9272
190787.372 | 54 | 1260164 | 1225119 | 1233368 | 1239550.3333 | 14960.0343 | 2.8838 | 1.9231
194387.148 | 55 | 1257146 | 1223602 | 1228980 | 1236576 | 14709.9603 | 2.8769 | 1.9185
197986.931 | 56 | 1257496 | 1224967 | 1225111 | 1235858 | 15300.4895 | 2.8753 | 1.9173
201586.701 | 57 | 1253419 | 1221131 | 1223529 | 1232693 | 14688.1564 | 2.8679 | 1.9124
205186.474 | 58 | 1250350 | 1220616 | 1219456 | 1230140.6667 | 14298.0014 | 2.862 | 1.9085
208786.238 | 59 | 1251030 | 1219211 | 1217194 | 1229145 | 15496.9242 | 2.8596 | 1.9069
212386.014 | 60 | 1245145 | 1221440 | 1216948 | 1227844.3333 | 12370.1069 | 2.8566 | 1.9049
215985.793 | 61 | 1242215 | 1219071 | 1213301 | 1224862.3333 | 12494.2522 | 2.8497 | 1.9003
219585.565 | 62 | 1237979 | 1221199 | 1214785 | 1224654.3333 | 9779.056 | 2.8492 | 1.9
223185.342 | 63 | 1232731 | 1211929 | 1203660 | 1216106.6667 | 12230.3021 | 2.8293 | 1.8867
223185.342 | 64 | 1225817 | 1213750 | 1204150 | 1214572.3333 | 8864.6074 | 2.8257 | 1.8843
223185.342 | 65 | 1220613 | 1207222 | 1199102 | 1208979 | 8869.2753 | 2.8127 | 1.8756
223185.342 | 66 | 1217525 | 1204461 | 1200054 | 1207346.6667 | 7418.6371 | 2.8089 | 1.8731
223185.342 | 67 | 1217673 | 1205245 | 1200032 | 1207650 | 7399.9657 | 2.8096 | 1.8736
223185.342 | 68 | 1219584 | 1207558 | 1203102 | 1210081.3333 | 6961.2973 | 2.8153 | 1.8774
223185.342 | 69 | 1217627 | 1206137 | 1197418 | 1207060.6667 | 8276.1018 | 2.8083 | 1.8727
223185.342 | 70 | 1210807 | 1202731 | 1193378 | 1202305.3333 | 7121.7228 | 2.7972 | 1.8653
223185.342 | 71 | 1204814 | 1202364 | 1195980 | 1201052.6667 | 3723.7602 | 2.7943 | 1.8633
223185.342 | 72 | 1196052 | 1199796 | 1189316 | 1195054.6667 | 4336.1738 | 2.7803 | 1.854
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 02 V6
HCT 116 M4KO 02 + PB M4 V6
5,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 403209 | 351076 | 397371 | 383885.3333 | 23321.8042 | 1 | 0.65594
3599.067 | 2 | 480911 | 426736 | 480149 | 462598.6667 | 25360.6428 | 1.205 | 0.79043
7198.845 | 3 | 523713 | 466456 | 521716 | 503961.6667 | 26533.0395 | 1.3128 | 0.86111
10798.602 | 4 | 551817 | 493920 | 549011 | 531582.6667 | 26656.1532 | 1.3847 | 0.9083
14398.381 | 5 | 578755 | 521591 | 579024 | 559790 | 27010.9952 | 1.4582 | 0.9565
17998.154 | 6 | 607846 | 544908 | 602988 | 585247.3333 | 28593.0808 | 1.5245 | 1
21597.933 | 7 | 629561 | 567884 | 626684 | 608043 | 28420.981 | 1.5839 | 1.039
25197.705 | 8 | 649871 | 589063 | 647817 | 628917 | 28193.5065 | 1.6383 | 1.0746
28797.478 | 9 | 676608 | 612203 | 671782 | 653531 | 29289.6484 | 1.7024 | 1.1167
32397.257 | 10 | 698042 | 635323 | 693806 | 675723.6667 | 28619.8803 | 1.7602 | 1.1546
35997.03 | 11 | 722361 | 655551 | 717132 | 698348 | 30337.249 | 1.8192 | 1.1933
39596.805 | 12 | 746517 | 678435 | 741435 | 722129 | 30965.905 | 1.8811 | 1.2339
43196.582 | 13 | 769583 | 698989 | 762220 | 743597.3333 | 31685.7591 | 1.937 | 1.2706
46796.355 | 14 | 790706 | 717964 | 781037 | 763235.6667 | 32254.3562 | 1.9882 | 1.3041
50396.13 | 15 | 811214 | 738569 | 806064 | 785282.3333 | 33098.1597 | 2.0456 | 1.3418
53995.903 | 16 | 832512 | 761585 | 823247 | 805781.3333 | 31479.5909 | 2.099 | 1.3768
57595.68 | 17 | 851187 | 780231 | 846152 | 825856.6667 | 32327.6342 | 2.1513 | 1.4111
61195.457 | 18 | 875194 | 802355 | 864632 | 847393.6667 | 32137.7253 | 2.2074 | 1.4479
64795.233 | 19 | 895369 | 823873 | 884325 | 867855.6667 | 31425.5598 | 2.2607 | 1.4829
68395.007 | 20 | 920049 | 844473 | 909498 | 891340 | 33418.7339 | 2.3219 | 1.523
71994.782 | 21 | 942299 | 869795 | 932798 | 914964 | 32173.9664 | 2.3834 | 1.5634
75594.561 | 22 | 960657 | 890578 | 952163 | 934466 | 31226.6384 | 2.4342 | 1.5967
79194.332 | 23 | 978513 | 902066 | 966600 | 949059.6667 | 33583.5617 | 2.4722 | 1.6216
82794.108 | 24 | 1005542 | 929464 | 997586 | 977530.6667 | 34143.1088 | 2.5464 | 1.6703
86393.885 | 25 | 1026025 | 949139 | 1015438 | 996867.3333 | 34024.6626 | 2.5968 | 1.7033
89993.662 | 26 | 1034077 | 964044 | 1022628 | 1006916.3333 | 30673.5241 | 2.623 | 1.7205
93593.435 | 27 | 1046329 | 972037 | 1037256 | 1018540.6667 | 33091.0168 | 2.6532 | 1.7404
97193.21 | 28 | 1057927 | 986083 | 1042443 | 1028817.6667 | 30872.0733 | 2.68 | 1.7579
100792.988 | 29 | 1066838 | 996471 | 1056643 | 1039984 | 31048.5682 | 2.7091 | 1.777
104392.762 | 30 | 1082504 | 1008951 | 1063804 | 1051753 | 31213.5751 | 2.7398 | 1.7971
107992.537 | 31 | 1093203 | 1020109 | 1080289 | 1064533.6667 | 31852.327 | 2.7731 | 1.8189
111592.308 | 32 | 1102457 | 1028529 | 1089040 | 1073342 | 32157.5051 | 2.796 | 1.834
115192.085 | 33 | 1112761 | 1041686 | 1098500 | 1084315.6667 | 30700.8186 | 2.8246 | 1.8527
118791.863 | 34 | 1121719 | 1050500 | 1104093 | 1092104 | 30285.7346 | 2.8449 | 1.8661
122391.637 | 35 | 1132690 | 1061408 | 1115986 | 1103361.3333 | 30439.2021 | 2.8742 | 1.8853
125991.412 | 36 | 1138798 | 1073863 | 1126280 | 1112980.3333 | 28128.2706 | 2.8993 | 1.9017
129591.187 | 37 | 1146580 | 1079409 | 1133626 | 1119871.6667 | 29096.0716 | 2.9172 | 1.9135
133190.963 | 38 | 1160296 | 1088207 | 1144438 | 1130980.3333 | 30930.4335 | 2.9461 | 1.9325
136790.738 | 39 | 1168836 | 1098036 | 1146382 | 1137751.3333 | 29541.2289 | 2.9638 | 1.9441
140390.513 | 40 | 1170222 | 1104695 | 1154586 | 1143167.6667 | 27943.1647 | 2.9779 | 1.9533
143990.289 | 41 | 1181378 | 1114524 | 1167611 | 1154504.3333 | 28823.6345 | 3.0074 | 1.9727
147590.064 | 42 | 1188387 | 1126903 | 1176196 | 1163828.6667 | 26580.4911 | 3.0317 | 1.9886
151189.839 | 43 | 1208033 | 1142690 | 1184046 | 1178256.3333 | 26988.4802 | 3.0693 | 2.0133
154789.617 | 44 | 1222453 | 1156220 | 1205249 | 1194640.6667 | 28060.7095 | 3.112 | 2.0413
158389.392 | 45 | 1238617 | 1170481 | 1221161 | 1210086.3333 | 28897.6909 | 3.1522 | 2.0676
161989.167 | 46 | 1249978 | 1187342 | 1236170 | 1224496.6667 | 26870.2705 | 3.1897 | 2.0923
165588.943 | 47 | 1260695 | 1197193 | 1244301 | 1234063 | 26916.3951 | 3.2147 | 2.1086
169188.718 | 48 | 1264515 | 1200181 | 1244625 | 1236440.3333 | 26894.3298 | 3.2209 | 2.1127
172788.5 | 49 | 1271596 | 1208217 | 1251250 | 1243687.6667 | 26421.1541 | 3.2397 | 2.1251
176388.269 | 50 | 1265603 | 1204816 | 1244223 | 1238214 | 25177.3166 | 3.2255 | 2.1157
179988.044 | 51 | 1265394 | 1207414 | 1239446 | 1237418 | 23713.6344 | 3.2234 | 2.1144
183587.82 | 52 | 1260431 | 1197944 | 1237716 | 1232030.3333 | 25825.0705 | 3.2094 | 2.1051
187187.595 | 53 | 1259738 | 1198311 | 1233448 | 1230499 | 25164.0158 | 3.2054 | 2.1025
190787.372 | 54 | 1256384 | 1198875 | 1232152 | 1229137 | 23574.5476 | 3.2018 | 2.1002
194387.148 | 55 | 1255292 | 1196649 | 1234577 | 1228839.3333 | 24282.2428 | 3.2011 | 2.0997
197986.931 | 56 | 1254890 | 1199680 | 1234813 | 1229794.3333 | 22817.0446 | 3.2035 | 2.1013
201586.701 | 57 | 1252863 | 1200907 | 1232524 | 1228764.6667 | 21376.8711 | 3.2009 | 2.0996
205186.474 | 58 | 1252158 | 1202130 | 1232451 | 1228913 | 20576.496 | 3.2013 | 2.0998
208786.238 | 59 | 1250347 | 1199420 | 1232550 | 1227439 | 21102.6313 | 3.1974 | 2.0973
212386.014 | 60 | 1253141 | 1203045 | 1233790 | 1229992 | 20627.1812 | 3.2041 | 2.1017
215985.793 | 61 | 1254472 | 1206183 | 1235426 | 1232027 | 19859.8721 | 3.2094 | 2.1051
219585.565 | 62 | 1252264 | 1200725 | 1229445 | 1227478 | 21086.63 | 3.1975 | 2.0974
223185.342 | 63 | 1244791 | 1204426 | 1229695 | 1226304 | 16652.4766 | 3.1945 | 2.0954
223185.342 | 64 | 1240939 | 1202050 | 1224737 | 1222575.3333 | 15949.7791 | 3.1847 | 2.089
223185.342 | 65 | 1228257 | 1197759 | 1220265 | 1215427 | 12912.1825 | 3.1661 | 2.0768
223185.342 | 66 | 1230326 | 1198783 | 1212102 | 1213737 | 12929.1694 | 3.1617 | 2.0739
223185.342 | 67 | 1226808 | 1201711 | 1216156 | 1214891.6667 | 10284.7381 | 3.1647 | 2.0759
223185.342 | 68 | 1229309 | 1204945 | 1222404 | 1218886 | 10252.914 | 3.1751 | 2.0827
223185.342 | 69 | 1221585 | 1205570 | 1214315 | 1213823.3333 | 6547.3332 | 3.1619 | 2.074
223185.342 | 70 | 1220312 | 1203829 | 1212581 | 1212240.6667 | 6733.4584 | 3.1578 | 2.0713
223185.342 | 71 | 1211237 | 1206964 | 1207165 | 1208455.3333 | 1968.6463 | 3.148 | 2.0649
223185.342 | 72 | 1207467 | 1202490 | 1205907 | 1205288 | 2078.4615 | 3.1397 | 2.0595
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KO 02 empty
HCT 116 M4KO 02 + PB empty
10,000 cells/well
time | time h |  |  |  | mean | SD | norm | norm 5h
0 | 1 | 606495 | 591832 | 533287 | 577204.6667 | 31626.1703 | 1 | 0.71418
3599.067 | 2 | 696303 | 684338 | 616011 | 665550.6667 | 35368.7643 | 1.1531 | 0.82349
7198.845 | 3 | 746570 | 732551 | 665256 | 714792.3333 | 35491.9646 | 1.2384 | 0.88441
10798.602 | 4 | 778612 | 769185 | 699301 | 749032.6667 | 35375.5668 | 1.2977 | 0.92678
14398.381 | 5 | 811255 | 799607 | 729474 | 780112 | 36120.8551 | 1.3515 | 0.96524
17998.154 | 6 | 838635 | 828018 | 757975 | 808209.3333 | 35784.5065 | 1.4002 | 1
21597.933 | 7 | 863346 | 851140 | 780696 | 831727.3333 | 36427.0444 | 1.441 | 1.0291
25197.705 | 8 | 885107 | 874429 | 803123 | 854219.6667 | 36392.8283 | 1.4799 | 1.0569
28797.478 | 9 | 904211 | 896599 | 825258 | 875356 | 35560.679 | 1.5165 | 1.0831
32397.257 | 10 | 924124 | 915659 | 840206 | 893329.6667 | 37722.7343 | 1.5477 | 1.1053
35997.03 | 11 | 935513 | 931247 | 860176 | 908978.6667 | 34552.6159 | 1.5748 | 1.1247
39596.805 | 12 | 955884 | 944908 | 873467 | 924753 | 36540.4661 | 1.6021 | 1.1442
43196.582 | 13 | 967221 | 955815 | 885658 | 936231.3333 | 36062.6376 | 1.622 | 1.1584
46796.355 | 14 | 982401 | 970262 | 901418 | 951360.3333 | 35660.5882 | 1.6482 | 1.1771
50396.13 | 15 | 994117 | 985283 | 912946 | 964115.3333 | 36361.4759 | 1.6703 | 1.1929
53995.903 | 16 | 1006789 | 995506 | 929135 | 977143.3333 | 34258.1044 | 1.6929 | 1.209
57595.68 | 17 | 1019024 | 1007300 | 938523 | 988282.3333 | 35509.2146 | 1.7122 | 1.2228
61195.457 | 18 | 1031431 | 1019433 | 952781 | 1001215 | 34596.5053 | 1.7346 | 1.2388
64795.233 | 19 | 1045916 | 1031085 | 964804 | 1013935 | 35264.5338 | 1.7566 | 1.2545
68395.007 | 20 | 1066275 | 1052293 | 985264 | 1034610.6667 | 35357.1701 | 1.7925 | 1.2801
71994.782 | 21 | 1076211 | 1064592 | 1001257 | 1047353.3333 | 32938.3692 | 1.8145 | 1.2959
75594.561 | 22 | 1077377 | 1073120 | 1007255 | 1052584 | 32099.5243 | 1.8236 | 1.3024
79194.332 | 23 | 1083795 | 1077646 | 1010427 | 1057289.3333 | 33231.6241 | 1.8317 | 1.3082
82794.108 | 24 | 1102977 | 1098461 | 1030243 | 1077227 | 33273.8211 | 1.8663 | 1.3329
86393.885 | 25 | 1107062 | 1105174 | 1038720 | 1083652 | 31781.0699 | 1.8774 | 1.3408
89993.662 | 26 | 1107490 | 1101957 | 1044418 | 1084621.6667 | 28517.8848 | 1.8791 | 1.342
93593.435 | 27 | 1098725 | 1097846 | 1040234 | 1078935 | 27368.0923 | 1.8692 | 1.335
97193.21 | 28 | 1091108 | 1089534 | 1034957 | 1071866.3333 | 26106.7492 | 1.857 | 1.3262
100792.988 | 29 | 1091808 | 1086969 | 1035857 | 1071544.6667 | 25312.1992 | 1.8564 | 1.3258
104392.762 | 30 | 1087937 | 1086093 | 1032703 | 1068911 | 25613.9875 | 1.8519 | 1.3226
107992.537 | 31 | 1088524 | 1080940 | 1033185 | 1067549.6667 | 24495.9452 | 1.8495 | 1.3209
111592.308 | 32 | 1085021 | 1078967 | 1027308 | 1063765.3333 | 25897.4335 | 1.843 | 1.3162
115192.085 | 33 | 1071800 | 1072527 | 1023533 | 1055953.3333 | 22926.5587 | 1.8294 | 1.3065
118791.863 | 34 | 1072426 | 1065555 | 1019990 | 1052657 | 23268.7534 | 1.8237 | 1.3025
122391.637 | 35 | 1068062 | 1057945 | 1015755 | 1047254 | 22652.8684 | 1.8144 | 1.2958
125991.412 | 36 | 1066205 | 1053311 | 1012578 | 1044031.3333 | 22855.3122 | 1.8088 | 1.2918
129591.187 | 37 | 1053346 | 1047727 | 1007703 | 1036258.6667 | 20321.7923 | 1.7953 | 1.2822
133190.963 | 38 | 1053422 | 1044988 | 1005061 | 1034490.3333 | 21092.6106 | 1.7922 | 1.28
136790.738 | 39 | 1046053 | 1036891 | 1002474 | 1028472.6667 | 18760.4826 | 1.7818 | 1.2725
140390.513 | 40 | 1039235 | 1033257 | 989391 | 1020627.6667 | 22222.0781 | 1.7682 | 1.2628
143990.289 | 41 | 1033506 | 1027514 | 992036 | 1017685.3333 | 18301.0426 | 1.7631 | 1.2592
147590.064 | 42 | 1028289 | 1024987 | 989664 | 1014313.3333 | 17481.7624 | 1.7573 | 1.255
151189.839 | 43 | 1025154 | 1023433 | 988665 | 1012417.3333 | 16810.1252 | 1.754 | 1.2527
154789.617 | 44 | 1032500 | 1028670 | 993321 | 1018163.6667 | 17635.8686 | 1.764 | 1.2598
158389.392 | 45 | 1034018 | 1031747 | 997849 | 1021204.6667 | 16540.9539 | 1.7692 | 1.2635
161989.167 | 46 | 1033541 | 1030152 | 1000419 | 1021370.6667 | 14879.5292 | 1.7695 | 1.2637
165588.943 | 47 | 1029744 | 1026834 | 993995 | 1016857.6667 | 16209.9387 | 1.7617 | 1.2582
169188.718 | 48 | 1019326 | 1015389 | 983435 | 1006050 | 16071.7902 | 1.743 | 1.2448
172788.5 | 49 | 1010048 | 1006258 | 977062 | 997789.3333 | 14737.8828 | 1.7287 | 1.2346
176388.269 | 50 | 992065 | 994857 | 959187 | 982036.3333 | 16197.0747 | 1.7014 | 1.2151
179988.044 | 51 | 977350 | 981080 | 945575 | 968001.6667 | 15930.992 | 1.6771 | 1.1977
183587.82 | 52 | 962893 | 964058 | 929237 | 952062.6667 | 16147.1896 | 1.6494 | 1.178
187187.595 | 53 | 951834 | 956073 | 917865 | 941924 | 17100.0758 | 1.6319 | 1.1654
190787.372 | 54 | 942063 | 939427 | 901652 | 927714 | 18460.011 | 1.6073 | 1.1479
194387.148 | 55 | 928665 | 930192 | 893002 | 917286.3333 | 17182.9289 | 1.5892 | 1.135
197986.931 | 56 | 922475 | 917440 | 884164 | 908026.3333 | 16997.9611 | 1.5731 | 1.1235
201586.701 | 57 | 910908 | 910296 | 873260 | 898154.6667 | 17604.9606 | 1.556 | 1.1113
205186.474 | 58 | 898650 | 903697 | 862296 | 888214.3333 | 18442.4882 | 1.5388 | 1.099
208786.238 | 59 | 889027 | 894870 | 851827 | 878574.6667 | 19063.2879 | 1.5221 | 1.0871
212386.014 | 60 | 883686 | 887102 | 844127 | 871638.3333 | 19503.3734 | 1.5101 | 1.0785
215985.793 | 61 | 876987 | 876751 | 835349 | 863029 | 19572.9528 | 1.4952 | 1.0678
219585.565 | 62 | 867414 | 864365 | 828927 | 853568.6667 | 17468.6939 | 1.4788 | 1.0561
223185.342 | 63 | 858015 | 856293 | 820803 | 845037 | 17150.44 | 1.464 | 1.0456
223185.342 | 64 | 849051 | 845386 | 810453 | 834963.3333 | 17395.8881 | 1.4466 | 1.0331
223185.342 | 65 | 837597 | 837575 | 804682 | 826618 | 15511.097 | 1.4321 | 1.0228
223185.342 | 66 | 832181 | 829184 | 799982 | 820449 | 14523.9818 | 1.4214 | 1.0151
223185.342 | 67 | 830727 | 827341 | 794395 | 817487.6667 | 16387.3872 | 1.4163 | 1.0115
223185.342 | 68 | 829434 | 824543 | 792408 | 815461.6667 | 16423.2382 | 1.4128 | 1.009
223185.342 | 69 | 820595 | 817747 | 784326 | 807556 | 16467.1886 | 1.3991 | 0.99919
223185.342 | 70 | 815009 | 813546 | 778653 | 802402.6667 | 16804.168 | 1.3902 | 0.99282
223185.342 | 71 | 809884 | 808090 | 775728 | 797900.6667 | 15695.5401 | 1.3824 | 0.98725
223185.342 | 72 | 804502 | 805436 | 769826 | 793254.6667 | 16570.9566 | 1.3743 | 0.9815
223185.342 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Sheet5
1304