## Droplet size distributions Hail
This spreadsheet of meta-data pertaining to hydrometeor data sets is compiled under IEA Wind Task 4 Workpackage 2.
The accompanying report is: Pryor S.C. et al. Atmospheric drivers of wind turbine blade leading edge erosion: Hydrometeors. IEA Wind TCP Technical Report.
Country | Data access | Agency | Time period (start: YYYYMM - end: YYYYMM) | Instrumentation | Measurement location description | Latitude (N) | Longitude (E) | Time resolution | Data format | Hail presence reported | Colocated Wind Speed Measurements
Canada | Contact: Marianne Rodgers; mariann.rodgers@weican.ca | Wind Energy Institute of Canada | 201810 - 202012 | Campbell Scientific Present Weather Sensor (PWS100) | North Cape, Prince Edward Island | 47.0362 | -64.0149 | 1 minute | AF, data can be extracted in xlsx format | N | y
Denmark | https://doi.org/10.11583/DTU.14501592 | DTU Wind Energy | 201803-202104 | OTT Parsivel2 | Risø, Denmark - on the ground next to the tall met mast | 55.6942 | 12.0885 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501601.v1 | DTU Wind Energy | 201812-202104 | OTT Parsivel2 | Risø, Denmark - on the top of the tall met mast | 55.6942 | 12.0885 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501610.v1 | DTU Wind Energy | 202008-202104 | OTT Parsivel2 | Risø, Denmark - on the ground next to the V52 met mast | 55.687 | 12.0956 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501619.v1 | DTU Wind Energy | 201805-202009 | OTT Parsivel2 | Rødsand - offshore wind farm, Denmark | 54.55 | 11.71 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501568.v1 | DTU Wind Energy | 201902-202002 | OTT Parsivel2 | Horns Rev 3 - offshore wind farm 55.690056/7.686529 | 55.6901 | 7.6865 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501574.v1 | DTU Wind Energy | 201804-201910 | OTT Parsivel2 | Hvide Sande, Denmark | 56.0072 | 8.1413 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501625.v1 | DTU Wind Energy | 201805-201910 | OTT Parsivel2 | Thyborøn, Denmark | 56.7068 | 8.215 | 1 minute | netCDF | Y | y
Denmark | https://doi.org/10.11583/DTU.14501631.v1 | DTU Wind Energy | 201801-201910 | OTT Parsivel2 | Voulund, Denmark | 56.0372 | 9.1594 | 1 minute | netCDF | Y | y
Denmark | Contact: Marijn Veraart; MARIV@orsted.dk | Ørsted Wind Power | 201901 ongoing | OTT Parsivel2 | Horns Rev, Denmark | 55.6901 | 7.6865 | 1 minute | txt | Y | y
Greenland | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | 201705-201708 | Micro Rain Radar (METEK MRR-2) | Greenland (EastGrip) | 75.6268 | 35.9915 | 10 sec | netCDF | Y | N
Iceland/Greenland Sea | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | 201802-301803 | Micro Rain Radar (METEK MRR-2) | Iceland Greenland Sea | 64.1500-75.7378 | 28.3954 -2.8973 | 10 sec | netCDF | Y | N
Norway | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | From 2010 (some longer gaps) | Micro Rain Radar (METEK MRR-2) | Bergen, Norway | 60.3837 | 5.3319 | 1 min (2010-2014), 10 sec (from 2015) | netCDF | Y | N
Norway | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | From 2016 | Parsivel2 | Bergen, Norway | 60.3837 | 5.3319 | 1 minute | netCDF | Y | N
Norway | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | 202003-202005 | Micro Rain Radar (METEK MRR-2) | Finse, Norway | 60.5936 | 7.5245 | 10 sec | netCDF | Y | N
Norway | TBA (2021 or 2022) via: https://veret.gfi.uib.no/?action=download, contact stephan.kral@uib.no | Geophysical Institute, University of Bergen | 202103-202103 | Micro Rain Radar (METEK MRR-2) | Andenes, Norway | 69.2958 | 16.0302 | 10 sec | netCDF | Y | N
Taiwan | Contact: Marijn Veraart; MARIV@orsted.dk | Ørsted Wind Power | 201809-201912 | OTT Parsivel2 | Formosa, Taiwan | 24.6911 | 120.8165 | 1 minute | txt | N | Y
UK | https://ore.catapult.org.uk/ | ORE Catapult | 201808 ongoing | 2 x Campbell Scientific PWS100 | 3 nautical miles from the coast of Blyth, Northumberland | 55.1464 | -1.4209 | 1 minute | Summary data can be provided in figures or .txt files | Y | Y
UK | https://ore.catapult.org.uk/ | ORE Catapult | 202009 ongoing | Campbell Scientific PWS100 | Fife coast | 56.1737 | 3.0192 | 1 minute | Summary data can be provided in figures or .txt files | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf45 | NERC (UK) (registration required) | 201702-201909 | Thies LPM | Chilbolton | 51.1455 | -1.4396 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf46 | NERC (UK) (registration required) | 201702-201910 | Thies LPM | RUAO | 51.4415 | −0.9376 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf47 | NERC (UK) (registration required) | 201702-201911 | Thies LPM | Cranfield | 52.0744 | −0.6252 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf48 | NERC (UK) (registration required) | 201702-201912 | Thies LPM | Weybourne | 52.9505 | 1.1218 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf49 | NERC (UK) (registration required) | 201702-201913 | Thies LPM | Aberystwyth | 52.4248 | −4.0045 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf50 | NERC (UK) (registration required) | 201702-201914 | Thies LPM | Lancaster | 54.0138 | −2.7749 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf51 | NERC (UK) (registration required) | 201702-201915 | Thies LPM | Edinburgh | 55.9217 | −3.1745 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf52 | NERC (UK) (registration required) | 201702-201916 | Thies LPM | Laurieston | 54.9614 | −4.0605 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf53 | NERC (UK) (registration required) | 201702-201917 | Thies LPM | Holme Moss | 53.5335 | −1.8574 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf54 | NERC (UK) (registration required) | 201702-201918 | Thies LPM | Cairngorm | 57.1269 | −3.6628 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf55 | NERC (UK) (registration required) | 201702-201919 | Thies LPM | Feshie | 57.0063 | −3.8550 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf56 | NERC (UK) (registration required) | 201702-201920 | Thies LPM | Dunkeswell | 50.8603 | −3.2398 | 1 minute | netCDF | Y | Y
UK | https://catalogue.ceda.ac.uk/uuid/602f11d9a2034dae9d0a7356f9aeaf57 | NERC (UK) (registration required) | 201702-201921 | Thies LPM | Coverhead | 54.2038 | −1.9849 | 1 minute | netCDF | Y | Y
USA | https://adc.arm.gov/discovery/#/results/instrument_class_code::disdrometer | U.S. Department of Energy | 200604 ongoing | Impact disdrometer | Southern Great Plains: Lamont | 36.6073 | -97.4876 | 1 minute | netCDF | Y | Y
USA | https://adc.arm.gov/discovery/#/results/instrument_class_code::disdrometer | U.S. Department of Energy | 201611 ongoing | OTT Parsivel2 | Southern Great Plains: Lamont | 36.6073 | -97.4876 | 5 minute | netCDF | Y | Y
USA | https://adc.arm.gov/discovery/#/results/instrument_class_code::disdrometer | U.S. Department of Energy | 201611 ongoing | OTT Parsivel2 | Southern Great Plains: Billings | 36.477 | -97.421 | 5 minute | netCDF | Y | Y
USA | Contact: Marijn Veraart; MARIV@orsted.dk | Ørsted Wind Power | 201911 ongoing | OTT Parsivel2 | Block Island | 41.1506 | -71.5754 | 1 minute | txt | Y | N
USA | Contact: Marijn Veraart; MARIV@orsted.dk | Ørsted Wind Power | 202007 202103 | IAV RF4 Acoustic Sensor | South Fork | 41.092 | -71.3112 | 1 minute | txt | Y | N
USA | Contact: Marijn Veraart; MARIV@orsted.dk | Ørsted Wind Power | 202106 ongoing | IAV RF4 Acoustic Sensor | Skipjack Wind Farm | 38.565 | -74.779 | 1 minute | txt | Y | N