F861 Datafiles YR 2010

This file contains information pertaining to the column headings for the files deployed from f861yr10.exe, when unzipped.  This file layout also contains other useful information on the fields and data presented.  The file names are File1_2010.xls, File1cao_2010.xls, File1a_2010.xls, File2_2010.xls, File3_2010.xls, File4_2010.xls, File5_2010.xls File6_2010.xls, File7_2010.xls, and File8_2010.xls.

The file F861yr10.exe is a file of data collected on the Form EIA-861, Annual Electric Power Industry Report, for the reporting period, calendar year 2010.   The zipped .exe file contains 10 .xls files, one Word file (Webfile layout) and a .pdf of the Form EIA-861.  The data file structure detailed here also applies to data files for recent prior years.  Years prior to 2007 do not include File1a, File7 and File8. In 2010, all DSM data was consolidated on to File3. Executable (and zip) files for years prior to 2004 do not contain file6 (distributed generation data).  Executable (and zip) files for 2001 do not contain file 5 (green pricing, net metering data).  Data for years prior to 2001 are described in the applicable file layout documentation.

- File1 contains aggregate operational data such as control area operators (years prior to 2005), energy balance, and revenue information from each electric utility in the country, including power marketers, and Federal power marketing administrations.

- File1_cao contains (2005 forward) data on control area operators.

- File1_a (2007 forward) contains data on the types of activities each utility engages in, the NERC regions of operation, the ISO or RTO region in which entity conducts operations (2010 forward), whether the utility generates power, and if it operates alternative-fueled vehicles

- File2 contains information on retail revenue, sales, and customer counts, by State and class of service (including the Transportation sector, new in 2003), for each electric distribution utility, or energy service provider in all 50 States, the District of Columbia, the Dominion of Puerto Rico, and the Territories of American Samoa, Guam, and the Virgin Islands.

- File3 contains information on electric utility demand-side management programs, including energy efficiency and load management effects and expenditures, and (2007 forward) the number of customers in time- and incentive-based rate programs (peak data is in megawatts for 2001 forward – in previous years the data are in kilowatts).

- File4 contains the names of the counties, by State, in which the respondent has equipment for the distribution of electricity to ultimate consumers.

- File5 contains aggregate data of the number of customers by State and customer class for Green Pricing and Net Metering programs, as well as (for 2007 forward) the revenue and sales from Green Pricing programs and the energy displaced by Net Metering programs, and (for 2010 forward) installed capacity by generation type: photovoltaic; wind; CHP/cogen; and other.

- File6 contains information on utility or customer-owned distributed and dispersed generation such as the number, capacity and types of generators. For 2010, we have added capacity by photovoltaic and storage generation types.

- File7 (2007 forward) contains data on mergers and acquisitions

- File8 (2007 forward) contains data on advanced meters.

Note: All sales, energy efficiency energy savings, and load management energy savings data are in megawatthours.   Summer and winter system peak and peak reduction data (actual and potential) in File 3 are in megawatts for 2001 forward and kilowatts for previous years, all revenue and expenditure data are in thousand-dollar units.

File1

| ## Column Headings |  |
| --- | --- |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: MAIL_STATE | State/Territory in which the utility (entity) is located |
| COL E: OWNERSHIP | Ownership Type: One of 10 different types of ownership categories: Federal; Political Subdivision; Municipal Marketing Authority; Cooperative; State; Municipal; Investor-Owned; Retail Power Marketer (Energy Service Provider); (Wholesale) Power Marketer; Transmission Company. “State” ownership refers to statewide organizations whose scope is larger than county level. |

| COL F: NERC_LOCATION | NERC Location: The North American Electric Reliability Corporation (NERC) region where the utility has its primary business operations (service territory), electrical generation, transmission, and distribution equipment, and its administrative headquarters. Some utilities have business operations and service areas in more than one NERC region. Power marketers, because they generally have only office equipment, can have business operations in any NERC region. FRCC = Florida Reliability Coordinating Council; MRO = Midwest Reliability Organization; NPCC = Northeast Power Coordinating Council; RFC = Reliability First Corporation (formerly MAAC, MAIN and ECAR); SERC = SERC Reliability Corporation; SPP = Southwest Power Pool, RE; TRE = Texas Regional Entity (formerly ERCOT); WECC = Western Electric Coordinating Council. AK = Alaska; AS = American Samoa; GU = Guam; HI = Hawaii; PR = Puerto Rico; VI = Virgin Islands. |
| --- | --- |
| COL G: PEAK_DEMAND_SUMMER | Summer Peak Demand: The one hour during the months of June, July, August or September when the utility sold the most power, including full and partial requirements wholesale consumers. Peak data is in megawatts (2000 and previous years in kilowatts). |
| COL H: PEAK_DEMAND_WINTER | Winter Peak Demand: The one hour during the months of December (prior), January, February, March (current year) when the utility sold the most power, including full and partial requirements wholesale consumers. Peak data is in megawatts (2000 and previous years in kilowatts). |
| COL I: NET_GENERATION | Net Generation: Gross generation minus plant use from all electric utility owned plants. Energy data is in megawatthours. |
| COL J: WHOLESALE_PURCHASES | Wholesale Power Purchases (in megawatthours): Energy purchased and supplied to other electric utilities, cooperatives, municipals, and Federal and state electric agencies for resale to ultimate consumers. |
| COL K: EXCHANGED_RECEIVED | Exchange Energy Received (in megawatthours): Specific energy transactions between electric utilities, where electricity received is returned in kind at a later time or accumulated as energy balances until the end of the stated period, after which settlement may be by monetary payment. This is the portion of energy reported as received. |

| COL L: EXCHANGED_DELIVERED | Exchange Energy Delivered (in megawatthours): Specific energy transactions between electric utilities, where electricity received is returned in kind at a later time or accumulated as energy balances until the end of the stated period, after which settlement may be by monetary payment. This is the portion of energy reported as delivered. |
| --- | --- |
| COL M: EXCHANGED_NET | Net Power Exchanged (in megawatthours): Specific energy transactions between electric utilities, where electricity received is returned in kind at a later time or accumulated as energy balances until the end of the stated period, after which settlement may be by monetary payment. This is the Net difference between the energy reported as received and delivered. |
| COL N: WHEELED_RECEIVED | Wheeled Power Received (in megawatthours): The reported volume of electricity received, transmitted over an electric utility’s system for compensation, which the electric utility received from one system and delivered to another system. |
| COL O: WHEELED_DELIVERED | Wheeled Power Delivered (in megawatthours): The reported volume of electricity delivered, transmitted over an electric utility’s system for compensation, which the electric utility received from one system and delivered to another system. |
| COL P: WHEELED_NET | Net Wheeled Power (in megawatthours): The reported net volume of electricity transmitted over an electric utility’s system for compensation, which the electric utility received from one system and delivered to another system. |
| COL Q: TRANSMISSION_BY_OTHERS_LOSSES | Transmission By Others Losses (in megawatthours): The amount of energy losses associated with the wheeling of electricity provided to the respondent’s system by other utilities. This should always be expressed as a negative value. |
| COL R: TOTAL_SOURCES | Total Sources (in megawatthours): The sum of all sources of energy (Sum of columns I through P). |
| COL S: RETAIL_SALES | Retail Sales (in megawatthours): Sales to ultimate consumers. The amount of electricity sold to customers purchasing electricity for their own use and not for resale. |
| COL T: SALES_FOR_RESALE | Sales For Resale (in megawatthours): Wholesale sales. The amount of electricity sold for resale purposes. This includes sales for resale to power marketers, full and partial requirements customers, firm power customers and nonfirm customers, and sales through tolling agreements. |
| COL U: FURNISHED_WITHOUT_CHARGE | Furnished Without Charge (in megawatthours): The amount of electricity furnished by the electric utility without charge, such as a municipality under a franchise agreement or for public street and highway lighting. This entry does not include data entered in Column V, Consumed_By_Respondent |
| COL V: CONSUMED_BY_RESPONDENT | Consumed By Respondent without charge (in megawatthours): The amount of electricity furnished by the electric utility without charge, such as to a municipality under a franchise agreement or for public street and highway lighting. This entry does not include data entered in Column U, Furnished_Without_Charge |
| COL W: TOTAL_LOSSES | Total Energy Losses (in megawatthours): The total amount of electricity lost from transmission, distribution, and/or unaccounted for (sum of columns S through V). This must be a positive number. |
| COL X: TOTAL_DISPOSITION | Total Disposition (in megawatthours): The total amount of electricity disposed (The difference between Column R “TOTAL_SOURCES” and the sum of columns S through W). |
| COL Y: RETAIL_REVENUES | Electric Operating Revenue from Sales to Ultimate Customers, Schedule 4, Parts A and B (in thousand dollars): The amount of revenue from sales of electricity to those customers purchasing electricity for their own use and not for resale. |
| COL Z: UNBUNDLED_REVENUES | Revenue from Unbundled (Delivery) Customers, Schedule 4, part C (in thousand dollars): The amount of revenue from unbundled customers who purchase their energy from a supplier other than the electric utility that distributes the power to their premises. This electric operating revenue does not include the charges for electric energy but does include the revenue required to cover power delivery. |
| COL AA: RESALE_REVENUES | Electric Operating Revenue from Sales for Resale (in thousand dollars): The amount of revenue from sales of electricity sold for resale purposes. This includes revenue from sales for resale to wholesale or retail power marketers, full and partial requirements customers (firm) and to nonrequirements (nonfirm) customers. |

| COL AB: REVENUE_CREDITS_AND_ADJUSTMENT | Electric Credits/Other Adjustments (in thousand dollars): Funds included in this entry consist of refunds to customers resulting from rate commission rulings delayed beyond the reporting year in which the funds were originally collected. This also includes revenue distributions to customers from rate stabilizations funds where the distribution occurred during the current reporting year but the funds were collected during the previous reporting years. |
| --- | --- |
| COL AC: TRANSMISSION_REVENUES | Amount of revenue derived from the transmission of electricity for others (wheeling) |
| COL AD: OTHER_REVENUES | Other Electric Operating Revenue (in thousand dollars): The amount of revenue received from electric activities other than selling electricity. This may include revenue from selling or servicing electric appliances, revenue from the sale of water and water power for irrigation, domestic, industrial or hydroelectric operations, revenue from electric plants leased to others, revenue from the transmission of electricity to others (wheeling), revenue from the sale of steam, but not including sales made by a steam heating department or transfers of steam under joint facility operations, revenue from interdepartmental rents or sale of electric property, revenue from late fees, penalties or reconnections, and revenue from interest. |
| COL AE: TOTAL_REVENUES | Total Electric Operating Revenues (in thousand dollars): The sum of columns Y through AD. |
| COL AF: DATA_TYPE | O=observed; I=imputed |

File1_CAO

| Column Headings: |  |
| --- | --- |
| COL A: YEAR | Data Year |
| COL B: UTILITY_ID | Utility ID Number |
| COL C: CONTROL_AREA_OPERATOR_CODE | ID Code of Control Area Operator |
| COL D: CONTROL_AREA_OPERATOR_NAME | Entity Name of Control Area Operator. The entity (usually electric utility) responsible for the application of a common, automatic generation and transmission control scheme within a specific electrically bordered area. Control Area Operators balance demand with available capacity, maintain system frequency and voltage within strict parameters and control power flows into, and out of, the region. A utility may have major electrical generation, transmission and distribution equipment in more than one control area. |

File1a (2007 forward)

| ## Column Headings |  |
| --- | --- |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: MAIL_STATE | State/Territory in which the utility (entity) is located |
| COL E: OWNERSHIP | Ownership Type: One of 10 different types of ownership categories: F=Federal; P=Political Subdivision; A=Municipal Marketing Authority; C=Cooperative; State; M=Municipal; I=Investor-Owned; R=Retail Power Marketer (Energy Service Provider); W=(Wholesale) Power Marketer; T=Transmission Company. S=State (ownership refers to statewide organizations whose scope is larger than county level). |
| COL F: NERC_LOCATION | NERC Location: The North American Electric Reliability Corporation (NERC) region where the utility has its primary business operations (service territory), electrical generation, transmission, and distribution equipment, and its administrative headquarters. Some utilities have business operations and service areas in more than one NERC region. Power marketers, because they generally have only office equipment, can have business operations in any NERC region. FRCC = Florida Reliability Coordinating Council; MRO = Midwest Reliability Organization; NPCC = Northeast Power Coordinating Council; RFC = Reliability First Corporation (formerly MAAC, MAIN and ECAR); SERC = SERC Reliability Corporation; SPP = Southwest Power Pool, RE; TRE = Texas Regional Entity (formerly ERCOT); WECC = Western Electric Coordinating Council. AK = Alaska; AS = American Samoa; GU = Guam; HI = Hawaii; PR = Puerto Rico; VI = Virgin Islands. |
| COL G: NERC_ERCOT | Entity conducts business operations within the TRE region (TRE=Texas Regional Entity (formerly ERCOT) (Y or N) |
| COL H: NERC_FRCC | Entity conducts business operations within the FRCC region (Y or N) |
| COL I: NERC_MRO | Entity conducts business operations within the MRO region (Y or N) |
| COL J: NERC_NPCC | Entity conducts business operations within the NPCC region (Y or N) |
| COL K: NERC_RFC | Entity conducts business operations within the RFC region (Y or N) |
| COL L: NERC_SERC | Entity conducts business operations within the SERC region (Y or N) |
| COL M: NERC_SPP | Entity conducts business operations within the SPP region (Y or N) |
| COL N: NERC_WECC | Entity conducts business operations within the WECC region (Y or N) |
| COL O: ISO_CA | Indicates that the organization conducts operations in the CA ISO region |
| COL P: ISO_ERCOT | Indicates that the organization conducts operations in the ERCOT ISO region |
| COL Q: RTO_PJM | Indicates that the organization conducts operations in the PJM RTO |
| COL R: ISO_NY | Indicates that the organization conducts operations in the NY ISO region |
| COL S: RTO_SPP | Indicates that the organization conducts operations in the SPP RTO. |
| COL T: ISO_MISO | Indicates that the organization conducts operations in the Midwest ISO region |
| COL U: ISO_NE | Indicates that the organization conducts operations in the New England ISO region |
| COL V: ISO_OTHER | Indicates that the organization conducts operations in another ISO region other than choices listed. |
| COL W: OPERATES_GENERATING_PLANT | Entity operates power generating plants (Y or N) |
| COL X: ACTIVITY_GENERATION | Entity engages in power generation activity (Y or N) |
| COL Y: ACTIVITY_TRANSMISSION | Entity engages in power transmission activity (Y or N) |
| COL Z: ACTIVITY_BUYING_TRANSMISSION | Entity buys transmission service (Y or N) |
| COL AA: ACTIVITY_DISTRIBUTION | Entity engages in power distribution activity (Y or N) |
| COL AB: ACTIVITY_BUYING_DISTRIBUTION | Entity buys distribution service (Y or N) |
| COL AC: ACTIVITY_WHOLESALE_MARKETING | Entity engages in wholesale power marketing (Y or N) |
| COL AD: ACTIVITY_RETAIL_MARKETING | Entity engages in retail power marketing (Y or N) |
| COL AE: ACTIVITY_BUNDLED_SERVICES | Entity provides bundled services (Y or N) |
| COL AF: ALT_FUEL_VEHICLE | Entity operated alternative-fueled vehicles during the year (Y or N) |
| COL AG: ALT_FUEL_VEHICLE2 | Entity plans to operate alternative-fueled vehicles next year (Y or N) |

## File2

| ## Column Headings |  |
| --- | --- |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) “99999” is not a utility ID; it represents an adjustment factor. |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: SCHED4PART | A=Bundled Service, B=Energy Only Service, C=Delivery Only Service, D=TX Energy Service Providers |
| COL E: SERVICE_TYPE | Provider Type. Designates electric service types as either Bundled (reported on Schedule 4 Part A or D), Energy (reported on Schedule 4 Part B) or Delivery (reported on Schedule 4 Part C). Total revenue nationally includes all components. |
| COL F: DATA_TYPE | O=observed, I=imputed |
| COL G: STATE_CODE | 2-digit State Code; also includes US Territories: AS = American Samoa; GU = Guam; PR = Puerto Rico; VI = Virgin Islands. |
| COL H: OWNERSHIP | Ownership Type: One of 10 different types of ownership categories: Federal; Political Subdivision; Municipal Marketing Authority; Cooperative; State; Municipal; Investor-Owned; Retail Power Marketer (Energy Service Provider); (Wholesale) Power Marketer; and Unregulated. “State” ownership refers to statewide organizations whose scope is larger than county level. |
| COL I: RESIDENTIAL_REVENUES | Revenues from residential customers (in thousands of dollars). Residential revenue is the billed amount. |
| COL J: RESIDENTIAL_SALES | Electricity sales to residential customers (in megawatthours). Residential sales is the billed amount. |
| COL K: RESIDENTIAL_CONSUMERS | Number of residential consumers (meters, or customer accounts). Note: Each residential customer in an aggregated account (as for a residential buying cooperative) should be counted as a separate customer, if metered separately. |
| COL L: COMMERCIAL_REVENUES | Revenues from commercial customers (in thousands of dollars). Commercial revenue is the billed amount including demand revenue. |
| COL M: COMMERCIAL_SALES | Electricity sales to commercial customers (in megawatthours). |
| COL N: COMMERCIAL_CONSUMERS | Number of commercial consumers (meters, or customer accounts). Note: Each location in an aggregated account (as all restaurants in a chain) should be counted as a separate customer, if metered separately. |
| COL O: INDUSTRIAL_REVENUES | Revenues from industrial customers (in thousands of dollars. Industrial revenue is the billed amount including demand revenue, reactive demand charges (if applicable), high-voltage discounts (if applicable), etc. |
| COL P: INDUSTRIAL_SALES | Electricity sales to industrial customers (in megawatthours) |
| COL Q: INDUSTRIAL_CONSUMERS | Number of industrial consumers (meters, or customer accounts). Note: Each facility is counted as one customer even if power is taken and metered at more than one point. |
| COL R: TRANSPORTATION_REVENUES | Transportation revenue. Beginning with the 2003 data cycle this sector replaces “Other” (thousand dollars). Revenues for the sales of power to electrified rail and urban transit systems whose primary propulsive energy source is electricity. |
| COL S: TRANSPORTATION_SALES | Transportation sales. Beginning with the 2003 data cycle this sector replaces “Other” (megawatthours). Sales of power to electrified rail and urban transit systems whose primary propulsive energy source is electricity. |
| COL T: TRANSPORTATION_CONSUMERS | Transportation consumers. Beginning with the 2003 data cycle this sector replaces “Other”. Customer counts for the sales of power to electrified rail and urban transit systems whose primary propulsive energy source is electricity. |
| COL U: TOTAL_REVENUES | Total revenues of all sectors |
| COL V: TOTAL_SALES | Total electricity consumed by all sectors (megawatthours) |
| COL W: TOTAL_CONSUMERS | Total number of consumers in all sectors |

## File3

Contains information on electric utility Demand-Side Management (DSM) program information, including Energy Efficiency and Load Management Effects and Expenditures.  Peak data is in megawatts for the periods 2001 through 2008. In previous years the data are in kilowatts. Energy savings are in megawatthours, actual and potential peak reductions are in megawatts, and expenditures are in thousand-dollar units.

Demand –Side Management Actual Effects are split into two categories across each sector type: Annualized Incremental Effects and Actual Annual Effects. The sectors are Residential, Commercial, Industrial, and Transportation (formerly “Other”, 2002 and prior years.)  Data elements for each are as follows: Energy Efficiency, comprised of Energy Effects (in megawatthours); and Actual Peak Reduction (in megawatts).

Load Management, comprised of Energy Effects (in megawatthours); Potential Peak Reduction (in megawatts); and Actual Peak Reduction (in megawatts).

Annualized Incremental Effects: The annual effects in energy use (measured in megawatthours) and peak load (measured in megawatts) caused by new participants in existing DSM programs and all participants in new DSM programs during a given year.  Reported incremental effects should be annualized to indicate the program effects that would have occurred had these participants been initiated into the program on January 1 of the given year.  Incremental effects are not simply the Annual Effects of a given year minus the Annual Effects of the prior year, since these net effects would fail to account for program attrition, degradation, demolition, and participant dropouts.

Actual Annual Effects: The total effects in energy use (measured in megawatthours) and peak load (measured in megawatts) caused by all participants in the DSM programs that are in effect during a given year.  It includes new and existing participants in existing programs (those implemented in prior years that are in place during the given year) and all participants in new programs (those implemented during the given year).  The effects of new participants in existing programs and all participants in new programs should be based on their start-up dates (i.e., if participants enter a program in July, only the effects from July to December should be reported).  If start-up dates are unknown and cannot be reasonably estimated, the effects can be annualized (i.e., assume the participants were initiated into the program on January 1 of the given year).  The Annual Effects should consider the useful life of efficiency measures, by accounting for building demolition, equipment degradation and attrition.

Energy Efficiency: Refers to programs that are aimed at reducing the energy used by specific end-use devices and systems, typically without affecting the services provided.  These programs reduce overall electricity consumption, often without explicit consideration for the timing of program-induced savings.  Such savings are generally achieved by substituting technically more advanced equipment to produce the same level of end-use services using less electricity.  Examples include high-efficiency appliances, efficient lighting programs, high efficiency heating, ventilating and air conditioning (HVAC) systems or control modifications, efficient building design, advanced electric motor drives, and heat recovery systems.

Energy Effects: The changes in aggregate electricity use (measured in megawatthours) for customers that participate in a utility DSM program.  Energy Effects should represent changes at the consumer meter (i.e. exclude transmission and distribution effects) and reflect only activities that are undertaken specifically in response to utility-administered programs, including those activities implemented by third parties under contract to the utility.  To the extent possible, Energy Effects should exclude non-program related effects such as changes in energy usage attributable to nonparticipants, government-mandated energy-efficiency standards that legislate improvements in building and appliance energy usage, changes in consumer behavior that result in greater energy use after initiation in a DSM program, the natural operations of the marketplace, and weather and business-cycle adjustments.

Actual Peak Load Reduction: The actual reduction in annual peak load (measured in megawatts) achieved by consumers that participate in a utility DSM program.  It reflects the real changes in the demand for electricity resulting from a utility DSM program that is in effect at the same time the utility experiences its annual peak load, as opposed to the installed peak load reduction capability (i.e., Potential Peak Load Reduction). It should account for the regular cycling of energy efficient units during the period of annual peak load.

Load Management: Refers to program activities that can interrupt consumer load at the time of annual peak load by direct control of the utility system operator by interrupting power supply to individual appliances or equipment on consumer premises.  This type of control usually involves residential consumers.

Energy Effects: The changes in aggregate electricity use (measured in megawatthours) for customers that participate in a utility Load Management program.  Energy Effects should represent changes at the consumer meter (i.e. exclude transmission and distribution effects) and reflect only activities that are undertaken specifically in response to utility-administered programs, including those activities implemented by third parties under contract to the utility.  To the extent possible, Energy Effects should exclude non-program related effects such as changes in energy usage attributable to nonparticipants, government-mandated energy-efficiency standards that legislate improvements in building and appliance energy usage, changes in consumer behavior that result in greater energy use after initiation in a Load Management program, the natural operations of the marketplace, and weather and business-cycle adjustments.

Potential Peak Reduction: The amount of peak load reduction capability (measured in megawatts) that can be deployed from Direct Load Control, Interruptible Load, Other Load Management, and other DSM Program activities. It represents the load that can be reduced either by the direct control of the utility system operator or by the consumer in response to a utility request to curtail load.  It reflects the installed load reduction capability, as opposed to the Actual Peak Reduction achieved by participants, during the time of annual system peak load.

Actual Peak Reduction: The actual reduction in annual peak load (measured in megawatts) achieved by consumers that participate in a utility DSM program. It reflects the real changes in demand for electricity resulting from a utility DSM program that is in effect at the same time the utility experiences its annual peak load, as opposed to the installed peak load reduction capability (i.e., Potential Peak Load Reduction).

Direct Costs, excluding incentive payments - Energy Efficiency: The cost for implementing energy efficiency programs (in thousand dollars) incurred by the utility.

Direct Costs, excluding incentive payments – Load Management: The cost for implementing load management programs (in thousand dollars) incurred by the utility.

Incentive Payment Energy Efficiency: Payment by the utility to the customer (in thousand dollars) for energy efficiency incentives. Examples of incentives are zero or low-interest loans, rebates, and direct installation of low cost measures, such as water heater wraps or duct work.

Incentive Payment Load Management: Payment by the utility to the customer (in thousand dollars) for load management incentives.

Indirect Cost: A utility cost that may not be meaningfully identified with any particular DSM program category.  Indirect costs could be attributable to one of several accounting cost categories (i.e., Administrative, Marketing, Monitoring & Evaluation, Utility-Earned Incentives, Other).  Accounting costs that are known DSM program costs should not be reported under Indirect Utility Cost, rather those costs should be reported as Direct Utility Costs under the appropriate DSM program category.

Total Cost: The sum of the total Direct and Indirect Utility Costs for the year.  Utility costs should reflect the total cash expenditures for the year, reported in nominal dollars, that flowed out to support DSM programs.  They should be reported in the year they are incurred, regardless of when the actual effects occur.

| ## Column Headings |  |
| --- | --- |
| COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: OWNERSHIP | Ownership Type: One of 8 different types of ownership categories: Federal; Political Subdivision; Municipal Marketing Authority; Cooperative; State; Municipal; Investor-Owned; Retail Power Marketer (Energy Service Provider). “State” ownership refers to statewide organizations whose scope is larger than county level. |
| COL E: STATE_CODE | State/Territory in which program is active |
| COL F: NERC_LOCATION | NERC Location: The North American Electric Reliability Corporation (NERC) region where the utility has its primary business operations (service territory), electrical generation, transmission, and distribution equipment, and its administrative headquarters. Some utilities have business operations and service areas in more than one NERC region. Power marketers, because they generally have only office equipment, can have business operations in any NERC region. FRCC = Florida Reliability Coordinating Council; MRO = Midwest Reliability Organization; NPCC = Northeast Power Coordinating Council; RFC = Reliability First Corporation (formerly MAAC, MAIN and ECAR); SERC = SERC Reliability Corporation; SPP = Southwest Power Pool, RE; TRE = Texas Regional Entity (formerly ERCOT); WECC = Western Electric Coordinating Council. AK = Alaska; AS = American Samoa; GU = Guam; HI = Hawaii; PR = Puerto Rico; VI = Virgin Islands. |
| COL G: ENERGYEFFINCRES | Residential Incremental Energy Efficiency Energy Effects (megawatthours). |
| COL H: ENERGYEFFINCCOMM | Commercial Incremental Energy Efficiency Energy Effects (megawatthours). |
| COL I: ENERGYEFFINCIND | Industrial Incremental Energy Efficiency Energy Effects (megawatthours). |
| COL J: ENERGYEFFINCOTH | Transportation Incremental Energy Efficiency Energy Effects (megawatthours). |
| COL K: ENERGYEFFINCTOT | Total Incremental Energy Efficiency Energy Effects (megawatthours). |
| COL L: ENERGYEFFANNRES | Residential Annual Energy Efficiency Energy Effects (megawatthours). |
| COL M: ENERGYEFFANNCOM | Commercial Annual Energy Efficiency Energy Effects (megawatthours). |
| COL N: ENERGYEFFANNIND | Industrial Annual Energy Efficiency Energy Effects (megawatthours). |
| COL O: ENERGYEFFANNOTH | Transportation Annual Energy Efficiency Energy Effects (megawatthours). |
| COL P: ENERGYEFFANNTOT | Total Annual Energy Efficiency Energy Effects (megawatthours). |
| COL Q: EEFACTUALPEAKINCRES | Residential Incremental Energy Efficiency Actual Peak Reduction (megawatts). |
| COL R: EEFACTUALPEAKINCCOM | Commercial Incremental Energy Efficiency Actual Peak Reduction (megawatts). |
| COL S: EEFACTUALPEAKINCIND | Industrial Incremental Energy Efficiency Actual Peak Reduction (megawatts). |
| COL T: EEFACTUALPEAKINCOTH | Transportation Incremental Energy Efficiency Actual Peak Reduction (megawatts). |
| COL U: EEFACTUALPEAKINCTOT | Total Incremental Energy Efficiency Actual Peak Reduction (megawatts). |
| COL V: EEFACTUALPEAKANNRES | Residential Annual Energy Efficiency Actual Peak Reduction (megawatts). |
| COL W: EEFACTUALPEAKANNCOM | Commercial Annual Energy Efficiency Actual Peak Reduction (megawatts). |
| COL X: EEFACTUALPEAKANNIND | Industrial Annual Energy Efficiency Actual Peak Reduction (megawatts). |
| COL Y: EEFACTUALPEAKANNOTH | Transportation Annual Energy Efficiency Actual Peak Reduction (megawatts). |
| COL Z: EEFACTUALPEAKANNTOT | Total Annual Energy Efficiency Actual Peak Reduction (megawatts). |
| COL AA: LOADMNGEFFINCRES | Residential Incremental Load Management Energy Effects (megawatthours). |
| COL AB: LOADMNGEFFINCCOM | Commercial Incremental Load Management Energy Effects (megawatthours). |
| COL AC: LOADMNGEFFINCIND | Industrial Incremental Load Management Energy Effects (megawatthours). |
| COL AD: LOADMNGEFFINCOTH | Transportation Incremental Load Management Energy Effects (megawatthours). |
| COL AE: LOADMNGEFFINCTOT | Total Incremental Load Management Energy Effects (megawatthours). |
| COL AF: LOADMNGEFFANNRES | Residential Annual Load Management Energy Effects (megawatthours). |
| COL AG: LOADMNGEFFANNCOM | Commercial Annual Load Management Energy Effects (megawatthours). |
| COL AH: LOADMNGEFFANNIND | Industrial Annual Load Management Energy Effects (megawatthours). |
| COL AI: LOADMNGEFFANNOTH | Transportation Annual Load Management Energy Effects (megawatthours). |
| COL AJ: LOADMNGEFFANNTOT | Total Annual Load Management Energy Effects (megawatthours). |
| COL AK: LMPOTENTPEAKREDINCRES | Residential Incremental Load Management Potential Peak Reduction (megawatts). |
| COL AL: LMPOTENTPEAKREDINCCOM | Commercial Incremental Load Management Potential Peak Reduction (megawatts). |
| COL AM: LMPOTENTPEAKREDINCIND | Industrial Incremental Load Management Potential Peak Reduction (megawatts). |
| COL AN: LMPOTENTPEAKREDINCOTH | Transportation Incremental Load Management Potential Peak Reduction (megawatts). |
| COL AO: LMPOTENTPEAKREDINCTOT | Total Incremental Load Management Potential Peak Reduction (megawatts). |
| COL AP: LMPOTENTPEAKREDANNRES | Residential Annual Load Management Potential Peak Reduction (megawatts). |
| COL AQ: LMPOTENTPEAKREDANNCOM | Commercial Annual Load Management Potential Peak Reduction (megawatts). |
| COL AR: LMPOTENTPEAKREDANNIND | Industrial Annual Load Management Potential Peak Reduction (megawatts). |
| COL AS: LMPOTENTPEAKREDANNOTH | Transportation Annual Load Management Potential Peak Reduction (megawatts). |
| COL AT: LMPOTENTPEAKREDANNTOT | Total Annual Load Management Potential Peak Reduction (megawatts). |
| COL AU: LMACTUALPEAKREDINCRES | Residential Incremental Load Management Actual Peak Reduction (megawatts). |
| COL AV: LMACTUALPEAKREDINCCOM | Commercial Incremental Load Management Actual Peak Reduction (megawatts). |
| COL AW: LMACTUALPEAKREDINCIND | Industrial Incremental Load Management Actual Peak Reduction (megawatts). |
| COL AX: LMACTUALPEAKREDINCOTH | Transportation Incremental Load Management Actual Peak Reduction (megawatts). |
| COL AY: LMACTUALPEAKREDINCTOT | Total Incremental Load Management Actual Peak Reduction (megawatts). |
| COL AZ: LMACTUALPEAKREDANNRES | Residential Annual Load Management Actual Peak Reduction (megawatts). |
| COL BA: LMACTUALPEAKREDANNCOM | Commercial Annual Load Management Actual Peak Reduction (megawatts). |
| COL BB: LMACTUALPEAKREDANNIND | Industrial Annual Load Management Actual Peak Reduction (megawatts). |
| COL BC: LMACTUALPEAKREDANNOTH | Transportation Annual Load Management Actual Peak Reduction (megawatts). |
| COL BD: LMACTUALPEAKREDANNTOT | Total Annual Load Management Actual Peak Reduction (megawatts). |
| COL BE: DIRECTCOSTEEFRES | Residential Annual Energy Efficiency Cost (in thousands of dollars). |
| COL BF: DIRECTCOSTEEFCOM | Commercial Annual Energy Efficiency Cost (in thousands of dollars). |
| COL BG: DIRECTCOSTEEFIND | Industrial Annual Energy Efficiency Cost (in thousands of dollars). |
| COL BH: DIRECTCOSTEEFTRAN | Transportation Annual Energy Efficiency Cost (in thousands of dollars). |
| COL BI: DIRECTCOSTEEF | Total Annual Energy Efficiency Cost (in thousands of dollars). |
| COL BJ: DIRECTCOSTLMRES | Residential Annual Load Management Cost (in thousands of dollars). |
| COL BK: DIRECTCOSTLMCOM | Commercial Annual Load Management Cost (in thousands of dollars). |
| COL BL: DIRECTCOSTLMIND | Industrial Annual Load Management Cost (in thousands of dollars). |
| COL BM: DIRECTCOSTLMTRAN | Transportation Annual Load Management Cost (in thousands of dollars). |
| COL BN: DIRECTCOSTLM | Total Annual Load Management Cost (in thousands of dollars). |
| COL BO: INCENTIVEEEFRES | Residential Annual Incentive Payment Energy Efficiency (in thousands of dollars). |
| COL BP: INCENTIVEEEFCOM | Commercial Annual Incentive Payment Energy Efficiency (in thousands of dollars). |
| COL BQ: INCENTIVEEEFIND | Industrial Annual Incentive Payment Energy Efficiency (in thousands of dollars). |
| COL BR: INCENTIVEEEFTRAN | Transportation Annual Incentive Payment Energy Efficiency (in thousands of dollars). |
| COL BS: INCENTIVEEEF | Total Annual Incentive Payment Energy Efficiency (in thousands of dollars). |
| COL BT: INCENTIVELMRES | Incentive payments incurred for Residential Load Management programs during the reporting period (in thousands of dollars). |
| COL BU: INCENTIVELMCOM | Incentive payments incurred for Commercial Load Management programs during the reporting period (in thousands of dollars). |
| COL BV: INCENTIVELMIND | Incentive payments incurred for Industrial Load Management programs during the reporting period (in thousands of dollars). |
| COL BW: INCENTIVELMTRAN | Incentive payments incurred for Transportation Load Management programs during the reporting period (in thousands of dollars). |
| COL BX: INCENTIVELM | All Incentive payments incurred for Load Management programs during the reporting period across all sectors (in thousands of dollars). |
| COL BY: INDIRECTCOSTRES | Costs from the Residential sector that may not be meaningfully included in any program category, but could be identified with an accounting cost category (in thousands of dollars). |
| COL BZ: INDIRECTCOSTCOM | Costs from the Commercial sector that may not be meaningfully included in any program category, but could be identified with an accounting cost category (in thousands of dollars). |
| COL CA: INDIRECTCOSTIND | Costs from the Industrial sector that may not be meaningfully included in any program category, but could be identified with an accounting cost category (in thousands of dollars). |
| COL CB: INDIRECTCOSTTRAN | Costs from the Transportation sector that may not be meaningfully included in any program category, but could be identified with an accounting cost category (in thousands of dollars). |
| COL CC: INDIRECTCOST | All costs that may not be meaningfully included in any program category, but could be identified with an accounting cost category across all sectors (in thousands of dollars). |
| COL CD: TOTALCOSTRES | Sum of residential cost categories (in thousands of dollars). |
| COL CE: TOTALCOSTCOM | Sum of commercial cost categories (in thousands of dollars). |
| COL CF: TOTALCOSTIND | Sum of industrial cost categories (in thousands of dollars). |
| COL CG: TOTALCOSTTRAN | Sum of transportation cost categories (in thousands of dollars). |
| COL CH: TOTALCOST | Sum of cost categories across all sectors (in thousands of dollars). |
| COL CI: DEMAND_SIDE_MANAGEMENT | Entity has a company-administered DSM program (Y or N) |
| COL CJ: REPORTED_AS_OTHER_COMP | Entity’s DSM activities are reported on Schedule 6 of another entity’s form EIA-861 (Y or N) |
| COL CK: INDEPENDENT_VERIFY | Entity’s energy savings are verified through an independent evaluation (Y or N) |
| COL CL: INDEPENDENT_VERIFY_FORECAST | Indicates whether savings estimates were based on a forecast or report of independent evaluators (Y or N). |
| COL CM: MAJORCHANGES | Entity’s DSM programs have undergone major changes (Y or N) |
| COL CN: PRICERESPONSIVE | Entity operates incentive-based DSM programs (Y or N) |
| COL CO: PRICERESPRES | Number of residential consumers (meters, or customer accounts) in incentive-based DSM programs. Note: Each residential customer in an aggregated account (as for a residential buying cooperative) should be counted as a separate customer, if metered separately. |
| COL CP: PRICERESPCOM | Number of commercial consumers (meters, or customer accounts) in incentive-based DSM programs. Note: Each location in an aggregated account (as all restaurants in a chain) should be counted as a separate customer, if metered separately. |
| COL CQ: PRICERESPIND | Number of industrial consumers (meters, or customer accounts) in incentive-based DSM programs. Note: Each facility is counted as one customer even if power is taken and metered at more than one point. |
| COL CR: PRICERESPTRANS | Number of transportation consumers in incentive-based DSM programs. Customer counts for the sales of power to electrified rail and urban transit systems whose primary propulsive energy source is electricity. |
| COL CS: TIMERESPONSIVE | Entity operates time-based DSM programs (Y or N) |
| COL CT: TIMERESPRES | Number of residential consumers (meters, or customer accounts) in time-based DSM programs. Note: Each residential customer in an aggregated account (as for a residential buying cooperative) should be counted as a separate customer, if metered separately. |
| COL CU: TIMERESPCOM | Number of commercial consumers (meters, or customer accounts) in time-based DSM programs. Note: Each location in an aggregated account (as all restaurants in a chain) should be counted as a separate customer, if metered separately. |
| COL CV: TIMERESPIND | Number of industrial consumers (meters, or customer accounts) in time-based DSM programs. Note: Each facility is counted as one customer even if power is taken and metered at more than one point. |
| COL CW: TIMERESPTRANS | Number of transportation consumers in time-based DSM programs. Customer counts for the sales of power to electrified rail and urban transit systems whose primary propulsive energy source is electricity. |
| COL CX: DATA_STATUS | F = Final annual data |

File4

Contains the names of the counties (parishes) in which the distribution utility has equipment for the distribution of electric energy to retail consumers.

| Column Headings: |  |
| --- | --- |
| COL A: YEAR | Data Year |
| COL B: UTILITY_ID | Utility ID Number |
| COL C: UTILITY_NAME | Utility Name |
| COL D: STATE | State in which the utility (entity) is located 2-digit State Code. Also includes US Territories: AS = American Samoa; GU = Guam; PR = Puerto Rico; VI = Virgin Islands. |
| COL E: COUNTY | County (or Parish) in which the utility (entity) is located |

File5

The first worksheet contains green pricing data, and the second worksheet contains net metering data.

| Green Pricing | Green Pricing programs allow customers to purchase power generated from renewable resources and to pay for renewable energy development |
| --- | --- |
| Column Headings |  |
| COL A: YEAR | Data Year |
| COL B: UTILITY_ID | Utility ID Number |
| COL C: UTILITY_NAME | Utility Name |
| COL D: CUSTOMER_STATE | State or territory in which program is active |
| COL E: GREEN_CUST_RESIDENTIAL | Number of Green Pricing Residential Consumers |
| COL F: GREEN_CUST_COMMERCIAL | Number of Green Pricing Commercial Consumers |
| COL G: GREEN_CUST_INDUSTRIAL | Number of Green Pricing Industrial Consumers |
| COL H: GREEN_CUST_TRANS | Number of Green Pricing Transportation Consumers |
| COL I: GREEN_CUST_TOTAL | Total number of Green Pricing Consumers |
| COL J: GREEN_REVENUES_RESIDENTIAL | Revenue from green pricing programs (in thousand dollars) from residential customers |
| COL K: GREEN_REVENUES_COMMERCIAL | Revenue from green pricing programs (in thousand dollars) from commercial customers |
| COL L: GREEN_REVENUES_INDUSTRIAL | Revenue from green pricing programs (in thousand dollars) from industrial customers |
| COL M: GREEN_REVENUES_TRANS | Revenue from green pricing programs (in thousand dollars) from transportation customers |
| COL N: GREEN_REVENUES_TOTAL | Total revenue from green pricing programs |
| COL O: GREEN_SALES_RESIDENTIAL | Electricity sales (in Megawatthours) to residential customers in green pricing programs |
| COL P: GREEN_SALES_COMMERCIAL | Electricity sales (in Megawatthours) to commercial customers in green pricing programs |
| COL Q: GREEN_SALES_INDUSTRIAL | Electricity sales (in Megawatthours) to industrial customers in green pricing programs |
| COL R: GREEN_SALES_TRANS | Electricity sales (in Megawatthours) to transportation customers in green pricing programs |
| COL S: GREEN_SALES_TOTAL | Electricity sales (in Megawatthours) to all customers in green pricing programs |
| COL T: GREEN_REV_REC_RESIDENTIAL | Amount of revenue from RECs collected from residential green pricing customers in the specific state (in thousand dollars). |
| COL U: GREEN_REV_REC_COMMERCIAL | Amount of revenue from RECs collected from commercial green pricing customers in the specific state (in thousand dollars). |
| COL V: GREEN_REV_REC_INDUSTRIAL | Amount of revenue from RECs collected from industrial green pricing customers in the specific state (in thousand dollars). |
| COL W: GREEN_REV_REC_TRANS | Amount of revenue from RECs collected from transportation green pricing customers in the specific state (in thousand dollars). |
| COL X: GREEN_REV_REC_TOTAL | Total amount of revenue from RECs collected from green pricing customers in the specific state (in thousand dollars). |
| COL Y: GREEN_REC_SALES_RESIDENTIAL | Amount of sales (in megawatthours) from RECs collected from residential green pricing customers in the specific state |
| COL Z: GREEN_REC_SALES_COMMERCIAL | Amount of sales (in megawatthours) from RECs collected from commercial green pricing customers in the specific state |
| COL AA: GREEN_REC_SALES_INDUSTRIAL | Amount of sales (in megawatthours) from RECs collected from industrial green pricing customers in the specific state |
| COL AB: GREEN_REC_SALES_TRANS | Amount of sales (in megawatthours) from RECs collected from transportation green pricing customers in the specific state |
| COL AC: GREEN_REC_SALES_TOTAL | Total amount of sales (in megawatthours) from RECs collected from green pricing customers in the specific state |

| Net Metering | Net Metering programs allow customers to sell excess power they generate back to the electrical grid to offset consumption. |
| --- | --- |
| Column Headings |  |
| COL A: YEAR | Data Year |
| COL B: UTILITY_ID | Utility ID Number |
| COL C: UTILITY_NAME | Utility Name |
| COL D: CUSTOMER_STATE | State or territory in which program is active |
| COL E: NET_METER_DISP_PHOTO_RESID | Amount of energy (in megawatthours) produced by the PHOTOVOLTAIC residential net metered generating facility that was sold back to the utility. |
| COL F: NET_METER_DISP_PHOTO_COM | Amount of energy (in megawatthours) produced by the PHOTOVOLTAIC commercial net metered generating facility that was sold back to the utility. |
| COL G: NET_METER_DISP_PHOTO_INDUST | Amount of energy (in megawatthours) produced by the PHOTOVOLTAIC industrial net metered generating facility that was sold back to the utility. |
| COL H: NET_METER_DISP_PHOTO_TRANS | Amount of energy (in megawatthours) produced by the PHOTOVOLTAIC transportation net metered generating facility that was sold back to the utility. |
| COL I: NET_METER_DISP_PHOTO_TOTAL | Total amount of PHOTOVOLTAIC energy (in megawatthours) that was sold back to the utility. |
| COL J: NET_METER_CAP_PHOTO_RESID | Amount of PHOTOVOLTAIC residential installed capacity. |
| COL K: NET_METER_CAP_PHOTO_COM | Amount of PHOTOVOLTAIC commercial installed capacity. |
| COL L: NET_METER_CAP_PHOTO_INDUST | Amount of PHOTOVOLATIC industrial installed capacity. |
| COL M: NET_METER_CAP_PHOTO_TRANS | Amount of PHOTOVOLTAIC transportation installed capacity. |
| COL N: NET_METER_CAP_PHOTO_TOTAL | Total amount of PHOTOVOTAIC installed capacity across all sectors |
| COL O: NET_METER_CUST_PHOTO_RESID | Amount of PHOTOVOLTAIC residential net metering customers. |
| COL P: NET_METER_CUST_PHOTO_COM | Amount of PHOTOVOLTAIC commercial net metering customers. |
| COL Q: NET_METER_CUST_PHOTO_INDUST | Amount of PHOTOVOLTAIC industrial net metering customers. |
| COL R: NET_METER_CUST_PHOTO_TRANS | Amount of PHOTOVOLTAIC transportation net metering customers. |
| COL S: NET_METER_CUST_PHOTO_TOTAL | Total amount of PHOTOVOLTAIC net metering customers across all sectors. |
| COL T: NET_METER_DISP_WIND_RESID | Amount of energy (in megawatthours) produced by the WIND residential net metered generating facility that was sold back to the utility. |
| COL U: NET_METER_DISP_WIND_COM | Amount of energy (in megawatthours) produced by the WIND commercial net metered generating facility that was sold back to the utility. |
| COL V: NET_METER_DISP_WIND_INDUST | Amount of energy (in megawatthours) produced by the WIND industrial net metered generating facility that was sold back to the utility. |
| COL W: NET_METER_DISP_WIND_TRANS | Amount of energy (in megawatthours) produced by the WIND transportation net metered generating facility that was sold back to the utility. |
| COL X: NET_METER_DISP_WIND_TOTAL | Total amount of WIND energy that was sold back to the utility. |
| COL Y: NET_METER_CAP_WIND_RESID | Amount of WIND residential installed capacity. |
| COL Z: NET_METER_CAP_WIND_COM | Amount of WIND commercial installed capacity. |
| COL AA: NET_METER_CAP_WIND_INDUST | Amount of WIND industrial installed capacity. |
| COL AB: NET_METER_CAP_WIND_TRANS | Amount of WIND transportation installed capacity. |
| COL AC: NET_METER_CAP_WIND_TOTAL | Total amount of WIND installed capacity across all sectors. |
| COL AD: NET_METER_CUST_WIND_RESID | Amount of WIND residential net metering customers. |
| COL AE: NET_METER_CUST_WIND_COM | Amount of WIND commercial net metering customers. |
| COL AF: NET_METER_CUST_WIND_INDUST | Amount of WIND industrial net metering customers. |
| COL AG: NET_METER_CUST_WIND_TRANS | Amount of WIND transportation net metering customers. |
| COL AH: NET_METER_CUST_WIND_TOTAL | Total amount of WIND net metering customers across all sectors. |
| COL AI: NET_METER_DISP_CHP_COGEN_RESID | Amount of energy (in megawatthours) produced by the CHP/Cogen residential net metered generating facility that was sold back to the utility. |
| COL AJ: NET_METER_DISP_CHP_COGEN_COM | Amount of energy (in megawatthours) produced by the CHP/Cogen commercial net metered generating facility that was sold back to the utility. |
| COL AK: NET_METER_DISP_CHP_COGEN_INDUS | Amount of energy (in megawatthours) produced by the CHP/Cogen industrial net metered generating facility that was sold back to the utility. |
| COL AL: NET_METER_DISP_CHP_COGEN_TRANS | Amount of energy (in megawatthours) produced by the CHP/Cogen transportation net metered generating facility that was sold back to the utility. |
| COL AM: NET_METER_DISP_CHP_COGEN_TOTAL | Total amount of CHP/Cogen energy that was sold back to the utility. |
| COL AN: NET_METER_CAP_CHP_COGEN_RESID | Amount of CHP/Cogen residential installed capacity. |
| COL AO: NET_METER_CAP_CHP_COGEN_COM | Amount of CHP/Cogen commercial installed capacity. |
| COL AP: NET_METER_CAP_CHP_COGEN_INDUST | Amount of CHP/Cogen industrial installed capacity. |
| COL AQ: NET_METER_CAP_CHP_COGEN_TRANS | Amount of CHP/Cogen transportation installed capacity. |
| COL AR: NET_METER_CAP_CHP_COGEN_TOTAL | Total amount of CHP/Cogen installed capacity that was sold back to the utility. |
| COL AS: NET_METER_CUST_CHP_COGEN_RESID | Amount of CHP/Cogen residential net metering customers. |
| COL AT: NET_METER_CUST_CHP_COGEN_COM | Amount of CHP/Cogen commercial net metering customers. |
| COL AU: NET_METER_CUST_CHP_COGEN_INDUS | Amount of CHP/Cogen industrial net metering customers. |
| COL AV: NET_METER_CUST_CHP_COGEN_TRANS | Amount of CHP/Cogen transportation net metering customers. |
| COL AW: NET_METER_CUST_CHP_COGEN_TOTAL | Total amount of CHP/Cogen net metering customers across all sectors. |
| COL AX: NET_METER_DISP_OTHER_RESID | Amount of energy (in megawatthours) produced by the Other residential net metered generating facility that was sold back to the utility. |
| COL AY: NET_METER_DISP_OTHER_COM | Amount of energy (in megawatthours) produced by the Other commercial net metered generating facility that was sold back to the utility. |
| COL AZ: NET_METER_DISP_OTHER_INDUST | Amount of energy (in megawatthours) produced by the Other industrial net metered generating facility that was sold back to the utility. |
| COL BA: NET_METER_DISP_OTHER_TRANS | Amount of energy (in megawatthours) produced by the Other transportation net metered generating facility that was sold back to the utility. |
| COL BB: NET_METER_DISP_OTHER_TOTAL | Total amount of Other energy that was sold back to the utility. |
| COL BC: NET_METER_CAP_OTHER_RESID | Amount of Other residential installed capacity. |
| COL BD: NET_METER_CAP_OTHER_COM | Amount of Other commercial installed capacity. |
| COL BE: NET_METER_CAP_OTHER_INDUST | Amount of Other industrial installed capacity. |
| COL BF: NET_METER_CAP_OTHER_TRANS | Amount of Other transportation installed capacity. |
| COL BG: NET_METER_CAP_OTHER_TOTAL | Total amount of Other installed capacity across all sectors. |
| COL BH: NET_METER_CUST_OTHER_RESID | Amount of Other residential net metering customers. |
| COL BI: NET_METER_CUST_OTHER_COM | Amount of Other commercial net metering customers. |
| COL BJ: NET_METER_CUST_OTHER_INDUST | Amount of Other industrial net metering customers. |
| COL BK: NET_METER_CUST_OTHER_TRANS | Amount of Other transportation net metering customers. |
| COL BL: NET_METER_CUST_OTHER_TOTAL | Total amount of Other net metering customers across all sectors. |
| COL BM: NET_METERING_DISP_RESIDENTIAL | Amount of energy (in megawatthours) that was sold back to the utility for all sources for the residential sector. |
| COL BN: NET_METERING_DISP_COMMERCIAL | Amount of energy (in megawatthours) that was sold back to the utility for all sources for the commercial sector. |
| COL BO: NET_METERING_DISP_INDUSTRIAL | Amount of energy (in megawatthours) that was sold back to the utility for all sources for the industrial sector. |
| COL BP: NET_METERING_DISP_TRANS | Amount of energy (in megawatthours) that was sold back to the utility for all sources for the transportation sector. |
| COL BQ: NET_METERING_DISP_TOTAL | Total amount of energy that was sold back to the utility for all sources. |
| COL BR: NET_METERING_CAP_RESIDENTIAL | Amount of installed capacity for all energy sources for the residential sector. |
| COL BS: NET_METERING_CAP_COMMERCIAL | Amount of installed capacity for all energy sources for the commercial sector. |
| COL BT: NET_METERING_CAP_INDUSTRIAL | Amount of installed capacity for all energy sources for the industrial sector. |
| COL BU: NET_METERING_CAP_TRANS | Amount of installed capacity for all energy sources for the transportation sector . |
| COL BV: NET_METERING_CAP_TOTAL | Total amount of installed capacity for all energy sources across all sectors. |
| COL BW: NET_METERING_CUST_RESIDENTIAL | Amount of all energy net metering customers for the residential sector. |
| COL BX: NET_METERING_CUST_COMMERCIAL | Amount of all energy net metering customers for the commercial sector. |
| COL BY: NET_METERING_CUST_INDUSTRIAL | Amount of all energy net metering customers for the industrial sector. |
| COL BZ: NET_METERING_CUST_TRANS | Amount of all energy net metering customers for the transportation sector. |
| COL CA: NET_METERING_CUST_TOTAL | Total amount of all energy net metering customers across all sectors. |

File6

The first worksheet presents information on distributed generation (grid-connected) for companies that own or operate a distribution system. The second worksheet presents dispersed generation information (NOT grid-connected) for companies that own or operate a distribution system.

| Distributed Generation | Distributed generation (grid-connected) for companies that own or operate a distribution system. Distributed generators could be utility-owned or customer-owned. Data include number of generators, number of generators less than one megawatt, total aggregate capacity, aggregate capacity used only for backup, and capacity by technology type. Respondents specify whether data are actual or estimated. |
| --- | --- |
| ## Column Headings |  |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: DISTNUMGENLMW | Number of distributed generators < 1 MW (megawatts) |
| COL E: DISTTOTALCAPLMW | Capacity of distributed generators < 1 MW (megawatts) |
| COL F: DISTBACKUP | Total nameplate capacity that is comprised of distributed generators that are used only for emergency backup service. |
| COL G: DISTOWNED | Total nameplate capacity for distributed generators that the respondent owns. |
| COL H: DISTDATATYPE1 | Data Type 1. A=actual, E=estimated. |
| COL I: DISTINTERNAL | Capacity of distributed internal combustion/ reciprocating engines. |
| COL J: DISTCOMBTURB | Capacity of distributed combustion turbine generators. |
| COL K: DISTSTEAMTURB | Capacity of distributed steam turbine generators. |
| COL L: DISTHYDROELEC | Capacity of distributed hydroelectric generators. |
| COL M: DISTWINDTURB | Capacity of distributed wind turbine generators. |
| COL N: DISTPHOTO | Capacity of distributed photovoltaic generators. |
| COL O: DISTSTORAGE | Capacity of storage distributed generation. |
| COL P: DISTOTHERTURN | Capacity of distributed other generators |
| COL Q: DISTTOTALCAPLMW2 | Total capacity less than 1 megawatt that technology (distributed) comprises. |
| COL R: DISTDATATYPE2 | Data Type 2. A=actual, E=estimated |
| COL S: STATE | State/Territory in which the generators are located |

| ## Dispersed Generation | Dispersed generation (NOT grid-connected) for companies that own or operate a distribution system. ## Dispersed generators could be utility-owned or customer-owned. Data include number of generators, number of generators less than one megawatt, total aggregate capacity, ggregate capacity used only for backup, and capacity by technology type. Respondents specify whether data are actual or estimated. |
| --- | --- |
| ## Column Headings |  |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: DISPNUMGENLMW | Number of dispersed generators < 1MW (megawatts). |
| COL E: DISPTOTALCAPLMW | Capacity of dispersed generators < 1MW (megawatts). |
| COL F: DISPBACKUP | Total nameplate capacity that is comprised of dispersed generators that are used only for emergency backup service. |
| COL G: DISPOWNED | Total nameplate capacity for dispersed generators that the respondent owns. |
| COL H: DISPDATATYPE1 | Data Type 1. A=actual, E=estimated. |
| COL I: DISPINTERNAL | Capacity of dispersed internal combustion/ reciprocating engines. |
| COL J: DISPCOMBTURB | Capacity of dispersed combustion turbine generators. |
| COL K: DISPSTEAMTURB | Capacity of dispersed steam turbine generators. |
| COL L: DISPHYDROELEC | Capacity of dispersed hydroelectric generators. |
| COL M: DISPWINDTURB | Capacity of dispersed wind turbine generators. |
| COL N: DISPPHOTO | Capacity of dispersed photovoltaic generators. |
| COL O: DISPSTORAGE | Capacity of storage dispersed generation. |
| COL P: DISPOTHERTURN | Capacity of dispersed other generators. |
| COL Q: DISPTOTALCAPLMW2 | Total capacity less than 1 megawatt that technology (dispersed) comprises. |
| COL R: DISPDATATYPE2 | Data Type 2. A=actual, E=estimated. |
| COL S: STATE | State/Territory in which the generators are located. |

File7

File7 (2007 forward) contains data on mergers and acquisitions

| ## Column Headings |  |
| --- | --- |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: MAIL_STATE | State/Territory in which the utility (entity) is located |
| COL E: OWNERSHIP | Ownership Type: One of 10 different types of ownership categories: F=Federal; P=Political Subdivision; A=Municipal Marketing Authority; C=Cooperative; State; M=Municipal; I=Investor-Owned; R=Retail Power Marketer (Energy Service Provider); W=(Wholesale) Power Marketer; T=Transmission Company. S=State (ownership refers to statewide organizations whose scope is larger than county level). |
| COL F: MERGERDATE | Date of merger or acquisition |
| COL G: MERGERCOMPANY | Company the entity has merged with or acquired |
| COL H: NEWPARENT | Name of new parent company |
| COL I: MERGERADDRESS | New address |
| COL J: MERGERCITY | New city |
| COL K: MERGERSTATE | New state |
| COL L: MERGERZIP5 | New 5-digit zip code |
| COL M: MERGERZIP4 | New 4-digit zip code adder |

File8

File8 (2007 forward) contains data on advanced meters.

| ## Column Headings |  |
| --- | --- |
| ## COL A: YEAR | ## Year of Data |
| COL B: UTILITY_ID | ## ID number of utility (reporting entity) |
| COL C: UTILITY_NAME | ## Name of Utility |
| COL D: OWNERSHIP | Ownership Type: One of 10 different types of ownership categories: F=Federal; P=Political Subdivision; A=Municipal Marketing Authority; C=Cooperative; State; M=Municipal; I=Investor-Owned; R=Retail Power Marketer (Energy Service Provider); W=(Wholesale) Power Marketer; T=Transmission Company. S=State (ownership refers to statewide organizations whose scope is larger than county level). |
| COL E: STATE_CODE | State/Territory in which customers with advanced meters are located |
| COL F: AMR_METERING_RESIDENTIAL | Number of AMR meters serving residential customers |
| COL G: AMR_METERING_COMMERCIAL | Number of AMR meters serving commercial customers |
| COL H: AMR_METERING_INDUSTRIAL | Number of AMR meters serving industrial customers |
| COL I: AMR_METERING_TRANS | Number of AMR meters serving transportation customers |
| COL J: AMR_METERING_TOTAL | Total number of AMR meters |
| COL K: AMI_METERING_RESIDENTIAL | Number of AMI meters serving residential customers |
| COL L: AMI_METERING_COMMERCIAL | Number of AMI meters serving commercial customers |
| COL M: AMI_METERING_INDUSTRIAL | Number of AMI meters serving industrial customers |
| COL N: AMI_METERING_TRANS | Number of AMI meters serving transportation customers |
| COL O: AMI_METERING_TOTAL | Total number of AMI meters |
| COL P: ENERGY_SERVED_RESIDENTIAL | Energy served through residential AMI meters ( (megawatthours) |
| COL Q: ENERGY_SERVED_COMMERCIAL | Energy served through commercial AMI meters (megawatthours) |
| COL R: ENERGY_SERVED_INDUSTRIAL | Energy served through industrial AMI meters (megawatthours) |
| COL S: ENERGY_SERVED_TRANS | Energy served through transportation AMI meters (megawatthours) |
| COL T: ENERGY_SERVED_TOTAL | Total energy served through AMI meters (megawatthours) |