Value and NetZero Decision Making

Project period: 01/07/2022 – 23/12/2022

Project award: https://doi.org/10.5281/zenodo.6787673

Authors: Jack Boulton (Heriot-Watt University)

Reviewer(s):

Release date: DD/MM/YYYY

| Revision table |  |  |  |
| --- | --- | --- | --- |
| Version | Date | Name | Comments |
| Release for review | 23/01/2023 | Jack Boulton |  |

Funded through the UKRI Net Zero DRI Scoping Project (https://net-zero-dri.ceda.ac.uk )

# Table of contents

Table of contents	2

1.	Abbreviations	4

2.	Background	4

3.	Scope	4

3.1.	Exclusions	5

4.	Methodology	5

5.	Results	6

5.1.	Current Approach / landscape	6

5.2.	Literature Review	7

5.2.1.	Value	7

5.2.1.1.	Different Methods of Value Comparison	9

5.2.1.2.	Value Summary	12

5.2.2.	Smart Carbon Scheduling	12

5.2.2.1.	Temporal Shifting Incentives	13

6.	Recommendation	14

6.1.	Energy Use Register	15

6.2.	Flexible Smart Carbon Scheduler System	16

6.2.1.	Smart Carbon Scheduler	18

6.2.2.	Prioritisation Method Spectrum	18

6.2.3.	Run Criteria	20

6.2.4.	NetZero Roadmap / Emissions Tolerance	21

6.2.5.	Emissions Tracking	21

6.2.6.	Electricity Grid Carbon Intensity Forecast	21

6.2.7.	Supporting Long Term Decision Making	22

7.	Conclusion	22

8.	References	24

Executive Summary

Between ½ page and 1 page

UKRI has committed to becoming NetZero by 2040 and is developing a roadmap to achieve ‘NetZero’ DRI use by 2040. This ‘Value and NetZero Decision Making’ project aids UKRI by investigating how the ‘value’ of a task can be compared with the emissions it generates to result in emissions reductions.

This was achieved through interviews with UKRI and a literature review of how other organisations approach ‘emissions-vs.-value’ comparisons. Leanings from this process were then incorporated into a framework recommendation that allows these comparisons to result in emission reduction.

The main learnings were:

- DRI and its use is extremely varied at UKRI and there is no alignment of decision structures. As such the recommended systems will be flexible and adaptable to a range of different facility characteristics.

- A supporting system (such as a task scheduler) is needed to ensure ‘emissions-vs.-value’ comparisons result in emissions reductions.

- Detailed ‘value’ quantification is a resource intensive process and should only be used as necessary to stay within constraints.

The overall recommendation of this project is for UKRI to implement a system that monitors the emissions from DRI use, and alters it in line with the diminishing carbon allowance required for a NetZero pathway.

A specific recommendation of how to implement such a system that is efficient and flexible is:

- Development of an ‘energy use register’ to track environmental impact of DRI.

  - This will be used not just for visibility of emissions, but also to inform where emission reduction effort should be focused.

- Implementation of an overall ‘flexible smart-carbon-scheduler’ system at each facility. This system will:

  - Ensure each facility operates in line with NetZero pathway.

  - Schedule tasks / allocate resources as efficiently as possible.

  - Inform emission reduction decisions.

  - Be flexible enough to accommodate different facility types.

# Abbreviations

| BEIS | The Department for Business, Energy and Industrial Strategy |
| --- | --- |
| CEDA | Centre for Environmental Data Analysis |
| DRI | Digital Research Infrastructure |
| EU ETS | European Union Emissions Trading Scheme |
| FIFO | First-in first-out |
| HPC | High Performance Computing |
| UKRI | UK Research and Innovation |

# Background

UKRI has recognised the adverse environmental effects of its operations and has committed to becoming NetZero by 2040 (UK Research and Innovation 2020; Juckes et al., 2022).

To do this, UKRI are undertaking a ‘Net-Zero-DRI’ scoping project to develop a roadmap to achieve carbon neutral Digital Research Infrastructure (DRI) by 2040 or earlier (CEDA, 2021; UKRI, 2021).

Achieving NetZero DRI involves becoming aware of the emissions profile of the infrastructure, planning and implementing changes to the infrastructure and how it is used, and monitoring of progress. This process will likely need to be iterated through-out the roadmap to NetZero.

This ‘Value and NetZero Decision Making’ project aims to play a supporting role to the overall NetZero DRI roadmap by investigating the relationship between the emissions a DRI occupying task emits versus the ‘value’ that task adds to UKRI. Understanding of this relationship will be crucial for the decision making that flows downstream of carbon accounting. Answering this question about value requires understanding of the decision making environment that such a comparison fits into as well as the required climate safe emissions pathways.

‘Task’ and ‘request for DRI use’ here are used to refer to any job or process that occupies a piece of DRI and/or consumes electricity through DRI. These tasks may range from storing data on a server, minor software programs, to large HPC jobs. This is intended to be a very generic definition to capture all operations responsible for emitting carbon through DRI use. Specific learnings around the relative shares of emissions by task (such as carbon accounting projects) should feed back into the scrutiny that is given to each task / task type. E.g., focus efforts where they will make the most difference first.

# Scope

The boundaries of this ‘Value and NetZero Decision Making’ project scope sit downstream of work to identify where carbon is currently being emitted (carbon accounting) and just upstream of the actual NetZero decisions themselves. This work is focused on the systems that could be used to compare the emissions of a task with the value it generates.

The scope of this project is split into three deliverables:

- Assessment of the current UKRI approach to DRI allocation decision making.

- Review of how other organisations approach ‘emissions-vs.-value’ comparisons.

- Recommendation to UKRI of a framework to approach ‘emissions-vs.-value’ comparisons for NetZero DRI use.

## Exclusions

This project is focused on exploring the decisions UKRI will need to make around carbon emissions from their DRI. Such an approach will assume the two below factors as inputs to this process.

- Tracking of carbon emissions generated per task.

  - This project assumes the ability to estimate / track the emissions of tasks. It is understood that two other groups within this scoping project are working on carbon accounting for UKRI High Performance Computers (HPCs).

  - Note that high accuracy emissions tracking is not necessarily needed. An estimation of the energy use by a request (combined with publicly available electricity grid carbon intensity predictions) is all that would be required as an input to decision making.

  - Carbon accounting may show that the embodied emissions of DRI are comparable to the electricity they use. The higher the embodied emissions of DRI, the more important it is to incorporate it into NetZero decision making, especially when it comes to long term capital investments. Analysing embodied emissions of infrastructure is beyond the scope of this project but the system recommendation has been designed to allow for the addition of embodied emissions tracking when it becomes available (see Section 6.2.5).

- NetZero Roadmap / emissions tolerance.

  - Developing the NetZero roadmap and its emissions tolerances are assumed to be outside the scope of this project.

  - It is assumed that such a roadmap will be an input to the final design of this project.

  - Emissions tolerances are discussed further in Section 6.2.4.

Contact with the other groups developing the inputs (as listed in the exclusions above) is not essential but has been maintained during the project.

As these inputs are still in the process of being developed, the proposed framework will be general enough to handle a range of input profiles.

# Methodology

- “Assessment of current UKRI approach to DRI allocation decision making.”

The intention of this deliverable is to gain a baseline understanding of how UKRI currently operate their DRI, and where decision making structures do / do not exist. This was done through an interview with a member of the ‘UKRI NetZero Project Scoping Team’.

- “Review of how other organisations approach ‘emissions-vs.-value’ comparisons.”

This was achieved through a literature review of ‘value’ assessment / quantification methods within organisations and a review of comparison techniques.

To ensure these comparisons result in positive action towards an emissions objective, the broader system of constraint optimisation within datacentres was also investigated in literature.

- “Recommendation to UKRI of a framework to approach ‘emissions-vs.-value’ comparisons for NetZero DRI use.”

Learnings from deliverables 1 & 2 were combined to form a recommendation to UKRI about ‘emissions-vs.-value’ comparisons and a supporting framework to ensure NetZero commitments are met.

The first two deliverables (review of UKRI decision making and external literature) are presented in Section 5 below. The third deliverable (specific framework recommendation) is presented in Section 6.

# Results

## Current Approach / landscape

The following information about the current UKRI DRI system was gathered via communication with UKRI staff (Ag Stephens – CEDA Head of Partnerships).

- UKRI is made up of 12 research councils.

- ‘DRI’ ranges from HPCs to university server rooms and everything in between.

- Due to the vast and distributed nature of this infrastructure, an exact profile of the DRI is not currently known to UKRI. A project is underway to perform a ‘stock take’ of DRI and confirm what is ‘in scope’ for this project. This includes a questionnaire to data centre managers about the energy use profiles of their DRI.

- UKRI does not have any overarching policies / systems in place for assigning whether or not a request is allowed to use a specific piece of DRI. It is assumed that this decision making process is organised at the local level by the local infrastructure manager.

  - Existing constraints (e.g., financial, time of use, and infrastructure capacity constraints) are currently managed at a local level in a variety of ways.

- There is no formal system to track the ‘value’ that any use of DRI generates.

  - Forthcoming questionnaire aims to find if ‘scientific throughput’ is being tracked / monitored at data centre levels.

- For ‘higher tiered’ resources such as HPCs, users must already go through an approval process where they are asked to predict energy consumption of their request. However, after acceptance there is little monitoring of actual infrastructure use.

- Overall the DRI is very heterogeneous with no cloud communication capability between sites.

  - There is the possibility that cloud-based requests will be implemented in the future but this is not likely to occur anytime soon.

This currently decentralised system of infrastructure control seems to follow the usual, and logical, approach to resource constrained decision making. Being that systems are only put in to place to monitor and scrutinise resource allocation when unscrutinised use of the infrastructure approaches a limit (such as infrastructure capacity) or impacts on a budget (such as a financial budget for electricity use). E.g., we pay little attention to resource use limits unless we have to.

Historically there has been no constraint on the emissions that each request for DRI use generates and so there has been no need to track or make decisions around emissions allocation to DRI use. HPCs have always had financial budgets (for capital costs and running costs) associated with them and management structures have evolved to optimise within these limits. In a world of NetZero computing (and the pathway towards it), the carbon emissions associated with DRI use will need to be monitored and limited in line with climate safety pathways.

By committing to NetZero DRI, UKRI have committed to a pathway of limiting and reducing their emissions (UKRI, 2021). To ensure this commitment stays on track, UKRI will need to implement a system to monitor and manage their infrastructure use and the energy it consumes.

## Literature Review

This section summarises the work done towards deliverable 2. It involves a review of how organisations approach value quantifications and comparisons. Task schedulers are also reviewed in Section 5.2.2 as an overarching system to implement DRI emissions reduction through value comparison.

### Value

‘Value theory’ has been a key part of social sciences since its inception. It looks into the core principles and motivations that we hold and how they affect our behaviour and attitudes. In recent decades work has been undertaken to categorise these values and attempt to standardise ‘basic values’ that are shared by all cultures (Schwartz, 2012).

In this project we are using the term ‘value’ as the ‘benefit’ that an organisation gains by undertaking a task. It is then proposed that this ‘value’ could be compared to the emissions that a task generates to manage a NetZero pathway commitment. Different organisations may have different definitions of what ‘value’ means to them depending on their goals. ‘Performance measurement’ systems can be developed to track progress towards an organisations goals (Moore, 2003).

In a for-profit company, the ‘value’ of a task is the financial benefit it provides to the company. In the short term this is the direct sales profit and in the long term it may be how that activity affects future profit. This then allows for simple financial decision making tools such as benefit-cost ratios (BCR) and payback periods (PBP). Kaplan and Norton (1992) developed the ‘balanced scorecard’ method to shift executive decision making away from strictly short term financial indicators. This ‘balanced scorecard’ consists of financial and non-financial performance measures and goals. They propose that this ‘dashboard’ of performance indicators is a much better system to use for decision making than a backward looking ‘bottom line’. This system still sees long term financial profits as the overall goal, but expands the use of non-financial measures as indicators towards the overall financial goal.

Randers (2012) explores a metric for “greenhouse gas emissions per unit of value added (GEVA)”, however the ‘value’ discussed is purely financial (GDP) and thus has less relevance for a non-profit or public organisation.

UKRI is a “non-departmental public body sponsored by the Department for Business, Energy and Industrial Strategy (BEIS)” (UKRI, no date).

Non-profit and public organisations have a more complex system for survival and prosperity and as a result require more complex performance measurement systems (Treinta et al., 2020). Non-profit organisations should develop their performance measurement systems to reflect their survivability and also their progress towards achieving their social aims (Treinta et al., 2020). These ‘social aims’ may range from easily quantifiable metrics, such as school test scores or number of papers published, to more abstract ones, such as ‘what the public's opinion is of the education system’ or ‘what impact your published papers make in a scientific field’. Translating these abstract aims into manageable indicators is a crucial part of a performance measurement system.

The ‘balanced scorecard’ approach had a large influence on non-profit organisations as it emphasises the importance of non-financial performance measures. Moore (2003) furthers this concept specifically for non-profit organisations and develops the ‘public value scorecard’. This is similar to the balanced scorecard approach but with emphasis on progression toward the organisation’s social goals. Similar to the balanced scorecard it also covers the stakeholders of the organisation and factors that will allow it to continue to operate. Moore states that the tracked value throughput of a non-profit should link with the explicitly stated social goals that the organisation is trying to achieve. Moore also recognises the difficulty in translating abstract goals into concrete measurable pathways.

The benefits of achieving these abstract goals can be referred to as ‘intangible benefits’. These are benefits from a task that are not immediately quantifiable. Intangible benefits have been prominent in literature aiming to include environmental concerns in cost-benefit analysis (Murphy and Simon, 2002; Kronbak and Vestergaard, 2013). Work in the field of ecosystem services has highlighted the importance of including these intangible benefits into decision making (zu Ermgassen et al., 2021), but has also highlighted the difficulty involved in achieving accurate valuation and the inherent judgement related uncertainties. zu Ermgassen et al. (2021) also point out that when multiple factors are involved in direct quantification, judges are more likely to omit the contribution of the ones that are harder to quantify, leading to a bias. As a result, when considering the intangible outcomes of resource use, highly time consuming direct quantification and comparison techniques should be used in as few situations as possible and only as required to stay within resource use constraints.

Expert elicitation is a quantification technique whereby experts in field are consulted to quantify uncertain parameters. Knol et al. (2010) formalise this process into a seven step procedure which involves characterising the uncertainties, selecting the experts, designing the judgement protocol, making the judgement, and monitoring the outcome. This can be a thorough process for judging hard to quantify parameters, but also requires a large amount of resources (time and money). As a result this process is more tailored to infrequent decisions. Learnings from this system could be applied to DRI value quantification in the forms of:

- A set group of ‘experts’ familiar with the facility / research area who judge incoming tasks. Judgement can be made by ranking against performance metrics or by relative comparison.

- A panel of experts develop a set of guidelines outlining how to rank incoming tasks against one or multiple metrics of ‘value’, preferably with examples. This allows one judge to assign a ranking / priority to incoming tasks in real time.

Both these adaptions would still require large amounts of resources for higher throughput facilities. Biases of the chosen experts will also directly affect the validity of the judgement.

As explored above, there exists multiple ways for organisations to track the value that they generate. The approaches used are very different and are highly dependent on the nature of the organisation, such as their financial goals, product output type, responsivity needed, and quantification options. One organisation may employ multiple different techniques if it has multiple social goals or distinct streams within the organisation.

A key learning from this section is that the value tracking system should be catered to the organisation it serves.

#### Different Methods of Value Comparison

Below is a non-exhaustive list of methods to directly compare the ‘value’ generated by tasks. They require differing levels of direct quantification and effort. They will likely result in different outcomes too.

Scoring

This system involves directly quantifying the benefit of a task on a numeric scale (e.g., 1 – 10). This ‘score’ can then be compared to the scores of other tasks. The accuracy of this system rests on the subjective judgement of the people making the quantification. It may be impractical for one unbiased person to assign all scores, in this case variance will occur depending on the different judgements of people and their prior knowledge. Further systems can be implemented to help standardise decisions between judges. Example judgements could be provided, independent checkers could be used occasionally, or guidelines of what type of task should fit achieve each scoring level. These support systems will likely raise the fairness of the scoring but will also increase the time / effort required to rank each task.

When dealing with multiple attributes (e.g., how a task progresses towards multiple separate goals) a score can be applied to each goal with the sum compared between tasks. An example of this is the Multiple Attribute Utility Technology analysis (MAUT) used by Selameab and Yeh (2008). This provides an alternative to cost benefit analysis (CBA) when there are multiple intangible outcomes.

Relative comparison

No direct value metric is assigned. When tasks join the queue / priority list they are fitted into the existing ranking system at a position where the judge sees appropriate relative to existing tasks in the queue.

This system has similar drawbacks to the scoring system in that it relies on subjective judgements. This system is more susceptible to different judges as their biases to different tasks would be more pronounced through relative comparison. Similar support systems to the scoring system could be put in place to try align decision making.

zu Ermgassen et al. (2021) discuss this relative value comparison as useful for prioritising areas for conservation. The judges making these comparisons need to be experts in the system.

The advantage of this system is it will be much faster than direct quantification if the number of tasks in the job queue is small.

User justification of benefits

This system requires users to justify how their task contributes to the organisation’s goals. This could be a written paragraph and/or self-ranking of the task outcomes against pre-defined goals. The user justification is then evaluated by a central judge and entered into the task queue where appropriate. This is similar to the ‘scoring’ and ‘relative comparison’ methods above but requires some form of justification from the user submitting the task.

Currently a similar version of this system is used for HPC access (see Section 5.1) where users must justify on an application form why their job should be allowed to run on the HPC, though the final decision is more of an ‘accept / not accepted’ judgement rather than a ranking. The judging system after this application may need to be adjusted to include a scoring or comparison aspect if applications begin to exceed resource constraints (DRI emission tolerance).

This system would best suit job allocation where a small number of jobs occupy a large share of emissions (such as HPCs).

Users self-determined scoring

Users self-determine a score for their task as they submit it. This score can then be directly compared to other tasks.

A simple example of this system for data centres would be a three number scale where users select one of the three options to convey how important or urgent the task is as they submit it.

This approach shares similarities to the management of common-pool resource systems as studied by Ostrom (2015). It treats the use of DRI as a common resource of the researchers and implements systems to help users self-organise the use of the resource in an efficient manner. Such systems work well when there is trust, communication, and transparency between users.

The method has room for exploitation or ‘free-riding’ if users select the highest score for their task regardless of its true value. Supporting systems can be implemented to manage this form of collaboration including extra user justification requirements at peak times, workshops on how the system functions, monitoring by facility managers, and deadline management programs to reduce the need for short task turnaround times. If free-riding occurs in a resource constrained system, it means less resources are available for other users. This provides further pressure to implement supporting self-governance systems.

If implemented in a facility with high trust between users, this method could provide a high level of temporal shifting with low moderation effort required.

Willingness to pay

The ‘willingness to pay’ principle of value comparison does not directly quantify the value of executing the task, but achieves this indirectly by the amount a user is willing to pay for their task to occupy a finite resource (such as an emissions budget of DRI).

The value of the task relative to other tasks is assessed internally by the user and expressed by their willingness (and ability) to pay money to advance the task relative to other tasks competing for the same resource.

This system is most purely expressed in an auction system such as the auctioning system for the European Union Emissions Trading Scheme (EU ETS), where permits to use up portions of a pollution budget are auctioned off to the highest bidder (Bertrand, 2012). An internal carbon price is another implementation of this principle, provided that the price is high enough (or dynamic enough) to limit total emissions within NetZero pathway requirements.

Using ‘willingness to pay’ as a method to manage limited resources is a fundamental principle of a free market. Applying this principle to DRI use may look like a ‘task market’ where different users bid against each other to have their tasks run on DRI and consume part of the associated emissions budget.

‘Willingness to pay’ options could also be used in composite with other systems. E.g., a user could pay a premium fee to advance their task to a higher position in the queue (or to a separate queue entirely).

This market based system means that ‘value’ is subjectively decided by each individual in the system in an efficient manner. The system however becomes directly biased to the opinions of wealthier users according to the wealth distribution among the users. This is an attractive approach for an organisation seeking to maximise profit, but for organisations with non-financial goals (such as a research council) this may be a poor way of maximising ‘value’ associated with constrained resource use.

Monetisation

In a standard cost benefit analysis, the costs and benefits are assigned to the same numeric scale (usually monetary) and directly compared. Costs and benefits that have no direct quantification are converted in some way to a ‘dollar amount’.

Local currency is often used as it is a metric that people are familiar with, however the quantification of abstract things such as ‘environmental impact’ or ‘scientific value’ is much harder to comprehend and results in inherently flawed comparisons (Ackerman and Heinzerling, 2002; zu Ermgassen et al., 2021).

Assigning dollar amounts to intangible benefits can be an extremely subjective process (Silvertown, 2015). Once a monetary number has been assigned to the benefit, the comparison to direct costs is extremely straightforward and can overshadow the assumptions and subjectiveness that went into monetising something inherently intangible (Ackerman and Heinzerling, 2002).

An application of this system is the ‘social cost of carbon’ which is the financial tolerance we would allow carbon to be emitted at. This too is entirely subjective on how individuals value pollution, which explains why there are so many differing estimates of social cost of carbon (Tol, 2011). This approach on its own also has no mechanism for regulating the overall amount of carbon released, which is essential for any climate safe pathway.

Contingent Valuation

This involves quantifying an intangible metric, such as ‘value’, through surveys. The validity of this method has been disputed by Ackerman and Heinzerling (2002). The long turnaround times associated with surveys make this an impractical method for data centres and thus contingent valuation will be disregarded for this project.

#### Value Summary

In this paper we use the term ‘value’ to describe the benefit that a task generates to an organisation. Tracking of ‘value’ is a more complex process for non-profit organisations. Direct quantification of a task’s benefits can be a resource (time and money) intensive process. Proxy systems (described in Section 5.2.1.1 above) can allow for comparison without direct quantification. The key learnings from this review are:

- There are a variety of value tracking techniques and comparison methods available to an organisation. Specific performance measurement systems (and their associated comparisons) should be catered to the organisation’s requirements.

- Detailed direct quantification is a time consuming way to estimate value. Less resource intensive methods should be used where possible.

#### Engineering Decision Making

In engineering, the ‘value’ of different options are assessed through a range of decision making tools. Usually this is involved in the process of selecting the best design concept, whether it is the design for a physical product or a complex system.

The Pugh Matrix is a decision making tool to compare multiple engineering design concepts against multiple design criteria (Burge, 2009). The matrix is formed with the columns representing the different concepts and the rows representing different design criteria. Each cell is then allocated a score as to how well that specific concept performs against design criteria relative to the baseline concept. This is essentially a formalised version of the relative comparison method to compare multiple options across multiple design criteria.

The ‘Strategic Analysis for Complex Systems’ developed by Krumdieck and Hamm (2009) provides a framework to evaluate the validity of different system designs in a given context. This framework involves the following:

- Assessment of current landscape

- Spectrum of system designs are constructed

- Infrastructure investments and resource use is modelled.

- Matrix of investment possibilities against energy demand levels is presented

- Feasibility of options is evaluated.

  - Technical feasibility

  - Economic, social, and environmental risk

The result is a clear graphical depiction of the opportunity space which clearly differentiates non-viable solutions from potential development pathways.

These formalised decision making systems are too time consuming for comparing the value of every incoming task in a high throughput facility, but they, and other engineering decision systems, will be highly valuable in setting up the value comparison systems for a specific facility.

### Smart Carbon Scheduling

Job schedulers are a well-established framework to achieve certain digital resource allocation objectives and ensure operation within constraints. Historically these aims have been performance based (such as task execution time) or cost based (minimising energy consumption). However recently there has been growing attention around developing schedulers to prioritise a reduction in carbon emissions due to infrastructure usage (Lei et al., 2015).

The term ‘smart carbon scheduler’ is introduced here to describe a digital resource allocation system (e.g., scheduler) which prioritises carbon emission reduction. Ideally this is implemented though management of a constraint (as described in Sections 6.2 & 6.2.1). This section outlines similar work in the area of job schedulers aiming to reduce carbon emissions.

Yang et al. (2013) develop an energy aware scheduler for HPC systems. This aims to reduce the electricity bill of an HPC through awareness of dynamic electricity pricing. They achieved a 23% reduction in electricity bill without a change to overall HPC utilisation by scheduling high energy profile tasks during cheaper electricity (off-peak) periods. This peak load management helps with grid stability and cost reduction, but could easily translate into carbon savings if higher priced electricity periods correlate with higher grid carbon intensity, as would be expected with carbon pricing or high renewables penetration (Moriarty and Honnery, 2022).

Goiri et al. (2011) develop ‘GreenSlot’, a parallel job scheduler for datacentres to optimise use of solar PV electricity. GreenSlot incorporates user specified task deadlines and is designed with these deadlines as the key constraint to optimise within. This allows for increased solar PV electricity utilisation while preventing undesired project delays.

Krioukov et al. (2012) develop an ‘energy agile computing cluster’. They recognise that in order to make use of intermittent renewable energy, energy consumption loads must be dynamic and able to respond to renewable availability. They identify data centres as ideal candidates for grid demand response as they are large energy consumers with load shifting potential. They develop a job scheduler that is aware of energy prices and renewable availability from a nearby windfarm. The system was able to reduce usage of non-renewable electricity by 40%. To achieve this without a scheduler (in the same environment), five hours of battery capacity (at full data centre power draw) would be needed. This level of energy storage comes with a large financial, environmental, and embedded carbon cost.

The temporal schedulers listed above exploit the ‘slack’ of their incoming tasks in order to temporally shift them. ‘Slack’ refers to the amount of time that the start of a task can be delayed before completion of the task will miss a prespecified ‘deadline’. This means they are pursing as much emissions reduction as possible without impacting on performance metrics (e.g., missed deadlines). This research does not consider how these deadlines are chosen or the trade-offs associated with soft deadlines. E.g., emissions versus performance or emissions versus ‘value’.

Lei et al. (2015) developed a “Smart green energy efficient scheduling strategy” to schedule soft real-time data centre operations in line with renewable electricity availability predictions and dynamic electricity pricing. They use two priority categories of tasks (crucial and non-crucial) and measure utilisation of renewable energy, total cost of energy, and task satisfaction rate (how many tasks were completed on time). This work highlights that an increased acceptance of degraded task deadline can lead to increased renewable energy utilisation.

Liu et al. (2015) explore optimising renewable energy use in data centres via geographic load shifting. UKRI currently has no cloud communication between sites (see Section 5.1), therefore geographic load shifting will not be considered in detail in this report. If cloud communication between sites becomes available in the future, then geographic load shifting is something to consider adding into the final design.

Zhang, Wang and Wang (2012) propose an algorithm that load shifts geographically to best utilise dynamic electricity prices. Importantly, it also operates within a cost budget, meaning that it aims to maximise request throughput without exceeding an electricity price budget. This is a ‘constrained optimisation problem’. They also propose that such a budget could be exceeded if ‘premium’ pricing is passed onto the customer for the exceeding request.

#### Temporal Shifting Incentives

While these schedulers identified above all operate within different energy supply environments and are designed to optimise slightly different performance metrics, the key unifying driver behind their design is that there is a need for data centres’ electricity consumption to be as flexible as possible to respond to a renewable based grid. This driver will become more important as renewable penetration in local grids increases and carbon emission budgets tighten (whether they are implicit or explicit and whether they are internally or externally set).

Large scale grid energy storage currently has huge financial and environmental costs (Carvalho, Temporelli and Girardi, 2021). Even in a future scenario of a 100% renewable grid (or some combination of intermittent renewables and non-dispatchable nuclear power) with storage, there will still be huge financial and environmental incentives to temporally shift electricity demand. Electricity providers that claim to provide ‘zero carbon electricity’ with no time of use constraints are likely to be ignoring the embedded carbon in electricity production and storage infrastructure and misrepresenting the challenges associated with high intermittent renewable energy penetration (Staffell, 2017; de Chalendar and Benson, 2019).

Electricity grid carbon intensity is further discussed in Section 6.2.6. The important driver for this work is that temporal shifting of electricity loads will be important in a low emission future and the path towards it (de Chalendar and Benson, 2019; Moriarty and Honnery, 2022).

# Recommendation

This section outlines the recommendation to UKRI based on the research conducted in Sections 5.1 & 5.2 above.

Table 1 below describes key learnings and how they have slightly shifted the project direction from what was proposed at the start of the project.

Table 1: Learnings and influences from current approach review and literature review.

|  | Learnings | Impact |
| --- | --- | --- |
| 1. | Currently there is a lack of decision making alignment between different research councils and between UKRI facilities. This project is being conducted in parallel with a project seeking to gain better awareness of the different facilities and their ‘value tracking’ systems. | The recommended systems will be flexible and adaptable to a range of different facility characteristics. |
| 2. | A supporting system is needed where ‘value vs. emissions’ comparisons can directly support emissions reductions in line with climate safe pathways. | A ‘smart-carbon-scheduler’ system is recommended to optimise operation of equipment within a NetZero pathway. |
| 3. | Directly quantifying performance measures or value tracking can be a time consuming and difficult process. Value tracking (in some form or another) is essential to ensuring performance aligns with organisation goals. | Detailed value tracking / estimation will only be used when necessary within this system. A sliding ‘prioritisation method spectrum’ will be proposed that uses a least-effort way of managing requests within constraints. |

The overall recommendation of this project is for UKRI to implement a system that monitors the emissions from DRI use and alters it in line with the diminishing carbon allowance required for a NetZero pathway.

A specific recommendation of how to implement such a system that is efficient and flexible is described in this section. It includes:

- Development of an ‘energy use register’ to track the environmental impact of DRI use.

- Implementation of an overall ‘flexible smart-carbon-scheduler’ system at each facility. This system will:

  - Ensure each facility operates in line with a NetZero pathway.

  - Schedule tasks / allocate resources as efficiently as possible.

  - Inform emission reduction decisions.

  - Be flexible enough to accommodate different facility types.

The concept of ‘scrutiny’ is proposed here to focus effort where it will be most beneficial to emission reduction. The concept is applied in the energy use register and prioritisation method spectrum sections below. The ‘scrutiny’ that should be applied to each facility is largely proportional to the emissions reduction required from the facility. This will change for each facility as their DRI use changes and their emission budgets decrease.

## Energy Use Register

It is recommended that an energy use register is developed and kept updated to track carbon emissions across all the infrastructure that is considered ‘in scope’ for this project.

Different levels of ‘scrutiny’ should be applied to tracking the energy use of different facilities in the register. For the majority of facilities simple estimates / measurements of energy use could be paired with grid information to give quick and reasonably accurate snapshots of DRI emission profiles. More detailed tracking of emissions can then be focused on the highest emitters and those that need larger reductions as carbon budgets tighten.

Some form of energy register is essential for ensuring compliance with NetZero pathways. The recommended ‘scrutiny based energy use register’ will help track such emissions in an efficient way and ensure decarbonisation effort is focussed in the areas where it is most needed.

## Flexible Smart Carbon Scheduler System

To ensure efficient operation within climate safe pathways, a ‘flexible smart carbon scheduler system’ is proposed to be implemented across all facilities. The two main goals of the system design are to operate efficiently within a carbon budget and to focus ‘scrutiny’ (and its resulting effort cost) in areas requiring the most emissions reduction. Initially these reductions may be achieved by addressing the ‘low hanging fruit’ pieces of equipment or by increased intermittent renewable energy supply, thereby leaving the rest of the DRI systems relatively unchanged. But as climate safe pathways shrink the overall carbon budget, efficient allocation systems and flexible decision making structures supporting them will become crucial for all energy use systems.

This system proposed consists of:

- A ‘smart carbon task scheduler’

- Prioritisation method spectrum

- ‘Run criteria’

- Net Zero roadmap / emissions tolerance

- Emissions tracking

- Awareness of electricity grid carbon intensity forecast

- Long term decision making feedback

Figure 5-1: Flexible Smart Carbon Scheduler system example for DRI.

Figure 5-1 below shows an overview of how the different components of a ‘flexible smart carbon scheduler’ system fit together.

The smart carbon scheduler has awareness of the ‘grid carbon intensity’ and an emissions tolerance. The scheduler uses this information to efficiently schedule incoming tasks within an emissions constraint. The flexible system is intended to support the wider emission reduction decision making needed at each facility, ensuring that UKRI’s emission reduction pledge is adhered to in the process.

The scope of this section is limited to introducing a ‘flexible smart carbon scheduler system’ that could be implemented to efficiently manage emissions reductions throughout UKRI’s DRI. This work has been focused on developing an overarching system which can be changed or have further functionality added to as necessary. This system has been designed to inform external long term emission reduction decision making and work in combination with other emission reduction projects.

It is acknowledged that Figure 5-1 is a simplification of complex processes. E.g., DRI is represented by a single box in Figure 5-1 when in reality it can comprise multiple different types of hardware within the same facility. Understanding the operating relationships of each piece of DRI (and the hardware requirements of each task) is an important step in implementing a task scheduler but is considered outside the scope of this project.

Sections 6.2.1 to 6.2.7 below expand on the components of the ‘flexible smart carbon scheduler system’ shown in Figure 5-1.

### Smart Carbon Scheduler

The proposed ‘smart carbon scheduler’ is a task scheduler for a given facility that uses awareness of the changing carbon intensity of the local electricity grid to ensure efficient execution of tasks within a given emissions budget.

Tasks entering the scheduler will be prioritised according to the facility’s chosen prioritisation method. As discussed in Section 6.2.2, there will be a spectrum of priority justification methods to choose from for a given facility depending on its characteristics and emission reduction requirements.

The basic function of the scheduler is to receive tasks, assign them a priority, add them to a queue based on their priority, and release them to the infrastructure as allowed by the ‘run criteria’.

The ‘smart’ nature of the ‘smart carbon scheduler’ also assumes the scheduler can adjust its operation (such as run criteria) in real time based on changing inputs and feedback from emissions tracking to ensure it optimises within its budget.

### Prioritisation Method Spectrum

One of the key components of this ‘flexible smart carbon scheduler system’ is the flexibility of the prioritisation method. The need for a flexible system is driven by the diversity of the facilities that are considered as ‘in scope’ for UKRI’s ‘NetZero Scoping Project’ and the effort required to assign ‘value’ to currently unquantifiable organisation objectives (Section 5.2.1). The system should only require detailed ‘value’ vs. emissions comparisons when absolutely necessary and should use lower effort prioritisation methods where possible within emissions constraints.

Where a facility (or piece of DRI) sits on this spectrum is not only dependent on how the facility operates today, but should be flexible to change as emissions budgets tighten and infrastructure changes.

Below is the proposed spectrum of prioritisation methods which range from no prioritisation required (low effort to implement) to a scoring approach (high level of effort to implement). Scoring and ‘relative comparison’ methods are developed from learnings in Section 5.2.1.

- No prioritisation –

  - All tasks enter into a queue in the order they were requested.

  - First in first out (FIFO) queue structure.

- Users self-determined prioritisation -

  - Users self-determine a priority for their task. E.g., 1, 2, or 3.

  - Some form of feedback to let users know where they are in the queue and current scheduler performance based on predicted carbon intensity of the electricity mix.

  - Potential for workshops before implementation or as needed for users to learn / trial the system.

- Relative comparison -

  - Incoming tasks are judged relative to existing tasks in the queue.

  - The ‘judge’ could be one person central to the facility or multiple people. They could be aided by guidelines and examples.

- Scoring -

  - Incoming tasks are assigned a ‘score’ and prioritised according to that score.

  - The ‘score’ can be a combination of the task’s ranking according to multiple parameters.

  - These parameters would ideally correspond to how the task advances the stated objectives of the organisation.

    - Current stated goals / aims of the research councils would be a good starting point for these ‘objectives’. Easier to quantify ‘proxy objectives’ could be implemented to improve the quantification process.

  - As with the above method, different ‘judge’ roles could be assigned for the facility  depending on how it operates.

  - Well defined parameter scales and existing quantification procedures could be used to develop ‘automated value tracking’ which could reduce human involvement to a monitoring role. To support this, certain information could be required to be specified by users when they submit tasks to the scheduler.

The different prioritisation methods have different strengths and weaknesses for different facilities.

The ‘scoring’ and ‘relative comparison’ methods require more effort per task and as such would be better suited to high energy use tasks. These methods could also be used infrequently on an ‘as needed’ basis for higher throughput facilities. A combination of prioritisation methods could also be employed. Lower effort requiring prioritisation systems could be used to initially categorise tasks, and higher effort requiring methods could be employed on a smaller number of tasks to ensure efficient operation within the emissions budget.

Drawbacks and benefits associated with the ‘users self-determined prioritisation’ method are discussed in Section 5.2.1.1 above. Further functionality for the ‘users self-determined prioritisation’ method could distinguish between ‘urgency’ and ‘importance’ of the task.

Temporal task shifting schedulers usually imply that all tasks will get run eventually, but for some resource constraints this may not be possible all the time as emissions budgets tighten. Further value-monitoring functionality could aim to challenge whether some tasks are worthy of being run at all, or whether code checking systems should recommend the task be re-worked to require less energy while achieving similar outcomes.

Examples of facility characteristics that could influence the chosen prioritisation method include:

  - Total energy use of the facility

  - Average number of tasks processed

  - Predicted utilisation factor under a given emissions budget

    - E.g. is prioritisation even required?

  - Value quantification difficulty

    - Current decision making systems in relation to resource allocation should be preserved.

  - Self-organisation capacity

    - A system with re-occurring requests from known researchers probably has higher social capital than anonymous requests, and will be more capable of self-organisation.

### Run Criteria

The ‘run criteria’ is the algorithm in place to release the (already prioritised) tasks to the infrastructure. It is essentially the level of complexity used to optimise scheduler throughput within a resource budget. Three examples of ‘run criteria’ algorithms are:

- Single threshold: the head of the queue is released to the DRI when the grid carbon intensity is below a certain threshold. This is the most simple ‘run criteria’ option. Some form of feedback is needed to ensure the run tasks are within the emissions budget.

- Priority based threshold: each priority level has a different threshold at which tasks can be released to DRI. Higher priority tasks have a higher threshold.

  - These thresholds could be pre-set values or adjust themselves dynamically to stay within the carbon budget.

- Dynamic forecasting: An intelligent scheduling algorithm that uses a forecast of the grid carbon intensity and the emissions budget to maximise a pre-defined metric (such as ‘value’) within the budget. Feedback from emissions and value tracking could be used to optimise / train the algorithm.

An intelligent dynamic forecasting algorithm is recommended to maximise the ‘value’ of tasks achieved within the given carbon budget (constrained resource). The exact configuration of this algorithm is outside the scope of this project. However, such systems are not uncommon in the literature (see Section 5.2.2 above).

### NetZero Roadmap / Emissions Tolerance

UKRI has made a commitment to reach ‘NetZero’ emissions from DRI use by 2040 or earlier (UK Research and Innovation 2020). The ‘UKRI NetZero Project Scoping Team’ are currently working on a roadmap. A roadmap to achieve this commitment implies some form of emissions tracking and planned reduction of emissions towards the ‘NetZero’ target.

What is important to climate change is not just the date at which infrastructure becomes “NetZero” but the cumulative emissions that are released in the lead up to this period as well as unavoidable emissions that occur after this period (Calverley and Anderson, 2022). Setting milestones (such as ‘NetZero DRI by 2040’) is the standard approach for organisational goals, allowing for the organisation to plan and prepare to achieve the milestone. Detailed plans wishing to address environmental impacts must also account for cumulative emissions over time. It is proposed that this is approached using principles of ‘budgeting’ and ‘finite resource management’, where the emissions you are allowed to emit over a roadmap to NetZero are treated as a finite resource. Resource management techniques (including budgeting) can then be employed to manage the allocation of this resource (emissions budget) over time in a way that brings the most value to the organisation. Some resource management techniques may be familiar to the organisation or industry (financial budgeting and techniques used to allocate finite hardware capacity) and some may need to be developed or borrowed from other industries.

As identified in Section 3.1, a detailed emissions roadmap is considered as an input to this project. This ‘constrained optimisation’ scheduler requires an emissions tolerance setpoint as its constraint to optimise within. The exact profile of this tolerance over time and the ‘renewal’ interval of the budget could be developed according to the overall NetZero roadmap. A basic profile that could be generated from an implicit NetZero pledge would be to cap emissions for all facilities at their current levels and reduce this limit at a rate of 10% per year. This would achieve an 85% reduction by 2040, further reductions could then be implemented in the final years to ensure ‘NetZero’ compliance.

There is much room for discussion around how to distribute this emissions budget internally within UKRI, but the important factor is that an overall emissions reduction pathway is agreed upon and achieved.

### Emissions Tracking

As identified in Section 3.1, emissions tracking is considered as an input to this system. It is recommended however that pursuit of detailed emissions tracking does not prevent initial implementation of the scheduler system. Rough estimates of predicted task energy use can be paired with grid carbon intensity forecasts and compared retrospectively against actual power consumption of the facility. Detailed emissions tracking work can then be developed where it would be most beneficial (e.g., facilities with the highest ‘scrutiny’ required).

Implementing an initial system based on rough power use estimation may give slightly different results to a rigorous emissions tracking system, but it allows the behaviour change process and ‘optimisation within constraints’ paradigm shift (and associated learning / improvements) to start occurring.

Awareness of embedded emissions of infrastructure is an example of further functionality that could be added into this scheduler system to increase the validity of the emissions tracking. Awareness of embedded emissions would also allow the scheduler to optimise the trade-off of high levels of infrastructure capacity curtailment (in the name of load shifting) resulting in lower overall DRI utilisation and thus higher embedded carbon costs per task. Multi-objective optimisation problems are common in task scheduler design literature (Lei et al., 2016).

### Electricity Grid Carbon Intensity Forecast

The carbon intensity of the electricity grid can be estimated by averaging the carbon intensities of the different electricity generation methods supplying the local grid at any one time (according to their proportional contribution).

Websites (such as https://carbonintensity.org.uk/ or https://electricityinfo.org/, accessed 04/01/2023) currently exist that estimate the UK grid carbon intensity and provide forecasts. These readily available trackers can differ slightly in their estimates and the methodology behind them, but they are an ideal starting point to develop demand response systems. E.g. some estimators ignore the comparably small but non-trivial life-cycle carbon emissions associated with renewable energy generation (Staffell, 2017).

There is also debate to be had around what contribution of emissions should be assigned to the marginal demand depending on the state of the grid (e.g., ‘at peak’ or ‘renewable saturation’ states), but the important message remains that large energy demand in a low emission world needs to be responsive to intermittent renewables (de Chalendar and Benson, 2019). Publicly available grid carbon intensity forecasts are recommended as a starting point for implementing this system.

### Supporting Long Term Decision Making

The basic system view in Figure 5-1 also simplifies the decision making feedbacks that are assumed to keep this system updated and on track to meet emission reduction goals. Regular monitoring of emissions and value tracking should be used to inform long term decisions about the DRI and the system as a whole.

Performance monitoring (such as average wait times and how this impacts on workflows) should also be used to inform long term decision making and system optimisation. It should be noted that adherence to long term emissions reduction is fundamental to the design of this system.

# Conclusion

‘Value’ tracking methods were investigated within UKRI’s current practices. There is a wide range of equipment considered as ‘in scope’ for this project and a lack of formal decision making processes around resource allocation within UKRI. Due to this, the recommended system is designed to be as flexible as possible to cater to different facility characteristics.

A literature review of organisations’ approach to value quantifications and comparisons was conducted. A wide range of performance measurement methods are used by different organisations. The key learnings from this review are that performance measurement systems are catered to an organisation’s specific operation and that large effort requirements associated with detailed direct quantification should be minimised.

Task schedulers were identified as an overarching system to implement DRI emissions reduction through value comparison.

The overall recommendation of this project is for UKRI to implement a system that monitors the emissions from DRI use, and alters it in line with the diminishing carbon allowance required for a NetZero pathway.

A specific recommendation of how to implement such a system that is efficient and flexible is:

- Development of an ‘energy use register’ to track environmental impact of DRI.

  - This will be used not just for visibility of emissions, but also to inform where emission reduction effort should be focused.

- Implementation of an overall ‘flexible smart-carbon-scheduler’ system at each facility. This system will:

  - Ensure each facility operates in line with NetZero pathway.

  - Schedule tasks / allocate resources as efficiently as possible.

  - Inform emission reduction decisions.

  - Be flexible enough to accommodate different facility types.

The key principles of this system are that it operates within an emissions constraint and is a flexible enough framework to be adapted to differing infrastructure characteristics.

The recommendation presented in this report is a high-level, modular framework. More work will need to be done in a ‘detailed design’ phase before the system can be implemented. However, it is recommended that pursuit of detailed emissions tracking does not prevent initial implementation of the scheduler system. Estimations of energy use coupled with publicly available grid carbon intensity data should be used as the initial emissions tracking methodology. Detailed emissions tracking can then be introduced as needed.

# References

Ackerman, F. and Heinzerling, L. (2002) 'Pricing the Priceless: Cost-Benefit Analysis of Environmental Protection', University of Pennsylvania law review, 150(5), pp. 1553-1584.

Bertrand, V. (2012) 'Climate Policy, Emission Trading and the EU ETS: A Review', International journal of energy, environment, economics, 20(5), pp. 479-507.

Burge, S. (2009) 'The Systems Engineering Tool Box', doi. Available at: https://www.burgehugheswalsh.co.uk/uploaded/1/documents/pugh-matrix-v1.1.pdf (Accessed: 05 Jan 2023).

Calverley, D. and Anderson, K. (2022) Phaseout Pathways for Fossil Fuel Production Within Paris-compliant Carbon Budgets doi.

Carvalho, M.L., Temporelli, A. and Girardi, P. (2021) 'Life Cycle Assessment of Stationary Storage Systems within the Italian Electric Network', Energies, 14(8).

CEDA (2021) UKRI Net Zero Digital Research Infrastructure Scoping Project. Available at: https://net-zero-dri.ceda.ac.uk/ (Accessed: 16/09/2022).

de Chalendar, J.A. and Benson, S.M. (2019) 'Why 100% Renewable Energy Is Not Enough', Joule, 3(6), pp. 1389-1393.

Goiri, Í., Beauchea, R., Le, K., Nguyen, T.D., Haque, M.E., Guitart, J., Torres, J. and Bianchini, R. (2011) SC '11: Proceedings of 2011 International Conference for High Performance Computing, Networking, Storage and Analysis. 12-18 Nov. 2011. doi: 10.1145/2063384.2063411.

Juckes, M., Pascoe, C., Woodward, L., Vanderbauwhede, W. and Weiland, M. (2022) Complexity, Challenges and Opportunities for Carbon Neutral Digital Research.

Kaplan, R.S. and Norton, D.P. (1992) 'The Balanced Scorecard--Measures That Drive Performance', Harvard Business Review, 70(1), pp. 71-79.

Knol, A.B., Slottje, P., van der Sluijs, J.P., Lebret, E., Environmental risk, m., Risk Assessment of, T., Immunomodulatory, A., Dep, I., Sub Science, T. and Society, b. (2010) 'The use of expert elicitation in environmental health impact assessment: a seven step procedure', Environmental health, 9(1), pp. 19-19.

Krioukov, A., Alspaugh, S., Mohan, P., Dawson-Haggerty, S., Culler, D.E. and Katz, R.H. (2012) Design and Evaluation of an Energy Agile Computing Cluster (UCB/EECS-2012-13). EECS Department, University of California, Berkeley. Available at: http://www2.eecs.berkeley.edu/Pubs/TechRpts/2012/EECS-2012-13.html.

Kronbak, L.G. and Vestergaard, N. (2013) 'Environmental cost-effectiveness analysis in intertemporal natural resource policy: evaluation of selective fishing gear', J Environ Manage, 131, pp. 270-9.

Krumdieck, S. and Hamm, A. (2009) 'Strategic analysis methodology for energy systems with remote island case study', Energy Policy, 37(9), pp. 3301-3313.

Lei, H., Wang, R., Zhang, T., Liu, Y. and Zha, Y. (2016) 'A multi-objective co-evolutionary algorithm for energy-efficient scheduling on a green data center', Computers & Operations Research, 75, pp. 103-117.

Lei, H., Zhang, T., Liu, Y., Zha, Y. and Zhu, X. (2015) 'SGEESS: Smart green energy-efficient scheduling strategy with dynamic electricity price for data center', Journal of Systems and Software, 108, pp. 23-38.

Liu, Z., Minghong, L., Wierman, A., Low, S. and Andrew, L.L.H. (2015) 'Greening Geographical Load Balancing', IEEE/ACM transactions on networking, 23(2), pp. 657-671.

Moore, M.H. (2003) 'The Public Value Scorecard: A Rejoinder and an Alternative to 'Strategic Performance Measurement and Management in Non-Profit Organizations' by Robert Kaplan', SSRN Electronic Journal, doi: 10.2139/ssrn.402880.

Moriarty, P. and Honnery, D. (2022) Switching Off: Meeting Our Energy Needs in A Constrained Future (1). Springer Singapore.

Murphy, K.E. and Simon, S.J. (2002) 'Intangible benefits valuation in ERP projects', Information systems journal (Oxford, England), 12(4), pp. 301-320.

Ostrom, E. (2015) Governing the Commons : The Evolution of Institutions for Collective Action doi: 10.1017/CBO9781316423936. Canto classics edn. Cambridge : Cambridge University Press.

Randers, J. (2012) 'Greenhouse gas emissions per unit of value added (“GEVA”) — A corporate guide to voluntary climate action', Energy policy, 48, pp. 46-55.

Schwartz, S.H. (2012) 'An Overview of the Schwartz Theory of Basic Values', Online Readings in Psychology and Culture, 2(1).

Selameab, T. and Yeh, S.S. (2008) 'Evaluating Intangible Outcomes: Using Multiattribute Utility Analysis to Compare the Benefits and Costs of Social Programs', The American journal of evaluation, 29(3), pp. 301-316.

Silvertown, J. (2015) 'Have Ecosystem Services Been Oversold?', Trends Ecol Evol, 30(11), pp. 641-648.

Staffell, I. (2017) 'Measuring the progress and impacts of decarbonising British electricity', Energy Policy, 102, pp. 463-475.

Tol, R. (2011) 'The Social Cost of Carbon', Annual Review of Resource Economics, 3(1), pp. 419-443.

Treinta, F.T., Moura, L.F., Almeida Prado Cestari, J.M., Pinheiro de Lima, E., Deschamps, F., Gouvea da Costa, S.E., Van Aken, E.M., Munik, J. and Leite, L.R. (2020) 'Design and Implementation Factors for Performance Measurement in Non-profit Organizations: A Literature Review', Front Psychol, 11, p. 1799.

UK Research and Innovation (2020) The UKRI Sustainability Strategy. Available at: https://www.ukri.org/wp-content/uploads/2020/10/UKRI-050920-SustainabilityStrategy.pdf.

UKRI (2021) UKRI targets net zero computing. [Press Release].  30 November 2021.  Available at: https://www.ukri.org/news/ukri-targets-net-zero-computing/.

UKRI (no date) Who we are. Available at: https://www.ukri.org/about-us/who-we-are/ (Accessed: 16 Jan 2023).

Yang, X., Zhou, Z., Wallace, S., Lan, Z., Tang, W., Coghlan, S. and Papka, M.E. (2013) 'Integrating dynamic pricing of electricity into energy aware scheduling for HPC systems', Proceedings of the International Conference on High Performance Computing, Networking, Storage and Analysis. pp. 1-11. doi: 10.1145/2503210.2503264.

Zhang, Y., Wang, Y. and Wang, X. (2012) 'Electricity Bill Capping for Cloud-Scale Data Centers that Impact the Power Markets', 2012 41st International Conference on Parallel Processing. pp. 440-449. doi: 10.1109/icpp.2012.23.

zu Ermgassen, P.S.E., Baker, R., Beck, M.W., Dodds, K., zu Ermgassen, S.O.S.E., Mallick, D., Taylor, M.D. and Turner, R.E. (2021) 'Ecosystem Services: Delivering Decision-Making for Salt Marshes', Estuaries and Coasts, 44(6), pp. 1691-1698.