## Slide 1: Rural electrification planning
Mamoudou Mory Mahamadou, Email: morymmd@yahoo.fr
Energy Modelling Platform for Africa (EMP-A)
2023
Flag or map of the country…
Notes: The theory should cover aspects of seasonal/daily variability of demand

## Slide 2: Context, Challenges, and Main Findings
Area: 1 267 000 km²
Estimated Population: 25 067 070 (2022)
GDP per capita: 507.71 USD
Electricity access: 18,75% (2022)
Renewable energy capacity: around 50 MW
It is in this context that we are going to use the EAE platform to take stock of the energy situation of the populations.
Notes: We need to simplify and understand the representation of reality
And how if can evolve

## Slide 3: Analysis
Scenario Label | Scenario Description | Key Assumptions
Objective Scenario 0 | Assuming the current state of the distribution lines, we notice that 9,867,315 people do not have access to electricity. | On the platform, let's load the population density and the distribution line and visualize.
Scenario1 | The number of people without access to electricity goes from 9,867,315 to 2,307,129, ie an access rate of 76.62% and this population is distributed according to the different areas of potentiality. | I am extending the network by 5 km
Scenario 2 | The number of people without access to electricity goes from 9,867,315 to 882,562, that is an access rate of 91.06%. | I am extending the network by 10 km
Notes: We need to simplify and understand the representation of reality
And how if can evolve

## Slide 4: Result scenario 0

## Slide 5: Result scenario1
Notes: We need to simplify and understand the representation of reality
And how if can evolve

## Slide 6: Result scenario 2

## Slide 7: Conclusions and Policy Insights
We clearly notice that if we extend the network, even by 5 to 10 km, we will considerably increase the rate of access of households to electricity.
The ideal would be to extend the network, but we should have a look in terms of cost-effectiveness and see the best option (extension of the network, mini-grids, solar kits) for each locality to be electrified.
Policy insights:
National electricity policy document;
National electricity access strategy;
Electricity access master plan
Future Work
Make a tutorial for the EAE platform interface
Configure with the French option in the languages
Continue the training but it is always necessary to provide a translation, especially in French
Notes: We need to simplify and understand the representation of reality
And how if can evolve

## Slide 8
THANK YOU FOR YOUR ATTENTION