## Slide 1: Accelerating Clean Energy Transition in Kenya Financial Analysis of a Solar PV Power Plant
By Lee Okombe & Erick Bikoro:
Email: Lee.okombe@epra.go.ke, Ebikoro@kplc.co.ke
ICTP Joint Summer School for Sustainable Development

## Slide 2
Context and Aim
Kenya has immense solar potential estimated at
4 - 6 kWh/m²/day.
The costs of solar PV have been on a downward trend making it very competitive.
Chart: Solar PV Installed Costs
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
 | 4808 | 4104 | 3124 | 2742 | 2478 | 1887 | 1717 | 1483 | 1267 | 1046 | 916 | 857
IRENA,2021

## Slide 3
Context and Aim...
Solar PV is one of the technologies identified for meeting Kenya’s electricity demand in the 2022-2041 Least Cost Power Development Plan
Kenya is targeting 100% Renewable Energy Transition by 2030.
One of the government’s priorities(Bottom-Up Economic Transformation - BETA) is reducing the cost of living which implies provision of affordable energy.
Achieving Universal Electricity Access by 2026
 | Installed MW | 
 | 2013 | 2023
Hydro | 816.0 | 839.0
Geothermal | 251.0 | 950.0
Thermal | 548.1 | 681.6
Emergency Power | 120.0 | 0.0
Wind | 5.6 | 438.3
Biomass | 26.0 | 2.0
Solar | 0.2 | 210.6
Total Capacity MW | 1766.9 | 3121.4
The aim is to determine the viability of a solar power plant and its application in the MTP (Medium Term Planning projects that are being factored in LCPDP)

## Slide 4
40 MW
(59.6 GWh p.a)
Capacity(MW)
Debt( Export Credit Loans ) and Equity
Financing
USD 0.6
Annual O&M Cost (Millions USD)
$ 4%
Kshs 8%
Inflation
25 Years
Plant Life
US$ 0.0575
Electricity Price
Located in the South-East of Kenya (Northern section of the Serengeti Ecosystem), an area of 25,000 sq Km in Kenya
High solar irradiation
Good disposition of panels - No obstacles
Ready Market & transmission line
Sessional Paper Number 4 on Energy for the period 2004-2023 targets 300 MW FiT tariff sets tariff already
MMara Solar Photovoltaic.
Construction Period
25 Years
Commissioning
2025
Investment Cost USD Million
34.2
Exchange Rate to the Dollar
Kshs140/$
Project Description & Financing
1 Year

## Slide 5
Scenarios / Sensitivity Analysis
Construction Period
BAU
Situation.
Project Construction currently 25 Years
One (1) Year to construct.
Financing BAU
Situation.
Loan term is 8 Years
Interest is currently at 5%
Construction Period
Scenario
Scenario Change.
Project Construction delays by 2 years due to:
Force Majeure &
Project Milestones.
Impact: Reduce revenues By Kshs 519 Million
Increased Expenses by Kshs 728.93 Million
Financing Scenario
Scenario Change.
Loan term is increased to 12 years Electricity sector reforms on reducing the cost of power procured.
Interest isreduced to 4.7% expected to be renegotiated for the sustainability.
Savings of Kshs 1,066.40 Million

## Slide 6
Results
Chart: Expenses, Revenues, Dividend & O & M Costs BAU
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Expenses | 2.7552 | 1535.6753 | 916.6236 | 939.2111 | 962.4082 | 1020.5916 | 1105.2065 | 1030.8237 | 1054.9748 | 957.1505 | 1063.4495 | 1157.4077 | 305.6836 | 594.5431 | 675.0316 | 737.5253 | 804.7244 | 877.0131 | 954.8067 | 1038.5544 | 1128.742 | 1225.8951 | 1330.5821 | 1443.4176 | 1565.0667 | 1696.2485 | 1192.9417 | 1283.2208
Revenues | 0 | 518.93 | 561.2747 | 607.0748 | 656.6121 | 710.1916 | 768.1432 | 830.8237 | 898.6189 | 971.9462 | 1051.2571 | 1137.0396 | 1229.8221 | 1330.1756 | 1438.7179 | 1556.1173 | 1683.0964 | 1820.4371 | 1968.9848 | 2129.6539 | 2303.4337 | 2491.3939 | 2694.6916 | 2914.5784 | 3152.408 | 3409.6445 | 3687.8715 | 3988.8018
Dividend | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 539.4884 | 658.1162 | 729.1112 | 804.9799 | 886.1204 | 972.9631 | 1065.9731 | 1165.6538 | 1272.5495 | 1387.2488 | 1510.3887 | 1642.6578 | 1784.8011 | 2783.5306 | 2994.1819
Flow to short term deposits
O&M cost | 0 | 94.4886 | 102.1988 | 110.5383 | 119.5582 | 129.3141 | 139.8662 | 151.2793 | 163.6236 | 176.9753 | 191.4165 | 276.0481 | 298.5737 | 363.3044 | 392.9501 | 425.0148 | 459.696 | 497.2072 | 537.7793 | 581.6621 | 629.1257 | 680.4624 | 735.9881 | 796.0448 | 861.002 | 931.2598 | 0 | 0
Chart: Expenses, Revenues, Dividend & O & M Costs Scenario Case
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Expenses | 0.00288 | 356.5713 | 936.0674 | 715.2258 | 735.167 | 760.7541 | 794.4587 | 827.6243 | 859.9268 | 890.9938 | 920.3984 | 1016.6652 | 1122.9179 | 1068.421 | 857.1784 | 897.8301 | 942.7624 | 992.3247 | 1046.8946 | 1033.1615 | 967.7831 | 1056.8313 | 1152.733 | 1256.0474 | 1367.3793 | 1487.3829 | 1616.766 | 1056.9363
Revenues | 0 | 442.2186 | 478.3037 | 517.3333 | 559.5477 | 605.2068 | 654.5916 | 708.0063 | 765.7796 | 828.2672 | 895.8538 | 968.9555 | 1048.0223 | 1133.5409 | 1226.0378 | 1326.0825 | 1434.2909 | 1551.329 | 1677.9174 | 1814.8355 | 1962.9261 | 2123.1009 | 2296.3459 | 2483.7277 | 2686.3999 | 2905.6101 | 3142.7079 | 3399.1529
Dividend | 0 | 134.7033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 164.6171 | 310.2223 | 368.8594 | 428.2524 | 491.5284 | 559.0043 | 631.0228 | 707.9546 | 790.2005 | 878.1942 | 972.4047 | 1073.3394 | 1181.5469 | 1297.6207 | 1422.2026 | 2466.1846
Flow to short term deposits
O&M cost | 0 | 0 | 102.1988 | 110.5383 | 119.5582 | 129.3141 | 139.8662 | 151.2793 | 163.6236 | 176.9753 | 191.4165 | 276.0481 | 298.5737 | 363.3044 | 392.9501 | 425.0148 | 459.696 | 497.2072 | 537.7793 | 581.6621 | 629.1257 | 680.4624 | 735.9881 | 796.0448 | 861.002 | 931.2598 | 1007.2506 | 0
BAU Scenario
Revenues are slower in rising compared to the expenses.
Sharp deep in expenditure due to loan completion
Dividends late in starting
Case Scenario
Savings from the 2 year extension aids the sharp rise during construction year
Even curves in expenditures
Dividends late in starting
1,166.4 Million
Kshs 728.93 Million

## Slide 7
Results
Chart: NPV, IRR Vs TARRIF($)
| Price (KWh) | 0.375 | 0.040 | 0.045 | 0.046 | 0.047 | 0.048 | 0.050 | 0.057 | 0.058
NPV | -2085.07 | -1154.48 | -238.84 | -58.04 | 122.04 | 211.92 | 659.54 | 1899.71 | 1987.88
Price (KWh) | 0.375 | 0.04 | 0.045 | 0.046 | 0.047 | 0.0475 | 0.05 | 0.057
IRR | 0.0135 | 0.0467 | 0.0657 | 0.06898 | 0.07208 | 0.0735 | 0.0808 | 0.0988
Case Scenario
Despite the extended construction period the optimal price remains around US 4 Cents
Low impact on the NPV and IRR by the various changes
BAU Scenario
Despite 1 year construction and a high rate of Interest,
The optimal price remains around US 4 cents
The price of solar is coming down
Chart: NPV, IRR Vs TARRIF($)
| Price (KWh) | 0.375 | 0.040 | 0.045 | 0.046 | 0.047 | 0.048 | 0.050 | 0.057 | 0.058
NPV | -2085.07 | -1154.48 | -238.84 | -58.04 | 122.04 | 211.92 | 659.54 | 1899.71 | 1987.88
Price (KWh) | 0.375 | 0.04 | 0.045 | 0.046 | 0.047 | 0.0475 | 0.05 | 0.057
IRR | 0.0135 | 0.0467 | 0.0657 | 0.06898 | 0.07208 | 0.0735 | 0.0808 | 0.0988

## Slide 8
Conclusions and Policy Insights
Review of financing terms is a viable option for reducing the cost of power
Governments can consider this route when negotiating with IPPs to manage the cost of electricity.
Promotion of Solar Technology
Government to develop and implement policies to promote adoption of solar such as Net Metering, RE Auctions and Feed-in-Tariffs.
Construction risk mitigation
Project developers should put in place mechanisms to manage construction risks such as turnkey projects etc.
Governments to enhance transparency and efficiency of project clearance processes.

## Slide 9
Thanks!