Notes on Metabolism QA/QC, Denise Bruesewitz 02-18-2016

Nastjarn 2013

QA/QC overview

Files generated:

DO concentration (‘Nastjarn_doobs.txt’)

Wind Speed (‘Nastjarn _wnd.txt’)

Temperature Profile (‘Nastjarn _wtr.txt’)

PAR (‘Nastjarn_par.txt’)

*Data was downloaded from Klaus_Gleon_metabolism_lake_data folder from Dropbox GLEON Catchment & Lake Metabolism Folder.

Metadata note: DO signal was corrected for drift, assuming linear change (0% drifted by 0.81 and 100% by 2.40 during the 5 month deployment time).

METADATA

Mangstrettjarn DO sensor depth = 1 m   #Metadata file says DO sensor @0.5 m, but doobs.txt file says 1 m?

atmPres <-    #average atmospheric pressure at local elevation, mmHg

windHeight <-  10   #height above lake at which wind speed is measured in meters

timeStep <- 10      #number of minutes between DO measurements Note PAR and wind @ 5 minutes

lat<- 64.159        #latitute of Nastjarn

DO file

Column A header: dateTime

Column A format: YYYY-MM-DD h:mm

Right click in excel Format cellscustomenter in the “Type:” box:

yyyy-mm-dd h:mm

Column B header:  DO

Column B units: mg L-1

Graph the data points to see if there are any abnormalities or missing data.

Save the file as a tab-delimited file with LakeName_YYYY_DO.txt as the file name:

- DO data provided for 1.0 m (but metadata form says 0.5 m sensor?)

Data in 10 min intervals from 01/06/2013 to 12/10/2013: Winter data, with some gaps and no corresponding winter data for temp, PAR or wind. Therefore, trimmed QAQC dataset to match other variables from 5/10/13 to 10/14/2013

Missing data gaps: 5/11/13 to5/14/12 9:00; 5/31/13 to 6/6/13 00:05:00; 6/10/13 to 6/13/13 5:00; 6/30/13 to 7/6/13 05:00; 7/10/13 to 7/13/13 05:00; 7/31/13 to 8/6/13 05:00; 8/10/13 to 8/13/13 00:02; 8/31/13 to 9/6/13 05:00; 9/10/13 to 9/13/13 00:02; 9/30/13 to 10/6/13 05:00; 10/10/13 to 10/13/13 00:02;

- Overall range (including winter data) from 3.71 to 9.91 mg/L

- Data is in 10 minute intervals; but there are some jumps (ie from the :05’s to the :02’s, etc)

Trimmed Range: 3.71-9.91 mg/L

DO Saturation file

No DO saturation file provided

Wind speed file

Column A header: dateTime

Column A format: YYYY-MM-DD h:mm

Right click in excel Format cellscustomenter in the “Type:” box:

yyyy-mm-dd h:mm

Column B header:  windSpeed

Column B units: m s-1

Graph and look for negative numbers or unrealistically high numbers- everything looked fine.

- Wind speed data presented in 5 minute intervals from 5/8/2013 to 10/15/2013.

- Wind speeds ranged from 0 to 7.05  m/s.

- Some nights get PAR reaches 0, other nights it reaches a low number (<1). Seems to reach 0 more towards end of dataset?

Wind Direction file

Wind direction data not provided

PAR file

Column A header: dateTime

Column A format: YYYY-MM-DD h:mm

Right click in excel Format cellscustomenter in the “Type:” box:

yyyy-mm-dd h:mm

Column B header:  PAR

Column B units: uE m-2 s-1

Minimum value is 0, Maximum is 2449.15

No outliers removed

Data in 5 minute intervals from 5/8/13 to 10/15/13

Thermistor data file

Column A header: dateTime

Column A format: YYYY-MM-DD h:mm

Right click in excel Format cellscustomenter in the “Type:” box:

yyyy-mm-dd h:mm

Column headers: Each temp sensor should have its own column named temp0.0 or temp4.0 or temp10.0

Temp0, temp0.5, temp1.0, temp1.5, temp2.0, temp2.5, temp3.0, temp4.0, temp 4.4, temp6.0 temp9.0

Temp0.0 range  5.49- 25.53

Temp0.5 range 5.59-22.30

Temp1.0 range 4.84-20.37

Temp1.5 range 4.35-18.79

Temp 2.0 range 4.35-16.80

Temp 2.5 range 4.35-13.93

Temp 3.0 range  4.22-11.88

Temp4.0 range 4.01-8.87

Temp4.4 range 3.96-7.87

Temp6.0 range 3.93-5.90

Temp 9.0 range 4.06-5.44

Column B-I units: °C

Check the min and max of each column to make sure they are in good range

Graph the data points to see if there are any abnormalities or missing data.

Temperature data in 10 minute intervals from 5/10/13 to 10/14/2013

0 m and 0.5 m data appear highly variable- likely microstratification.