Cryo-EM HTT Q23 (+/- DNA) sample generation (2017/08/02)

Previous work:

HTT Q23 was shown to bind a 32 bp FAM tagged oligo in a concentration dependent manner https://zenodo.org/record/801606

C12 – dsDNA oligo tagged with 6-FAM

5’-FAM-TCTTCTGGTCCGGATGGTAGTTAAGTGTTGAG

5’-FAM-CTCAACACTTAACTACCATCCGGACCAGAAGA

Following preparation of cryo-EM samples https://zenodo.org/record/803139#.WY3ivq2ZNE4 and grids https://zenodo.org/record/809265#.WY3j3K2ZNE4 data was collected and processed

resulting in generation of a 13 Å envelope (B), which looks very similar to the negative stain 15 Å envelope calculation (A) previously calculated https://zenodo.org/record/841824#.WY3pf62ZNE4:

Structure resolution is limited by conformational heterogeneity and DNA binding was not observed. More stringent sample preparation is required.

28th July 2017:

To evaluate how stronger cross-linking might affect the sample the following procedure was followed:

6 x 30 mL gradients of 5-15 % (w/v) sucrose, 0-0.5 % (v/v) glutaraldehyde (EM grade, Sigma - G5882) in 20 mM Hepes pH 7.4, 300 mM NaCl were poured.

NB: previously 0.2 % (v/v) glutaraldehyde maximum.

~250 µg of HTT1-3144 Q23 (TOC009:D01) (~700 pmol) was applied each to tubes 1, 2 and 3.

~250 µg of HTT1-3144 Q23 (TOC009:D01) (~700 pmol) incubated with 70 µg of C12 oligo (~3500 pmol – 5:1 DNA:protein ratio) on ice for 1 hour, was applied each to tubes 4, 5 and 6.

Protein purification: https://zenodo.org/record/823764#.WY4WGK2ZNE4

Tubes spun in SW32-Ti for 18 hours, 4 ºC, 28,000 rpm (~ 100,000 xg average)

29th July 2017:

Each tube fractionated into ~15 x 2 mL fractions. 30 µL fraction + 10 µL 4 x loading dye run on 4-20 % Tris-Glycine SDS-PAGE at 200 V, 2 hours.

Fractions 7-10 of each tube contain the monomer fraction. Apo and DNA bound samples were pooled and concentrated with MWCO 100,000. Samples were frozen in 6 x 5 µL aliquots at 2.9 mg/mL (Apo) and 3.4 mg/mL (DNA bound – 300).

Generating the DNA bound sample is a trade-off between HTT aggregation (alleviated in higher salt ~300 mM) and DNA binding (EMSA shows binding at 150 mM). Therefore the gradient fixation was repeated:

6 x 30 mL gradients of 5-15 % (w/v) sucrose, 0-0.5 % (v/v) glutaraldehyde (EM grade, Sigma - G5882) in 20 mM Hepes pH 7.4, 150 mM NaCl were poured

~250 µg of HTT1-3144 Q23 (TOC009:D01) (~700 pmol) incubated with 70 µg of C12 oligo (~3500 pmol – 5:1 DNA:protein ratio) on ice for 1 hour, was applied each to tubes 7, 8 and 9.

Tubes spun in SW32-Ti for 18 hours, 4 ºC, 28,000 rpm (~ 100,000 xg average)

30th July 2017:

The monomer sample seems to be present in the heavier fractions under these conditions – DNA binding or a function of the salt concentration? Fractions 5-8 of each tube contain the monomer fraction. Fractions pooled and concentrated with MWCO 100,000. Sample frozen in 4 x 5 µL aliquots at 3.4 mg/mL (DNA bound - 150).

31st July 2017:

Samples shipped on dry ice to Prof. Susan Lea at University of Oxford.

2nd August 2017:

Samples received and stored in -80 ˚C.