## INDEX ENG
FAO Laboratory Mapping Tool (LMT-Core)
Guidelines
Questionnaire
Summary
LMT Version 092016
The purpose of this tool is to aid laboratory assessment and determine strengths and gaps in laboratory functionality. The LMT-Core allows the generation of a laboratory profile or “map”, and can be adapted to demonstrate functionality and capacity status at the national, regional and global levels. It can also be used to establish a baseline for laboratory status (at the single laboratory, national or regional level) prior to an intervention: progress and impact can be measured against this baseline during and after the intervention.
The LMT-Core is based on a standardized questionnaire that allows data to be captured either by external evaluators or through self-assessment. The tool is designed to facilitate the assessment of laboratory functionality in a systematic and semi-quantitative manner.
The LMT-Core allows to assess five areas: 1/ general laboratory profile; 2/infrastructure, equipment and supplies; 3/ laboratory performance; 4/quality assurance and biosafety/biosecurity; and 5/ laboratory collaboration and networking. Within these five areas, 17 categories and 108 subcategories have been selected.
Guidelines for the use of the FAO Laboratory Mapping Tool .
The LMT-Core questionnaire includes 17 categories and 108 subcategories. For each subcategory, one out of four options can be selected .
Scores of 3 different assessments A, B and Current (eg different years, different assessors, etc.) can be included in the questionnaire and will be automatically taken into account in the calculations in the summary.
Scores for the 5 areas, the 17 LMT-Core categories and an overall score will be automatically calculated and graphics generated.
A narrative description can be added by the assessor, to discuss LMT-Core results (eg. strengths and gaps, evolution between several assessments) and main conclusions.

## 1. Guidelines-user-ENG
Guidelines for the use of the FAO Laboratory Mapping Tool ver.092016
Carefully review the LMT and check the comments for additional definitions and clarifications to avoid misunderstandings (it may be necessary to additionally refer to documents provided by links)
Print out the LMT to be used in the laboratory as a questionnaire-template. (The sheet is already formatted for printing the necessary frame).
The LMT comprises 5 Areas (see Column N): General laboratory profile (area 1); Infrastructure, equipment, supplies (area 2); Lab performance (area 3); QA, Biosafety/Biosecurity (area 4); Lab collaboration and networking (area 5).
For each question (1-108) select one option (per row) which best describes the situation based on your lab-assessment and evaluation. If using a print out - can either record the score in the column for the current assessment C (column I- the other two columns G and H can be used for previous assessments), or just check the relevant statement and score later. Check "N/A" (column J) if not available.
If situation stands between two scores, please select one score and describe the reason for hesitation in the column for comments (column K).
In case a given score for a given sub category is +/- 2 or 3 compared to the previous score, please provide a comment in column K.
For analysis, ''LMT questionnaire'' sheet has to be filled, then use “Summary” sheet to visualise the scores for the 5 areas, the 17 different LMT categories and total score , that will be automatically calculated and graphics generated. The results of the current assessment C will be automatically compared to other assessments if data is available for assessments A and B.

## 2. LMT Questionnaire ENG
FAO Laboratory Mapping Tool (LMT) ver.092016
| A: Date assessment | dd/mm/yyyy | Name assessor A: |  | Assessor's affiliation: |  |  |  |  | Self assessment Y / N
| B: Date assessment | dd/mm/yyyy | Name assessor B: |  | Assessor's affiliation: |  |  |  |  | Self assessment Y / N
| C: Date current assessment | dd/mm/yyyy | Name assessor C: |  | Assessor's affiliation: |  |  |  |  | Self assessment Y / N
| Laboratory accronym | Lab x | Laboratory full name: |  | Address/Contact details/phone:
| Lab affiliation | Public/Government Private University Other |  |  | Lab admin level: | Sub-national [District or Provincial] National Regional Not applicable
| Main lab activity: | Research Diagnostic Biologics production Other |  |  |  | Check here if OIE and/or FAO or other Reference or Collaborating Centre (specify):
(insert your answer here)
Name of persons interviewed:
Assessment A:
Assessment B:
Current assessment C:
SELECT ONLY 1 OPTION per row THAT BEST DESCRIBES THE SITUATION and complete "Assessments Scores" for assessment C (Current assessment) scoring either 4,3,2 or 1 (there are 3 columns for 3 different assessments: previous A, previous B, current C), or check check "N/A" (Non Applicable- column J). If N/A is selected, this sub-category will not be taken into consideration for the scores in the Summary. If situation stands between two scores, please select one score and describe the reason for hesitation in the column for comments (column K). In case a given score is +/- 2 or 3 compared to the previous score, please provide a comment (column K).
# | Sub Category | 4 | 3 | 2 | 1 | Assessments scores |  |  | N/A | Assessor's comments Current assessment | Additional information for the assessor | Category | Area | #
[6 empty] | A | B | C Current
1 | Strategic placing | Isolated compound outside of any residential area | Isolated compound in low populated area | Single building in low populated area | Building within residential area | [6 empty] | Geographic location | General Laboratory Profile | 1
2 | Accessibility | Proper containment + guard (24 hr) + Restricted access to building by use of Identity card (employees) only | Restricted access, doors are locked + guard at the entrance for 24 h | Doors are closed but not locked / low biosecurity level / guard is not always present | Easy access to laboratory compound even by visitor / stranger / doors are open / no guard present | [8 empty] | 2
3 | Location, access | Access to highway, airport, harbor and / or station within 30 minutes | Access to highway, airport, harbor or station within 60 minutes | Access to road; but sometimes limitations (traffic, road condition, flooding) | Regular limitations in access to transport means (traffic, bad road, airport is far) | [8 empty] | 3
4 | Financial autonomy (allocation of funds) | Lab is financially autonomous, lab funds (>90%) from public source and/or self-generated | Lab is almost financially autonomous; lab funds from public source or self-generated (>60%) AND development programmes (<40%) | Lab has insufficient own budget (<60%), activities dependant on development partners (>40%) | Lab has no autonomous budget; all activities exclusively rely on external funding source | [6 empty] | Laboratory Budget |  | 4
5 | Research autonomy (n of publication / year) | Lab budget allows ample opportunity for research (>10 publications/year) besides routine diagnostic/production | Lab budget allows limited research (1 to 10 publications/year according to the lab context), but mainly routine diagnostic/production | Lab budget is insufficient for research, but results from ongoing work are published in national journals/bulletin or regularly presented | No research activity due to insufficient lab budget | [8 empty] | 5
6 | Autonomous infrastructural upgrading (n of constructions / year) | Lab budget sufficient for regular (1/year) upgrading / renovation of larger lab infrastructure | Lab budget allows irregular (1 / 3 years) independent upgrading / renovation of infrastructure | Constructions or renovation by use of lab budget irregular and only for minor infrastructural changes | Construction or renovation in general only possible under external funding | [8 empty] | 6
7 | Regular (hours of) electricity supply | Constant (24 hours) stable electricity supply + stabilizer and automatic stand-by generator | 24 hours electricity supply + stabilizer and back-up generator (manually operated) | Frequent electrical instability/voltage irregularity, manually/automatically operated generator + stabilizer | Electricity supply (temporarily) less than 10 hours per day, generator does not run permanently (not existent, no fuel) | [6 empty] | Basic supply |  | 7
8 | Regular water supply (access and quality) | Daily and unlimited supply of good-quality (drinkable) water (pipe) through public source; no risk of water shortage | Sufficient daily supply of low quality (not drinkable) water through pipe or tank ; back-up tank available | Supply of water through tank; sometimes insufficient or low quality (not drinkable) | Irregular and insufficient water supply, also low quality (not drinkable) | [8 empty] | 8
9 | Access to purified, deionized, distilled water | Unlimited access to purified water; own production of deionised and distilled water | Easy access to deionised and distilled water (external/internal source) | Limited access to deionised and/or distilled water (external/internal source) | Difficult or no access to deionised and/or distilled water | [8 empty] | 9
10 | Sustainable personnel organization system | Organigram and organization system in place + written description of responsibilities according to personnel skill level | Organigram and organization system in place; staff mostly know their roles, but not written down | Organization system in place, but frequent changes, staff not always clear on their roles | Frequent shifting of personnel, no stable organization system | [6 empty] | Organization |  | 10
11 | Containment (means of containment) | All lab departments (of different Biosafety levels) are clearly separated and well contained by airlock, personnel shower/changing room, sterilizing and storage rooms; use of disinfections, identity badges or other means (then describe). It can be accessed only by lab staff from the department | Lab departments are separated (e.g. different buildings, different floors) with restricted access but can be accessed by lab staff from other department with change of lab clothes including shoes and use of disinfectants | Lab departments are separated (e.g. different buildings or different floors for different departments), all lab staff can enter the different departments any time, change of lab clothes possible but not always required/followed | No clear separation, e.g. one-room-lab or one floor harbours different departments (rooms) that can be easily accessed without changing clothes, without using disinfectants | [5 empty] | Department: e.g. department for virology, molecular biology, parasitology, bacteriology & mycology, toxicology; or labs of different biosafety levels that are separated; containment: system for confining microorganisms or organisms or other entities within a defined space | Infrastructure | Infrastructure, equipment, supplies | 18
12 | Functionality of all departments (safety) | Lab facilities of all departments are air locked, have a fire extinguisher, gas supply; emergency exit and alarm system; monitoring for staff adherence to safety rules and practices; there is room for upgrade | Lab facilities of more than 70% of departments are well-maintained, have a fire extinguisher, gas supply; safety rules and practices are followed, but absence of monitoring system; there is room for upgrade | Only some facilities (<70%) are well-maintained, e.g. virology, pathology section, are regularly maintained; room for upgrade is limited; safety rules and practices are not always required/followed | >60% of labs of the departments are in poor status, only few temperature control system/mainly window ventilation, no fire extinguisher, there are hardly any safety rules and practices; room for upgrade is limited | [8 empty] | 19
13 | Biosafe virology lab | BSL-3/4 Virology lab (Biosafety Cabinets Class (BSC)-III) | BSL-2/3 Virology Lab (BSC-II) | BSL-1/2 Virology lab (one BSC-II) | No biosafe Virology lab (BSC-II not functioning or not existent) | [5 empty] | BSC: Biosafety Cabinet Class BSL: Biosafety level Biosafety level according to OIE Chapter 1.1.2. http://www.oie.int/fileadmin/Home/eng/Health_standards/tahm/1.1.02_BIOSAFETY.pdf ; BMBL 5th edition http://www.cdc.gov/biosafety/publications/bmbl5/BMBL.pdf |  |  | 20
14 | Biosafe post mortem room | BSL-3/4 Postmortem (PM) room + BSC-III | BSL-2/3 PM-room + BSC-II | BSL-1/2 PM-room (BSC-II) | No biosafe PM-room, no BSC | [8 empty] | 21
15 | Biosafe Bacteriology lab | BSL-3/4 Bacteriology lab + BSC-II | BSL-2/3 Bacteriology lab + BSC-II | BSL-1/2 Bacteriology lab + 1xBSC-II | No biosafe Bacteriology lab (BSC-II not functioning or not existent) | [8 empty] | 22
16 | Animal facilities | BSL-3 Animal facility in use for experiments and bioproducts (diagnosis) | Animal facility in use (BSL 1-2) for production of diagnostic reagents (SPF-eggs, sera etc.) | Animal facilities available but not in use; and no BSL | Animal facilities not available | [8 empty] | 23
17 | Cleaning plan and checking process | Cleaning plan and checking process in place, regular microbiological controls | Cleaning plan and checking process in place, no microbiological controls | Occasional cleaning , no cleaning plan drafted | No cleaning , no cleaning plan drafted | [8 empty] | 24
18 | Separated rooms for PCR (number of rooms and BSC/PCR hood/laminar flow cabinet) | PCR set-up (extraction, master mix, template, machine) separated (2-3 rooms/workstations, air flow controlled, 1-2 BSC-II + 1 PCR-hood) including change of lab clothes (coats and shoes) + dedicated small PCR equipment (centrifuges, vortex, micropipettes) | PCR set-up (extraction, master mix, template, machine) separated (2-3 rooms/workstation, 1-2 BSC-II + 1 PCR hood), including change of lab clothes (coats and shoes) , but no dedicated small PCR equipment (centrifuges, vortex, micropipettes) | Different rooms available (3 rooms or 2 rooms and 1 BSC-II + 1 laminar flow far from each in one room), but not in consequent use for PCR set-up separation, no change of lab clothes and no dedicated micropipettes | No or insufficient separation of PCR set-up (1 room for all 4 activities or 0-1 BSC-II (not functional equals 0) | [5 empty] | Assessor should know about PCR set-up |  |  | 25
19 | Biosafe and biosecure labs (no of labs without air-lock, AC) | All labs are closed rooms and harbour Air Conditioner (AC) in all departments | Labs of at least 3 departments (virology, bacteriology and molecular biological) are closed and lockable rooms and harbour AC | Only few labs in selected departments (e.g. AI-Lab in virology department) have closed rooms and harbour AC, other rooms have windows or not functional (old) AC | In the majority of labs doors or windows do not properly close, if AC in rooms they are not or rarely functional | [5 empty] | Biosafe(ty): laboratory biosafety describes the containment principles, technologies and practices that are implemented to prevent the unintentional exposure to biological agents and toxins, or their accidental release. Biosecurity: protection, control and accountability for biological agents and toxins within laboratories, in order to prevent their loss, theft, misuse, diversion of, unauthorized access or intentional unauthorized release |  |  | 26
20 | Equipment for diagnosis of viral diseases | Virology department sufficiently equipped to carry out biosafe and rapid diagnosis of various viral diseases (>10 viruses including TAD/zoonoses) by virus isolation and other tests (including cell culture, electronic microscopy, etc.); Samples received are processed within 24 hours | Virology department sufficiently equipped to carry out biosafe and rapid diagnosis of only selected diseases (5 to 10 viruses) by virus isolation and other tests (including cell culture, electronic microscopy, etc.); Samples received are processed within 24 to 48 hours | Virology department uses old equipment (more than 10 years). Some equipment may be broken or is not well-maintained. Only few diseases can be tested (less than 5) | Virology department lacks functional equipment for appropriate diagnosis of viral diseases, for any technique | [5 empty] | TAD: Transboundary animal diseases like HPAI, FMD, CSF, PRRS, PPR, ASF... Equipment for biosafe working according to biorisk group according to OIE Chapter 1.1.2. ; see K, page 22 ff http://www.oie.int/fileadmin/Home/eng/Health_standards/tahm/1.1.02_BIOSAFETY.pdf | Equipment |  | 27
21 | Equipment for serology department | Serology department sufficiently equipped to carry out diagnosis of various diseases (>10 diseases including TAD/zoonoses) by various techniques. | Serology department is equipped to carry out diagnosis of only selected diseases (5 to 10 diseases) by various techniques. | Serology department uses old equipment (more than 10 years). Some equipment may be broken or is not well-maintained. Only few diseases can be tested (less than 5). | Serology department lacks functional equipment. Only rough-and-ready techniques can be performed. | [8 empty] | 28
22 | Equipment for molecular biological diagnosis | Molecular section sufficiently equipped (functional BSC-II, PCR hood, PCR cycler…) to carry out diagnosis of various diseases (>15 pathogens); including real-time PCR and functional sequencer or access to efficient sequencing services (results within 48 hours) | Molecular section sufficiently equipped to carry out diagnosis of 5 to 15 selected pathogens (including real-time PCR and access to sequencing machine/services) | Molecular section lacks modern equipment but may harbour old PCR cyclers and gel-electrophoresis equipment for 3 to 15 selected pathogens | Molecular section lacks even basic equipment, is not functional or is not existent | [8 empty] | 29
23 | Pathology department equipment for necropsies | Pathology department sufficiently equipped to carry out necropsies of variable size animals, including big animals. Biosafety and biosecurity conditions are good (protection against contamination of personnel and of the environment). | Pathology department sufficiently equipped to carry out necropsies of variable size animals, including big animals. Biosafety and biosecurity conditions are not fully respected to protect against contamination of personnel and of the environment). | Pathology department can carry out necropsies of some species. Some biosafety and biosecurity conditions are not respected (personal protective equipment, use of facilities, effluent management ...) to protect against contamination of personnel and of the environment). | Pathology department lacks basic equipment for appropriate necropsies. Biosafety and biosecurity conditions are not respected. | [8 empty] | 30
24 | Pathology department equipment for histo-pathological techniques | Pathology department sufficiently equipped to carry out up-to-date histo-pathological techniques (including immunohistochemistry) | Pathology department is equipped to perform basic histopathological techniques. These techniques are routinely performed. | Pathology department is equipped to perform basic histopathological techniques, but these techniques are performed rarely. | Pathology department lacks basic equipment for appropriate histopathological analysis. | [8 empty] | 31
25 | Equipment for diagnosis of bacterial diseases | Bacteriology department sufficiently equipped to carry out biosafe and rapid diagnosis of a broad range of bacterial diseases (>10 bacterial diseases/ including TAD/zoonoses) | Bacteriology department sufficiently equipped to carry out biosafe diagnosis of at least the most important bacterial diseases (5-10 TAD/zoonoses) | Bacteriology department uses old (>8years) equipment for diagnosis of important bacterial diseases; only few (max 5) bacteria can be typed/cultivated | Bacterial department lacks basic equipment for appropriate diagnosis of bacterial diseases (e.g. equipment not existent or not functional) | [8 empty] | 32
26 | Equipment for diagnosis of parasitological diseases | Parasitology department sufficiently equipped to carry out up-to-date diagnosis of a broad range of parasitological diseases (>10 including most important) | Parasitology department sufficiently equipped to carry out up-to-date diagnosis of at least the most important parasitological diseases (5-10) | Parasitology department uses old (>8years) equipment for diagnosis of important parasitological diseases; only few parasites (max 5) can be typed | Parasitology department lacks basic equipment for appropriate diagnosis of parasitological diseases (e.g. equipment not existent or not functional) | [8 empty] | 33
27 | Maintenance procedures for autoclave(s) | Periodic maintenance procedures in place for all autoclave(s); annual maintenance by specialist the last 3 years; systematic use of steam autoclave indicator | Periodic maintenance procedures not fully in place for all autoclave(s); annual maintenance by specialist the last 3 years; systematic use of steam autoclave indicator | Periodic maintenance procedures not fully in place for all autoclave(s); at least one full maintenance by specialist done the last 3 years; use of steam autoclave indicator not systematic. | Autoclave(s) never maintained; no constant use of steam autoclave indicator | [8 empty] | 34
28 | Fresh reagent supply, procurement, affordability | Reagents for all operating procedures can be autonomously procured; fresh supplies are always available for continuous service/work | Only selected reagents can be autonomously procured for diagnostic use; fresh supplies are not always available | Only few reagents can be autonomously procured for diagnostic use; always come with delay upon request -> reagents are often missing | All reagents for diagnostic use must be procured by external funding/organization | [5 empty] | Reagents: All material needed for laboratory diagnosis; eg. kits (like ELISA, rapid test kits, RNA extraction kits, PCR kits etc.), sampling tools (e.g. swabs or EDTA tubes etc.), antigens, antibodies, commercially available or self produced buffer solutions and their components (chemicals), diagnostic material from animal source (RBC, chicken eggs, cell lines...), staining etc. etc. | Reagent supply |  | 35
29 | Own production of diagnostic reagents (type, quality) | Key diagnostic reagents/material (antigen, antisera, cell lines, buffer solution, red blood cells (RBC)…) is self-produced in good quality (according to standards and monitored, documented) in sufficient amount and validated; animals serving for diagnostic material are SPF | Some reagents/material for diagnostic use (RBC, buffer solution, culture medium, chicken eggs) can be self-produced; efforts taken to produce in good quality according to standards (animals serving for reagent material are kept in quarantine and monitored for diseases (SAN) | Limited reagents/material for diagnostic use are produced (e.g. RBC, buffer), quality questionable with regard to animal source for reagents (not quarantine, not monitored for diseases (not SPF, or not SAN) | No self-production | [5 empty] | SPF= Specific Pathogen Free; SAN= Specific Antibody Negative |  |  | 36
30 | Proper stocking/storage of reagents | Separate storage and documentation (updated inventory log) of different material (reagents, sera, samples …) according to QA / QMS standards | Separate storage of different material (reagents, sera, samples…), a list is available but no inventory log of all supplies and reagents | No correct separation of storage of different material; expired reagents; a list may or may not be available | No separation of storage of different material, storage conditions doubtful because of limitations in functionality or availability of appropriate rooms or freezer / fridges / electricity, insufficient documentation, expired supplies | [5 empty] | Assessor may ask for an inventory log to see recent changes |  |  | 37
31 | Validity of reagents for virological investigations | Reagents for daily virological diagnosis by several techniques (excluding serology) are available for a range of viral diseases, including cell culture (>10 viruses including TAD/zoonoses or all viral testing under their mission*) | Reagents for daily virological diagnosis by several techniques (excluding serology) are available for a range of viral diseases, including cell culture (5-10 viruses including TAD/zoonoses or partial viral testing under their mission). Some reagents are expired. | Limited reagents for diagnosis of few viral diseases (1-5) through rough-and-ready techniques; Reagents are usually not properly stored (no constant freezing), 40 to 70% of reagents are expired | Virology (excluding serology) department hardly harbours any reagents, or reagents are expired or have not been properly stored (>70%). | [5 empty] | *Most important viral diseases to be defined per region / country |  |  | 38
32 | Validity of reagents for daily immuno-serological diagnosis | Reagents for daily immuno-serological diagnosis by several techniques are available for a range of diseases (>10 diseases including TAD/zoonoses or all diseases under their mission*) | Reagents for daily immuno-serological diagnosis by several techniques by several techniques are available for a range of diseases (5-10 diseases including TAD/zoonoses or partial diseases under their mission*). Some reagents are expired. | Limited reagents for immuno-serological diagnosis (1-5 diseases) through rough-and-ready techniques; Reagents are usualy not properly stored (no constant freezing), 40 to 70% of reagents are expired | Immuno-serological department hardly harbours any reagents, or reagents are expired or have not been properly stored (>70%). | [5 empty] | *Most important diseases to be defined per region / country |  |  | 39
33 | Validity of reagents for PCR and sequencing | Reagents for daily molecular diagnosis are available in sufficient amount and stored in good condition (including for real-time PCR technology and for sequencing); enzymes are stored at constant -20°C | Reagents for daily molecular diagnosis are available -and stored in good conditions- but with some limitations (e.g. no real-time PCR, but conventional PCR, reagents for sequencing limited) | Reagents for daily molecular diagnosis are frequently limited (frequent shortages, especially in real-time PCR reagents and extraction kits; not properly stored; some are expired) | Molecular diagnosis cannot be carried out due to constant or almost constant lack of valid reagents | [5 empty] | Assessor may ask to take a look into the stocking/storage of PCR reagents and look for expiry dates, for temperatures of freezers |  |  | 40
34 | Validity of reagents for bacteriological investigations | All necessary reagents for daily diagnosis of a broad range of bacterial diseases (excluding serology) are available (>10 bacterial diseases including TAD and zoonosis or all diseases under their mission*) | All reagents for diagnosis of a limited range but of the most important bacterial diseases (excluding serology) (5-10; zoonosis, TADs or partial bacterial diseases under their mission*) | Limited reagents for diagnosis of bacterial diseases (1-5); reagents are not properly stored (no constant freezing), 40-90% of reagents are expired | Bacteriology department harbours hardly any reagents for diagnosis of bacterial diseases, or reagents are expired, or have not been properly stored | [5 empty] | *Most important bacterial diseases to be defined per region / country |  |  | 41
35 | Validity of reagents for pathological methods | All reagents for histo-pathological investigations are daily available (staining, IFT-antibodies, fluorescent dyes…) | Pathology department harbours all necessary reagents for necropsies / gross-pathology but often lacks some reagents for histo-phatology (e.g. staining, IFT-antibodies…) | Pathology department harbours limited reagents for pathology; in general, histo-pathology is not functional due to a lack of valid and appropriate reagents | Pathology department hardly harbours any reagents for histo-pathological exam, or reagents are expired, or have not been properly stored; only gross pathology possible | [5 empty] | IFT = immunofluorescence test |  |  | 42
36 | Validity of reagents for parasitic methods | All necessary reagents for diagnosis of a broad range of parasitic diseases are daily available (>10 parasitic diseases including TAD and zoonosis or all diseases under their mission*) | All reagents for diagnosis of a limited range but of the key parasitic diseases (5-10; zoonosis, TADs) | Limited reagents for diagnosis of parasitic diseases (1-5); reagents are not properly stored 40-90% of reagents are expired | Parasitology department hardly harbours any reagents, or reagents are expired, or have not been properly stored | [5 empty] | *Mission: most important parasitic diseases to be defined per region / country |  |  | 43
37 | Number of trained and experienced staff per department | Each department counts at least one senior and two junior scientists and at least 2 technicians/co-workers. All staff is trained and experienced | Each department has at least one senior and one junior scientist and 2 or more technicians/ co-workers, but not all are well-trained or experienced or always available | In each department, the number of staff is not sufficient (1 scientist, 1 technician) or are not available for more than 2 working days per week | Serious lack of skilled (trained and experienced) personnel in most of the departments (<1 scientist or <1 technician per department); or their availability is of less than 2 working days per week | [5 empty] | scientist: veterinary or any sort of scientific degree; technician: personnel that has been trained in lab techniques for more than 2 years in specialized schools (mainly Vet / Medicine schools) | Staff skills + availability | Laboratory performance | 44
38 | Expertise of staff in virology/serology (continuing education and accuracy of testing) | All staff in virology/serology department is experienced, well-trained and continuously educated (>2 training opportunities per year); all tests are reported within 48 hours, test results are validated and recorded before release | Well-trained and motivated but not very experienced staff in virology/serology department; <2 opportunities per year for continuing education; tests reported sometimes with delay; test results are recorded | Trained staff in virology/serology department, but lack experience/ motivation, <1 training opportunity per year; tests reported sometimes with delay, results not always recorded | Staff in virology/serology department not trained or motivated; samples often left uninvestigated, no prompt reporting, results not always recorded | [5 empty] | Assessor may ask for documentation of lab staff trainings and may look in the log book |  |  | 45
39 | Expertise of staff in molecular biology (continuing education and accuracy of testing) | All staff in molecular department is experienced, well-trained and continuously educated (>2 training opportunities per year); all tests are reported within 48 hours, test results are validated and recorded before release | Well-trained and motivated but not very experienced staff in molecular department; <2 opportunities per year for continuing education; tests reported sometimes with delay; test results are recorded | Trained staff in molecular department, but lack experience/ motivation, <1 training opportunity per year; tests reported sometimes with delay, results not always recorded | Molecular section does not exist or staff in molecular section not trained or motivated; samples often left uninvestigated, no prompt reporting, results not always recorded | [5 empty] | Assessor may ask for documentation of lab staff trainings and may look in the log book |  |  | 46
40 | Expertise of staff in bacteriology and parasitology (continuing education and accuracy of testing) | All staff in bacteriology and parasitology departments is experienced, well-trained and continuously educated (>2 training opportunities per year); all tests are reported within 48 hours, test results are validated and recorded before release | Well-trained and motivated but not very experienced staff in bacteriology and parasitology departments; <2 opportunities per year for continuing education; tests reported sometimes with delay; test results are recorded | Trained staff in bacteriology and/or parasitology department, but lack experience/ motivation, <1 training opportunity per year; tests reported sometimes with delay, results not always recorded | Staff in bacteriology and/or parasitology department not trained or motivated; samples often left uninvestigated, no prompt reporting, results not always recorded | [5 empty] | Assessor may ask for documentation of lab staff trainings and may look in the log book |  |  | 47
41 | Expertise of staff in pathology (continuing education and accuracy of testing) | All staff in pathology department is experienced, well-trained and continuously educated (>2 training opportunities per year); all tests are reported within 48 hours, test results are validated and recorded before release | Well-trained and motivated but not very experienced staff in pathology department; <2 opportunities per year for continuing education; tests reported sometimes with delay; test results are recorded | Trained staff in pathology department, but lack experience/ motivation, <1 training opportunity per year; tests reported sometimes with delay, results not always recorded | Staff in pathology department not trained or motivated; samples often left uninvestigated, no prompt reporting, results not always recorded | [5 empty] | Assessor may ask for documentation of lab staff trainings and may look in the log book |  |  | 48
42 | Staff emergency service | Staff for emergency available for 24 hours + weekend shifts | Irregular availability (only in special situation) of staff for emergency ; weekend shifts are planned | Irregular availability of staff for emergency and weekend shifts only rarely (<20 weekends per year) | Less than 10 weekend shift per year, no staff for emergency available; | [5 empty] | Staff emergency availability: one staff member is always on duty in emergency situation, receives a call and comes to the lab to work any time of day or night. |  |  | 49
43 | Availability of maintenance staff | Maintenance staff (plumbing, electricity, mechanics etc.) employed and daily available, with emergency service | Maintenance staff available during working hours | Maintenance staff available with delay in arrival (sometimes hours, sometimes days of delay) | Very difficult to get hold of maintenance staff | [8 empty] | 50
44 | Carcass accession (number of carcasses per week, month or year) | Pathology department receives carcasses >25 weekly or >100 monthly or >1200 per year for post-mortem | Pathology department receives 15-25 carcasses weekly or 60-100 monthly or 720-1200 yearly for post-mortem | Pathology department receives 5-15 carcasses weekly or 20-59 monthly or 240-719 yearly for post-mortem | Pathology department receives <5 carcasses weekly or <20 monthly or < 240 yearly for post-mortem | [5 empty] | Assessor may ask for numbers from yearly reports or log book | Sample accession |  | 51
45 | Case sample throughput in Immunoserology (nb of biological samples per year) | Immunoserology laboratory receives more than 100,000 routine samples per year. | Immunoserology laboratory receives between 50,000 to 100,000 routine samples per year. | Immunoserology laboratory receives between 10,000 and 50,000 routine samples per year. | Immunoserology laboratory receives less than 10 000 routine samples per year. | [5 empty] | Routine diagnosis/routine samples: samples are investigated by serological, virological, bacteriological, parasitological or toxicological standard tests |  |  | 52
46 | Case sample throughput in virology (nb of biological samples per year) | Virology laboratory receives more than 5,000 routine samples per year. | Virology laboratory receives between 2,500 and 5,000 routine samples per year. | Virology laboratory receives between 1,000 and 2,500 routine samples per year. | Virology laboratory receives less than 1,000 routine samples per year. | [5 empty] | Routine samples: samples are investigated by serological, virological, bacteriological, parasitological or toxicological standard tests |  |  | 53
47 | Case sample throughput in bacteriology (nb of biological samples per year) | Bacteriology laboratory receives more than 5,000 routine samples per year. | Bacteriology laboratory receives more between 2,500 and 5,000 routine samples per year. | Bacteriology laboratory receives more between 1,000 and 2,500 routine samples per year. | Bacteriology laboratory receives less than 1,000 routine samples per year. | [5 empty] | Routine samples: samples are investigated by serological, virological, bacteriological, parasitological or toxicological standard tests |  |  | 54
48 | Case sample throughput in paraistology (nb of biological samples per year) | Parasitology laboratory receives more than 5,000 routine samples per year. | Parasitology laboratory receives more between 2,500 and 5,000 routine samples per year. | Parasitology laboratory receives more between 1,000 and 2,500 routine samples per year. | Parasitology laboratory receives less than 1,000 routine samples per year. | [5 empty] | Routine samples: samples are investigated by serological, virological, bacteriological, parasitological or toxicological standard tests |  |  | 55
49 | Sample throughput by PCR | Investigation of samples by PCR: >20 samples weekly or >80 monthly or >960 per year | Investigation of samples by PCR: 10-20 samples weekly or 40-80 monthly or 480-960 per year | Investigation of samples by PCR: 5-9 sample weekly or 20-39 monthly or 240-479 per year | No PCR performed, or only in rare circumstances (<5 sample weekly, <20 monthly, <240 per year) | [5 empty] | Realtime or conventional PCR |  |  | 56
50 | Sample throughput from surveillance or monitoring | Lab is regularly involved in active surveillance or monitoring of >3 animal diseases that generates more than 20,000 samples per year | Lab is involved in active surveillance of 2-3 animal diseases that generates 10,000-20,000 samples per year | Lab is involved in surveillance of 1 animal disease and receives 1,000-9,999 samples per year | Lab is currently not involved in active surveillance or monitoring | [5 empty] | Active surveillance or monitoring program: Programs, possibly funded by external source to investigate samples from animals that appear healthy but may be positive for a certain disease that is monitored for. Eg AI-monitoring programs in many countries. |  |  | 57
51 | Prompt sample processing | Processing of overall diagnostic samples is carried out same day of reception by trained and experienced lab staff | Overall sample processing is usually carried out within 1-2 days by trained and experienced lab staff (e.g. days before the week end or holidays or when samples arrive in the afternoon) | Samples are usually put into fridge or freezer for some days until investigation; or samples are stored for maximum 3 days and then shipped to another laboratory | Diagnosis samples are usually put into fridge or freezer over 3 days before being processed because of lack of staff; OR: some samples are sent to another lab, but often not immediately | [8 empty] | 58
52 | Post mortem capability (skills and experience of pathologists) in necropsies | All necropsies conducted by specifically trained and/or experienced (>5 years) pathologists. The volume of activity allows to maintain this skill | All necropsies conducted by specifically trained and/or experienced (>5 years) pathologists, but the volume of activity is not sufficient to maintain this skill | Necropsies are not all conducted by specifically trained and/or experienced (>5 years) pathologists | No available experience in necropsy in the laboratory | [5 empty] | Specifically trained : at least 2 years of exclusively working in a pathological department of a renown institute or university or PhD in pathology, or special degree in pathology | Available technology |  | 59
53 | Skills and experience of histologists | Specifically trained and/or experienced (>5 years) histologists. The volume of activity allows to maintain this skill | Specifically trained and/or experienced (>5 years) histologists, but the volume of activity is not sufficient to maintain this skill | No histology competence available in the laboratory, but has access to reliable and effective sub contracted services | No competence in histology available in the laboratory, and no access to reliable and effective sub contracted services | [5 empty] | Specifically trained : at least 2 years of exclusively working in a pathological department of a renown institute or university or PhD in pathology, or special degree in histology |  |  | 60
54 | Prompt bacteria identification | All required operating methods (SOPs) available at the laboratory describing the method of identification / isolation of all important bacteria* causing disease in animals and/or zoonotic. The laboratory regularly performs (at least once per quarter) these methods | Most SOPs describing the method of identification / isolation of all notifiable bacteria** causing disease in animals and/or zoonotic in the region are generally available in the laboratory. The laboratory regularly performs (at least once per quarter) these methods | Only a few SOPs describing the method of identification / isolation of all notifiable bacteria** causing disease in animals and/or zoonotic in the region are available in the laboratory and/or the laboratory does not regularly performs (less than once per quarter) these methods | No operating methods describing the method of identification / isolation of notifiable bacteria** causing disease in animals and/or zoonotic expected to be present in the region are available in the laboratory. | [5 empty] | *Important bacteria (dependant on the region): e.g. brucellosis, bacillus (anthracis), mycobacterium ssp, salmonellosis, E.coli, Staph and Strep; borrelia, leptospira, campylobacter, bordetella, francisella, legionella, yersinia, pasteurella, fusobacterium, clostridium spp, listeria, chlamydia, coxiella; ** notifiable bacterial diseases (OIE): http://www.oie.int/animal-health-in-the-world/oie-listed-diseases-2015/ |  |  | 61
55 | Prompt parasite identification | All required operating methods (SOPs) available at the laboratory describing the method of identification of all important parasites* causing disease in animals and/or zoonotic. The laboratory regularly performs (at least once per quarter) these methods | Most SOPs describing the method of identification of all parasites** causing notifiable disease in animals and/or zoonotic in the region are generally available in the laboratory. The laboratory regularly performs (at least once per quarter) these methods | Only a few SOPs describing the method of identification of parasites** causing notifiable disease in animals and/or zoonotic in the region are available in the laboratory and/or the laboratory does not regularly perform (less than once per quarter) these methods | No SOPs describing the method of identification of parasites** causing notifiable disease in animals and/or zoonotic expected to be present in the region are available in the laboratory. | [5 empty] | *Important parasites: blood and tissue protozoal parasites (babesia, leishmania, plasmodia, toxoplasma, trypanosoma spp), intestinal protozoal parasites (cryptosporidium, isospara, entamboeba, giardia spp), trematode parasites (fasciola, schistosoma spp), cestode parasites (echinoccocus, taenia spp), nematode parasites (ascaris, strongyloides); ** notifiable parasitic diseases (OIE): http://www.oie.int/animal-health-in-the-world/oie-listed-diseases-2015/ |  |  | 62
56 | Microscopy capacity | Microscope functional and in regular (weekly) use | Microscope functional but no operator or infrequently used (< 1 per months) | Microscope available but not satisfactory | No microscope | [8 empty] | 63
57 | Cell culture (virology) capability | Well-established (>5 years) and biosafe/clean cell culturing with >5 different cell lines | Cell-culturing possible but with limited cell types (<5 cell lines) or established less than 5 years ago | Cell-culturing possible with limited cell types (<2 cell lines), but limited expertise | No cell-culture | [8 empty] | 64
58 | Egg culture (virology) capability | Biosafe (BSC-II and III or BSL-3 conditions) virus isolation with Embryonated chicken eggs (ECE) | Culturing with Embryonated chicken eggs (ECE) under limited BSL (BSC-II only) | Limited and irregular use of ECE for various reasons (limited access to SPF or SAN eggs, no experienced operator, no functioning incubator, no BSC-II…) | No or rare (<1 per 6 months) use of ECE, and limited BSL | [5 empty] | BSC: Biosafety Cabinet Class BSL: Biosafety level |  |  | 65
59 | Serological capability | Weekly use of serological assays; all following assays are implemented: ELISA, HI, Immuno-histochemistry, Immuno-Fluorescence, AGID for diagnosis of broad range of diseases including all key animal diseases (>10) | Weekly use of serological assays; all following assays are implemented: ELISA, HI, Immuno-histochemistry, Immuno-Fluorescence, AGID for diagnosis of key animal diseases (5-10) | Only use of basic serological assays like HI, AGID for a few key diseases (<5); limitation in use of ELISA or immunofluorescence | No use or rare use (<1 assay per 4 months) of serological assays like ELISA, HI, Immuno-histochemistry, AGID | [5 empty] | HI: haemagglutination-inhibition test. AGID: Agar Gel ImmunoDiffusion test |  |  | 66
60 | Molecular capability | PCR technology (including realtime) weekly used for >10 genome targets | PCR technology (including realtime) used for 5-10 genome targets | Conventional PCR technology applied only for <5 genome targets | No PCR technology applied | [8 empty] | 67
61 | Annual maintenance of PCR cycler | Annual maintenance of PCR cycler | Irregular maintenance of PCR cycler | No/or rare maintenance of PCR cycler | No PCR | [8 empty] | 68
62 | Sequencing capability | Sequencing technology applied and frequently used (≥ 2 per month or more than 100 sequences per year) and maintained following manufacturer's instructions | Sequencing technology is set up, but rarely used (<2 per month); infrequent maintenance; easy access to external sequencing services | Sequencing technology available but not in use (not functional, no kits, no experienced operator…) and/or some access to external sequencing services | No direct access to sequencing services | [8 empty] | 69
63 | Animal experiment capability | Animal experiments as diagnostic method (esp. ICPI, IVPI, mouse inoculation, inoculation of larger animals) applied under biosafe conditions | Animal experiments as diagnostic method applied under unsatisfactory conditions (e.g. insufficient biosafety) | A few animal experiments (e.g. mouse inoculation for rabies) may be used but lacks of appropriate expertise/other conditions (no biosafe conditions, no easy access to animals, no experienced operator) | No experiments performed on animals | [5 empty] | ICPI: intracerebal pathogenicity index; IVPI: Intravenous Pathogenicity Index |  |  | 70
64 | External training in lab performance | Staff (scientist, technicians) of each/every department receives at least 1 external training per year in lab diagnosis | Not every staff, and/or not all department receives at least 1 external training per year in lab diagnosis | Only few selected staff* receives at least 1 external training per year in lab diagnosis | Only few selected staff* receive occasional (< 1 per year) external training in lab diagnosis | [5 empty] | Training includes: Participation in conferences on technical issues and lab performance *Please indicate in comments any situation when training opportunities are not strategically given | Training | QA, Biosafety/Biosecurity | 71
65 | Internal training in lab performance/GLP | Every staff of each department receives documented weekly in house [training / updates / meetings] on GLP | Not every staff, and/or not all department receives at least 1 internal [update/training/meeting] on GLP per month | Only selected staff* receive rare (<1) internal [update training/meeting] on GLP per month | No weekly or monthly in house [training/updates/meeting] on GLP | [5 empty] | GLP: Good laboratory practice *Please indicate in comments any situation when training opportunities are not strategically given |  |  | 72
66 | Training in QA/QC | Key staff receives documented and regular (>1 per year) training in quality assurance (QA)/quality control (QC) | Key staff receives regular (1 per year) training in QA/QC; consistent documentation on QA/QC not always available | Key staff rarely receives (< 1 per year) training in QA/QC; consistent documentation on QA/QC not available | No (< 1 every 2 years) training opportunity in QA/QC | [8 empty] | 73
67 | Training in maintenance and calibration | Key staff receives documented and regular ( ≥ 1 per year) training in equipment maintenance and calibration | Key staff receives irregular (<1 per year) training in equipment maintenance and calibration; consistent documentation on maintenance and calibration not always available | Rare trainings (<1 every 2 years); consistent documentation on maintenance and calibration not available | No training in equipment maintenance and calibration in the last 3 years | [8 empty] | 74
68 | Training in lab management | Directors/managers regularly (1/year) trained in lab management | Directors/managers irregularly (1 every 2 years) trained in lab management | Directors / managers irregularly train themselves through self-education or e-learning on lab management | No training in lab management | [8 empty] | 75
69 | Training in biosafety | All staff receive regular documented training in biosafety practices (>1 per year) | Selected* staff receive regular (1 per year) training in biosafety practices; and/or no consistent documentation | Staff rarely trained but good level of awareness in biosafety | No training opportunity for most of the staff in biosafety practices, low awareness level among the staff | [5 empty] | *Please indicate in comments any situation when training opportunities are not strategically given |  |  | 76
70 | Training in shipping of infectious substances | Up-to-date certification for shipping of infectious substances (IATA standards), -for more than one person | Up-to-date certification for shipping of infectious substances (IATA standards), for one person in the lab | Out-of-date certification for shipping of infectious substances (IATA standards) | No certification for shipping of infectious substances (IATA standards) (since 3 years) | [8 empty] | 77
71 | Standard requirements for the competence to carry out tests and calibrations | Quality system applied in 80% of departments, accreditation of 80% of analytical parameters | Quality system applied in 80% of departments, accreditation of 40% of analytical parameters | No accreditation yet but in the process of adapting ISO 17025 standards in most departments for future accreditation | Quality system not in place | [5 empty] | score 1: please specify if/when there is a plan for quality implementation – score 2: please specify the expected time for accreditation ISO/IEC 17025:2005 specifies the general requirements for the competence to carry out tests and/or calibrations, including sampling. It covers testing and calibration performed using standard methods, non-standard methods, and laboratory-developed methods. See: http://www.isoiec17025.com/ Iso 17025 includes: calibration, regular checks, proper documentation Assessor should ideally detail here for which labs / diseases ISO 17025 has been installed | Quality Assurance |  | 78
72 | Corrective and preventive actions management | System established to manage corrective and preventive actions, registration in the quality management system, customer complaints management | System established to manage corrective and preventive actions, registration in the quality management system, no customer complaints management | System established to manage corrective and preventive actions, no registration in the quality management system | No management of nonconforming testing | [8 empty] | 79
73 | Best practice testing of particular diseases | Satisfactory results (>75% correct) in Proficiency Testing for at least 3 selected diseases* in the past 18 months | Participation to Proficiency Testing for at least 3 selected diseases* and satisfactory results (>75% correct) in at least one in the past 18 months | Participation in Proficiency Testing in the past 18 months for selected diseases* | No participation in Proficiency testing within the past 18 months | [5 empty] | *Please list the selected diseases for the PT (and frequency) |  |  | 80
74 | Methodology standardization | SOPs for all performed tests prepared and in use; including available biosafety information relevant to the tests | SOPs only for selected key diseases* in use including biosafety procedures | SOPs for selected test under development, or SOPs developed and in use but biosafety information missing | No or only a few SOPs available/under development | [5 empty] | SOP shall be in accordance with recommendations of OIE/WHO/FAO or International Reference laboratories; SOP shall ideally comprise a list of references *Please list the diseases for which SOPs are in use |  |  | 81
75 | Correct performance of tests / methodology and kits | Proper and documented validation of in house tests / commercial kits by using reference material before use on routine basis | Validation of in house tests / commercial kits by using reference material before use on routine basis; but insufficient documentation available | No regular validation of in house tests or kits by using reference material before use on routine basis; No documentation available | No kits/test validation | [5 empty] | For veterinary laboratories: OIE provides technical information about validation (http://www.oie.int/fileadmin/Home/eng/Health_standards/tahm/1.1.04_VALID.pdf) |  |  | 82
76 | Overall lab quality assurance | Quality officer/manager assigned + quality manual fully applied | No quality officer/manager assigned, or Quality manual only partially applied | No quality officer/manager assigned, and/or Quality manual still under process | No Quality officer/manager and no quality manual developed | [8 empty] | 83
77 | Test quality assurance | Use of internal test quality control (QC) in all tests according to international standards | QC not always applied; not necessarily according to international standards | QC rarely applied for key tests, but not in all runs/tests | No experience in QC | [5 empty] | International standards: as advised by WHO, OIE, FAO or International Reference laboratories |  |  | 84
78 | Sample identification and follow-up | Identification and tracking of each sample entering the lab by use of LIMS or bar-coding or comparable technology | Identification and tracking of each sample entering the lab by use of well documented Log-Book or Excel file | Identification and tracking of each samples for only a few diseases | Irregular identification and tracking of samples | [8 empty] | 85
79 | Application of international recommendations | OIE/WHO/FAO/CDC guidelines and OIE Terrestrial Manual are applied | OIE Manual and/or other guidelines are in place, but not sufficiently followed | OIE Manual and/or other guidelines rarely used | No notice of OIE Manual or other guidelines | [5 empty] | For veterinary laboratories: refers to OIE Terrestrial manual |  |  | 86
80 | Metrology procedures | All departments have described and routinely implemented metrology procedures* | Some departments have described and routinely implemented metrology procedures* | All or some departments have metrology procedures described but not implemented routinely | None of the departments have metrology procedures described | [5 empty] | *for the following equipment: pipettes, steamers, climatic chambers, thermometers, scales, spectrophotometers, timers |  |  | 87
81 | Maintenance procedures | All departments have described and routinely implemented maintenance procedures | Some departments have described and routinely implemented maintenance procedures | All or some departments have maintenance procedures described but not implemented routinely | None of the departments have maintenance procedures described | [8 empty] | 88
82 | Biosafety / biosecurity application | Biorisk officer officially assigned and SOPs for personnel biosafety / biosecurity well documented, available at the right places and applied | Key-Staff is well-trained in biosafety/biosecurity; but SOPs for personnel biosafety / biosecurity not all finalized and applied | Some staff is aware of biosafety/biosecurity principles. No or rare SOPs developed and applied | Only vague knowledge of biosafety/biosecurity principles, no SOPs | [5 empty] | Biorisk officer:an individual who has expertise in the biohazards encountered in the organization, is competent and has been designated to advise top management and staff on biorisk management issues (note: different naming possible: biosafety officer, biorisk management advisor, biosecurity officer, biorisk manager...) | Biosafety/Biosecurity |  | 89
83 | Preparation for emerging diseases | A risk assessment for biocontainment of all high consequence pathogens has been conducted | A risk assessment for biocontainment of some high consequence pathogens has been conducted | Biocontainment of high consequence pathogens has been discussed among the director and staff | Biocontainment of high consequence pathogens has not been discussed | [5 empty] | NB: this issue is also assessed in the LMT-Safety module, question 23 |  |  | 90
84 | Biosafety cabinets tested | Biosafety cabinets are tested (under recognized standard NSF49 or EN12469) and validated annually by NSF certified assessors | Biosafety cabinets are tested (under recognized standard NSF49 or EN12469) at least every 2 years by NSF certified assessors, and corrective measures are taken if needed | Biosafety cabinets are tested (under recognized standard NSF49 or EN12469) at least every 2 years by NSF certified assessors but insufficient corrective measures are taken | Biosafety cabinets have not been tested (NSF49 or EN12469) by NSF certified assessors for 5 years or more | [5 empty] | NB: this issue is also assessed in the LMT-Safety module, question 83 |  |  | 91
85 | Biosafety cabinets in conformity with international recognized standards | 100% biosafety cabinets (BSC) are in conformity with internationally recognized standards (NSF49 or EN12469) and are properly placed in the lab premises | 100% BSC are in conformity with internationally recognized standards (NSF49 or EN12469) but 5-10% are not properly placed in the lab premises | 100% BSC are in conformity with internationally recognized standards (NSF49 or EN12469) but more than 10% are not properly placed in the lab premises | Some BSC are not in conformity with internationally recognized standards (NSF49 or EN12469) and/or more than 10% are not properly placed in the lab premises | [5 empty] | Properly placed: more than 2 meters from doorway, sufficient room for human traffic, loads not disrupted by air conditioning. NB: this issue is also assessed in the LMT-Safety module, question 85 |  |  | 92
86 | Staff protection from biohazards | PPE are available and used when required; consequent change of lab clothes including shoes according to requirements of respective biosafety level | PPE are available but used under rare occasions (in outbreak / critical situations); when necessary change of lab coat but not shoes | PPE are available, but not used; inconsequent use of lab clothes | PPE are not sufficiently available, inconsequent use of lab clothes | [5 empty] | PPE: Personal Protective Equipment ,usually comes as a kit providing a one-time-use closed overall with hair cover, goggles, double pair gloves, FP3-mask + boots |  |  | 93
87 | Unintentional release of pathogens from the lab (quarantine) | Lab staff has to follow an obligatory quarantine period of 3-7 days (depending on pathogens manipulated) before entering any animal holding and is never involved in taking samples during active surveillance | Lab staff generally follows a quarantine period of 1-3 days (depending on pathogens manipulated) before entering any animal holding, is not (or only in emergency situations) involved in taking samples during active surveillance | Laboratory staff is sometimes or often actively involved in taking samples from animals (esp. in outbreak times) but follows a quarantine period of 1-3 days prior entering any flock (depending on pathogens manipulated). | Lab staff is actively involved in taking samples from farm / domestic animals without prior quarantine period | [5 empty] | NB: this issue is also assessed in the LMT-Safety module, question 54 |  |  | 94
88 | Unintentional release of pathogens from the lab (waste management) | Proper waste management by compulsive use of incinerator, autoclave, chemical waste treatment, sharp disposal | Frequent use of incinerator and autoclave, but sharp disposal rarely in the lab; chemical waste treatment partially addressed | Incinerator, autoclave are available, but only used in situations where the lab deals with specific bio agents; no chemical waste treatment | Improper waste management, no incinerator (or not functional) and/or no autoclaving (or not functional) of infectious material | [5 empty] | Please refer to the following document for proper waste disposal: WHO Laboratory Biosafety Manual, chapter 14 : http://www.who.int/csr/resources/publications/biosafety/Biosafety7.pdf NB: this issue is also assessed in the LMT-Safety module, question 39 |  |  | 95
89 | Intentional release of pathogens from the lab (controlled access) | Completely controlled and restricted access only for key staff to BS-Labs and freezer rooms by use of security system (biometric system, ID-badges, camera) | Controlled and restricted access only for key staff to BS-Labs and freezer rooms by physical security (eg. lock, guard) | Controlled and restricted access only for staff to BS-Labs and freezer rooms but no use of locks | Easy access to all labs and freezers / fridges during working hours | [5 empty] | NB: this issue is also assessed in the LMT-Safety module, question 24 |  |  | 96
90 | Health Check | Health check of all lab staff on regular basis (at least annually) | Irregular health check of lab staff (< 1 per year) | Health check of lab staff only on request or in case of an accident | No health check, even in case of an accident : staff has to seek doctor at own expenses | [6 empty] | Staff Security/Health |  | 97
91 | Staff protection from zoonoses (vaccination) | Annual vaccination of staff working with zoonotic agents according to WHO recommendations (rabies, influenza…) | Vaccination on request but possibly at own expense | Post-exposure vaccination or immunization in case of accident | No vaccination available | [8 empty] | 98
92 | Eye wash and emergency shower | Eye wash and emergency shower available and functional in each department and after departing BSL-3 labs | Eye wash and/or shower available and functional in some labs | Eye wash and shower available in some labs but with limitations (not regular checked or not functional or only cold water etc.) | Not available or not functional | [8 empty] | 99
93 | Connectivity to landline phone/fax (hours of availability, use of cell phones) | 24 hours of constant public cellphone/landline telephone and good fax connectivity | Good public cellphone/landline telephone and/or fax connectivity, sometimes interrupted (not constant on 24 hours) | Connectivity of public cellphone/landline phone and /or fax often interrupted, private cellphones are sometimes used | Public cellphone/landline phone and/or fax not/badly working or not existent; private cell phones (if any) are exclusively used | [5 empty] | Assessor may ask for phone /fax access and test it on the day of assessment | Communication means | Lab collaboration and networking | 14
94 | Access to internet (hours per day or days/week) | Good and speedy 24 h internet connection, all staff have access in all areas (labs, office…) | Good internet connection (12-24 h) in offices; not all staff members have access | Internet connection limited (< 12 hours daily), but in general working; only selected staff member have access | Internet is slow and interrupted (availability <3d/week) ; only selected staff member have access | [5 empty] | Assessor may ask for internet access and test it on the day of assessment |  |  | 15
95 | Access to scientific publications | All Staff have free access to library during or even outside of working hours providing current scientific publications and to online-journals including at least 3-5 restricted-access journals | Free access to up-to-date library during working hours for all staff, but limited access to online-journals (free journals only) | Library might be existent, but not up-to-date, limited access to freely accessible online-journals | No access to library in the field of scientific interest, and only to few online journals (free access) | [5 empty] | Assessor may ask for visiting the library and ask staff about availability of journals like Science/Virology/Nature |  |  | 16
96 | Distribution of scientific results (updates of website, frequency of publications) | Institute have website with updates < 2 month old and produces periodic (>1/year) bulletin on generated scientific results and >10 publications in peer-reviewed international journals | Institute has website (updates are older than 2 months) and irregularly (1-10 publications/year) publishes scientific information in peer-reviewed journals | Annual reports are public documents and available on request; publications are rare (<1-5 publications per year in peer-reviewed international journals) | No website, no regular information sharing | [5 empty] | Assessor may check the link for the website and ask for a list of publications |  |  | 17
97 | Regular contacts with national laboratory network | Close collaboration /communication (daily contact) with and constant support to/from members of the national lab network | Regular contact /communication (1 per week) with members of the national lab network, but support limited due to insufficient lab budget | Contact with members of the national lab network, but collaboration/communication difficult (irregular contact, <1 per month) | Very scarce collaboration/contact/communication with members of the national lab network (<1 per 3 months) | [6 empty] | National lab networking |  | 11
98 | Support to/by members of the national lab network by training (n trainings/year) | Support to/by members of the national lab network by provision of training on regular basis (>2/year) | Support to/by members of the national lab network by training on irregular basis (<2/year) | Support to/by members of the national lab network by rare training (<1/year) | No training provided by/to members of the national lab network | [5 empty] | If the laboratory assessed is National/Central, it is expected to provide trainings. If this laboratory only receives training, it should be scored ''1''. If the laboratory assessed is a satellite laboratory, it is expected to mostly (if not exclusively) receive training. |  |  | 12
99 | Support to/by members of the national lab network by provision of material | Support to/by members of the national lab network by provision of material/reagents/kits upon request and also regularly without request | Support to/by members of the national lab network by irregular provision of material/reagents/kits upon request only | Rare provision of material/reagents/kits because of own limited resources | No possibility for provision of material/reagents/kits from a central lab to the national lab network | [8 empty] | 13
100 | In-country lab networking | Lab has regular (>1 per 3 months) contacts / collaborations with >3 labs/institutions within the country | Lab has regular (1 per 3 months) contacts / collaborations with 1-3 labs/institutions within the country | Lab has regular (1 per 3 months) contacts / collaborations with 1 lab/institution within the country | Lab has no regular (<1 per 3 months) contacts / collaborations labs/institutions within the country | [5 empty] | Assessor may note the names of collaborative laboratories | Laboratory collaboration |  | 100
101 | Regional lab networking | Lab has key role in regional lab-networking (provision of material, expertise, training, meetings, PT) and takes this role very seriously | Lab is actively involved in regional lab-networking (presence at all meetings, participation in PT, training…) and shares data | Lab attends meetings (not always present) for regional lab-networking, but is not active in regional networking | Lab is not involved in regional lab-networking | [8 empty] | 101
102 | International collaboration | Lab participates in >3 international projects for TAD/zoonotic diseases* of major importance | Lab participates in 1-3 international projects for key TADs/zoonotic diseases of major importance* | Lab participates in 1 international project for TAD/zoonotic diseases of major importance* | Lab does not currently participate in any international project | [5 empty] | *Please list the diseases |  |  | 102
103 | Networking with international labs | Lab communicates and has regular direct or bilateral contacts (once a month) with >3 international laboratories (including reference or regional support/leading labs) | Lab has some contacts (1 per 6 months) with international laboratories (reference or regional support/leading labs) AND/OR regular contacts (1 per month) with 2 or 3 international labs | Lab has irregular contacts (<1 per 6 months) with international laboratories (reference or regional support/leading labs) AND/OR regular contacts (1 per month) with 1 international lab | Lab has hardly any contact (<1 per year) with international laboratories (including reference or regional support/leading labs) | [5 empty] | International ref lab: FAO, OIE or WHO Reference laboratory or centre or collaborating centre |  |  | 103
104 | International lab networking / twinning | Lab participates in >2 twinning projects (OIE, EU) or offers twinning | Lab participates in 1-2 twinning projects | Lab considers/plans to participate in twinning | No twinning (considerations) | [8 empty] | 104
105 | Information retrieval from public sources | Lab regularly (>1/month) consults (open-access) disease-related web pages (OIE, FAO, WHO, OFFLU, Promed…) | Lab sometimes (1 per 6 months) uses (open-access) disease-related web pages | Lab rarely (<1 per 6 months) uses (open-access) disease-related web pages | Lab does not or cannot use (open-access) disease-related web pages | [8 empty] | 105
106 | Information retrieval | Databases (GenBank, EMPRES, WAHIS..) are regularly (>1/month) used to access information | Databases (GenBank, EMPRES, WAHIS..) are irregularly (1/month) used to access information | Databases (GenBank, EMPRES, WAHIS..) are rarely (<1 per month) used to access information | Databases are not used | [8 empty] | 106
107 | Information sharing | Regular (>1/month) information shared by lab staff through web-based platforms or databases; and/or submission of more than 20 sequences from 3 pathogens to public sequence database (eg. GenBank) within the last 12 months | Irregular Information (1/month) shared by lab staff through web-based platforms; and/or submission of 6 to 19 sequences to public sequence database (eg. GenBank) within the last 12 months | Information only shared by lab staff very occasionally through web-based platforms; and/or submission of less than 6 sequences to public sequence database (eg. GenBank) within the last 12 months | No information shared by lab staff through web-based platforms within the last 12 months; no sequence submission to a public sequence database (eg. GenBank) | [5 empty] | Assessor may ask which web-based platform(s) |  |  | 107
108 | Expertise in using e-platforms for epidemiological data analysis / risk assessments | Lab / Epi department routinely works with e-platforms (TAD-Info, GIS, others) | Lab / Epi department rarely uses e-platforms (TAD-Info, GIS, others) | Lab / Epi department has e-platforms installed, but no expertise in usage | No use of such platforms | [8 empty] | 108

## internalResults ENG (hidden)
LMT Core results- Internal calculations
Results Assessment C (Current) | Score |  | Percentage |  | Reliability
LMT Category | Ideal laboratory | Your laboratory | Ideal laboratory | Your laboratory | total questions | Total answers | Reliability of the result
Geographic location | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory Budget | 0 | 0 | 100 | N/A | 3 | 0 | 0
Basic supply | 0 | 0 | 100 | N/A | 3 | 0 | 0
Organization | 0 | 0 | 100 | N/A | 1 | 0 | 0
Infrastructure | 0 | 0 | 100 | N/A | 9 | 0 | 0
Equipment | 0 | 0 | 100 | N/A | 8 | 0 | 0
Reagent supply | 0 | 0 | 100 | N/A | 9 | 0 | 0
Staff skills + availability | 0 | 0 | 100 | N/A | 7 | 0 | 0
Sample accession | 0 | 0 | 100 | N/A | 8 | 0 | 0
Available technology | 0 | 0 | 100 | N/A | 12 | 0 | 0
Training , including Certification for shipping of infectious substances (IATA standards) | 0 | 0 | 100 | N/A | 7 | 0 | 0
Quality Assurance | 0 | 0 | 100 | N/A | 11 | 0 | 0
Biosafety/Biosecurity | 0 | 0 | 100 | N/A | 8 | 0 | 0
Staff Security/Health | 0 | 0 | 100 | N/A | 3 | 0 | 0
Communication means | 0 | 0 | 100 | N/A | 4 | 0 | 0
National lab networking | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory collaboration | 0 | 0 | 100 | N/A | 9 | 0 | 0
Grand Total assessment C | 0 | 0 | 100 | N/A | 108 | 0 | 0
General laboratory profile, TOTAL (%) | 0 | 0 | 100 | N/A | 10 | 0 | 0
Infrastructure, equipment, supplies, TOTAL (%) | 0 | 0 | 100 | N/A | 26 | 0 | 0
Laboratory performance, TOTAL (%) | 0 | 0 | 100 | N/A | 27 | 0 | 0
QA,Biosafety/Biosecurity, TOTAL (%) | 0 | 0 | 100 | N/A | 29 | 0 | 0
Lab collaboration and networking, TOTAL (%) | 0 | 0 | 100 | N/A | 16 | 0 | 0
Results Assessment B | Score |  | Percentage |  | Reliability
LMT Category | Ideal laboratory | Your laboratory | Ideal laboratory | Your laboratory | total questions | Total answers | Reliability of the result
Geographic location | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory Budget | 0 | 0 | 100 | N/A | 3 | 0 | 0
Basic supply | 0 | 0 | 100 | N/A | 3 | 0 | 0
Organization | 0 | 0 | 100 | N/A | 1 | 0 | 0
Infrastructure | 0 | 0 | 100 | N/A | 9 | 0 | 0
Equipment | 0 | 0 | 100 | N/A | 8 | 0 | 0
Reagent supply | 0 | 0 | 100 | N/A | 9 | 0 | 0
Staff skills + availability | 0 | 0 | 100 | N/A | 7 | 0 | 0
Sample accession | 0 | 0 | 100 | N/A | 8 | 0 | 0
Available technology | 0 | 0 | 100 | N/A | 12 | 0 | 0
Training , including Certification for shipping of infectious substances (IATA standards) | 0 | 0 | 100 | N/A | 7 | 0 | 0
Quality Assurance | 0 | 0 | 100 | N/A | 11 | 0 | 0
Biosafety/Biosecurity | 0 | 0 | 100 | N/A | 8 | 0 | 0
Staff Security/Health | 0 | 0 | 100 | N/A | 3 | 0 | 0
Communication means | 0 | 0 | 100 | N/A | 4 | 0 | 0
National lab networking | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory collaboration | 0 | 0 | 100 | N/A | 9 | 4 | 44.4444
Grand Total assessment B | 0 | 0 | 100 | N/A | 108 | 4 | 3.7037
General laboratory profile, TOTAL (%) | 0 | 0 | 100 | N/A | 10 | 0 | 0
Infrastructure, equipment, supplies, TOTAL (%) | 0 | 0 | 100 | N/A | 26 | 0 | 0
Laboratory performance, TOTAL (%) | 0 | 0 | 100 | N/A | 27 | 0 | 0
QA,Biosafety/Biosecurity, TOTAL (%) | 0 | 0 | 100 | N/A | 29 | 0 | 0
Lab collaboration and networking, TOTAL (%) | 0 | 0 | 100 | N/A | 16 | 4 | 25
Results Assessment A | Score |  | Percentage |  | Reliability
LMT Category | Ideal laboratory | Your laboratory | Ideal laboratory | Your laboratory | total questions | Total answers | Reliability of the result
Geographic location | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory Budget | 0 | 0 | 100 | N/A | 3 | 0 | 0
Basic supply | 0 | 0 | 100 | N/A | 3 | 0 | 0
Organization | 0 | 0 | 100 | N/A | 1 | 0 | 0
Infrastructure | 0 | 0 | 100 | N/A | 9 | 0 | 0
Equipment | 0 | 0 | 100 | N/A | 8 | 0 | 0
Reagent supply | 0 | 0 | 100 | N/A | 9 | 0 | 0
Staff skills + availability | 0 | 0 | 100 | N/A | 7 | 0 | 0
Sample accession | 0 | 0 | 100 | N/A | 8 | 0 | 0
Available technology | 0 | 0 | 100 | N/A | 12 | 0 | 0
Training , including Certification for shipping of infectious substances (IATA standards) | 0 | 0 | 100 | N/A | 7 | 0 | 0
Quality Assurance | 0 | 0 | 100 | N/A | 11 | 0 | 0
Biosafety/Biosecurity | 0 | 0 | 100 | N/A | 8 | 0 | 0
Staff Security/Health | 0 | 0 | 100 | N/A | 3 | 0 | 0
Communication means | 0 | 0 | 100 | N/A | 4 | 0 | 0
National lab networking | 0 | 0 | 100 | N/A | 3 | 0 | 0
Laboratory collaboration | 0 | 0 | 100 | N/A | 9 | 4 | 44.4444
Grand Total assessment A | 0 | 0 | 100 | N/A | 108 | 4 | 3.7037
General laboratory profile, TOTAL (%) | 0 | 0 | 100 | N/A | 10 | 0 | 0
Infrastructure, equipment, supplies, TOTAL (%) | 0 | 0 | 100 | N/A | 26 | 0 | 0
Laboratory performance, TOTAL (%) | 0 | 0 | 100 | N/A | 27 | 0 | 0
QA,Biosafety/Biosecurity, TOTAL (%) | 0 | 0 | 100 | N/A | 29 | 0 | 0
Lab collaboration and networking, TOTAL (%) | 0 | 0 | 100 | N/A | 16 | 4 | 25

## 3. Summary.ENG
dd/mm/yyyy - LMT-Core results : Summary for Lab x
Current Assessment*
LMT -Core Category | dd/mm/yyyy - LMT Results for Lab x | Reliability **
Geographic location | N/A | 0
Laboratory Budget | N/A | 0
Basic supply | N/A | 0
Organization | N/A | 0
Infrastructure | N/A | 0
Equipment | N/A | 0
Reagent supply | N/A | 0
Staff skills + availability | N/A | 0
Sample accession | N/A | 0
Available technology | N/A | 0
Training | N/A | 0
Quality Assurance | N/A | 0
Biosafety/Biosecurity | N/A | 0
Staff Security/Health | N/A | 0 |  | dd/mm/yyyy - LMT Areas * Results for Lab x |  |  |  | TOTAL (%)
Communication means | N/A | 0 |  | TOTAL General laboratory profile |  |  |  | N/A
National lab networking | N/A | 0 |  | TOTAL Infrastructure, equipment, supplies |  |  |  | N/A
Laboratory collaboration | N/A | 0 |  | TOTAL Laboratory performance |  |  |  | N/A
Grand total (%) Lab x | N/A | 0 |  | TOTAL QA, Biosafety/Biosecurity |  |  |  | N/A
|  |  |  | TOTAL Lab collaboration and networking |  |  |  | N/A
Compilation - all LMT results* for Lab x
LMT Category | dd/mm/yyyy - Assessment A | dd/mm/yyyy - Assessment B | dd/mm/yyyy - Current assessment C
Geographic location | N/A | N/A | N/A
Laboratory Budget | N/A | N/A | N/A
Basic supply | N/A | N/A | N/A
Organization | N/A | N/A | N/A
Infrastructure | N/A | N/A | N/A
Equipment | N/A | N/A | N/A
Reagent supply | N/A | N/A | N/A
Staff skills + availability | N/A | N/A | N/A
Sample accession | N/A | N/A | N/A
Available technology | N/A | N/A | N/A
Training | N/A | N/A | N/A
Quality Assurance | N/A | N/A | N/A
Biosafety/Biosecurity | N/A | N/A | N/A
Staff Security/Health | N/A | N/A | N/A
Communication means | N/A | N/A | N/A
National lab networking | N/A | N/A | N/A
Laboratory collaboration | N/A | N/A | N/A
Overall level of Lab x functionality (%) | N/A | N/A | N/A |  |  | All LMT areas results* for Lab x | dd/mm/yyyy - Assessment A | dd/mm/yyyy - Assessment B | dd/mm/yyyy - Current assessment C
[6 empty] | General laboratory profile | N/A | N/A | N/A
*Numbers displayed in percentage; Scoring based on the ideal situation (100%): numbers in each cell represent the achieved percentage compared to the optimum (100%). | [5 empty] | Infrastructure, equipment, supplies | N/A | N/A | N/A
[6 empty] | Laboratory performance | N/A | N/A | N/A
[6 empty] | QA, Biosafety/Biosecurity | N/A | N/A | N/A
[6 empty] | Lab collaboration and networking | N/A | N/A | N/A
Details of all LMT-Core results* for Lab x
(for the assessor: please insert here any comment if needed)
Major gaps: |  |  |  |  | Major strengths:
Analysis of LMT-Core results for Lab x
Overview of Lab x's gaps and strengths relative to the ideal laboratory:
Major changes over time:
Main conclusions:
ver 092016
General laboratory profile
Infrastructure, equipment, supplies
Lab performance
QA, Biosafety/Biosecurity
Lab collaboration and networking
*Numbers displayed in percentage; Scoring based on the ideal situation (100%): numbers in each cell represent the achieved percentage compared to the optimum (100% being the ideal laboratory). Color coding: 0-20% , 20-40% , 40-60% , 60-80% , 80-100%
** Reliability of the result depends on the percentage of questions filled or left blanck per category in the LMT questionnaire. From 100 to 90%, the LMT scoring is reliable ( green). From 90 to 70%, realiability of the scoring is medium ( orange), from 70 to 0%, reliability is low ( red).
Note on B132: (for the assessor: please insert here any comment if needed)
Note on H132: (for the assessor: please insert here any comment if needed)
Note on B141: (for the assessor: please insert here any comment if needed)

## Copyright
Core contributors:
FAO: | External contributor:
Gwenaelle Dauphin, Mia Kim-Torchetti, Béatrice Mouillé, Boubacar M'Baye Seck † | Anja Globig, Friedrich Loeffler Institute
Additional contributors:
FAO: | External contributors:
Charles Bebay, Filip Claes, Nining Hartaningsih, Youssouf Kaboré, Sanipa Suradhat | Florence Baurier, France Vétérinaire International
Stuart Blacksell, Mahidol-Oxford Tropical Medicine Research Unit (MORU)
Joël Godenir, France Vétérinaire International
Jean Guillotin, France Vétérinaire International
Barbara Johnson, Australian Animal Health Laboratory
Nicolas Keck, France Vétérinaire International
Michael Treilles, France Vétérinaire International
The designations employed and the presentation of material in this tool does not imply the expression of any opinion whatsoever on the part of the Food and Agriculture Organization of the United Nations (FAO) concerning the legal or development status of any country, territory, city or area or of its authorities, or concerning the delimitation of its frontiers or boundaries. The mention of specific companies or products of manufacturers, whether or not these have been patented, does not imply that these have been endorsed or recommended by FAO in preference to others of a similar nature that are not mentioned.
The views expressed in this information product are those of the author(s) and do not necessarily reflect the views or policies of FAO.
© FAO, 2014
FAO encourages the use, reproduction and dissemination of material in this information product. Except where otherwise indicated, material may be copied, downloaded and printed for private study, research and teaching purposes, or for use in non-commercial products or services, provided that appropriate acknowledgement of FAO as the source and copyright holder is given and that FAO’s endorsement of users’ views, products or services is not implied in any way.
All requests for translation and adaptation rights, and for resale and other commercial use rights should be made via www.fao.org/contact-us/licence-request or addressed to copyright@fao.org
In addition the tool will be covered by the general terms and condition for the Web, which includes copyright and disclaimer material covering all web site content available at http://www.fao.org/contact-us/terms/en/