## Slide 1: Approaches for mass spectrometry quality control
Wout Bittremieux

## Slide 2: Quality control
Result: peppermint … euh ... erm
Target: peppermint icicles

## Slide 3: Do you already use quality control tools?
Chart: 
| No | Yes
Do you already use quality control tools? | 59 | 41

## Slide 4: How important is quality control for … ?

## Slide 5: Quality control data
mass spectrometer
proteins
peptides
LC column
MS scans
MS/MS scans

## Slide 6: Instrument monitoring

## Slide 7: Instrument monitoring

## Slide 8: Data exchange

## Slide 9: Data exchange

## Slide 10: Low-quality experiment detection

## Slide 11: Low-quality experiment detection

## Slide 12: Low-quality experiment detection

## Slide 13: Conclusion
Quality control at multiple levels
Instrument monitoring: low-level QC metrics
qcML: standard exchange format & storage
Outlier detection: identify and interpret low-quality experiments

## Slide 15
Acknowledgments