IN SILICO REGULATORY AIRLOCK

IMPLEMENTATION PHASE - REGULATORY PILOTS

GUIDELINES

A/ REGULATORY AIRLOCK OBJECTIVES

- Objective 1: Cross-Sector Exploration: Facilitate cross-sector exploration of hurdles, gaps, and challenges in adopting model-informed evidence to support regulatory decision-making within a secure, pre-competitive environment.

- Objective 2: Shared Learning Opportunities: Identify and develop learning opportunities associated with model-informed evidence in hypothetical regulatory submissions from various perspectives, including:

  - Required regulatory decision-making principles and guidelines

  - Regulatory capability and capacity needs

  - Legal and ethical implications

  - Patient risk reduction, public perceptions, and acceptance

- Objective 3: Futureproofing and Sustainability: Ensure the futureproofing and long-term sustainability of the UK CEiRSI initiative by refining the UK CEiRSI design beyond the first year and fostering a learning ecosystem in regulatory science and innovation.

B/ REGULATORY PILOTS SCOPE

- The regulatory challenge and context of use is the primary driver, the medical product is only illustrative

- Prioritise pilots of Model-Informed Evidence in clinical studies, with pre-clinical studies also considered.

- Case studies will initially focus on medical devices and drugs covering diverse regulatory challenges.

- Focus on 5-8 selected pilot/case studies of regulatory significance and industry interest. See example.

- Deliver cross-industry precompetitive collaboration and shared learning.

- Test the FDA Model Credibility Assessment Framework, ASME V&V and UK CEiRSI Draft Guidance on Model-Informed Evidence in Pre-clinical and Clinical Studies.

C/ AIRLOCK PILOTING PROCESS

Each Pilot Team (the Team) will be allocated a 2-hour session, spaced every 3-4 weeks over 6 months. Each Team will prepare its case as an interactive panel discussion to be presented to the entire UK CEiRSI community. Each case study will investigate available frameworks focused on credibility assessment for model-informed evidence. Specifically, each Pilot Team will focus on a hypothetical medical product (device or drug), choose exemplary Questions of Interest (EoI) within selected Contexts of Use (CoU), explore the use of the FDA Model Credibility Assessment Framework, the ASME V&V 40 Standard, and the UK CEiRSI Position Paper on the Use of Model-Informed Evidence in Pre-clinical and Clinical Studies to Support Regulatory Decisions, identify relevant computational models to answer the EoI in the relevant CoU, characterise model risk, present possible strategies for demonstrating model credibility, explore the potential adequacy of the credibility evidence, and discuss the practical feasibility of acquiring such evidence. This session will be informative for both CM&S experts and non-experts, enhancing their understanding of the practical application of existing and developing standards and guidance.

C.1/ PILOT TEAMS

Team Structure and Roles: The team consists of seven members, equally distributed from industry, academia, and regulatory affairs, ensuring a balanced representation of different organizations and stakeholder functions.

Roles and Descriptions:

- Pilot Coordinator (from Industry): Oversees the execution of pilot studies and ensures alignment with industry and regulatory standards and objectives. Reports to the UK CEiRSI Director.

- Pilot Rapporteur (from Academia): Documents and reports on the progress and findings of the pilot studies supporting the coordinator.

- Alternate Industry Representative: Provides additional industry insights and support, acting as a backup to the Pilot Coordinator.

- Regulatory Expert: Offers expertise on regulatory frameworks and through the lenses of future adoption, implementation compliance with relevant regulations.

- Alternate Regulatory Expert: Supports the Regulatory Expert and provides additional regulatory insights and backup.

- Specialist Academic Researcher: Conducts in-depth academic research to support the pilot studies and contributes to evidence-based conclusions.

C.2/ DISCOVERY PHASE (MAR 2024 – AUG 2024)

Project Initiation, Pilot/Case Study Identification: (Who: Pilot Coordinating Team):

- Define the Pilot aims, objectives and team.

- Identify and onboard the coordinating team members.

- Conduct a literature review to identify existing challenges in regulatory submissions.

- Engage with stakeholders to gather insights on critical areas needing attention.

- Complete application form and submit to Prof A F Frangi (a.frangi@manchester.ac.uk) and Christopher Turnbull (christopher.turnbull@manchester.ac.uk) by Jul 15th, 2024.

Pilot/Case Study Selection: (Who: RSIN Principal Investigator in coordination with MHRA)

- 5-8 Pilot/Teams will be selected by Jul 22nd, 2024, representing a diverse range of regulatory challenges.

- Pilots will be selected based on exemplary value, readiness, team track record, industry and regulators support.

- Not selected pilots may be consider at a later stage depending on funding available.

- Feedback will be given to each Pilot Team so a revised version of the pilot might be revised. Two Online Pilot Surgeries will be organised to discuss pilots and provide communal feedback that improves the clarity and quality of the selected cohort.

- Final Pilot Study form completed and submitted to Prof A F Frangi (a.frangi@manchester.ac.uk) and Christopher Turnbull (christopher.turnbull@manchester.ac.uk) by Aug 5th 2024.

C.3/ IMPLEMENTATION PHASE (OCT 2024 – APR 2025)

Pilot Pre-Pannel Work: (Who: Pilot Coordinating Team)

- Each Team will meet regularly convened by the Pilot Coordinator.

- Each Team will prepare a slide deck that will be used during their allocated 120-minute Pannel slot

Pilot Pannel: (Who: Pilot Coordinating Team, UK CEiRSI Community)

- The panel session will begin with a 30-minute presentation by the team, covering the rationale and chosen product for the pilot case study, modelling challenges, the question of interest, and the context of use alongside with the areas of credibility assessment that the Pilot has focused and why. This will be followed by a 30-minute panel discussion where the team will respond to structured regulatory questions, facilitated by the Pilot Coordinator. Next, the session will open up to the floor for up to 45 minutes of general Q&A, facilitated by the Pilot Coordinator. Finally, the Pilot Rapporteur will close the session in up to 15 minutes, summarizing the main lessons learned, open questions, and future needs. Pilot sessions may be attended by our PPIE Reference Group or Pilot Team will be asked to present the main outcomes in dedicated PPIE Workshops

Pilot Post Pannel Analysis and Documentation: (Who: Pilot Coordinating Team, broader community)

- Analyse the outcomes of the pilot studies to identify key learnings and best practices. The findings will be documented in a comprehensive report, not exceeding five pages, which will cover key recommendations. The report will include reflections on best principles and guidelines for regulatory decision-making, providing insights into the complexities and hurdles faced in current or developing regulatory frameworks. It will also address any identified regulatory capability and capacity needs, highlighting areas where actions are necessary to adopt model-based evidence and future-proof regulatory and approved bodies. Additionally, the report will discuss any emerging considerations on legal and ethical implications, taking into account the broader impacts of regulatory decisions on stakeholders. Finally, it will include recommendations for patient risk reduction, public engagement, and acceptance, emphasizing strategies to ensure patient safety and foster public trust and support.

- Develop case study summaries for dissemination.

Sharing and Learning: (Who: UK CEiRSI Coordination with Pilot Coordinating Teams)

- All pilot teams are expected to attend and support each other’s events to facilitate learning and sharing of approaches. Each team will lead one pilot and attend other pilot presentations whenever possible. This ensures consistency and mutual support for their work.

- Organize workshops and webinars to share the findings with a broader audience.

- Create a repository of best practices and lessons learned for future reference.

- Engage with regulatory bodies to discuss the implications of the findings and potential policy changes.

Feedback and Improvement: (Who: UK CEiRSI Coordination with Pilot Coordinating Teams)

- Collect feedback from participants and stakeholders.

- Refine the processes and methodologies based on the feedback.

- Plan for future iterations of the project to address additional regulatory challenges.

D/ RESOURCING:

Participants in the Airlock Regulatory Pilots are expected to make significant in-kind contributions to the delivery of the pilots and the broader regulatory airlock process. This includes participating in all pilot sessions and contributing to the drafting of reports. We anticipate that each regulatory pilot team will be supported with a central budget of up to £50-60k over a 6-month period, which will be allocated proportionally to pilot team members based on their contributions as the work progresses.

E/ OUTCOMES OF REGULATORY INTEREST

Projects will achieve multiple outcomes of interest, and that they will be on different time scales.

I - Foundational Requirements for Regulatory Science Research Projects

- Identify how the collaboration will enhance MHRA resources/ expertise/ capability

- Identify unmet need or regulatory science challenge to be addressed

- Specify which area of regulatory science the project falls under within MHRA’s Regulatory Science Framework:

- Modernise Development and Evaluation of MHRA-regulated Products

- Strengthen Post-market Surveillance and Labelling of MHRA-regulated Products

- Invigorate Public Health Preparedness and Response of the MHRA, Patients and Consumers

- Disseminate Scientific Knowledge

II - To MHRA:

- Final report on project results/ outcomes

- Presentations to MHRA staff or at MHRA workshop

- Training for MHRA staff

III - To Scientific Stakeholders:

- Publish relevant methods/outcomes/ results in peer-reviewed journals(s) and citations in literature (Aim for open-access journals)

- Present at scientific/clinical conferences/ workshops

- Data-sharing via publicly available platforms/ databases

- Incorporate relevant methods/outcomes into training and/or education curriculum

IV - Media coverage for the Public:

- MHRA initiated

- Outside source

- Trade press (e.g., medical periodical)

- Lay press (e.g., news outlet)

V - Catalyse Action Among Relevant Stakeholders:

- Create partnership with expert groups/ stakeholders to collaborate on project and achieve regulatory science outcomes of interest

- Enhance communication with expert groups/ stakeholders/ patients/ consumers to raise awareness of project outcomes

- Industry utilises relevant methods/outcomes (e.g., tool submission)

- Industry uses regulatory science outcome in premarket submission

- Patient and/or consumer groups utilise relevant methods/outcomes

- Technology transfer to stakeholders

- Relevant methods/outcomes subject of professional meeting

- Relevant methods/outcomes subject of MHRA public meeting

- Catalyst for future research funding

- Inclusion into clinical practice or other relevant medical guidelines

VI - Inform Regulatory Decision Making:

- Present at MHRA Advisory Committee

- MHRA utilises relevant methods/outcomes (in regulatory submission)

- Development or change in Guidelines/guidance

- Development or change in regulations

- Development or change in Reference materials

- Development or change in Consensus standards

- Development or change in Surveillance strategies

- Development or change in Compliance/ enforcement strategies

- Development or change in Inspection/sampling strategies

- Development or change in External communication strategies

- Development or change in Labelling

- Development or change in Agency policy

VII - Other:

- [Any other outcomes specific to the project or context]

IN SILICO REGULATORY AIRLOCK

IMPLEMENTATION PHASE - REGULATORY PILOTS

PILOT PROPOSAL FORM (max 3 pages)

Regulatory Pilot Project #: TITLE.

Proposed Project Leadership

PILOT COORDINATOR (FROM INDUSTRY), - NAME, Position, Institution

PILOT RAPPORTEUR (FROM ACADEMIA), - NAME, Position, Institution

Proposed Pilot Team Personnel

ALTERNATE INDUSTRY REPRESENTATIVE, - NAME, Position, Institution

REGULATORY EXPERT, - NAME, Position, Institution

ALTERNATE REGULATORY EXPERT, - NAME, Position, Institution

SPECIALIST ACADEMIC RESEARCHER, - NAME, Position, Institution

COMMUNICATION SPECIALIST (LIAISON TO PPIE), - NAME, Position, Institution

Target: MHRA-regulated product the project will involve.

Gap: Identify the unmet need and its significance that the project will address AND identify at least one of the MHRA priorities in regulatory science with which the project aligns.

Goal: To [Overall objective of the project]

Specific Aims:

Aim 1. [Wording of Aim.]

Aim 2. [Wording of Aim.]

Aim 3. [Wording of Aim.]

Model Credibility Specification:

- Study Type: Pre-Clinical or Clinical Setting

- Computational Model: Computational Model whose credibility is being assess. Insert description of the model and references (max 100 words)

- Product Question of Interest: Specify EoI as per FDA Definition, max 2 lines

- Model Context of Use: Specify CoU as per FDA Definition, max 2 lines

Existing Regulatory Challenges: State the regulatory hurdle explored through this pilot including literature review.

Regulatory Exemplary Value: Please state the case for regulatory relevance in no more than 200 words.

Please give an outline of the team’s relationships and expected plans to work together: This project aims for Pilots to deliver outputs at a pace and there would be limited time for team building once this commences. An understanding of this ahead will allow teams to work better together.

Expected Outcomes of Regulatory Interest. Select from list the Relevant Outcomes from the Airlock Guidance.

Regulatory Innovation. Describe the innovative aspects of this pilot regarding answering unmet industry or regulatory science needs (max 200 words). In doing so, consider the objectives of the Implementation Phase and how this project will contribute to those objectives.

How this Project supports the CEiRSI: The Implementation Phase funding of the UK CEiRSI must be used to invest in the capacity and capability of the network partners to deliver across four key goals:

- building the evidence base while accelerating innovation and adoption to mitigate near-term risks and identify long-term opportunities

- strengthening partnerships and interactions across the ecosystem on regulatory science and innovation matters

- facilitating knowledge transfer that leads to more evidence-based policymaking around regulation for innovation

- increasing opportunities to improve business capacity to exploit commercial opportunities

The UK CEiRSI must develop a strategy for policy, practice and standards in your sector. This includes plans to engage government departments and regulators in those sectors, to ensure that the evidence and insights generated are influencing policy development, while maintaining strategic and operational independence.

Areas for your network can include:

- research to inform the needs of policymakers and regulators

- training programmes and fellowships to upskill and provide continuous development to individuals across the regulatory system

- support for regulators for particularly challenging assessments where the required expertise may be lacking or needs expanding

- creating and delivering research-informed interventions, to help UK firms address their regulatory needs at both a national and international level

- focused programmes on specific areas of regulatory science in response to priorities agreed by network stakeholders

Justification of International Component, if any: max 50 words

Conflict of Interest Disclosure: max 50 words

Contributions to Regulatory Equity and Diversity: max 100 words

Contributions to Regulatory Equity and Diversity: max 100 words

Airlock Regulatory Pilot Description: max 800 words; sample follows.

Sample: Airlock Regulatory Pilot: TAVI Device

Hypothetical Device:

Transcatheter Aortic Valve Implantation (TAVI) Device

Questions of Interest (EoI):

Safety Question: What is the risk of Post-TAVI Pacing and Perivalvular Leakage for this device?

Efficacy Question: What are the optimal patient selection criteria to minimise the risks of and have the best trade-off between Post-TAVI Pacing and Perivalvular Leakage for this device?

Quantity of Interest (QoI):

Radial Stress on the Aortic Root

Contexts of Regulatory Use (CoU):

Accuracy of the TAVI Frame Release Computational Model in Predicting Radial Stress on the Aortic Root to estimate the risk of post-TAVI pacing and perivalvular leakage.

1. Introduction

This brief outlines a regulatory pilot study for a hypothetical Transcatheter Aortic Valve Implantation (TAVI) device. The focus is on assessing the accuracy of the computational model used to predict radial stress on the aortic root during the frame release of the TAVI device. The context of use involves estimating the risk of post-TAVI pacing and perivalvular leakage, which are critical factors in the safety and efficacy of the device.

2. Hypothetical Device Description

The TAVI device is designed to replace a diseased aortic valve via a minimally invasive procedure. It consists of a collapsible valve frame that is delivered to the heart through a catheter and expanded at the site of the native valve.

3. Regulatory Interest

Regulatory bodies are interested in the accuracy of computational models used in the development and validation of medical devices. For the TAVI device, it is crucial to ensure that the computational model accurately predicts the radial stress on the aortic root during the frame release. This prediction is essential for assessing potential complications such as post-TAVI pacing and perivalvular leakage.

4. Question of Interest

The primary question of interest is:

"How accurate is the TAVI frame release computational model in predicting the radial stress on the aortic root?"

5. Context of Use

The context of use for this regulatory pilot involves:

- Estimating the risk of post-TAVI pacing: Post-TAVI pacing is a common complication that can arise due to the pressure exerted by the TAVI device on the surrounding cardiac tissues.

- Assessing the risk of perivalvular leakage: Perivalvular leakage occurs when there is an incomplete seal between the TAVI device and the aortic root, leading to blood leakage around the valve.

6. Methodology

6.1 Computational Model Validation

- Model Description: Detailed description of the computational model used for simulating the TAVI frame release.

- Input Parameters: List of parameters used in the model (e.g., material properties of the aortic root, deployment forces).

- Simulation Scenarios: Different deployment scenarios to assess the robustness of the model. Difference between scenarios derived from current device testing standards vs those derived from knowledge of patient characteristics.

6.2 Experimental Validation

- Bench Testing: Conduct bench tests using anatomical models to compare the predicted radial stress with actual measurements.

- Animal Studies: Perform animal studies to validate the model predictions in a physiological setting.

7. Data Collection and Analysis

- Data Sources: Description of data sources used for validation (e.g., bench test data, animal study data).

- Analysis Methods: Statistical methods used to compare predicted and observed radial stress.

- Risk Estimation: Methods to estimate the risk of post-TAVI pacing and perivalvular leakage based on model predictions.

8. Expected Outcomes

- Accuracy Assessment: Determine the credibility and applicability of a computational model in predicting radial stress.

- Risk Estimation: Provide estimates of the risk of post-TAVI pacing and perivalvular leakage based on the validated model.

- Regulatory Insights: Offer insights into the suitability of current FDA credibility guidelines to establish the reliability of computational models in regulatory submissions for medical devices. Explore the challenges associated to the quality of data informing such models, aleatoric and epistemic uncertainties, and various practical choices that must be consider in applying the FDA Credibility framework and associated standards.

9. Conclusion

This regulatory pilot aims to demonstrate the process for establishing credibility of a TAVI frame release computational model in predicting radial stress on the aortic root. The results will provide valuable information for regulatory bodies to assess the safety and efficacy of the TAVI device, particularly concerning post-TAVI pacing and perivalvular leakage risks.

GLOSSARY

      - Adequacy assessment: For a given context of use (COU), the process of evaluating the credibility evidence in support of a computational model, together with any other relevant information, possibly including results from the COU simulations, and making a determination on whether the evidence is sufficient considering the model risk.

      - Applicability: The relevance of the validation activities to support the use of the computational model for a context of use.

      - Calculation verification (solution verification): The process of determining the solution accuracy of a calculation.

      - Code verification: The process of identifying errors in the numerical algorithms of a computer code.

      - Comparator: The test data that are used for validation, which may include data from bench testing, in vivo studies, or other empirical data.

      - Computational model: The numerical implementation of the mathematical model performed by means of a computer.

      - Context of use (COU): A statement that defines the specific role and scope of the computational model used to address the question of interest.

      - COU simulations: Simulations performed to address the question of interest.

      - Credibility: The trust, established through the collection of evidence, in the predictive capability of a computational model for a context of use.

      - Credibility evidence: Any evidence that could support the credibility of a computational model.

      - Credibility factors: Elements of the process used to establish the credibility of the computational model for a COU.

      - Decision consequence: The significance of an adverse outcome resulting from an incorrect decision concerning the question of interest.

      - Mathematical model: The mathematical equations, boundary conditions, initial conditions, and modeling data needed to describe a conceptual model.

      - Model influence: The contribution of the computational model relative to other contributing evidence in addressing the question of interest (e.g., data from bench testing).

      - Model risk: The possibility that the computational model and the simulation results may lead to an incorrect decision that would lead to an adverse outcome.

      - Post-study adequacy assessment: Adequacy assessment performed after executing planned credibility assessment activities, and potentially also after conducting the COU simulations, using results from these activities and any other relevant information.

      - Prospective adequacy assessment: Adequacy assessment performed before executing planned credibility assessment activities, using selected credibility goals and any other relevant information.

      - Quantity of interest (QoI): The calculated or measured result from a computational model or comparator, respectively.

      - Question of interest (EoI): The specific question, decision, or concern that is being addressed.

      - Uncertainty quantification: The process of generating and applying mathematical models to provide a measure of uncertainty in the empirical data or simulation results.

      - Solution verification: See calculation verification.

      - Validation: The process of determining the degree to which a model or a simulation is an accurate representation of the real world.

      - Verification: The process of determining that a computational model accurately represents the underlying mathematical model and its solution from the perspective of the intended uses of modelling and simulation. Code verification and calculation verification are two elements of verification.

EoI = from Question or Examination of Interest, to differentiate from QoI usually reserved in ASME V&V40 for Quantity of Interest.

Adapted from: www.fda.gov/science-research/advancing-regulatory-science/outcomes-interest-regulatory-science-research-projects

Credibility Assessment, www.fda.gov/medical-devices/medical-device-regulatory-science-research-programs-conducted-osel/credibility-computational-models-program-research-computational-models-and-simulation-associated

Question of Interest (EoI), p. 15. www.fda.gov/regulatory-information/search-fda-guidance-documents/assessing-credibility-computational-modeling-and-simulation-medical-device-submissions

Context of Use (CoU), p 16. www.fda.gov/regulatory-information/search-fda-guidance-documents/assessing-credibility-computational-modeling-and-simulation-medical-device-submissions

Extracted from Sec IV of https://www.fda.gov/regulatory-information/search-fda-guidance-documents/assessing-credibility-computational-modeling-and-simulation-medical-device-submissions