## Slide 1
CFPtot = Σ (Q + E · PUE · C)
CFPtot | Total annual carbon footprint
Q | Carbon footprint of hardware manufacturing, disposal and logistics (per year)
E | Electricity used to run the DPS platform
PUE | Datacenter power usage efficiency
C | Electricity production carbon footprint
60 kg CO2
37kg CO2
Average figures from data published by DELL & HPE Enclosure 15 kg CO2ekv
Fan 3 kg CO2ekv
Power supply unit 19 kg CO2ekv
Mainboard (2x CPU + 192GB RAM) 488 kg CO2ekv
Solid state drive (<500GB) 19 kg CO2ekv
Hard drive 37-60 kg CO2ekv
Daughterboard 170 kg CO2ekv
2020 12TB Seagate HDD
2024 16TB Seagate HDD
A Generic Carbon Footprint Model
Generic model
Servers use components with an in-body carbon footprint that is reported by at least one vendor. These values can be turned into a generic server component in-body carbon footprint calculation.​
Finnish hydropower
24 kg CO2ekv/
MWh
Mikko Tiainen, Heikki Helin, Johan Kylander, Juha Lehtonen, CSC – IT Center for Science Ltd, https://digitalpreservation.fi
21169
kg CO2ekv
Our Data Centers:
A: 1.05
B: 1.2
C: 2
Risk of data loss
Annual CPF / TiB of the DPS in Finland
Lifespan Impact on the Annual CFP

## Slide 2
CFPtot = Σ (Q + E · PUE · C)
CFPtot | Total annual carbon footprint
Q | Carbon footprint of hardware manufacturing, disposal and logistics (per year)
E | Electricity used to run the DPS platform
PUE | Datacenter power usage efficiency
C | Electricity production carbon footprint
60 kg CO2
37kg CO2
2020 12TB Seagate HDD
2024 16TB Seagate HDD
A Generic Carbon Footprint Model
Generic model
Servers use components with an in-body carbon footprint that is reported by at least one vendor. These values can be turned into a generic server component in-body carbon footprint calculation.​
Mikko Tiainen, Heikki Helin, Johan Kylander, Juha Lehtonen, CSC – IT Center for Science Ltd, https://digitalpreservation.fi
21169
kg CO2ekv
Finnish hydropower
24 kg CO2ekv/
MWh
Average figures from data published by DELL & HPE Enclosure 15 kg CO2ekv
Fan 3 kg CO2ekv
Power supply unit 19 kg CO2ekv
Mainboard (2x CPU + 192GB RAM) 488 kg CO2ekv
Solid state drive (<500GB) 19 kg CO2ekv
Hard drive 37-60 kg CO2ekv
Daughterboard 170 kg CO2ekv
Our Data Centers:
A: 1.05
B: 1.2
C: 2
Risk of data loss
Annual CPF / TiB of the DPS in Finland
Lifespan Impact on the Annual CFP
Chart: kg CO2ekv / MWh
| Wind | Nuclear | Hydro | Sun | Natural gas | Coal
 | 11 | 12 | 24 | 41 | 201 | 338
Emissions of Energy Sources

## Slide 3
CFPtot = Σ (Q + E · PUE · C)
CFPtot | Total annual carbon footprint
Q | Carbon footprint of hardware manufacturing, disposal and logistics (per year)
E | Electricity used to run the DPS platform
PUE | Datacenter power usage efficiency
C | Electricity production carbon footprint
60 kg CO2
37kg CO2
2020 12TB Seagate HDD
2024 16TB Seagate HDD
A Generic Carbon Footprint Model
Generic model
Servers use components with an in-body carbon footprint that is reported by at least one vendor. These values can be turned into a generic server component in-body carbon footprint calculation.​
Mikko Tiainen, Heikki Helin, Johan Kylander, Juha Lehtonen, CSC – IT Center for Science Ltd, https://digitalpreservation.fi
21169
kg CO2ekv
Finnish hydropower
24 kg CO2ekv/
MWh
Average figures from data published by DELL & HPE Enclosure 15 kg CO2ekv
Fan 3 kg CO2ekv
Power supply unit 19 kg CO2ekv
Mainboard (2x CPU + 192GB RAM) 488 kg CO2ekv
Solid state drive (<500GB) 19 kg CO2ekv
Hard drive 37-60 kg CO2ekv
Daughterboard 170 kg CO2ekv
Our Data Centers:
A: 1.05
B: 1.2
C: 2
Risk of data loss
Annual CPF / TiB of the DPS in Finland
Lifespan Impact on the Annual CFP
Emissions in 2021 (t CO2ekv / capita)

## Slide 4
CFPtot = Σ (Q + E · PUE · C)
CFPtot | Total annual carbon footprint
Q | Carbon footprint of hardware manufacturing, disposal and logistics (per year)
E | Electricity used to run the DPS platform
PUE | Datacenter power usage efficiency
C | Electricity production carbon footprint
60 kg CO2
37kg CO2
2020 12TB Seagate HDD
2024 16TB Seagate HDD
A Generic Carbon Footprint Model
Generic model
Servers use components with an in-body carbon footprint that is reported by at least one vendor. These values can be turned into a generic server component in-body carbon footprint calculation.​
Mikko Tiainen, Heikki Helin, Johan Kylander, Juha Lehtonen, CSC – IT Center for Science Ltd, https://digitalpreservation.fi
21169
kg CO2ekv
37kg CO2
Finnish hydropower
24 kg CO2ekv/
MWh
Average figures from data published by DELL & HPE Enclosure 15 kg CO2ekv
Fan 3 kg CO2ekv
Power supply unit 19 kg CO2ekv
Mainboard (2x CPU + 192GB RAM) 488 kg CO2ekv
Solid state drive (<500GB) 19 kg CO2ekv
Hard drive 37-60 kg CO2ekv
Daughterboard 170 kg CO2ekv
Our Data Centers:
A: 1.05
B: 1.2
C: 2
Risk of data loss
Annual CPF / TiB of the DPS in Finland
Lifespan Impact on the Annual CFP
Our 7.5 PiB DPS Platform​
Vendors: HPE, IBM & Inspur
Number of HDDs: 1200
Number of SSDs: 119
Number of servers: 43
Number of tape libraries: 5
Number of tape drives: 35
Number of tapes: 1126
Ingest includes a thorough validation of submitted content on servers
+
LTO8
LTO8
LTO9

## Slide 5
CFPtot = Σ (Q + E · PUE · C)
CFPtot | Total annual carbon footprint
Q | Carbon footprint of hardware manufacturing, disposal and logistics (per year)
E | Electricity used to run the DPS platform
PUE | Datacenter power usage efficiency
C | Electricity production carbon footprint
60 kg CO2
37kg CO2
2020 12TB Seagate HDD
2024 16TB Seagate HDD
A Generic Carbon Footprint Model
Generic model
Servers use components with an in-body carbon footprint that is reported by at least one vendor. These values can be turned into a generic server component in-body carbon footprint calculation.​
Mikko Tiainen, Heikki Helin, Johan Kylander, Juha Lehtonen, CSC – IT Center for Science Ltd, https://digitalpreservation.fi
21169
kg CO2ekv
Finnish hydropower
24 kg CO2ekv/
MWh
Average figures from data published by DELL & HPE Enclosure 15 kg CO2ekv
Fan 3 kg CO2ekv
Power supply unit 19 kg CO2ekv
Mainboard (2x CPU + 192GB RAM) 488 kg CO2ekv
Solid state drive (<500GB) 19 kg CO2ekv
Hard drive 37-60 kg CO2ekv
Daughterboard 170 kg CO2ekv
Our Data Centers:
A: 1.05
B: 1.2
C: 2
Risk of data loss
Annual CPF / TiB of the DPS in Finland
Lifespan Impact on the Annual CFP
We could also heat 35 000 saunas per year with the same CFP
The total carbon footprint of the DPS in Finland
We could make 9 800 000 cups of coffee per year instead of doing digital preservation
21169
kg CO2ekv