## SETS
Technologies |  | Commodities
Code | Description | Code | Description
IMPOIL | Crude Oil Imports | OIL | Crude Oil
MINOIL | Crude Oil Extraction | BIO | Biomass
IMPBIO | Biomass Imports | COA | Coal
MINBIO | Biomass Extraction | LFO | Light Fuel Oil
IMPCOA | Coal Imports | NGS | Natural Gas
MINCOA | Coal Extraction | HFO | Heavy Fuel Oil
IMPLFO | Light Fuel Oil Imports | SOL | Solar
IMPHFO | Heavy Fuel Oil Imports | HYD | Hydro
UPSREF001 | Crude Oil Refinery Option 1 | WND | Wind
UPSREF002 | Crude Oil Refinery Option 2 | URN | Uranium
IMPNGS | Natural Gas Imports | GEO | Geothermal
MINNGS | Natural Gas Extraction | ELC001 | Electricity from power plants
MINSOL | Solar Potential | ELC002 | Electricity after transmission
MINWND | Wind Potential | ELC003 | Electricity after distribution
IMPURN | Uranium Imports | ELCEV | Electricity for EVs
MINURN | Uranium Extraction | TRAMCY | Motorcycle Transport Demand
MINGEO | Geothermal Potential | TRACAR | Car Transport Demand
MINHYD | Hydro Potential | TRABUS | Bus + Rail Transport Demand
PWRBIO001 | Biomass Power Plant | INDELC | Industrial Electricity Demand
PWRCOA001 | Coal Power Plant | INDHEH | Industry High Heat Demand
TEC021 | No longer used | INDHEL | Industry Low Heat Demand
PWRGEO | Geothermal Power Plant | RESELC | Residential Electricity Demand
PWROHC001 | Light Fuel Oil Power Plant | RESCKN | Residential Cooking Demand
PWROHC002 | Oil Fired Gas Turbine (SCGT) | RESHEL | Residential Low Heat Demand
PWRNGS001 | Gas Power Plant (CCGT) | COMELC | Commercial Electricity Demand
PWRNGS002 | Gas Power Plant (OCGT) | COMHEL | Commercial Low Heat Demand
PWRSOL001 | Solar PV (Utility)
PWRCSP001 | CSP without Storage
PWRCSP002 | CSP with Storage
PWRHYD001 | Large Hydropower Plant (Dam) (>100MW)
PWRHYD002 | Medium Hydropower Plant (10-100MW)
PWRHYD003 | Small Hydropower Plant (<10MW)
PWRWND001 | Onshore Wind
PWRWND002 | Offshore Wind
PWRNUC | Nuclear Power Plant
PWRSOL001S | Utility-scale PV with 2 hour storage
PWRWND001S | Onshore Wind power plant with storage
PWRTRNIMP | Electricity Imports
BACKSTOP001 | Backstop Technology for ELC001
PWRTRN | Electricity Transmission
PWRDIST | Electricity Distribution
PWROHC003 | Light Fuel Oil Standalone Generator (1kW)
PWRSOL002 | Solar PV (Distributed with Storage)
PWRHYD004 | Off-grid Hydropower
PWRTRNEXP | Electricity Exports
BACKSTOP002 | Backstop for ELC003
DEMTRAEVC | EV Charger
DEMTRAMCYELC | Electric Motorcycle
DEMTRACARELC | Electric Car
DEMTRABUSELC | Electric Bus + Rail
DEMTRAMCYGSL | Gasoline Motorcycle
DEMTRACARGSL | Gasoline Car
DEMTRABUSGSL | Gasoline Bus + Rail
DEMINDELC | Industry Standard Efficiency Appliances
INDENEFFGD | Industry Good Efficiency
INDENEFFDP | Industry Deep Efficiency
DEMINDHEEH | Industry Electric Heating High
DEMINDHEEL | Industry Electric Heating Low
DEMINDHECOA | Industry Coal Heating
DEMINDHEOIL | Industry Oil Heating
DEMINDHEBIO | Industry Biomass Heating
DEMRESELC | Residential Standard Efficiency Appliances
RESENEFFGD | Residential Good Efficiency
RESENEFFDP | Residential Deep Efficiency
DEMRESCKNELC | Residential Electric Stove
DEMRESCKNOIL | Residential Oil Stove
DEMRESCKNBIO | Residential Biomass Stove
DEMRESHEBIO | Residential Biomass Heating
DEMRESHEOIL | Residential Oil Heating
DEMRESHEEL | Residential Electric Heating Low
DEMCOMELC | Commercial Standard Efficiency Appliances
COMENEFFGD | Commercial Good Efficiency
COMENEFFDP | Commercial Deep Efficiency
DEMCOMHEOIL | Commercial Oil Heating
DEMCOMHEBIO | Commercial Biomass Heating
DEMCOMHEEL | Commercial Electric Heating Low
BSTOPMCY | Backstop for TRACMCY
BSTOPCAR | Backstop for TRACAR
BSTOPBUS | Backstop for TRABUS
BSTOPINDELC | Backstop for INDELC
BSTOPINHEH | Backstop for INDHEH
BSTOPINDHEL | Backstop for INDHEL
BSTOPRESELC | Backstop for RESELC
BSTOPRESCKN | Backstop for RESCKN
BSTOPRESHEL | Backstop for RESHEL
BSTOPCOMELC | Backstop for COMELC
BSTOPCOMHEL | Backstop for COMHEL

## Contents
Updated Techno-economic data and assumptions for long-term energy systems modelling in South Africa (2015-2050)
Contents:
Capacity Factor & Lifetime
Residual Capacity
Demand
Costs
Resource Potential
Generation
Investment
Transmission & Distibution
Imports & Exports
This file containts the data and sources updated for the below paper.
An Open and Lite Techno-economic Dataset and Assumptions for Open Energy, Emissions and Mitigation Modelling in the Republic of South Africa
All other data in the model is from the South Africa Starter Data kit ( https://doi.org/10.5281/zenodo.7540548).

## Capacity Factor & Lifetime
Capacity Factor |  |  |  |  | Operational Life
Raw data |  |  |  |  | Raw Data
Source | Technology | Code | Time Slice | Factor | Source | Technology | Code | Lifetime (Years)
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Biomass Power Plant | PWRBIO001 | S101 | 0.85 | Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Biomass Power Plant | PWRBIO001 | 30
|  |  | S102 | 0.85 |  | Coal Power Plant | PWRCOA001 | 35
|  |  | S103 | 0.85 |  | Gas Power Plant (CCGT) | PWRNGS001 | 30
|  |  | S104 | 0.85 |  | Solar PV (Utility) | PWRSOL001 | 24
|  |  | S105 | 0.85 |  | CSP with Storage | PWRCSP002 | 30
|  |  | S106 | 0.85 |  | Onshore Wind | PWRWND001 | 25
|  |  | S107 | 0.85 |  | Nuclear Power Plant | PWRNUC | 50
|  |  | S108 | 0.85 |  | Light Fuel Oil Standalone Generator (1kW) | PWROHC003 | 10
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Coal Power Plant | PWRCOA001 | S101 | 0.57 |  | Solar PV (Distributed with Storage) | PWRSOL002 | 24
|  |  | S102 | 0.57
|  |  | S103 | 0.57
|  |  | S104 | 0.57
|  |  | S105 | 0.57
|  |  | S106 | 0.57
|  |  | S107 | 0.57
|  |  | S108 | 0.57
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Geothermal Power Plant | PWRGEO | S101 | 0.794
|  |  | S102 | 0.794
|  |  | S103 | 0.794
|  |  | S104 | 0.794
|  |  | S105 | 0.794
|  |  | S106 | 0.794
|  |  | S107 | 0.794
|  |  | S108 | 0.794
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Light Fuel Oil Power Plant | PWROHC001 | S101 | 0.8
|  |  | S102 | 0.8
|  |  | S103 | 0.8
|  |  | S104 | 0.8
|  |  | S105 | 0.8
|  |  | S106 | 0.8
|  |  | S107 | 0.8
|  |  | S108 | 0.8
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Oil Fired Gas Turbine (SCGT) | PWROHC002 | S101 | 0.8
|  |  | S102 | 0.8
|  |  | S103 | 0.8
|  |  | S104 | 0.8
|  |  | S105 | 0.8
|  |  | S106 | 0.8
|  |  | S107 | 0.8
|  |  | S108 | 0.8
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Gas Power Plant (CCGT) | PWRNGS001 | S101 | 0.5
|  |  | S102 | 0.5
|  |  | S103 | 0.5
|  |  | S104 | 0.5
|  |  | S105 | 0.5
|  |  | S106 | 0.5
|  |  | S107 | 0.5
|  |  | S108 | 0.5
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Gas Power Plant (OCGT) | PWRNGS002 | S101 | 0.1
|  |  | S102 | 0.1
|  |  | S103 | 0.1
|  |  | S104 | 0.1
|  |  | S105 | 0.1
|  |  | S106 | 0.1
|  |  | S107 | 0.1
|  |  | S108 | 0.1
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Solar PV (Utility) | PWRSOL001 | S101 | 0.34276
|  |  | S102 | 0
|  |  | S103 | 0.2922
|  |  | S104 | 0
|  |  | S105 | 0.31064
|  |  | S106 | 0
|  |  | S107 | 0.29693
|  |  | S108 | 0
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | CSP without Storage | PWRCSP001 | S101 | 0.452
|  |  | S102 | 0
|  |  | S103 | 0.452
|  |  | S104 | 0
|  |  | S105 | 0.452
|  |  | S106 | 0
|  |  | S107 | 0.452
|  |  | S108 | 0
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | CSP with Storage | PWRCSP002 | S101 | 0.4
|  |  | S102 | 0.4
|  |  | S103 | 0.4
|  |  | S104 | 0.4
|  |  | S105 | 0.4
|  |  | S106 | 0.4
|  |  | S107 | 0.4
|  |  | S108 | 0.4
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Large Hydropower Plant >100MW | PWRHYD001 | S101 | 0.63481
|  |  | S102 | 0.63481
|  |  | S103 | 0.77337
|  |  | S104 | 0.77337
|  |  | S105 | 0.21337
|  |  | S106 | 0.21337
|  |  | S107 | 0.54889
|  |  | S108 | 0.54889
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Medium Hydropower Plant 10-100MW | PWRHYD002 | S101 | 0.63481
|  |  | S102 | 0.63481
|  |  | S103 | 0.77337
|  |  | S104 | 0.77337
|  |  | S105 | 0.21337
|  |  | S106 | 0.21337
|  |  | S107 | 0.54889
|  |  | S108 | 0.54889
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Small Hydropower Plant <10MW | PWRHDY003 | S101 | 0.63481
|  |  | S102 | 0.63481
|  |  | S103 | 0.77337
|  |  | S104 | 0.77337
|  |  | S105 | 0.21337
|  |  | S106 | 0.21337
|  |  | S107 | 0.54889
|  |  | S108 | 0.54889
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Onshore Wind | PWRWND001 | S101 | 0.36
|  |  | S102 | 0.36
|  |  | S103 | 0.36
|  |  | S104 | 0.36
|  |  | S105 | 0.36
|  |  | S106 | 0.36
|  |  | S107 | 0.36
|  |  | S108 | 0.36
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Nuclear Power Plant | PWRNUC | S101 | 0.85
|  |  | S102 | 0.85
|  |  | S103 | 0.85
|  |  | S104 | 0.85
|  |  | S105 | 0.85
|  |  | S106 | 0.85
|  |  | S107 | 0.85
|  |  | S108 | 0.85
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Utility-scale PV with 2 hour storage | PWRSOL001S | S101 | 0.057127
|  |  | S102 | 0.34276
|  |  | S103 | 0.048699
|  |  | S104 | 0.2922
|  |  | S105 | 0.051773
|  |  | S106 | 0.31064
|  |  | S107 | 0.049488
|  |  | S108 | 0.29693
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Onshore Wind power plant with storage | PWRWND001S | S101 | 0.07766
|  |  | S102 | 0.07766
|  |  | S103 | 0.07766
|  |  | S104 | 0.07766
|  |  | S105 | 0.07766
|  |  | S106 | 0.07766
|  |  | S107 | 0.07766
|  |  | S108 | 0.07766
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Light Fuel Oil Standalone Generator (1kW) | PWROHC003 | S101 | 0.3
|  |  | S102 | 0.3
|  |  | S103 | 0.3
|  |  | S104 | 0.3
|  |  | S105 | 0.3
|  |  | S106 | 0.3
|  |  | S107 | 0.3
|  |  | S108 | 0.3
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Solar PV (Distributed with Storage) | PWRSOL002 | S101 | 0.057127
|  |  | S102 | 0.34276
|  |  | S103 | 0.048699
|  |  | S104 | 0.2922
|  |  | S105 | 0.051773
|  |  | S106 | 0.31064
|  |  | S107 | 0.049488
|  |  | S108 | 0.29693
(Brinkerink, Gallachóir & Deane, 2021; Ninja, 2024 | Off-grid Hydropower | PWRHYD004 | S101 | 0.63481
|  |  | S102 | 0.63481
|  |  | S103 | 0.77337
|  |  | S104 | 0.77337
|  |  | S105 | 0.21337
|  |  | S106 | 0.21337
|  |  | S107 | 0.54889
|  |  | S108 | 0.54889

## Residual Capacity
Residual Capacity
Processed Data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Biomass Power Plant | PWRBIO001 | 0.033 | 0.033 | 0.004 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.025 | 0.024167 | 0.023333 | 0.0225 | 0.021667 | 0.020833 | 0.02 | 0.019167 | 0.018333 | 0.0175 | 0.016667 | 0.015833 | 0.015 | 0.014167 | 0.013333 | 0.0125 | 0.011667 | 0.010833 | 0.01 | 0.0091667 | 0.0083333
| Coal Power Plant | PWRCOA001 | 38.548 | 38.548 | 38.548 | 39.126 | 37.149 | 37.945 | 39.314 | 39.8 | 38.4733 | 37.1909 | 35.9512 | 34.7528 | 33.5944 | 32.4746 | 31.3921 | 30.3457 | 29.4787 | 28.6117 | 27.7446 | 26.8776 | 26.0106 | 25.1436 | 24.2766 | 23.4095 | 22.5425 | 21.6755 | 20.8085 | 19.9415 | 19.0744 | 18.2074 | 17.3404 | 16.4734 | 15.6064 | 14.7393 | 13.8723 | 13.0053
| Gas Power Plant (CCGT) | PWRNGS001 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.2867 | 3.1733 | 3.06 | 2.9467 | 2.8333 | 2.72 | 2.6067 | 2.4933 | 2.38 | 2.2667 | 2.1533 | 2.04 | 1.9267 | 1.8133 | 1.7 | 1.5867 | 1.4733 | 1.36 | 1.2467 | 1.1333
| Solar PV (Utility) | PWRSOL001 | 0.075 | 0.075 | 0.075 | 1.475 | 1.475 | 2.032 | 2.21 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.38 | 2.2808 | 2.1817 | 2.0825 | 1.9833 | 1.8842 | 1.785 | 1.6858 | 1.5867 | 1.4875 | 1.3883 | 1.2892 | 1.19 | 1.0908 | 0.99167 | 0.8925 | 0.79333 | 0.69417 | 0.595 | 0.49583 | 0.39667
| CSP with Storage | PWRCSP002 | 0.1 | 0.2 | 0.3 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.48333 | 0.46667 | 0.45 | 0.43333 | 0.41667 | 0.4 | 0.38333 | 0.36667 | 0.35 | 0.33333 | 0.31667 | 0.3 | 0.28333 | 0.26667 | 0.25 | 0.23333 | 0.21667 | 0.2 | 0.18333 | 0.16667
| Large Hydropower Plant >100MW | PWRHYD001 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324 | 3.324
| Onshore Wind | PWRWND001 | 1.079 | 1.473 | 2.094 | 2.094 | 2.094 | 2.495 | 3.023 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.4 | 3.264 | 3.128 | 2.992 | 2.856 | 2.72 | 2.584 | 2.448 | 2.312 | 2.176 | 2.04 | 1.904 | 1.768 | 1.632 | 1.496 | 1.36 | 1.224 | 1.088 | 0.952 | 0.816 | 0.68
| Nuclear Power Plant | PWRNUC | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.9 | 1.862 | 1.824 | 1.786 | 1.748 | 1.71 | 1.672 | 1.634 | 1.596 | 1.558 | 1.52 | 1.482 | 1.444 | 1.406 | 1.368 | 1.33 | 1.292 | 1.254 | 1.216 | 1.178 | 1.14
| Power Transmission | PWRTRN | 30.2111 | 31.8717 | 32.1894 | 32.8888 | 32.8888 | 32.8888 | 32.8888 | 32.8888 | 32.8888 | 32.8888 | 32.8888 | 33.4646 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082 | 33.9082
| Power Distribution | PWRDIST | 27.8395 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.3697 | 29.8839 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28 | 30.28
| Light Fuel Oil Standalone Generator (1kW) | PWROHC003 | 0 | 0 | 0.00108 | 0.00268 | 0.00108 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.00908 | 0.008172 | 0.007264 | 0.006356 | 0.005448 | 0.00454 | 0.003632 | 0.002724 | 0.001816 | 0.000908 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Solar PV (Distributed with Storage) | PWRSOL002 | 0.1 | 0.2 | 0.4 | 0.6 | 0.8 | 1.23 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.634 | 1.5659 | 1.4978 | 1.4298 | 1.3617 | 1.2936 | 1.2255 | 1.1574 | 1.0893 | 1.0213 | 0.95317 | 0.88508 | 0.817 | 0.74892 | 0.68083 | 0.61275 | 0.54467 | 0.47658 | 0.4085 | 0.34042 | 0.27233
| Off-grid Hydropower | PWRHYD004 | 0.0035 | 0.0035 | 0.0038 | 0.003964 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924 | 0.003924

## Demand
Electricity Demand (PJ)
Raw + modelled data
Source | Description | Data type | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DMRE. https://www.energy.gov.za/files/energyStats_frame.html | Industrial Electricity Demand | Historical | INDELC | 396.24 | 390.26 | 385.59 | 383.72 | 372.91 | 230.37 | 363.24 | 373.3327 | 383.1059
| Industrial Electricity Demand | Projection | INDELC | [9 empty] | 392.9361 | 403.0974 | 413.6525 | 424.5117 | 435.6164 | 446.86 | 458.1625 | 469.5168 | 480.9491 | 492.447 | 503.9996 | 515.5964 | 527.226 | 538.8783 | 550.547 | 562.2277 | 573.9148 | 585.6009 | 597.2772 | 608.9364 | 620.5713 | 632.1747 | 643.7397 | 655.2596 | 666.7273 | 678.1361 | 689.4792
| Residential Electricity Demand | Historical | RESELC | 170.788 | 196.16 | 196.16 | 196.16 | 196.16 | 96.88 | 144.651 | 148.6701 | 152.5621
| Residential Electricity Demand | Projection | RESELC | [9 empty] | 156.4767 | 160.5232 | 164.7265 | 169.0509 | 173.473 | 177.9505 | 182.4514 | 186.973 | 191.5256 | 196.1044 | 200.7049 | 205.323 | 209.9542 | 214.5944 | 219.2412 | 223.8927 | 228.5468 | 233.2005 | 237.8503 | 242.4933 | 247.1266 | 251.7473 | 256.3528 | 260.9403 | 265.507 | 270.0503 | 274.5674
| Commercial Electricity Demand | Historical | COMELC | 103.798 | 133.2 | 133.21 | 133.21 | 133.21 | 122.81 | 75.63 | 126.2223 | 129.5266
| Commercial Electricity Demand | Projection | COMELC | [9 empty] | 132.8501 | 136.2856 | 139.8543 | 143.5257 | 147.2802 | 151.0816 | 154.9029 | 158.7418 | 162.607 | 166.4944 | 170.4003 | 174.3211 | 178.253 | 182.1926 | 186.1378 | 190.0869 | 194.0383 | 197.9893 | 201.937 | 205.879 | 209.8127 | 213.7358 | 217.6458 | 221.5407 | 225.4179 | 229.2751 | 233.1102

## Costs
Capital Cost ($/kW)
Standardized data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Biomass Power Plant | PWRBIO001 | 5390.5783 | 5390.5783 | 5390.5783 | 5390.5783 | 5390.5783 | 5390.5783 | 5390.5783 | 5210.7989 | 5031.0195 | 4851.2401 | 4708.1848 | 4620.6104 | 4574.2332 | 4544.1134 | 4516.211 | 4489.1302 | 4454.3277 | 4422.136 | 4395.1532 | 4366.9278 | 4339.5115 | 4308.1059 | 4276.9731 | 4248.479 | 4215.1458 | 4186.2172 | 4160.3185 | 4129.725 | 4102.6925 | 4073.4496 | 4042.3069 | 4011.7965 | 3982.8782 | 3952.1406 | 3919.6652 | 3870.8494
| Coal Power Plant | PWRCOA001 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257 | 3296.8257
| Geothermal Power Plant | PWRGEO | 6750.0728 | 6750.0728 | 6750.0728 | 6750.0728 | 6750.0728 | 6750.0728 | 6750.0728 | 6986.3254 | 6951.3938 | 6916.6368 | 6882.0536 | 6847.6433 | 6813.4051 | 6779.3381 | 6745.4414 | 6711.7142 | 6678.1556 | 6644.7649 | 6611.541 | 6578.4833 | 6545.5909 | 6512.863 | 6480.2986 | 6447.8971 | 6415.6577 | 6383.5794 | 6351.6615 | 6319.9032 | 6288.3037 | 6256.8621 | 6225.5778 | 6194.4499 | 6163.4777 | 6132.6603 | 6101.997 | 6071.487
| Gas Power Plant (CCGT) | PWRNGS001 | 1247.5348 | 1247.5348 | 1247.5348 | 1247.5348 | 1247.5348 | 1247.5348 | 1247.5348 | 1247.5348 | 1239.2656 | 1230.9964 | 1222.6154 | 1214.3462 | 1206.077 | 1197.8078 | 1189.5386 | 1181.2693 | 1173.0001 | 1164.6191 | 1156.3499 | 1148.0807 | 1139.8115 | 1131.5423 | 1123.273 | 1114.8921 | 1106.6229 | 1098.3536 | 1090.0844 | 1081.8152 | 1073.546 | 1065.2768 | 1056.8958 | 1048.6266 | 1040.3573 | 1032.0881 | 1023.8189 | 1015.5497
| Gas Power Plant (OCGT) | PWRNGS002 | 1120.3676 | 1120.3676 | 1120.3676 | 1120.3676 | 1120.3676 | 1120.3676 | 1120.3676 | 1120.3676 | 1111.4279 | 1102.6 | 1093.772 | 1084.9441 | 1076.0044 | 1067.1764 | 1058.3485 | 1049.5205 | 1040.6926 | 1031.7529 | 1022.9249 | 1014.097 | 1005.269 | 996.3293 | 987.5014 | 978.6734 | 969.8455 | 960.9058 | 952.0778 | 943.2499 | 934.4219 | 925.594 | 916.6543 | 907.8263 | 898.9984 | 890.1704 | 881.2307 | 872.4028
| Solar PV (Utility) | PWRSOL001 | 1311.5719 | 1246.7134 | 1181.855 | 1116.9966 | 1067.828 | 987.2797 | 969.4909 | 951.702 | 933.9132 | 916.1244 | 898.3356 | 880.5467 | 862.7579 | 844.9691 | 827.1803 | 809.3914 | 800.6491 | 791.8934 | 783.1243 | 774.342 | 765.5463 | 756.7373 | 747.9149 | 739.0792 | 730.2303 | 721.3679 | 712.4923 | 703.6033 | 694.701 | 685.7854 | 676.8564 | 667.9142 | 658.9586 | 649.9896 | 641.0074 | 632.0118
| Onshore Wind | PWRWND001 | 1311.5719 | 1246.7134 | 1181.855 | 1116.9966 | 1067.828 | 987.2797 | 969.4909 | 951.702 | 933.9132 | 916.1244 | 898.3356 | 880.5467 | 862.7579 | 844.9691 | 827.1803 | 809.3914 | 800.6491 | 791.8934 | 783.1243 | 774.342 | 765.5463 | 756.7373 | 747.9149 | 739.0792 | 730.2303 | 721.3679 | 712.4923 | 703.6033 | 694.701 | 685.7854 | 676.8564 | 667.9142 | 658.9586 | 649.9896 | 641.0074 | 632.0118
| Utility-scale PV with 2 hour storage | PWRSOL001S | 2101.7236 | 2101.7236 | 2101.7236 | 2101.7236 | 2101.7236 | 2101.7236 | 2101.7236 | 2290.6244 | 2309.2414 | 2297.5271 | 2263.0695 | 2204.3151 | 2145.5611 | 2086.8078 | 2028.0551 | 1969.3031 | 1944.1478 | 1918.9925 | 1893.8373 | 1868.682 | 1843.5268 | 1820.9158 | 1798.3048 | 1775.6938 | 1753.0828 | 1730.4719 | 1707.8609 | 1685.2499 | 1662.6389 | 1640.0279 | 1617.4169 | 1594.806 | 1572.195 | 1549.584 | 1526.973 | 1504.362
| Onshore Wind power plant with storage | PWRWND001S | 2331.3638 | 2331.3638 | 2331.3638 | 2331.3638 | 2331.3638 | 2331.3638 | 2331.3638 | 3027.509 | 2718.3702 | 2650.9489 | 2583.5276 | 2516.1063 | 2448.685 | 2381.2637 | 2313.8424 | 2246.4211 | 2209.5985 | 2187.5026 | 2165.4066 | 2143.3106 | 2121.2146 | 2099.1186 | 2077.0226 | 2054.9266 | 2032.8307 | 2010.7347 | 1988.6387 | 1966.5427 | 1944.4467 | 1922.3507 | 1900.2547 | 1878.1588 | 1856.0628 | 1833.9668 | 1811.8708 | 1807.3058
| Solar PV (Distributed with Storage) | PWRSOL002 | 1481 | 1466 | 1451 | 1436 | 1421 | 1406 | 1391 | 1376 | 1362 | 1347 | 1332 | 1317 | 1302 | 1288 | 1273 | 1258 | 1243 | 1228 | 1214 | 1199 | 1184 | 1169 | 1154 | 1140 | 1125 | 1110 | 1095 | 1080 | 1066 | 1051 | 1036 | 1021 | 1006 | 992 | 977 | 962
| CSP with Storage | PWRCSP002 | 6921.9323 | 6921.9323 | 6921.9323 | 6921.9323 | 6921.9323 | 6921.9323 | 6933.1462 | 6944.3601 | 6945.1847 | 6935.5649 | 6936.3345 | 6957.9927 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172 | 6958.8172
Fixed Cost ($/kW/year)
Standardized data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Biomass Power Plant | PWRBIO001 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22 | 157.22
| Coal Power Plant | PWRCOA001 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077 | 77.5077
| Geothermal Power Plant | PWRGEO | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218 | 113.6218
| Gas Power Plant (CCGT) | PWRNGS001 | 31.1 | 31.1 | 31.1 | 31.1 | 31.1 | 31.1 | 31.1 | 31.1 | 30.9 | 30.8 | 30.6 | 30.4 | 30.2 | 30 | 29.9 | 29.7 | 29.5 | 29.3 | 29.1 | 29 | 28.8 | 28.6 | 28.4 | 28.2 | 28 | 27.9 | 27.7 | 27.5 | 27.3 | 27.1 | 27 | 26.8 | 26.6 | 26.4 | 26.2 | 26.1
| Gas Power Plant (OCGT) | PWRNGS002 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 23.8 | 23.7 | 23.6 | 23.4 | 23.3 | 23.2 | 23 | 22.9 | 22.8 | 22.6 | 22.5 | 22.4 | 22.3 | 22.1 | 22 | 21.9 | 21.7 | 21.6 | 21.5 | 21.3 | 21.2 | 21.1 | 20.9 | 20.8 | 20.7 | 20.5 | 20.4 | 20.3
| Solar PV (Utility) | PWRSOL001 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747 | 23.747
| Onshore Wind | PWRWND001 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643 | 50.7643
| Utility-scale PV with 2 hour storage | PWRSOL001S | 70.7044 | 70.7044 | 70.7044 | 70.7044 | 70.7044 | 70.7044 | 70.7044 | 69.9076 | 69.3736 | 68.8403 | 68.3077 | 67.7758 | 67.2446 | 66.714 | 66.184 | 65.6546 | 65.1258 | 64.5975 | 64.0699 | 63.5428 | 63.0162 | 62.8254 | 62.6345 | 62.4437 | 62.2529 | 62.0621 | 61.8712 | 61.6804 | 61.4896 | 61.2988 | 61.1079 | 60.9171 | 60.7263 | 60.5355 | 60.3446 | 60.1538
| Onshore Wind power plant with storage | PWRWND001S | 36.4984 | 36.4984 | 36.4984 | 36.4984 | 36.4984 | 36.4984 | 36.4984 | 36.3518 | 36.2053 | 36.0587 | 35.9121 | 35.7655 | 35.6189 | 35.4724 | 35.3258 | 35.1792 | 35.0693 | 34.9593 | 34.8494 | 34.7395 | 34.6295 | 34.5196 | 34.4097 | 34.2997 | 34.1898 | 34.0799 | 33.9699 | 33.86 | 33.75 | 33.6401 | 33.5302 | 33.4202 | 33.3103 | 33.2004 | 33.0904 | 32.9805
| Solar PV (Distributed with Storage) | PWRSOL002 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32 | 38.32
| Nuclear Power Plant | PWRNUC | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8 | 118.8
| CSP with Storage | PWRCSP002 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882 | 78.882
Variable Costs ($/kWh)
Standardized data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Comparative Analysis of IRP 2023 cost assumptions. https://meridianeconomics.co.za/our-publications/comparative-analysis-of-irp-2023-costassumptions-2/ | Biomass Power Plant | PWRBIO001 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04 | 5.04
| Coal Power Plant | PWRCOA001 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063 | 0.0067063
| Solar PV (Utility) | PWRSOL001 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06
| CSP with Storage | PWRCSP002 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05 | 5.497e-05
| Onshore Wind | PWRWND001 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06 | 5.497e-06
| Nuclear Power Plant | PWRNUC | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13 | 3.13
https://www.exchange-rates.org/exchange-rate-history/zar-usd-2023 | Cost Deflator used (Exchange Rate April 2023) | 0.05497

## Resource Potential
Renewable Energy Potential (PJ)
Raw data
Source | Technology | Code | Supply
Plazas-Niño, F. (2024, January). Advanced Energy System Modelling Using OSeMOSYS: Model Calibration – Primary energy (Version 1.0). | Biomass Extraction | MINBIO | 1400
| Solar Potential | MINSOL | 3800
| Wind Potential | MINWND | 340
| Geothermal Potential | MINGEO | 38
| Hydro Potential | MINHYD | 65
Fossil Fuel Potential (PJ)
Raw data
Source | Technology | Code | Supply
Plazas-Niño, F. (2024, January). Advanced Energy System Modelling Using OSeMOSYS: Model Calibration – Primary energy (Version 1.0). | Crude Oil Extraction | MINOIL | 8522.04
| Coal Extraction | MINCOA | 0
| Natural Gas Extraction | MINNGS | 509.5
| Uranium Extraction | MINURN | 8522

## Generation
Electrcity Generation (GWh)
Raw + Modelled data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Renewable Energy Data and Information Service-production and operating capacity (http://redis.energy.gov.za/power-production/) | Biomass Power Plant | PWRBIO001 | 0.88458 | 0.88458 | 0.10722 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.67014 | 0.6478 | 0.62546 | 0.60313 | 0.58079 | 0.55845 | 0.53611 | 0.51377 | 0.49144 | 0.4691 | 0.44676 | 0.42442 | 0.40208 | 0.37975 | 0.35741 | 0.33507 | 0.31273 | 0.29039 | 0.26806 | 0.24572 | 0.22338
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Coal Power Plant | PWRCOA001 | 723.6 | 723.6 | 727.2 | 730.8 | 702 | 663.84 | 664.92 | 635.76 | 646.1176 | 624.5804 | 603.761 | 583.6356 | 564.1811 | 545.3751 | 527.1959 | 509.6227 | 495.0621 | 480.5014 | 465.9408 | 451.3801 | 436.8195 | 422.2588 | 407.6982 | 393.1375 | 378.5769 | 364.0162 | 349.4556 | 334.8949 | 320.3343 | 305.7736 | 291.213 | 276.6523 | 262.0917 | 247.531 | 232.9704 | 218.4097
https://ember-climate.org/countries-and-regions/countries/south-africa/ | Gas Power Plant (CCGT) | PWRNGS001 | 0 | 0.108 | 0.432 | 3.6 | 4.896 | 6.84 | 11.52 | 12.96 | 10.44 | 10.44 | 10.44 | 10.44 | 10.44 | 10.44 | 10.44 | 10.44 | 10.092 | 9.744 | 9.396 | 9.048 | 8.7 | 8.352 | 8.004 | 7.656 | 7.308 | 6.96 | 6.612 | 6.264 | 5.916 | 5.568 | 5.22 | 4.872 | 4.524 | 4.176 | 3.828 | 3.48
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Solar PV (Utility) | PWRSOL001 | 0.5708 | 0.5708 | 0.5708 | 11.88 | 11.88 | 14.76 | 18.36 | 17.28 | 18.1134 | 18.1134 | 18.1134 | 18.1134 | 18.1134 | 18.1134 | 18.1134 | 18.1134 | 17.3586 | 16.6039 | 15.8492 | 15.0945 | 14.3397 | 13.585 | 12.8303 | 12.0756 | 11.3209 | 10.5661 | 9.8114 | 9.0567 | 8.302 | 7.5472 | 6.7925 | 6.0378 | 5.2831 | 4.5283 | 3.7736 | 3.0189
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | CSP with Storage | PWRCSP002 | 0 | 1.8 | 2.52 | 3.6 | 5.76 | 5.76 | 6.12 | 5.04 | 5.64 | 5.64 | 5.64 | 5.64 | 5.64 | 5.64 | 5.64 | 5.64 | 5.452 | 5.264 | 5.076 | 4.888 | 4.7 | 4.512 | 4.324 | 4.136 | 3.948 | 3.76 | 3.572 | 3.384 | 3.196 | 3.008 | 2.82 | 2.632 | 2.444 | 2.256 | 2.068 | 1.88
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Large Hydropower Plant >100MW | PWRHYD001 | 24.01 | 19.75 | 20.442 | 21.6 | 20.215 | 21.24 | 23.4 | 27.36 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Onshore Wind | PWRWND001 | 9 | 13.32 | 18 | 23.4 | 23.76 | 23.76 | 30.24 | 34.92 | 33.7699 | 33.7699 | 33.7699 | 33.7699 | 33.7699 | 33.7699 | 33.7699 | 33.7699 | 32.4191 | 31.0683 | 29.7175 | 28.3667 | 27.0159 | 25.6651 | 24.3143 | 22.9635 | 21.6127 | 20.2619 | 18.9111 | 17.5603 | 16.2095 | 14.8587 | 13.5079 | 12.1572 | 10.8064 | 9.4556 | 8.1048 | 6.754
Eskom Data Portal (https://www.eskom.co.za/dataportal/), CSIR (2015-2023) Statistics of utility-scale power generation in South Africa | Nuclear Power Plant | PWRNUC | 41.32 | 54 | 56.674 | 39.6 | 51.17 | 41.4 | 43.92 | 36.36 | 40.56 | 40.56 | 40.56 | 40.56 | 40.56 | 40.56 | 40.56 | 40.56 | 39.7488 | 38.9376 | 38.1264 | 37.3152 | 36.504 | 35.6928 | 34.8816 | 34.0704 | 33.2592 | 32.448 | 31.6368 | 30.8256 | 30.0144 | 29.2032 | 28.392 | 27.5808 | 26.7696 | 25.9584 | 25.1472 | 24.336

## Investment
Historical Capacity Investment (GW)
Raw data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
https://ember-climate.org/countries-and-regions/countries/south-africa/ | Biomass Power Plant | PWRBIO001 | 0.0396 | 0.0396 | 0.0048 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
| Coal Power Plant | PWRCOA001 | 39.9 | 39.9 | 41.29 | 42.29 | 43.88 | 44.68 | 46.27 | 45.89 | 45.89
| Gas Power Plant (CCGT) | PWRNGS001 | 3.648 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71 | 3.71
| Large Hydropower Plant >100MW | PWRHYD001 | 3.9888 | 3.9888 | 3.9888 | 3.9888 | 3.9888 | 3.9888 | 3.9888 | 3.9888 | 3.9888
| Nuclear Power Plant | PWRNUC | 1.94 | 1.94 | 1.94 | 1.94 | 1.94 | 1.94 | 1.93 | 1.94 | 1.93
| Solar PV (Utility) | PWRSOL001 | 1.35 | 2.18 | 3.45 | 4.81 | 4.91 | 5.99 | 6.32 | 6.33 | 6.16
| Onshore Wind | PWRWND001 | 1.2948 | 1.7676 | 2.5128 | 2.5128 | 2.5128 | 2.994 | 3.6276 | 4.08 | 4.08
Planned Capacity Investment (GW)
Raw data
Source | Technology | Code | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
IRP 2023 | Coal Power Plant | PWRCOA001 | 0.72 | 0.72 | 0 | 0 | 0 | 0 | 0
IRP 2023 | Nuclear Power Plant | PWRNUC | 0 | 0 | 0 | 0 | 0 | 0 | 0
IRP 2023 | Large Hydropower Plant >100MW | PWRHYD001 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IRP 2023 | Gas Power Plant (CCGT) | PWRNGS001 | 0 | 1.22 | 0 | 1 | 4 | 0 | 1
IRP 2023 | CSP without Storage | PWRCSP001 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0
IRP 2023 | Solar PV (Utility) | PWRSOL001 | 0 | 2.12 | 0 | 0 | 0.5 | 0.5 | 0.5
IRP 2023 | Onshore Wind | PWRWND001 | 0 | 0.64 | 0.14 | 0.68 | 0 | 1.5 | 1.5

## Transmission & Distribution
Total Technology Annual Activity Lower Limit (PJ)
Raw data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
DMRE. https://www.energy.gov.za/files/energyStats_frame.html | Power Transmission | PWRTRN | 0.235 | 0.235 | 0.235 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303 | 0.303
DMRE. https://www.energy.gov.za/files/energyStats_frame.html | Power Distribution | PWRDIST | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2

## Imports & Exports
Total Technology Annual Activity Upper Limit (PJ)
Raw Data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
EMBER. 2018. South Africa Electricity. Available: https://www.indexmundi.com/south_africa/electricity_exports.html | Electricity Imports | PWRTRNIMP | 47.0124 | 38.52 | 37.998 | 36 | 26.9677 | 35.64 | 36.72 | 38.88 | 38.88 | 38.88 | 38.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EMBER. 2018. South Africa Electricity. Available: https://www.indexmundi.com/south_africa/electricity_exports.html | Electricity Exports | PWRTRNEXP | 52.5924 | 60.12 | 59.5764 | 51.7896 | 50.4667 | 50.4667 | 49.32 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.4118 | 45.6389 | 45.8671 | 46.0964 | 46.3269 | 46.5585 | 46.7913 | 47.0253 | 47.2604 | 47.4967 | 47.7342 | 47.9729 | 48.2127 | 48.4538 | 48.6961 | 48.9396 | 49.1843 | 49.4302 | 49.6773 | 49.9257 | 50.1753
Total Technology Annual Activity Lower Limit (PJ)
Raw Data
Source | Technology | Code | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
EMBER. 2018. South Africa Electricity. Available: https://www.indexmundi.com/south_africa/electricity_exports.html | Electricity Imports | PWRTRNIMP | 47.0124 | 37.998 | 30.96 | 34.8732 | 26.9677 | 26.9677 | 27.4363 | 30.9053 | 30.9053 | 30.9053 | 30.9053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EMBER. 2018. South Africa Electricity. Available: https://www.indexmundi.com/south_africa/electricity_exports.html | Electricity Exports | PWRTRNEXP | 52.5924 | 59.5764 | 54.72 | 51.7896 | 50.4667 | 49.32 | 42.5736 | 45.37 | 45.37 | 45.37 | 45.37 | 45.37 | 45.37 | 45.37 | 45.37 | 45.37 | 45.5968 | 45.8248 | 46.054 | 46.2842 | 46.5156 | 46.7482 | 46.982 | 47.2169 | 47.453 | 47.6902 | 47.9287 | 48.1683 | 48.4092 | 48.6512 | 48.8945 | 49.1389 | 49.3846 | 49.6316 | 49.8797 | 50.1291