## Overview
Country / Region | Project Name/Acronym (Institution) | Reference/Contact | Sample Size | Building Type | Ventilation Type
AUS / Melbourne | Indoor air project (CSIRO) | Galbally et al. (2011) | 40 | various | unknown | various | SFH
AUS / Melbourne | - (Monash University) | Kang et al. (2021) | 12 | AB | MVHR | AB | MFH
AUT | Lueftung 3.0 (IBO) | Wallner et al. (2014) | 120 | various | Win, MVHR | various | SFH
AUT / Innsbruck | Sinfonia (UIBK) | Bliem (2021) | 200 | MFH | Win, MVHR | MFH | MFH
AUT / Innsbruck and Kufstein | Lodenareal (UIBK) | Rojas et al. (2015) | 24 | AB | MVHR, Win | AB | MFH
BEL | Clean Air, Low Energy (VITO) | Stranger et al. (2012) | 51 | SFH, MFH | various | SFH, MFH | various
BEL | Renovair (UGENT) | Jelle Laverge |  | SFH, MFH | various | SFH, MFH
BEL | My Healthy Home (UGENT) | Jelle Laverge |  | SFH, MFH | various | SFH, MFH
BEL | - (Renson) | De Maré et al. (2019) | 350 | SFH, MFH | MEV | SFH, MFH | SFH, MFH
CHE | Mesqualair (EPFL, HEIA) | Shen Yang et al. (2020) | 650 | various | various | various | SFH
CHE | Buren (Zehnder) | Bart Cremers | 4 | MFH | Win, MVHR | MFH
CHL | Fondecyt Iniciación (UC) | Constanza Molina | 32 | unknown | unknown | unknown
CHL / Santiago, Antofagasta, Temuco, Valparaiso, Aysen | RENAM (UC) | Constanza Molina | 284 | SFH, MFH | Nat, Win | SFH, MFH | various
DEU / Berlin, Leipzig | - (TROPOS) | Zhao et al. (2022) | 40 | various | various | various | various
DEU / Erfurt | INGA (GSF) | Schneider et al. (1999) | 20 | MFH | Nat | MFH
DNK / Copenhagen | CISBO (DTU) | Bekö et al. (2013) | 58 | various | various | various
DNK / Odense | IECH (DTU) | Bekö et al. (2019) | 500 | various | various | various | various
ESP / Madrid | CISC (IETCC) | Sonia Garcia | 12 | MFH, AB | Nat, Win | MFH, AB | various
ESP / Pamplona, Seville | ClimateReady (UNAV) | Aurora Monge-Barrio | 23 | MFH | various | MFH | MFH
FRA | - (CETIAT) | Laure Mouradian, Benoit Golaz | 4 | various | Mech | various | various
FRA | ALLO (ULR) | Marc Abadie | 6 | unknown | Hyb | unknown
FRA / French Alps | Kanama (Cerema) | Gaelle Guyot | 1 | SFH | MVHR | SFH | SFH
GBR | AMR (STRATH) | Sharpe et al. (2020) | 21 | TH, AB | Nat, Mech | TH, AB | various
GBR / Scotland | dMEV (STRATH) | Sharpe et al. (2019) | 41 | various | MEV | various | various
GBR / Scotland | VentStd (STRATH) | Sharpe et al. (2023) | 16 | various | MEV, MVHR | various | various
IRL | ALIVE (UGA) | James McGrath, Ibrahim Alhindawi | 9 | SFH | Nat | SFH
IRL | ARDEN (UGA) | Coggins et al. (2022) | 26 | SFH | Win, Mech | SFH
IRL | VALIDate (MU) | James McGrath | 87 | SFH, TH, AB | various | SFH, TH, AB
ITA / Bari | - (ARPA) | De Gennaro et al. (2015) | 6 | SFH | unknown | SFH
ITA / Ferrara, Medolla | - (UNIFE) | Pietrogrande et al. (2021) | 2 | AB | various | AB | MFH
ITA / Lodi | - (UNIMI) | Cattaneo et al. (2011) | 60 | SFH | unknown | SFH
MEX / Mexico City | - (GSA) | Moreno-Rangel et al. (2018) | 1 | AB | Hyb | AB | MFH
MEX, USA, GBR / Mexico City, San Francisco, Dunfermline | - (GSA) | Moreno-Rangel (2019) | 7 | various | Hyb, MVHR | various | various
NLD | Care facilities (TUe) | Kulve et al. (2017) | 7 | unknown | Mech | unknown
NLD | PH renovation (TU/e) | Marcel Loomans | 10 | TH | MVHR | TH
NOR / Trondheim | ZEN (NTNU) | Alonso et al. (2021) | 21 | various | various | various | various
PRT / Porto | - (PUV) | Ricardo Almeida, Eva Barreira | 3 | various | various | various | SFH
SGP | - (NTU) | Zhou et al. (2013) | 5 | unknown | various | unknown | MFH
SVK / Samorin | Renovation (SUT) | Földvary et al. (2017) | 94 | MFH, AB | Nat | MFH, AB | MFH, AB
SWE | Swedish housing stock (IVL) | Langer and Bekö (2013) | 305 | various | various | various | various
SWE / Falun | - (Renson) | Ivan Pollet | 1 | SFH | MEV | SFH | SFH
SWE / Goteborg, Kungsbacka, Malmo, Stockholm and Kalmar | Swedish passive house (IVL) | Langer et al. (2014) | 41 | various | MVHR | various | various
USA | Particle Penetration (UT Austin) | Stephens and Siegel (2012) | 19 | SFH | Nat, Mech | SFH | SFH
USA / California | HENGH (LBNL) | Singer et al. (2020) | 70 | SFH | MEV (mostly) | SFH | SFH
USA / California | LIA (LBNL) | Zhao et al. (2020) | 23 | AB | MEV | AB | MFH
USA / California | High Perf. Homes (LBNL) | Less et al. (2015) | 24 | unknown | various | unknown
USA / California | Apt. Retrofits (LBNL) | Noris et al. (2013) | 16 | AB | Mech, Hyb | AB | AB
USA / McAllen | - (GSA) | Moreno-Rangel et al. (2020) | 13 | SFH | Nat | SFH | SFH
USA / Washington State | Weather influence (WSU) | Huangfu et al. (2019) | 1 | SFH | Mech | SFH | SFH
USA / Washington State | Wildfires (WSU) | Kirk et al. (2017) | 2 | SFH | Mech | SFH | SFH
|  |  |  | SFH: Single family house | Window: Window airing (not designed)
|  |  |  | TH: Terraced house | Natural: Natural ventilation (designed)
|  |  |  | MFH: Multi-family house | Hyb: Hybrid/mixed mode ventilation
|  |  |  | AB: Apartment block | Mech: Mechanical ventilation
MVHR: balanced mechanical ventilation with hear recovery
MEV: mechanical extract ventilation

## Bld_Vent_Details
Study Details |  |  |  |  | Building Details |  |  | Ventilation System |  |  |  | add. / old information
Country / Region | Project Name/Acronym (Institution) | Reference/Contact | Sample Size | Reference | Building Type | Energy Standard | Airtightness | Ventilation Type | Locations | Method/Device | Available Data | Project / Author / Year
FRA / French Alps | Kanama (Cerema) | Gaelle Guyot | 1 |  | SFH | low-energy (BBC) | 2.4 ACH50 | MVHR | each vent/room | measured using a calibrated hood | TS | Kanama, Cerema / LOCIE / 2019
USA / California | HENGH (LBNL) | Singer et al. (2020) | 70 | https://onlinelibrary.wiley.com/doi/10.1111/ina.12676 https://eta-publications.lbl.gov/sites/default/files/lbnl-2001246.pdf | SFH | CA T24 | 4.5 ACH50 | MEV (mostly) | Whole house | Measured | TS | HENGH / LBNL / 2020
USA / California | LIA (LBNL) | Zhao et al. (2020) | 23 | https://onlinelibrary.wiley.com/doi/10.1111/ina.12764 | AB |  | 8 ACH50 | MEV |  |  |  | LIA / LBNL / 2021
CHE | Mesqualair (EPFL, HEIA) | Shen Yang et al. (2020) | 650 | https://onlinelibrary.wiley.com/doi/full/10.1111/ina.12667 https://www.mdpi.com/2073-4433/10/12/777 https://www.mdpi.com/1660-4601/17/14/4936 | various | Some energy-renovated and some Minergie-certified |  | various |  |  |  | Mesqualair / EPFL and HEIA / 2019
AUT / Innsbruck and Kufstein | Lodenareal (UIBK) | Rojas et al. (2015) | 24 | https://doi.org/10.1080/17512549.2015.1040072 | AB | Passive House (certified) + low energy standard | PH: 0.6 ACH50 | MVHR, Win | roomwise | Ventilation design values + punctual control measurements | Snapshot values | Lodenareal / UIBK / 2013
CHL / Santiago, Antofagasta, Temuco, Valparaiso, Aysen | RENAM (UC) | Constanza Molina | 284 | www.renam.cl | SFH, MFH |  | Pending | Nat, Win |  | No available data |  | RENAM / 2017-202X
AUS / Melbourne | Indoor air project (CSIRO) | Galbally et al. (2011) | 40 | https://www.researchgate.net/publication/255793639_An_overview_of_the_CSIRO_2008-2009_indoor_air_quality_study | various |  |  | unknown |  | CO2 tracer release method | individual houses closed and opened status | Indoor air project / CSIRO / 2010
USA / California | High Perf. Homes (LBNL) | Less et al. (2015) | 24 | https://www.tandfonline.com/doi/full/10.1080/10789669.2014.961850 | unknown |  |  | various |  |  |  | High Performance California Homes LBNL / Less and Mullen / 2015
USA / California | Apt. Retrofits (LBNL) | Noris et al. (2013) | 16 | https://www.sciencedirect.com/science/article/pii/S0360132313001947 | AB |  |  | Mech, Hyb |  |  |  | Apartment Retrofits LBNL / 2013
USA / Washington State | Weather influence (WSU) | Huangfu et al. (2019) | 1 | https://www.researchgate.net/profile/Patrick-Okeeffe-3/publication/338383161_Whole_house_emission_rates_and_loss_coefficients_of_formaldehyde_and_other_VOCs_as_a_function_of_air_change_rate/links/5e3329b2a6fdccd96578f420/Whole-house-emission-rates-and-loss-coefficients-of-formaldehyde-and-other-VOCs-as-a-function-of-air-change-rate.pdf | SFH |  |  | Mech | Garage and attic air sampled in some homes |  |  | Weather influence on emissions / Huangfu / 2019
USA | Particle Penetration (UT Austin) | Stephens and Siegel (2012) | 19 | https://onlinelibrary.wiley.com/doi/10.1111/j.1600-0668.2012.00779.x | SFH |  |  | Nat, Mech |  |  |  | Particle Penetration / Stephens and Siegel / 2012
DNK / Odense | IECH (DTU) | Bekö et al. (2019) | 500 | https://www.sciencedirect.com/science/article/pii/S0360132310001216?via%3Dihub | various |  |  | various | BED | CO2 decay | one average across all measured decays | Bekö / IECH / 2008
USA / Washington State | Wildfires (WSU) | Kirk et al. (2017) | 2 | https://www.tandfonline.com/doi/full/10.1080/23744731.2017.1393256#d1e265 | SFH |  |  | Mech |  |  |  | Wildfires / Kirk / 2017
DNK / Copenhagen | CISBO (DTU) | Bekö et al. (2013) | 58 | https://pubs.acs.org/doi/full/10.1021/es402429h | various |  |  | various | LIV | CO2 decay | one average across all measured decays | CISBO / 2012
SWE | Swedish housing stock (IVL) | Langer and Bekö (2013) | 305 | https://www.sciencedirect.com/science/article/pii/S0360132313002102 | various |  |  | various | whole residence | measured - passive tracer gas method |  | Swedish housing stock / 2007-2008
SWE / Goteborg, Kungsbacka, Malmo, Stockholm and Kalmar | Swedish passive house (IVL) | Langer et al. (2014) | 41 | https://www.sciencedirect.com/science/article/pii/S0360132315000463 | various |  |  | MVHR | BED | CO2 decay | average of min 5 decays | Swedish passive house / 2012-14
SVK / Samorin | Renovation (SUT) | Földvary et al. (2017) | 94 | https://www.sciencedirect.com/science/article/pii/S0360132317302433 | MFH, AB |  |  | Nat | BED | CO2 decay | time-weighted average | Renovation multifamily b. / 2013-4
BEL | Clean Air, Low Energy (VITO) | Stranger et al. (2012) | 51 | https://omgeving.vlaanderen.be/sites/default/files/2021-10/CleanAirLowEnergy-final.pdf | SFH, MFH |  |  | various | Whole house | measured |  | Clean Air Low Energy
BEL | Renovair (UGENT) | Jelle Laverge |  |  | SFH, MFH |  |  | various | Whole house | measured |  | Renovair
BEL | My Healthy Home (UGENT) | Jelle Laverge |  |  | SFH, MFH |  |  | various | Whole house | measured |  | My Healthy Home
BEL | - (Renson) | De Maré et al. (2019) | 350 | https://www.aivc.org/sites/default/files/D2_S6A-03_1.pdf | SFH, MFH |  |  | MEV | Whole house | measured |  | Large-scale performance analysis of a smart residential MEV system based on cloud data / BDM / 2019
SWE / Falun | - (Renson) | Ivan Pollet | 1 | (Paper to be published) | SFH |  |  | MEV | BED | measured |  | Exhaust Ventilation Strategies and Bedroom CO2: a Field Study in a Cold Climate, Single Family House / 2021 (to be published)
MEX / Mexico City | - (GSA) | Moreno-Rangel et al. (2018) | 1 | 10.5027/jnrd.v8i0.08 | AB | Passivhaus |  | Hyb | Whole house | Measured (Only for mechanical one) |  | Indoor Fine Particle (PM2.5) Pollution and Occupant Perception of the Indoor Environment During Summer of the First Passivhaus Certified Dwelling in Latin America / AMR / 2018
USA / McAllen | - (GSA) | Moreno-Rangel et al. (2020) | 13 | 10.1155/2020/6042146 | SFH |  |  | Nat |  |  |  | Assessing Impact of Household Intervention on Indoor Air Quality and Health of Children with Asthma in the US-Mexico Border: A Pilot Study
MEX, USA, GBR / Mexico City, San Francisco, Dunfermline | - (GSA) | Moreno-Rangel (2019) | 7 | https://discovery.gsa.ac.uk/discovery/fulldisplay?context=L&vid=44GSA_INST:44GSA_VU1&docid=alma991000649329706296 | various | Passivhaus / Standard, Passivhaus / Gold (Scottish Regs) / Satandad |  | Hyb, MVHR | Whole house | Measured (Only for mechanical one) |  | Continuous IAQ monitoring with low-cost monitors: Protocol development, performance and application in residential building
GBR / Scotland | dMEV (STRATH) | Sharpe et al. (2019) | 41 | https://strathprints.strath.ac.uk/70734/ | various | SAP 83-84B | Designed <5 m3/hr/m2 @50Pa | MEV | KIT, BAT | Measured | Flow rates (l/s) for trickle and boost | dMEV study / Sharpe, McGill et al. /2017-2018
GBR | AMR (STRATH) | Sharpe et al. (2020) | 21 | https://www.nature.com/articles/s41598-020-68809-2 | TH, AB |  |  | Nat, Mech | Whole house | Measured for mechanical ones |  | AMR study / Sharpe, McGill et al. 2019
GBR / Scotland | VentStd (STRATH) | Sharpe et al. (2023) | 16 | https://www.gov.scot/publications/research-identify-changes-guidance-standard-3-14-ventilation-2015-effective-improving-ventilation-indoor-air-quality/ | various | new construction (15), Passivhaus (1) |  | MEV, MVHR | Whole house | Measured for mechanical ones | Flow rates (l/s) for trickle and boost | Research to identify if changes to guidance in standard 3.14 ventilation in 2015 have been effective in improving ventilation and indoor air quality / Sharpe et al. / 2023
DEU / Berlin, Leipzig | - (TROPOS) | Zhao et al. (2022) | 40 | https://onlinelibrary.wiley.com/doi/10.1111/ina.12773 | various |  |  | various | LIV | measured |  | Particle number emission rates of aerosol sources in 40 German households and their contributions to ultrafine and fine particle exposure / 2017-2019
DEU / Erfurt | INGA (GSF) | Schneider et al. (1999) | 20 | https://doi.org/10.1038/sj.jea.7500030 | MFH |  |  | Nat |  |  |  | Vertical and horizontal variability of volatile organic compounds in homes in Eastern Germany / 1994
NLD | Care facilities (TUe) | Kulve et al. (2017) | 7 | https://journal.gerontechnology.org/currentIssueContent.aspx?aid=2530 | unknown |  |  | Mech |  |  |  | IAQ in Long-term care facilities
FRA | - (CETIAT) | Laure Mouradian, Benoit Golaz | 4 | https://www.aivc.org/sites/default/files/AIVCProceedings_034.pdf | various |  |  | Mech | air inlets / air outlet | measured |  | Measurment of particles in French houses with different filters / Mouradian Golaz
AUT | Lueftung 3.0 (IBO) | Wallner et al. (2014) | 120 | https://pubmed.ncbi.nlm.nih.gov/26561823/ | various | LEH or Passive Houses |  | Win, MVHR | roomwise | Tracer gas and FlowFinder | Snapshot values | Lueftung 3.0 / Tappler et. al. / 2014
NOR / Trondheim | ZEN (NTNU) | Alonso et al. (2021) | 21 | https://www.sciencedirect.com/science/article/pii/S0360132322008101 https://www.e3s-conferences.org/articles/e3sconf/pdf/2021/22/e3sconf_hvac2021_01002.pdf | various | unknown | unknown | various |  |  |  | ZEN / Justo Alonso / 2020
PRT / Porto | - (PUV) | Ricardo Almeida, Eva Barreira | 3 |  | various | regular building stock | unknown | various | for each room | Tracer gas measurement (CO2) | Snapshot values | Ventilation strategies,CO2 concentration and relative humidity monitoring in residential buildings
ESP / Madrid | CISC (IETCC) | Sonia Garcia | 12 | https://doi.org/10.3989/ic.6447 https://doi.org/10.20868/UPM.thesis.80533 | MFH, AB | regular building stock | unknown | Nat, Win |  |  |  | IAQ conditions and ventilation systems in existing buildings in Madrid
ITA / Ferrara, Medolla | - (UNIFE) | Pietrogrande et al. (2021) | 2 | https://www.mdpi.com/1660-4601/18/8/4060 | AB | energy efficient house |  | various |  |  |  | IAQ during periods close to Italian COVID-19 Lockdown / Pietrogrande et al. / 2021
ITA / Bari | - (ARPA) | De Gennaro et al. (2015) | 6 | https://www.mdpi.com/1660-4601/13/1/78 | SFH |  |  | unknown |  |  |  | Homes with Fireplaces orWood Stoves / de Gennaro et al. / 2015
ITA / Lodi | - (UNIMI) | Cattaneo et al. (2011) | 60 | https://pubmed.ncbi.nlm.nih.gov/21699563/ | SFH |  |  | unknown |  | AER determined from the decay of indoor CO |  | Airborne particulate matter and gaseous air pollutants in residential structures in Lodi province, Italy / Cattaneo et al. / 2011
SGP | - (NTU) | Zhou et al. (2013) | 5 | https://www.sciencedirect.com/science/article/pii/S036013231500195X | unknown | regular building stock | varies | various | For each room where pollutant was measured | Regression analysis from CO2 measurements | Avg, Med, P5, P25, P75, P95 for each dwelling | Particle exposure during the 2013 haze in Singapore: Importance of the built environment / Zhou et al. / 2015
AUS / Melbourne | - (Monash University) | Kang et al. (2021) | 12 | https://www.sciencedirect.com/science/article/pii/S0360132321001153 | AB | Passive House | 0.6 ACH (assumed because Passive House standard) | MVHR | Whole house | Ventilation design values | Avg, Med, P5, P25, P75, P95 for each dwelling | IAQ in passivehaus building
ESP / Pamplona, Seville | ClimateReady (UNAV) | Aurora Monge-Barrio | 23 |  | MFH | varied (3 built periods) | varied (3 built periods) | various |  |  |  | ClimateReady Project. IAQ in dwellings with different built periods
AUT / Innsbruck | Sinfonia (UIBK) | Bliem (2021) | 200 | http://ulb-dok.uibk.ac.at/ulbtirolhs/5848129 | MFH | Energy-renovated (EnerPhit) |  | Win, MVHR |  |  |  | Sinfonia / W. Streicher / 2021
CHL | Fondecyt Iniciación (UC) | Constanza Molina | 32 |  | unknown |  |  | unknown |  |  |  | Fondecyt Iniciación 22110965
FRA | ALLO (ULR) | Marc Abadie | 6 |  | unknown |  |  | Hyb |  |  |  | Allo study (La Rochelle)
IRL | ALIVE (UGA) | James McGrath, Ibrahim Alhindawi | 9 |  | SFH |  |  | Nat |  |  |  | ALIVE (Galway)
IRL | ARDEN (UGA) | Coggins et al. (2022) | 26 | https://doi.org/10.1016/j.buildenv.2022.109236 https://doi.org/10.1016/j.buildenv.2024.111637 | SFH |  |  | Win, Mech |  |  |  | ARDEN (Galway)
IRL | VALIDate (MU) | James McGrath | 87 |  | SFH, TH, AB |  |  | various |  |  |  | VALIDate (Galway)
CHE | Buren (Zehnder) | Bart Cremers | 4 |  | MFH |  |  | Win, MVHR |  |  |  | Buren House
NLD | PH renovation (TU/e) | Marcel Loomans | 10 | https://cordis.europa.eu/project/id/260058 | TH |  |  | MVHR |  |  |  | Passiv House renovation project
| Institution Akronyms |  |  |  | Type of building |  |  | Vent type
| UC: Pontificia Universidad Católica de Chile |  |  |  | SFH: Single family house |  |  | Window: Window airing (not designed)
| UIBK: University of Innsbruck, Austria |  |  |  | TH: Terraced house |  |  | Natural: Natural ventilation (designed)
| LBNL: Lawrence Berkeley National Laboratory, USA |  |  |  | MFH: Multi-family house |  |  | Hyb: Hybrid/mixed mode ventilation
| WSU: Waschington State University, USA |  |  |  | AB: Apartment block |  |  | Mech: Mechanical ventilation
| SUT: Slovak University of Technology |  |  |  | various |  |  | MVHR: balanced mechanical ventilation with hear recovery
| IVL: IVL Svenska Miljöinstitutet AB, Sweden |  |  |  | Undefined/Not known |  |  | MEV: mechanical extract ventilation
GSA: Glasgow School of Art, UK
STRATH: University of Strathclyde, UK
TUe: Eindhoven University of Technology, Netherlands
IBO: IBO Innenraumanalytik OG, Austria
CETIAT: Le Centre Technique des Industries Aérauliques et Thermiques, France
NTNU: Norwegian University of Science and Technology
PUV: Polytechnic University of Viseu, Portugal
UNAV: Universidad de Navarra, Spain
ULR: La Rochelle Universite, France
UGA: University of Galway, Irland
MU: Maynooth University, Irland
IETCC: Eduardo Torroja Institute for Construction Sciences, Spain
UGENT: University of Ghent, Belgium
GSF: National Research Center for Environment and Health, Germany
Note on M4: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Time interval missing (comment: tbd)

## Meas_Details
Study Details |  | Pollutant Measurements |  |  |  | Data available
Project Name/Acronym (Institution) | Reference/Contact | Pollutants | Locations | Method/Device | Available Data
Kanama (Cerema) | Gaelle Guyot | CO2 | AMB, KIT, LIV, BED | NDIR | TS (10 min)
|  | R.H. | AMB, KIT, LIV, BED | Non-condensing sensor | TS (10 min)
|  | HCHO | KIT, BED | Optical reading on a nanoporous adsorbent | TS (10 min)
|  | VOC (Light) | KIT, BED |  | TS (1h)
|  | PM2.5 | AMB, KIT, LIV, BED | Airvisual Node (Light scattering) | TS (1 h)
|  | PM (0.3/0.5/1/10 microm) | AMB, KIT, LIV, BED | GRIMM laser beam optical particle counter | TS (10 min)
HENGH (LBNL) | Singer et al. (2020) | CO2 | AMB, LIV, BED | Extech SD-800 | TS (10 s to 15 min) | https://datadryad.org/dataset/doi:10.7941/D1ZS7X
|  | NO2 | AMB, LIV | Aeroqual Series 500 | TS (2-3 min indoor 17 min outdoor) | https://public.tableau.com/app/profile/meghna.thomas/viz/CaliforniaNewHomesIndoorAirQualityStudy/CaliforniaNewHomesHomePage
|  | PM2.5 | AMB, LIV | BT-645 photometer indoors and BT-642 outdoor | TS (1-3 min)
|  | HCHO | AMB, LIV, BED | Gray Wolf FM-801 (Shinyei Multimode) | TS (30 min)
LIA (LBNL) | Zhao et al. (2020) | CO2 | AMB, LIV, BED | Extech SD-800 | TS (10 s to 15 min) | https://datadryad.org/dataset/doi:10.7941/D1T050
|  | NO2 | AMB, LIV | Clarity Node | TS (2-3 min indoor 17 min outdoor)
|  | PM2.5 | AMB, LIV | Clarity Node, TSi Dust Trak II-8530, Thermo pDR 1500, IQAir | TS (1-3 min)
|  | HCHO | LIV, BED | Gray Wolf FM-801 (Shinyei Multimode) | TS (30 min)
Mesqualair (EPFL, HEIA) | Shen Yang et al. (2020) | VOC (comments) | BED | passive badge sampler for VOCs (carbon molecular sieve, Anasorb 747) | integral value for each dwelling
|  | HCHO | BED | passive sampler 2,4-dinitrophenylhydrazine impregnated silical gel | integral value for each dwelling
|  | Radon | LAU | passive sampling dosimeter (Radtrak2, Sweden) | integral value for each dwelling
|  | Fungi | LAU | surface swabs + settled dust | integral value for each dwelling
Lodenareal (UIBK) | Rojas et al. (2015) | CO2 | LAU, BED, AMB | NDIR sensor (EE80, E+E Elektronik) | TS (5 min)
|  | R.H. | LAU, BED | R.H. sensor | TS (5 min)
RENAM (UC) | Constanza Molina | CO2 | LIV | Netatmo | TS (30 min)
|  | R.H. | LIV, AMB | Netatmo | TS (30 min)
|  | PM2.5 | LIV | Plantower | TS (30 min)
Indoor air project (CSIRO) | Galbally et al. (2011) | R.H. | AMB, LIV, BAT |  | TS (30 min)
|  | O3 | AMB
|  | CO2 | AMB |  | TS (30 min)
|  | CO | AMB |  | TS (30 min)
|  | HCHO | AMB
|  | PM2.5 | AMB, KIT |  | TS (30 min)
|  | PM (comments) | AMB
|  | NO2 | AMB
|  | NOx | AMB, KIT
|  | TVOC | AMB
|  | VOC (comments) | AMB
|  | Fungi | AMB
High Perf. Homes (LBNL) | Less et al. (2015) | CO2 | BED | Extech SD800 | TS (1 min)
|  | CO | KIT | Lascar, USB-EL-CO300 | TS (1 min)
|  | NO2 | AMB, BED, KIT | Ogawa NOx/NO2 sampler
|  | PM2.5 | KIT | Dylos DC1700 | TS (1 min)
|  | PM (Ultrafines <0.1 micron during coiking events) | KIT | TSI P-Track 8525 | TS (1 min)
|  | VOC (Aldehydes: formaldehyde acetaldehyde) | AMB, BED, KIT | Waters, Sep-Pak XPoSure
|  | NOx | AMB, BED, KIT | Ogawa NOx/NO2 sampler
Apt. Retrofits (LBNL) | Noris et al. (2013) | CO2 | AMB, LAU | Langan Model L76v
|  | CO | AMB, LAU | Langan Model L76v
|  | PM2.5 | AMB, LAU | TSI dustrack
|  | NO2 | AMB, LAU, BED | Ogawa NOx/NO2 sampler
|  | VOC (Fomaldehyde, acetaldehyde and VOCS) | AMB, LAU | Waters, Sep-Pak XPoSure
Weather influence (WSU) | Huangfu et al. (2019) | O3 | AMB, LAU | Teledyne
|  | NOx | AMB, LAU | Teledyne
|  | CO | AMB, LAU | Teledyne
|  | CO2 | AMB, LAU | K30 sensair
|  | VOC (comments) | AMB, LAU | PTR-MS, Ionicon Analytik
|  | PM2.5 | AMB, LAU | TSI dustrack & Dylos
Particle Penetration (UT Austin) | Stephens and Siegel (2012) | PM2.5 | AMB, LIV | TSI P-Trak Model 8525 | TS (1 min)
|  | PM (comments) | AMB, LIV |  | TS (1 min)
IECH (DTU) | Bekö et al. (2019) | CO2 | BED | NDIR sensor (Vaisala) | TS (5 min)
|  | R.H. | BED | HOBO
Wildfires (WSU) | Kirk et al. (2017) | VOC (comments) | AMB, LIV | PTR-MS
|  | CO2 | AMB, LIV | LiCOR 840A, Los Gatos UGGA
|  | O3 | AMB, LIV | TECO 48, 2B Tech. 205
|  | NO2 | AMB, LIV | TECO 42C, 2B Tech. 405
|  | NOx | AMB, LIV | TSI dustrack
|  | CO | AMB, LIV | Monitor Labs. Alphasense
|  | PM2.5 | AMB, LIV | TSI dustrack
CISBO (DTU) | Bekö et al. (2013) | CO2 | LIV, BED | NDIR sensor (Vaisala) | TS (5 min)
|  | R.H. | LIV, BED | HOBO | TS (5min)
|  | PM (10-300 nm UFP) | LIV | Philips Aerasense | TS (16 s)
Swedish housing stock (IVL) | Langer and Bekö (2013) | R.H. | LAU | SatelLite20 TH sensors | TS (15 min)
|  | HCHO | LAU | UmeX-100
|  | TVOC | LAU | Tenax TA adsorbent
|  | VOC (comments) | LAU | Tenax TA adsorbent
|  | NO2 | LAU | Palmes Tube technique
Swedish passive house (IVL) | Langer et al. (2014) | R.H. | LAU | Hobo | TS (5 min)
|  | NO2 | LAU, AMB | IVL passive/diffusive samplers
|  | O3 | LAU, AMB | IVL passive/diffusive samplers
|  | HCHO | LAU, AMB | DSD-DNPH Aldehyde Diffusive sampling Device
|  | VOC (comments) | LAU, AMB | Tenax TA adsorbent
|  | TVOC | LAU, AMB | Tenax TA adsorbent
|  | CO2 | BED | Vaisala | TS (5 min)
Renovation (SUT) | Földvary et al. (2017) | CO2 | BED | Vaisala | TS (5 min)
|  | R.H. | BED, AMB | Hobo | TS (5 min)
|  | NO2 | LIV, AMB | IVL diffusive samplers
|  | TVOC | LIV | Tenax TA adsorbent
|  | VOC (comments) | LIV | Tenax TA adsorbent
|  | HCHO | LIV | DSD-DNPH Aldehyde Diffusive sampling Device
Clean Air, Low Energy (VITO) | Stranger et al. (2012) | CO2 | LIV, KIT
|  | R.H. | LIV
|  | VOC (comments) | LIV
Renovair (UGENT) | Jelle Laverge | CO2 | LIV, KIT
|  | R.H. | LIV
|  | VOC (comments) | LIV
My Healthy Home (UGENT) | Jelle Laverge | CO2 | LIV, KIT
|  | R.H. | LIV
|  | VOC (comments) | LIV
- (Renson) | De Maré et al. (2019) | CO2 | BED, KIT | Healthbox 3.0
|  | R.H. | BAT | Healthbox 3.0
|  | VOC (comments) | BAT | Healthbox 3.0
- (Renson) | Ivan Pollet | CO2 | BED | Healthbox 3.0
- (GSA) | Moreno-Rangel et al. (2018) | PM2.5 | BED, LIV, KIT | Foobot | TS (5 min)
|  | R.H. | BED, LIV, KIT | Foobot | TS (5 min)
|  | TVOC | BED, LIV, KIT | Foobot | TS (5 min)
- (GSA) | Moreno-Rangel et al. (2020) | PM2.5 | BED, LIV, KIT | Foobot | TS (5 min)
|  | R.H. | BED, LIV, KIT | Foobot | TS (5 min)
- (GSA) | Moreno-Rangel (2019) | CO2 | BED, LIV, KIT | Netatmo | TS (5 min)
|  | PM2.5 | BED, LIV, KIT | Foobot | TS (5 min)
|  | TVOC | BED, LIV, KIT | Foobot | TS (5 min)
|  | R.H. | BED, LIV, KIT | Foobot | TS (5 min)
dMEV (STRATH) | Sharpe et al. (2019) | R.H. | BED, LIV, KIT | Tinytag | TS (5 mins)
|  | CO2 | BED, LIV, KIT | Tinytag | TS (5 min)
AMR (STRATH) | Sharpe et al. (2020) | CO2 | BED, LIV, KIT | Tinytag and Foobot | TS (10 mins)
|  | PM2.5 | BED, LIV, KIT | Foobot | TS (10 mins)
|  | TVOC | BED, LIV, KIT | Foobot | TS (10 mins)
|  | PM (comments) | BED, LIV, KIT | Foobot | TS (10 mins)
|  | R.H. | BED, LIV, KIT | Tinytag and Foobot | TS (10 mins)
|  | Fungi | BED, LIV, KIT | Swab samples, air samples | Snapshot value for each dwelling
VentStd (STRATH) | Sharpe et al. (2023) | CO2 | BED, LIV |  | TS (15 mins)
|  | CO2 | BED, LIV |  | TS (15 mins)
|  | R.H. | BED, LIV |  | TS (15 mins)
|  | R.H. | BED, LIV |  | TS (15 mins)
|  | TVOC | LIV |  | TS (5 mins)
|  | PM2.5 | LIV |  | TS (5 mins)
|  | PM (PM10 and PM4) | LIV |  | TS (5 mins)
- (TROPOS) | Zhao et al. (2022) | CO2 | LIV | GMP252 Vaisala
|  | PM (10-800nm) | LIV | SMPS
INGA (GSF) | Schneider et al. (1999) | VOC (BTEX) | AMB, BED, KIT | Organic Vapour Monitor (OVM) 3500
Care facilities (TUe) | Kulve et al. (2017) | CO2 | EHA, LIV, BED, LAU
- (CETIAT) | Laure Mouradian, Benoit Golaz | PM (comments) | AMB, EHA, LAU | TSI 3330 : 0,3 to 2 μm | Nb of particles /each diameter channel
Lueftung 3.0 (IBO) | Wallner et al. (2014) | CO2 | LIV, BED | NDIR sensor (EE80, E+E Elektronik) | tbd
|  | HCHO | LIV, BED | Active sampler (tbd)
|  | VOC (comments) | LIV, BED | Active sampler (Anasorb 747)
|  | TVOC | LIV, BED | Active sampler (Anasorb 747)
|  | Fungi |  | PAssive sampler
|  | Radon |  | tbd
|  | Ions |  | tbd
|  | R.H. | LIV, BED | R.H. sensor
ZEN (NTNU) | Alonso et al. (2021) | CO2 | HOO | NDIR sensor (Sensirion SCD30) | TS=timeseries (5 min)
|  | HCHO | HOO | Electrochemical sensor (MOS) | TS=timeseries (5 min)
|  | TVOC | HOO | MOx CMOS | TS=timeseries (5 min)
|  | R.H. | HOO | CMOS | TS=timeseries (5 min)
|  | PM (1-2 weeks of meaurements in winter and summer) | HOO | Light scattering (Sensirion SPS30) | TS=timeseries (5 min)
- (PUV) | Ricardo Almeida, Eva Barreira | CO2 | BED, LIV | NDIR sensor | TS=timeseries (10 min)
|  | R.H. | BED, LIV, KIT | Onset | TS=timeseries (10 min)
|  | CO2 | BED, LIV, KIT, BAT | NDIR sensor (Rotronic CP11); low cost sensor (Wöler CDL 210) | TS (5 min)
CISC (IETCC) | Sonia Garcia | R.H. | BED, LIV, KIT, BAT |  | TS (5 min)
|  | Radon | BED |  | integral value for most representative room
- (UNIFE) | Pietrogrande et al. (2021) | PM2.5 | KIT, BED | Foobot | Daily/ daytime/ night Mean + StDev
|  | CO2 | KIT, BED | Foobot | Daily/ daytime/ night Mean + StDev
|  | TVOC | KIT, BED | Foobot | Daily/ daytime/ night Mean + StDev
|  | R.H. | KIT, BED | Foobot | Daily/ daytime/ night Mean + StDev
- (ARPA) | De Gennaro et al. (2015) | PM10 |  | Active sampling (Sequential Air Sampler) | Avg (2x12h)
|  | PAH |  | Active sampling (Sequential Air Sampler) | Avg (2x12h)
|  | PM10 |  | OPC Multichannel Monitor—FAI Instruments
|  | PM (UFP) |  | Fast Mobility Particle Sizer (FMPS 3091—TSI
|  | PAH |  | Ecochem PAS 2000
|  | TVOC |  | PID PhoCheck TIGER
- (UNIMI) | Cattaneo et al. (2011) | PM2.5 |  |  | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | PM10 |  |  | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | PM (PM0.25, 0.5, 1) |  | personal cascade impactor sampler (PCIS) | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | R.H. |  |  | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | CO2 |  | Telaire 7000 IR | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | CO |  | Langan Model T15v | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | NO2 |  | Radiello | Summer/Winter Mean ± sd, Median [25th–75th], 95th
|  | O3 |  | Radiello | Summer/Winter Mean ± sd, Median [25th–75th], 95th
- (NTU) | Zhou et al. (2013) | PM (comments) | AMB, BED | Optical partical counter (TSI) | Avg, Med, P5, P25, P75, P95 for each dwelling
|  | R.H. | AMB, BED | RH sensor | Avg, Med, P5, P25, P75, P95 for each dwelling
- (Monash University) | Kang et al. (2021) | HCHO | BED, CCO | Plantower | Avg, Med, P5, P25, P75, P95 for each dwelling
|  | R.H. |  | RH sensor | Avg, Med, P5, P25, P75, P95 for each dwelling
|  | CO2 |  | NDIR sensor (plantower) | Avg, Med, P5, P25, P75, P95 for each dwelling
|  | PM2.5 |  | light scattering (plantower) | Avg, Med, P5, P25, P75, P95 for each dwelling
|  | TVOC |  | Plantower | Avg, Med, P5, P25, P75, P95 for each dwelling
ClimateReady (UNAV) | Aurora Monge-Barrio | R.H. | LIV, BED | Inbiot
|  | CO2 | LIV, BED | Inbiot
|  | PM2.5 | LIV | Inbiot
|  | PM10 | LIV | Inbiot
|  | Microorganisms | LIV, BED, KIT | Airdeal
Sinfonia (UIBK) | Bliem (2021) | R.H. | CCO | tbd | TS=timeseries (15 min)
|  | CO2 | EHA | NDIR sensor
Fondecyt Iniciación (UC) | Constanza Molina
ALLO (ULR) | Marc Abadie
Buren (Zehnder) | Bart Cremers
PH renovation (TU/e) | Marcel Loomans
ALIVE (UGA) | James McGrath, Ibrahim Alhindawi
ARDEN (UGA) | Coggins et al. (2022)
VALIDate (MU) | James McGrath