Light Metadata

Dr. Ruth D. Gates
University of Hawaii
Director, Hawaii Institute of Marine Biology (HIMB)
PO Box 1346
Kaneohe, HI 96744
Office phone: 808-236-7420
Fax: 808-236-7443
Email: rgates@hawaii.edu
Website: gatescorallab.com

Abiotic Monitoring Data: Light, Photosynthetic Active Radiation (PAR)
Site: Kaneohe Bay, Oahu, Hawaii

All data was collected by integrating light over 15 minutes.
												
Reef: 44
GPS:  N 21.476667	W -157.833723
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:4375
Logger start date: December 11, 2014
Logger end date: December 31, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.0602x
												
Reef: 43
GPS: N 21.477247	W -157.827569
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:4376
Logger start date: December 11, 2014
Logger end date: June 9, 2015
Logger calibrated: June, 2015
Calibration equation: y=0.0435x

Reef: 42
GPS: N 21.476759	W -157.825027
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:4322
Logger start date: December 11, 2014
Logger end date: December 31, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.0989x
												
Reef: 25
GPS: N 21.460839	W -157.823121
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:4323
Logger start date: April 15, 2015
Logger end date: December 31, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.1178x
												
Reef: 22
GPS: N 21.46078	W -157.813799
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:3805
Logger start date: October 8, 2014
Logger end date: December 10, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.112x

Reef: 5
GPS: N 21.436148	W -157.800965
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:4803
Logger start date: May 26, 2015
Logger end date: December 10, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.0526x
												
Reef: 3
GPS: N 21.436128	W -157.79427
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes

Logger Serial #:2484
Logger start date: December 17, 2014
Logger end date: May 26, 2015
Logger calibrated: May, 2015
Calibration equation: y=0.056x

Logger Serial #:4804
Logger start date: May 26, 2015
Logger end date: December 10, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.047x
												
Reef: HIMB
GPS: N 21.435817	W -157.791533
Data: light, PAR (microMoles/meter^2/second)
Curated by: Raphael Ritson-Williams

Logger Used: Odyssey PAR Logger
Depth: 2 meters
Logging interval: 15 minutes
Logger Serial #:2489
Logger start date: December 17, 2014
Logger end date: May 26, 2015
Logger calibrated: March, 2016
Calibration equation: y=0.0980x

Logger Serial #:4805
Logger start date: May 26, 2015
Logger end date: December 31, 2015
Logger calibrated: February 3, 2016
Calibration equation: y=0.0709x