## Strobl2025A-DS0042
Dataset (DS) | DS0042
Species | Tribolium castaneum (Herbst) Arthropoda → Insecta → Coleoptera → Tenebrionidae
Line / Subline | AGOC{ATub'Actin°NB-mEmerald} #2
Genotype | single insertion / (mC/mC) homozygous
Imaging Culture | ~200-500 adults, less than 2 months old
Imaging Culture Medium | full grain wheat flour (113061006, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA)
Imaging Culture Rearing Conditions | 12:00 h light / 12:00 h darkness at 32°C and 70% relative humidity (DR-41VL, Percival Scientific, Perry, IA, USA)
Embryo Collection | imaging cultures were given 01:00 h at room temperature (23±1°C) in egg laying medium (405 fine wheat flour (113061036, Demeter, Darmstadt, Germany) supplemented with 5% (wt/wt) inactive dry yeast (62-106, Flystuff, San Diego, CA, USA) to lay embryos
Pre-Imaging Incubation | incubation for ~15:00 h at room temperature (23±1°C), embryo mounting for ~01:00 h at room temperature (23±1°C), resulting in a total of ~16:00 h incubation at room temperature (23±1°C)
LSFM Implementation | sample chamber-based digital scanned laser light sheet fluorescence microscope (DSLM)
Laser Lines | 488 nm / 60 mW diode laser (PhoxX 488-60, Omicron-Laserage Laserprodukte GmbH, Rodgau-Dudenhofen, Germany)
Excitation Objective | 2.5× NA 0.06 EC Epiplan-Neofluar objective (422320-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Objective | 10× NA 0.3 W N-Achroplan objective (420947-9900-000, Carl Zeiss, Göttingen, Germany)
Emission Filters | 525/50 single-band bandpass filter (FF03-525/50-25, Semrock/AHF Analysentechnik AG, Tübingen, Germany)
Camera | high-resolution CCD (Clara, Andor, Belfast, United Kingdom), 14 bit, 1040×1392 pixel (pitch 6.45 µm)
Dataset File Type | TIFF, 16-bit grayscale (planes saved as Z stacks in ZIP-compressed container files, indicated as PL(ZS))
Pre-Mounting Preparation | dechorionation by washing ~60 s in a 1:9 mixture of ~10% (vol/vol) sodium hypochlorite (425044-250ML, Sigma Aldrich, Taufkirchen, Germany) and autoclaved tap water
Mounting Method | cobweb holder mounting method (embryos are attached to a thin agarose film spanning a slotted hole)
Mounting Agarose | 1% (wt/vol) low-melt agarose (6351.2, Carl Roth, Karlsruhe, Germany) in autoclaved tap water
Imaging Buffer | autoclaved tap water
Imaging Temperature | room temperature (23±1°C)
Embryogenic Events | blastoderm formation (partially), early gastrulation, germband elongation, germband retraction, dorsal closure, muscular movement (partially)
Views | ventrolateral, dorsolateral, dorsolateral, ventrolateral (blastoderm formation to muscular movement)
Retrieval | developed to healthy and fertile adult
Dataset Size | 74.3 Gigabyte
Dataset Access | https://doi.org/10.5281/zenodo.14717648 (part 1), https://doi.org/10.5281/zenodo.14717786 (part 2)
Figures | -
Supplementary Figures | -
Supplementary Videos | -
Comment | -
Time Points (TP) | 286 (TP0001-TP0283)
TP Interval | 30 min
Total Time ((TP-1)×TP Interval) | 142:30 h
Directions (DR) | 4 (DR0001-DR0004)
DR Orientations | 0°, 90°, 180°, 270°
Channels (CH) | 1 (CH0001)
CH0001 Excitation | 488 nm
CH0001 Laser Power | 135 µW (close to the embryo)
CH0001 Exposure Time | 50 ms
CH0001 Emission Filter | 525/50 single-band bandpass filter
CH0001 Light Sheet Waist Thickness | ~6.9 µm
CH0001 Rayleigh Length | ~102 µm
CH0001 Theoretical Lateral / Axial Resolution | ~850 nm / ~3,200 nm
Planes (PL) | 150 (PL0001-PL0150)
Z Spacing | 2.58 µm
Z Distance (PL×Z Spacing) | 387.0 µm
X-Dimensions (XD) | 600 pixels
X Spacing | 0.645 µm
X Length (XD×X Spacing) | 387.0 µm
Y-Dimensions (YD) | 1000 pixels
Y Spacing | 0.645 µm
Y Length (YD)×Y Spacing) | 645.0 µm