## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.46251 | 0.92901 | 4.6878 | 9.0895 | 18.4123 | 46.0527 | 92.303 | 0.011239 | 0.022872 | 0.11616 | 0.22533 | 0.45773 | 1.1449 | 2.3076 | 1.8378 | 3.6708 | 16.9811 | 35.3406 | 72.3501 | 180.5859 | 362.4802 | 157.29 | -0.12338 | 0.050861 | 0.46736 | 92.1814
bromodichloromethane | 12.92 | 0.46175 | 0.92749 | 4.6801 | 9.0747 | 18.3823 | 45.9775 | 92.1522 | 0.011221 | 0.022835 | 0.11597 | 0.22496 | 0.45698 | 1.143 | 2.3038 | 1.2613 | 2.5453 | 12.7146 | 26.069 | 53.504 | 132.9657 | 267.4579 | 116.2229 | -0.11058 | 0.068833 | 0.43408 | 92.05
dibromochloromethane | 16.85 | 0.461 | 0.92597 | 4.6724 | 9.0598 | 18.3522 | 45.9022 | 92.0013 | 0.011202 | 0.022797 | 0.11578 | 0.22459 | 0.45623 | 1.1411 | 2.3 | 0.80975 | 1.5388 | 8.4167 | 16.8617 | 34.6229 | 86.0837 | 173.1575 | 75.3648 | -0.064315 | 0.10615 | 0.42977 | 91.9036
bromoform | 20.29 | 0.46129 | 0.92657 | 4.6754 | 9.0657 | 18.364 | 45.9319 | 92.0607 | 0.011209 | 0.022812 | 0.11586 | 0.22474 | 0.45653 | 1.1419 | 2.3015 | 0.38266 | 0.8205 | 4.5874 | 8.9663 | 18.6408 | 46.542 | 94.7498 | 41.1902 | -0.19706 | 0.19422 | 0.3716 | 92.0119
0.42007
fluorobenzene (ISTD) | 10.6 | 0.90472 | 0.90863 | 0.91698 | 0.88901 | 0.90042 | 0.90085 | 0.90278 | 0.021985 | 0.02237 | 0.022723 | 0.022039 | 0.022384 | 0.022395 | 0.02257 | 37.5488 | 38.6208 | 38.2877 | 38.5521 | 38.7709 | 38.0263 | 38.0969
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.51121 | 1.0224 | 5.1121 | 10.2243 | 20.4486 | 51.1214 | 102.2429 | 0.51121 | 1.0224 | 5.1121 | 10.2243 | 20.4486 | 51.1214 | 102.2429 | 0.048944 | 0.095046 | 0.44351 | 0.9167 | 1.8661 | 4.749 | 9.5147 | 0.093216 | -0.02012 | 0.050248 | 0.46173 | 92.1477
bromodichloromethane | 12.92 | 0.51038 | 1.0208 | 5.1038 | 10.2076 | 20.4152 | 51.0379 | 102.0758 | 0.51038 | 1.0208 | 5.1038 | 10.2076 | 20.4152 | 51.0379 | 102.0758 | 0.03359 | 0.065905 | 0.33208 | 0.6762 | 1.38 | 3.4967 | 7.0205 | 0.068878 | -0.015361 | 0.068004 | 0.42885 | 92.0166
dibromochloromethane | 16.85 | 0.50954 | 1.0191 | 5.0954 | 10.1909 | 20.3817 | 50.9543 | 101.9087 | 0.50954 | 1.0191 | 5.0954 | 10.1909 | 20.3817 | 50.9543 | 101.9087 | 0.021565 | 0.039844 | 0.21983 | 0.43738 | 0.89301 | 2.2638 | 4.5452 | 0.044664 | -0.0097471 | 0.10487 | 0.4246 | 91.8706
bromoform | 20.29 | 0.50987 | 1.0197 | 5.0987 | 10.1975 | 20.3949 | 50.9873 | 101.9745 | 0.50987 | 1.0197 | 5.0987 | 10.1975 | 20.3949 | 50.9873 | 101.9745 | 0.010191 | 0.021245 | 0.11981 | 0.23258 | 0.48079 | 1.2239 | 2.4871 | 0.02441 | -0.0095305 | 0.19189 | 0.36714 | 91.9822
0.41501
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.789 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.3 | 24.62 | 24.78 | 24.79 | 24.86 | 24.86 | 25

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
03-0001-THM-1 | 0.89777 | 1.8023 | 2.4249 | 1.215
03-0001-THM-2 | 0.94723 | 1.8403 | 2.5111 | 1.1938
03-0001-THM-3 | 0.94987 | 1.8823 | 2.5385 | 1.1947
03-0002-THM-1 | 0.9457 | 1.8764 | 2.5492 | 1.2576
03-0002-THM-2 | 0.95698 | 1.7133 | 2.3697 | 1.1501
03-0002-THM-3 | 0.94051 | 1.8713 | 2.4419 | 1.1568
03-0003-THM-1 | 1.0088 | 1.8199 | 2.4584 | 1.1683
03-0003-THM-2 | 0.99394 | 1.9234 | 2.6242 | 1.2981
03-0003-THM-3 | 0.98458 | 1.9401 | 2.5847 | 1.2481
03-0004-THM-1 | 1.0116 | 1.822 | 2.5807 | 1.2449
03-0004-THM-2 | 0.9676 | 1.7839 | 2.4931 | 1.1847
03-0004-THM-3 | 1.0469 | 1.8519 | 2.6323 | 1.2627
03-0005-THM-1 | 1.0342 | 1.9849 | 2.7123 | 1.263
03-0005-THM-2 | 1.0184 | 1.9059 | 2.5025 | 1.1432
03-0005-THM-3 | 1.0334 | 1.9719 | 2.6172 | 1.2224
03-0010-THM-1 | 1.0722 | 2.0498 | 2.8914 | 1.3174
03-0010-THM-2 | 1.0405 | 2.0141 | 2.7804 | 1.2287
03-0010-THM-3 | 1.0398 | 2.0207 | 2.7327 | 1.2705
03-9005-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
03-0001-THM-1 | 24.81 | 41.38 | 0.022717 | 0.020395 | 0.82205 | 0.84341 | 0.018572 | 0.040944 | 1.6503 | 1.6674 | 0.024667 | 0.055087 | 2.2203 | 2.2557 | 0.03345 | 0.027601 | 1.1125 | 1.0877 | 0.021484 | 2 | 1 | 5.8052 | 5.8543 | 0.0555
03-0001-THM-2 | 24.86 | 42.1 | 0.022374 | 0.021193 | 0.8525 |  |  | 0.041175 | 1.6563 |  |  | 0.056182 | 2.2599 |  |  | 0.026709 | 1.0744 |  |  | 2 | 1 | 5.8431
03-0001-THM-3 | 24.94 | 42.06 | 0.022467 | 0.021341 | 0.85569 |  |  | 0.042291 | 1.6957 |  |  | 0.057034 | 2.2868 |  |  | 0.026842 | 1.0763 |  |  | 2 | 1 | 5.9145
03-0002-THM-1 | 24.86 | 42.85 | 0.021982 | 0.020789 | 0.83623 | 0.84923 | 0.015384 | 0.041248 | 1.6592 | 1.6306 | 0.070005 | 0.056038 | 2.2542 | 2.1979 | 0.054661 | 0.027645 | 1.112 | 1.0642 | 0.041402 | 2 | 2 | 5.8616 | 5.7419 | 0.13035
03-0002-THM-2 | 24.76 | 41.86 | 0.022412 | 0.021447 | 0.86621 |  |  | 0.038398 | 1.5508 |  |  | 0.05311 | 2.145 |  |  | 0.025776 | 1.041 |  |  | 2 | 2 | 5.6031
03-0002-THM-3 | 24.91 | 42.16 | 0.022387 | 0.021055 | 0.84525 |  |  | 0.041892 | 1.6817 |  |  | 0.054667 | 2.1946 |  |  | 0.025896 | 1.0396 |  |  | 2 | 2 | 5.7612
03-0003-THM-1 | 25.1 | 41.79 | 0.022757 | 0.022958 | 0.91465 | 0.8939 | 0.018187 | 0.041417 | 1.6501 | 1.7003 | 0.048346 | 0.055948 | 2.229 | 2.2937 | 0.056042 | 0.026587 | 1.0592 | 1.111 | 0.046785 | 2 | 3 | 5.8529 | 5.9989 | 0.12691
03-0003-THM-2 | 24.87 | 42.76 | 0.022037 | 0.021904 | 0.88073 |  |  | 0.042386 | 1.7043 |  |  | 0.057831 | 2.3253 |  |  | 0.028606 | 1.1502 |  |  | 2 | 3 | 6.0606
03-0003-THM-3 | 24.67 | 42.09 | 0.022208 | 0.021866 | 0.88632 |  |  | 0.043086 | 1.7465 |  |  | 0.057402 | 2.3268 |  |  | 0.027718 | 1.1236 |  |  | 2 | 3 | 6.0832
03-0004-THM-1 | 24.91 | 42.62 | 0.022145 | 0.022403 | 0.89935 | 0.90285 | 0.033283 | 0.040349 | 1.6198 | 1.6284 | 0.027133 | 0.05715 | 2.2943 | 2.2992 | 0.056412 | 0.027568 | 1.1067 | 1.1016 | 0.032357 | 2 | 4 | 5.9201 | 5.932 | 0.1479
03-0004-THM-2 | 25.13 | 42.07 | 0.022633 | 0.0219 | 0.87145 |  |  | 0.040374 | 1.6066 |  |  | 0.056426 | 2.2454 |  |  | 0.026813 | 1.067 |  |  | 2 | 4 | 5.7904
03-0004-THM-3 | 24.88 | 42.3 | 0.022286 | 0.023331 | 0.93774 |  |  | 0.041271 | 1.6588 |  |  | 0.058664 | 2.3579 |  |  | 0.028141 | 1.1311 |  |  | 2 | 4 | 6.0855
03-0005-THM-1 | 25.05 | 42.37 | 0.022401 | 0.023167 | 0.92481 | 0.92799 | 0.0068309 | 0.044465 | 1.775 | 1.7629 | 0.030708 | 0.060759 | 2.4255 | 2.3549 | 0.07938 | 0.028292 | 1.1294 | 1.091 | 0.048465 | 2 | 5 | 6.2548 | 6.1367 | 0.15833
03-0005-THM-2 | 24.9 | 41.79 | 0.022576 | 0.022991 | 0.92333 |  |  | 0.043027 | 1.728 |  |  | 0.056497 | 2.269 |  |  | 0.02581 | 1.0365 |  |  | 2 | 5 | 5.9568
03-0005-THM-3 | 25.06 | 41.84 | 0.022694 | 0.023452 | 0.93584 |  |  | 0.044749 | 1.7857 |  |  | 0.059395 | 2.3701 |  |  | 0.027742 | 1.107 |  |  | 2 | 5 | 6.1986
03-0010-THM-1 | 25.08 | 42.47 | 0.022375 | 0.02399 | 0.95653 | 0.9487 | 0.01196 | 0.045865 | 1.8287 | 1.8312 | 0.022871 | 0.064696 | 2.5796 | 2.5289 | 0.04424 | 0.029477 | 1.1753 | 1.1486 | 0.038838 | 2 | 7 | 6.5402 | 6.4574 | 0.099634
03-0010-THM-2 | 25.42 | 42.17 | 0.02284 | 0.023766 | 0.93493 |  |  | 0.046001 | 1.8096 |  |  | 0.063504 | 2.4982 |  |  | 0.028064 | 1.104 |  |  | 2 | 7 | 6.3468
03-0010-THM-3 | 24.77 | 41.27 | 0.022741 | 0.023646 | 0.95463 |  |  | 0.045953 | 1.8552 |  |  | 0.062145 | 2.5089 |  |  | 0.028892 | 1.1664 |  |  | 2 | 7 | 6.4851
03-9005-THM-1 | 25.14 | 43.52 | 0.021888 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 2 | 9005 | 0 | 0 | #DIV/0!