## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.44561 | 0.89373 | 4.5642 | 9.0848 | 18.0059 | 44.8448 | 90.5664 | 0.011118 | 0.022299 | 0.11397 | 0.22676 | 0.45285 | 1.1261 | 2.2986 | 1.7704 | 3.4344 | 17.871 | 34.9244 | 69.4148 | 168.2957 | 353.4156 | 153.1146 | -0.26553 | 0.052248 | 0.46251 | 92.3271
bromodichloromethane | 12.92 | 0.44488 | 0.89227 | 4.5568 | 9.07 | 17.9765 | 44.7715 | 90.4184 | 0.0111 | 0.022262 | 0.11378 | 0.22639 | 0.45211 | 1.1242 | 2.2948 | 1.2285 | 2.4437 | 13.1038 | 26.1188 | 51.5505 | 127.1632 | 263.4832 | 114.6011 | -0.19315 | 0.069807 | 0.42881 | 91.9654
dibromochloromethane | 16.85 | 0.44415 | 0.89081 | 4.5493 | 9.0551 | 17.9471 | 44.6982 | 90.2704 | 0.011082 | 0.022226 | 0.1136 | 0.22602 | 0.45137 | 1.1224 | 2.2911 | 0.76836 | 1.5864 | 8.5229 | 17.248 | 34.1245 | 84.2792 | 172.4112 | 75.2282 | 0.020645 | 0.10634 | 0.40855 | 91.6738
bromoform | 20.29 | 0.44444 | 0.89138 | 4.5523 | 9.061 | 17.9587 | 44.7271 | 90.3287 | 0.011089 | 0.02224 | 0.11367 | 0.22616 | 0.45166 | 1.1231 | 2.2925 | 0.44999 | 0.91825 | 4.7244 | 9.6475 | 18.6255 | 46.3423 | 94.7986 | 41.3126 | 0.046001 | 0.19365 | 0.43569 | 91.7866
0.42204
fluorobenzene (ISTD) | 10.6 | 0.89154 | 0.89406 | 0.91318 | 0.90882 | 0.90063 | 0.89723 | 0.906 | 0.022244 | 0.022307 | 0.022802 | 0.022684 | 0.022651 | 0.022529 | 0.022994 | 36.2352 | 37.0349 | 38.4629 | 37.5521 | 37.4193 | 35.5954 | 36.8339
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.49981 | 0.99963 | 4.9981 | 9.9963 | 19.9926 | 49.9815 | 99.9629 | 0.49981 | 0.99963 | 4.9981 | 9.9963 | 19.9926 | 49.9815 | 99.9629 | 0.04886 | 0.092733 | 0.46463 | 0.93003 | 1.8551 | 4.728 | 9.5948 | 0.095944 | -0.024688 | 0.051186 | 0.45311 | 91.981
bromodichloromethane | 12.92 | 0.499 | 0.998 | 4.99 | 9.98 | 19.9599 | 49.8998 | 99.7996 | 0.499 | 0.998 | 4.99 | 9.98 | 19.9599 | 49.8998 | 99.7996 | 0.033905 | 0.065983 | 0.34069 | 0.69553 | 1.3776 | 3.5725 | 7.1533 | 0.071819 | -0.018259 | 0.068381 | 0.42005 | 91.6112
dibromochloromethane | 16.85 | 0.49818 | 0.99636 | 4.9818 | 9.9636 | 19.9272 | 49.8181 | 99.6362 | 0.49818 | 0.99636 | 4.9818 | 9.9636 | 19.9272 | 49.8181 | 99.6362 | 0.021205 | 0.042835 | 0.22159 | 0.45931 | 0.91195 | 2.3677 | 4.6808 | 0.04715 | -0.0080107 | 0.10416 | 0.40015 | 91.3099
bromoform | 20.29 | 0.4985 | 0.99701 | 4.985 | 9.9701 | 19.9401 | 49.8503 | 99.7006 | 0.4985 | 0.99701 | 4.985 | 9.9701 | 19.9401 | 49.8503 | 99.7006 | 0.012419 | 0.024794 | 0.12283 | 0.25691 | 0.49775 | 1.3019 | 2.5737 | 0.025893 | -0.0034735 | 0.18967 | 0.42674 | 91.4216
0.41339
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7998 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.95 | 24.95 | 24.97 | 24.96 | 25.15 | 25.11 | 25.38

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
03-0009-THM-1 | 0.92932 | 1.591 | 2.2758 | 0.95542
03-0009-THM-2 | 0.9475 | 1.5782 | 2.2066 | 0.92183
03-0009-THM-3 | 0.96144 | 1.5347 | 2.1298 | 0.82413
03-0012-THM-1 | 1.16 | 2.003 | 2.6842 | 1.1117
03-0012-THM-2 | 1.1484 | 1.9553 | 2.5028 | 1.0395
03-0012-THM-3 | 1.126 | 1.9093 | 2.353 | 1.0662
03-0013-THM-1 | 1.1272 | 1.9886 | 2.5174 | 1.0402
03-0013-THM-2 | 1.1298 | 1.9874 | 2.6213 | 1.1884
03-0013-THM-3 | 1.126 | 2.0249 | 2.5673 | 1.106
03-0014-THM-1 | 1.1227 | 1.9954 | 2.5872 | 1.199
03-0014-THM-2 | 1.0795 | 1.886 | 2.4382 | 1.0124
03-0014-THM-3 | 1.1137 | 2.059 | 2.602 | 1.0435
03-0015-THM-1 | 1.2003 | 2.1009 | 2.6998 | 1.1905
03-0015-THM-2 | 1.1915 | 2.1756 | 2.788 | 1.2115
03-0015-THM-3 | 1.208 | 2.0732 | 2.7198 | 1.1353
03-9015-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
03-0009-THM-1 | 25.08 | 41.55 | 0.022936 | 0.021315 | 0.84986 | 0.86091 | 0.010088 | 0.036491 | 1.455 | 1.4272 | 0.042713 | 0.052198 | 2.0813 | 2.0062 | 0.086081 | 0.021913 | 0.87373 | 0.81992 | 0.07062 | 2 | 6 | 5.2598 | 5.1142 | 0.19443
03-0009-THM-2 | 24.96 | 41.4 | 0.022909 | 0.021706 | 0.86963 |  |  | 0.036155 | 1.4485 |  |  | 0.05055 | 2.0252 |  |  | 0.021118 | 0.84607 |  |  | 2 | 6 | 5.1894
03-0009-THM-3 | 25.03 | 42.32 | 0.022474 | 0.021607 | 0.86324 |  |  | 0.034491 | 1.378 |  |  | 0.047864 | 1.9123 |  |  | 0.018521 | 0.73995 |  |  | 2 | 6 | 4.8934
03-0012-THM-1 | 25.34 | 42 | 0.022925 | 0.026593 | 1.0495 | 1.0375 | 0.015401 | 0.04592 | 1.8122 | 1.7726 | 0.041278 | 0.061535 | 2.4284 | 2.2777 | 0.14834 | 0.025486 | 1.0058 | 0.97191 | 0.031306 | 2 | 8 | 6.2958 | 6.0597 | 0.22501
03-0012-THM-2 | 24.84 | 41.84 | 0.022559 | 0.025907 | 1.0429 |  |  | 0.044109 | 1.7757 |  |  | 0.056461 | 2.273 |  |  | 0.023449 | 0.94401 |  |  | 2 | 8 | 6.0357
03-0012-THM-3 | 25.16 | 41.94 | 0.022795 | 0.025666 | 1.0201 |  |  | 0.043522 | 1.7298 |  |  | 0.053636 | 2.1318 |  |  | 0.024303 | 0.96594 |  |  | 2 | 8 | 5.8477
03-0013-THM-1 | 25.21 | 41.49 | 0.023088 | 0.026024 | 1.0323 | 1.0262 | 0.0056624 | 0.045913 | 1.8212 | 1.8202 | 0.01661 | 0.058121 | 2.3055 | 2.3373 | 0.03726 | 0.024017 | 0.95267 | 1.0113 | 0.063174 | 2 | 9 | 6.1117 | 6.195 | 0.086691
03-0013-THM-2 | 25.1 | 41.88 | 0.022773 | 0.025729 | 1.0251 |  |  | 0.045258 | 1.8031 |  |  | 0.059695 | 2.3783 |  |  | 0.027063 | 1.0782 |  |  | 2 | 9 | 6.2847
03-0013-THM-3 | 25.25 | 41.9 | 0.022898 | 0.025783 | 1.0211 |  |  | 0.046366 | 1.8363 |  |  | 0.058787 | 2.3282 |  |  | 0.025326 | 1.003 |  |  | 2 | 9 | 6.1887
03-0014-THM-1 | 25.28 | 42.26 | 0.02273 | 0.025519 | 1.0095 | 0.9987 | 0.012004 | 0.045355 | 1.7941 | 1.789 | 0.064252 | 0.058808 | 2.3263 | 2.2971 | 0.061375 | 0.027255 | 1.0781 | 0.98014 | 0.085103 | 2 | 10 | 6.2079 | 6.0649 | 0.1827
03-0014-THM-2 | 25.05 | 41.61 | 0.022875 | 0.024693 | 0.98575 |  |  | 0.043143 | 1.7223 |  |  | 0.055775 | 2.2266 |  |  | 0.023158 | 0.92448 |  |  | 2 | 10 | 5.8591
03-0014-THM-3 | 25.46 | 42.28 | 0.022881 | 0.025483 | 1.0009 |  |  | 0.047113 | 1.8505 |  |  | 0.059536 | 2.3384 |  |  | 0.023877 | 0.93784 |  |  | 2 | 10 | 6.1276
03-0015-THM-1 | 25.32 | 42.46 | 0.022659 | 0.027197 | 1.0741 | 1.0911 | 0.027493 | 0.047604 | 1.8801 | 1.9242 | 0.042754 | 0.061175 | 2.4161 | 2.4876 | 0.062126 | 0.026975 | 1.0654 | 1.0717 | 0.02038 | 2 | 11 | 6.4357 | 6.5746 | 0.12087
03-0015-THM-2 | 25.01 | 42.06 | 0.022594 | 0.026922 | 1.0764 |  |  | 0.049156 | 1.9655 |  |  | 0.062993 | 2.5187 |  |  | 0.027373 | 1.0945 |  |  | 2 | 11 | 6.6551
03-0015-THM-3 | 25.19 | 40.88 | 0.023414 | 0.028285 | 1.1229 |  |  | 0.048542 | 1.927 |  |  | 0.063681 | 2.528 |  |  | 0.026582 | 1.0553 |  |  | 2 | 11 | 6.6332
03-9015-THM-1 | 25.21 | 41.39 | 0.023144 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 2 | 9015 | 0 | 0 | #DIV/0!