## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.43909 | 0.89124 | 4.5149 | 9.0645 | 18.0595 | 45.5192 | 90.8848 | 0.010911 | 0.021666 | 0.11043 | 0.22199 | 0.44246 | 1.1207 | 2.2512 | 1.5838 | 3.2728 | 14.8879 | 28.7496 | 68.7812 | 170.5918 | 341.8037 | 152.5175 | -1.1078 | 0.052453 | 0.41538 | 89.6432
bromodichloromethane | 12.92 | 0.43837 | 0.88979 | 4.5075 | 9.0496 | 18.03 | 45.4448 | 90.7363 | 0.010893 | 0.021631 | 0.11025 | 0.22163 | 0.44173 | 1.1189 | 2.2475 | 1.2228 | 2.4256 | 11.5584 | 23.455 | 51.6921 | 128.9112 | 257.3281 | 114.8692 | -0.38593 | 0.069644 | 0.42581 | 89.6074
dibromochloromethane | 16.85 | 0.43765 | 0.88833 | 4.5001 | 9.0348 | 18.0005 | 45.3704 | 90.5878 | 0.010876 | 0.021595 | 0.11007 | 0.22126 | 0.44101 | 1.117 | 2.2439 | 0.78355 | 1.5847 | 8.1047 | 16.2392 | 34.4716 | 85.7951 | 170.1277 | 76.0134 | 0.065397 | 0.10524 | 0.41232 | 89.5251
bromoform | 20.29 | 0.43793 | 0.8889 | 4.503 | 9.0407 | 18.0121 | 45.3997 | 90.6463 | 0.010883 | 0.021609 | 0.11014 | 0.22141 | 0.4413 | 1.1177 | 2.2453 | 0.44148 | 0.83309 | 4.5279 | 9.0576 | 18.5792 | 47.3009 | 94.5671 | 42.1979 | -0.08429 | 0.18958 | 0.41848 | 89.6415
0.41692
fluorobenzene (ISTD) | 10.6 | 0.88512 | 0.89829 | 0.91012 | 0.91362 | 0.91012 | 0.91758 | 0.91604 | 0.021995 | 0.021837 | 0.022261 | 0.022374 | 0.022298 | 0.022591 | 0.02269 | 34.6685 | 36.4378 | 36.8052 | 38.4941 | 37.7939 | 36.7495 | 37.0286
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.49608 | 0.99215 | 4.9608 | 9.9215 | 19.8431 | 49.6076 | 99.2153 | 0.49608 | 0.99215 | 4.9608 | 9.9215 | 19.8431 | 49.6076 | 99.2153 | 0.045685 | 0.08982 | 0.4045 | 0.74686 | 1.8199 | 4.642 | 9.2308 | 0.093669 | -0.050359 | 0.054186 | 0.42911 | 89.4427
bromodichloromethane | 12.92 | 0.49527 | 0.99053 | 4.9527 | 9.9053 | 19.8106 | 49.5266 | 99.0531 | 0.49527 | 0.99053 | 4.9527 | 9.9053 | 19.8106 | 49.5266 | 99.0531 | 0.035272 | 0.066568 | 0.31404 | 0.60931 | 1.3677 | 3.5078 | 6.9494 | 0.070551 | -0.026137 | 0.071942 | 0.43986 | 89.4017
dibromochloromethane | 16.85 | 0.49445 | 0.98891 | 4.9445 | 9.8891 | 19.7782 | 49.4455 | 98.891 | 0.49445 | 0.98891 | 4.9445 | 9.8891 | 19.7782 | 49.4455 | 98.891 | 0.022601 | 0.043492 | 0.22021 | 0.42186 | 0.9121 | 2.3346 | 4.5945 | 0.046689 | -0.0087942 | 0.10871 | 0.4259 | 89.3149
bromoform | 20.29 | 0.49477 | 0.98955 | 4.9477 | 9.8955 | 19.791 | 49.4774 | 98.9549 | 0.49477 | 0.98955 | 4.9477 | 9.8955 | 19.791 | 49.4774 | 98.9549 | 0.012734 | 0.022863 | 0.12302 | 0.2353 | 0.49159 | 1.2871 | 2.5539 | 0.025918 | -0.0080898 | 0.19583 | 0.43228 | 89.4342
0.43067
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.8025 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.85 | 24.31 | 24.46 | 24.49 | 24.5 | 24.62 | 24.77

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
03-0016-THM-1 | 0.85031 | 1.6044 | 2.1452 | 1.0732
03-0016-THM-2 | 0.87752 | 1.5518 | 2.1423 | 1.0694
03-0016-THM-3 | 0.91542 | 1.6491 | 2.2555 | 1.1411
03-0017-THM-1 | 0.8713 | 1.6828 | 2.2818 | 1.1523
03-0017-THM-2 | 0.86228 | 1.6576 | 2.2328 | 1.0784
03-0017-THM-3 | 0.90508 | 1.7006 | 2.3102 | 1.1511
03-0018-THM-1 | 0.9254 | 1.6652 | 2.2261 | 1.0799
03-0018-THM-2 | 0.96723 | 1.7535 | 2.3007 | 1.1525
03-0018-THM-3 | 0.95114 | 1.7672 | 2.349 | 1.1833
03-0019-THM-1 | 1.1143 | 1.8436 | 2.6467 | 2.487
03-0019-THM-2 | 1.0941 | 1.8227 | 2.6651 | 2.5319
03-0019-THM-3 | 1.1013 | 1.8477 | 2.6503 | 2.5038
03-0020-THM-1 | 0.95768 | 1.6626 | 2.1205 | 1.1162
03-0020-THM-2 | 0.91356 | 1.6744 | 2.1666 | 1.0282
03-0020-THM-3 | 0.97333 | 1.7454 | 2.2646 | 1.1448
03-9021-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
03-0016-THM-1 | 24.69 | 41.74 | 0.022492 | 0.019125 | 0.77462 | 0.79469 | 0.019814 | 0.036086 | 1.4616 | 1.4449 | 0.033536 | 0.04825 | 1.9542 | 1.9673 | 0.034306 | 0.02414 | 0.97771 | 0.98725 | 0.024382 | 2 | 12 | 5.1682 | 5.1941 | 0.097723
03-0016-THM-2 | 24.48 | 41.96 | 0.022184 | 0.019467 | 0.79522 |  |  | 0.034426 | 1.4063 |  |  | 0.047526 | 1.9414 |  |  | 0.023723 | 0.96909 |  |  | 2 | 12 | 5.112
03-0016-THM-3 | 24.74 | 42.75 | 0.022005 | 0.020144 | 0.81424 |  |  | 0.036289 | 1.4668 |  |  | 0.049633 | 2.0062 |  |  | 0.02511 | 1.015 |  |  | 2 | 12 | 5.3022
03-0017-THM-1 | 24.67 | 41.9 | 0.022388 | 0.019507 | 0.79071 | 0.79763 | 0.023609 | 0.037676 | 1.5272 | 1.5238 | 0.026215 | 0.051085 | 2.0707 | 2.063 | 0.04444 | 0.025798 | 1.0457 | 1.0223 | 0.042442 | 2 | 13 | 5.4344 | 5.4067 | 0.13228
03-0017-THM-2 | 25.02 | 42.13 | 0.022582 | 0.019472 | 0.77826 |  |  | 0.037431 | 1.496 |  |  | 0.050421 | 2.0152 |  |  | 0.024352 | 0.9733 |  |  | 2 | 13 | 5.2628
03-0017-THM-3 | 24.8 | 41.77 | 0.022576 | 0.020433 | 0.82393 |  |  | 0.038394 | 1.5481 |  |  | 0.052157 | 2.1031 |  |  | 0.025987 | 1.0479 |  |  | 2 | 13 | 5.523
03-0018-THM-1 | 24.68 | 41.47 | 0.02263 | 0.020941 | 0.84852 | 0.85687 | 0.011745 | 0.037682 | 1.5268 | 1.5624 | 0.030885 | 0.050375 | 2.0411 | 2.0716 | 0.031298 | 0.024439 | 0.99022 | 1.029 | 0.035436 | 2 | 14 | 5.4067 | 5.5199 | 0.1003
03-0018-THM-2 | 24.73 | 42.26 | 0.022252 | 0.021522 | 0.8703 |  |  | 0.039018 | 1.5777 |  |  | 0.051194 | 2.0701 |  |  | 0.025645 | 1.037 |  |  | 2 | 14 | 5.5552
03-0018-THM-3 | 24.78 | 42.46 | 0.022192 | 0.021107 | 0.85178 |  |  | 0.039216 | 1.5826 |  |  | 0.052129 | 2.1037 |  |  | 0.02626 | 1.0597 |  |  | 2 | 14 | 5.5977
03-0019-THM-1 | 24.68 | 41.65 | 0.022532 | 0.025106 | 1.0173 | 1.0048 | 0.011387 | 0.041539 | 1.6831 | 1.674 | 0.0078846 | 0.059635 | 2.4163 | 2.4173 | 0.02353 | 0.056037 | 2.2705 | 2.2839 | 0.030936 | 2 | 15 | 7.3872 | 7.3801 | 0.056399
03-0019-THM-2 | 24.98 | 41.51 | 0.022883 | 0.025036 | 1.0023 |  |  | 0.041708 | 1.6696 |  |  | 0.060986 | 2.4414 |  |  | 0.057936 | 2.3193 |  |  | 2 | 15 | 7.4326
03-0019-THM-3 | 24.98 | 42.09 | 0.022567 | 0.024853 | 0.99493 |  |  | 0.041697 | 1.6692 |  |  | 0.059811 | 2.3943 |  |  | 0.056503 | 2.2619 |  |  | 2 | 15 | 7.3205
03-0020-THM-1 | 24.75 | 42.04 | 0.022386 | 0.021439 | 0.86621 | 0.85763 | 0.019377 | 0.037219 | 1.5038 | 1.5324 | 0.029303 | 0.047469 | 1.9179 | 1.9754 | 0.054794 | 0.024988 | 1.0096 | 0.99155 | 0.04502 | 2 | 16 | 5.2975 | 5.3571 | 0.11121
03-0020-THM-2 | 24.98 | 41.58 | 0.022844 | 0.02087 | 0.83545 |  |  | 0.03825 | 1.5312 |  |  | 0.049494 | 1.9813 |  |  | 0.023489 | 0.9403 |  |  | 2 | 16 | 5.2883
03-0020-THM-3 | 25.1 | 42.48 | 0.022468 | 0.021868 | 0.87124 |  |  | 0.039215 | 1.5623 |  |  | 0.050879 | 2.027 |  |  | 0.025721 | 1.0247 |  |  | 2 | 16 | 5.4854
03-9021-THM-1 | 24.9 | 42.47 | 0.022294 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 2 | 9021 | 0 | 0 | #DIV/0!