## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.45443 | 0.91608 | 4.6025 | 9.0995 | 18.2078 | 45.8149 | 92.273 | 0.011038 | 0.02271 | 0.11405 | 0.22449 | 0.44973 | 1.122 | 2.2921 | 1.6829 | 3.4375 | 14.958 | 34.9113 | 68.3322 | 166.0106 | 354.8179 | 154.223 | -1.3073 | 0.051873 | 0.43649 | 92.0272
bromodichloromethane | 12.92 | 0.45369 | 0.91458 | 4.595 | 9.0847 | 18.178 | 45.74 | 92.1222 | 0.01102 | 0.022672 | 0.11386 | 0.22412 | 0.449 | 1.1202 | 2.2883 | 1.2692 | 2.507 | 11.751 | 25.6636 | 50.7672 | 125.5014 | 264.3327 | 115.2764 | -0.8186 | 0.069398 | 0.44039 | 91.7214
dibromochloromethane | 16.85 | 0.45295 | 0.91308 | 4.5875 | 9.0698 | 18.1483 | 45.6651 | 91.9714 | 0.011002 | 0.022635 | 0.11368 | 0.22375 | 0.44826 | 1.1183 | 2.2846 | 0.83206 | 1.6259 | 7.8855 | 17.3705 | 34.302 | 84.5896 | 174.9611 | 76.5458 | -0.23258 | 0.10451 | 0.4348 | 91.4282
bromoform | 20.29 | 0.45324 | 0.91367 | 4.5904 | 9.0757 | 18.16 | 45.6946 | 92.0308 | 0.011009 | 0.02265 | 0.11375 | 0.2239 | 0.44855 | 1.1191 | 2.286 | 0.41772 | 0.87743 | 4.5035 | 9.2515 | 18.7072 | 46.9894 | 97.2796 | 42.5737 | -0.2637 | 0.18791 | 0.39247 | 91.3988
0.41369
fluorobenzene (ISTD) | 10.6 | 0.89287 | 0.89995 | 0.90429 | 0.89393 | 0.89436 | 0.90016 | 0.90648 | 0.021688 | 0.02231 | 0.022408 | 0.022053 | 0.022091 | 0.022045 | 0.022517 | 36.9351 | 37.919 | 37.9542 | 37.5068 | 36.4334 | 37.5706 | 37.6862
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.50896 | 1.0179 | 5.0896 | 10.1792 | 20.3585 | 50.8962 | 101.7923 | 0.50896 | 1.0179 | 5.0896 | 10.1792 | 20.3585 | 50.8962 | 101.7923 | 0.045564 | 0.090653 | 0.39411 | 0.9308 | 1.8755 | 4.4186 | 9.4151 | 0.091916 | -0.039886 | 0.051106 | 0.43004 | 92.2579
bromodichloromethane | 12.92 | 0.50813 | 1.0163 | 5.0813 | 10.1626 | 20.3252 | 50.813 | 101.626 | 0.50813 | 1.0163 | 5.0813 | 10.1626 | 20.3252 | 50.813 | 101.626 | 0.034362 | 0.066115 | 0.30961 | 0.68424 | 1.3934 | 3.3404 | 7.014 | 0.068709 | -0.025766 | 0.068368 | 0.43385 | 91.9446
dibromochloromethane | 16.85 | 0.5073 | 1.0146 | 5.073 | 10.146 | 20.2919 | 50.7298 | 101.4596 | 0.5073 | 1.0146 | 5.073 | 10.146 | 20.2919 | 50.7298 | 101.4596 | 0.022528 | 0.042879 | 0.20776 | 0.46313 | 0.9415 | 2.2515 | 4.6426 | 0.045628 | -0.008853 | 0.10295 | 0.42831 | 91.6429
bromoform | 20.29 | 0.50763 | 1.0153 | 5.0763 | 10.1525 | 20.305 | 50.7626 | 101.5252 | 0.50763 | 1.0153 | 5.0763 | 10.1525 | 20.305 | 50.7626 | 101.5252 | 0.011309 | 0.02314 | 0.11866 | 0.24666 | 0.51346 | 1.2507 | 2.5813 | 0.025378 | -0.0085592 | 0.1851 | 0.3866 | 91.6128
0.40753
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7447 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.29 | 24.79 | 24.78 | 24.67 | 24.7 | 24.49 | 24.84

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
03-0021-THM-1 | 0.87223 | 1.2374 | 1.7318 | 0.80107
03-0021-THM-2 | 1.0043 | 1.2935 | 1.7716 | 0.87273
03-0021-THM-3 | 1.0257 | 1.2608 | 1.7217 | 0.8834
03-0022-THM-1 | 0.92703 | 1.7179 | 2.2471 | 1.1011
03-0022-THM-2 | 0.94664 | 1.7247 | 2.3134 | 1.0879
03-0022-THM-3 | 0.90059 | 1.6918 | 2.3638 | 1.1279
03-0023-THM-1 | 0.93825 | 1.8409 | 2.4187 | 1.2737
03-0023-THM-2 | 0.89152 | 1.7598 | 2.2352 | 1.1289
03-0023-THM-3 | 0.92089 | 1.7706 | 2.4127 | 1.1449
03-0024-THM-1 | 0.96312 | 1.7577 | 2.4001 | 1.1888
03-0024-THM-2 | 0.97006 | 1.8022 | 2.4219 | 1.1816
03-0024-THM-3 | 0.96909 | 1.807 | 2.3849 | 1.1896
03-9024-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
03-0021-THM-1 | 24.59 | 41.71 | 0.022077 | 0.019256 | 0.78308 | 0.87332 | 0.079254 | 0.027317 | 1.1109 | 1.1407 | 0.027856 | 0.038232 | 1.5548 | 1.5718 | 0.022263 | 0.017685 | 0.71919 | 0.76942 | 0.044196 | 2 | 17 | 4.1679 | 4.3553 | 0.16236
03-0021-THM-2 | 24.41 | 41.54 | 0.022005 | 0.022098 | 0.9053 |  |  | 0.028464 | 1.1661 |  |  | 0.038983 | 1.597 |  |  | 0.019204 | 0.78673 |  |  | 2 | 17 | 4.4551
03-0021-THM-3 | 24.74 | 41.23 | 0.02247 | 0.023048 | 0.93159 |  |  | 0.02833 | 1.1451 |  |  | 0.038687 | 1.5637 |  |  | 0.01985 | 0.80234 |  |  | 2 | 17 | 4.4428
03-0022-THM-1 | 24.71 | 42.02 | 0.022021 | 0.020414 | 0.82614 | 0.82891 | 0.036492 | 0.03783 | 1.531 | 1.5338 | 0.043943 | 0.049484 | 2.0026 | 2.0681 | 0.059318 | 0.024247 | 0.98125 | 0.99052 | 0.0080713 | 2 | 18 | 5.3409 | 5.4214 | 0.12053
03-0022-THM-2 | 23.72 | 40.9 | 0.021717 | 0.020558 | 0.86671 |  |  | 0.037456 | 1.5791 |  |  | 0.050241 | 2.1181 |  |  | 0.023626 | 0.99604 |  |  | 2 | 18 | 5.5599
03-0022-THM-3 | 24.95 | 42.48 | 0.021994 | 0.019807 | 0.79388 |  |  | 0.037209 | 1.4914 |  |  | 0.051989 | 2.0837 |  |  | 0.024807 | 0.99426 |  |  | 2 | 18 | 5.3632
03-0023-THM-1 | 24.76 | 42.07 | 0.022039 | 0.020678 | 0.83514 | 0.81808 | 0.0168 | 0.040571 | 1.6386 | 1.5976 | 0.035868 | 0.053305 | 2.1529 | 2.1015 | 0.079744 | 0.02807 | 1.1337 | 1.055 | 0.06815 | 2 | 19 | 5.7603 | 5.5722 | 0.17723
03-0023-THM-2 | 24.89 | 41.65 | 0.022378 | 0.019951 | 0.80155 |  |  | 0.039381 | 1.5822 |  |  | 0.05002 | 2.0096 |  |  | 0.025262 | 1.0149 |  |  | 2 | 19 | 5.4083
03-0023-THM-3 | 24.64 | 42.18 | 0.021875 | 0.020144 | 0.81755 |  |  | 0.038733 | 1.572 |  |  | 0.052778 | 2.142 |  |  | 0.025044 | 1.0164 |  |  | 2 | 19 | 5.5479
03-0024-THM-1 | 24.64 | 41.67 | 0.022143 | 0.021326 | 0.86551 | 0.86875 | 0.0038465 | 0.03892 | 1.5795 | 1.6065 | 0.023429 | 0.053145 | 2.1569 | 2.1573 | 0.022045 | 0.026324 | 1.0683 | 1.0656 | 0.0025089 | 2 | 20 | 5.6702 | 5.6982 | 0.035296
03-0024-THM-2 | 24.8 | 41.61 | 0.022319 | 0.02165 | 0.873 |  |  | 0.040224 | 1.6219 |  |  | 0.054053 | 2.1796 |  |  | 0.026372 | 1.0634 |  |  | 2 | 20 | 5.7379
03-0024-THM-3 | 24.62 | 41.82 | 0.022045 | 0.021364 | 0.86775 |  |  | 0.039837 | 1.6181 |  |  | 0.052576 | 2.1355 |  |  | 0.026225 | 1.0652 |  |  | 2 | 20 | 5.6865
03-9024-THM-1 | 24.84 | 42.82 | 0.021723 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 2 | 9024 | 0 | 0 | #DIV/0!