## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.46662 | 0.92206 | 4.5927 | 9.0877 | 18.2661 | 45.6002 | 92.8282 | 0.011511 | 0.023116 | 0.11206 | 0.22319 | 0.45026 | 1.1149 | 2.2901 | 1.7821 | 3.6805 | 17.1237 | 35.5555 | 73.2014 | 174.001 | 365.6906 | 159.2539 | -0.2622 | 0.050234 | 0.4476 | 91.851
bromodichloromethane | 12.92 | 0.46476 | 0.91838 | 4.5744 | 9.0516 | 18.1933 | 45.4186 | 92.4586 | 0.011466 | 0.023024 | 0.11161 | 0.22231 | 0.44847 | 1.1105 | 2.281 | 1.2304 | 2.6084 | 12.682 | 25.8939 | 53.1224 | 129.6236 | 271.9093 | 119.0509 | -0.56198 | 0.067198 | 0.41342 | 91.359
dibromochloromethane | 16.85 | 0.46569 | 0.92022 | 4.5835 | 9.0696 | 18.2297 | 45.5094 | 92.6434 | 0.011489 | 0.02307 | 0.11184 | 0.22275 | 0.44936 | 1.1127 | 2.2855 | 0.7768 | 1.7119 | 8.372 | 16.8151 | 34.6108 | 85.6122 | 179.1671 | 78.3539 | -0.47586 | 0.1021 | 0.39656 | 91.4656
bromoform | 20.29 | 0.4665 | 0.92183 | 4.5915 | 9.0855 | 18.2615 | 45.5889 | 92.8051 | 0.011509 | 0.02311 | 0.11203 | 0.22314 | 0.45015 | 1.1146 | 2.2895 | 0.4237 | 0.91257 | 4.5879 | 9.23 | 18.6305 | 46.8577 | 98.4043 | 42.9594 | -0.34534 | 0.18622 | 0.39451 | 91.6255
0.40576
fluorobenzene (ISTD) | 10.6 | 0.91438 | 0.90342 | 0.89997 | 0.89041 | 0.89485 | 0.89358 | 0.90953 | 0.022558 | 0.022649 | 0.021959 | 0.021869 | 0.022058 | 0.021848 | 0.022438 | 33.0041 | 35.8223 | 34.9248 | 34.3835 | 34.8023 | 35.5689 | 36.5426
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.51031 | 1.0206 | 5.1031 | 10.2062 | 20.4125 | 51.0311 | 102.0623 | 0.51031 | 1.0206 | 5.1031 | 10.2062 | 20.4125 | 51.0311 | 102.0623 | 0.053995 | 0.10274 | 0.4903 | 1.0341 | 2.1034 | 4.8919 | 10.0072 | 0.097589 | 0.015427 | 0.056029 | 0.49924 | 92.0361
bromodichloromethane | 12.92 | 0.50828 | 1.0166 | 5.0828 | 10.1656 | 20.3312 | 50.8279 | 101.6559 | 0.50828 | 1.0166 | 5.0828 | 10.1656 | 20.3312 | 50.8279 | 101.6559 | 0.037282 | 0.072814 | 0.36312 | 0.75309 | 1.5264 | 3.6443 | 7.4409 | 0.072959 | 0.00082658 | 0.074944 | 0.46107 | 91.5359
dibromochloromethane | 16.85 | 0.5093 | 1.0186 | 5.093 | 10.1859 | 20.3718 | 50.9295 | 101.8591 | 0.5093 | 1.0186 | 5.093 | 10.1859 | 20.3718 | 50.9295 | 101.8591 | 0.023537 | 0.04779 | 0.23972 | 0.48905 | 0.9945 | 2.4069 | 4.903 | 0.048021 | -0.0025502 | 0.11386 | 0.44225 | 91.6379
bromoform | 20.29 | 0.51018 | 1.0204 | 5.1018 | 10.2037 | 20.4074 | 51.0184 | 102.0369 | 0.51018 | 1.0204 | 5.1018 | 10.2037 | 20.4074 | 51.0184 | 102.0369 | 0.012838 | 0.025475 | 0.13137 | 0.26844 | 0.53533 | 1.3174 | 2.6929 | 0.026328 | -0.0037866 | 0.20768 | 0.43998 | 91.7994
0.45252
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7709 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.67 | 25.07 | 24.4 | 24.56 | 24.65 | 24.45 | 24.67

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0101-THM-1 | 15.6009 | 5.4953 | 1.9478 | 0
02-0101-THM-2 | 15.4852 | 5.5147 | 1.8687 | 0
02-0101-THM-3 | 15.3883 | 5.4512 | 1.894 | 0
02-0102-THM-1 | 9.5165 | 4.3188 | 1.7182 | 0
02-0102-THM-2 | 9.116 | 4.2869 | 1.6325 | 0
02-0102-THM-3 | 9.6368 | 4.41 | 1.7337 | 0
02-0125-THM-1 | 11.7781 | 4.7806 | 1.7198 | 0
02-0125-THM-2 | 11.8758 | 4.7416 | 1.633 | 0
02-0125-THM-3 | 11.6591 | 4.7195 | 1.625 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0101-THM-1 | 24.49 | 41.75 | 0.02212 | 0.34509 | 14.0909 | 13.9522 | 0.13581 | 0.12155 | 4.9634 | 4.9418 | 0.040211 | 0.043084 | 1.7593 | 1.7144 | 0.039895 | 0 | 0 | 0 | 0 | 1 | 1 | 20.8135 | 20.6084 | 0.1992
02-0101-THM-2 | 24.68 | 41.87 | 0.022227 | 0.34419 | 13.9463 |  |  | 0.12258 | 4.9666 |  |  | 0.041536 | 1.683 |  |  | 0 | 0 |  |  | 1 | 1 | 20.5959
02-0101-THM-3 | 24.75 | 41.99 | 0.022227 | 0.34203 | 13.8194 |  |  | 0.12116 | 4.8954 |  |  | 0.042097 | 1.7009 |  |  | 0 | 0 |  |  | 1 | 1 | 20.4157
02-0102-THM-1 | 24.69 | 41.84 | 0.022252 | 0.21176 | 8.5769 | 8.4489 | 0.16453 | 0.096103 | 3.8924 | 3.8903 | 0.0038508 | 0.038233 | 1.5485 | 1.5196 | 0.035593 | 0 | 0 | 0 | 0 | 1 | 2 | 14.0178 | 13.8588 | 0.20382
02-0102-THM-2 | 24.51 | 41.6 | 0.022217 | 0.20253 | 8.2633 |  |  | 0.095243 | 3.8859 |  |  | 0.036271 | 1.4798 |  |  | 0 | 0 |  |  | 1 | 2 | 13.629
02-0102-THM-3 | 24.63 | 42.72 | 0.021741 | 0.20951 | 8.5064 |  |  | 0.095878 | 3.8927 |  |  | 0.037693 | 1.5304 |  |  | 0 | 0 |  |  | 1 | 2 | 13.9295
02-0125-THM-1 | 24.61 | 41.73 | 0.022239 | 0.26193 | 10.6431 | 10.581 | 0.074844 | 0.10631 | 4.3199 | 4.2674 | 0.046199 | 0.038245 | 1.554 | 1.4917 | 0.05408 | 0 | 0 | 0 | 0 | 1 | 22 | 16.5171 | 16.3401 | 0.15873
02-0125-THM-2 | 24.59 | 42.24 | 0.021952 | 0.2607 | 10.6019 |  |  | 0.10409 | 4.233 |  |  | 0.035849 | 1.4579 |  |  | 0 | 0 |  |  | 1 | 22 | 16.2927
02-0125-THM-3 | 24.58 | 41.88 | 0.022132 | 0.25804 | 10.4979 |  |  | 0.10445 | 4.2494 |  |  | 0.035963 | 1.4631 |  |  | 0 | 0 |  |  | 1 | 22 | 16.2104