## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.44606 | 0.89401 | 4.5117 | 9.0342 | 17.9611 | 45.6408 | 91.1273 | 0.011044 | 0.021921 | 0.10936 | 0.22016 | 0.43933 | 1.1173 | 2.219 | 1.7591 | 3.7101 | 16.4874 | 35.3095 | 71.0286 | 168.4786 | 350.4103 | 156.8085 | -0.24274 | 0.051018 | 0.44871 | 89.3855
bromodichloromethane | 12.92 | 0.44428 | 0.89045 | 4.4938 | 8.9983 | 17.8896 | 45.459 | 90.7644 | 0.011 | 0.021834 | 0.10893 | 0.21929 | 0.43758 | 1.1128 | 2.2101 | 1.182 | 2.52 | 12.1284 | 25.9259 | 51.6553 | 126.8248 | 259.6475 | 117.0412 | -0.3587 | 0.068352 | 0.40395 | 88.7371
dibromochloromethane | 16.85 | 0.44517 | 0.89223 | 4.5027 | 9.0163 | 17.9253 | 45.5499 | 90.9459 | 0.011022 | 0.021878 | 0.10915 | 0.21973 | 0.43845 | 1.1151 | 2.2145 | 0.75946 | 1.6698 | 8.1323 | 17.0274 | 33.7263 | 84.4456 | 171.6901 | 77.332 | -0.27371 | 0.10345 | 0.39283 | 88.8068
bromoform | 20.29 | 0.44595 | 0.89379 | 4.5106 | 9.032 | 17.9566 | 45.6294 | 91.1046 | 0.011042 | 0.021916 | 0.10934 | 0.22011 | 0.43922 | 1.117 | 2.2184 | 0.43011 | 0.83449 | 4.4011 | 9.214 | 18.3859 | 46.1863 | 94.547 | 42.5115 | -0.26747 | 0.18818 | 0.4047 | 88.9613
0.411
fluorobenzene (ISTD) | 10.6 | 0.88729 | 0.88918 | 0.89747 | 0.89854 | 0.8932 | 0.90788 | 0.90635 | 0.021969 | 0.021803 | 0.021755 | 0.021897 | 0.021848 | 0.022225 | 0.02207 | 35.5418 | 36.5469 | 36.1471 | 36.8862 | 34.8864 | 37.5961 | 35.3693
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.50272 | 1.0054 | 5.0272 | 10.0543 | 20.1087 | 50.2717 | 100.5435 | 0.50272 | 1.0054 | 5.0272 | 10.0543 | 20.1087 | 50.2717 | 100.5435 | 0.049493 | 0.10152 | 0.45612 | 0.95725 | 2.036 | 4.4813 | 9.9072 | 0.097296 | -0.036494 | 0.050825 | 0.44701 | 89.8897
bromodichloromethane | 12.92 | 0.50072 | 1.0014 | 5.0072 | 10.0143 | 20.0286 | 50.0715 | 100.1431 | 0.50072 | 1.0014 | 5.0072 | 10.0143 | 20.0286 | 50.0715 | 100.1431 | 0.033256 | 0.068952 | 0.33553 | 0.70286 | 1.4807 | 3.3734 | 7.341 | 0.072609 | -0.032195 | 0.068104 | 0.40249 | 89.2521
dibromochloromethane | 16.85 | 0.50172 | 1.0034 | 5.0172 | 10.0343 | 20.0687 | 50.1716 | 100.3433 | 0.50172 | 1.0034 | 5.0172 | 10.0343 | 20.0687 | 50.1716 | 100.3433 | 0.021368 | 0.04569 | 0.22498 | 0.46162 | 0.96675 | 2.2461 | 4.8542 | 0.047972 | -0.022379 | 0.10308 | 0.39143 | 89.3284
bromoform | 20.29 | 0.50259 | 1.0052 | 5.0259 | 10.0518 | 20.1037 | 50.2592 | 100.5184 | 0.50259 | 1.0052 | 5.0259 | 10.0518 | 20.1037 | 50.2592 | 100.5184 | 0.012102 | 0.022833 | 0.12176 | 0.24979 | 0.52702 | 1.2285 | 2.6731 | 0.026372 | -0.015542 | 0.18751 | 0.40325 | 89.4803
0.40952
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7559 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.76 | 24.52 | 24.24 | 24.37 | 24.46 | 24.48 | 24.35

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0103-THM-1 | 14.836 | 5.3423 | 1.9723 | 0
02-0103-THM-2 | 14.8744 | 5.535 | 1.9783 | 0
02-0103-THM-3 | 14.9553 | 5.5656 | 2.018 | 0
02-0104-THM-1 | 9.6481 | 4.1076 | 1.5354 | 0
02-0104-THM-2 | 9.7947 | 4.1468 | 1.5118 | 0
02-0104-THM-3 | 9.7752 | 4.0061 | 1.502 | 0
02-0105-THM-1 | 20.8642 | 6.2997 | 2.0011 | 0
02-0105-THM-2 | 20.5607 | 6.2373 | 1.9729 | 0
02-0105-THM-3 | 20.642 | 6.304 | 2.0192 | 0
02-0106-THM-1 | 23.9916 | 7.0445 | 2.2251 | 0
02-0106-THM-2 | 24.158 | 7.1583 | 2.2025 | 0
02-0106-THM-3 | 23.3311 | 6.868 | 2.1474 | 0
02-0107-THM-1 | 15.5883 | 5.6227 | 1.8341 | 0
02-0107-THM-2 | 15.6473 | 5.5833 | 1.8902 | 0
02-0107-THM-3 | 15.4079 | 5.5474 | 1.8172 | 0
02-9106-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0103-THM-1 | 24.6 | 41.98 | 0.022009 | 0.32653 | 13.2736 | 13.2732 | 0.0096441 | 0.11758 | 4.7797 | 4.8861 | 0.092229 | 0.043408 | 1.7646 | 1.7736 | 0.013952 | 0 | 0 | 0 | 0 | 1 | 3 | 19.8179 | 19.933 | 0.099679
02-0103-THM-2 | 24.64 | 42.06 | 0.022003 | 0.32729 | 13.2827 |  |  | 0.12179 | 4.9427 |  |  | 0.043528 | 1.7666 |  |  | 0 | 0 |  |  | 1 | 3 | 19.992
02-0103-THM-3 | 24.52 | 42.35 | 0.021746 | 0.32522 | 13.2634 |  |  | 0.12103 | 4.9359 |  |  | 0.043883 | 1.7897 |  |  | 0 | 0 |  |  | 1 | 3 | 19.989
02-0104-THM-1 | 24.42 | 41.43 | 0.022138 | 0.21359 | 8.7466 | 8.7325 | 0.026214 | 0.090935 | 3.7238 | 3.6647 | 0.085716 | 0.03399 | 1.3919 | 1.3598 | 0.028593 | 0 | 0 | 0 | 0 | 1 | 4 | 13.8623 | 13.757 | 0.13431
02-0104-THM-2 | 24.53 | 42.05 | 0.02191 | 0.2146 | 8.7486 |  |  | 0.090857 | 3.7039 |  |  | 0.033124 | 1.3504 |  |  | 0 | 0 |  |  | 1 | 4 | 13.8028
02-0104-THM-3 | 24.43 | 42.19 | 0.021748 | 0.2126 | 8.7022 |  |  | 0.087127 | 3.5664 |  |  | 0.032666 | 1.3371 |  |  | 0 | 0 |  |  | 1 | 4 | 13.6057
02-0105-THM-1 | 24.35 | 41.77 | 0.021895 | 0.45683 | 18.7608 | 18.5799 | 0.16806 | 0.13793 | 5.6646 | 5.64 | 0.021296 | 0.043813 | 1.7993 | 1.794 | 0.012269 | 0 | 0 | 0 | 0 | 1 | 5 | 26.2247 | 26.0139 | 0.18907
02-0105-THM-2 | 24.57 | 41.63 | 0.022167 | 0.45578 | 18.5501 |  |  | 0.13826 | 5.6274 |  |  | 0.043734 | 1.78 |  |  | 0 | 0 |  |  | 1 | 5 | 25.9574
02-0105-THM-3 | 24.49 | 42.07 | 0.021864 | 0.45132 | 18.4287 |  |  | 0.13783 | 5.6281 |  |  | 0.044148 | 1.8027 |  |  | 0 | 0 |  |  | 1 | 5 | 25.8595
02-0106-THM-1 | 24.66 | 41.8 | 0.022158 | 0.53161 | 21.5575 | 21.2638 | 0.36925 | 0.15609 | 6.3298 | 6.2679 | 0.11308 | 0.049304 | 1.9994 | 1.956 | 0.040584 | 0 | 0 | 0 | 0 | 1 | 6 | 29.8866 | 29.4877 | 0.51553
02-0106-THM-2 | 24.84 | 42.43 | 0.021988 | 0.53119 | 21.3846 |  |  | 0.1574 | 6.3366 |  |  | 0.04843 | 1.9497 |  |  | 0 | 0 |  |  | 1 | 6 | 29.6709
02-0106-THM-3 | 24.5 | 42.03 | 0.021894 | 0.51081 | 20.8492 |  |  | 0.15037 | 6.1374 |  |  | 0.047014 | 1.9189 |  |  | 0 | 0 |  |  | 1 | 6 | 28.9056
02-0107-THM-1 | 24.18 | 41.51 | 0.021879 | 0.34105 | 14.1046 | 14.0224 | 0.18102 | 0.12302 | 5.0875 | 5.0365 | 0.05771 | 0.040127 | 1.6595 | 1.666 | 0.040238 | 0 | 0 | 0 | 0 | 1 | 7 | 20.8516 | 20.7249 | 0.26705
02-0107-THM-2 | 24.66 | 41.54 | 0.022297 | 0.34888 | 14.1477 |  |  | 0.12449 | 5.0482 |  |  | 0.042145 | 1.709 |  |  | 0 | 0 |  |  | 1 | 7 | 20.905
02-0107-THM-3 | 24.77 | 41.89 | 0.022209 | 0.34219 | 13.8149 |  |  | 0.1232 | 4.9739 |  |  | 0.040358 | 1.6293 |  |  | 0 | 0 |  |  | 1 | 7 | 20.4181
02-9106-THM-1 | 24.58 | 41.49 | 0.022251 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 1 | 9106 | 0 | 0 | #DIV/0!