## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.4533 | 0.92673 | 4.6777 | 9.2472 | 18.4545 | 46.303 | 93.6674 | 0.011074 | 0.022622 | 0.11526 | 0.22711 | 0.45472 | 1.1391 | 2.3407 | 1.7933 | 3.6599 | 17.27 | 35.1607 | 72.4917 | 165.7197 | 363.5479 | 153.9637 | -0.57584 | 0.05196 | 0.46591 | 94.4503
bromodichloromethane | 12.92 | 0.4515 | 0.92304 | 4.659 | 9.2104 | 18.381 | 46.1187 | 93.2944 | 0.01103 | 0.022531 | 0.1148 | 0.22621 | 0.45291 | 1.1345 | 2.3314 | 1.1938 | 2.5037 | 12.8795 | 26.1725 | 53.669 | 127.6331 | 272.4132 | 116.3418 | -0.43422 | 0.068763 | 0.41043 | 93.6596
dibromochloromethane | 16.85 | 0.4524 | 0.92489 | 4.6684 | 9.2288 | 18.4177 | 46.2108 | 93.4809 | 0.011052 | 0.022576 | 0.11503 | 0.22666 | 0.45381 | 1.1368 | 2.3361 | 0.75827 | 1.6819 | 8.7552 | 17.4514 | 35.6844 | 86.6644 | 181.6429 | 77.5952 | -0.1681 | 0.1031 | 0.39089 | 93.6361
bromoform | 20.29 | 0.45319 | 0.9265 | 4.6765 | 9.2449 | 18.4499 | 46.2915 | 93.6441 | 0.011071 | 0.022616 | 0.11523 | 0.22706 | 0.45461 | 1.1388 | 2.3402 | 0.43038 | 0.90065 | 4.7651 | 9.5343 | 19.5259 | 48.5631 | 100.828 | 43.0894 | -0.16387 | 0.18566 | 0.39952 | 93.5988
0.40948
fluorobenzene (ISTD) | 10.6 | 0.88874 | 0.90847 | 0.91709 | 0.9065 | 0.90454 | 0.90781 | 0.91821 | 0.021712 | 0.022176 | 0.022597 | 0.022264 | 0.022288 | 0.022332 | 0.022946 | 31.8705 | 33.59 | 35.628 | 32.831 | 32.9966 | 34.1553 | 34.2899
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.51005 | 1.0201 | 5.1005 | 10.2011 | 20.4021 | 51.0053 | 102.0106 | 0.51005 | 1.0201 | 5.1005 | 10.2011 | 20.4021 | 51.0053 | 102.0106 | 0.056269 | 0.10896 | 0.48473 | 1.071 | 2.1969 | 4.8519 | 10.6022 | 0.10267 | -0.023054 | 0.053082 | 0.47596 | 94.779
bromodichloromethane | 12.92 | 0.50802 | 1.016 | 5.0802 | 10.1604 | 20.3209 | 50.8022 | 101.6044 | 0.50802 | 1.016 | 5.0802 | 10.1604 | 20.3209 | 50.8022 | 101.6044 | 0.037457 | 0.074538 | 0.3615 | 0.79719 | 1.6265 | 3.7368 | 7.9444 | 0.077599 | -0.017997 | 0.070233 | 0.41921 | 93.9669
dibromochloromethane | 16.85 | 0.50904 | 1.0181 | 5.0904 | 10.1808 | 20.3615 | 50.9038 | 101.8075 | 0.50904 | 1.0181 | 5.0904 | 10.1808 | 20.3615 | 50.9038 | 101.8075 | 0.023792 | 0.050071 | 0.24574 | 0.53155 | 1.0815 | 2.5374 | 5.2973 | 0.051762 | -0.0086936 | 0.10529 | 0.39919 | 93.9314
bromoform | 20.29 | 0.50993 | 1.0199 | 5.0993 | 10.1985 | 20.397 | 50.9926 | 101.9852 | 0.50993 | 1.0199 | 5.0993 | 10.1985 | 20.397 | 50.9926 | 101.9852 | 0.013504 | 0.026813 | 0.13375 | 0.2904 | 0.59176 | 1.4218 | 2.9405 | 0.028746 | -0.0070044 | 0.18959 | 0.40798 | 93.8876
0.4182
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7656 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.43 | 24.41 | 24.64 | 24.56 | 24.64 | 24.6 | 24.99

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0108-THM-1 | 12.7179 | 4.5518 | 1.4976 | 0
02-0108-THM-2 | 12.4118 | 4.5208 | 1.5597 | 0
02-0108-THM-3 | 12.6847 | 4.5672 | 1.5656 | 0
02-0109-THM-1 | 12.203 | 4.1578 | 1.3883 | 0
02-0109-THM-2 | 11.5095 | 4.0926 | 1.4129 | 0
02-0109-THM-3 | 11.6739 | 4.133 | 1.4046 | 0
02-0110-THM-1 | 15.9368 | 5.3839 | 1.7471 | 0
02-0110-THM-2 | 15.8615 | 5.203 | 1.6845 | 0
02-0110-THM-3 | 15.9822 | 5.3214 | 1.7982 | 0
02-0111-THM-1 | 17.769 | 4.6471 | 1.2781 | 0
02-0111-THM-2 | 17.9375 | 4.5683 | 1.3093 | 0
02-0111-THM-3 | 18.6841 | 4.7048 | 1.3148 | 0
02-0112-THM-1 | 13.4209 | 4.3802 | 1.4159 | 0
02-0112-THM-2 | 13.5316 | 4.5622 | 1.4394 | 0
02-0112-THM-3 | 13.4492 | 4.3853 | 1.4946 | 0
02-9112-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0108-THM-1 | 24.45 | 41.68 | 0.022089 | 0.28093 | 11.49 | 11.3421 | 0.12949 | 0.10055 | 4.1124 | 4.0913 | 0.035317 | 0.033081 | 1.353 | 1.3866 | 0.032675 | 0 | 0 | 0 | 0 | 1 | 8 | 16.9554 | 16.8199 | 0.13354
02-0108-THM-2 | 24.46 | 41.41 | 0.022243 | 0.27607 | 11.2866 |  |  | 0.10055 | 4.1109 |  |  | 0.034691 | 1.4183 |  |  | 0 | 0 |  |  | 1 | 8 | 16.8158
02-0108-THM-3 | 24.7 | 42.46 | 0.021905 | 0.27786 | 11.2495 |  |  | 0.10005 | 4.0505 |  |  | 0.034294 | 1.3884 |  |  | 0 | 0 |  |  | 1 | 8 | 16.6884
02-0109-THM-1 | 24.57 | 42.65 | 0.021693 | 0.26472 | 10.7741 | 10.5191 | 0.2209 | 0.090196 | 3.671 | 3.6817 | 0.013308 | 0.030115 | 1.2257 | 1.2506 | 0.02524 | 0 | 0 | 0 | 0 | 1 | 9 | 15.6708 | 15.4513 | 0.19195
02-0109-THM-2 | 24.59 | 41.69 | 0.022211 | 0.25563 | 10.3958 |  |  | 0.090899 | 3.6966 |  |  | 0.031381 | 1.2762 |  |  | 0 | 0 |  |  | 1 | 9 | 15.3685
02-0109-THM-3 | 24.68 | 42.32 | 0.02196 | 0.25636 | 10.3873 |  |  | 0.090762 | 3.6775 |  |  | 0.030845 | 1.2498 |  |  | 0 | 0 |  |  | 1 | 9 | 15.3147
02-0110-THM-1 | 24.52 | 41.79 | 0.022094 | 0.35211 | 14.3602 | 14.3503 | 0.097669 | 0.11895 | 4.8513 | 4.7779 | 0.092715 | 0.0386 | 1.5742 | 1.5708 | 0.055982 | 0 | 0 | 0 | 0 | 1 | 10 | 20.7857 | 20.699 | 0.23317
02-0110-THM-2 | 24.69 | 41.92 | 0.022179 | 0.35178 | 14.2481 |  |  | 0.11539 | 4.6737 |  |  | 0.037359 | 1.5131 |  |  | 0 | 0 |  |  | 1 | 10 | 20.4349
02-0110-THM-3 | 24.79 | 41.67 | 0.022402 | 0.35803 | 14.4427 |  |  | 0.11921 | 4.8088 |  |  | 0.040282 | 1.6249 |  |  | 0 | 0 |  |  | 1 | 10 | 20.8764
02-0111-THM-1 | 24.53 | 42.37 | 0.021801 | 0.38738 | 15.792 | 16.1912 | 0.52018 | 0.10131 | 4.1301 | 4.1436 | 0.075785 | 0.027863 | 1.1359 | 1.1616 | 0.023147 | 0 | 0 | 0 | 0 | 1 | 11 | 21.058 | 21.4964 | 0.60414
02-0111-THM-2 | 24.38 | 42.21 | 0.02175 | 0.39013 | 16.0022 |  |  | 0.099359 | 4.0754 |  |  | 0.028476 | 1.168 |  |  | 0 | 0 |  |  | 1 | 11 | 21.2457
02-0111-THM-3 | 24.92 | 41.93 | 0.02238 | 0.41815 | 16.7795 |  |  | 0.10529 | 4.2252 |  |  | 0.029426 | 1.1808 |  |  | 0 | 0 |  |  | 1 | 11 | 22.1855
02-0112-THM-1 | 24.55 | 42.06 | 0.021979 | 0.29498 | 12.0156 | 12.0093 | 0.1375 | 0.096275 | 3.9216 | 3.9619 | 0.11744 | 0.031121 | 1.2677 | 1.2928 | 0.025655 | 0 | 0 | 0 | 0 | 1 | 12 | 17.2049 | 17.2641 | 0.2414
02-0112-THM-2 | 24.61 | 41.96 | 0.022086 | 0.29885 | 12.1436 |  |  | 0.10076 | 4.0942 |  |  | 0.03179 | 1.2917 |  |  | 0 | 0 |  |  | 1 | 12 | 17.5296
02-0112-THM-3 | 24.56 | 42.67 | 0.021674 | 0.2915 | 11.8688 |  |  | 0.095047 | 3.87 |  |  | 0.032393 | 1.319 |  |  | 0 | 0 |  |  | 1 | 12 | 17.0578
02-9112-THM-1 | 24.71 | 41.56 | 0.022389 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 1 | 9112 | 0 | 0 | #DIV/0!