## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.45438 | 0.89295 | 4.4397 | 9.1689 | 18.2672 | 46.0893 | 90.9421 | 0.011191 | 0.022002 | 0.10953 | 0.22583 | 0.45303 | 1.1458 | 2.2399 | 1.904 | 3.5273 | 14.3314 | 34.6763 | 69.8551 | 170.9171 | 352.0198 | 156.3745 | -1.5254 | 0.051159 | 0.48703 | 90.0453
bromodichloromethane | 12.92 | 0.45257 | 0.8894 | 4.422 | 9.1324 | 18.1944 | 45.9057 | 90.58 | 0.011147 | 0.021915 | 0.10909 | 0.22493 | 0.45122 | 1.1412 | 2.231 | 1.2901 | 2.4235 | 11.164 | 25.8745 | 52.0864 | 129.175 | 263.6049 | 117.7415 | -1.1112 | 0.067945 | 0.43829 | 89.5538
dibromochloromethane | 16.85 | 0.45348 | 0.89117 | 4.4309 | 9.1506 | 18.2308 | 45.9975 | 90.7611 | 0.011169 | 0.021959 | 0.10931 | 0.22538 | 0.45212 | 1.1435 | 2.2354 | 0.90207 | 1.6051 | 7.75 | 17.4178 | 35.1563 | 87.1053 | 175.7891 | 78.4184 | -0.50633 | 0.10202 | 0.46013 | 89.6672
bromoform | 20.29 | 0.45427 | 0.89273 | 4.4386 | 9.1666 | 18.2626 | 46.0778 | 90.9195 | 0.011189 | 0.021997 | 0.1095 | 0.22577 | 0.45291 | 1.1455 | 2.2393 | 0.43672 | 0.83071 | 4.3704 | 9.4916 | 19.3663 | 48.4387 | 98.1185 | 43.7138 | -0.4024 | 0.18301 | 0.39962 | 89.7826
0.40413
fluorobenzene (ISTD) | 10.6 | 0.90404 | 0.88831 | 0.88333 | 0.91212 | 0.90861 | 0.91699 | 0.90469 | 0.022267 | 0.021888 | 0.021792 | 0.022466 | 0.022534 | 0.022796 | 0.022283 | 36.3894 | 35.685 | 33.4168 | 35.7848 | 35.2729 | 36.2303 | 34.7782
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.50261 | 1.0052 | 5.0261 | 10.0523 | 20.1045 | 50.2613 | 100.5225 | 0.50261 | 1.0052 | 5.0261 | 10.0523 | 20.1045 | 50.2613 | 100.5225 | 0.052322 | 0.098845 | 0.42887 | 0.96902 | 1.9804 | 4.7175 | 10.1218 | 0.10004 | -0.055027 | 0.048935 | 0.46585 | 90.1849
bromodichloromethane | 12.92 | 0.50061 | 1.0012 | 5.0061 | 10.0122 | 20.0244 | 50.0611 | 100.1222 | 0.50061 | 1.0012 | 5.0061 | 10.0122 | 20.0244 | 50.0611 | 100.1222 | 0.035453 | 0.067913 | 0.33408 | 0.72306 | 1.4767 | 3.5654 | 7.5796 | 0.075311 | -0.040084 | 0.064999 | 0.41928 | 89.7039
dibromochloromethane | 16.85 | 0.50161 | 1.0032 | 5.0161 | 10.0322 | 20.0645 | 50.1612 | 100.3224 | 0.50161 | 1.0032 | 5.0161 | 10.0322 | 20.0645 | 50.1612 | 100.3224 | 0.024789 | 0.044979 | 0.23192 | 0.48674 | 0.99669 | 2.4042 | 5.0546 | 0.050153 | -0.019965 | 0.097605 | 0.44023 | 89.8287
bromoform | 20.29 | 0.50249 | 1.005 | 5.0249 | 10.0497 | 20.0995 | 50.2487 | 100.4975 | 0.50249 | 1.005 | 5.0249 | 10.0497 | 20.0995 | 50.2487 | 100.4975 | 0.012001 | 0.023279 | 0.13078 | 0.26524 | 0.54904 | 1.337 | 2.8213 | 0.027958 | -0.014492 | 0.17509 | 0.38233 | 89.9437
0.38663
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7771 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.63 | 24.64 | 24.67 | 24.63 | 24.8 | 24.86 | 24.63

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0114-THM-1 | 1.5232 | 0.45854 | 0.14918 | 0
02-0114-THM-2 | 1.5894 | 0.49742 | 0.13469 | 0
02-0114-THM-3 | 1.5868 | 0.47285 | 0.14138 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0114-THM-1 | 25.04 | 41.89 | 0.022578 | 0.034392 | 1.3735 | 1.4075 | 0.030526 | 0.010353 | 0.41345 | 0.42796 | 0.01814 | 0.0033683 | 0.13452 | 0.12737 | 0.0066381 | 0 | 0 | 0 | 0 | 1 | 13 | 1.9214 | 1.9628 | 0.040399
02-0114-THM-2 | 24.79 | 41.91 | 0.022342 | 0.035511 | 1.4325 |  |  | 0.011113 | 0.4483 |  |  | 0.0030093 | 0.12139 |  |  | 0 | 0 |  |  | 1 | 13 | 2.0021
02-0114-THM-3 | 24.66 | 42.31 | 0.022014 | 0.034933 | 1.4166 |  |  | 0.01041 | 0.42212 |  |  | 0.0031125 | 0.12622 |  |  | 0 | 0 |  |  | 1 | 13 | 1.9649