## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.45935 | 0.90619 | 4.6069 | 9.2318 | 18.0633 | 44.9973 | 91.4055 | 0.011323 | 0.022482 | 0.11361 | 0.2283 | 0.44833 | 1.1128 | 2.2449 | 1.8026 | 3.7796 | 12.3771 | 35.7005 | 69.7873 | 171.2619 | 351.8757 | 156.9752 | -1.4066 | 0.050963 | 0.45934 | 89.664
bromodichloromethane | 12.92 | 0.45753 | 0.90258 | 4.5886 | 9.1951 | 17.9913 | 44.8181 | 91.0415 | 0.011278 | 0.022393 | 0.11315 | 0.22739 | 0.44654 | 1.1084 | 2.236 | 1.3113 | 2.5962 | 10.3129 | 26.2641 | 51.6176 | 127.8345 | 262.5698 | 117.5671 | -1.0246 | 0.068046 | 0.44615 | 89.3344
dibromochloromethane | 16.85 | 0.45844 | 0.90438 | 4.5978 | 9.2135 | 18.0273 | 44.9077 | 91.2235 | 0.011301 | 0.022438 | 0.11338 | 0.22785 | 0.44744 | 1.1106 | 2.2404 | 0.84705 | 1.701 | 7.5726 | 17.5634 | 34.5319 | 85.3495 | 174.4973 | 77.9291 | -0.45262 | 0.10266 | 0.43478 | 89.5672
bromoform | 20.29 | 0.45924 | 0.90596 | 4.6058 | 9.2295 | 18.0588 | 44.9861 | 91.3828 | 0.01132 | 0.022477 | 0.11358 | 0.22825 | 0.44822 | 1.1125 | 2.2444 | 0.45529 | 0.8864 | 4.4563 | 9.5693 | 18.9941 | 47.0961 | 97.0537 | 43.2277 | -0.31589 | 0.18507 | 0.4213 | 89.807
0.40673
fluorobenzene (ISTD) | 10.6 | 0.91437 | 0.90191 | 0.91704 | 0.91883 | 0.8989 | 0.8957 | 0.90974 | 0.022539 | 0.022376 | 0.022614 | 0.022723 | 0.022311 | 0.022151 | 0.022343 | 35.3098 | 35.5225 | 34.5775 | 35.5496 | 33.6072 | 35.1074 | 33.2609
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.50237 | 1.0047 | 5.0237 | 10.0474 | 20.0949 | 50.2372 | 100.4744 | 0.50237 | 1.0047 | 5.0237 | 10.0474 | 20.0949 | 50.2372 | 100.4744 | 0.051052 | 0.1064 | 0.35795 | 1.0042 | 2.0766 | 4.8782 | 10.5793 | 0.10471 | -0.08105 | 0.048769 | 0.43956 | 90.2969
bromodichloromethane | 12.92 | 0.50037 | 1.0007 | 5.0037 | 10.0074 | 20.0149 | 50.0372 | 100.0743 | 0.50037 | 1.0007 | 5.0037 | 10.0074 | 20.0149 | 50.0372 | 100.0743 | 0.037137 | 0.073087 | 0.29825 | 0.7388 | 1.5359 | 3.6412 | 7.8942 | 0.078423 | -0.059719 | 0.065117 | 0.42694 | 89.9651
dibromochloromethane | 16.85 | 0.50137 | 1.0027 | 5.0137 | 10.0274 | 20.0549 | 50.1372 | 100.2744 | 0.50137 | 1.0027 | 5.0137 | 10.0274 | 20.0549 | 50.1372 | 100.2744 | 0.023989 | 0.047885 | 0.219 | 0.49405 | 1.0275 | 2.4311 | 5.2463 | 0.051983 | -0.033083 | 0.098236 | 0.41606 | 90.1982
bromoform | 20.29 | 0.50225 | 1.0045 | 5.0225 | 10.0449 | 20.0899 | 50.2247 | 100.4494 | 0.50225 | 1.0045 | 5.0225 | 10.0449 | 20.0899 | 50.2247 | 100.4494 | 0.012894 | 0.024953 | 0.12888 | 0.26918 | 0.56518 | 1.3415 | 2.918 | 0.028836 | -0.02022 | 0.17709 | 0.40314 | 90.4378
0.38921
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.7718 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.65 | 24.81 | 24.66 | 24.73 | 24.82 | 24.73 | 24.56

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0117-THM-1 | 13.8085 | 5.2117 | 1.9034 | 0
02-0117-THM-2 | 13.8792 | 5.2438 | 1.8812 | 0
02-0117-THM-3 | 13.7504 | 5.0781 | 1.8361 | 0
02-0118-THM-1 | 14.0956 | 4.1563 | 1.3592 | 0
02-0118-THM-2 | 14.2056 | 4.1778 | 1.338 | 0
02-0118-THM-3 | 14.0157 | 4.1656 | 1.3812 | 0
02-0119-THM-1 | 16.5588 | 5.4291 | 1.8247 | 0
02-0119-THM-2 | 16.6154 | 5.3082 | 1.7819 | 0
02-0119-THM-3 | 16.6878 | 5.3138 | 1.8217 | 0
02-9120-THM-1 | 0 | 0 | 0 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0117-THM-1 | 24.7 | 41.95 | 0.022208 | 0.30666 | 12.4154 | 12.4103 | 0.007202 | 0.11574 | 4.6859 | 4.652 | 0.058576 | 0.04227 | 1.7113 | 1.6833 | 0.026939 | 0 | 0 | 0 | 0 | 1 | 14 | 18.8127 | 18.7456 | 0.081141
02-0117-THM-2 | 24.42 | 42.21 | 0.021821 | 0.30286 | 12.4021 |  |  | 0.11443 | 4.6857 |  |  | 0.041049 | 1.681 |  |  | 0 | 0 |  |  | 1 | 14 | 18.7688
02-0117-THM-3 | 24.59 | 41.78 | 0.022199 | 0.30525 | 12.4134 |  |  | 0.11273 | 4.5844 |  |  | 0.040761 | 1.6576 |  |  | 0 | 0 |  |  | 1 | 14 | 18.6554
02-0118-THM-1 | 24.37 | 41.43 | 0.022186 | 0.31273 | 12.8326 | 12.768 | 0.10493 | 0.092213 | 3.7839 | 3.7714 | 0.012521 | 0.030156 | 1.2374 | 1.2305 | 0.020112 | 0 | 0 | 0 | 0 | 1 | 15 | 17.8539 | 17.7699 | 0.10515
02-0118-THM-2 | 24.64 | 41.78 | 0.022244 | 0.31599 | 12.8244 |  |  | 0.092932 | 3.7716 |  |  | 0.029762 | 1.2079 |  |  | 0 | 0 |  |  | 1 | 15 | 17.8039
02-0118-THM-3 | 24.43 | 41.8 | 0.022044 | 0.30896 | 12.6469 |  |  | 0.091828 | 3.7588 |  |  | 0.030447 | 1.2463 |  |  | 0 | 0 |  |  | 1 | 15 | 17.652
02-0119-THM-1 | 24.69 | 41.98 | 0.022183 | 0.36733 | 14.8776 | 14.9301 | 0.13143 | 0.12043 | 4.8779 | 4.8062 | 0.069637 | 0.040479 | 1.6395 | 1.6255 | 0.030222 | 0 | 0 | 0 | 0 | 1 | 16 | 21.395 | 21.3617 | 0.18472
02-0119-THM-2 | 24.65 | 42.25 | 0.022006 | 0.36563 | 14.8331 |  |  | 0.11681 | 4.7388 |  |  | 0.039213 | 1.5908 |  |  | 0 | 0 |  |  | 1 | 16 | 21.1627
02-0119-THM-3 | 24.23 | 41.74 | 0.021895 | 0.36538 | 15.0797 |  |  | 0.11635 | 4.8018 |  |  | 0.039886 | 1.6461 |  |  | 0 | 0 |  |  | 1 | 16 | 21.5276
02-9120-THM-1 | 24.56 | 41.61 | 0.022263 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 0 | 0 | 0 | #DIV/0! | 1 | 9120 | 0 | 0 | #DIV/0!