## Calibration_template
Compound | Approximate Retention Time (min) | L1 conc (ppb or ug/L) | L2 conc (ppb or ug/L) | L3 conc (ppb or ug/L) | L4 conc (ppb or ug/L) | L5 conc (ppb or ug/L) | L6 conc (ppb or ug/L) | L7 conc (ppb or ug/L) | L1 mass on column (ug) | L2 mass on column (ug) | L3 mass on column (ug) | L4 mass on column (ug) | L5 mass on column (ug) | L6 mass on column (ug) | L7 mass on column (ug) | L1 area | L2 area | L3 area | L4 area | L5 area | L6 area | L7 area | Slope (RF) | Y-intercept | LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.46281 | 0.91134 | 4.5927 | 9.3033 | 18.3531 | 45.3945 | 90.4255 | 0.01114 | 0.022346 | 0.11096 | 0.22672 | 0.44378 | 1.1094 | 2.1865 | 1.7956 | 3.522 | 13.463 | 35.4262 | 69.934 | 170.0018 | 345.3808 | 157.7912 | -1.3051 | 0.0507 | 0.45518 | 87.5539
bromodichloromethane | 12.92 | 0.46097 | 0.90771 | 4.5744 | 9.2662 | 18.28 | 45.2137 | 90.0654 | 0.011095 | 0.022257 | 0.11052 | 0.22582 | 0.44201 | 1.105 | 2.1778 | 1.2953 | 2.4672 | 10.8575 | 25.9965 | 51.6594 | 126.3682 | 255.4624 | 117.1982 | -0.82306 | 0.06826 | 0.4421 | 87.1899
dibromochloromethane | 16.85 | 0.46189 | 0.90952 | 4.5835 | 9.2848 | 18.3165 | 45.3041 | 90.2454 | 0.011118 | 0.022302 | 0.11074 | 0.22627 | 0.44289 | 1.1072 | 2.1821 | 0.81486 | 1.6244 | 7.6435 | 17.2203 | 34.3993 | 84.0474 | 168.7596 | 77.2783 | -0.36274 | 0.10352 | 0.42178 | 87.3516
bromoform | 20.29 | 0.46269 | 0.91111 | 4.5915 | 9.301 | 18.3485 | 45.3832 | 90.403 | 0.011137 | 0.02234 | 0.11093 | 0.22666 | 0.44367 | 1.1092 | 2.1859 | 0.45226 | 0.96939 | 4.2885 | 9.3652 | 18.8141 | 46.6052 | 93.4643 | 42.74 | -0.24227 | 0.18718 | 0.42326 | 87.4725
0.40966
fluorobenzene (ISTD) | 10.6 | 0.92693 | 0.91263 | 0.91983 | 0.93165 | 0.91895 | 0.90918 | 0.90554 | 0.022311 | 0.022378 | 0.022223 | 0.022704 | 0.02222 | 0.02222 | 0.021896 | 36.9137 | 35.1314 | 35.8614 | 36.6181 | 37.06 | 35.7652 | 35.6116
Compound | Approximate Retention Time (min) | L1 conc ratio (X/ISTD) | L2 conc ratio (X/ISTD) | L3 conc ratio (X/ISTD) | L4 conc ratio (X/ISTD) | L5 conc ratio (X/ISTD) | L6 conc ratio (X/ISTD) | L7 conc ratio (X/ISTD) | L1 mass ratio (X/ISTD) | L2 mass ratio (X/ISTD) | L3 mass ratio (X/ISTD) | L4 mass ratio (X/ISTD) | L5 mass ratio (X/ISTD) | L6 mass ratio (X/ISTD) | L7 mass ratio (X/ISTD) | L1 area ratio (X/ISTD) | L2 area ratio (X/ISTD) | L3 area ratio (X/ISTD) | L4 area ratio (X/ISTD) | L5 area ratio (X/ISTD) | L6 area ratio (X/ISTD) | L7 area ratio (X/ISTD) | Slope (RF) | Y-intercept | Approx. LOD (ppb) | LOQ1 (ppb) | LOQ7 (ppb)
chloroform | 8.27 | 0.49929 | 0.99859 | 4.9929 | 9.9859 | 19.9717 | 49.9293 | 99.8586 | 0.49929 | 0.99859 | 4.9929 | 9.9859 | 19.9717 | 49.9293 | 99.8586 | 0.048643 | 0.10025 | 0.37542 | 0.96745 | 1.887 | 4.7533 | 9.6986 | 0.097176 | -0.03816 | 0.049758 | 0.44672 | 87.4114
bromodichloromethane | 12.92 | 0.4973 | 0.99461 | 4.973 | 9.9461 | 19.8922 | 49.7305 | 99.4609 | 0.4973 | 0.99461 | 4.973 | 9.9461 | 19.8922 | 49.7305 | 99.4609 | 0.035091 | 0.070229 | 0.30276 | 0.70994 | 1.3939 | 3.5333 | 7.1736 | 0.072176 | -0.024213 | 0.066993 | 0.4339 | 87.049
dibromochloromethane | 16.85 | 0.4983 | 0.9966 | 4.983 | 9.966 | 19.932 | 49.8299 | 99.6598 | 0.4983 | 0.9966 | 4.983 | 9.966 | 19.932 | 49.8299 | 99.6598 | 0.022075 | 0.046237 | 0.21314 | 0.47027 | 0.92821 | 2.35 | 4.7389 | 0.047591 | -0.010959 | 0.1016 | 0.41396 | 87.2117
bromoform | 20.29 | 0.49917 | 0.99834 | 4.9917 | 9.9834 | 19.9667 | 49.9169 | 99.8337 | 0.49917 | 0.99834 | 4.9917 | 9.9834 | 19.9667 | 49.9169 | 99.8337 | 0.012252 | 0.027593 | 0.11959 | 0.25575 | 0.50767 | 1.3031 | 2.6245 | 0.02632 | -0.0071604 | 0.18371 | 0.41542 | 87.3338
0.40206
ISTD Stock conc (ug/mL OR ng/uL) | Amt of ISTD stock added (uL) | L1 name | L2 name | L3 name | L4 name | L5 name | L6 name | L7 name | L1 sampled volume (mL) | L2 sampled volume (mL) | L3 sampled volume (mL) | L4 sampled volume (mL) | L5 sampled volume (mL) | L6 sampled volume (mL) | L7 sampled volume (mL)
3.8449 | 10 | 0.5ugL_THMs | 1ugL_THMs | 5ugL_THMs | 10ugL_THMs | 20ugL_THMs | 50ugL_THMs | 100ugL_THMs | 24.07 | 24.52 | 24.16 | 24.37 | 24.18 | 24.44 | 24.18

## Mass_ratios
Sample_name | Chloroform | Bromodichloromethane | Dibromochloromthane | Bromoform
02-0120-THM-1 | 15.2654 | 5.0507 | 1.5962 | 0
02-0120-THM-2 | 15.6087 | 5.0366 | 1.6421 | 0
02-0120-THM-3 | 16.0129 | 5.1027 | 1.6007 | 0
02-0121-THM-1 | 25.4121 | 7.4898 | 2.4467 | 0
02-0121-THM-2 | 26.2024 | 7.7419 | 2.581 | 0
02-0121-THM-3 | 25.5199 | 7.4488 | 2.4821 | 0
02-0122-THM-1 | 15.8073 | 4.11 | 1.318 | 0
02-0122-THM-2 | 16.1392 | 4.1522 | 1.3366 | 0
02-0122-THM-3 | 16.7543 | 4.3285 | 1.401 | 0
02-0123-THM-1 | 26.1772 | 8.1943 | 2.7597 | 0
02-0123-THM-2 | 23.3678 | 7.2688 | 2.4208 | 0
02-0123-THM-3 | 23.6529 | 7.4807 | 2.5179 | 0
02-0124-THM-1 | 23.2195 | 7.412 | 2.4765 | 0
02-0124-THM-2 | 22.8767 | 7.2416 | 2.4487 | 0
02-0124-THM-3 | 22.192 | 7.17 | 2.4472 | 0

## Sample_summary
|  |  |  | Chloroform |  |  |  | Bromodichloromethane |  |  |  | Dibromochloromethane |  |  |  | Bromoform | [5 empty] | TTHMs | Avg TTHMs | StdDev
Name | Sampled volume (mL) | Total volume (mL) | ISTD mass on column (ug) | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Mass on column (ug) | Conc (ug/L, or ppb) | Average | STDEV | Region | Sample_num | Conc (ppb)
02-0120-THM-1 | 24.26 | 41.37 | 0.022547 | 0.34419 | 14.1876 | 14.4118 | 0.24696 | 0.11388 | 4.6941 | 4.6694 | 0.029144 | 0.035989 | 1.4835 | 1.4875 | 0.022678 | 0 | 0 | 0 | 0 | 1 | 17 | 20.3652 | 20.5687 | 0.23147
02-0120-THM-2 | 24.17 | 41.76 | 0.022254 | 0.34735 | 14.3712 |  |  | 0.11208 | 4.6373 |  |  | 0.036543 | 1.5119 |  |  | 0 | 0 |  |  | 1 | 17 | 20.5203
02-0120-THM-3 | 24.3 | 41.95 | 0.022272 | 0.35664 | 14.6765 |  |  | 0.11365 | 4.6769 |  |  | 0.035651 | 1.4671 |  |  | 0 | 0 |  |  | 1 | 17 | 20.8205
02-0121-THM-1 | 24.41 | 41.84 | 0.022432 | 0.57004 | 23.3526 | 23.5163 | 0.15268 | 0.16801 | 6.8828 | 6.9144 | 0.064962 | 0.054884 | 2.2484 | 2.2894 | 0.04082 | 0 | 0 | 0 | 0 | 1 | 18 | 32.4838 | 32.7202 | 0.24557
02-0121-THM-2 | 24.37 | 42.59 | 0.022001 | 0.57647 | 23.6548 |  |  | 0.17033 | 6.9892 |  |  | 0.056783 | 2.3301 |  |  | 0 | 0 |  |  | 1 | 18 | 32.974
02-0121-THM-3 | 24.46 | 41.68 | 0.022564 | 0.57583 | 23.5416 |  |  | 0.16807 | 6.8714 |  |  | 0.056007 | 2.2897 |  |  | 0 | 0 |  |  | 1 | 18 | 32.7027
02-0122-THM-1 | 24.16 | 41.82 | 0.022213 | 0.35112 | 14.5331 | 14.8798 | 0.32829 | 0.091292 | 3.7787 | 3.8469 | 0.07269 | 0.029276 | 1.2118 | 1.2391 | 0.029196 | 0 | 0 | 0 | 0 | 1 | 19 | 19.5235 | 19.9657 | 0.42852
02-0122-THM-2 | 24.42 | 41.59 | 0.022576 | 0.36435 | 14.9203 |  |  | 0.093738 | 3.8386 |  |  | 0.030174 | 1.2356 |  |  | 0 | 0 |  |  | 1 | 19 | 19.9946
02-0122-THM-3 | 24.61 | 42.42 | 0.022306 | 0.37373 | 15.1859 |  |  | 0.096553 | 3.9233 |  |  | 0.031251 | 1.2698 |  |  | 0 | 0 |  |  | 1 | 19 | 20.3791
02-0123-THM-1 | 24.34 | 43.15 | 0.021688 | 0.56774 | 23.3253 | 22.3632 | 0.84629 | 0.17772 | 7.3016 | 7.0099 | 0.27305 | 0.059854 | 2.4591 | 2.3519 | 0.10393 | 0 | 0 | 0 | 0 | 1 | 20 | 33.086 | 31.7251 | 1.2159
02-0123-THM-2 | 24.29 | 41.34 | 0.022591 | 0.52791 | 21.7336 |  |  | 0.16421 | 6.7604 |  |  | 0.05469 | 2.2515 |  |  | 0 | 0 |  |  | 1 | 20 | 30.7456
02-0123-THM-3 | 24.31 | 41.28 | 0.022643 | 0.53557 | 22.0308 |  |  | 0.16938 | 6.9677 |  |  | 0.057012 | 2.3452 |  |  | 0 | 0 |  |  | 1 | 20 | 31.3437
02-0124-THM-1 | 24.39 | 42 | 0.022328 | 0.51844 | 21.2564 | 20.9033 | 0.37418 | 0.16549 | 6.7853 | 6.6805 | 0.09075 | 0.055295 | 2.2671 | 2.2569 | 0.01345 | 0 | 0 | 0 | 0 | 1 | 21 | 30.3088 | 29.8407 | 0.45507
02-0124-THM-2 | 24.6 | 42 | 0.02252 | 0.51519 | 20.9425 |  |  | 0.16308 | 6.6294 |  |  | 0.055144 | 2.2416 |  |  | 0 | 0 |  |  | 1 | 21 | 29.8135
02-0124-THM-3 | 24.44 | 41.6 | 0.022589 | 0.50129 | 20.5111 |  |  | 0.16196 | 6.6269 |  |  | 0.05528 | 2.2618 |  |  | 0 | 0 |  |  | 1 | 21 | 29.3999