# Combining automated microfluidic experimentation with machine learning for efficient polymerization design

README file

Benjamin A. Rizkina, Albert S. Shkolnika, Neil J. Ferraroa and Ryan L. Hartmana,*

1. System requirements:

Dependencies and operating systems:

- Windows 10*

- Mathworks MATLAB® R2019a

- Minimum quad core processor and 16 GB RAM

- Monitor running at 3360x2100 resolution (optional but recommended)

Versions the software has been tested on:

*This software has been tested on Windows 10. The analysis code has also been successfully implemented and tested on MacOS Catalina 10.15.

Included files and descriptions:

| File name | Description | Proprietary license |
| --- | --- | --- |
| Main_Code.m | Main data analysis code |  |
| Conversionscript.m | Code for generating the conversion from the experimental exotherm |  |
| RateConstants.m | Code for computing the rate constants |  |
| MATLAB_workspace.m | Workspace with all data featured in publication |  |
| Results from all trials.xlsx | Database of raw data from all experiments |  |

2. Instillation guides:

To only analyze data:

- Insure MATLAB R2019a is installed and properly configured

Typical installation and configuration time: between 0-30 minutes

3&4. Demo and instructions for use:

To reproduce presented results from preprocessed data:

- Place “Main_Code.m” and “MATLAB_workspace.m” in the same folder

- Open “Main_Code.m”

- Figure 5a: Run lines 337-357

- Figure 5b: Run lines 212-241 using option 2

- Figure 5c and d: Run lines 358-380

- Figure 6 top: Run lines 265-299

- Figure 6 bottom: Run lines 326-336

Expected output: matches figures and data presented in the publication

Expected run time: around 5 minutes

To reanalyze data:

- Open “Main_Code.m” file

- Place “Results from all trials.xlsx”, “conversionscript.m” and “RateConstants.m” in the same working folder

- To generate a sample experimental plan (randomized) run lines 1-14

- Initialize workspace by running lines 15-21

- Import data and set constants by running lines 22-88

- Run “conversionscript.m” and “RateConstants.m”

- Train different neural networks by running lines 89-136

- Plot the error percentage heatmap by running lines 137-155

- Experiment with different network types for training and test loss by running lines 156-166

- Make network performance plot by running lines 167-175

- Optionally view individual error plots by running lines 176-187

- Select which network architecture you would like to use and change lines 193 and 194 accordingly

- Choose the desired accuracy level and change line 198 accordingly, higher accuracy will take longer to train

- Run lines 188-207 to train the final network

- View error over test indices by running lines 208-211

- Compare AI and experimental data by running lines 212-241

- Perform AI experimental space mapping by running lines 242-264

- Plot AI results by running lines 265-299

- Generate temperature range dataset by running lines 300-325

- Make temperature range plot by running lines 326-336

- Plot the experimental sequence by running lines 337-357

- Plot the kinetic rate constants by running lines 358-380

- Optionally plot the concentration versus time plots by running lines 381-392

- Find optimal reaction conditions by running lines 393-418

  - To find profits enter accurate prices in lines 397-401

- To perform Digital Twin optimization as in the SI run lines 419-618. Note that the gradient algorithm is prone to false maxima and care should be taken when adapting this code.

- Plot Digital Twin results by running lines 619-642

- Optionally create an animation by running lines 643-712

Expected output: matches figures and data presented in the publication, might have slight deviations in AI generated results due to randomness in training

Expected run time: around 24 hours

Note: there is a second repository for experimental control code.